Draft CBM Requirements
001-x 
Requirements for dealing with Capacity Benefit Margin (CBM)

001-x.1
The Load Serving Entity (LSE) shall have the right to request the transmission provider to set aside transfer capability as CBM for the LSE to meet its historical, state, RTO, or regional generation reliability criteria requirement such as reserve margin, loss of load probability (LOLP), the loss of largest units, etc. This will be referred to as a CBM Request.
001-x.2
A request for CBM Request shall be submitted to the primary Transmission Provider with a request type of CBM_REQUEST. 
001-x.3
A request for CBM Request shall be queued and treated in the same manner as any other firm network request, subject to the other requirements of this standard.
001-x.4
A request for CBM Request must be submitted, and is subject to all request timing requirements consistent with a reservation for Firm service of similar duration, subject to the other requirements of this standard. 
001-x.5

