Standard MOD-029-1 — Rated System Path Methodology

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC authorized posting TTC/ATC/AFC SAR development June 20, 2005.

2. SAC authorized the SAR to be development as a standard on February 14, 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.
4. SDT posted second first for comment from May 25–June 25, 2007
Description of Current Draft:

This is the second draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications identified in the SAR with consideration of applicable FERC directives from FERC Order 693 and Order 890.
Future Development Plan:

	Anticipated Actions
	Anticipated Date

	1. Respond to comments.
	February 1

	2. Post for 30-day pre-ballot review.
	February 1

	3. First ballot of standard.
	March 3

	4. Respond to comments.
	April 10

	5. Recirculation ballot.
	April 10

	6. 30-day posting before board adoption.
	March 2

	7. Board adoption.
	April 24


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Rated System Path Methodology: The Rated System Path Methodology is characterized by an initial TTC determined via simulation.  CBM, TRM, and ETC are subtracted from TTC to derive ATC.

A. Introduction

1. Title:
Rated System Path Methodology
2. Number:
MOD-029-1 
3. Purpose:
To increase consistency and transparency in the development and documentation of Available Transfer Capability (ATC) calculations for Transmission services performed by entities using the Rated System Path Methodology for reliable system operations.
4. Applicability:

4.1. Each Transmission Operator that uses the Rated System Path Methodology to calculate Total Transfer Capabilities (TTCs) for Posted Paths.
4.2. Each Transmission Service Provider that uses the Rated System Path Methodology to calculate ATCs for Posted Paths. 
5. Effective Date:
TBD
B. Requirements
R1. When calculating TTC for Posted Paths, the Transmission Operator shall: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R1.1. Ensure
 the Transmission model used to determine TTC

R1.1.1. Includes at least: 

· The Transmission Operator Area

· All Transmission Operator Areas contiguous with its own Transmission Operator Area 

· Any other Transmission Operator Area linked to the Transmission Operator’s Area by joint operating agreement.  

R1.1.2. Models all system elements as in-service for the assumed initial conditions.
R1.1.3. Models all generation Facilities larger than 20 MVA in the studied area. 
R1.1.4. Models phase shifters either in in 
R1.1.5. Non-regulating mode, ounless otherwise specified 
1.1.5.1. the ATCID
.  

R1.1.6. Uses: 

· Current Facility Ratings as provided by the Transmission
 Owner and Generator Owner
· Peak load forecast by Balancing Authority.
· Transmission Facility additions and retirements.
· Generation Facility additions and retirements.
· Special Protection System (SPS) models where currently existing or projected for implementation within the studied time horizon   
R1.1.7. Models series compensation for each “Extra High Voltage (EHV)” line either at the expected operating level unless specified otherwise in the ATCID. 
R1.1.8. Includes any other modeling requirements or criteria specified in the ATCID.
R2. Where three phase fault damping is used to determine stability limits, identify the percent used and justification for use.unless specified otherwise in the ACTID
R2.1. Use the following process
 to determine TTC:
R2.1.1. Except where otherwise specified within this standard, adjust base case generation and Load levels within the updated power flow model to determine the maximum flow (reliability limit) that can be simulated on the Posted Path while at the same time satisfying all planning criteria for N-0, N-1, and N-2 contingencies as follows: 
2.1.1.1. When modeling normal conditions (N-0), do not model any Transmission Element above 100% of its continuous rating.
  

2.1.1.2. When modeling N-1 or N-2 contingencies, the system shall demonstrate transient, dynamic and voltage stability, with no Transmission Element modeled above its emergency rating.  
2.1.1.3. Do not exceed any Facility Ratings (including thermal and voltage ratings)
2.1.1.4. Uncontrolled separation shall not occur. 

2.1.1.5. Initiate system disturbances for stability studies by a three-phase-to-ground fault on all modeled “Extra High Voltage (EHV)” buses adjacent to the major interconnection point of the modeled Posted Path. 
2.1.1.6. 
2.1.1.7. 
R2.1.2. Where it is impossible to actually simulate a reliability-limited flow in a direction counter to prevailing flows (on an alternating current transmission line), set the TTC for the non-prevailing direction equal to the TTC in the prevailing direction.
2.1.2.1. 
R2.1.3. For a Posted Path whose capacity is limited by contract, set TTC on the Posted Path at the lesser of the maximum allowable contract capacity or the reliability limit as determined by R1.2.1.  
R2.1.4. 
R2.1.5. For Posted Paths whose TTC varies due to simultaneous interaction with one or more other paths, develop a nomogram describing the interaction of the paths and the resulting TTC under specified conditions.

 
R2.1.6. Where multiple ownership of Transmission rights exists on a Posted Path, allocate TTC of that Posted Path in accordance with the contractual agreement made by the multiple owners of that Posted Path
. 

R2.1.7. Create a study report that describes the steps undertaken, including the contingencies and assumptions utilized, when determining the TTC and the results of the study.
R3. Within five business days of the finalization of the study report, make available to the Transmission Service Provider of that Posted Path the most current value for TTC and the TTC study report documenting the assumptions used and steps taken in determining the current value for TTC for that Posted Path. 
R4. Each Transmission Operator shall establish the TTC at the lesser of the TTC calculated in this standard or any System Operating Limit for that Posted Path.       [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R5. When calculating ETC for firm Existing Transmission Commitments (ETCF) for a specified period for a Posted Path the Transmission Service Provider shall use the following formula: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
ETCF = NLF + NITSF + GFF + PTPF + RORF + OSF
Where:
NLF is the firm capacity reserved to serve peak Native Load forecast commitments for the time period being calculated, to include Native Load growth, and losses not otherwise included in Transmission Reliability Margin or Capacity Benefit Margin. 
NITSF is the firm capacity reserved for Network Integration Transmission Service serving Load, to include load growth, and losses not otherwise included in Transmission Reliability Margin or Capacity Benefit Margin. 

GFF is the capacity reserved for grandfathered Firm Transmission Service and bundled contracts for energy and Transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or “Safe Harbor Tariff” accepted by FERC.
PTPF is the firm capacity reserved for confirmed Point-to-Point Transmission Service, 
RORF is the firm capacity reserved for Roll-over rights for contracts granting Transmission Customers the right of first refusal to take or continue to take Transmission Service when the Transmission Customer’s Transmission Service contract expires or is eligible for renewal.
OSF is the firm capacity reserved for any other service(s), contract(s), or agreement(s) not specified above using Firm Transmission Service.
R6. When calculating ETC for non-firm Existing Transmission Commitments (ETCNF) for all time horizons for a Posted Path the Transmission Service Provider shall use the following formula:  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
ETCNF = NITSNF + GFNF + PTPNF + OSNF
Where:

NITSNF is the non-firm capacity reserved for Network Integration Transmission Service serving Load, to include load growth, and losses not otherwise included in Transmission Reliability Margin or Capacity Benefit Margin.
GFNF is the non-firm capacity reserved for grandfathered Transmission Service and bundled contracts for energy and Transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or “Safe Harbor Tariff” accepted by FERC.
PTPNF is non-firm capacity reserved for confirmed Point-to-Point Transmission Service.
OSNF is the non-firm capacity reserved for any other service(s), contract(s), or agreement(s) not specified above using non-firm. 
R7. When calculating Firm ATC for a Posted Path for a specified period, the Transmission Service Provider shall use the following formula: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
ATCF = TTC – ETCF – CBM – TRM + PostbacksF + Counter-schedulesF
Where
ATCF is the firm Available Transfer Capability for the Posted Path for that period.
TTC is the Total Transfer Capability of the Posted Path for that period.
ETCF is the sum of existing firm commitments for the Posted Path during that period.
CBM is the Capacity Benefit Margin for the Posted Path during that period.
TRM is the Transmission Reliability Margin for the Posted Path during that period. 

PostbacksF​ are adjustments to firm Available Transfer Capability due to postbacks for that period, as defined in business practices.
Counter-schedulesF are adjustments to firm Available Transfer Capability as determined by the Transmission Service Provider and described in their Available Transfer Capability Implementation Document. 
R8. When calculating non-firm ATC for a Posted Path for a specified period, the Transmission Service Provider shall utilize the following formula: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
ATCNF = TTC – ETCF – ETCNF – CBMS – TRMU + PostbacksNF + Counter-schedulesNF
Where
ATCNF is the non-firm Available Transfer Capability for the Posted Path for that period.
TTC is the Total Transfer Capability of the Posted Path for that period.
ETCF is the sum of existing non-firm commitments for the Posted Path during that period.
ETCNF is the sum of existing non-firm commitments for the Posted Path during that period.
CBMS is the Capacity Benefit Margin for the Posted Path that has been scheduled during that period.
TRMU is the Transmission Reliability Margin for the Posted Path that has not been released for sale as non-firm capacity by the Transmission Service Provider during that period, 

PostbacksNF​ are adjustments to non-firm Available Transfer Capability due to postbacks for that period, as defined in business practices, and
Counter-schedulesNF  are adjustments to non-firm Available Transfer Capability as determined by the Transmission Service Provider and described in their Available Transfer Capability Implementation Document.
C. Measures

M1. Each Transmission Operator that uses the Rated System Path Methodology shall produce each Transmission model it used to calculate TTC for purposes of posting ATC for each Posted Path, as required in R1, for the time horizon(s) to be examined.
M1.1. Production shall be in the same form and format used by the Transmission Operator to calculate the TTC utilized in its posted ATC calculations, as required in R1.

M1.2. The Transmission model produced must show the use of each attribute specified in R1.1; except that, no evidence shall be required to prove: 1) utilization of a Special Protection System where none was included in the model or 2) that no additions or retirements to the generation or Transmission system occurred. 

M1.3. The Transmission model produced must show the use of the modeling parameters stated in R1.2.1 through R.1.2.6.

M2. Each Transmission Operator that uses the Rated System Path Methodology shall produce the ATCID
 it uses to show where it has described and used additional modeling criteria in its ACTID that are not otherwise including in MOD-29 (See R1.1.6, R.1.1.4 and R1.1.7).

M3. Each Transmission Operator that uses the Rated System Path Methodology shall produce the source documents reflecting the values it used to meet the requirements in R.1.1.5. for the period examined.

M4. Each Transmission Operator that uses the Rated System Path Methodology shall produce as evidence the study reports, as required in R.1.2.7, for each path for which it determined TTC for the period examined.

M4.1. 
M5. Each Transmission Operator shall provide evidence (such as logs or data) that it provided the TTC and its study report to the Transmission Service Provider within five days of the finalization of the study report.

M6. Each Transmission Operator shall provide evidence that it used the lesser of the calculated TTC or the SOL as the TTC, by producing: 1) all values calculated pursuant to R.1.2 for each Posted Path, 2) Any corresponding SOLs for those Posted Paths, and 3) the TTC set by the Transmission Operator and given to the Transmission Service Provider for use in R4 and R5 for each Posted Path
M7. Each Transmission Service Provider shall produce the formulas it used to calculate ETCs for Firm and Non-Firm Transmission Service, as required in R2 and R3, showing that only the variables allowed in R2 and R3 were utilized to calculate ETCs. 

M7.1. Production of the formulas shall be in the same form and format used by the Transmission Service Provider to calculate ETCs in R2 and R3.  

M8. Each Transmission Service Provider shall produce the formulas it used to calculate Firm and Non-Firm ATCs, as required in R4 and R5, showing that only the variables allowed in R4 and R5 were used to calculate ATCs.

M8.1. Production of the formulas shall be in the same form and format used by the Transmission Service Provider to calculate ATCs in R4 and R5.  

D. Compliance
1. Compliance Monitoring Process


1.1. Compliance Enforcement Authority
Regional Entity.

1.2. Compliance Monitoring Period and Reset Time Frame


Not applicable.
1.3. Data Retention

The Transmission Operator shall have its latest models used to determine TTC and evidence of previous versions for R1. (M1 and M6) 
The Transmission Operator shall have the current, in force ATCID(s) provided by its Transmission Service Provider(s) and any prior versions of the ATCID that were in force since the last compliance audit to show compliance with R1. (M2)
The Transmission Operator shall retain the latest version and the prior version of the source documents used to update its models to show compliance with R1. (M3)  
The Transmission Operator shall retain the latest version and prior version of the TTC study reports to show compliance with R1. (M4)
The Transmission Operator shall retain evidence for three calendar years to show compliance with R1. (M5 and M6) 
The Transmission Service Provider shall retain evidence for three calendar years to show compliance with R4, R5 and R6.  (M7 and M8)
If a Transmission Service Provider or Transmission Operator is found non-compliant, it shall keep information related to the non-compliance until found compliant. 

The Compliance Enforcement Authority shall keep the last audit records and all requested and submitted subsequent audit records.
1.4. Compliance Monitoring and Enforcement Processes: 
The following processes may be used:

· Compliance Audits

· Self-Certifications

· Spot Checking

· Compliance Violation Investigations

· Self-Reporting

· Complaints
1.5. Additional Compliance Information

None. 
2. Violation Severity Levels

2.1. Lower. There shall be a lower violation severity level if any of the following conditions exist:

2.1.1 The Transmission Operator met all but one of the modeling requirements specified in R1.1. (R1.1)

2.1.2 
2.1.3 The Transmission Operator provided the TTC and study report to the Transmission Service Provider after more than five, but within ten, business days after the report is finalized. (R1.2.8)
2.2. Moderate. There shall be a moderate violation severity level if any of the following conditions exist: 
2.2.1 The Transmission Operator met all but two of the modeling requirements specified in R1.1. (R1.1)

2.2.2 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and two to five of those Facility Ratings were used (or should have been used) to establish a TTC for one or more Posted Paths. (R1.1.5)
2.2.3 The Transmission Operator did not provide the TTC and study report to the Transmission Service Provider more than ten, but not more than fifteen, business days after the report is finalized. (R1.2.8)

2.3. High. There shall be a high violation severity level if any of the following conditions exist:

2.3.1 The Transmission Operator did not meet three of the modeling requirements specified in R1.1 (R1.1)

2.3.2 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and six to ten of those Facility Ratings were used (or should have been used) to establish a TTC for one or more Posted Paths. (R1.1.5)
2.3.3 The Transmission Operator did not provide the TTC and study report to the Transmission Service Provider more than fifteen, but not more than twenty, business days after the report is finalized. (R1.2.8)
2.3.4 The Transmission Operator did not specify the TTC as the lesser of the TTC calculated using the process described in R1.2 or the SOL for one to four Posted Paths. (1.3)

2.4. Severe. There shall be a severe violation severity level if any of the following conditions exist:

2.4.1 The Transmission Operator met four or more of the modeling requirements specified in R1.1 (R1.1)

2.4.2 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and eleven or more of those Facility Ratings were used (or should have been used) to establish a TTC for one or more Posted Paths. (R1.1.5)
2.4.3 The Transmission Operator did not calculate TTC using the process described in R1.2. (1.2)

2.4.4 The Transmission Operator did not specify the TTC as the lesser of the TTC calculated using the process described in R1.2 or the SOL, for five or more Posted Paths (1.3)

2.4.5 The Transmission Operator did not provide the TTC and study report to the Transmission Service Provider more than twenty, business days after the report is finalized. (R1.2.8)

2.4.6 The Transmission Service Provider did not use all the elements defined in R2 when determining Firm ETC, or used additional elements. (R2)

2.4.7 The Transmission Service Provider did not use all the elements defined in R3 when determining Non-Firm ETC, or used additional elements. (R3)
2.4.8 The Transmission Service Provider did not use all the elements defined in R4 when determining Firm ATC, or used additional elements. (R4)
2.4.9 The Transmission Service Provider did not use all the elements defined in R5 when determining Non-Firm ATC, or used additional elements. (R5)






� See Overview of Policies and Procedures for Regional Planning Project Review, Project Rating Review, and Progress Reports. (Overview) “5.0 Phase 2 Accepted Rating Comprehensive Study Plan, Study Methodology.  P. 47. � HYPERLINK "http://www.wecc.biz/documents/library/procedures/planning/Overview_Policies_Procedures_RegionalPlanning_ProjectReview_ProjectRating_ProgressReports_07-05.pdf" ��http://www.wecc.biz/documents/library/procedures/planning/Overview_Policies_Procedures_RegionalPlanning_ProjectReview_ProjectRating_ProgressReports_07-05.pdf�





� Overview.  5.5.2 Power flow Guidelines. 


� CAISO System Operating Limits (SOL) Methodology Guideline for the Planning Horizon.  Study Methodology.  Page 2. � HYPERLINK "http://www.caiso.com/1c13/1c1390d420810.pdf Page 3" ��http://www.caiso.com/1c13/1c1390d420810.pdf Page 3�. 


� WECC ATC Determination.  P. 6. 





�Can you re-state this to require that the TOP 'use' a Transmission model rather than 'ensure' - 'use' is easier to measure than 'ensure'.  


�Why would it be acceptable to model phase shifters in a manner other than as described in the ATCID?


�What about Facility Rating provided by the Generator Owner?


�Why isn't this a new requirement?  The instructions under R1.2 seem to apply to different entities in different time periods.  It isn't clear what the product of R1.2 will be. . .


�This is a requirement for the TSP embedded in a process for the TOP.  If this is something you want to hold the TSP accountable for, it should be in a separate requirement.  The requirement does not state what the TOP should do with this TTC relative to this process.  


�This is a requirement for the TSP embedded in a process for the TOP.  It isn't clear how the TOP is to use this information . . .  


�Under MOD-001, the TSP produces the ATCID, not the TOP.  Suggest rephrasing the measure.  


�Maureen – the SDT really would prefer this be 3 years instead of 6, because of the large amounts of data that will be required.  Is it OK for it to be 3?





Draft 2: October 25, 2007

Page 7 of 10 



