Standard MOD-030-1 — Flowgate Methodology

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC authorized posting TTC/ATC/AFC SAR development June 20, 2005.

2. SAC authorized the SAR to be development as a standard on February 14, 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.
4. SDT posted first draft for comment from May 25 – June 25, 2007
Description of Current Draft:

This is the second draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications identified in the SAR with consideration of applicable FERC directives from FERC Order 693 and Order 890.
Future Development Plan:

	1. Respond to comments.
	February 1

	2. Post for 30-day pre-ballot review.
	February 1

	3. First ballot of standard.
	March 3

	4. Respond to comments.
	April 10

	5. Recirculation ballot.
	April 10

	6. 30-day posting before board adoption.
	March 2

	7. Board adoption.
	April 24


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Flowgate: 

1.) A designated point on the Transmission system through which the Interchange Distribution Calculator calculates the power flow from Interchange Transactions.
2.) A mathematical construct, comprised of one or more monitored Facilities and optionally one or more contingency Facilities, used to analyze the impact of power flows upon the BES. 

Total Flowgate Capability (TFC): The maximum flow on a Flowgate that will respect all SOLs for that Flowgate.
Available Flowgate Capability (AFC): The flow capability remaining on a Flowgate for further commercial activity over and above already committed uses.
Power Transfer Distribution Factor (PTDF): A measure of the responsiveness or change in electrical loadings on system facilities due to a change in electric power transfer from one area to another, expressed in percent (up to 100%) of the change in power transfer.  The PTDF applies only for the pre-contingency configuration of the systems under study,
Outage Transfer Distribution Factor (OTDF): The electric power transfer distribution factor (PTDF) with a specific system facility removed from service (outaged).  The OTDF applies only for the post-contingency configuration of the systems under study.

Flowgate Methodology: The Flowgate methodology is characterized by identification of key facilities as Flowgates.  Total Flowgate Capabilities are determined based on facility ratings.  The impacts of ETC are determined by simulation.  The impacts of ETC, CBM and TRM are subtracted from the TFC to determine the AFC value for that Flowgate.  AFCs are used to determine ATC.
A. Introduction

1. Title:
Flowgate Methodology
2. Number:
MOD-030-1 
3. Purpose:
To increase consistency and transparency in the development and documentation of Available Transfer Capability (ATC) calculations for short-term Transmission services performed by entities using the Flowgate Methodology for reliable system operations.
4. Applicability:

4.1. Each Transmission Operator that uses the Flowgate Methodology to support the calculation of Available Transfer Capabilities for Posted Paths.
4.2. Each Transmission Service Provider that uses the Flowgate Methodology to calculate Available Transfer Capabilities for Posted Paths.
5. Effective Date:
TBD
B. Requirements
R1. The Transmission Service provider shall include in its “Available Transfer Capability Implementation Document” the criteria used by the Transmission Operator to identify sets of Transmission Facilities as Flowgates that are to be considered in Available Flowgate Capability calculations.  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R2. The Transmission Operator shall   [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R2.1. Identify Flowgates to be utilized in the AFC process based, at a minimum,  on the following criteria: 

R2.1.1. Any Facility within the Transmission Operator’s area based on thermal, stability or voltage limits
R2.1.2. All first Contingency transfer analysis from all adjacent Balancing Authority source sink combinations must be included such that at a minimum the first three limiting Elements/Contingency combinations within the Transmission Operator’s system are included as Flowgates.

2.1.2.1. Contingencies used should match the Contingencies used in operations studies and planning studies for the applicable time periods.
R2.1.3. Any limiting Element/Contingency combination within the Transmission model that has been subjected to an Interconnection-wide congestion management procedure  OR any limiting element/contingency combination within the Transmission model that has been requested to be included by any other Transmission Service Provider using the Flowgate Methodology or Area Interchange Methodology, where

2.1.3.1. If the coordination of the limiting element/contingency combination is not already addressed through a different methodology, and 

· Any generator within the Transmission Service Provider’s area has at least a 5% PTDF impact on the Flowgate when delivered to the aggregate load of its own area, or

· A transfer from any Balancing Area within the Transmission Service Provider’s area to a Balancing Area adjacent has at least a 5% PTDF impact on the Flowgate.
R2.2. At a minimum, update the list of Flowgates to create, modify, or delete Flowgate definitions at least once per calendar quarter

R2.3. Determine the TFC of each of the defined Flowgates as equal to: 
· For thermal limits, the SOL of the Flowgate. 
· For voltage or stability limits, the flow that will respect the SOL of the Flowgate.

R2.4. At a minimum, update the TFC once per calendar year

R2.5. Provide the Transmission Service Provider with the updated TFCs within five business days of their determination  
R3. The Transmission Operator shall ensure the Transmission model used to determine Available Flowgate Capability (AFC)  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
· Contains Facility Ratings specified by the Transmission Owners or Generation Owners of the facilities within the model

· Is updated at least

· Once per day for AFC calculations for intra-day, next day, and days 2 through 30

· Once per month for AFC calculations for months 2 through 13
· Contains modeling data and topology for the Facilities within its Reliability Coordinator’s area of responsibility 

· Contains modeling data and topology for at least three contiguous busses of the BES directly and synchronously connected to the tie-lines into the systems of each adjacent Reliability Coordinator area.
· Contains modeling data and topology (or equivalent representation) for synchronous Facilities beyond three busses.
R4. When calculating AFCs, the Transmission Service Provider shall: 
R4.1. Ensure all assumptions used shall be consistent with the assumptions used in operations studies and planning studies for the applicable time periods, including: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
· Contingencies

· Modeling the impact of point-to-point reservations as follows: 

· If the source has been specified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, the discretely modeled point shall be used as the source.
· If the source has been specified in the reservation and the point can be mapped to an “equivalence” modeled in the Transmission Service Provider’s Transmission model, the modeled equivalence shall be used as the source.
· If the source has been specified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” modeled in the Transmission Service Provider’s Transmission model, the interface point with the adjacent upstream Transmission Service Provider shall be used as the source.
· If the source has not been specified, the interface point with the adjacent upstream Transmission Service Provider shall be used as the source.
· If the sink has been specified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, the discretely modeled point shall be used as the sink.
· If the sink has been specified in the reservation and the point can be mapped to an “equivalence” modeled in the Transmission Service Provider’s Transmission model, the modeled equivalence shall be used as the sink.
· If the sink has been specified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” modeled in the Transmission Service Provider’s Transmission model, the interface point with the adjacent downstream Transmission Service Provider shall be used as the sink.
· If the sink has not been specified, the interface point with the adjacent downstream Transmission Service Provider shall be used as the sink.
R4.2. Include all expected generation and Transmission outages, additions, and retirements in effect during the period calculated for the Transmission Service Provider’s area, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed.  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R4.3. For external (third-party) Flowgates, utilize any AFC for each specific Flowgate provided by that third party as the AFC for that Flowgate. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R5. When calculating the impact of ETC for firm commitments (ETCFi) for all time horizons for a Flowgate, the Transmission Service Provider shall sum:  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R5.1. The impact of Firm Network and Native Load Service, for the Transmission Service Provider’s area, all adjacent Transmission Service Providers, and any other Transmission Service Providers with which coordination agreements have been executed, based on: 

R5.1.1. For on-peak intra-day and next-day AFCs
· Peak Load forecast for the on-peak period calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load 

· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.
R5.1.2. For off-peak intra-day and next-day AFCs
· Peak Load forecast for the off-peak period calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load 

· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.
R5.1.3. For Day 2 through 7 AFCs
· Peak Load forecast for the day calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load 

· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.
R5.1.4. For Day 8 through 31 AFCs
· Peak Load forecast for the day calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load
· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.
R5.1.5. For Month 2 through 13 AFCs
· Peak Load forecast for the month calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load 

· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.
R5.2. The impact of all confirmed firm Point-to-Point Transmission Service expected to be scheduled, including roll-over rights for Firm Transmission Service contracts, for the Transmission Service Provider’s area not included in the model
R5.3. The impact of any confirmed firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, including roll-over rights for Firm Transmission Service contracts, not included in the model in excess of 3% for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed. Transmission Service Providers may use a threshold lower than 3% if desired.
R5.4. The impact of any Grandfathered firm contracts expected to be scheduled for the Transmission Service Provider’s area not included in the model
R5.5. The impact of any Grandfathered firm contracts expected to be scheduled not included in the model in excess of 3% for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.  Transmission Service Providers may use a threshold lower than 3% if desired.
R6. When calculating the impact of ETC for non-firm commitments (ETCNFi) for all time horizons for a Flowgate the Transmission Service Provider shall sum: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R6.1. The impact of all confirmed non-firm Point-to-Point Transmission Service not included in the model for the Transmission Service Provider’s area 

R6.2. The impact of any confirmed non-firm Point-to-Point Transmission Service not included in the model in excess of 3% for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.  Transmission Service Providers may use a threshold lower than 3% if desired.
R6.3. The impact of any Grandfathered non-firm contracts not included in the model for the Transmission Service Provider’s area

R6.4. The impact of any Grandfathered non-firm contracts not included in the model in excess of 3% for all adjacent Transmission Service Providers, and any other Transmission Service Providers with which coordination agreements have been executed. Transmission Service Providers may use a threshold lower than 3% if desired.
R7. When calculating firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall utilize the following formula: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
AFCF = TFC – ETCFi – CBMi – TRMi + PostbacksFi + CounterflowsFi
where
AFCF is the firm Available Flowgate Capability for the Flowgate for that period,

TFC is the Total Flowgate Capability of the Flowgate,

ETCFi is the sum of the impacts of existing firm Transmission commitments for the Flowgate during that period,

CBMi is the impact of the Capacity Benefit Margin on the Flowgate during that period,

TRM​i is the impact of the Transmission Reliability Margin on the Flowgate during that period, 

PostbacksF​i are adjustments to firm AFC due to postbacks for that period, as defined in Business Practices, and

CounterflowsFi are adjustments to firm ATC as determined by the Transmission Service Provider and described in their ATCID. 
R8. When calculating non-firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall utilize the following formula: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
AFCNF = TFC – ETCFi – ETCNFi – CBMSi – TRMUi + PostbacksNFi + Counterflows
where

ATCNF is the non-firm Available Flowgate Capability for the Posted Path for that period,

TFC is the Total Flowgate Capability of the Flowgate,
ETCFi is the sum of the impacts of existing firm Transmission commitments for the Flowgate during that period,,
ETCNFi is the sum of the impacts of existing non-firm Transmission commitments for the Flowgate during that period,,

CBMSi is the impact of any schedules during that period using Capacity Benefit Margin,

TRMUi is the impact on the Flowgate of the Transmission Reliability Margin that has not been released for sale as non-firm capacity by the Transmission Service Provider during that period, 

PostbacksNF​ are adjustments to non-firm AFC due to postbacks for that period, as defined in Business Practices, and

CounterflowsNF are adjustments to non-firm AFC as determined by the Transmission Service Provider and described in their ATCID.
R9. The Transmission Service Provider shall convert Flowgate AFCs to ATCs (and TFCs to TTCs) for Posted Paths based on the following formula: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
TC = min{PTC1, PTC2,…PTCn}

And
PTCn = 
[image: image1.wmf]np

n

DF

FC


And

TC is the Transfer Capability (either Available or Total),
P is the set of partial Transfer Capabilities (either available or total) for all “impacted” Flowgates honored by the Transmission Service Provider; a Flowgate is considered “impacted” by a path if the Distribution Factor for that path is greater than 3% on an OTDF Flowgate or PTDF Flowgate,

PTCn is the partial Transfer Capability (either available or total) for a path relative to a Flowgate n
FCn  is the Flowgate Capability (available or total) of a Flowgate n, and 

DFnp is the distribution factor for Flowgate n relative to path p.
C. Measures

M1. Each Transmission Service Provider shall provide evidence (such as written documentation) that its ATCID contained the criteria used by the Transmission Operator to identify sets of Transmission Facilities as Flowgates that are to be considered in AFC calculations.   (R1)
M2. The Transmission Operator shall provide evidence (such as studies and working papers) that all Flowgates that met the criteria described in R2.1 are considered in their AFC calculations.  (R2.1)
M3. The Transmission Operator shall provide evidence (such as logs) that they updated their list of Flowgates at least once per quarter. (R2.2)
M4. The Transmission Operator shall provide evidence (such as data and models) that they determined the TFC for each Flowgate as defined in R2.3.(R2.3)

M5. The Transmission Operator shall provide evidence (such as logs) that they updated the TFCs for each Flowgate at least once per calendar year. (R2.4)
M6. The Transmission Operator shall provide evidence (such as logs and electronic communication) that they provided the Transmission Service Provider with updated TFCs within five business days of their determination. (R2.5)
M7. The Transmission Operator shall provide evidence (such as written documentation, logs, models, and data) that the Transmission model used to determine AFCs contains the information specified in  R3. (R3)
M8. The Transmission Service Provider shall provide evidence (such as written documentation and studies) that the assumptions used in AFC calculation were consistent with those used in operations and planning studies for the same period. (R4.1)
M9. The Transmission Service Provider shall provide evidence (such as written documentation and data) that the modeling of point-to-point reservations was based on the rules described in R4.1. (R4.1)

M10. The Transmission Service Provider shall provide evidence (such as written documentation, electronic communications, and data) that all expected generation and Transmission outages, additions, and retirements were included in the AFC calculation. (R4.2)

M11. The Transmission Service Provider shall provide evidence (such as logs, electronic communications, and data) that AFCs provided by third parties were utilized instead of those calculated by the Transmission Operator. (R4.3)
M12. The Transmission Service Provider shall provide evidence (such as documentation and data) that the determination of firm ETC included the elements described in R5 and did not include any additional elements. (R5)
M13. The Transmission Service Provider shall provide evidence (such as documentation and data) that the determination of non-firm ETC included the elements described in R6 and did not include any additional elements. (R6)
M14. The Transmission Service Provider shall provide evidence (such as documentation and data) that the determination of firm AFC utilized the formula and the elements described in R7 and did not include any additional elements. (R7)
M15. The Transmission Service Provider shall provide evidence (such as documentation and data) that the determination of non-firm AFC utilized the formula and the elements described in R8 and did not include any additional elements. (R8)
M16. The Transmission Service Provider shall provide evidence (such as documentation and data) that the determination of Transfer Capabilities follows the procedure described in R9. (R9)
D. Compliance
1. Compliance Monitoring Process

The Regional Entity shall have responsibility for compliance monitoring.

1.1. Compliance Monitoring Responsibility

Regional Entity.

1.2. Compliance Monitoring Period and Reset Time Frame

Compliance Monitoring Period: One calendar year.

Reset Period: One month without a violation.

1.3. Data Retention

The Transmission Service Provider shall maintain data for the duration the criteria are in effect plus three
 calendar years thereafter for R1.

The Transmission Operator shall maintain data for the duration each Flowgate is used in the AFC process plus three calendar years thereafter for R2.1.

The Transmission Operator shall maintain data for three years plus current for R2.2, R2.3, and R2.4.

The Transmission Service Provider shall maintain data for three years plus current for R2.5, R3, and R4.1, R4.2, R4.3, R5, R6, R7, R8, and R9.
1.4. Additional Compliance Information

Each Transmission Operator and Transmission Service Provider shall demonstrate compliance through self-certification submitted to its Compliance Monitor at least annually and reporting by exception. The Compliance Monitor will also use scheduled on-site reviews at least every three years for Transmission Operators, and at least every 6 years for the Transmission Service Provider, and investigations upon complaint, to assess performance. 

2. Violation Severity Levels

2.1. Lower. There shall be a lower violation severity level if any of the following conditions exist:

2.1.1 The Transmission Operator has not updated its list of Flowgates for more than two quarters but not more than three quarters. (R2.2)

2.1.2 The Transmission Operator has not provided its Transmission Service Provider with its Flowgate TFCs within five business days of their determination, but is has not been more than ten business days since their determination. (R2.5)

2.1.3 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and one of those Facility Ratings was used (or should have been used) to establish a TFC for one or more flowgates. (R3)

2.1.4 The Transmission Service Provider did not include one to ten expected generation or Transmission outages, additions or retirements in the AFC process. (R4.2)
2.2. Moderate. There shall be a moderate violation severity level if any of the following conditions exist: 

2.2.1 The Transmission Operator did not include a Flowgate in their AFC calculations that met the criteria described in R2.1.(R2.1)
2.2.2 The Transmission Operator has not updated its list of Flowgates for more than three but not more than four consecutive quarters. (R2.2)
2.2.3 The Transmission Operator has not updated its Flowgate TFCs at least once within a calendar year, and it has been not more than 15 months since the last update. (R2.4)

2.2.4 The Transmission Operator has not provided its Transmission Service Provider with its Flowgate TFCs within ten business days of their determination, but is has not been more than fifteen business days since their determination. (R2.5)
2.2.5 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and two to five of those Facility Ratings were used (or should have been used) to establish a TFC for one or more flowgates. (R3)

2.2.6 The Transmission Service Provider did not include eleven to twenty-five expected generation and Transmission outages, additions or retirements in the AFC process. (R4.2)

2.3. High. There shall be a high violation severity level if any of the following conditions exist:

2.3.1 The Transmission Operator did not include two to five Flowgates in their AFC calculations that met the criteria described in R2.1. (R2.1)
2.3.2 The Transmission Operator has not updated its list of Flowgates for more than four but not more than five consecutive quarters. (R2.2)
2.3.3 The Transmission Operator has not updated its Flowgate TFCs at least once within a calendar year, and it has been more than 15 months but not more than 18 months since the last update. (R2.4)

2.3.4 The Transmission Operator has not provided its Transmission Service Provider with its Flowgate TFCs within fifteen business days of their determination, but is has not been more than twenty business days since their determination. (R2.5)
2.3.5 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and six to ten of those Facility Ratings were used (or should have been used) to establish a TFC for one more flowgates. (R3)
2.3.6 The Transmission operator did not include in the Transmission model detailed modeling data and topology at least three contiguous busses of the BES for one adjacent Reliability Coordinator area. (R3)

2.3.7 The Transmission Service Provider did not include twenty-six to fifty expected generation and Transmission outages, additions or retirements in the AFC process. (R4.2)
2.4. Severe. There shall be a severe violation severity level if any of the following conditions exist:

2.4.1 The Transmission Service Provider does not include in its ATCID the criteria for identifying Flowgates to be considered in AFC calculations. (R1)  

2.4.2 The Transmission Operator did not include six or more Flowgates in their AFC calculations that met the criteria described in R2.1. (R2.1)
2.4.3 The Transmission Operator has not updated its list of Flowgates for more than five consecutive quarters. (R2.2)

2.4.4 The Transmission Operator did not determine the TFC for a flowgate as described in R2.3. (R2.3)

2.4.5 The Transmission Operator has not updated its Flowgate TFCs at least once within a calendar year, and it has been more than 18 months since the last update. (R2.4)

2.4.6 The Transmission Operator has not provided its Transmission Service Provider with its Flowgate TFCs within 20 business days of their determination (R2.5)
2.4.7 The Transmission Operator did not update the Transmission model per the schedule specified in R3. (R3)
2.4.8 The Transmission Operator utilized Facility Ratings that were different from those specified by a Transmission Owner in their Transmission model and eleven or more of those Facility Ratings were used (or should have been used) to establish a TFC for one or more flowgates. (R3)
2.4.9 The Transmission operator did not include in the Transmission model detailed modeling data and topology for its own Reliability Coordinator area. (R3)

2.4.10 The Transmission operator did not include in the Transmission model detailed modeling data and topology at least three contiguous busses of the BES for more than one adjacent Reliability Coordinator area. (R3)

2.4.11 The Transmission Service Provider did not use assumptions consistent with those used in operations and planning studies for the same period (R4.1)

2.4.12 The Transmission Service Provider did not model reservations as described in R4.1. (R4.1)

2.4.13 The Transmission Service Provider did not include more than fifty expected generation and Transmission outages, additions or retirements in the AFC process. (R4.2)
2.4.14 The Transmission Service provider did not use AFC provided by a third party. (R4.3)

2.4.15 The Transmission Service Provider did not use all the elements defined in R5 when determining firm ETC, or used additional elements. (R5)

2.4.16 The Transmission Service Provider did not use all the elements defined in R6 when determining non-firm ETC, or used additional elements. (R6)
2.4.17 The Transmission Service Provider did not use all the elements defined in R7 when determining firm AFC, or used additional elements. (R7)

2.4.18 The Transmission Service Provider did not use all the elements defined in R8 when determining non-firm AFC, or used additional elements. (R8)
2.4.19 The Transmission Service Provider did not follow the procedure for determining Transfer Capabilities described in R9.  (R9)

�Maureen – the SDT really would prefer this be 3 years instead of 6, because of the large amounts of data that will be required.  Is it OK for it to be 3?





Draft 2: October 25, 2007
2 of 13 

Proposed Effective Date: To be determined.

_1251272894.unknown

