Draft CBM Requirements
001-x : Capacity Benefit Margin (CBM)

Any Load Serving Entity (LSE) shall have the right to request the transmission provider to set aside transfer capability as CBM for the LSE to meet its historical, state, RTO, or regional generation reliability criteria requirement such as reserve margin, loss of load probability (LOLP), the loss of largest units, etc. This will be referred to as a CBM Request.
001-x.1 Rights Conveyed


The confirmation of a CBM request shall convey that the CBM has been set aside in the amount of the request or TP determination on the path or flowgate that has been designated or counteroffered on the request

001-x.1.1 The LSE shall have the right to request the transmission provider to set aside CBM for use in the case of an emergency. This will be referred to as CBM Request.

001-x.1.2 The LSE shall have the right to request the transmission provider to use the set aside CBM in the case of an emergency. This will be referred to as CBM Usage.

001-x.1.3 Upon confirmation of a CBM Request, the LSE shall obtain the rights for CBM Usage for the time frame and in the amount of the CBM Request on the path or flowgate requested.

001-x.1.4 If the Transmission Provider (TP) determines the LSE is not the legitimate owner of the CBM capacity in the Reservation(s), the TP has the right to nullify the CBM Request.

001-x.1.5 The LSE shall be obligated directly to the TP for all arrangements required for scheduling transactions on the TP’s system, including submission of CBM Usage, submission of schedules, provision for losses, etc.
001-x.1.6 Renewal rights, if any, are not conveyed in CBM Request or CBM Usage.
001-x.1.7 The LSE shall not have the right to resell rights acquired through a CBM Request or CBM Usage.
001-x.1.8 The LSE shall not have the right to redirect rights acquired through a CBM Request or CBM Usage.
001-x.1.9 The LSE must execute a service agreement with the Transmission Provider that will govern the provision of the CBM Request prior to the confirmation of the CBM Request.
001-x.1.10 LSE’s shall not have rights to the CBM on any path or flowgate unless the LSE has a confirmed CBM Request.

001-x.2: Financial Obligations


CBM Request and CBM Usage shall not effect the Financially Obligated Transmission Customer’s (FOTC) financial obligations to the TP or any other terms of service under the tariff with respect to fixed reservation-based charges.
001-x.2.1 The LSE shall be obligated directly to the TP for any usage-based charges and overuse penalties resulting from its subsequent use of the CBM Usage.

001-x.2.2 The TP may annul the CBM Request in absence of an executed agreement as specified in Standard Y.1.9.
001-x.3: Service Attributes and Timing

CBM Request or CBM Usage shall have the same attributes as any other firm network request.
001-x.3.1 The CBM set aside shall be updated on a yearly basis by the LSE. No later than 60 days prior to the end of the current year.
001-x.3.2 The LSE may update the CBM set aside to reflect any changes that alter future need for CBM 30 days of becoming aware of those changes.
001-x.3.3 The CBM Request shall cover each year for the next ten years.

001-x.3.4 The service arranged through CBM Request cannot be resold.

001-x.4: Quantity

A CBM Request and CBM Usage must be made in whole MW’s 

001-x.4.1 CBM Usage shall be equal to or less than the Granted Capacity of the CBM Request(s), less any reductions (e.g. confirmed CBM Usage, curtailments, or implemented schedules) unless the TP allows unused CBM set aside from other customers made available on the requested path.

001-x.4.2 The CBM set aside shall be the total of the CBM Request(s), less any confirmed CBM Usage.

001-x.5: Posting on OASIS

All CBM Request(s) and all CBM Usage(s) shall be posted on OASIS.

001-x.5.1 A CBM Request shall be arranged between the LSE and the TP on OASIS.

001-x.5.1.1 A CBM Request shall be submitted to the primary Transmission Provider with a REQUEST_TYPE of CBMREQUEST.
001-x.5.1.2 A CBM Request shall be queued and treated in the same manner as any other firm network request, subject to the other requirements of this standard.
001-x.5.1.3 A CBM Request must be submitted, and is subject to all request timing requirements consistent with a reservation for Firm service of similar duration, subject to the other requirements of this standard.
001-x.5.1.4 The CBM Request will not have an impact on ATC calculations. This request is only for the purpose of requesting CBM set aside to the TP.
001-x.5.1.5 The CBM Request shall have a request period of ten years.

001-x.5.1.6 The CBM Request shall have the attributes of SERVICE_INCREMENT of YEARLY.

001-x.5.1.7 The CBM Request shall be updated yearly per TP requirements described in “Capacity Benefit Margin Implementation Document” (CBMID) for the next ten years.
001-x.5.1.8 The new confirmed CBM Request shall DISPLACED the old request.

001-x.5.2 A CBM Usage shall be arranged between the LSE and the TP on OASIS.

001-x.5.2.1 The CBM Usage shall be submitted to the primary Transmission Provider with the REQUEST_TYPE of CBMUSAGE.

001-x.5.2.2 The TP shall have the right to reject or COUNTEROFFER any request for CBM Usage that would exceed the Capacity Available for CBM at that point in time (i.e., at the time of attempted confirmation and over the time interval of CBM).
001-x.5.2.3 A CBM Usage request must represent an established Firm Network Service Increment (e.g., Daily, Monthly, etc.) offered by the Transmission Provider.
001-x.5.2.4 After the CBM Usage request has been confirmed by the TP the CBM set aside shall be adjusted per the amount of the CBM Usage request.

001-x.5.2.5 After the CBM Usage request has been confirmed by the TP the Non-Firm reservations shall be curtailed if needed to be adjusted per the amount of the CBM Usage request.
001-x.5.2.6 Renewal rights, if any, are not conveyed in a CBM Usage.
001-x.5.2.7 The TP may reject or annul a CBM Usage request in absence of an executed service agreement.
001-x.5.2.8 Requests for CBM Usage shall be submitted by the LSE as pre-confirmed.
001-x.5.3 Firm and Non-Firm ATC Calculations
001-x.5.3.1 Firm ATC calculations shall be decremented for CBM set aside.

001-x.5.3.2 Non-Firm ATC calculations shall not be decremented for CBM set aside.

001-x.6 Displacement of CBM set aside

CBM Request or CBM Usage for firm CBM set aside are not subject to displacement.

Things to do and consider

1) Put in REQUEST_TYPE of CBMREQUEST and CBMUSAGE into WEQ 003 Data Dictionary,
2) Change 002-4.5.1 Information related to CBM and TRM will be in the ATC Information Link probably 4.5.3.

3)  
