Standard MOD-001-1 — Available Transfer Capability

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.
4. SDT posted first draft for comment from February 15 – March 16, 2007.
5. SDT posted second draft for comment from May 25 – June 25, 2007.
Description of Current Draft:

This is the third draft of the proposed standard posted for stakeholder comments.  This draft represents consideration of stakeholder comments submitted with the second draft of the proposed revisions to MOD-001 as well as consideration of applicable FERC directives from FERC Order 693 and Order 890.
Future Development Plan:

	1. Respond to comments.
	February 1, 2008

	2. Post for 30-day pre-ballot review.
	February 1, 2008

	3. First ballot of standard.
	March 3, 2008

	4. Respond to comments.
	April 10, 2008

	5. Recirculation ballot.
	April 10, 2008

	6. 30 Day posting before board adoption.
	March 2, 2008

	7. Board adopts MOD-001-1.
	April 24, 2008


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Posted Path:

1) Any Balancing Authority to Balancing Authority interconnection; 
2) Any path for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months; 
3) Any path for which a Transmission Customer requests to have ATC or TTC posted.  
Available Transfer Capability Implementation Document (ATCID):  A document that describes the implementation of an Available Transfer Capability methodology.

Transmission Operator Area: The collection of Transmission assets over which the Transmission Operator is responsible for operating. 

Existing Transmission Commitments (ETC): Committed uses of a Transmission Service Provider’s Transmission system considered when determining ATC.

Planning Coordinator: See Planning Authority.
Introduction

1. Title:
Available Transfer Capability
2. Number:
MOD-001-1 
3. Purpose:
To promote the consistent and transparent application and documentation of Available Transfer Capability (ATC) calculations for reliable system operations.  
4. Applicability:

4.1. Transmission Service Provider. 

4.2. Transmission Operator.
5. Effective Date:
TBD
B. Requirements

R1. Each Transmission Operator shall select one ATC methodology
 (Area Interchange methodology, Rated System Path methodology, or Flowgate methodology) for each Posted Path per time period for use in determining Transfer Capabilities of those Facilities within its Planning Coordinator’s planning area.  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R2. Each Transmission Service Providers shall calculate ATC values for the time periods listed below using the selected ATC methodology or methodologies: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R2.1. Hourly ATC values for at least the next 168 hours. 
R2.2. Daily ATC values for at least the next 31 days.
R2.3. Monthly ATC values for at least the current month plus the next 12 months. 
R3. Each Transmission Service Provider shall prepare and keep current an Available Transfer Capability Implementation Document (ATCID) that includes, at a minimum, the following information: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R3.1. Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC calculations may be validated.
R3.2. A description of the manner in which the Transmission Service Provider will account for counterflows or counter-schedules
R3.3. The identity of the Planning Coordinator and Transmission Operator associated with each Facility under the Transmission Service Provider’s tariff.
R3.4. The identity of the Transmission Service Providers and Transmission Operators to which it provides data for use in calculating transfer capability.
R3.5. The identity of the Transmission Service Providers from which it receives data for use in calculating transfer capability.
R3.6. Allocation methodologies.

R4. When determining the impact of counterflows in the determination of firm ATC or AFC, the Transmission Service Provider shall use 0% of calculated counterflows based on reservations and/or schedules unless otherwise specified within the Transmission Service Provider’s ATCID. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
R5. When determining the impact of counterflows in the determination of non-firm ATC or AFC, the Transmission Service Provider shall apply the following: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R5.1. Use 0% of calculated counterflows based on reservations unless otherwise specified within the Transmission Service Provider’s ATCID.  
R5.2. Use 100% of calculated counterflows based on schedules unless otherwise specified within the Transmission Service Provider’s ATCID.
R6. The Transmission Service Provider shall notify the following entities (via electronic mail) a minimum of 14 calendar days before implementing a new or revised ATCID: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R6.1. Each Planning Coordinator associated with the Transmission Service Provider’s area.

R6.2. Each Reliability Coordinator associated with the Transmission Service Provider’s area.

R6.3. Each Transmission Operator associated with the Transmission Service Provider’s area.

R6.4. Each Planning Coordinator adjacent to the Transmission Service Provider’s area.

R6.5. Each Reliability Coordinator adjacent to the Transmission Service Provider’s area.

R6.6. Each Transmission Service Provider whose area is adjacent to the Transmission Service Provider’s area.

R7. The Transmission Service Provider shall make available the ATCID and any changes to the ATCID to all of the entities specified in R6. [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R8. When calculating TTC, AFC and ATC, the Transmission Operator and Transmission Service Provider shall each use assumptions consistent with those used in any associated operations studies or planning studies for the time period studied.  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R9. Each Transmission Service Provider shall update ATC at a minimum on the following frequency:  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R9.1. For hourly ATC, once per hour. 

R9.2. For daily ATC, once per day. 

R9.3. 
R9.4. For monthly ATC, once a week.

R10. Within fourteen calendar days of a request of any Transmission Service Provider, Planning Coordinator, Reliability Coordinator, or Transmission Operator, each Transmission Service Provider shall begin to make available on the schedule specified by the requester (but no more frequently than once per hour, unless mutually agreed to by the requester and the provider), unless another request already specifies data on a more frequent basis, to each requester, current versions of the following data as requested in electronic format for use in ATC calculations, for up to 13 months into the future (subject to confidentiality and security requirements): [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R10.1. Expected generation and Transmission outages, additions, and retirements 
R10.2. Peak Load forecasts 
R10.3. Unit commitments and dispatch orders, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:

· Dispatch order

· Participation factors

· Block dispatch

R10.4. Firm and non-firm Network Integration Transmission Service details

R10.5. Confirmed firm and non-firm Transmission reservations 

R10.6. Grandfathered firm and non-firm contracts
R10.7. Firm roll-over rights
R10.8. Any firm and non-firm adjustments to reflect parallel path impacts

R10.9. Power flow models and underlying assumptions
R10.10. Contingencies, provided in one or more of the following formats:
· A list of Elements

· A list of Flowgates

· A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider

R10.11. Facility Ratings
R10.12. Counterflows
R10.13. Values of ATC, ETC, CBM,  TRM, and TTC for all Posted Paths

R10.14. Values of TFC and AFC for any Flowgates considered by the Transmission Service Provider when selling Transmission service 
R10.15. Source and sink identification and mapping to the model
C. Measures

M1. 
The Transmission Operator shall provide evidence (such as a calculation, inclusion of the information in the ATCID, or other written documentation) that it has selected one or more of the specified ATC methodologies for use in determining Transfer Capabilities of those Facilities for each Posted Path per timeframe within the Planning Coordinator’s planning area. (R1). 
M2. 
The Transmission Operator and Transmission Service Provider shall each provide ATC values and identification of the selected ATC methodologies along with other evidence (such as written documentation, processes, or data)to show it calculated ATC for the following using the selected methodology or methodologies chosen as part of R1 (R1):

· There has been at least 168 hours of hourly ATC values calculated at all times.
· There has been at least 31 days of daily ATC values calculated at all times.
· There has been at least 12 months plus the current month of monthly ATC values calculated at all times.
M3. 
The Transmission Service Provider shall provide its current ATCID that contains all the information specified in R3. (R3)
M4. 
The Transmission Service Provider shall provide its ATCID and other evidence (such as documentation and data) to show that it determined counterflows based on the rules in R4 and R5. (R4) (R5)
M5. 
The Transmission Service Provider shall provide copies of its dated electronic mail messages used to make notifications in accordance with R6 as evidence that it has notified the entities specified in R5 a minimum of 14 calendar days before a new or revised ATCID was implemented (R6) 
M6. 
The Transmission Service Provider shall provide evidence (such as a demonstration) that the current ATCID is available to all of the entities specified in R6, as required by R7. (R7)
M7. 
The Transmission Service Provider and Transmission Operator shall each provide a copy of the assumptions used to calculate TTC, ATC and AFC as well as copies of operations and planning studies and other evidence (such as written documentation, models, studies, supporting information, or data) to show that the assumptions used in determining TTC, ATC, and AFC were consistent with those used in operations or planning studies for the time period studied. (R8)
M8. 
The Transmission Service Provider shall provide evidence (such as logs or data) that it has updated the hourly, daily, and monthly ATC on at least the minimum frequencies specified in R9.
M9. 
The Transmission Service Provider shall provide a copy of the dated request for ATC data as well as evidence to show the its response to that request (such as logs or data,) to show that within fourteen calendar days of receiving a request, the requested data items specified in R10 were made available in accordance with R10.  
D. Compliance
1. Compliance Monitoring Process

1.1. Compliance Enforcement Authority
Regional Entity.

1.2. Compliance Monitoring Period and Reset Time Frame

Not applicable.
1.3. Data Retention

The Transmission Operator shall maintain its current, in force selection of methods for calculating ATC and any methods in force since last compliance audit period to show compliance with R1.

Each Transmission Operator and Transmission Service Provider shall maintain evidence to show compliance with R2, R4, R5 and R8 for one calendar year.  

Each Transmission Operator and Transmission Service Provider shall maintain evidence to show compliance with R2, R4, R5 and R8 for one calendar year.  
Each Transmission Service Provider shall maintain its current, in force ATCID and any prior versions of the ATCID that were in force since the last compliance audit to show compliance with R3.

The Transmission Service Provider shall maintain evidence to show compliance with R6 for one calendar year. 

The Transmission Service Provider shall maintain evidence to show compliance with R7 for three calendar years. 
The Transmission Service Provider shall maintain evidence to show compliance with R9 and R10 for one calendar year.  

If a Transmission Service Provider or Transmission Operator is found non-compliant, it shall keep information related to the non-compliance until found compliant. 

The Compliance Enforcement Authority shall keep the last audit records and all requested and submitted subsequent audit records.  

1.4. Compliance Monitoring and Enforcement Processes:

The following processes may be used:

· Compliance Audits

· Self-Certifications

· Spot Checking

· Compliance Violation Investigations

· Self-Reporting

· Complaints
1.5. Additional Compliance Information

None.
2. Violation Severity Levels

2.1. Lower. There shall be a lower violation severity level if any of the following conditions exist:

2.1.1 The Transmission Service Provider has an ATCID that does not incorporate changes made up to three months ago. (R3). 
2.1.2 The Transmission Service Provider did not notify a party specified in R6 of a new or modified ATCID within 14 days of its effectiveness. (R6)

2.2. Moderate. There shall be a moderate violation severity level if any of the following conditions exist: 

2.2.1 The Transmission Service Provider has an ATCID that does not incorporate changes made from three months up to six months ago. (R3).
2.2.2 The Transmission Service Provider did not notify a party specified in R6 of a new or modified ATCID within 30 days of its effectiveness. (R6)

2.2.3 The Transmission Service Provider did not, within a time period of fourteen to 28 calendar days of receiving a request, make available the requested data items specified in R10 to the entities specified within the requirement, per the schedule specified in the request, subject to the limitations specified in R10. (R10)

2.3. High. There shall be a high violation severity level if any of the following conditions exist:
2.3.1 The Transmission Service Provider has an ATCID that does not incorporate changes made from six months up to one year ago. (R3).

2.3.2 The Transmission Service Provider has an ATCID, but it does not include two or more of the information items described in R3. (R3).

2.3.3 The Transmission Service Provider did not notify a party specified in R6 of a new or modified ATCID within 60 days of its effectiveness. (R6)

2.3.4 The Transmission Service Provider did not update ATC as dictated by the frequencies specified in R9, for more than four but not more than 16 consecutive hours. (R9)

2.3.5 The Transmission Service Provider did not update ATC as dictated by the frequencies specified in R9, for more than 25 but not more than 100 cumulative hours within a calendar year. (R9)

2.3.6 The Transmission Service Provider did not, within a time period of 28 to 60 calendar days of receiving a request, make available the requested data items specified in R10 to the entities specified within the requirement, per the schedule specified in the request, subject to the limitations specified in R10.  (R10)
2.4. Severe. There shall be a severe violation severity level if any of the following conditions exist:

2.4.1 The Transmission Operator did not select one or more of the specified methodologies. (R1)

2.4.2 The Transmission Operator or Transmission Provider did not calculate ATCs based on the time periods in R2. (R2) 

2.4.3 The Transmission Service Provider has an ATCID that does not incorporate changes made a year or more ago. (R3)
2.4.4 The Transmission Service Provider does not have an ATCID, or its ATCID does not include any of the information described in R3. (R3)
2.4.5 The Transmission Service provider did not determine counterflows as described in the standard or its ATCID. (R4) (R5)
2.4.6 The Transmission Service Provider did not notify a party specified in R6 of a new or modified ATCID within 90 days of its effectiveness. (R6)

2.4.7 The Transmission Service Provider did not make its ATCID available to the parties described in R6. (R7)

2.4.8 The Transmission Service Provider or Transmission Operator did not determine ATC using assumptions consistent with those used in planning and operations studies for the studied time period. (R8)

2.4.9 The Transmission Service Provider did not update ATC as dictated by the frequencies specified in R8, for more than 16 consecutive hours. (R8)

2.4.10 The Transmission Service Provider did not update ATC as dictated by the frequencies specified in R9, for more than 100 cumulative hours within a calendar year. (R9)
2.4.11 The Transmission Service Provider did not, within 60 calendar days or more of receiving a request, make available the requested data items specified in R10 to the entities specified within the requirement, per the schedule specified in the request, subject to the limitations specified in R10.  (R10)










� All Posted Paths do not have to use the same ATC Methodology and no particular Posted Path must use the same ATC Methodology for all time periods. 





Draft 3: October 25, 2007
3 of 9 


