Standard MOD-004-1 — Capacity Benefit Margin


Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC authorized posting TTC/ATC/AFC SAR development June 20, 2005.

2. SAC authorized the SAR to be development as a standard on February 14, 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.
4. SDT posted first draft for comment from May 25 – June 25, 2007
Description of Current Draft:

This is the second draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications identified in the SAR with consideration of applicable FERC directives from FERC Order 693 and Order 890.
Future Development Plan:

	1. Respond to comments.
	February 1

	2. Post for 30-day pre-ballot review.
	February 1

	3. First ballot of standard.
	March 3

	4. Respond to comments.
	April 10

	5. Recirculation ballot.
	April 10

	6. 30-day posting before board adoption.
	March 2

	7. Board adoption.
	April 24


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Generation Capability Import Requirement (GCIR): The amount of generation capability from external sources needed by an LSE (or group of LSEs with an aggregated need for CBM) to meet its generation reliability or reserve adequacy requirements as an alternative to internal resources.  
Capacity Benefit Margin Implementation Document (CBMID):  A document that describes the implementation of a Capacity Benefit Margin methodology.

A. Introduction

1. Title:
Capacity Benefit Margin
2. Number:
MOD-004-1
3. Purpose:
To promote the consistent and transparent calculation, verification, preservation, and use of Capacity Benefit Margin (CBM) to ensure reliable system operations.
4. Applicability:
4.1. Functional Entity:

4.1.1 Load-Serving Entity. 
4.1.2 Transmission Service Provider. 
4.1.3 Balancing Authority.

4.1.4 Transmission Planner.
5. Facility Limitations/Specifications:

5.1. None.

6. Effective Date:



B. Requirements

R1. The Transmission Service Provider shall prepare and maintain a “Capacity Benefit Margin Implementation Document” (CBMID) that includes, at a minimum, the following information: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R1.1. Its procedure for a Load-Serving Entity within a Balancing Authority associated with the Transmission Service Provider to request CBM to support its Generation Capability Import Requirement (GCIR). 
R1.2. Its procedure and assumptions for setting CBM for each Posted Path or Flowgate based on Load-Serving Entity requests.

R1.3. Its procedure for a Load-Serving Entity to request the scheduling of energy over transmission capacity
 set aside as CBM. 

R2. A Load-Serving Entity (or group of Load-Serving Entities  with an aggregated need for CBM) that wants transmission capacity to be set aside in the form of CBM shall:  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R2.1. Submit a request for CBM to the Transmission Service Provider and Transmission Planner identifying the amount of CBM requested for each month for each year for the next ten year period, that includes:    

R2.1.1. The GCIR, specifying:

2.1.1.1. The Balancing Authority(ies) from which generation supporting the GCIR will be supplied or the specific Posted Paths to be utilized for import of the generation supporting the GCIR.
2.1.1.2. A monthly GCIR value for each month during the current year and following year for each Balancing Authority or Posted Path.
2.1.1.3. An annual GCIR value for each subsequent year for each Balancing Authority or Posted Path.  
R2.1.2. Identification of all applicable reserve margin and resource adequacy requirements, and the entity(ies) responsible for establishing them, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities.
R2.1.3. A summary of the results of resource studies performed to determine the amount of the request, not to include confidential information.

R2.1.4. All resource studies (and supporting information) performed to determine the amount of the request.


R2.2. At least every thirty-one days, update the request provided per R2.1 to reflect any changes that alter future needs for CBM or indicate that no change is needed.
R2.3. . 
R2.4. Base the request provided per R1.2 on verifiable historical, state, regional transmission organization or regional entity criteria
. 
R3. Within fourteen calendar days of receiving a request or change to a request for CBM that meets the requirements defined in R2.1, the Transmission Service Provider shall set the CBM for the months requested as described in R2.1.1.2 as follows:  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R3.1. Determine the amount of CBM (for use in R3.2) for each request by using one of the following::

R3.1.1. For the Area Interchange Methodology and the Rated System Path Methodology, using the requested Generation Capability Import Requirement for the Posted Path

R3.1.2. For the Flowgate Methodology, determining the significant impacts of each request on each Flowgate 
3.1.2.1. Determine impacts of a request by multiplying the requested GCIR by the Distribution Factor for the transfer of that import from the specified Balancing Authority relative to the Flowgate. 

3.1.2.2. Classify each impacts based on a Distribution Factor of 3% or greater as a significant impact.

R3.2. Reduce CBM by the transfer capability set aside for reserve sharing, then set the remaining CBM for each Posted Path or Flowgate based on the sum of all requests such that all requests can be met simultaneously or all firm ATC or AFC has been allocated to CBM as follows: 
R3.2.1. For Posted Paths, set the CBM for each Posted Path equal to the lesser of:
· The sum of all requests for GCIR for that Posted Path, or

· The firm Available Transfer Capability (ATC) for that Posted Path

R3.2.2. For Flowgates, set the CBM for each Flowgate equal to the lesser of:
· The sum of the significant impacts of all requests for GCIR for that Flowgate, or

· The firm Available Flowgate Capability (AFC) for that Flowgate

R3.3. If the sum of all CBM requests can not be met simultaneously, and during the evaluation of monthly ATC or AFC, additional capacity becomes available, increase the CBM based on availability up to a maximum of the sum of all CBM requests.
R4. Within sixty calendar days of receiving a request or change to a request for CBM that meets the requirements defined in R2.1, the Transmission Planner shall set the CBM for the years requested as described in R2.1.1.3 as follows:  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

R4.1. Use each GCIR to determine a margin to decrement Firm Transfer Capability for use in all future planning processes.
R4.2. Set the CBM for each Posted Path or Flowgate based on the sum of all CBM requests such that all requests can be met simultaneously or all available firm Transfer Capability has been allocated to CBM.
R4.3. If the sum of all requests can not be met simultaneously, and during the planning process, additional capacity becomes available, increase the CBM based on availability up to a maximum of the sum of all requests.

R4.4. Provide the Transmission Service Provider with the following:
R4.4.1. The total amount of CBM for each Posted Path or Flowgate on the Transmission Service Provider’s system in each of the years specified in the original CBM request.
R4.4.2. If less than the sum of all requests was established as the CBM for any period, for each Posted Path or Flowgate, a list of the values of each GCIR used to set the CBM for each of the years specified in the original request.
R5. Within five days of the determination of CBM as described in R3 or R4, the Transmission Service Provider shall provide each Load-Serving Entity (or group of Load-Serving Entities with an aggregated need for CBM) that requested CBM and the Balancing Authority hosting its (their) load with a report that includes: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R5.1. The total amount of CBM for each Posted Path or Flowgate on the Transmission Service Provider’s system in each of the months or years specified in the original request. 
R5.2. If less than the sum of all requests was established as the CBM for any period:  

· For each Posted Path or Flowgate, a list of the values of each GCIR used to set the CBM for each of the months and years specified in the original request

· The option to request a system impact study. 

R6. The Transmission Service Provider and Transmission Planner shall each provide copies of the supporting data, including any models, used for allocating CBM over each Posted Path or Flowgate to any Transmission Service Provider, Reliability Coordinator, Transmission Planner, or Planning Coordinator within seven calendar days of their making
 a request for the data.  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R7. The Load-Serving Entity that wants to schedule energy over tFirm Transfer Capability set aside as CBM shall submit an Interchange Transaction Tag, and shall not request to schedule energy over  Firm Transfer Capability set aside as CBM unless experiencing a NERC Energy Emergency Alert (EEA) 2 or higher . [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R8. When reviewing an Interchange Transaction Tag using CBM, the Balancing Authority and Transmission Service Provider shall waive any timing and ramping requirements. [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]
R9. The Transmission Service Provider shall approve any Interchange Transaction Tag using CBM that is submitted by an Energy Deficient Entity under an EEA2 if the CBM is available.  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
C. Measures

M1. Each Transmission Service Provider shall have its CBMID that includes the information specified in R1 as to show that it is compliant with R1.  that . (R1)  
M2. The Load-Serving Entity that wants CBM shall provide a copy of its CBM request with the supporting information specified  in R2.1 to show that it is compliant with R2.1. (R2.1)

M3. The Load-Serving Entity that wants CBM shall provide dated copies of its updated CBM requests as evidence that it has updated its CBM request or confirmed no update was needed at least every thirty-one days, per R2.2 (R2.2). 
M4. 
M5. The Load-Serving Entity that wants CBM shall provide evidence (such as studies, historical data, copies of state or regional transmission organization reliability criteria, regional generation reliability criteria or other equivalent evidence) they it has based its CBM request on verifiable historical, state, regional transmission organization, or regional generation reliability criteria. (R2.3)
M6. The Transmission Service Provider shall provide evidence including copies of requests for CBM and requests for changes to CBM and other evidence ssuch as copies of the actual computations to set CBM, or other equivalent evidence to show that CBM for the months requested as described in R2.1.1.2 has been established using the process described in R3. (R3)

M7. The Transmission Service Planner shall provide evidence including copies of requests for CBM and requests for changes to CBM and other evidence such as copies of actual computations to set CBM, or other equivalent evidence  to show that CBM for the years requested as described in R2.1.1.3 has been established using the process described in R4. (R4)

M8. The Transmission Planner shall provide evidence (such as written documentation of studies and supporting study models that model, in base loadflows, the GCIRs as identified in R2.1.1 by Load-Serving Entities) that demonstrates that the CBM has been used to determine a margin to decrement Firm Transfer Capability in planning processes. (R4.1) 
M9. The Transmission Service Provider shall provide copies of the reports sent to Load-Serving Entities and Balancing Authorities along with other evidence (such as logs and data, copies of electronic messages, or other equivalent evidence) to show that within five days of the determination of CBM, a report meeting the requirements described in R4 was provided as specified. (R5).
M10. The Transmission Service Provider and Transmission Planner shall each provide evidence including copies of dated requests for data supporting the calculation of CBM from Transmission Service Providers, Reliability Coordinators, Transmission Planners, and Planning Coordinators, along with other evidences such as copies of electronic messages or other evidence to show  that within seven days of receiving a request from one of the entities described in R4, the requester was provided with copies of the supporting data, including any models, used for allocating CBM. (R6)

M11. The Load-Serving Entity that scheduled CBM shall provide evidence (such as logs, copies of tag data, or other data from its Reliability Coordinator) that at the time they requested a schedule using CBM, they were in an EEA2. (R7)  
M12. Balancing Authorities and Transmission Service Providers shall provide evidence (such as operating logs and tag data) that they did not deny an Interchange Schedule using CBM based on the request not meeting timing or ramping requirements. (R8)

M13. The Transmission Service Provider shall provide evidence including copies of CBM values along with other evidence (such as tags, reports, and supporting data) to show that it approved any Interchange Transaction Tag using CBM for any energy deficient entity where the total CBM available was greater than the amount of CBM requested in the Tag.  (R9) 
D. Compliance

1. Compliance Monitoring Process


1.1. 
1.2. Compliance Enforcement Authority (CEA)
Regional Entity

1.3. Compliance Monitoring Period and Reset Time Frame


Not applicable. 
1.4. Data Retention

The Transmission Service Provider shall maintain data for three
 years for M1, M6, M9, M10, M12, and M13.
The Transmission Planner shall maintain data for three years for M7, M8, and M10.
The Load Serving Entity shall maintain data for three years for M2, M3, M4, M5, and M11.
The Balancing Authority shall maintain data for three years for M12.
1.5. Additional Compliance Information

Each Transmission Service Provider, Transmission Planner, Load-Serving Entity, and Balancing Authority shall demonstrate compliance through self-certification submitted to its Compliance Monitor semi-annually and reporting by exception. The Compliance Monitor may also use scheduled on-site reviews every three years, and investigations upon complaint, to assess performance. 

2. Violation Severity Levels

2.1. Lower. There shall be a lower violation severity level if any of the following conditions exist:

2.1.1 The Transmission Service Provider has CBMID that does not incorporate changes that have been made not more than three months ago. (R1)  
2.1.2 The Load Serving Entity did not update their request for CBM, or indicate that no update was needed, as described in R2.2. (R2.2).

2.1.3 The Transmission Service provider did not provide a LSE requesting CBM with a report as described in R5 more than  seven calendar days, but nor more than fourteen calendar days, days after the determination of CBM as described in R3 or R4. (R5) 
2.1.4 The Transmission Service Provider or Transmission Planner did not provide a requester specified in R4 with the supporting data, including models, used to allocate CBM more than seven, but not more than fourteen, days after the submission of the request. (R6)

2.2. Moderate. There shall be a moderate violation severity level if any of the following conditions exist: 

2.2.1 The Transmission Service Provider has a CBMID that does not incorporate changes that have been made more than three, but not more than six, months ago. (R1)  
2.2.2 The Load Serving Entity desiring CBM did not submit the information described in any one of the following: R2.1.2, R2.1.3, or R2.1.4. (R2.1.2, R2.1.3, R2.1.4)
2.2.3 The Load Serving Entity did not update their request for CBM, or indicate that no update was needed, as described in R2.2, and their Generation Capability Import Requirement had changed by more than 20MW or 10%, whichever is smaller, and not more than 30MW or 20%, whichever is smaller.  (R2.2).

2.2.4 The Transmission Service provider did not provide a LSE requesting CBM with a report as described in R5 more than ten, but nor more than twenty, days after the determination of CBM as described in R3 or R4. (R5)

2.2.5 The Transmission Service Provider or Transmission Planner did not provide a requester specified in R4 with the supporting data, including models, used to allocate CBM more than fourteen, but not more than thirty, days after the submission of the request. (R6)

2.3. High. There shall be a high violation severity level if any of the following conditions exist:

2.3.1 The Transmission Service Provider has CBMID that does not incorporate changes that have been made more than nine, but not more than twelve, months ago. (R1)  
2.3.2 The Load Serving Entity desiring CBM did not submit the information described in any two of the following: R2.1.2, R2.1.3, or R2.1.4. (R2.1.2, R2.1.3, R2.1.4)
2.3.3 The Load Serving Entity did not update their request for CBM, or indicate that no update was needed, as described in R2.2, and their Generation Capability Import Requirement had changed by more than 30MW or 20%, whichever is smaller, and not more than 40MW or 30%, whichever is smaller.  (R2.2).

2.3.4 The Transmission Service Provider set CBM for the months requested as described in R2.1.1.2 more than 14, but not more than 30, days after receiving a request for CBM. (R3)

2.3.5 The Transmission Service Provider did not follow the process described in R3.1, R3.2, and R3.3. (R3.1, R3.2, and R3.3) 

2.3.6 The Transmission Planner set CBM for the years requested as described in R2.1.1.3 more than 60, but not more than 120, days after receiving a request for CBM. (R4)

2.3.7 The Transmission Planner did not follow the process described in R4.1, R4.2, R4.3, and R4.4. (R4.1, R4.2, R4.3, and R4.4) 

2.3.8 The Transmission Service provider did not provide a LSE requesting CBM with a report as described in R5 more than twenty, but nor more than thirty, days after the determination of CBM as described in R3 or R4. (R5)

2.3.9 The Transmission Service Provider or Transmission Planner did not provide a requester specified in R4 with the supporting data, including models, used to allocate CBM more than thirty, but not more than sixty, days after the submission of the request. (R6)
2.4. Severe. There shall be a severe violation severity level if any of the following conditions exist:

2.4.1 The Transmission Service Provider does not have a CBMID, or has a CBMID that does not incorporate changes that have been made more than twelve months ago. (R1)  
2.4.2 The Load Serving Entity desiring CBM did not include one or more of the items specified in R2.1.1 in their request. (R2.1.1)
2.4.3 The Load Serving Entity desiring CBM did not submit any of the information described in R2.1.2, R2.1.3, or R2.1.4. (R2.1.2, R2.1.3, R2.1.4)
2.4.4 The Load Serving Entity did not update their request for CBM, or indicate that no update was needed, as described in R2.2, and their Generation Capability Import Requirement had changed by more than 40MW or 30%, whichever is smaller.  (R2.2).

2.4.5 The Load Serving Entity requested GCIR greater than its needs for imports to meet reserve margin or resource adequacy requirements (not to include the incremental power flows from reserve sharing requirements), and the additional GCIR requested was more than 10MW in excess of the needed amount  (R2.3)

2.4.6 The Transmission Service Provider set CBM for the months requested as described in R2.1.1.2 more than 30 days after receiving a request for CBM. (R3)

2.4.7 The Transmission Service Provider did not follow the process described in R3.1, R3.2, and R3.3, and the resource adequacy requirements of one or more Load Serving Entities requesting CBM were not met. (R3.1, R3.2, and R3.3) 

2.4.8 The Transmission Planner set CBM for the years requested as described in R2.1.1.3 more than 120 days after receiving a request for CBM. (R4)

2.4.9 The Transmission Planner did not follow the process described in R4.1, R4.2, R4.3, and R4.4, and the resource adequacy requirements of one or more Load Serving Entities requesting CBM were not met. (R4.1, R4.2, R4.3, and R4.4) 

2.4.10 The Transmission Service provider did not provide a LSE requesting CBM with a report as described in R5 more than thirty days after the determination of CBM as described in R3 or R4. (R5)

2.4.11 The Transmission Service Provider or Transmission Planner did not provide a requester specified in R4 with the supporting data, including models, used to allocate CBM more than sixty days after the submission of the request. (R6)

2.4.12 A Load Serving Entity requested to schedule energy over CBM while not in an EEA2 (R7) 
2.4.13 A Balancing Authority or Transmission Service Provider denied an Interchange Transaction Tag using CBM based on timing or ramping requirements. (R8)
2.4.14 A Transmission Service Provider denied an Interchange Transaction Tag using CBM submitted by an Energy Deficient entity under an EEA2 while unused CBM was available. (R9).
�Please provide.


�should this be firm transfer capability?


�This sub requirement is confusing - what do you want here - not sure which request thsi is referring to - the original or the updated one - this looks somewhat redundant with R2.1.2 - are you looking for documentation of the basis for the modified request?  Is R1.2 the correct refrence?


�It is generally fairer to measure compliance from the 'receipt' of the request rather than the initiation of the request - If the request is sent through US mail on a Th before a holiday weekend in the USA, then the request may be in transit for five days before it is 'received'.  Suggest changing this to say, 'within seven calendar days of receipt of the request for the data'.  


�Maureen – the SDT really would prefer this be 3 years instead of 6, because of the large amounts of data that will be required.  Is it OK for it to be 3?


�The drafting team needs to redo the VSLs to be consistent with the draft VSL guidelines and the work the VSL drafting team did. What is provided here is not acceptable.





Draft 2: October 25, 2007
Page 8 of 11
Proposed Effective Date: To be determined.



