[image: image1.png]



                                        North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org
Home Page: www.naesb.org


This work paper identifies the data addressed in NERC ATC Standards (MOD - 001, MOD – 004, MOD – 008, MOD – 028, MOD – 029 and MOD – 030) and categorizes whether or not the data will be available on OASIS.

	Standard Reference 
	Information
	Available on OASIS (yes or no)
	Comments 

	MOD-001R2
	ATC values 
	Yes
	

	MOD-001R3
	The ATCID document 


	Yes
	

	MOD-001R8
	When calculating TTC, AFC and ATC, the Transmission Operator and Transmission Service Provider shall each use assumptions consistent with those used in any associated operations studies or planning studies for the time period studied.  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

	No
	Data should be consistent with what is provided in MOD001 R10.

	MOD-001R10.1
	Expected generation and Transmission outages, additions, and retirements
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns 

	MOD-001R10.2
	Peak Load forecasts
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD-001R10.3
	Unit commitments and dispatch orders, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:

· Dispatch order

· Participation factors

· Block dispatch

	No
	

	MOD-001R10.4
	Firm and non-firm Network Integration Transmission Service details
	Yes
	Reservations will be on OASIS. 

	MOD-001R10.5
	Confirmed firm and non-firm Transmission reservations
	Yes
	Reservations will be on OASIS.


	MOD-001R10.6
	Grandfathered firm and non-firm contracts
	TBD
	To further be discussed by NAESB.

	MOD-001R10.7
	Firm roll-over rights
	Yes
	

	MOD-001R10.8
	Any firm and non-firm adjustments to reflect parallel path impacts
	No
	

	MOD-001R10.9
	Power flow models and underlying assumptions
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns 

	MOD-001R10.10
	Contingencies, provided in one or more of the following formats:

     - A list of Elements

     - A list of Flowgates

     - A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD-001R10.11
	Facility Ratings
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD-001R10.12
	Counterflows
	TBD
	Need to review the ATC MODs for additional information.

	MOD-001R10.13
	Values of ATC, ETC, CBM,  TRM, and TTC for all Posted Paths
	Yes
	

	MOD-001R10.14
	Values of TFC and AFC for any Flowgates considered by the Transmission Service Provider when selling Transmission service
	TBD
	AFC in the ATC (further discussion /NAESB discussion needed)

	MOD-001R10.15
	Source and sink identification and mapping to the model
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns


� Does NERC mean this to be point to point only? If not what is the intent of 10.4?





Availability of ATC Information on OASIS based on the NERC ATC Reliability Standards

October 25, 2007

