Posting of Load Forecasts and Peak Load Data

Per Order 890 paragraphs 413 and 416:

413.  The Commission also will require transmission providers to post their underlying load forecast assumptions for all ATC calculations and, to post on a daily basis, their actual daily peak load for the prior day.  The Commission directs transmission providers to work through NAESB to develop standards for consistent methods of posting the new requirements on OASIS.
414.   We therefore direct ISOs and RTOs to post load data for the entire ISO/RTO footprint and for each LSE or control area footprint within the ISO/RTO.  This will not create an undue burden on ISOs and RTOs, since the load data for the entire footprint is an aggregation of load data across the LSEs or control areas in the footprint.  We also agree with EEI that the peak load applies to system-wide load, including native load.  We direct transmission providers to post load forecasts and actual daily peak load for both system-wide load (including native load) and native load, as this data will be useful to customers and regulators.  
Posting of Load Forecasts and Peak Load Data

A. At a minimum, Transmission Providers shall post on OASIS  Daily Peak load forecasts for the “next day”. 
a. The Daily Peak load forecasts will be for:

i. Transmission Provider system-wide load, including native load and,

ii.  Transmission Provider, native load as applicable
iii. for 24 hours 
iv. as whole hourly MWh values.  

v. Utilizing the SystemData template values will be entered for a 24 hours for specified date. 

b. The Transmission Providers actual daily Peak Load will be:

i. shown as a single whole hourly MW value for 
1. Transmission Provider actual system wide peak load (including native load) for the prior day and,

2. Transmission Provider actual native peak load   for the prior day.  

ii. 
iii. 
	Data Element
	Restriction/Requirement

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


