Posted for informal comment:

Below is a conceptual draft of the OASIS mechanism to allow for auditing of CBM usage that was required in paragraph 262 of Order 890. Please provide informal comments on the concepts outlined in this draft to the BPS/ESS/ITS by 11/16/2007. Based upon comments received during this informal comment period, the BPS/ESS/ITS will develop the actual business practice standards to be posted for formal comment and Executive Committee vote. The posting for formal comment is intended to occur prior to the end of 2007.

Draft CBM Requirements
001-x  Capacity Benefit Margin (CBM) A Load Serving Entity (LSE) within a Balancing Authority Area associated with a Transmission Service Provider shall have the right to request the Transmission Provider set aside transfer capability as CBM.
001-x.1: Request 
001-x.1.1 The REQUEST_TYPE shall be CBM_REQUEST. 
001-x.1.1.1 The CBM_ REQUEST is unique and will not have an impact on ATC calculations. This request is only for the purpose of requesting CBM set aside to the TP.

001-x.1.2 The Transmission Provider will create the CBM_SET_ASIDE based on the aggregated requests for CBM. The CBM_SET_ASIDE will have an impact on ATC calculations. 
001-x.1.3 The CBM_REQUEST shall be treated the same as long term firm request. 

001-x.1.4 The CBM Request shall have a request period of ten years.

001-x.1.5 The CBM Request shall have the attributes of SERVICE_INCREMENT of YEARLY.

001-x.1.6 Renewal rights are not conveyed in CBM Request.

001-x.1.7 The LSE shall not have the right to resell rights acquired through a CBM Request.
001-x.1.8 The LSE shall not have the right to redirect rights acquired through a CBM Request. 
001-x.1.9 A revised CBM Request shall DISPLACED the old request.

001-x.1.10 CBM_SET_ASIDE is not subject to displacement.

001-x.2:  Usage

001-x.2.1 The tag energy profile will be validated against the CBM_SET_ASIDE capacity. 
001-x.3:  Curtailment and Allocation

If there is not enough, Curtailment priority order, Allocations of schedules  
001-x.3.1 In instances where there is insufficient capacity set aside on a path as CBM_SET_ASIDE and in instances where curtailment of firm schedules is required, the CBM_SET_ASIDE will be allocated to scheduled CBM using the following principles:

001-x.3.1.1 Energy quantities for the path for the time period that are greater than an LSE’s CBM_REQUEST will be curtailed/denied before pro rata curtailment of any firm schedules.

001-x.3.1.2 When aggregate scheduled CBM energy quantities are greater than the CBM_SET_ASIDE but no LSE’s requested schedule is in excess of that LSE’s CBM_REQUEST, the CBM_SET_ASIDE will be allocated on a pro rata basis to all CBM schedules.

001-x.3.1.3 When aggregate CBM energy schedules are equal to or less than the CBM_SET_ASIDE, the CBM energy schedules will be curtailed on a pro rata basis with other firm schedules.

001-x.4: Quantity

001-x.4.1 A CBM Request and CBM Usage must be made in whole MW’s .
001-x.5: Posting on OASIS

001-x.5.1 All CBM Request(s) and all CBM Usage(s) shall be posted on OASIS.
