[image: image1.png]



                                        North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org
Home Page: www.naesb.org


This work paper identifies the data addressed in NERC ATC Standards (MOD - 001, MOD – 004, MOD – 008, MOD – 028, MOD – 029 and MOD – 030) and categorizes whether or not the data will be available on OASIS.

	Standard Reference 
	Information
	Available on OASIS (yes or no)
	Comments 

	MOD-001R2
	ATC values 
	Yes
	

	MOD-001R3
	The ATCID document 


	Yes
	

	MOD-001R8
	When calculating TTC, AFC and ATC, the Transmission Operator and Transmission Service Provider shall each use assumptions consistent with those used in any associated operations studies or planning studies for the time period studied.  [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

	No
	Data should be consistent with what is provided in MOD001 R10.

	MOD-001R10.1
	Expected generation and Transmission outages, additions, and retirements
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns 

	MOD-001R10.2
	Peak Load forecasts
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD-001R10.3
	Unit commitments and dispatch orders, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:

· Dispatch order

· Participation factors

· Block dispatch

	No
	

	MOD-001R10.4
	Firm and non-firm Network Integration Transmission Service details
	Yes
	Reservations will be on OASIS. 

	MOD-001R10.5
	Confirmed firm and non-firm Transmission reservations
	Yes
	Reservations will be on OASIS.


	MOD-001R10.6
	Grandfathered firm and non-firm contracts
	TBD
	To further be discussed by NAESB.

	MOD-001R10.7
	Firm roll-over rights
	Yes
	

	MOD-001R10.8
	Any firm and non-firm adjustments to reflect parallel path impacts
	No
	

	MOD-001R10.9
	Power flow models and underlying assumptions
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns 

	MOD-001R10.10
	Contingencies, provided in one or more of the following formats:

     - A list of Elements

     - A list of Flowgates

     - A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD-001R10.11
	Facility Ratings
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD-001R10.12
	Counterflows
	TBD
	Need to review the ATC MODs for additional information.

	MOD-001R10.13
	Values of ATC, ETC, CBM,  TRM, and TTC for all Posted Paths
	Yes
	

	MOD-001R10.14
	Values of TFC and AFC for any Flowgates considered by the Transmission Service Provider when selling Transmission service
	TBD
	AFC in the ATC (further discussion /NAESB discussion needed)

	MOD-001R10.15
	Source and sink identification and mapping to the model
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD004 R1
	CBM Implementation Document (CBMID)
	Yes


	

	MOD 004 R3
	CBM Requests
	Yes
	

	MOD 004 R3.1.1
	Generation Capability Import Requirement for each CBM request
	Yes
	

	MOD 004 R3.1.2
	Identification of all applicable reserve margin and resource adequacy requirements, and the entity(ies) responsible for establishing them, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities for each CBM request.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 004 R3.1.3
	A summary of the results of resource studies performed to determine the amount of the request, not to include confidential information for each CBM request.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 004
R3.1.4
	All resource studies (and supporting information) performed to determine the amount of the request for each CBM request.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 004 R4.2
	CBM for each posted path or flowgate.
Quantity of CBM requested but not available
	Yes
	

	MOD 004 R5.4.1
	CBM for each posted path or flowgate for each of the years specified in the original CBM request 
	Yes
	Similar information is generated in response to R6.1

	MOD 004 R5.4.2
	If less than the sum of all requests was established as the CBM for any period, for each Posted Path or Flowgate, a list of the values of each GCIR used to set the CBM for each of the years specified in the original request.
	Yes
	Similar information is generated in response to R6.1

	MOD 004 R7
	Supporting data, including any models used for allocating CBM over each Posted Path or Flowgate.


	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 004 R8
	LSE’s Interchange Transaction Tag
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 004 R10
	TSP approval of LSE Transaction Tags 
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 008 R1
	TRM Implementation Document (TRMID)
	Yes
	

	MOD 008 R3
	All underlying assumptions, work papers and load flow base cases used to determine TRM
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 008 R5; 5.1; 5.2; 5.3
	TRM Values, updated at least once every 13 months, for same day and real time; day ahead and pre-schedule; and beyond the day ahead and pre-schedule up to 13 months ahead.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R1 and R1.1-1.4
	ATCID including information on accounting for interchange schedules, contractual obligations for allocation of TTC and use of contingencies.
	Yes
	

	MOD 028 R2 and 2.1-2.3
	A transmission model including facility ratings specified by GOs and TOs for the TOs RC and immediately adjacent and beyond RCs 
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R3.1,3.2,4.1 and 4.2
	For four different time periods, specifically on-peak and next day intra peak (R3.1), for off-peak and next day (R3.2), for days 2 through 31, (R4.1) and for months 2 though 13 (R4.2):
· Expected G&T outages, additions and retirements

· Peak load forecast for the on-peak, off-peak, day or month as appropriate

· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.
	TBD

TBD

No
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns (the three sets of data identified should each be evaluated for public release separately)

	MOD 028 R8
	Current value of TTCs provided within seven calendar days of its determination
	Yes
	

	MOD 028 R9
	Calculated values for firm Existing Transmission Commitments (ETC) including its component parts, firm Network Integration Transmission Service, Grandfathered Firm Transmission Service and previously executed bundled energy and transmission contracts, firm capacity for confirmed Point-to-Point Transmission Service, capacity reserved for roll-over rights, capacity reserved for other services such as firm adjustments for impacts on other posted paths
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R10
	Calculated values for non-firm Existing Transmission Commitments (ETC) including its component parts, i.e. non-firm Network Integration Transmission Service, Grandfathered Non-Firm Transmission Service and previously executed bundled energy and transmission contracts, non-firm capacity for previously confirmed Point-to-Point Transmission Service, capacity reserved for other services such as firm adjustments for impacts on other posted paths
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R11
	Firm ATC including its component parts, i.e. TTC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R12
	Non-firm ATC including its component parts, i.e. TTC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC counterflows that represent adjustments to non-firm ATC as per the ATCID
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R1
	A transmission model for the Transmission Operator Area, contiguous Transmission Operator Area and Transmission Operator Areas linked by a joint operating agreement which includes all generating facilities over 20 MVA, phase shifters, current facility ratings as specified by GOs and TOs, generation and transmission additions and retirements, SPSs and any other modeling requirements that are not as specified in the ATCID. 

	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R3 and R4
	The most current value of TTC including the study report documenting the assumptions and any SOL that limits that path.
	Yes
	

	MOD 029 R5
	Calculated values for firm Existing Transmission Commitments (ETC) including its component parts, i.e. firm capacity reserved for native load including firm Network Integration Transmission Service to serve load including native load growth and losses not included in TRM or CBM, Grandfathered Firm Transmission Service and previously executed bundled energy and transmission contracts, firm capacity for confirmed Point-to-Point Transmission Service, capacity reserved for roll-over rights, capacity reserved for other services, contracts or agreements. 
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R6
	Calculated values for non-firm Existing Transmission Commitments (ETC) including its component parts, i.e. non-firm Network Integration Transmission Service to serve load including native load growth and losses not included in TRM or CBM, Grandfathered Non-Firm Transmission Service and previously executed bundled energy and transmission contracts, non-firm capacity for previously confirmed Point-to-Point Transmission Service, capacity reserved for other services, contracts or agreements not included above.  
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R7
	Firm ATC including its component parts, i.e. TTC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R8
	Non-firm ATC including its component parts, i.e. TTC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC and counterflows that represent adjustments to non-firm ATC as per the ATCID
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R2
	Provide all updated TFCs including the mechanism by which the flowgate was identified (criteria R2.1.1, R2.1.2, R2.1.3, R2.1.3.1 and R2.3 as appropriate)
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R3 and R5
	A transmission model containing modeling data and topology for facilities within its RCs area and at least 3 contiguous buses in adjacent RC areas that are directly and synchronously connected and synchronous facilities beyond three buses and containing ratings specified by the TO and GO.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R5
	All expected G&T outages, additions and retirements in the TSP’s area, the area of all adjacent TSPs and all TSPs for which there is a coordination agreement.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R6
	R6.1.1. For on-peak intra-day and next-day AFCs

6.1.1.1. Peak Load forecast for the on-peak period calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load

6.1.1.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.1.2. For off-peak intra-day and next-day AFCs

6.1.2.1. Peak Load forecast for the off-peak period calculated, consistent with that used for planning and operations for applicable time periods, including Native Load and network service Load

6.1.2.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.1.3. For days two through 31AFCs

6.1.3.1.1 Peak Load forecast for the day calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load

6.1.3.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.1.4. For months two through 13 AFCs

6.1.4.1. Peak Load forecast for the month calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load

6.1.4.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.2. The impact of all confirmed firm Point-to-Point Transmission Service expected to be

scheduled, including roll-over rights for Firm Transmission Service contracts, for the Transmission Service Provider’s area not included in the model.

R6.3. The impact of any confirmed firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions

using Transmission service from multiple Transmission Service Providers, including roll-over rights for Firm Transmission Service contracts, not included in the model in

excess of 3% (or less if desired)  for all adjacent  Transmission Service Providers and any other

Transmission Service Providers with which coordination agreements have been executed. The impact of any Grandfathered firm contracts expected to be scheduled

for the Transmission Service Provider’s area not included in the model.

R6.4. The impact of any Grandfathered firm contracts expected to be scheduled not included in the model in excess of 3% (or less if desired)  for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.


	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R7
	Firm AFC including its component parts, i.e. TFC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R8
	Non-firm AFC including its component parts, i.e. TFC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC and counterflows that represent adjustments to non-firm ATC as per the ATCID
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R9
	Data used to convert AFC and TFC to ATC and TTC including the available or total partial transfer capabilities for all impacted flowgates and the distribution factors for each flowgate relative to a specified path
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns


� Does NERC mean this to be point to point only? If not what is the intent of 10.4?





Availability of ATC Information on OASIS based on the NERC ATC Reliability Standards

October 25, 2007

