Draft CBM Requirements
001-x  Capacity Benefit Margin (CBM) 
A Load S-erving Entity (LSE) within a Balancing Authority Area associated with a Transmission Service Provider shall have the right to request the Transmission Provider set aside transfer capability as CBM.
001-x.1: CBM Request 
001-x.1.1 – TP will designate the TS_Class of CBM
001-x.1.1 The LSE on its own behalf or on behalf of a group of LSEs shall submit a Transmission Service Request on OASIS designating the amount of CBM requested on a given transmission path using the unique transmission service attributes assigned by the Transmission Provider for requesting CBM.


001-x.1.2 The Transmission Provider shall exclude all CBM reservations from its ATC calculations. 
001-x.1.3 The CBM request shall be treated the same as any other long-term firm transmission service request (e.g., queue position, system impact studies, etc.). 





001-x.1.6 The CBM request capacity must be made in whole MW’s.

001-x.1.7 Renewal rights are not conveyed by a CBMrequest.

001-x.1.8 The LSE shall not have the right to resell rights acquired through a CBM request.
001-x.1.9 The LSE shall not have the right to redirect rights acquired through a CBM request. 
001-x.1.10 The LSE shall not have the right to schedule transmission service using the LSE’s OASIS CBM request.   All requests to schedule use of CBM shall be submitted in accordance with Standard 001-x.3.
001-x.1.10 The LSE may request a revision or modification of its CBM reservation by submitting a new CBM request.  Upon confirmation, the new CBM reservation shall replace/displace the LSEs preceding CBM reservation, effective at the start time of the new CBM reservation..



001-x.2: Transmission Provider Allocation of CBM

001-x.2.1 The Transmission Provider shall evaluate all CBM requests submitted for a given transmission path, and determine the total amount of capacity to be set-aside as CBM for use in the Transmission Provider’s ATC calculations.

001-x.2.2 The Transmission Provider shall post on OASIS the total amount of CBM on each transmission path over time such that the value of CBM is made available via the systemdata template with the  SYSTEM_ATTRIBUTE = CBM. .


001-x.2.4 The Transmission Provider shall specify the LSE’s portion of the total CBM set aside in the request for CBM  under CAPACITY_GRANTED when accepting the LSE’s request.
001-x.3:  Usage of CBM
001-x.3.1 Any LSE, including those LSEs that have not made an OASIS reservation request for CBM, shall have the right to submit an Interchange Transaction Tag for use  of CBM upon declaring  an Energy Emergency Alert  (EEA) level 2 or higher.
001-x.3.2 The LSE shall request to schedule energy deliveries using CBM in accordance with the WEQ-004 Coordinate Interchange standards, and shall insert the CBM Transmission Service Reservation in all such requests.

001-x.3.3 The Transmission Provider shall validate that the sum of all CBM imports scheduled on a given path will not exceed the CBM allocated for that path. 

001-x.3.3 As long as there is sufficient unscheduled CBM capacity available to support the requested schedule, the LSE shall not be restricted to use of CBM based on the capacity granted in their CBM reservation.

001-x.4:  Reallocation or Curtailment of CBM

001-x.4.1 If the sum of all requests to schedule use of CBM exceeds the capacity allocated in the CBM systemdata, the Transmission Provider shall first limit all requests or schedules for use of CBM to the LSE’s granted CBM reservation capacity.  Any CBM capacity that remains available beyond this limit shall be allocated to all requests and schedules for use of CBM on a pro rata basis.
001-x.4.2 In the event the Transmission Provider must curtail firm transmission service, the Transmission Provider shall curtail the total scheduled use of CBM on par with all other schedules for firm transmission service.  Individual LSE schedules for use of CBM shall be reallocated as specified in 001-x.4.1.
001-x.5: Audit of CBM Usage

001-x.5.1 The Transmission Provider shall post all scheduled use of CBM and any curtailments of those schedules such that they may be viewed and audited using the OASIS scheduledetail template.








�Alternative to CBM_REQUEST as a unique request type could be the specification of a unique service via service attributes.  Note that some providers use a designation of “long-term” rather than yearly, so may want to consider not being too prescriptive on this attribute.





Revised November 26, 2007

Page 1 of 4

