

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: WEQ

                                       Requesters:


                                       Request No.: 


                                       Request Title:
ATC/TTC Narratives

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X   Accept as requested


   X  Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
   X Initiation




   X  Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  X  Business Practice Standard 


  X   Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 



      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


In the FERC Order 890 under Docket Nos. RM05-17-000 and RM05-25-000 dated February 16, 2007, Commission made the following conclusions about ATC/TTC Narratives:

369. The Commission adopts the NOPR proposal, with the modifications discussed below, to require that the transmission provider post a brief, but specific, narrative explanation of the reason for a change in monthly and yearly ATC values on a constrained path.  Rather than requiring a narrative when a monthly or yearly ATC value changes as a result of transactions being reserved, service ending, or the TTC estimate for the path changing by more than 10 percent, we will require a narrative when a monthly or yearly ATC value changes only as a result of a 10 percent change in TTC.  This will reduce the number of ATC changes for which a narrative will be required and address concerns that the new requirement unduly burdens transmission providers.  Any remaining burden is justified by the benefit to transmission customers of receiving timely information regarding changes in TTC that result in changes to ATC.  In addition, we adopt NAESB’s suggestion that posted information include the (1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network).

370. We reject calls for delays prior to posting data.  While commenters allege the possibility of granting others a competitive advantage through the release of “market-sensitive” data, they have proffered no evidence to support the allegation of potential harm.

371. We do require, as suggested in the NOPR, a narrative with regard to monthly or yearly ATC values when ATC remains unchanged at a value of zero for a significant period, and will set that period at six months or longer.  This information will be valuable to customers and regulators in assessing the ability of a transmission provider’s facilities to meet existing service requests.  The information also will provide assurance to customers that the transmission provider is diligent in regularly evaluating ATC on all paths, monitoring persistent constraints and addressing them in its planning processes. 

The ESS/ITS/BPS has reveiwed Order 890 and is recommending adooption of the following standards.  The Subcommittee feels this recommendation complies with the guidance provided by the Commission.
Recommended Standards:

Definitions – The following definitions shall be added to the Business Practice Standards:


Balancing Authority Area – is there a NERC definition for this?
Business Practice Standards for Posting ATC/TTC Narratives
Standard Y:  ATC Narratives

All Transmission Providers shall post on OASIS a narrative with regard to yearly or monthly ATC values when ATC remains unchanged at a value of zero for a six months or longer. 
Standard Y.1:  Frequency and Timing of Annotation Posting 

  The Transmission Provider will post an annotation in conjunction with monthly or yearly ATC postings each time one of the following conditions are met:
· Monthly ATC has been zero for six consecutive months or longer
· Monthly ATC will be zero for a duration of six months or longer at some time in the future
· Yearly ATC will be zero for one or more future years
Standard Y.2: Posting On OASIS
ATC Narratives shall be posted for each path identifed in Standard Y.1.
Standard Y.2.1  ATC Narratives shall be posted in accordance with OASIS Implementation Guide (WEQ-013) Version 1.5 and OASIS Standards and Communication Protocols (WEQ-002) Version 1.5.
Standard Y.2.2  ATC Narrative posting shall include in the systemdata template the following information for each path:

· SYSTEM_ELEMENT_TYPE = “Path”
· SYSTEM_ELEMENT  = Name of the path associated with the posted ATC component value
· SYSTEM_ATTRIBUTE = “FATC”
· START_TIME = Date and time that the Monthly Firm ATC initially became zero, which may prior to the date of the posting
· STOP_TIME = Date and time when ATC  is expected to be greater than zero or last date that  Monthly or Yearly Firm ATC is posted
· ATTRIBUTE_VALUE = “0”
· ATTRIBUTE_UNITS = “MW”
· ANNOTATION text shall exactly match one of the Annotation Text options set forth in Standard Y.2.3
Standard Y.2.3  Annotation text shall indicate the status of the path’s ATC.  The following table lists the narrative text options that are permissible:
	Annotation Text
	Explanation

	ATC set to zero for six months or longer
	Initial instance of monthly or yearly ATC set to zero for at least six months

	ATC remains at zero for longer than six months
	Continued reporting of an instance of monthly or yearly ATC set to zero for six months or longer.  

	
	


Standard Z:  TTC Narratives

All Transmission Providers shall post on OASIS a brief, but specific, narrative explanation of the reason for a change in monthly or yearly ATC values on a constrained path when a monthly or yearly ATC value changes as a result of a 10 percent change in TTC.  

Standard Z.1: Frequency and Timing of Annotation Posting

Posting shall be made each time TTC is changed by 10 percent or greater.  Posting shall be made as part of the posting of the changed TTC value. 
Standard Z.2: Annotation Posting on OASIS
TTC Narratives shall include the (1) specific events which gave rise to the change in TTC and (2) new values for TTC on that path.
Standard Z.2.1  TTC Narratives shall be posted in accordance with OASIS Implementation Guide (WEQ-013) Version 1.5 and OASIS Standards and Communication Protocols (WEQ-002) Version 1.5.

Standard Z.2.2  TTC Narrative posting shall include in the systemdata template the following information for each path:

· SYSTEM_ELEMENT_TYPE = “Path”
· SYSTEM_ELEMENT  = Name of the path associated with the posted TTC component value
· SYSTEM_ATTRIBUTE = “TTC”
· START_TIME = Date and time that the TTC was changed by at least ten percent (10%)
· STOP_TIME = Date and time for the end of the TTC change posting
· ATTRIBUTE_VALUE =  new TTC value
· ATTRIBUTE_UNITS = “MW”
· ANNOTATION text shall comply with Standard Z.2.3
Standard Z.2.3  Annotation text shall include the following:
1. The magnitude of the change to the nearest percent (e.g., TTC increased by 14%)

· 
2. The  Reliability Functional Model entity whose event triggered the change.
3. The Security Template ID associated with the TTC change.
4. Ldentify which of the following caused the change (include one or more):
· Load Forecast Change

· Generation Dispatch Change
· Generation Outage
·  Generation additon
· Generation Retirement
· Transmission Change
· Transmission Configuration Change

· Transmission Outage, Addition, or Retirement

· System Element Forced Outage; System Element Planned Outage; System Element Addition or Retirement
· Addition or Removal of a Flowgate
· Facility Rating Change including SOL
· Change in Allocation of Path or Flowgate Capability

· Other (explain)
· Honoring Constraint of Entity that triggered the change
Standard Z.3: Frequency and Timing Associated ATC Postings
Whenever the Transmission Provider is required to post a TTC Annotation as required by standard Z.1, the Transmission Provider shall post any new values for monthly and yearly ATC on paths which are impacted by the TTC change. 
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

ORDER 890 WORK PLAN, ESS/ITS ASSIGNMENTS, GROUP 1: POSTING OF ETC; ANNOTATIONS FOR ATC; LOAD FORECAST AND ACTUAL LOAD; RE-BID OF PARTIAL SERVICE; AND PRECONFIRMATION PRIORITY
b.  Description of Recommendation:

c.  Business Purpose:

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
3
Thursday, January 01, 2004

Page 6

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







