

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
WEQ

                                       Requesters:
Business Practices Subcommittee

                                       Request No.: 
2008 Annual Plan – Item 1a(ii)
                                       Request Title:
Continuous Support of TLR Procedure in Alignment with NERC Efforts on Phase II and Phase III



DRAFT


1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

   X  Accept as requested


   X   Change to Existing Practice

       Accept as modified below


      Status Quo

       Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

  X Modification




  X Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


Following the split of the NERC IRO-006 (Reliability Coordination – Transmission Loading Relief) reliability standard there were several parts of the remaining reliability standard identified as having a commercial nature.  Some of these were processed into the NAESB Business Practice Standard WEQ-008 as minor corrections.  Others, such as the modifications sought in this recommendation, fell under the “continuous support” umbrella of the 2008 Annual Plan Item 1a(ii).
This recommendation seeks (1) to dispell the notion that the nine TLR Levels addressed in the NAESB WEQ-008 Business Practice Standards must be utilized sequencially and (2) to move a sentence left in the IRO-006 reliability standard under TLR Level 4 to the WEQ-008 Business Practice Standard.
Recommended Standards:

[Blue text to be added to business practice standard]
(1)
WEQ-008-3
EASTERN INTERCONNECTION PROCEDURE FOR PHYSICAL CURTAILMENT OF INTERCHANGE TRANSACTIONS

It shall be recognized that a Reliability Coordinator shall have the option to enter any TLR Level deemed necessary to protect the reliability of the Bulk Electric System.  The nine Levels of TLR stated in WEQ-008 are not intended to suggest a sequence to be followed by the Reliability Coordinator during the implementation of TLR procedures.
(2)

WEQ-008-3.5.3
The issuance of a TLR Level 4 shall result in the curtailment, in the current hour and the next hour, of all Interchange Transactions using Non-Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold that impact the Constrained Facilities.
4.  SUPPORTING DOCUMENTATION
a.
Description of Request:

2008 WEQ Annual Plan – Item 1 a (ii)

1 a.  Make Version 2 changes to business practices as requested.  (ii) Continuous support of TLR Procedure in alignment with NERC efforts on TLR Phase II and Phase III which would be included in Version 2 development.
b.
Description of Recommendation:

Move the first sentence of Section 2.5.2 of Attachment 1 in NERC Standard IRO-006-4 to WEQ-008 Business Practices.  The addition will become WEQ-008-3.5.3 and will read, “The issuance of a TLR Level 4 shall result in the curtailment, in the current hour and the next hour, of all Interchange Transactions using Non-Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold that impact the Constrained Facilities.”
c.
Business Purpose:

Following the original split of the NERC IRO-006 (Reliability Coordination – Transmission Loading Relief) reliability standard, there a few sections of the remaining reliability standard identified as having a commercial nature.  These sections were not included in the original split and as decided by the WEQ Executive Committee in August, 2007, were not included in the NAESB WEQ Version 1 Business Practices Booklet, filed with FERC in late 2007.

These sections need to be included in the Business Practice in order to bring the NAESB Business Practice and the NERC Reliability Standard into synch with each other. 

d.
Commentary/Rationale of Subcommittee(s)/Task Force(s):

The changes to the business practices reflect agreements between the Joint NERC/NAESB TLR Standards Drafting Team in previous meetings.  Below is a link to the November 27-28, 2007 meeting minutes where the standards were discussed.
Please see “5. Phase III Work” and “Attachment 1; List of Phase III Changes; #8, #13, #14 & #20” of the below linked document.
http://www.nerc.com/docs/standards/dt/TLRDT_Meeting_Notes_2007Nov27_28.pdf
3
Tuesday, July 29, 2008
Page 1

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







