A. Introduction 
1. Title: Transmission Loading Relief Procedure for the Eastern Interconnection
2. Number:  IRO-006-5
3. Purpose:  To provide an Interconnection-wide transmission loading relief procedure for the Eastern Interconnection 
that can be used to prevent and/or manage potential or actual SOL and IROL violations to maintain reliability of the bulk electric system.  
4. Applicability: 
4.1. Reliability Coordinators in the Eastern Interconnection
. 

5. Proposed Effective Date: Effective upon BOT adoption. 
B. Requirements 
Background/Introduction/Preamble 

A Reliability Coordinator experiencing a potential or actual SOL or IROL violation within its Reliability Coordinator Area shall, with its authority and at its discretion, utilize one or more procedures to provide transmission loading relief.  These procedures can be a “local” (regional, interregional, or sub-regional) transmission loading relief procedure or the following Interconnection-wide procedure.  If a Reliability Coordinator in the Eastern Interconnection decides to use the Interconnection-wide TLR procedure to prevent and/or manage potential or actual SOL and IROL violations on transmission facilities, then the Reliability Coordinator shall comply with the requirements below.  A Reliability Coordinator should not use the TLR procedure alone to mitigate an IROL violation, as it is an inappropriate and ineffective tool to mitigate an IROL violation due to the time required to implement the procedure.

R1.
When initiating a TLR procedure, the Reliability Coordinator shall assess the conditions of the transmission facility(ies) and determine the TLR level to prevent or mitigate a SOL or IROL violation in accordance with the guidelines in Appendix A.  This determination is based on the following:
· The current and next hours projected operating conditions of the transmission facility(ies).
· The minimum amount of relief required on the transmission facility(ies), if any, to prevent or mitigate a SOL or IROL violation.

· The time frame for the implementation of the relief actions to prevent or mitigate a SOL or IROL violation on the transmission facility(ies),

· The portfolio of actions that is available to the Reliability Coordinator to prevent or mitigate a SOL or IROL violation on the transmission facility(ies). 
· 
R2.
The Reliability Coordinator initiating a TLR on a transmission facility(ies) shall:

R2.1.
Notify all Reliability Coordinators in the Eastern Interconnection of the initiated TLR
R2.2.
Communicate the required TLR relief actions to all Reliability Coordinators in the Eastern Interconnection.

R2.3.
Request that all Reliability Coordinators impacted by the relief actions implement the communicated relief actions.

R3.
A Reliability Coordinator responding to a TLR event shall comply with the communicated relief obligations by one or more of the following actions:
· Provide the relief obligation as requested by:

· Directing the Balancing Authorities under its purview to implement the Interchange Transactions change requests for which the Balancing Authorities are responsible .
· Directing the Balancing Authorities under its purview to provide the Network and Native Load relief obligation for which the Balancing Authorities are responsible.

· Directing the Market Operator under its purview to provide the Market Flow relief obligation for which the Market Operators are responsible.

· Implement a local procedure that meets the relief obligation, provided the local procedure has been pre-approved by the ERO for use by the responding Reliability Coordinator in lieu of the requested action
· If the above actions would result in a reliability concern, then take other actions agreed to by the initiating Reliability Coordinator that meet the relief obligation, provided these actions do not adversely affect reliability.
R4.     A Reliability Coordinator responding to a TLR event shall communicate to the initiating Reliability Coordinator the actions taken in meeting the relief obligation. 
R5.
The Reliability Coordinator that has initiated a TLR shall monitor the conditions of the constrained transmission facility(ies).

R5.1. The Reliability Coordinator that has initiated a TLR shall update the level of TLR as system conditions change by following the assessment process indicated in R1, above.

R5.2.
The Reliability Coordinator that has initiated a TLR shall update any relief obligations at least once every hour. 
R5.3
The Reliability Coordinator that has initiated a TLR event shall terminate the TLR event and revoke all preventive and mitigating TLR actions previously taken when the transmission facility(ies) is within the SOL and IROL and the projected transmission facility(ies)’s operating conditions for the next hours will not exceed the SOL or IROL.
R6.
When a Reliability Coordinator is responding to requests from other Interconnections to curtail Interchange Transactions crossing an Interconnection boundary, the RC shall comply with the provisions of the other Interconnection’s relief procedure.  NEED TO CONFIRM WITH THE RCWG (ALL INTERCONNECTIONS) THAT THIS IS THE RIGHT WAY TO HANDLE THIS).
C. Measures 

	Requirement
	Measure

	R1
	M1
	

	R2
	M2
	

	R2.1
	M2.1
	

	R2.2
	M2.2
	

	R2.3
	M2.3
	

	R2.4
	M2.4
	

	R2.5
	M2.5
	

	R2.6
	M2.6
	

	R2.7
	M2.7
	

	R3
	M3
	

	R4
	M4
	

	R5
	M5
	

	R6
	M6
	

	R6.1
	M6.1
	

	R6.2
	M6.2
	

	R6.3
	M6.3
	

	R7
	M7
	

	R7.1
	M7.1
	

	R7.2
	M7.2
	

	R7.3
	M7.3
	

	R8
	M8
	

	R8.1
	M8.1
	

	R8.2
	M8.2
	

	R8.3
	M8.3
	

	R9
	M9
	

	R9.1
	M9.1
	

	R9.2
	M9.2
	

	R9.3
	M9.3
	

	R10
	M10
	

	R11
	M11
	


D. Compliance 

1.
Compliance Monitoring Process 

1.1.
Compliance Monitoring Responsibility:  The Regional Reliability Organization shall have responsibility for compliance monitoring.

1.2.
Compliance Monitoring Period and Reset Time Frame:  The compliance monitoring period shall be one (1) calendar year. The reset period shall be one (1) month without a violation.

1.3.
Data Retention 
	Measure
	Entity
	Data Retention Period

	M1
	
	

	M2
	
	

	M2.1
	
	

	M2.2
	
	

	M2.3
	
	

	M2.4
	
	

	M2.5
	
	

	M2.6
	
	

	M2.7
	
	

	M3
	
	

	M4
	
	

	M5
	
	

	M6
	
	

	M6.1
	
	

	M6.2
	
	

	M6.3
	
	

	M7
	
	

	M7.1
	
	

	M7.2
	
	

	M7.3
	
	

	M8
	
	

	M8.1
	
	

	M8.2
	
	

	M8.3
	
	

	M9
	
	

	M9.1
	
	

	M9.2
	
	

	M9.3
	
	

	M10
	
	

	M11
	
	


2.
Additional Compliance Information:  Each Reliability Coordinator, Balancing Authority, and Transmission Operator shall demonstrate compliance through self-certification submitted to its Compliance Monitor annually and reporting by exception. The Compliance Monitor may also use scheduled on-site reviews every three years, and investigations upon complaint, to assess performance. Each Reliability Coordinator, Balancing Authority, and Transmission Operator shall have the following available for its Compliance Monitor to inspect during a scheduled, on-site review or within 5 days of a request as part of an investigation upon complaint:

2.1.
Operations logs, voice recordings or transcripts of voice recordings or other documentation providing the evidence of its compliance to all the requirements for all Interconnection-wide procedures that it has implemented during the review period.

2.2.
TLR reports.

3.
Violation Severity Levels 

	Requirement
	Entity
	Violation Severity

	R1
	
	

	R2
	
	

	R2.1
	
	

	R2.2
	
	

	R2.3
	
	

	R2.4
	
	

	R2.5
	
	

	R2.6
	
	

	R2.7
	
	

	R3
	
	

	R4
	
	

	R5
	
	

	R6
	
	

	R6.1
	
	

	R6.2
	
	

	R6.3
	
	

	R7
	
	

	R7.1
	
	

	R7.2
	
	

	R7.3
	
	

	R8
	
	

	R8.1
	
	

	R8.2
	
	

	R8.3
	
	

	R9
	
	

	R9.1
	
	

	R9.2
	
	

	R9.3
	
	

	R10
	
	

	R11
	
	


E. Regional Differences 

1. PJM/MISO Enhanced Congestion Management

2. Southwest Power Pool Enhanced Congestion Management

F. Associated Documents

G. Revision History

	Version 
	Date 
	Action 
	Tracking 

	0 
	4/1/2005 
	Effective Date 
	New 

	0 
	8/8/2005 
	Removed “Proposed” from Effective Date 
	Errata 

	1 
	8/8/2005 
	Revised Attachment 1 
	Revision 

	3 
	2/26/2007 
	Revised Purpose and Attachment 1 related to NERC NAESB split of the TLR procedure 
	Revision 

	4
	
	NERC/NAESB split of Attachment 1with the intention of making minimal changes to the remaining content & format
	Revision 

	5 
	
	Rewrite of Attachment 1 following NERC/NAESB split to improve clarity and organization
	Revision 


Appendix A

The following guidelines are intended to assist the RC in deterining what level of TLR to call.  However, the RC has the discretion to choose any of these levels regardless of the criteria listed below, provided the RC has reliability reasons to take such action.  

	Level
	System Condition

	TLR-1
	· One or more transmission facilities are expected to approach or exceed their SOL or IROL within 8 hours.

	TLR-2
	· One or more transmission facilities are approaching or at their SOL or IROL. 

· It is expected that exceeding SOLs and IROLs can be avoided through holding new and increasing non-firm transactions and energy flows for the next hour.

	TLR-3a
	· One or more transmission facilities are expected to exceed their SOL or IROL within the next-hour.

· It is expected that exceeding SOLs and IROLs can be avoided through full or partial curtailment or reallocation of non-firm transactions and energy flows.

	TLR-3b
	· One or more transmission facilities are exceeding their SOL or IROL, or

· One or more transmission facilities are expected to exceed their SOL or IROL within the current hour.

· It is expected that exceeding SOLs and IROLs can be avoided through full or partial curtailment or reallocation of non-firm transactions and energy flows.

	TLR-4
	· One or more transmission facilities are expected to exceed their SOL or IROL.

· It is expected that exceeding SOLs and IROLs can be avoided through 

· Full curtailment of non-firm transactions, and energy flows, and

· Reconfiguration of the transmission system.

	TLR-5a
	· One or more transmission facilities are expected to exceed their SOL or IROL when the next-hour’s transactions start.

· It is expected that exceeding SOLs and IROLs can be avoided through 

· Full curtailment non-firm transactions and energy flows

· Reconfiguration of the transmission system, and

· Full or partial curtailment or reallocation of firm transactions and energy flows.

	TLR-5b
	· One or more transmission facilities are exceeding their SOL or IROL, or

· One or more transmission facilities are expected to exceed their SOL or IROL within the current hour.

· It is expected that exceeding SOLs and IROLs can be avoided through 

· Full curtailment non-firm transactions and energy flows

· Reconfiguration of the transmission system, and

· Full or partial curtailment of firm transactions and energy flows.


�Based on discussions, it sounds like we should remove this phrase (if this is to be a continent-wide standard and the others are to be variances).


�Same comment.





