Comments Submitted by A. Rodriquez, NERC Staff

-----Original Message-----

From: Andy Rodriquez

Sent: Wednesday, September 17, 2008 10:09 AM

To: naesbmail@naesb.org

Subject: RE: Request for Informal Comments on Proposed Changes to WEQ-006 and WEQ-007 is due September 17, 2008

NERC provides the following informal comments on these draft business practices.

Changes to WEQ-006

NERC notes that it currently has a drafting team, the Balancing Authority Controls Standards Drafting Team, which is in the process of evaluating and developing recommendations for reliability standards related to NAESB's Time Error Correction Standard.  That team is considering the merits of halting the practice of Time Error Correction.

NERC suggests that the NERC/NAESB Joint Coordination Procedure be utilized to ensure that the NERC and NAESB efforts together present a jointly agreed upon approach to addressing Time Error Correction.

Specifically, NAESB developing a new Time Error Correction procedure while NERC is considering eliminating Time Error Correction altogether may be seen by the industry and FERC as a conflict of goals that

indicates a lack of coordination between organizations.    

Changes to WEQ-007

NERC notes that it currently has a drafting team, the Balancing Authority Controls Standards Drafting Team, which is in the process of evaluating and modifying the NERC Reliability Standards related to Inadvertent Interchange.  That team is evaluating the reliability impacts of unilateral Inadvertent Payback, which is both an existing option (Method 1) and a proposed option (Method 2) within the proposed business practice.  NERC suggests that the NERC/NAESB Joint Coordination Procedure be utilized to ensure that the NERC and NAESB efforts together present a jointly agreed upon approach to addressing Inadvertent Interchange.  Specifically, NAESB promoting unilateral inadvertent payback while NERC is uncertain if unilateral inadvertent payback is reliable may be seen by the industry and FERC as a potential conflict of goals that indicates a lack of coordination between organizations.  

NERC notes that 007-1.1.4.2 proposes performing unilateral inadvertent payback by implementing "An Interchange Schedule (MW) of 5MW or 20% of

the Balancing Authority Bias, whichever is greater."   NERC notes that

by definition, an Interchange Schedule is bilateral in nature (i.e., a transfer of energy from one Balancing Authority to another Balancing Authority), and questions if this language as currently written is implementable as a unilateral payback. Current language in NERC BAL-004 (Time Error Correction) refers to using an "offset" to the Net Interchange Schedule term; if this is intended to be consistent with the Time Error Correction language, NERC notes that as written, the business

practice is inconsistent.      

NERC is not stating an opinion on whether the management of inadvertent balances has any impact to reliability.  However, NERC further notes that in general, the concept of unilateral inadvertent payback results in reducing one entity's inadvertent balance, but cannot guarantee the effects on the inadvertent balances of other entities within the same interconnection will be beneficial.  In other words, since there is no assurance that the entities responding to the payback through their frequency bias contribution in order to maintain frequency (and thus creating inadvertent) are entities that have inadvertent balances in the opposing direction, performing unilateral inadvertent payback has the potential to increase the balances of other entities without their

permission or desire.   

Andy Rodriquez

Manager, Business Practice Coordination

North American Electric Reliability Corporation Washington, D.C. 

-----Original Message-----

From: naesbmail@naesb.org [mailto:naesbmail@naesb.org]

Sent: Tuesday, August 26, 2008 7:27 PM

To: Andy Rodriquez

Subject: Request for Informal Comments on Proposed Changes to WEQ-006 and WEQ-007 is due September 17, 2008

via email and posting

TO:
NAESB Wholesale Electric Quadrant (WEQ) Members and Interested

Industry Participants

FROM:
WEQ Business Practices Subcommittee (BPS), Time and Inadvertent

Management Task Force (TIMTF), Deonne Cunningham, Meeting Administrator / Project Manager

RE:
Request for Informal Comments on Proposed Changes to WEQ-006 and

WEQ-007 is due September 17, 2008

DATE:
August 26, 2008

Dear NAESB WEQ Members and Interested Industry Participants,

During the August 15, 2008 Time and Inadvertent Management Task Force

(TIMTF) meeting, the task force agreed to proposed changes to WEQ-006 (Manual Time Error Correction) and WEQ-007 (Inadvertent Interchange

Payback) to support the standards request R07020 (Develop a NAESB Time and Inadvertent Management Business Practice that provides additional Inadvertent payback options and improved Time Control).  The scope of the changes has been to create a second method for Time Error Correction Initiation in WEQ-006 and a second method for both Bilateral and Unilateral Paybacks in WEQ-007.  These changes were forwarded to the WEQ Business Practices Subcommittee (BPS) for their review and subsequent action.  The WEQ BPS is posting the draft recommendation, containing the TIMTF proposed changes, for an informal comment period beginning today August 26, 2008 and ending on September 17, 2008.

The document can be found on the NAESB website via the following link: 

http://www.naesb.org/pdf3/weq_bps082608reqcom_a1.doc. 

For further information on the development of the draft standards language, please reference the documents posted on the Time and Inadvertent Management Task Force page at:

http://www.naesb.org/weq/weq_timtf.asp.  Comments submitted will be reviewed by the WEQ BPS during the September 22, 2008 conference call.

Please return any comments you have on the document to the NAESB Office (naesb@naesb.org or 713-356-0067 fax) by September 17, 2008.  If you have any questions or need further assistance, feel free to contact the NAESB Office at 713-356-0060.

Best Regards,

Deonne R. Cunningham

NAESB

