
[image: image1.png]NORTH AMERICAN ELECTRIC
RELIABILITY CORPORATION




Violation Severity Levels 

Development Guidelines

September 20, 2007

 Introduction

By means of Order 693 entitled Mandatory Reliability Standards for the Bulk-Electric System, issued March 16, 2007, (Docket No. RM06-16-000) the FERC approved 83 NERC reliability standards, thereby making them mandatory for all users, owners and operators of the bulk electric system (BES). Numerous of these - and other reliability standards subsequently submitted to the Commission for approval - currently contain ‘Levels of Non-compliance’. 

The NERC Sanctions Guidelines (“Sanctions Guidelines”) articulate how violations of mandatory reliability standards will be sanctioned by NERC, as the ERO certified by FERC, and the regional entities to whom NERC has delegated authority (the REs). The Sanctions Guidelines use and rely upon ‘Violation Severity Levels’, (VSL) not ‘Levels of Non-compliance’. However, no mandatory FERC-approved standards now enforceable and sanctionable
 by NERC and the Regional Entities (RE) presently have VSLs.

The FERC, in the Order on Compliance Filing dated June 7, 2007 (Docket #RR06-1-007), directed NERC to replace the ‘Levels of Non-compliance’ (in the 83 standards it approved) with ‘Violation Severity Levels’ (VSL).  NERC, as the ERO, is required to comply with FERC directives.  By replacing the existing ‘Levels of Non-compliance’ with ‘Violation Severity Levels’ the ERO’s Sanctions Guidelines can be used as designed.  The Sanctions Guidelines use ‘Violation Severity Levels’ as an element in determining the size of a sanction.

Subsequent to the issuing of the Order on Compliance Filing dated June 7, 2007 (Docket #RR06-1-007) a Standards Authorization Request (SAR) was submitted to and approved by the Standards Committee (SC) to (i) undertake removal of the “Levels of Non-Compliance” from approved, mandatory reliability standards and (ii) develop and file VSLs for these reliability standards with FERC, as required, using the NERC Reliability Standards Development Procedure. The SC approved the SAR and appointed a Drafting Team to meet the objectives outlined in the SAR.  The SAR DT is working under the “Replace Levels of Noncompliance with Violation Severity Levels” project.  This is Project 2007-23. 

The drafting team is tasked with developing criteria for assignment of Violation Severity Levels, and with  assigning the initial set of severity levels to each Requirement (and sub-requirements) of each of the 83 Standards approved by FERC.  The criteria established by the VSL DT is described below.

The enclosed VSL Development Guidelines articulate a consistent approach to assess the degree to which a particular reliability standard requirement was violated.  Alternatively, to the extent existing measures or levels of non-compliance contained in the current approved standards are specific to a unique requirement, those criteria are given strong consideration for continued use as VSLs.

The VSL DT will also work with other existing standard drafting teams that have the necessary expertise to determine the validity and adequacy of the VSLs for the group of standards assigned to them. These existing teams will review the criteria and the VSLs developed by VSL DT and, using the criteria, confirm or change the VSL and provide support for any changes. The existing drafting teams provide industry input and expertise for various standards and groups of standards.   On a few of the requirements, the VSL DT has provided a proposed methodology and examples on how to set VSL and is looking for input from the existing teams that have the expertise and have been assigned that standard.

Once the VSLs have been reviewed by the existing teams, the VSL DT will gather the results and review them for consistency and then post the revised criteria and the Standards containing the VSLs for comment.

Violation Severity Level Development Guidelines

The FERC, in the Order on Compliance Filing dated June 7, 2007 (Docket #RR06-1-007), directed NERC to develop violation severity levels (VSLs) for each requirement and sub requirement.
  The enclosed VSL Development Guidelines articulate a consistent approach to assess the degree to which a particular reliability standard requirement was violated.  Alternatively, to the extent existing measures or levels of non-compliance contained in the current approved standards are specific to a unique requirement; those criteria shall be given strong consideration for continued use as VSLs.  However, those measures and levels of non-compliance must be supportable and defensible.
The VSL DT has reviewed and considered the comments to the SAR and incorporated, where appropriate, the suggestions supplied in the comments in developing the following guidelines.  The VSL DT classified the requirements and sub-requirements as follows and developed criteria for assigning at least one VSL to each category.

A. Procedure / Program 

B.  Implementation / Execution
C. Reporting
D. Coordination / Communication
E. Numeric Performance
F. Multi-Component
G. Explanatory Text
H. Requirements without Violation Risk Factor Assigned  (N/A)
The above classifications were developed in order to define the multiple types of Requirements contained in the Standards and assign VSLs to those Requirements containing Violation Risk Factors. 

The following guidelines are to be used in the identification of the appropriate classification and assignment of VSLs to each Requirement. . Each Requirement must have one or more Violation Severity Levels unless it does not have Violation Risk Factor assigned to it.  

While the Violation Risk Factors are used to assess the impact to reliability of violating a requirement – Violation Severity Levels are used to identify the degree to which an entity missed complying with a requirement.
· Every requirement must have at least one Violation Severity Level unless it does not have a Violation Risk Factor assigned to it.  (TLD SDT’s comment: VSL can only be assessed when appropriate Measures are developed. Suggest to change it to Each Requirement must have at least a Measure and each Measure must have at least one VSL. This is based on the SDT’s experience with assigning Measures and VSLs to the IRO-006-4 standard. Some Requirements have a high level requirement that is not measurable, but whose sub-requirements are. Another example is R2 and R3 of IRO-014 to which the SDT is requested to assign VSLs. Another observation that perhaps needs to be fed back to the Standards Committee is that some sub-requirements only list the parameter that must be included in meeting a main requirement. The sub-requirements themselves are not requirements and hence Measures are not (and cannot be) developed. In this case, Measures are developed for the main requirement and hence VSLs should be assigned to the main requirement. An example is IRO-014 R1.1 and its sub-requirements 1.1.1 to 1.1.6.
· Not all requirements must have multiple Violation Severity Levels.  

The following criteria are being proposed as a guideline for developing Violation Severity Levels.  The “definitions” of Violation Severity Levels form the overall basis for the criteria to be used to assign VSLs to each requirement.  These definitions are as follows:
	Lower 
	Moderate
	High 
	Severe

	The responsible entity is mostly compliant with and meets the intent of the requirement but is deficient with respect to one or more minor details. 

	The responsible entity is mostly compliant with the requirement but fails to satisfy at least one significant element.
	The responsible entity is partially compliant with the requirement but fails to satisfy more than one significant element.
	The responsible entity is mostly non-compliant with the requirement. 


The definitions above provide general, overall guidance for developing VSL assignments for each of the categories (A through H above).   The definition of the standard requirement categories and their associated criteria for assigning VSLs are provided on the following pages.

A.  Procedure/Program:  The following general criteria should be used to develop violation severity levels for standards requirements that direct the responsible entity to have for use an executable program, procedure, protocol or written guideline document. 

	Lower 
	Moderate
	High 
	Severe

	The responsible entity has demonstrated the existence of the required procedure/program but is missing minor details or minor program/ procedural elements.  Such deficiencies would not impact the achievement of the objective of the requirement. 
	The responsible entity has demonstrated the existence of the required procedure/program and is mostly compliant with the requirement but fails to satisfy at least one significant element.     
	The responsible entity is partially compliant with the requirement and fails to satisfy more than one significant element.
	The responsible entity has failed to demonstrate the existence of the program, procedure, protocol,   or guideline document required.


Example:

FAC-003-1 Requirement # 1

The Transmission Owner shall prepare, and keep current, a formal transmission vegetation management program (TVMP).  The TVMP shall include the Transmission Owner’s objectives, practices, approved procedures and work specifications.  

	Lower 
	Moderate
	High 
	Severe

	A TVMP has been developed but the TVMP has minor administrative weaknesses (e.g. not fully current, not approved in timely fashion). 
	A TVMP has been developed but is missing a significant element (objectives, only includes partial set of work specifications, etc.)   
	A TVMP exists but is missing significant elements (practices, procedures, specifications) which would prevent the entity from substantially meeting the reliability objectives of the requirement.  
	The responsible entity has not developed a TVMP. 


B. Implementation / Execution:  The following general criteria should be used to develop violation severity levels for standards requirements that direct the registered entity to implement or execute a program, procedure requirement, or directives.   
	Lower 
	Moderate
	High 
	Severe

	The responsible entity’s implementation/ execution have resulted in meeting the intent of the requirement but the execution was deficient with respect to minor details.   
	The responsible entity's implementation / execution is mostly compliant with the requirement but fail to satisfy at least one significant element.
	The responsible entity's implementation / execution is partially compliant with the requirement and fails to satisfy more than one significant element.
	The responsible entity has failed to demonstrate implementation or execution of the program / procedure requirement or directive.  


Example:

FAC-003-1 Requirement 1.3 All personnel directly involved in the design and implementation of the TVMP shall hold appropriate qualifications and training, as defined by the Transmission Owner, to perform their duties.

	Lower 
	Moderate
	High 
	Severe

	The responsible entity exhibited an administrative program deficiency (e.g. documentation). 
	The responsible entity failed to adhere to either its training or qualifications standards.  
	The responsible entity has failed to adhere to its training and qualification standards resulting in potentially unqualified personnel assigned to administer the TVMP program.   
	The responsible entity has not defined qualification and training requirements and personnel directly involved in the TVMP do not hold qualifications or training.  


C. Reporting:  The following general criteria should be used to develop violation severity levels for standards requirements that direct the entity to report operational information and/or data to another registered entity or regulatory authority.  For clarification purposes reporting is a one-way correspondence with no response required.

	Lower 
	Moderate
	High 
	Severe

	The responsible entity has demonstrated the reporting of required information but is noncompliant with minor details while still satisfying all significant elements.
	The responsible entity has demonstrated the reporting of required information but fails to satisfy at least one significant element.
	The responsible entity has demonstrated the reporting of required information but fails to satisfy more than one significant element.
	The responsible entity has failed to report as directed by the requirement. 


Example:

EOP-004-1 Disturbance Reporting

R3.1. The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load Serving Entity shall submit within 24 hours of the disturbance or unusual occurrence either a copy of the report submitted to DOE, or, if no DOE report is required, a copy of the NERC Interconnection Reliability Operating Limit and Preliminary Disturbance Report form. Events that are not identified until some time after they occur shall be reported within 24 hours of being recognized

	Lower 
	Moderate
	High 
	Severe

	The responsible entity provided the required reports in a timely manner with minor exceptions (e.g., OE-417 Form not used) and substantially meets the intent of the requirement. 


	The responsible entity provided the required reports with some deficiency such as submission occurred later than 24 hours but not more than 36 hours.


	The responsible entity provided the required reports but was significantly deficient in meeting timeliness requirement by more than 36 hours but less than 48 hours.


	The responsible entity has failed to report within 48 hours. 




D. Coordination / Communicate:  The following general criteria should be used to develop violation severity levels for standards requirements which direct the registered entity to coordinate and/or communicate with other required entities. For clarification purposes, Coordination / Communicate is considered communication between two or more parties with the expectation of response.

	Lower
	Moderate
	High
	Severe

	The responsible entity has demonstrated coordination / communication with required entities with minor exception and is substantially compliant with the directives of the requirement.
	The responsible entity has demonstrated coordination / communication with required entities with some exception and is mostly compliant with the directives of the requirement.
	The responsible entity has demonstrated coordination / communication with others but was substantially deficient in meeting the directives of the requirement.
	The responsible entity has failed to demonstrate coordination / communication with required entities as directed by the requirement.


Example:

EOP-003-1 Requirement # 3: 

Each Transmission Operator and Balancing Authority shall coordinate load shedding plans among other interconnected Transmission Operators and Balancing Authorities.

	Lower 
	Moderate
	High 
	Severe

	The TO or BA has coordinated its load shedding plans with all but one appropriate interconnected entity.   


	The TO and BA has coordinated and shared its load shedding plan with > 80% of the appropriate interconnected entities.      
	The TO or BA has coordinated and shared its load shedding plan but such coordination was only done with < 80% of the appropriate interconnected entities.   
	The TO or BA has not coordinated or shared its load shedding plans with any of the appropriate interconnected entities  


E.  Numeric Performance:  One of the following methods should be used to develop Violation Severity Levels for standards which require the responsible entity to meet a defined numeric performance level:
1. The quartile approach using straight percentages around the total value or 100%.

2. The quartile approach defining a minimum acceptable value and then applying the four quartiles between the minimum value and 100%. (The minimum acceptable value should be defined and supported by the use of technical supportable criteria).

3. In cases where there is a target or a specific value in the current approved mandatory and enforceable standard, use the existing target or value to define the Violation Severity Levels.

The VSL DT recommends that the standards drafting teams use one of these three methods to apply VSL’s to any of their requirements that have numeric measures.  The VSL DT asks that the standards drafting teams provide documentation and supportable evidence for the selected methodology that is in keeping with the objective of maintaining a reliable system.  If the standards drafting team develops an alternative method, documentation and supportable evidence is required.  The VSL DT asks that any proposed method is applicable and in keeping with the objective of maintaining a reliable system. 
	Lower
	Moderate
	High 
	Severe

	1st quartile

The responsible entity has failed to meet the minimum acceptable performance of the requirement but has achieved a performance level equal to or above the 75th percentile of the appropriate measure.
	2nd quartile

The responsible entity has achieved the measure of performance level below the 75th percentile but equal to or above the 50th percentile of the appropriate measure.
	3rd quartile

The responsible entity has achieved the measure of performance level below or equal to the 50th percentile but equal to or above the 25th percentile of the appropriate measure.
	4th quartile

The responsible entity has achieved the measure of performance level below the 25th percentile of the appropriate measure.


Violation Severity Levels for Numerical Requirements will be divided into quartiles as described below:

· Lower:

75% ≤ Normalized Score < 100%.

· Moderate:
50% ≤ Normalized Score < 75%.

· High:

25% ≤ Normalized Score < 50%.

· Severe: 
 0% ≤ Normalized Score < 25%.

The following example, Example 1, illustrates the use of general criteria #1 above, as applied to BAL-001-1, Requirement 2:

BAL-001-1, Requirement 2:

“Each Balancing Authority shall operate such that its average ACE for at least 90% of clock-ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10.”

For Example 1, the severity levels are determined applying 4 equal quartiles between the target and zero (0)
· Lower:  mostly compliant with minor exceptions.  Equivalent score: equal to or more than 67.5 but less than 90.

· Moderate: mostly compliant with significant exceptions.  Equivalent score: equal to or more than 45 but less than or equal to 67.5.

· High: marginal performance or results.  Equivalent score: equal to or more than 22.5 but less than or equal to 45.

· Severe: poor performance or results.  Equivalent score:  less than 22.5.
The following Example 2 illustrates the use of general criteria #2 above, as applied to BAL-001-1, Requirement 2.  The assumption is made that the minimum acceptable value is a score of 72 (Note: the score of 72 must be supportable and defensible):

BAL-001-1, Requirement 2:

“Each Balancing Authority shall operate such that its average ACE for at least 90% of clock-ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10.”  

For this Example, Violation Severity Levels for should be based on the following guidelines:

· Lower: mostly compliant with minor exceptions.  Equivalent score: more than 84 but less than 90.

· Moderate: mostly compliant with significant exceptions.  Equivalent score: more than 78 but less than or equal to 84.

· High: marginal performance or results.  Equivalent score: at least 72 but less than or equal to 78.

· Severe: poor performance or results.  Equivalent score:  less than 72. 

The following example, Example 3, is for use of general criteria #3 above, as applied to BAL-001-1, Requirement 2 (taken from Levels of Non-Compliance):

BAL-001-1, Requirement 2:

“Each Balancing Authority shall operate such that its average ACE for at least 90% of clock-ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10.”

For this requirement Violation Severity Levels for Numerical Requirements should be based on the following guidelines:

· Lower:  mostly compliant with minor exceptions.  Equivalent score:  equal to or more than 85 but less than 90.

· Moderate: mostly compliant with significant exceptions.  Equivalent score: equal to or more than 80 but less than 85.

· High: marginal performance or results.  Equivalent score: equal to or more than 75 but less than 80.

· Severe: poor performance or results.  Equivalent score:  less than 75.

 F. Multi-Component:  The following general criteria should be used for requirements that have multiple components or sub- requirements which direct the responsible entity to comply with a multiple number of sub-requirements or sub-sub-requirements.  To be considered a multi-component, the requirement must have sub-requirements or requirements listed on an attachment.  However, a requirement having a sub-requirement may fall under one of the other categories.

Use of the quartile methodology is suggested; however any proposed alternative methodology should be presented with the justification and supporting documentation for that proposed change.  The VSL DT asks that any proposed method is applicable to and in keeping with the objective of maintaining a reliable system
	Lower 
	Moderate
	High
	Severe

	The responsible entity failed to comply with less than 25% of the number of sub-components. 
	The responsible entity failed to comply with 25% or more but less than 50% of the number of sub-components.
	The responsible entity has achieved a measure of performance equal to or below 50% but above 25% of the appropriate measure.
	The responsible entity has achieved a measure of performance equal to or below 25% of the appropriate measure.


For a multi-component requirement that contains 20 sub-requirements or elements, the following VSL apply:

· Lower:

0 < missed sub-requirements ≤  5   (Missed 1 up to 5 sub requirements)

· Moderate:
5 < missed sub-requirements ≤  10
· High:

10 < missed sub-requirements ≤  15
· Severe:

15 < missed sub-requirements ≤  20 
Example1:

EOP-005-1, Requirement 1:  Each Transmission Operator shall have a restoration plan to reestablish its electric system in a stable and orderly manner in the event of a partial or total shutdown of its system, including necessary operating instructions and procedures to cover emergency conditions, and the loss of vital telecommunications channels.  Each Transmission Operator shall include the applicable elements listed in Attachment 1 of EOP-005 in developing a restoration plan.

	Lower 
	Moderate
	High
	Severe

	A Transmission Operator failed to administratively document one element numerically listed for consideration in Attachment 1 to the standard in the restoration plan.


	A Transmission Operator failed to include three of the elements numerically listed for consideration in Attachment 1 to the standard in the restoration plan.
	A Transmission Operator failed to include five of the elements numerically listed for consideration in Attachment 1 to the standard in the restoration plan.
	A Transmission Operator failed to include seven of the elements numerically listed for consideration in Attachment 1 to the standard in the restoration plan.


Example 2:

PER-003-0 Requirement 1:

Each Transmission Operator, Balancing Authority, and Reliability Coordinator shall staff all operating positions that meet both of the following criteria with personnel that are NERC-certified for the applicable functions:
	Lower 
	Moderate
	High 
	Severe

	Not applicable
	Not applicable
	The responsible entity did not meet the requirements of one of the two sub-requirements R1.1 or R1.2. 
	The responsible entity did not meet the requirements of both sub-requirements R1.1 and R1.2.   


G. Explanatory Text:  A requirement which provides explanatory text but does not require action on the part of the entity.

	Lower 
	Moderate
	High
	Severe

	All explanatory Requirements that have a risk factor assigned to them shall have a VSL of Lower assigned to them.
	N/A
	N/A
	N/A


We do not think assigning a VSL, even at the lower level, is required or appropriate for this type of requirement (which is NOT a requirement at all). We should simply say it is not applicable. 

We understand that there currently exists a mismatch between Requirements, Measures and VRFs and hence it is quite difficult to assign VSLs to some of them. Over time, the mismatch is expected to be resolved and hence this Guideline should be developed with that outcome in mind. Explanatory Text is not a requirement - one that does not or should not have a VRF or Measure assigned, we should deem this requirement not having to have a VSL.

In our view, tying the need for a VSL to a Measure is the most appropriate approach. Measures, not VRFs, are the yardstick to assess whether or not an entity meets a requirement. VRFs are, as we understanding them, the assessed impact on reliability if a requirement is not met. Explanatory Text is not a requirement; therefore, one cannot determine if the text is met or violated and there shouldn’t be a VRF or Measure associate with it.
Example:

FAC-003-1 Requirement # 3.2

The Transmission Owner is not required to report to the RRO, or the RRO’s designee, certain sustained transmission line outages caused by vegetation: (1) Vegetation-related outages that result from vegetation falling into lines from outside the ROW that result from natural disasters shall not be considered reportable (examples of disasters that could create non-reportable outages include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, major storms as defined either by the Transmission Owner or an applicable regulatory body, ice storms, and floods), and (2) Vegetation-related outages due to human or animal activity shall not be considered reportable  (examples of human or animal activity that could cause a non-reportable outage include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural activities or horticultural or agricultural activities, or removal or digging of vegetation).
	Lower 
	Moderate
	High 
	Severe

	Text of Requirement 3.2 is exclusively explanatory.  Any violation would to be due to a misinterpretation of the explanatory requirement.   
	Not Applicable
	Not Applicable
	Not Applicable


H. Requirements without Violation Risk Factor Assigned:  for those requirement that do not have a Violation Risk Factor assigned to them it is not necessary to assign a VSL and will be assigned a VSL of Not Applicable (N/A). Suggest to include Requirements w/o Measures assigned. Please see our comments on P.5.

















































































































































































� FERC-approved mandatory reliability standards became enforceable and sanctionable pursuant to the Commission-approved NERC Compliance Monitoring and Enforcement Program (CMEP), and the Sanctions Guidelines referenced therein, beginning June 18 2007 (June 25, 2007 for QF facilities) 


� Paragraph 80 of Order on Compliance Filing dated June 7, 2007 (Docket #RR06-1-007)





116-390 Village Boulevard, Princeton, New Jersey 08540-5721

Phone: 609.452.8060 ▪ Fax: 609.452.9550 ▪ www.nerc.com

