LIST OF ATC RELATED INFORMATION

This List identifies the data associated with ATC calculations, as addressed in NERC ATC Standards (MOD - 001, MOD – 004, MOD – 008, MOD – 028, MOD – 029 and MOD – 030).  The Transmission Provider shall indicate whether or not the data will be publicly available. 1

| Item # | NERC Reference | ATC-Related Item | Publicly Available | Comments |
| --- | --- | --- | --- | --- |
| 1 | MOD-001 | The Available Transfer Capability Implementation Document (ATCID) to include the following: How the methodology has been implemented How counterflows are accounted for: - How confirmed transmission reservations, expected Interchange, and internal counterflow are addressed, including rationale for that accounting A description of the allocation processes listed below that are applicable to the Transmission Service Provider: • Processes used to allocate transfer or Flowgate capability among multiple lines or sub-paths within a larger ATC Path or Flowgate. • Processes used to allocate transfer or Flowgate capabilities among multiple owners or users of an ATC Path or Flowgate. • Processes used to allocate transfer or Flowgate capabilities between - Transmission Service Providers to address issues such as forward looking congestion management or seams coordination - A description of how partial period outages or outages from other providers that cannot be directly mapped are handled |  |  |
| 2 | MOD-001 | Expected generation outages |  |  |
| 3 | MOD-001 | Expected generation additions |  |  |
| 4 | MOD-001 | Expected generation retirements |  |  |
| 5 | MOD-001 | Expected Transmission outages |  |  |
| 6 | MOD-001 | Expected Transmission additions |  |  |
| 7 | MOD-001 | Expected Transmission retirements |  |  |
| 8 | MOD-001 | Load forecasts |  |  |
| 10 | MOD-001 | Unit commitments and order of dispatch, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider: - Dispatch Order - Participation Factors - Block Dispatch |  |  |
| 11 | MOD-001 | Aggregated firm capacity set-aside for Network Integration Transmission Service |  |  |
| 12 | MOD-001 | Aggregated non-firm capacity set-aside for Network Integration Transmission Service (i.e., Secondary Service) |  |  |
| 13 | MOD-001 | Firm Transmission reservations |  |  |
| 14 | MOD-001 | Non-firm Transmission reservations |  |  |
| 15 | MOD-001 | Aggregated capacity set-aside for Grandfathered obligations |  |  |
| 16 | MOD-001 | Firm roll-over rights |  |  |
| 17 | MOD-001 | Any firm adjustments applied by the Transmission Service Provider to reflect parallel path impacts |  |  |
| 18 | MOD-001 | Any non-firm adjustments applied by the Transmission Service Provider to reflect parallel path impacts |  |  |
| 19 | MOD-001 | Power flow models and underlying assumptions |  |  |
| 20 | MOD-001 | Contingencies, provided in one or more of the following formats: - A list of Elements - A list of Flowgates - A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider |  |  |
| 21 | MOD-001 | Facility Ratings |  |  |
| 22 | MOD-001 | Any other services that impact Existing Transmission Commitments (ETCs) |  |  |
| 23 | MOD-001 | Values of Capacity Benefit Margin (CBM), Transmission Reliability Margin (TRM) for all ATC Paths or Flowgates |  |  |
| 24 | MOD-001 | Values of Total Flowgate Capability (TFC) and (AFC) for any Flowgates considered by the Transmission Service Provider selling the Transmission Service |  |  |
| 25 | MOD-001 | Values of Total Transfer Capability (TTC) and Available Transfer Capability (ATC) for all ATC Paths or Flowgates |  |  |
| 26 | MOD-001 | Source and sink identification and mapping to the model |  |  |

| 27 | MOD004 | The Capacity Benefit Margin Implementation Document (CBMID) including the procedures and assumptions for establishing CBM for each ATC Path or Flowgate |  |  |
| --- | --- | --- | --- | --- |
| 28 | MOD 004 | The amount of CBM set aside for Load-Serving Entities and Resource Planners over each ATC Path or Flowgate |  |  |
|  | MOD 004 | Applicable supporting data, including any models, used for determining CBM or allocating CBM over each ATC Path or Flowgate |  |  |
| 30 | MOD 008 | The Transmission Reliability Margin Implementation Document (TRMID), including a list of the components of uncertainty used in calculating TRM for each ATC Path or Flowgage and a description of how the component is used and of the method used to allocate TRM across ATC Paths or Flowgates. |  |  |

| Item # | NERC Reference | ATC-Related Item 2 |  | Publicly Available 3 | Comments 4 |
| --- | --- | --- | --- | --- | --- |
| 31 | MOD 028 | Each Transmission Service Provider shall include in its ATCID, at a minimum, the following information relative to its methodology for determining TTC: - Information describing how the selected methodology has been implemented - A description of the manner in which the Transmission Operator will account for Interchange Schedules in the calculation of TTC - Any contractual obligations for allocation of TTC - A description of the manner in which Contingencies are identified for use in the TTC process - The following information on how source and sink for transmission service is accounted for in ATC calculations including: - Define if the source used for ATC calculations is obtained from the source field or the POR field of the transmission reservation - Define if the sink used for ATC calculations is obtained from the sink field or the POD field of the transmission reservation - The source/sink or POR/POD identification and mapping to the model - If the Transmission Service Provider’s ATC calculation process involves a grouping of generation, the ATCID must identify how these generators participate in the group |  |  |  |

| Item # | NERC Reference | ATC-Related Item 2 |  | Publicly Available 3 | Comments 4 |
| --- | --- | --- | --- | --- | --- |
| 32 | MOD 029 | The TTC study report documenting the assumptions used and steps taken in determining the current value for TTC for that ATC Path. |  |  |  |
| 33 | MOD 029 | The firm capacity set aside for Native Load commitments, including losses and native load growth |  |  |  |

| 34 | MOD 030 | . The Transmission Service Provider shall include in its ATCID: - The criteria used by the Transmission Operator to identify sets of Transmission Facilities as Flowgates that are to be considered in Available Flowgate Capability (AFC) calculations - The following information on how source and sink for transmission service is accounted for in AFC calculations including: - Define if the source used for AFC calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation. - Define if the sink used for AFC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation - The souce/sink or POR/POD identification and mapping to the model - If the Transmission Service Provider’s AFC calculation process involves a grouping of generators, the ATCID must identify how these generators participate in the group |  |  |
| --- | --- | --- | --- | --- |

| 35 | MOD 030 | Regarding the firm and non-firm ETC calculations, identify the elements of the calculation as follows: - The impact of firm and non-firm NITS including the impacts of generation to load and based on the load forecast including native load and network service load and unit commitment and dispatch order as specified in the ATCID for the TSPs area. - The impact of firm or non-firm NITS including the impacts of generation to load for the areas of adjacent TSPs and any other TSPs with coordination agreements where the distribution factor is equal to or greater than DF%, where DF% is the percentage distribution factor used to determine which are included in the AFC analysis for ETC calculations. - The impact of confirmed firm and non-firm point-to-point service for the TSPs area, expected to be scheduled including roll-over rights - The impact of confirmed firm and non-firm point-to-point service for the TSPs area, expected to be scheduled with duplicate impacts eliminated, including roll-over rights using service from multiple TSPs for the areas of adjacent TSPs and any other TSPs with coordination agreements where the distribution factor is equal to or greater than DF%, where DF% is the percentage distribution factor used to determine which are included in the AFC analysis for ETC calculations. - The impact of any firm or non-firm Grandfathered obligations, expected to be scheduled or expected to flow in the TSPs area - The impact of any firm or non-firm Grandfathered obligations, expected to be scheduled or expected to flow for the areas of adjacent TSPs and any other TSPs with Coordination Agreements where the distribution factor is equal to or greater than DF%, where DF% is the percentage distribution factor used to determine which are included in the AFC analysis for ETC calculations. - The impact of any firm or non-firm Other Services as determined by the TSP |  |  |
| --- | --- | --- | --- | --- |
|  | Order 890A par 148 | In Order No. 890, the Commission required transmission providers to make available, upon request, all data used to calculate ATC, TTC, CBM and TRM for any constrained posted path. Specifically, we expect transmission providers to make available, upon request and subject to appropriate confidentiality protections and CEII requirements, the following modeling data: (1) load flow base cases and generation dispatch methodology; (2) contingency, subsystem, monitoring, change files and accompanying auxiliary files; (3) transient and dynamic stability simulation data and reports on flowgates which are not thermally limited; (4) list of transactions used to update the base case for transmission service request study; (5) special protection systems and operating guides, and specific description as to how they are modeled; (6) model configuration settings; (7) dates and capacities of new and retiring generation; (8) new and retired generation included in the model for future years; (9) production cost models (including assumptions, settings, study results, input data, etc.), subject to reasonable and applicable generator confidentiality limitations; (10) searchable transmission maps, including PowerWorld or PSSE diagrams; (11) OASIS names to Common Names table and PTI bus numbers; and, (12) flowgate and interface limits including limit category (thermal, steady state or transient, voltage or angular). |  |  |

1 This standard and table address the provision of ATC-related data to the industry at large, while the NERC MOD standards address the exchange of data amongst those entities that require the data for reliability purposes.  Compliance with the NERC MOD standards should not imply compliance with the NAESB standard or vice versa.  Nor should non-compliance with the NERC standards imply non-compliance with the NAESB standards or vice versa.

2 The Transmission Provider should enter a response of “Yes” or “No” for each data element.

3 All “No” responses should contain a reason in the Comment field.

Potential “No” Comments:

- Market Sensitive Information

- CEII Information

- Security Sensitive Information

- Reliability Sensitive Information

- Data not created by the Transmission Provider but provided to the Transmission Provider from xxx (include entity identity of information provider)

- Data not utilized by the Transmission Provider, as it is not a requirement of the methodology utilized for ATC/AFC calculations as identified in the ATCID.

Potential “Yes” Comments:

- Available on OASIS

- Available upon request (in the electronic format in which it was created along with any necessary decoding instructions)

- Available upon request (in the electronic format in which it was created along with any necessary decoding instructions) but may be subject to a confidentiality agreement