Posting of Load Forecasts and Peak Load Data

Per Order 890 paragraphs 413 and 416:

413.  The Commission also will require transmission providers to post their underlying load forecast assumptions for all ATC calculations and, to post on a daily basis, their actual daily peak load for the prior day.  The Commission directs transmission providers to work through NAESB to develop standards for consistent methods of posting the new requirements on OASIS.
414.   We therefore direct ISOs and RTOs to post load data for the entire ISO/RTO footprint and for each LSE or control area footprint within the ISO/RTO.  This will not create an undue burden on ISOs and RTOs, since the load data for the entire footprint is an aggregation of load data across the LSEs or control areas in the footprint.  We also agree with EEI that the peak load applies to system-wide load, including native load.  We direct transmission providers to post load forecasts and actual daily peak load for both system-wide load (including native load) and native load, as this data will be useful to customers and regulators.  
Posting of Load Forecasts and Peak Load Data

A. Transmission Providers shall post on OASIS load forecasts for “next day” and beyond as scheduled ahead (for preschedules).   

a. The hourly load forecasts will be for:

i. system-wide load (including native load) and,

ii.  native load 
iii. for 24 hours 
iv. as whole hourly MWh values.  

v. Utilizing the SystemData template values will be entered for a 24 hours for specified date. 

b. The actual daily Peak Load will be:

i. shown as a single hourly MWh value for 
1. actual system wide peak hourly load for the prior day and,

2. actual native load hourly peak for the prior day.  

ii. Utilizing the SystemData template a single value of the actual daily Peak Load for system wide load will be entered.

iii.  Utilizing the SystemData template a single value of the actual daily Peak Load for the transmission provider’s native load will be entered.
	Data Element
	Restriction/Requirement

	POSTING_REF
	The unique OASIS identifier assigned to the posting of Forecasted Load for an entire BA Area

	SYSTEM_ELEMENT
	Name of the BA Area associated with the posted Forecasted Load components values

	SYSTEM_ELEMENT_TYPE
	“BA (acronym) Forecasted Load”

	SYSTEM_ATTRIBUTE
	“LOAD_FORECAST”

	START_TIME
	Start date/time of the LOAD_FORECAST

	STOP_TIME
	End of the interval of the LOAD_FORECAST

	ATTRIBUTE_VALUE
	Entered by the BA Area

	ATTRIBUTE_UNITS
	Units of ATTRIBUTE_VALUE; typically MW


	Data Element
	Restriction/Requirement

	POSTING_REF
	The unique OASIS identifier assigned to the posting of Peak Load for an entire BA Area

	SYSTEM_ELEMENT
	Name of the BA Area associated with the posted Peak Load components values

	SYSTEM_ELEMENT_TYPE
	“BA (acronym) Peak Load”

	SYSTEM_ATTRIBUTE
	“PEAK_LOAD”

	START_TIME
	Start date/time of the PEAK_LOAD

	STOP_TIME
	End of the interval of the PEAK_LOAD

	ATTRIBUTE_VALUE
	Entered by the BA (acronym) Area

	ATTRIBUTE_UNITS
	Units of ATTRIBUTE_VALUE; typically MW


