NAESB Retail DSM-EE Draft Standards
Compilation of Comments/Modifications submitted to the REQ Executive Committee
Compiled September 10, 2009


This document contains a compilation of the comments submitted to the WEQ/REQ DSM-EE Subcommittee in regards to the draft recommendation for proposed measurement and verification business practice standards.  The comments submitted were in response to the request for formal comments.  The comments were individually posted and are available for download from the NAESB website at http://www.naesb.org/retail_request.asp. 

	Company
	Category
	Cite 
	Suggested Change

	Summit Blue
	General Comment
	
	Clarification throughout the document that these standards are only for dispatchable DR resources.

	Summit Blue
	General Comment
	
	Differentiation between the natural return to normal operations after an event and the required period of return to normal operations.

	Summit Blue
	General Comment
	
	Clarification of spinning reserve resources and applicability to direct load control

	Summit Blue
	General Comment
	
	Clarification of requirement for measurement:  does this mean all events, or a sample of events?

	Summit Blue
	General Comment
	
	Addition of the California Load Impact Estimation of Demand Response Protocols to the list of acceptable references for the estimation of sample sizes for DR M&V

	Summit Blue
	General Comment
	
	Clarification that 'Performance Evaluation' refers to contract performance, not system impact estimation

	Energy Curtailment Specialists
	Proposed Addition
	Introduction
	Add “, and is not intended to address demand response program design.”

	Energy Curtailment Specialists
	Proposed Addition
	 Definitions REQ.0.2.xx
	Add “Depending on the type of Demand Response product or service, Baseline calculations may be performed in real-time or after-the-fact, and are subject to the definitions described under REQ.13.3.4 Performance Evaluation.”

	Energy Curtailment Specialists
	Proposed Addition
	Definitions:  Metering Generator Output
	Add, “This should also include the building/facility meter number so that metering output from the generator is seen as a load drop on the building/facility meter.  This will ensure generating units, which normally operate, are not compensated for demand reductions during normal operations. 

	Energy Curtailment Specialists
	Proposed Addition
	Definitions:  Program Administrator
	Add, “, or Aggregator of Retail Customers (ARC)”

	Summit Blue
	Proposed Addition
	REQ.13.3.3.1
	· The California Load Impact Estimation for Demand Response Protocols – Chapter 8
California Public Utilities Commission,  Load Impact Estimation for Demand Response:  Protocols and Regulatory Guidance, 2008.  (http://docs.cpuc.ca.gov/efile/PD/80529.pdf )

	Summit Blue
	Proposed Addition
	REQ.13.3.3.2
	· Contacting and enroll the Customers to be in the sample, and install the metering devices if needed, or secure the interval meter data for the selected Customers

	Energy Curtailment Specialists
	Proposed Deletion
	Executive Summary
	Delete “In the event of a conflict between these business practices and business practices developed by the Wholesale Electric Quadrant for products that are bid into wholesale markets, the Wholesale Electric Quadrant Standard should have precedence.”
	While Retail Demand Response might be subject to a set of rules that are similar to wholesale, this is not to say that wholesale demand response standards should govern retail demand response standards.

	Baltimore Gas & Electric
	Proposed Revision
	REQ.13.3.3.3
	The sample drawn should comport to a level of statistical significance that supports the goals of the program.

Rational:  Stakeholders face requirements that have significance levels that differ from what is explicitly stated (ISO rules).  And the above is also silent on whether the significance test is one or two sided.  The following is a recommended change

	Dominion
	Proposed Revision
	Table of Contents

REQ.13.3.2
	Measurement of Load
	Match heading in Table of Contents to Section heading.

	Dominion
	Proposed Revision
	Table of Contents

REQ.13.3.4
	Performance Evaluation Methods
	This seems to be a better heading for this section since that is what is being described. Match heading in Table of Contents to Section heading – see suggestion below.

	Dominion
	Proposed Revision
	Table of Contents

REQ.13.3.4.4
	Metering Generator Output Evaluation
	For consistency, this section should be called “Evaluation” like the other Performance Evaluation Methodologies. Match heading in Table of Contents to Section heading – see suggestion below.

	Dominion
	Proposed Revision
	REQ.13 Overview
	The following outline of Model Business Practices is applicable to  Demand Response products.
	“Product Categories” was a carryover from the Wholesale DR wording, but they do not exist for Retail DR. 

	Dominion
	Proposed Revision
	REQ.13 Overview

Header
	Strike: 
	Performance Evaluation Methodology is a bold sub- heading in the Overview.  Since there are no other sub-headings this should be stricken.  

	Dominion
	Proposed Revision
	REQ.13 Overview

 Tables
	(See Tables A  & B at the end of this document)


	These tables did not match up with the way the information was presented in the standards. This presentaion would be clearer and more straight forward for the readers.

	Dominion
	Proposed Revision
	REQ.13 Overview 

First sentence in 2nd paragraph
	For  Demand Response products, a performance evaluation methodology is used to determine the Demand Reduction Value provided by a Demand Resource. The Model Business Practices include descriptions of acceptable Baselines and alternative performance measurements that are appropriate for each type of Demand Response products.  
	Use term “product” here to be consistent with  use of term in first paragraph

	Dominion
	Proposed Revision
	REQ.13 Overview

First sentence in 3rd paragraph
	These Model Business Practices do not specify detailed characteristics of performance evaluation methodologies, but rather provide a framework that may be used to develop performance evaluation methodologies for specific Demand Response servicesproducts.  
	Use term “product” here to be consistent with  use of term in first paragraph

	Dominion
	Proposed Revision
	REQ.13.2.A Business Definitions

Baseline

Demand Response Event

Maximum Base Load

Meter Before / Meter After
	FigureXXX.  Illustration of Baseline Concept.

Figure XXX. Timing of a Demand Response Event

Figure XXX. Maximum Base Load Illustration

Figure XXX. Meter Before/ Meter After Illustration
	For consistency, each of the figures should be labled.  Also shouldn’t they also have figure numbers (references)?

	Dominion
	Proposed Revision
	Definition of Baseline Figure

	“Deployment” 

Add “/Recall” to “Release”
	For clarity, the Figure should be modified to  be just the “Deployment” and “Release” should be consistant with the definition and list it as “Release/Recall”.

	Dominion
	Proposed Revision
	Definition of Maximum Base Load Figure
	Add “Demand Response”, “Reduction Deadline” and “Release/Recall” 
	For clarity: Deployment is listed on the Figure, but shouldn’t “Demand Response”, “Reduction Deadline”  and “Release/Recall” also be listed? 

	Dominion
	Proposed Revision
	Definition of Meter Before/ Meter After Figure
	Add “Release/Recall” and “Reduction Deadline”
	For clarity: Deployment and “Demand Response” are listed on the Figure, but shouldn’t “Release/Recall” and “Reduction Deadline” also be listed?

	Dominion
	Proposed Revision
	REQ.13.3.2.2
	After-the- fact measurement is required and may be either measured by metering each individual site or by statistical sampling.
	“After the fact measurement” is not a defined term and therefore should not be capitalized. It appears that a word such as “measured” (or calculated) is missing.

	Dominion
	Proposed Revision
	REQ.13.3.2.6
	The Meter Data Recording Interval should be specified in the Governing Documents.
	The defined term is Meter Data RECORDING not REPORTING.

	Dominion
	Proposed Revision
	REQ.13.3.2.8
	Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering1
	We cannot seem to access this from the EEI website.  It should be  referenced so that it can be found. A copy of Vol. 2 dated 12/5/2000 can be found at http://www.naesb.org/pdf/ubp120500.pdf

	Dominion
	Proposed Revision
	REQ.13.3.3.1

footnotes
	Footnote 2 

US Department of Energy. M&V Guidelines: Measurement and Verification for Federal Energy Management Projects Version 3.0. 2008.  (http://www1.eere.energy.gov/femp/financing/superespcs_measguide.html http://www1.eere.energy.gov/femp/pdfs/mv_guidelines.pdf).
	Footnote 2 refers to 

http://www1.eere.energy.gov/femp/financing/superespcs_measguide.html 

which returns a message: EERE Document Not Found

The newer link appears to be:

http://www1.eere.energy.gov/femp/pdfs/mv_guidelines.pdf
Appendix B – “Sampling Guidelines”

	Dominion
	Proposed Revision
	REQ.13.3.3.1

footnotes
	Footnote 4

Footnote 5


	Footnote 4 refers to

California Public Utilities Commission, The California Evaluation Framework, 2006. (http://www.cpuc.ca.gov/PUC/).

But a search of the web link did not turn up a 2006 version.  However, this document was located, with “June 2004” on the title page. 

ftp://ftp.cpuc.ca.gov/Egy_Efficiency/CaliforniaEvaluationFrameworkSept2004.doc
Footnote 5 refers to

ISO-New England, Manual for Measurement and Verification of Demand Resources, (M-MVDR), 2007. (http://www.iso-ne.com).
But a search of the site found a document with a slightly different title:

ISO New England Manual for, Measurement and Verification of Demand Reduction Value from Demand Resources, Manual M-MVDR ,Revision: 1,Effective Date: October 1, 2007

http://www.iso-ne.com/rules_proceds/isone_mnls/m_mvdr_measurement_and_verification_demand_reduction_revision_1_10_01_07.doc

	Dominion
	Proposed Revision
	REQ.13.3.3.3
	The sample should be designed to achieve a minimum accuracy of 90% confidence with +/-10% relative precision but ultimately achieve a statistical accuracy of no less than a 90% confidence level with +/-20% relative precision during Demand Response Event hours, or as may be specified by the Program Administrator.
	Reversed the order in the statement to describe sample design first, and achieved sample precision second.  Replaced the term “error” with “relative precision” to make language more consistent with that found in the reference documents.  Give ultimate responsibility to determine requirements to the Program Administrator.

	Dominion
	Proposed Revision
	REQ.13.3.4
	Performance Evaluation Methods
	This seems to be a better heading for this section since that is what is being described. (See Table of Contents suggestion above)

	Dominion
	Proposed Revision
	REQ.13.3.4.1.2
	Any requirement for After-The-Fact Metering should be specified by the Program Administrator.
	This is a defined term and should be capitalized.

	Dominion
	Proposed Revision
	REQ.13.3.4.2.2
	During the Baseline Window, the Demand Reduction Value of the Demand Resource is evaluated using one of the following measurements as specified by the Program Administrator:
	Demand Reduction Value is the measure being evaluated. 

	Dominion
	Proposed Revision
	REQ.13.3.4.2.8
	After-The-Fact Metering should be used to measure performance, unless otherwise specified by the Program Administrator.
	This is a defined term and should be capitalized.

	Dominion
	Proposed Revision
	REQ.13.3.4.3.2
	The Program Administrator should specify the method of developing the baseline value using, but not limited to, the following calculation types:

· Maximum Demand

· Average Demand
	“Baseline value” is not defined and should not be capitalized.  

For consistency, if these are the same as the terms used in REQ.13.3.4.2.10 then they should be listed the same way.

	Dominion
	Proposed Revision
	REQ.13.3.4.3.8
	After-The-Fact Metering is used to measure performance, unless otherwise specified by the Program Administrator.
	This is a defined term and should be capitalized.

	Dominion
	Proposed Revision
	REQ.13.3.4.3.10Sub-bullets
	· Maximum Demand

· Average Demand
	For consistency, if these are the same as the terms used in REQ.13.3.4.2.10 then they should be listed the same way.

	Dominion
	Proposed Revision
	REQ.13.3.4.3.13
	Add: The Program Administrator may specify the testing protocol if an Operability Factor will be applied to the Demand Resource Availability Measurement.
	This is an additional (and potentially significant) adjustment that may be applied to a mass market program.

	Dominion
	Proposed Revision
	REQ.13.3.4.4

Section Header
	Metering Generator Output Evaluation
	For consistency, this section should be called “Evaluation” like the other Performance Evaluation Methodologies.

	Dominion
	Proposed Revision
	REQ.13.3.4.4.3
	After-The-Fact Metering on the generator and optionally on the associated Load is used to measure performance unless otherwise specified by the Program Administrator.
	This is a defined term and should be capitalized.

	Dominion
	Proposed Revision
	
	Executive Summary sub-bullets

Overview sub-bullets
REQ.13.3.4 

     Baseline 

     Maximum Base Load 

     Meter Before / Meter After 

     Metering Generator Output 

REQ.13.3.4.1.4 sub-bullets
REQ.13.3.4.2.2 sub-bullets
REQ.13.3.4.2.10 sub-bullets
REQ.13.3.4.3.2 sub-bullets
REQ.13.3.4.3.4 sub-bullets
REQ.13.3.4.3.5 sub-bullets
REQ.13.3.4.3.10 sub-bullets
	Whenever items are listed in the sections or sub-bullets they should be listed in alphabetical order unless there is another logical reason for the order.

	Dominion
	Proposed Revision
	
	The following measurements are not defined.  Should this be something that is stated as it is defined by the Entities supplying the Demand Response Services?

· Instantaneous Demand

· Maximum Demand

· Average Demand

Baseline calculation types:

· Maximum Demand

· Average Demand

· Regression

Measurements:

· Maximum Demand

· Average Demand

Regression

	Energy Curtailment Specialists
	Proposed Revision
	 REQ.13.3.4.4.3
	After-the-fact metering on the generator and the associated Load is used to measure performance.
	This ensures that both the generator output and the load drop, associated with the generator output, are both seen.  Ensures that generator output is not normal generator operations during demand response events.

	Energy Curtailment Specialists
	Proposed Revision
	REQ.13.3.4.4.5
	During the Performance Window, the Demand Resource is evaluated using the total measured generation output, and the associated facility/building load meter

	Southern California Edison
	Proposed Revision
	Executive Summary
	Change “M&V requirements” to “M&V protocols”

Change “to accurately measure performance” to “to accurately estimate load impacts”

Change “Demand Response” to “retail Demand Response programs”

Change “access to uniform information that will enable them to report consistent values for Measurement and Verification of the programs.” to “access to uniform Measurement and Verification protocols that will enable them to develop consistent values for the load impact estimates of the programs.”

Change, “These Model Business Practices were designed…” to “These Model Business Practices for retail energy markets were designed…”

	Southern California Edison
	Proposed Revision
	Introduction
	The focus of these Model Business Practices is to develop protocols for performing M&V for Demand Response programs.  

These Model Business Practices are voluntary and do not address policy issues and other protocols and methdologies associated with M&V that are the subject of state legislation or regulatory decisions. These Model Business Practices have been adopted with the realization that as the demand response industry evolves, additional and amended Model Business Practices may be necessary.

	Southern California Edison
	Proposed Revision
	REQ.13 Overview
	Change to read: These M&V Model Business Practices establish guidelines and criteria for the use of equipment, technology, and procedures to quantify the estimates of Demand Reduction Value delivered from retail demand response programs (product types). Model Business Practices developed may include commonalities among product types.  The following outline of Model Business Practices is applicable to the Demand Response programs and product categories that may exist in the Retail sector

	Southern California Edison
	Proposed Revision
	Performance Evaluation Methodology on page 6
	Change to read: For the settlement of each Demand Response product or program, a load impact evaluation methodology is often used to determine the Demand Reduction Value provided by a retail Demand Resource.  The Model Business Practices include descriptions of acceptable methdologies, that may include specific Baselines and alternative performance measurements that are appropriate for each type of Demand Response service. 

The following methodology types are applicable to the M&V approaches for retail Demand Response Services

	Southern California Edison
	Proposed Revision
	Principle REQ.13.1.1
	The processes for M&V of Demand Response programs should be timely and efficient to minimize the time and effort needed to accomplish these operational details.

	Southern California Edison
	Proposed Revision
	Principle REQ.13.1.4
	A contract or agreement between participants in retail Demand response programs may establish different processes, timeframes, or operational requirements for M&V.  Any conflict between these recommended processes and an applicable contract is resolved according to the provisions of the contract.

	Southern California Edison
	Proposed Revision
	Principle REQ.13.1.5
	These processes do not address contractual obligations between participants and their Customers, but because they are intended to be guidelines, entities may incorporate them into contractual arrangements

	Southern California Edison
	Proposed Revision
	Definition of After-the-Fact Metering
	Interval meter data collected from metering separate from Telemetry that is collected after a Demand Response event.  May not apply to Demand Resources under Baseline using statisitical sampling.  

	Southern California Edison
	Proposed Revision
	Definition of Baseline
	The estimate of the electricity that would have been consumed by a Customer or Demand Resource in the absence of a Demand Response Event. It may be calculated using interval metering and/or statistical sampling techniques.

	Southern California Edison
	Proposed Revision
	Definition of Baseline Adjustment
	An adjustment that modifies the Baseline to correct for actual conditions immediately prior to or during a Demand Response Event to provide a better estimate of the energy the Demand Resource would have consumed but for the Demand Response Event. The adjustments may include but are not limited to weather conditions, near real time event facility Load, current Demand Resource operational information, or other parameters based on the Program Administrator’s requirements.

	Southern California Edison
	Proposed Revision
	Definition of Baseline Window
	The window of time preceding and optionally following, a Demand Response Event over which the electricity consumption data (After-The-Fact metering) is collected for the purpose of establishing a Baseline.  

	Southern California Edison
	Proposed Revision
	Definition of Capacity Service
	A type of Demand Response service in which Demand Resources are contractually obligated over a defined period of time to be available to provide Demand Response upon deployment by the Program Administrator.

	Southern California Edison
	Proposed Revision
	Definition of Critical Peak Pricing
	Electricity rates which typically charge a much higher price during a few hours per day on critical peak days but often discount the non-critical peak day prices.  The number of critical peak days is usually capped for a calendar year and is linked to conditions such as system reliability concerns or higher market  supply prices.

	Southern California Edison
	 Proposed Revision
	Definition of Demand
	The rate at which electric energy is delivered to or by a system or part of a system, generally expressed in kilowatts (kW) or megawatts (MW), at a given instant or averaged over any designated interval of time; and the rate at which energy is being used by the customer.

	Southern California Edison
	Proposed Revision
	Definition of Demand Reduction Value
	Quantity of reduced electrical Demand consumption by a Demand Resource, expressed in MW or MW-hours (MWh), respectively.

	Southern California Edison
	Proposed Revision
	Definition of Demand Response
	Changes in electric use by Demand Resources from their normal consumption patterns in response to Advance Notifications, which may include changes in the price of electricity, or to incentives designed to induce lower electricity use at times of potential peak load, high cost periods, or when system reliability is jeopardized.
For purposes of these Model Business Practices, this definition does not include energy efficiency, Permanent Load reduction, or Permanent Load Shifting measures, which do not receive Advance Notification.

	Southern California Edison
	Proposed Revision
	Definition of Demand Response Event
	The time periods, deadlines and transitions during which Demand Resources perform to provide the Demand Response Value.  The Program Administrator should specify the duration and applicability of a Demand Response Event.  All deadlines, time periods and transitions may not be applicable to all Demand Response products or services.

	Southern California Edison
	Proposed Revision
	Defintion of Demand Response Provider
	The Entity that is responsible for delivering Demand Reduction Value from Demand Resources.

	Southern California Edison
	Proposed Revision
	Definition of Deployment
	The time at which a Demand Resource begins reducing Demand in response to the Advance Notification. 

	Southern California Edison
	Proposed Revision
	Definition of Direct load Control
	A Demand Response activity by which the Demand Response Provider directly controls (remotely shuts down or cycles) a Customer’s electrical equipment (e.g. air conditioner, water heater).  Direct Load Control programs have historically been offered to the Loads of residential or small commercial Customers.

	Southern California Edison
	Proposed Revision
	Definition of Energy Service
	A type of Demand Response service in which Demand Resources are compensated solely based on their Demand Reduction Value during a Demand Response Event.

	Southern California Edison
	Proposed Revision
	Definition of Highly-Variable Load
	A Load with a fluctuating or unpredictable electricity consumption pattern that cannot be accurately characterized in a Baseline.

	Southern California Edison
	Proposed Revision
	Definition of Load
	An end-use device or customer that receives and consumes power from the electric system.

	Southern California Edison
	Proposed Revision
	Definition of Meter Data Recording Interval
	The time duration of electricity meter consumption recordings.

	Southern California Edison
	Proposed Revision
	Definition of Operability Factor
	A net-to-gross percentage applied to the Demand Resource Availability Measurement, developed using a defined and documented testing protocol to verify actual operation of the Loads in a retail Demand Response program, specific to a time period.

	Southern California Edison
	Proposed Revision
	REQ.13.3.2.1
	Demand Response Resource Value may be estimated via Telemetry or After-the-Fact Metering or both.

	Southern California Edison
	Proposed Revision
	REQ.13.3.2.2
	After-the-Fact Metering is required and may be either by metering each individual site or by statistical sampling.

	Southern California Edison
	Proposed Revision
	REQ.13.3.2.6
	The Meter Data Recording Interval should be specified in the Governing Documents.

	Southern California Edison
	Proposed Revision
	REQ.13.3.3.1
	The method of statistical sampling used should conform to a referenced methodology and should be specified in the Governing Documents.  

	Southern California Edison
	Proposed Revision
	REQ.13.3.3.2
	The general steps to be taken in statistical sampling are, but are not limited to:

· Define the population

· Design the sample to meet program objectives based on the variability of the population.

· 
· Specify the listing of units available to be sampled (sampling frame)

	Southern California Edison
	Proposed Revision
	REQ.13.3.4
	Performance Evaluation (Demand Reduction Value) 
The Demand Rection Value of the Demand Resource may be estimated through the use of one of the following M&V methodologies unless otherwise specified by the Program Administrator:

	Southern California Edison
	Proposed Revision
	REQ.13.3.4.1.1
	Any requirement for real-time Telemetry data to be used to estimate performance should be specified by the Program Administrator.

	Southern California Edison
	Proposed Revision
	REQ.13.3.4.2.2
	During the Baseline Window, the Demand Reduction Value of the Demand Resource is estimated using one of the following measurements as specified by the Program Administrator:

	Southern California Edison
	Proposed Revision
	REQ.13.3.4.2.3
	Statistical sampling is not used for this performance evaluation approach, unless otherwise specified by the Program Administrator.

	Southern California Edison
	Proposed Revision
	REQ.13.3.4.2.8
	After-The-Fact metering should be used to estimate Demand Reduction Values, unless otherwise specified by the Program Administrator.

	Dominion
	Proposed Revision
	REQ.13.3.4.3.3
	Statistical sampling is generally permitted for this performance evaluation type, unless otherwise specified by the Program Administrator.

	Summit Blue
	Proposed Revision
	Executive Summary
	· Comprehensive:  strives to cover all forms of dispatchable Demand Response

	Summit Blue
	Proposed Revision
	Definition of Critical Peak Pricing
	Rates which typically charge a much higher price during a few hours per day on critical peak days.  The number of critical peak days and/or critical peak hours is usually capped for a calendar year and is linked to conditions such as system reliability concerns or very high supply prices.

	Summit Blue
	Proposed Revision
	Definition of Demand Response
	Changes in electric use by demand-side resources from their normal consumption patterns in response to changes in the price of electricity, or to incentives designed to induce lower electricity use at times of potential peak load, high cost periods, or when system reliability is jeopardized.
For purposes of these Model Business Practices, this definition does not include non-dispatchable demand resources such as energy efficiency,permanent load reduction, time-of-use rates or real-time pricing.

	Summit Blue
	Proposed Revision
	Definition of Dispatchable Programs
	Demand Response Programs that allow a Program Administrator to declare a Demand Response Event that has a specific start time and end time.

	Summit Blue
	Proposed Revision
	Diagram of Maximum Base Load
	Since Maximum Base Load focuses on the maintenace of the base load level without any reference to the estimated baseline, this illustration could show the point more clearly by having a fluctuating or dome-shaped baseline during the sustained response period.  As is, a reader could mistakenly take away the impression that maximum base load means a sustained level of load drop and that is not the case.

	Summit Blue
	Proposed Revision
	Defintiino of Non-Dispatchable Programs
	How do energy efficiency and permanent load reductions relate to this definition?  They are non-dispatchable, but they may not have an associated tariff structure.

	Summit Blue 
	Proposed Revision
	Definition of Normal Operation
	Normal operations is also a useful concept for evaluation, particularly for indicating the end of the natural non-normal consumption period.  I think it would be helpful to create two different terms to distinguish between the time where load consumption returns to normal for a particular customer, and the required period where loads  should be available again for Deployment.   Could the former be called 'Normal Operations' and the latter be called 'Required Normal Operations'?

	Summit Blue
	Proposed Revision
	Definition of Ramp Rate
	Is this in relation to the Ramp Period or the Deployment Period, or is it a generic measurement that can be applied to either period?

	Summite Blue
	Proposed Revision
	Definition of Real Time Pricing
	Ameren-Illinois has found in their Power Smart Pricing program that residential customers prefer to be respond to day-ahead prices vs. real-time prices.  It seems that this should still be considered a real time pricing program even though the billing is done on day-ahead prices.  Could this definition be expanded a bit to say 'in the wholesale day-ahead or real-time price of electricity'?

	Summit Blue
	Proposed Revision
	Definition of Recovery Period
	Again, I think it would be useful to distinguish between a natural recovery period and a required recovery period.

	Summit Blue
	Proposed Revision
	Definition of Regulation Service
	A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the Program Administrator for the purpose of regulating voltage on the electric system. Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response Event timelines.


It would be helpful to have a phrase like this inserted to explain why it is called 'Regulation' service.  It is probably obvious to most, but not necessarily all.

	Summit Blue
	Proposed Revision
	Definition of Release/Recall
	The time when a Program Administrator notifies a Demand Resource that the Deployment Period has ended or the time that it will end.

	Summit Blue
	Proposed Revision
	Spinning Reserve
	Would it be accurate to say 'can respond immediately'?  Must the resource be synchronized to the grid?  It seems that direct load control could respond immediately to instructions from the Program Administrator, but I'm not sure it is 'synchronized to the grid'.

	Summit Blue
	Proposed Revision
	REQ.13.3.2.2
	Does this mean that After-the-Fact Measurement is required for each DR event that occurs, or can a sample of DR events be measured?  I am thinking of direct load control programs or critical peak pricing programs where measurements are often taken only on a sample of event days.  This may be once a year or during one summer out of several summers.

	Summit Blue
	Proposed Revision
	REQ.13.3.4
	I think it is important to make a distinction between Contract Performance Evaluation and System Impact Evaluation.  All of these methods are valid options for measuring Contract Performance.  However, Maximum Base Load and Meter Before/Meter After do not give good estimates for System Impact evaluation.  Customers may perform admirably and meet their maximum base load requirements and have perfect contract performance, but this is not useful information for estimating system impacts from the Demand Response program. Calling this 'Performance Evaluation' can give the inaccurate impression that system impacts are being estimated.

	Association of Home Appliance Manufacturers
	Suggested Approach regarding Smart Grid
	
	All message protocol definitions from the Smart Grid should exist in an open standards format to ensure inclusive manufacturer participation and to allow manufacturers to achieve maximum interoperability. 

	Association of Home Appliance Manufacturers
	Suggested Approach regarding Smart Grid
	
	Initially some Smart Appliance systems and corresponding standards may support one-way communication, while others may support two way communications. Since the utility can determine responses to commands by monitoring the Smart Meter measurements, this requirement seems reasonable. A limited number of messages will be used for this communication. 

	Association of Home Appliance Manufacturers
	Suggested Approach regarding Smart Grid
	
	Next generations of Smart Appliance Systems may consider two way communications. This communication will likely be through an in-home managerial control system. As stated above, a limited number of standardized messages will be used to support this communication. This does not preclude additional protocols and messages from being used for communication with Smart Appliances from the in-home managerial control system.

	Association of Home Appliance Manufacturers
	Suggested Approach regarding Smart Grid
	
	In all cases, the Smart Appliance will retain control of the appliance response. The Smart Appliance will always allow the consumer the option to override a power reduction command, if the consumer desires. 

	Association of Home Appliance Manufacturers
	Suggested Approach regarding Smart Grid
	
	The Smart Appliance may respond to rate level instructions from the utility in one of the following ways: 1) shedding load at a limited number of levels (for example, four or five possible power consumption levels) all under direct control of the appliance, 2) responding to commands from the in-home managerial control system (which is interpreting or managing the information from the utility, or 3) presenting the consumer with information that would encourage the consumer to delay use at that time. 

	Association of Home Appliance Manufacturers
	Suggested Approach regarding Smart Grid
	
	AHAM members are also concerned that the rate structures being considered do not incentivize or educate consumers. Thus, consumers may not be inclined to utilize smart products and a large part of the demand response opportunity will be lost.


PAGE  
1
Compilation of Comments/Modifications submitted to the REQ Executive Committee

