NAESB Retail DSM-EE Draft Standards
Compilation of Comments/Modifications submitted to the REQ Executive Committee
Potential Friendly Amendments


	
	Company
	Category
	Cite
	Suggested Change

	1
	Energy Curtailment Specialists
	Proposed Addition
	Introduction
	Add “, and is not intended to address demand response program design.”

	2
	Energy Curtailment Specialists
	Proposed Addition
	Definitions:  Program Administrator
	Add, “, or Aggregator of Retail Customers (ARC)”

	3
	Summit Blue
	Proposed Addition
	REQ.13.3.3.2
	· Contacting and enroll the Customers to be in the sample, and install the metering devices if needed, or secure the interval meter data for the selected Customers

	4
	Dominion
	Proposed Revision
	Table of Contents

REQ.13.3.2
	Measurement of Load

	5
	Dominion
	Proposed Revision
	Table of Contents

REQ.13.3.4
	Performance Evaluation Methods

	6
	Dominion
	Proposed Revision
	Table of Contents

REQ.13.3.4.4
	Metering Generator Output Evaluation
	For consistency, this section should be called “Evaluation” like the other Performance Evaluation Methodologies. Match heading in Table of Contents to Section heading – see suggestion below.

	7
	Dominion
	Proposed Revision
	REQ.13 Overview
	The following outline of Model Business Practices is applicable to  Demand Response products.
	“Product Categories” was a carryover from the Wholesale DR wording, but they do not exist for Retail DR. 

	8
	Dominion
	Proposed Revision
	REQ.13 Overview

Header
	Strike: 
	Performance Evaluation Methodology is a bold sub- heading in the Overview.  Since there are no other sub-headings this should be stricken.  

	9
	Dominion
	Proposed Revision
	REQ.13 Overview 

First sentence in 2nd paragraph
	For  Demand Response products, a performance evaluation methodology is used to determine the Demand Reduction Value provided by a Demand Resource. The Model Business Practices include descriptions of acceptable Baselines and alternative performance measurements that are appropriate for each type of Demand Response products.  
	Use term “product” here to be consistent with  use of term in first paragraph

	10
	Dominion
	Proposed Revision
	REQ.13 Overview

First sentence in 3rd paragraph
	These Model Business Practices do not specify detailed characteristics of performance evaluation methodologies, but rather provide a framework that may be used to develop performance evaluation methodologies for specific Demand Response servicesproducts.  
	Use term “product” here to be consistent with  use of term in first paragraph


	11
	Dominion
	Proposed Revision
	REQ.13.2.A Business Definitions

Baseline

Demand Response Event

Maximum Base Load

Meter Before / Meter After
	FigureXXX.  Illustration of Baseline Concept.

Figure XXX. Timing of a Demand Response Event

Figure XXX. Maximum Base Load Illustration

Figure XXX. Meter Before/ Meter After Illustration
	For consistency, each of the figures should be labled.  Also shouldn’t they also have figure numbers (references)?

	12
	Dominion
	Proposed Revision
	Definition of Baseline Figure

	“Deployment” 

Add “/Recall” to “Release”
	For clarity, the Figure should be modified to  be just the “Deployment” and “Release” should be consistant with the definition and list it as “Release/Recall”.

	13
	Dominion
	Proposed Revision
	Definition of Maximum Base Load Figure
	Add “Demand Response”, “Reduction Deadline” and “Release/Recall” 
	For clarity: Deployment is listed on the Figure, but shouldn’t “Demand Response”, “Reduction Deadline”  and “Release/Recall” also be listed? 

	14
	Dominion
	Proposed Revision
	Definition of Meter Before/ Meter After Figure
	Add “Release/Recall” and “Reduction Deadline”
	For clarity: Deployment and “Demand Response” are listed on the Figure, but shouldn’t “Release/Recall” and “Reduction Deadline” also be listed?

	15
	Dominion
	Proposed Revision
	REQ.13.3.2.2
	After-the- fact measurement is required and may be either measured by metering each individual site or by statistical sampling.
	“After the fact measurement” is not a defined term and therefore should not be capitalized. It appears that a word such as “measured” (or calculated) is missing.

	16
	Dominion
	Proposed Revision
	REQ.13.3.2.6
	The Meter Data Recording Interval should be specified in the Governing Documents.
	The defined term is Meter Data RECORDING not REPORTING.

	17
	Dominion
	Proposed Revision
	REQ.13.3.3.1

footnotes
	Footnote 2 

US Department of Energy. M&V Guidelines: Measurement and Verification for Federal Energy Management Projects Version 3.0. 2008.  (http://www1.eere.energy.gov/femp/financing/superespcs_measguide.html http://www1.eere.energy.gov/femp/pdfs/mv_guidelines.pdf).
	Footnote 2 refers to 

http://www1.eere.energy.gov/femp/financing/superespcs_measguide.html 

which returns a message: EERE Document Not Found

The newer link appears to be:

http://www1.eere.energy.gov/femp/pdfs/mv_guidelines.pdf
Appendix B – “Sampling Guidelines”


	18
	Dominion
	Proposed Revision
	REQ.13.3.3.1

footnotes
	Footnote 4

Footnote 5


	Footnote 4 refers to

California Public Utilities Commission, The California Evaluation Framework, 2006. (http://www.cpuc.ca.gov/PUC/).

But a search of the web link did not turn up a 2006 version.  However, this document was located, with “June 2004” on the title page. 

ftp://ftp.cpuc.ca.gov/Egy_Efficiency/CaliforniaEvaluationFrameworkSept200194.doc
Footnote 5 refers to

ISO-New England, Manual for Measurement and Verification of Demand Resources, (M-MVDR), 2007. (http://www.iso-ne.com).

But a search of the site found a document with a slightly different title:

ISO New England Manual for, Measurement and Verification of Demand Reduction Value from Demand Resources, Manual M-MVDR ,Revision: 1,Effective Date: October 1, 2007

http://www.iso-ne.com/rules_proceds/isone_mnls/m_mvdr_measurement_and_verification_demand_reduction_revision_1_10_01_07.doc

	20
	Dominion
	Proposed Revision
	REQ.13.3.3.3
	The sample should be designed to achieve a minimum accuracy of 90% confidence with +/-10% relative precision but ultimately achieve a statistical accuracy of no less than a 90% confidence level with +/-20% relative precision during Demand Response Event hours, or as may be specified by the Program Administrator.
	Reversed the order in the statement to describe sample design first, and achieved sample precision second.  Replaced the term “error” with “relative precision” to make language more consistent with that found in the reference documents.  Give ultimate responsibility to determine requirements to the Program Administrator.

	21
	Dominion
	Proposed Revision
	REQ.13.3.4
	Performance Evaluation Methods
	This seems to be a better heading for this section since that is what is being described. (See Table of Contents suggestion above)

	22
	Dominion
	Proposed Revision
	REQ.13.3.4.1.2
	Any requirement for After-The-Fact Metering should be specified by the Program Administrator.
	This is a defined term and should be capitalized.


	23
	Dominion
	Proposed Revision
	REQ.13.3.4.2.2
	During the Baseline Window, the Demand Reduction Value of the Demand Resource is evaluated using one of the following measurements as specified by the Program Administrator:
	Demand Reduction Value is the measure being evaluated. 

	24
	Dominion
	Proposed Revision
	REQ.13.3.4.2.8
	After-The-Fact Metering should be used to measure performance, unless otherwise specified by the Program Administrator.
	This is a defined term and should be capitalized.

	25
	Dominion
	Proposed Revision
	REQ.13.3.4.3.2
	The Program Administrator should specify the method of developing the baseline value using, but not limited to, the following calculation types:

· Maximum Demand

· Average Demand
	“Baseline value” is not defined and should not be capitalized.  

For consistency, if these are the same as the terms used in REQ.13.3.4.2.10 then they should be listed the same way.

	26
	Dominion
	Proposed Revision
	REQ.13.3.4.3.8
	After-The-Fact Metering is used to measure performance, unless otherwise specified by the Program Administrator.
	This is a defined term and should be capitalized.

	27
	Dominion
	Proposed Revision
	REQ.13.3.4.3.10Sub-bullets
	· Maximum Demand

· Average Demand
	For consistency, if these are the same as the terms used in REQ.13.3.4.2.10 then they should be listed the same way.

	28
	Dominion
	Proposed Revision
	REQ.13.3.4.4

Section Header
	Metering Generator Output Evaluation
	For consistency, this section should be called “Evaluation” like the other Performance Evaluation Methodologies.

	29
	Dominion
	Proposed Revision
	REQ.13.3.4.4.3
	After-The-Fact Metering on the generator and optionally on the associated Load is used to measure performance unless otherwise specified by the Program Administrator.
	This is a defined term and should be capitalized.

	30
	Dominion
	Proposed Revision
	
	Executive Summary sub-bullets

Overview sub-bullets
REQ.13.3.4 

     Baseline 

     Maximum Base Load 

     Meter Before / Meter After 

     Metering Generator Output 

REQ.13.3.4.1.4 sub-bullets
REQ.13.3.4.2.2 sub-bullets
REQ.13.3.4.2.10 sub-bullets
REQ.13.3.4.3.2 sub-bullets
REQ.13.3.4.3.4 sub-bullets
REQ.13.3.4.3.5 sub-bullets
REQ.13.3.4.3.10 sub-bullets
	Whenever items are listed in the sections or sub-bullets they should be listed in alphabetical order unless there is another logical reason for the order.


	31
	Dominion

	Proposed Revision
	
	The following measurements are not defined.  Should this be something that is stated as it is defined by the Entities supplying the Demand Response Services?

· Instantaneous Demand

· Maximum Demand

· Average Demand

Baseline calculation types:

· Maximum Demand

· Average Demand

· Regression

Measurements:

· Maximum Demand

· Average Demand

Regression

	32
	Southern California Edison
	Proposed Revision
	Executive Summary
	Change “M&V requirements” to “M&V protocols”

Change “to accurately measure performance” to “to accurately estimate load impacts”

Change “Demand Response” to “retail Demand Response programs”

Change “access to uniform information that will enable them to report consistent values for Measurement and Verification of the programs.” to “access to uniform Measurement and Verification protocols that will enable them to develop consistent values for the load impact estimates of the programs.”

Change, “These Model Business Practices were designed…” to “These Model Business Practices for retail energy markets were designed…”

	33
	Southern California Edison
	Proposed Revision
	Introduction
	The focus of these Model Business Practices is to develop protocols for performing M&V for Demand Response programs.  

These Model Business Practices are voluntary and do not address policy issues and other protocols and methodologies associated with M&V that are the subject of state legislation or regulatory decisions. These Model Business Practices have been adopted with the realization that as the demand response industry evolves, additional and amended Model Business Practices may be necessary.

	34
	Southern California Edison
	Proposed Revision
	REQ.13 Overview
	Change to read: These M&V Model Business Practices establish guidelines and criteria for the use of equipment, technology, and procedures to quantify the estimates of Demand Reduction Value delivered from retail demand response programs (product types). Model Business Practices developed may include commonalities among product types.  The following outline of Model Business Practices is applicable to the Demand Response programs and product categories that may exist in the Retail sector

	35
	Southern California Edison
	Proposed Revision
	Performance Evaluation Methodology on page 6
	Change to read: For the settlement of each Demand Response service product or program, a performance load impact evaluation methodology is often used to determine the Demand Reduction Value provided by a retail Demand Resource.  The Model Business Practices include descriptions of acceptable methodologies, that may include specific Baselines and alternative performance measurements that are appropriate for each type of Demand Response service. 

The following methodology types are applicable to the M&V approaches for retail Demand Response Services

	36
	Southern California Edison
	Proposed Revision
	Principle REQ.13.1.1
	The processes for M&V of Demand Response programs should be timely and efficient to minimize the time and effort needed to accomplish these operational details.


	37
	Southern California Edison
	Proposed Revision
	Principle REQ.13.1.4
	A contract or agreement between participants in retail Demand response programs may establish different processes, timeframes, or operational requirements for M&V.  Any conflict between these recommended processes and an applicable contract is resolved according to the provisions of the contract.

	38
	Southern California Edison
	Proposed Revision
	Definition of After-the-Fact Metering
	Interval meter data collected from metering separate from Telemetry that is collected after a used to measure Demand Response event.  May not apply to Demand Resources under Baseline using statisitical sampling.  

	39
	Southern California Edison
	Proposed Revision
	Definition of Baseline
	A method of estimating The estimate of the electricity that would have been consumed by a Customer or Demand Resource in the absence of a Demand Response Event. It may be calculated using interval metering and/or statistical sampling techniques.

	40
	Southern California Edison
	Proposed Revision
	Definition of Baseline Adjustment
	An adjustment that modifies the Baseline to reflect correct for actual conditions immediately prior to or during a Demand Response Event to provide a better estimate of the energy the Demand Resource would have consumed but for the Demand Response Event. The adjustments may include but are not limited to weather conditions, near real time event facility Load, current Demand Resource operational information, or other parameters based on the Program Administrator’s requirements.

	41
	Southern California Edison
	Proposed Revision
	Definition of Baseline Window
	The window of time preceding and optionally following, a Demand Response Event over which the electricity consumption data (After-The-Fact metering) is collected for the purpose of establishing a Baseline.  

	42
	Southern California Edison
	Proposed Revision
	Definition of Capacity Service
	A type of Demand Response service in which Demand Resources are contractually obligated over a defined period of time to be available to provide Demand Response upon deployment by the Program Administrator.

	43
	Southern California Edison
	Proposed Revision
	Definition of Critical Peak Pricing
	Electricity rates which typically charge a much higher price during a few hours per day on critical peak days but often discount the non-critical peak day prices.  The number of critical peak days is usually capped for a calendar year and is linked to conditions such as system reliability concerns or higher very high market  supply prices.

	44
	Southern California Edison
	 Proposed Revision
	Definition of Demand
	The rate at which electric energy is delivered to or by a system or part of a system, generally expressed in kilowatts (kW) or megawatts (MW), at a given instant or averaged over any designated interval of time; and the rate at which energy is being used by the customer.

	45
	Southern California Edison
	Proposed Revision
	Definition of Demand Reduction Value
	Quantity of reduced electrical Demand consumption by a Demand Resource, expressed in MW or MW-hours (MWh), respectively.

	46
	Southern California Edison
	Proposed Revision
	Definition of Demand Response
	Changes in electric use by Demand Resources from their normal consumption patterns in response to Advance Notifications, which may include changes in the price of electricity, or to incentives designed to induce lower electricity use at times of potential peak load, high cost periods, or when system reliability is jeopardized.
For purposes of these Model Business Practices, this definition does not include energy efficiency, Permanent Load reduction, or Permanent Load Shifting measures, which do not receive Advance Notification.

	47
	Southern California Edison
	Proposed Revision
	Definition of Demand Response Event
	The time periods, deadlines and transitions during which Demand Resources perform to provide the Demand Response Value.  The Program Administrator should specify the duration and applicability of a Demand Response Event.  All deadlines, time periods and transitions may not be applicable to all Demand Response products or services.


	48
	Southern California Edison
	Proposed Revision
	Definition of Demand Response Provider
	The Entity that is responsible for delivering Demand Reduction Value from Demand Resources.

	49
	Southern California Edison
	Proposed Revision
	Definition of Deployment
	The time at which a Demand Resource begins reducing Demand on the system in response to an instruction the Advance Notification. 

	50
	Southern California Edison
	Proposed Revision
	Definition of Direct load Control
	A Demand Response activity by which the program sponsor Demand Response Provider directly controls (remotely shuts down or cycles) a Customer’s electrical equipment (e.g. air conditioner, water heater).  Direct Load Control programs have historically been primarily offered to the Loads of residential or small commercial Customers.

	51
	Southern California Edison
	Proposed Revision
	Definition of Energy Service
	A type of Demand Response service in which Demand Resources are compensated solely based on their performance Demand Reduction Value during a Demand Response Event.

	52
	Southern California Edison
	Proposed Revision
	Definition of Highly-Variable Load
	A Load with a fluctuating or unpredictable electricity consumption pattern that cannot be accurately characterized in a Baseline.

	53
	Southern California Edison
	Proposed Revision
	Definition of Load
	An end-use device or customer that receives and consumes power from the electric system.

	54
	Southern California Edison
	Proposed Revision
	Definition of Meter Data Recording Interval
	The time duration of between electricity meter consumption recordings.

	55
	Southern California Edison
	Proposed Revision
	Definition of Operability Factor
	A net-to-gross percentage applied to the Demand Resource Availability Measurement, developed using a defined and documented testing protocol to verify both signal reception and device actual operation of the unit Loads in a retail Demand Response program, specific to a time period.

	56
	Southern California Edison
	Proposed Revision
	REQ.13.3.2.1
	Demand Response performance Resource Value may be measured estimated via Telemetry or After-the-Fact metering Metering or both.

	57
	Southern California Edison
	Proposed Revision
	REQ.13.3.2.2
	After-the-Fact Measuring Metering is required and may be either by metering each individual site or by statistical sampling.

	58
	Southern California Edison
	Proposed Revision
	REQ.13.3.2.6
	The Meter Data Reporting Recording Interval should be specified in the Governing Documents.

	59
	Southern California Edison
	Proposed Revision
	REQ.13.3.3.1
	The method of statistical sampling used should conform to a an accepted referenced methodology and should be specified in the Governing Documents.  

	60
	Southern California Edison
	Proposed Revision
	REQ.13.3.3.2
	The general steps to be taken in statistical sampling are, but are not limited to:

· Define the population

· Design the sample to meet program objectives based on the variability of the population.

· Define the population

· Specify the listing of units available to be sampled (sampling frame)

	61
	Southern California Edison
	Proposed Revision
	REQ.13.3.4
	Performance Evaluation (Demand Reduction Value) 
The Demand Reduction Value of the Demand Resource Performance is may be estimated evaluated through the use of one of the following M&V methodologies unless otherwise specified by the Program Administrator:

	62
	Southern California Edison
	Proposed Revision
	REQ.13.3.4.1.1
	Any requirement for real-time Telemetry data to be used to measure estimate performance should be specified by the Program Administrator.

	63
	Southern California Edison
	Proposed Revision
	REQ.13.3.4.2.2
	During the Baseline Window, the Demand Reduction Value of the Demand Resource is evaluated estimated using one of the following measurements as specified by the Program Administrator:

	64
	Southern California Edison
	Proposed Revision
	REQ.13.3.4.2.3
	Statistical sampling is not used for this performance evaluation type approach, unless otherwise specified by the Program Administrator.

	65
	Southern California Edison
	Proposed Revision
	REQ.13.3.4.2.8
	After-The-Fact metering should be used to measure performance estimate Demand Reduction Values, unless otherwise specified by the Program Administrator.

	66
	Dominion
	Proposed Revision
	REQ.13.3.4.3.3
	Statistical sampling is generally permitted for this performance evaluation type, unless otherwise specified by the Program Administrator.

	67
	Summit Blue
	Proposed Revision
	Definition of Critical Peak Pricing
	Rates which typically charge a much higher price during a few hours per day on critical peak days.  The number of critical peak days and/or critical peak hours is usually capped for a calendar year and is linked to conditions such as system reliability concerns or very high supply prices.

	68
	Summit Blue
	Proposed Revision
	Definition of Dispatchable Programs
	Demand Response Programs that allow a Program Administrator to declare a Demand Response Event that has a specific start time and end time.

	69
	Summit Blue
	Proposed Revision
	Definition of Regulation Service
	A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the Program Administrator for the purpose of regulating voltage on the electric system. Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response Event timelines.


It would be helpful to have a phrase like this inserted to explain why it is called 'Regulation' service.  It is probably obvious to most, but not necessarily all.

	70
	Summit Blue
	Proposed Revision
	Definition of Release/Recall
	The time when a Program Administrator notifies a Demand Resource that the Deployment Period has ended or the time that it will end.


Compilation of Comments/Modifications submitted to the REQ Executive Committee

