via posting

TO:	Interested Industry Parties

FROM: 	Ed Skiba, Wholesale Electric Quadrant (WEQ) Business Practices Subcommittee Co-Chair

RE:	WEQ BPS Meeting April 11-13, 2011 - Final Minutes

DATE:		April 14, 2011

WHOLESALE ELECTRIC QUADRANT

Business Practices Subcommittee Meeting

### Hosted by Midwest ISO at

### 720 City Center Drive, Carmel IN 46032

### April 11, 2011 – 1:00 PM to 5:00 PM Eastern

### April 12, 2011 – 9:00 AM to 5:00 PM Eastern

### April 13, 2011 – 9:00 AM to 12:00 PM Eastern

FINAL MINUTES

- Welcome

Messrs. Saini and Skiba welcomed participants to the meeting and attendees introduced themselves. Mr. Culliton provided antitrust guidance. The agenda was adopted with no revisions. Attendees reviewed the draft meeting minutes from October 14-15, 2010, and March 8-9, 2011; after agreeing upon numerous substantive modifications, both of these revised draft minutes were adopted as final without opposition.  After reviewing the minutes it was determined that the co-chairs would document the meeting minutes going forward.

- Meeting Objectives

Mr. Skiba took a few minutes to discuss the approval process.  In addition to the parallel flow visualization permanent solution being approved by the subcommittee, approvals are required at the Executive Committee and the membership level.  The subcommittee when crafting the permanent solution needs to think about whether the recommendation may fail a majority vote or result in a segment block at the Executive Committee level.  If a segment block occurs it will be forwarded to the Board and the Board may likely ask the subcommittee to consider modifying the recommendation to address concerns that caused the segment block.

- FERC Order 746 (WECC Unscheduled Flow Relief Regional Standard)

Mr. Skiba informed the subcommittee that the FERC took action on the Regional Standard IRO-006-WECC-1 (Qualified Transfer Path Unscheduled Flow Relief) on March 17, 2011.  The regional standards include in Attachment 1 that contains a table including curtailment levels for unscheduled flows once other options have been exhausted.  The FERC approved the standards without issuing additional directives.

- Review Action Item List

Mr. Saini opened the Action Items that were posted at the conclusion of the March 8-9, 2011 meeting and led participants through a review of the document. In the course of this review, certain updates and comments were captured on the Revised Action Items List document.  Additional action items were captured during the course of the meeting and were included on the revised list.

- Feedback from WEQ Leadership and Board of Directors Meetings

Mr. Skiba provided WEQ highlights from these meetings.  The board approved two resolutions from the Managing Committee, previously approved by the Parliamentary Committee, one on notational ballots and another related to appeals based on process issues.  The TSIN registry should be fully transitioned to NAESB in January 2012.  The OASIS Subcommittee is looking to complete its work on NITS and Service Across Multiple Transmission Systems by the end of second quarter.  The Advisory Council suggested that NAESB look at doing additional work in the area of gas/electric coordination.

- Interchange Distribution Working Group (IDCWG) Update

Mr. Muller provided the IDCWG Update based on information he received from the IDCWG leadership.

- Uploading Generator Priorities Only – No Change Order Required

The IDCWG determined that the solution for BAs needing to submit priority data would be for the BA to submit both generator output and priority data.  Mr. Ben Taylor confirmed this solution was recommended by the IDCWG.  Mr. Sanders indicated if WAPA is expected to provide both generator output and priority data that it would take longer to begin submitting data than what was previously anticipated because this was a significant change in direction. It was requested that the IDCWG reconsider this latest direction.

- User Guide

Since there would be no changes to the web service methods there is no need to develop a separate user guide for BAs.

- Reliability Metrics

The IDCWG will review a change order for the Reliability Metrics.  Once the Change Order is assigned a number and available on the IDC Change Order webpage, Nelson Muller will let the BPS know the Change Order is available.  Mr. Ben Taylor noted that the change order will not include commercial metrics.

- Entities Submitting Data

No updates were provided on this item.

- Migration to Production Servers

Four steps were identified to migrate the production servers. The steps are documented in the IDCWG Update

- Write-up on Change Order 283 Functionality

The IDCWG was unclear about what is needed for this item.  It was explained that the item is related to Action Item 29 in the WEQ BPS Revised Action Items List.

- Change Order 310

Mr. Muller reviewed the Common Requirements Between Parallel Flow Visualization Project and IDC Change Order #310 work paper posted in advance of the meeting.   In the summary OATI concluded “OATI would like to clarify that as of this date, implementation of Change Order #310 in its current form is NOT required to complete the implementation of the Parallel Flow Visualization project.”

- Key Concepts Discussion

- What will be in the Seams Agreements and who you have to have agreement with?

The subcommittee continued its review of the Seams Agreement Requirements from the March 8-9, 2011, WEQ BPS meeting.  A number of modifications were made to the requirements. The revised Seams Agreement Requirements document was posted after the meeting.

- What will be minimum requirements for Business Practices in lieu of seams agreement?  What NERC Standards will come into play/impacted?

For this discussion item the subcommittee began with the revised Seams Agreement Requirements as a starting point.  The objective of this concept is to define the requirements that would be included in the NAESB Business Practices Standards if the subcommittee determines to move forward with Option 2 of Coordination with External Entities.  The potential Business Practices Standards Requirements were posted for the subcommittee to review and provide comments for discussion at the April 28-29, 2011, meeting.  All comments are to be submitted to eskiba@midwestiso.org by close of business on April 20, 2011 so that he can compile the comments into a single document.

- Credit for Redispatch

The key issue for this concept is whether credit for redispatch should or should not be considered as a requirement for the Hybrid Option.  Mr. Mallinger reviewed the Credit for Redispatch - 3/24/11 work paper explaining what is meant by credit for redispatch and how it could work.  A non-binding straw poll was taken by the subcommittee.  There were eight people in support of including credit for redispatch in the Hybrid Option.  There were no objections and one abstention.

- Two-Tier Curtailment for subordinate treatment for flows in excess of allocation

The key issue for this concept is whether:

- Shortfalls between the two-day ahead/day ahead/hour ahead allocations and the available allocation should be assigned a First to Curtail Priority in the event of a TLR Level-5 and the difference between the shortfall and real-time be assigned to GTL 6NN; or

- Any difference between the available allocation and the real-time be assigned to GTL 6NN

Mr. Mallinger reviewed the Two-Tier Curtailment document which was posted after the discussion.  The documentation included examples of what would occur in each of these options.  Assignments to 6NN would be curtailed under TLR Level 3.  A non-binding straw poll was taken by the subcommittee.  There were eight people in support of including alternative one in the Flowgate Allocation Hybrid Option.  There were no votes in support of alternative two and two abstentions.

- Impact of NITS on Parallel Flow Visualization – If a resource has firm rights does it automatically have firm rights for the entire/whole load of TSP Load?

Mr. Bressers led the discussion on this concept, since he requested the item be added to the key concepts list.  The subcommittee spent considerable time framing the issue which is documented in Impact of NITS on Parallel Flow Visualization.  Mr. Bressers agreed that the issue associated with this key concept could be addressed with the statement “the granularity of transmission service granted under the OATT will be at the same granularity in the parallel flow visualization calculation in the IDC.”  A non-binding straw poll was taken by the subcommittee as to whether members could support the statement.  There were seven people in support of the statement.  There were two objections and three abstentions.

During the discussion another key concept was added to the discussion.  “Will the CMP Market DNRs have firm rights to all the load in the CMP market footprint?”

- Next Steps/Future Meetings

Mr. Skiba reviewed the Next Steps/Future Meetings document with the subcommittee which provided an overview of activities and tasks for the subcommittee to complete between April 13, 2011 and May 19, 2011.

Mr. Pritchard identified two additional areas that need to be addressed.

- Has the Parliamentary Committee addressed the issue of developing/approving standards that will be used for a test period?  James Culliton will follow-up on this issue and report back to the subcommittee at the April 28-29, 2011 BPS Meeting.

- What commercial metrics will be used to evaluate the prioritization Option selected?

- Adjourn

The meeting adjourned by consensus at 11:38 am Eastern on April 13, 2011.

- Attendance

| First Name | Last Name | Organization |
| --- | --- | --- |
| Chris | Advena | PJM |
| Daryn | Barker | LG&E and KU Services |
| Bert | Bressers | SPP |
| Ernie | Cardone | NYISO |
| James | Culliton | NAESB |
| Blaine | Erhardt | Basin Electric |
| Shannon | Jones | Manitoba Hydro |
| Tom | Mallinger | Midwest ISO |
| James | Manning | NCEMC |
| Cheryl | Mendrala | ISO-NE |
| Nelson | Muller | OATI |
| Gail | Parker | Midwest ISO |
| Conner | Persichetti | BPA |
| Alan | Pritchard | Duke Energy |
| Narinder | Saini | Entergy |
| Steve | Sanders | WAPA |
| Ed | Skiba | Midwest ISO |
| Ben | Taylor | TVA |
| David | Taylor | NERC |
| Bao | Tranh | PJM |
| Kathy | York | TVA |