


From:
WEQ Business Practices Subcommittee Co-Chairs (Jim Busbin, Ed Skiba)

To:
WEQ Standards Review Subcommittee 
Subject: 
Review of Comments for NERC Project 2007-02
Date:
February 26, 2010
On February 23, 2010 the WEQ BPS reviewed the comments provided to it from the SRS for NERC Project 2007-02 Operating Personnel Communications Protocols – Standard COM-003-1 – Operating Personnel Communications Protocols.  The Subcommittee reviewed each of the three specific comments and made the following determinations.
1. Use of Common Time Zone (Central Standard Time – 24 hour format) – In reviewing the affected standards the one area that the subcommittee thinks might warrant further consideration is WEQ-003 Open Access Same-Time Information Systems (OASIS) Data Dictionary.  The subcommittee’s expectation is that if any changes are required to WEQ-006 Manual Time Error Correction and WEQ-007 Inadvertent Interchange Payback the changes would be addressed through the coordination occuring with the Time and Inadvertent Management Task Force (WEQ 2010 Annual Plan Items 1.b “Time Error and Inadvertent (BAL-004 and BAL-006) Coordination with NERC” and 1.c “DCS and AGC (BAL-002 and BAL-005) Coordination with NERC”) and the NERC Balancing Authority Controls Standard Drafting Team (Project 2007-05 Balancing Authority Controls).   

The WEQ BPS does not see a need for it to take additional action on this item.  The subcommittee would recommend that the SRS continue to monitor this item and if there is movement to a common time zone being utilized by NERC, the SRS should contact the OASIS subcommittee to determine if there is interest in moving the OASIS applications to a common time zone.

2. Three Part Communication – The subcommittee reviewed the comments regarding the use of three part communication and does not see a need for NAESB to develop complementary business practices related to three part communication.
3. North Atlantic Treaty Organization (NATO) Phonetic Alphabet – The subcommittee reviewed the comments regarding the use of the NATO phonetic alphabet and does not see a need for NAESB to develop complementary business practices related to three part communication.
3
Page 1

