Standard IRO-006-5 — Reliability Coordination — Transmission Loading Relief

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SC authorized the SAR and assembled a drafting team on December 5, 2006.

2. The revisions to IRO-006 to transfer business practice content to NAESB were approved as IRO-006-4 by the Board of Trustees on October 23, 2007.

3. The SDT has developed a first draft for industry consideration and posted it for comments from October 30, 2008 to December 1, 2008.
4. The SDT has developed this second draft for industry consideration.

Description of Current Draft:

This is the second draft of the proposed standard posted for stakeholder comments.  

Future Development Plan:

	Anticipated Actions
	Anticipated Date

	1. Respond to Comments (Draft 1).
	February 26, 2009

	2. Posting for Comment (Draft 2).
	February 26, 2009

	3. Respond to Comments (Draft 2).
	June 26, 2009

	4. Posting for 30-day Pre-Ballot Review.
	June 26, 2009

	5. Initial Ballot.
	July 27, 2009

	6. Respond to comments.
	September 10, 2009

	7. Recirculation ballot.
	September 10, 2009

	8. Board adoption.
	October 2009


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

None.
A. Introduction

1. Title:
Reliability Coordination — Transmission Loading Relief (TLR)

2. Number:
IRO-006-5
3. Purpose:
To ensure coordinated action between interconnections when implementing Interconnection-wide transmission loading relief procedures to prevent or manage potential or actual SOL and IROL exceedances to maintain reliability of the bulk electric system.  


4. Applicability:

4.1. Reliability Coordinator.

4.2. Balancing Authority.
4.3. 
5. Proposed Effective Date:  First day of the first calendar quarter following the date this standard is approved by applicable regulatory authorities, or in those jurisdictions where regulatory approval is not required, the standard becomes effective on the first day of the first calendar quarter after the date this standard is approved by the NERC Board of Trustees.
B. Requirements

R1. Each Reliability Coordinator or Balancing Authority that receives a request pursuant to an Interconnection-wide transmission loading relief procedure (such as Eastern Interconnection TLR, WECC Unscheduled Flow Mitigation, or congestion management procedures from the ERCOT Protocols) from any Reliability Coordinator, Balancing Authority,  or Transmission Operator in another Interconnection to curtail an Interchange Transaction that crosses an Interconnection boundary shall comply with the request, unless it provides a reliability reason that it cannot comply with the request.  [Violation Risk Factor: High] [Time Horizon: Real-time Operations]
C. Measures
M1.  Each Reliability Coordinator and Balancing Authority shall provide evidence (such as logs, voice recordings, Tag histories, and studies) that, when a request to curtail an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure was made from another Reliability Coordinator, Balancing Authority, or Transmission Operator in that other Interconnection, it complied with the request or provided an identified reliability reason that it could not comply with the request.  

D. Compliance

1. Compliance Monitoring Process

1.1. Compliance Enforcement Authority

Regional Entity.

1.2. Compliance Monitoring Period and Reset Time Frame

Not applicable.
1.3. Data Retention

The Reliability Coordinator, Balancing Authority, and Transmission Operator shall  each keep data or evidence to show compliance as identified below unless directed by its Compliance Enforcement Authority to retain specific evidence for a longer period of time as part of an investigation:
· The Reliability Coordinator, Balancing Authority, and Transmission Operator shall maintain evidence to show compliance with R1 for the most recent twelve calendar months plus the current month.  

· If a Reliability Coordinator, Balancing Authority, or Transmission Operator is found non-compliant, it shall keep information related to the non-compliance until found compliant. 

The Compliance Enforcement Authority shall keep the last audit records and all requested and submitted subsequent audit records.  

1.4. Compliance Monitoring and Enforcement Processes:

The following processes may be used:

· Compliance Audits

· Self-Certifications

· Spot Checking

· Compliance Violation Investigations

· Self-Reporting

· Complaints
1.5. Additional Compliance Information

None.
Violation Severity Levels

	 R #
	Lower VSL
	Moderate VSL
	High VSL
	Severe VSL

	R1
	
	
	
	The applicable entity received a request to curtail or reload an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority, or Transmission Operator, but the entity neither complied with the request, nor provided a reliability reason that it could not comply with the request.  


E. Variances
None.
F. Associated Documents

G. Version History
	Version
	Date
	Action
	Change Tracking

	0
	April 1, 2005
	Effective Date
	New

	0
	August 8, 2005
	Removed “Proposed” from Effective Date
	Errata

	1
	August 8, 2005
	Revised Attachment 1
	Revision

	3
	February 26, 2007
	Revised Purpose and Attachment 1 related to NERC NAESB split of the TLR procedure
	Revision

	4
	
	Completed NERC/NAESB split
	Revision

	5
	
	Removed Attachment 1 and made into a new standard, eliminated unnecessary requirements.  
	Revision

	
	
	
	








Draft 2: February 26, 2009

Page 6 of 6

