[image: image3.png]\

o

l



[image: image4.png]\

o

li





NAESB WEQ Transmission Loading Relief (TLR) – Eastern Interconnection Business Practice Standards – WEQ-008

008-D
Appendix D – Regional Differences
Section A
________________________________________________________________________
Enhanced Congestion Management Method (Curtailment/Reload/Reallocation)
Applicability
The Balancing Authority participants of:

· Midwest Independent Transmission System Operator, Inc. (Hereafter referred to as Midwest ISO)

· PJM Interconnection, L.L.C. (Hereafter referred to as PJM)
· Southwest Power Pool, Inc. (Hereafter referred to as SPP)
Individually the entities are referenced as the RTO. Collectively they are referenced below as the RTOs.

Business Practice
This methodology implements a multiple BA energy market, simplifies transaction information requirements for market participants, and allows for a means of providing RCs with appropriate information for security analysis and curtailments/reloads/reallocations and redispatch requirements.
To accommodate a multiple BA energy market, this methodology provides for regional differences from the NERC and NAESB specific standards listed below.
This methodology also applies in the event that the above BAs are combined into fewer BAs or into one BA. This methodology is required to realize the benefits of a LMP market operation while increasing the level of granularity of information provided to the NAESB and NERC TLR standards.  

· 
· 
· 
Assignment of Sub-Priorities
Requirements

· WEQ-008-3.3 and WEQ-008-3.6.
Explanation
In a TLR Level 3a the Interchange Transactions using Non-firm Transmission Service in a given priority will be further divided into four sub-priorities, based on current schedule, current active schedule (identified by the submittal of a tag ADJUST message), next-hour schedule, and tag status.  The sub-priorities are identified in the following table:
	Priority
	Purpose
	Explanation and Conditions

	S1
	To allow a flowing Interchange Transaction to maintain or reduce its current MW amount in accordance with its energy profile.
	The MW amount is the lowest between currently flowing MW amount and the next-hour schedule. The currently flowing MW amount is determined by the e-tag ENERGY PROFILE and ADJUST tables. If the calculated amount is negative, zero is used instead.

	S2
	To allow a flowing Interchange

Transaction that has been curtailed or halted by TLR to reload to the lesser of its current-hour MW amount or next-hour schedule in accordance with its energy profile.
	The Interchange Transaction MW amount used is determined through the e-tag ENERGY PROFILE and ADJUST tables. If the calculated amount is negative, zero is used instead.

	S3
	To allow a flowing Transaction to increase from its current-hour schedule to its next-hour schedule in accordance with its energy profile.
	The MW amounts used in this sub-priority is determined by the e-tag ENERGY PROFILE table. If the calculated amount is negative, zero is used instead.

	S4
	To allow a Transaction that had never started and was submitted to the Tag Authority after the TLR (level 2 or higher) has been declared to begin flowing (i.e., the Interchange Transaction never had an active MW and was submitted to the IDC after the first TLR Action of the TLR Event had been declared.)
	The Transaction would not be allowed to start until all other Interchange Transactions submitted prior to the TLR with the same priority have been (re)loaded. The MW amount used in this sub-priority is the next-hour schedule determined by the e-tag ENERGY PROFILE table.



The RTO shall use a “Market Flow Calculation” methodology to calculate the amount of energy flowing across all facilities included in the RTO’s “Coordinated Flowgate List”
 that is associated with the operation of the RTO market. This energy is identified as “market flow”.

These market flow impacts for current hour and next hour shall be separated into their appropriate priorities
 and provided to the IDC by the RTO. The market flows shall then be represented and made available for curtailment under the appropriate TLR Levels.

Even though these market flow impacts (separated into appropriate priorities) will not be represented by conventional “tags”, the impacts and their desired levels shall be provided to the IDC for current hour and next hour. Therefore, the RTO, for the purposes of reallocation, shall be assigned by the NERC IDC a sub-priority (S1 thru S4) to these market flow impacts, using the same parameters as would be used if the impacts were in fact tagged transactions. (See Example 1.)
[image: image1.jpg]S1 — Maintain/Reduce|

52 — Curtailed/Halted

S3 - Increase

54 — Start

g “Sl”

EXAMPLE 1

Appropriate Sub-Priority
ws2v | sy | ese

Tags Today

Desired Next Hr | Start Next
100 {110

Market Impacts to be Submitted by RTO

Desired Next Hr | Start Next





Pro Rata Curtailment of Non-Firm Market Flow Impacts
Requirements

· WEQ-008-C 
Explanation
WEQ-008-C Appendix C Transaction Curtailment Formula details the formula used to apply a weighted impact to each non-firm tagged transaction (priorities 1 thru 6 as defined in section 2.1 of this business practice standard) for the purposes of curtailment by the IDC. For the purpose of curtailment, the non-firm market flow impacts (priorities 1 thru 6) submitted to the IDC by the RTO shall be curtailed pro rata as is done for Interchange Transactions using firm Transmission Service. This method shall be used, because several of the values needed to assign a weighted impact using the process listed in WEQ-008-C will not be available:

· Distribution Factor (no Tag to calculate this value from)

· Impact on interface value (cannot be calculated without Distribution Factor)

· Impact weighting factor (cannot be calculated without Distribution Factor)

· Weighted maximum interface reduction (cannot be calculated without Distribution Factor)

· Interface reduction (cannot be calculated without Distribution Factor)

· Transaction reduction (cannot be calculated without Distribution Factor)
While the non-firm market flow impacts submitted to the IDC would be curtailed pro rata under this methodology, the impacting non-firm tagged transactions could still use the existing processes to assign the weighted impact value. Example 2 illustrates how this would be accomplished. 
[image: image2.jpg]Sub Priority 3

4 53 - Increase

EXAMPLE 2

Contents of “Sub Priority 3” within non-firm priority (2 or 6)
on Flowgate “A”

*Transactional-flow > 5% & Market-flow impacts = 100MW
*Market Flow impacts equal 30MW (or 30%)
*Transaction-flow impacts equal 70MW (or 70%)

*Total relief required from Sub Priority (SP) 3 of Non-firm Priority
(P) 6-NN for Flowgate A under TLR 3A equals 10MW

*SP-3/P-6 Market Flow impacts reduced pro-rata (30%) or 3SMW

*SP-3/P-6 Transactional Flow impacts reduced using current
“weighted impact” calculation to achieve 7MW (70%) of the
10MW relief requested




NNL Calculation
Requirements

· WEQ-008-3.11 
· 
Explanation
WEQ-008-3.11-2 currently requires that the “Per Generator Method Without Counter Flow” (see footnote 1) methodology be utilized to calculate the portion of parallel flows on any Constrained Facility due to NITS and service to NNL of each BA.
The RTO shall use the “Market Flow Calculation” methodology to calculate the portion of parallel flows on all facilities included in the RTO’s “Coordinated Flowgate List”
 due to NITS or service to NNL of each BA as documented in its FERC approved tariff..

· 
· 
· 
· 


These NNL values shall be provided to the IDC to be included and represented with the calculated NNL values of all non-RTO Balancing Authorities for the purposes identifying and obtaining required NNL relief across a Flowgate in congestion under a TLR Level 5A/5B. 

5% Curtailment Threshold
Requirements

· WEQ-008- 3.3.2.2, WEQ-008-3.4.1.1, and WEQ-008-3.6.1 
· WEQ-008-3.10 
Explanation
Requirements WEQ-008-3.3.2.2, WEQ-008-3.4.1.1, and WEQ-008-3.6.1 state the following: The RC shall only consider those Interchange Transactions at or above the Curtailment Threshold for which the Interconnection-wide TLR procedure is called.

The Curtailment Threshold stated in requirement WEQ-008-3.10 is “5%”.
The RTO use a “Market Flow Calculation” methodology to calculate the amount of energy flowing across all facilities included in the RTO’s “Coordinated Flowgate List”
 that is associated with the operation of the RTO market as documented in its FERC approved tariff.  This energy is identified as “Market Flow”.  
The RTO will provide to the IDC any market flows with an impact of greater than 0% on a coordinated Flowgate as documented in its FERC approved tariff.  These market flows shall be represented and made available for curtailment under the appropriate TLR Levels.  For the purposes of curtailment and reallocation, the RTO shall observe an impact threshold of 0% instead of 5% for its market flows across any Flowgate in the RTO Coordinated Flowgate List as documented in its FERC approved tariff.



· 
· 
· 


Need to Determine if Section B can be merged with Section A
Section B

________________________________________________________________________

Southwest Power Pool (SPP) – Enhanced Congestion Management Method (Curtailment/Reload/Reallocation)  
The SPP regional difference, which is equivalent to the PJM/MISO waiver, shall apply within the SPP region as follows:
This regional difference impacts actions on behalf of those SPP Balancing Authorities that are participating in the SPP market.  This regional difference does not impact those Balancing Authorities for which SPP will continue to act as the Reliability Coordinator but that are not participating in the SPP market.
SPP shall calculate the impacts of SPP market flow on all facilities included in SPP’s Coordinated Flowgate List.  SPP shall conduct sensitivity studies to determine which external flowgates (outside SPP’s footprint) are significantly impacted by the market flows of SPP’s control zones (currently the balancing areas that exist today in the IDC).  SPP shall perform studies to determine which external flowgates SPP will monitor and help control.  An external flowgate selected by one of the studies will be considered a Coordinated Flowgate (CF).
In its calculation, SPP shall consider market flow impacts as the impacts of energy dispatched by the SPP market and self-dispatched energy serving load in the market footprint, but not tagged.  SPP shall use a method equivalent to the PJM/MISO Market Flow Calculation methodology identified in the PJM/MISO regional difference.  Impacts of tagged transactions representing delivery of energy not dispatched by the SPP market and energy dispatched by the market but delivered outside the footprint will not be included in market flow.
SPP shall separate the market flow impacts for current hour and next hour into their appropriate priorities and shall provide those market flow impacts to the IDC.  The market flows will be represented in the IDC and made available for curtailment under the appropriate TLR Levels.  The market flow impacts will not be represented by conventional interchange transaction tags.
The SPP method will impact the following sections of the TLR Procedure:
Network and Native Load (NNL) Calculations ( The SPP regional difference modifies section A of this appendix for the SPP region.
Section A of this appendix requires that the “Per Generator Method without Counter Flow” methodology be utilized to calculate the portion of parallel flows on any Constrained Facility due to Network Integration (NI) transmission service and service to Native Load (NL) of each balancing authority.
SPP shall use a “Market Flow Calculation” methodology to calculate the portion of parallel flows on all facilities included in the RTO’s “Coordinated Flowgate List” due to NI service or service to NL of each balancing authority.
The Market Flow Calculation differs from the Per Generator Method in the following ways:

· The contribution from all market area generators will be taken into account.

· In the Per Generator Method, only generators having a GLDF greater than 5% are included in the calculation.  Additionally, generators are included only when the sum of the maximum generating capacity at a bus is greater than 20 MW.  The market flow calculations will use all positively impacting flows down to 0% with no threshold.  Counter flows will not be included in the market flow calculation. 

· The contribution of all market area generators is based on the present output level of each individual unit.

· The contribution of the market area load is based on the present demand at each individual bus.
By expanding on the Per Generator Method, the market flow calculation evolves into a methodology very similar to the “Per Generator Method” method, while providing increased Interchange Distribution Calculator (IDC) granularity.  Counter flows are also calculated and tracked in order to account for and recognize that the either the positive market flows may be reduced or counter flows may be increased to provide appropriate relief on a flowgate. 
These NNL values will be provided to the IDC to be included and represented with the calculated NNL values of other Balancing Authorities for the purposes of identifying and obtaining required NNL relief across a flowgate in congestion under a TLR Level 5A/5B. 
Pro Rata Curtailment of Non-Firm Market Flow Impacts ( The SPP regional difference modifies Section A for the SPP region.
Appendix C “Transaction Curtailment Formula” of this document details the formula used to apply a weighted impact to each non-firm tagged Interchange Transaction (Priorities 1 thru 6) for the purposes of Curtailment by the IDC.  For the purpose of Curtailment, the non-firm market flow impacts (Priorities 2 and 6) submitted to the IDC by SPP should be curtailed pro-rata as is done for Interchange Transaction using firm transmission service. This is because several of the values needed to assign a weighted impact using the process listed in Appendix C will not be available:

· Distribution Factor (no tag to calculate this value from)

· Impact on Interface value (cannot be calculated without Distribution Factor)

· Impact Weighting Factor (cannot be calculated without Distribution Factor)

· Weighted Maximum Interface Reduction (cannot be calculated without Distribution Factor)

· Interface Reduction (cannot be calculated without Distribution Factor)

· Transaction Reduction (cannot be calculated without Distribution Factor)
While the non-firm market flow impacts submitted to the IDC are to be curtailed pro rata, the impacting non-firm tagged Interchange Transactions could still use the existing processes to assign the weighted impact value.
Assignment of Sub-Priorities ( The SPP regional difference modifies NERC’s Attachment 1-IRO-006-1 Appendix E “How the IDC Handles Reallocation”, Section E2 “Timing Requirements”, for the SPP region and requirements 3.3 and 3.6 of this business practice standard.
Under the header “IDC Calculations and Reporting” in Section E2 of NERC Appendix E to Attachment 1-IRO-006-1, the following requirement exists: “In a TLR Level 3a the Interchange Transactions using Non-firm Transmission Service in a given priority will be further divided into four sub-priorities, based on current schedule, current active schedule (identified by the submittal of a tag ADJUST message), next-hour schedule, and tag status.  Solely for the purpose of identifying which Interchange Transactions to be loaded under a TLR 3a, various MW levels of an Interchange Transaction may be in different sub-priorities.  The sub-priorities are shown in the following table:

	Priority
	Purpose
	Explanation and Conditions

	S1
	To allow a flowing Interchange Transaction to maintain or reduce its current MW amount in accordance with its energy profile.
	The MW amount is the lowest between currently flowing MW amount and the next-hour schedule. The currently flowing MW amount is determined by the e-tag ENERGY PROFILE and ADJUST tables. If the calculated amount is negative, zero is used instead.

	S2
	To allow a flowing Interchange

Transaction that has been curtailed or halted by TLR to reload to the lesser of its current-hour MW amount or next-hour schedule in accordance with its energy profile.
	The Interchange Transaction MW amount used is determined through the e-tag ENERGY PROFILE and ADJUST tables. If the calculated amount is negative, zero is used instead.

	S3
	To allow a flowing Transaction to increase from its current-hour schedule to its next-hour schedule in accordance with its energy profile.
	The MW amounts used in this sub-priority is determined by the e-tag ENERGY PROFILE table. If the calculated amount is negative, zero is used instead.

	S4
	To allow a Transaction that had never started and was submitted to the Tag Authority after the TLR (level 2 or higher) has been declared to begin flowing (i.e., the Interchange Transaction never had an active MW and was submitted to the IDC after the first TLR Action of the TLR Event had been declared.)
	The Transaction would not be allowed to start until all other Interchange Transactions submitted prior to the TLR with the same priority have been (re)loaded. The MW amount used in this sub-priority is the next-hour schedule determined by the e-tag ENERGY PROFILE table.


SPP shall use a “Market Flow Calculation” methodology to calculate the amount of energy flowing across all facilities included in the RTO’s “Coordinated Flowgate List” that is associated with the operation of the SPP market.  This energy is identified as “market flow.”
These market flow impacts for current hour and next hour will be separated into their appropriate priorities and provided to the IDC by SPP.  The market flows will then be represented and made available for curtailment under the appropriate TLR Levels.
Even though these market flow impacts (separated into appropriate priorities) will not be represented by conventional “tags,” the impacts and their desired levels will still be provided to the IDC for current hour and next hour.  Therefore, for the purposes of reallocation, a sub-priority (S1 thru S4) should be assigned to these market flow impacts by the NERC IDC as follows, using comparable logic as would be used if the impacts were in fact tagged transactions.

	Priority
	Purpose
	Explanation and Conditions

	S1
	To allow existing market flow to maintain or reduce its current MW amount.
	The currently flowing MW amount is the amount of market flow existing after the RTO has recognized the constraint for which TLR has been called. If the calculated amount is negative, zero is used instead.

	S2
	To allow market flow that has been curtailed or halted by TLR to reload to its desired amount for the current-hour.
	This is the difference between the current hour unconstrained market flow and the current market flow.  If the current-hour unconstrained market flow is not available, the IDC will use the most recent market flow since the TLR was first issued or, if not available, the market flow at the time the TLR was first issued.

	S3
	To allow a market flow to increase to its next-hour desired amount.
	This is the difference between the next hour and current hour unconstrained market flow.






























































































































































































































































































































































































































































































































































































































































� The RTO will conduct sensitivity studies to determine which external Flowgates (outside the RTO’s footprint) are significantly impacted by the market flows of the RTO’s control zones (currently the Balancing Authorities that exist today in the IDC). The RTOs will perform the 4 studies as described in their MISO/PJM Paper “Managing Congestion to Address Seams” White Paper (Version 3.2, May 16, 2003, located on the NAESB website at � HYPERLINK "approved" ��http://www.naesb.org/pdf2/weq_bps101205w3.pdf)approved� tariffs to determine which external Flowgates the RTO will monitor and help control. An external Flowgate selected by one of these studies will be considered a coordinated Flowgate (CF).


� See footnote 1 for details on how these priorities will be assigned.


� See footnote 1. The RTO will conduct sensitivity studies to determine which external Flowgates (outside the RTO’s footprint) are significantly impacted by the market flows of the RTO’s control zones (currently the balancing authorities that exist today in the IDC). The RTO shall  perform the four studies (described in the MISO/PJM paper “Managing Congestion to Address Seams,” Version 3.2its FERC approved tariff) to determine which external Flowgates the RTO shall monitor and help control. An external Flowgate selected by one of these studies will be considered a Coordinated Flowgate (CF).





� The NERC IDC Granularity Task Force drafted “White Paper on the Future of Congestion Management”, draft version 2.1, completed June of 2004 (located on the NAESB website at � HYPERLINK "http://www.naesb.org/pdf/weq_bps120904a3.doc" ��http://www.naesb.org/pdf/weq_bps120904a3.doc�).  Although the task force originally discussed six options for granularity, three options were included in the paper as possible options. 


� See footnote 1.  The RTO shall conduct sensitivity studies to determine which external Flowgates (outside the RTO’s footprint) are significantly impacted by the market flows of the RTO’s control zones (currently the control areas that exist today in the IDC). The RTO shall perform the 4 studies (described in their approved tariffs MISO/PJM “Managing Congestion to Address Seams” Whitepaper Version 3.2) to determine which external Flowgates the RTO will monitor and help control. An external Flowgate selected by one of these studies will be considered a coordinated Flowgate (CF).









3



