Phase 1 - What non-firm transmission usage is presently excluded or misidentified from TLR priority 

Scope for consideration –

For the markets need to identify what would fall into this category (Tom Mallinger/Cathy Wesley)
Grandfathered transactions (service prior to Order 888), reserve sharing, dynamic schedules and other non-standard transactions may require discussion regarding exclusion or misidentification.

 OFF- OASIS and Resale transactions may also require further discussion.

Spot market imports - SPOT_IN customers do not hold transmission service rights and may be misidentified.

Need to consider what is being done under the 890 work by the NERC ATC Drafting Team (Andy Rodriquez is the NERC point person).  The ATC group is working on the impacts of designating/undesignating resources on ATC Calculations. (Cathy Wesley)
Discussions presently include the differences between the Western and Eastern interconnections for on-system generation.  The challenge being discussed is that for an unconstrained system , there are no internal paths where ATC is calculated.  This then does not require designation of any load.  But,  if a system is constrained, then unit designation becomes necessary to be able to correctly calculate ATC and maintain a reliable grid.

Discussion on interpretation/clarification of definition of Native Load.

