Work Paper for NAESB BPS Meeting – August 13, 2009
TVA Observations Concerning Parallel Flow Visualization

TVA does not necessarily see any non-jurisdictional issues with the parallel flow visualization project.  However, they have made observations that the proposed methodology may negatively impact their firm transmission service for day-ahead commitments.

TVA has concerns as to how the generation will be allocated to the specific F7 and NN6 buckets.  Traditionally, TVA has considered all internal generation being utilized to meet native load as DNR.  Would the GTL calculations potentially create a scenario where some TVA generation, while meeting native load requirements, could be considered as non-firm?

In addition, should an organized Market issue a TLR on a shared Flow-gate using an impact of greater than 5% from a GTL calculation, TVA may have a risk of being forced to redirect firm transmission.  

TVA does not feel these scenarios only are applicable to TVA as a non-jurisdictional entity, but are applicable to other non-market utilities.

TVA is supportive of moving forward with the project so long as there is a pilot or testing period where operations function with NNL calculations as well as GTL calculations in order to verify the true visualization of the proposed change in methods.  In other words, TVA would like the two methods to be run in parallel for comparison purposes only but not sent to the IDC.  The NNL calculations would be used by the IDC until such time a decision was made to change the methodology.

In addition, if industry moves to GTL calculations, TVA advocates that those calculations not be performed by each individual entity and fed to the IDC.  Rather, TVA is interested in one vendor, agreed upon by all entities involved, to perform the GTL calculations for all the Eastern Interconnection before the data is transferred to the IDC.

