[image: image1.wmf] 

 



Comments Submitted by various ISO and RTOs

INFORMAL COMMENTS
Quadrant:
Wholesale Electric Quadrant

Recommendation: 
WEQ 2009 AP Item (5.b) Modify NAESB definitions to address internal inconsistencies and inconsistencies with the NERC glossary

Submitted By:
Al DiCaprio (PJM), Kathleen Goodman (ISO New England), Ben Li (IESO), Steven Myers (ERCOT), Anjali Sheffrin (California ISO), Ed Skiba (Midwest ISO), and Charles Yeung (SPP)
Date:
September 25, 2009
The SRC comments are divided into 3 categories:

1. NAESB terms not associated with any NERC standards (editorial comments – see highlights)
2. NAESB definitions that have indirect implications for NERC standards (suggest NAESB change term or definition)
3. NAESB definitions that are NERC definitions that require NERC review (Terms that require NERC review.  For these items it is recognized that NAESB is moving forward.  The ISOs/RTOs Standards Review Subcommittee is considering submitting a Standards Authorization Request to NERC to address their concerns.)

Category 1

· Assignment Reference Number

· Business Practice

· Commission

· Constrained Flowgate

· Constraint 

· Control Area

· Denial of Service

· Issuing Certification Authority

· Open Access Same-Time Information System (OASIS) Template

· Posted Path

· Regional Entity

Category 2

· Power Plant Operator (PPO)

· Power Plant Operator (PPO) Facility

Category 3

· Arranged Interchange

· Balancing Authority Area (BAA)

· Confirmed Interchange

· Control Area

· Generation to Load Distribution Factor

· Interchange Authority (IA) Service Entity

· Net Actual Interchange

· Net Scheduled Interchange

· Regional Entity

· Reserve Sharing Group

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

   X  Accept as requested


  X Change to Existing Practice

      Accept as modified below


     Status Quo

     Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

  X  Modification




  X  Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


      X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


Provide consistent definitions for terms included in the NAESB WEQ Business Practice Standards.  

Recommended Standards:

New Business Practice Standard WEQ-000
Abbreviations, Acronyms, and Definition of Terms

Introduction 

The Abbreviations, Acronymns, and Definition of Terms provides a common location for all abbreviations, acronyms, and definitions of terms that are referenced in the NAESB WEQ Business Practice Standards.  Since these abbreviations, acronyms, and defintions are not requirements they are not enumerated in Business Practice Standard WEQ-000, similarly to what has been done in Business Practice Standard WEQ-003.

Applicability 
Refer to specific Business Practice Standards for applicability.

000-1
ABBREVIATIONS AND ACRONYMS

The abbreviations and acronymns listed in the following table are used in the NAESB WEQ Business Practice Standards and shall have the meaning specified in the table.

	Abbreviation / Acronym
	Meaning

	ACE 
	Area Control Error

	AFC 
	Available Flowgate Capability

	AGC 
	Automatic Generation Control

	ASCII
	American Standard Code for Information Interchange

	ASN.1
	Abstract Syntax Notation One

	ATC 
	Available Transfer Capability

	ATCID
	Available Transfer Capability Implementation Document

	BA 
	Balancing Authority

	BAA
	Balancing Authority Area

	CBM 
	Capacity Benefit Margin

	CBMID
	Capacity Benefit Margin Implementation Document

	CCO
	Conditional Curtailment Option

	CEII
	Critical Energy Infrastructure Information

	CF 
	Coordinated Flowgate

	CFR
	Code of Federal Regulations

	CGI
	Common Gateway Interface

	CP
	Certificate Policy

	CRL
	Certificate Revocation List

	CRLF
	Carriage Return/Line Feed

	CSV
	Comma Separated Value

	DC
	Direct Current

	DNR 
	Designated Network Resources

	DN
	Distinguished Name

	DNS
	Domain Name Service

	DoS
	Denial of Service

	Dth
	Dekatherm

	DUNS 
	Data Universal Numbering System

	E-commerce
	Electronic commerce

	eFiling
	Electronic Filing

	eLibrary
	Electronic Library

	E-mail
	Electronic mail

	eRegistered
	Electronic Registered

	e-Tag
	Electronic Tag

	eTariff
	Electronic Tariff

	EIDE 
	Electric Industry Data Exchange

	EIR
	Electric Industry Registry

	ERCOT
	Electric Reliability Council of Texas

	ETC
	Existing Transmission Commitments

	FDDI
	Fiber Distributed Data Interface

	FERC
	Federal Energy Regulatory Commission

	FIPS 
	Federal Information Processing Standards

	FOTC
	Financially Obligated Transmission Customer

	FTAA
	Funds Transfer Agent Agreement

	FTP
	File Transfer Protocol

	GCA 
	Generating Control Area

	GLDF
	Generator-to-Load Distribution Factor

	GO
	Generator Operator

	GPE
	Generator-Providing Entity

	GPS
	Global Positioning System

	GSF
	Generator Shift Factor

	HTML
	Hyper Text Markup Language

	HTTP
	Hyper Text Transport Protocol

	Hz
	Hertz

	IA 
	Interchange Authority

	IDC 
	Interchange Distribution Calculator

	InterNIC
	Internet Network Information Center

	IP
	Internet Protocol

	IPCP
	Internet Protocol Control Protocol

	IROL 
	Interconnection Reliability Operating Limit

	ISO
	Independent System Operator

	JOU 
	Jointly Operated Units

	kV 
	Kilovolt

	L10 
	Control Error Limitation

	LDAP
	Lightweight Directory Access Protocol

	LMP
	Locational Marginal Pricing

	LSE 
	Load-Serving Entity

	LSF 
	Load Shift Factor

	MIME
	Multipurpose Internet Mail Extensions

	MRO
	Midwest Reliability Organization

	MVar 
	Megavolt Ampere Reactive

	MW 
	Megawatt

	MWh 
	Megawatt Hour

	NAESB 
	North American Energy Standards Board

	NERC
	North American Electric Reliability Corporation

	NHM 
	Next Hour Market

	NIST 
	National Institute of Standards and Technology

	NITS 
	Network Integrated Transmission Service

	NL 
	Native Load

	NNL  
	Network and Native Load Calculations

	NTP 
	Network Time Protocol

	OASIS 
	Open Access Same-Time Information System

	OATT 
	Open Access Transmission Tariff

	PDF
	Portable Document Format

	PKI 
	Public Key Infrastructure

	POD 
	Point of Delivery

	POP
	Post Office Protocol

	POR 
	Point of Receipt

	PPO 
	Power Plant Operator

	PPP 
	Point-to-Point Protocol

	PSE 
	Purchasing-Selling Entity

	PTP 
	Point-to-Point Transmission Service

	RA 
	Registration Authority

	RC 
	Reliability Coordinator

	RCIS 
	Reliability Coordinator Information System

	RFC
	Request for Comments

	RFI 
	Request for Interchange

	RTO 
	Regional Transmission Organization

	S&CP
	Standards and Communication Protocols

	SLIP 
	Serial Line Internet Protocol

	SMTP
	Simple Messaging Transfer Protocol

	SNMP
	Simple Network Management Protocol

	SOC 
	Secretary of the Commission (FERC)

	SOL 
	System Operating Limit

	SPP
	Southwest Power Pool

	SSL
	Secure Sockets Layer

	TCP/IP 
	Transport Control Protocol and Internet Protocol

	TDF 
	Transfer Distribution Factor

	TFC 
	Total Flowgate Capacity

	TLR 
	Transmission Loading Relief

	TO
	Transmission Owners

	TPSE 
	Transmission Purchase Selling Entity

	TRM 
	Transmission Reliability Margin

	TRMID 
	Transmission Reliability Margin Implementation Document

	TSIP 
	Transmission Services Information Provider

	TSIN
	Transmission System Information Networks

	TTC 
	Total Transfer Capability

	URL
	Uniform Resource Locator

	USF
	Unschedule Flow Reduction Procedure

	WECC 
	Western Electric Coordinating Council

	WECCNet 
	Western Electric Coordinating Council Network

	WEQ 
	Wholesale Electric Quadrant

	WGQ 
	Wholesale Gas Quadrant

	WWW
	World Wide Web

	WWVB
	See definition for WWVB

	XML
	Extensible Markup Language

	XSD
	XML Schema Definition Language


000-1.1
Abbreviations and Acronyms Do Not Use

The following abbreviations and acronymns should not be used in the WEQ NAESB Business Practice Standards.  Though the abbreviations and acronyms are commonly accepted, they may have multiple meanings when used in these standards.

	Abbreviation / Acronym
	Meanings

	CA
	Control Area 

Certificate Authority

	TSP
	Transmission Service Provider

Transportation Service Provider

	CPS
	Certificate Practice Statement

Control Performance Standard


000-2
DEFINTION OF TERMS

The terms listed in the following table are used in the NAESB WEQ Business Practice Standards and shall have the definitions specified in the table.

	TERM
	DEFINITION

	Actual Daily Native Peak Load
	Shall have the meanings as defined in Business Practice Standards WEQ-001-17.

	Actual Daily System-Wide Peak Load
	Shall have the meanings as defined in Business Practice Standards WEQ-001-17.

	Actual Daily Zonal Load
	Shall have the meanings as defined in Business Practice Standards WEQ-001-17.

	Affiliate
	(1) For any exempt wholesale generator, as defined under section 32(a) of the Public Utility Holding Company Act of 1935, as amended, the same as provided in section 214 of the Federal Power Act; and (2) For any other entity, the term Affiliate has the same meaning as given in 18 CFR 161.2(a).

	Applicant
	An authorized individual of a registered End Entity that may submit applications for issuance of Certificates to an Authorized Certification Authority for the End Entity.

	Approval Entity 
	An entity that has approval rights for Arranged Interchange.

	Area Control Error (ACE) 
	The instantaneous difference between a BA’s Net Actual Interchange and Net Interchange Schedule, taking into account the effects of Frequency Bias and correction for meter error.

	Arranged Interchange 
	The state where the IA has received the Interchange information (initial or revised).

	Assignee 
	An Eligible Transmission Customer that receives PTP rights from a Reseller either through a Resale or a Transfer.

	Assignment Reference Number 
	All requests for purchase of transmission or ancillary services will be marked by a unique accounting number

Reword for parallelism with other definitions.

A unique accounting number assigned to a request for purchase of transmission or ancillary service.

	Authorized Certification Authority 
	A certification authority that complies with the NAESB Business Practice Standard WEQ-012, has met all terms and conditions and executed all requirements as set forth by the NAESB certification program for the NAESB Business Practice Standard WEQ -012, and is registered in the EIR.

	Automatic Generation Control (AGC) 
	Equipment that automatically adjusts generation in a BAA from a central location to maintain the BA’s Interchange Schedule plus Frequency Bias.  AGC may also accommodate automatic Inadvertent Interchange Payback and Time Error Correction. 

	Balancing Authority (BA)
	The responsible entity that integrates resource plans ahead of time, maintains load-interchange-generation balance within a BAA, and supports Interconnection frequency in real time.

	Balancing Authority Area (BAA)
	The collection of generation, transmission, and loads within the metered boundaries of the BA.  The BA maintains load-resource balance within this area.

	Biennial Reassessment 
	A study performed by the Transmission Provider to reassess the provision of service under a CCO Reservation and service agreement once every two years to determine if (i) the Curtailment condition(s) in the service agreement needs to be modified for purposes of maintaining reliability, or (ii) the CCO Reservation can no longer be reliably provided.

	Book of Flowgates
	The master list of Flowgates used by the IDC.

	Bulk Electric System 
	As defined by the Regional Entity, the electrical generation resources, transmission lines, interconnections with neighboring systems, and associated equipment, generally operated at voltages of 100 kV or higher. Radial transmission facilities serving only load with one transmission source are generally not included in this definition.

	Business Practice 
	Refers collectively to any Business Practices adopted by the Transmission Provider as defined in their OATT, or Transmission Provider specific practices or requirements.

Suggest alternate definition: Those procedures and requirements that define an entity’s internal corporate processes.


	Business Practice Standards 
	Refers to the collection of ratified WEQ NAESB practices or requirements.

	Capacity Available to Redirect 
	The granted capacity of the Parent Reservation at the time of Transmission Customer confirmation (CAPACITY_GRANTED) less all confirmed reassignments (e.g., Resales), confirmed Redirects on a firm basis, confirmed Redirects on a non-firm basis, displacements, and approved schedules.

	Certificate 
	A digital document that typically includes the public key, information about the identity of the party holding the corresponding private key, the operational periods of the Certificate, and the Issuing Certification Authority’s own digital signature.

	Certificate Policy (CP)
	A named set of rules that indicates the applicability of a Certificate to a particular community and/or class of application with common security requirements.  For example, a particular CP might indicate applicability of a type of Certificate to the authentication of electronic data Interchange Transactions for the trading of goods within a given price range.

	Certificate Revocation List (CRL)
	A list of Certificate serial numbers which have been revoked, are no longer valid, and should not be relied upon by any system user. 

	Certification Path 
	An ordered sequence of Certificates which, together with the public key of the initial object in the path, can be processed to obtain that of the final object in the path.

	Certification Practice Statement  
	A statement of the practices which a certification authority employs in issuing Certificates.

	Checkout Partner
	The entities that perform the checkout process.  Most commonly two adjacent BAs checking net Interchange.  It might also be two marketers checking sales and purchases, or a Transmission Customer checking schedules with a Transmission Service Provider.

	Commission 
	The FERC, or other entity which has regulating authority over a given Transmission Provider.

This definition should read:

The Ferederal Elecrtic Regulatory Commission.
A separate definition is required for the other “regulators”

Suggest adopting a new term “Regulator” with the definition: “An entity that has regulatory authority over a registered entity. 



	Conditional Curtailment Option (CCO)
	An option subject to either a Number-of-Hours Criteria or a System-Conditions Criteria that may be specified in a service agreement for long-term firm PTP when a Transmission Provider determines that it cannot accommodate a request because of insufficient transfer capability.

	Conditional Curtailment Option Reservation (CCO Reservation)
	A Transmission Service reservation defined by a long-term firm PTP agreement wherein the Transmission Customer has chosen the CCO.

	Conditional Curtailment Priority Level
	A Curtailment priority level associated with a CCO Reservation equal to the priority level of Secondary Network Transmission Service.

	Confirmed Interchange 
	The state where the IA has verified the Arranged Interchange.

	Constrained Facility 
	A transmission facility (line, transformer, breaker, etc.) that is approaching, is at, or is beyond its SOL or IROL.

	Constrained Flowgate 
	A Flowgate that is approaching, is at, or is beyond SOL or IROL.

Suggest changing definition to A Flowgate that is approaching, is at, or is beyond its rating.

	Constraint 
	A limitation placed on Interchange Transactions that flow over a Constrained Facility or Flowgate. 

Suggest changing definition to a Constrained Facility or Constrained Flowgate.

	Contract Path
	A predetermined Transmission Service electrical path between contiguous Transmission Providers established for scheduling and commercial settlement purposes that represents the continuous flow of electrical energy between the parties to a transaction.

	Control Area
	 An electric power system or combination of electric power systems to which a common automatic generation control scheme is applied in order to:

1. match, at all times, the power output of the generators within the electric power system(s) and capacity and energy purchased from entities outside the electric power system(s), with the load within the electric power system(s);

2. maintain scheduled interchange with other Control Areas, within the limits of Good Utility Practice;

3. maintain the frequency of the electric power system(s) within reasonable limits in accordance with Good Utility Practice; and

4. provide sufficient generating capacity to maintain operating reserves in accordance with Good Utility Practice.

Suggest  not capitalizing Good Utility Practice.  Also suggest deleting “at all times” in item 1.

	Control Error Limitation (L10)
	A control error limitation specified in NERC standards.

	Control Performance

Standard 
	The reliability standard that sets the limits of a BA’s ACE over a specified time period. 

	Curtailment 
	A reduction in the scheduled capacity or energy delivery of an Interchange Transaction.

	Curtailment Threshold 
	The minimum TDF which, if exceeded, will subject an Interchange Transaction to Curtailment to relieve a transmission facility Constraint.

	Data Element 
	Refers generically, by either full name or alias, to a Data Element defined in Business Practice Standards WEQ-003 or WEQ-014.  No distinction between the use of full name or alias is intended.

	Denial of Service (DoS)
	This is the intentional or unintentional degradation of OASIS performance that impacts all customer interactions with OASIS by consuming cyber resources.

Suggest making this more generic term other than limiting to OASIS.

	Distribution Factors 
	The portion of an Interchange Transaction, typically expressed in per unit that flows across a transmission facility (Flowgate).

	Dynamic Schedule 
	A telemetered reading or value that is updated in real time and used as a schedule in the AGC/ACE equation and the integrated value of which is treated as a schedule for Interchange accounting purposes.  Commonly used for scheduling jointly owned generation to or from another BAA.

	Eastern Interconnection 
	One of the major electric system networks in North America.

	Electric Reliability Council of Texas (ERCOT) Interconnection
	One of the major electric system networks in North America.

	Eligible Transmission Customer 
	As defined in the FERC Pro Forma OATT.

	End Entity 
	A registered business entity or other recognized organization to which Certificates are issued by one or more Authorized Certification Authorities.

	Electronic Tag (e-Tag)
	Information describing a physical Interchange Transaction and its participants.  

	eTariff Submission Data Dictionary
	eTariff Submission Data Dictionary as defined in WEQ-014 Appendix A.

	eTariff Submission Implementation Guide
	eTariff Submission Implementation Guide as defined in WEQ-014 Appendix A.

	Facility Rating 
	The maximum or minimum voltage, current, frequency, or real or reactive power flow through a facility that does not violate the applicable equipment rating of any equipment comprising the facility.

	Financially Obligated Transmission Customer (FOTC)
	The Transmission Customer financially obligated to the Transmission Provider for Transmission Service (i.e., service procured either through direct purchase from the Transmission Provider, Reseller, or through a Transfer of transmission rights).

	Firm Transmission Service 
	The highest quality service offered to Transmission Customers under a filed rate schedule that anticipates no planned interruption.  Firm Transmission Service includes firm PTP and firm NITS.

	Flowgate 
	A designated point of the transmission system through which the IDC calculates the power flow from Interchange Transactions.

	Forecasted Daily Native Peak Load
	Shall have the meanings as defined in Business Practice Standards WEQ-001-17.

	Forecasted Daily System-Wide Peak Load
	Shall have the meanings as defined in Business Practice Standards WEQ-001-17.

	Forecasted Daily Zonal Load
	Shall have the meanings as defined in Business Practice Standards WEQ-001-17.

	Frequency Bias 
	A value, usually expressed in MWs per 0.1 Hz (MW/0.1 Hz), associated with a BAA that approximates the BAA’s response to Interconnection and frequency error.

	Frequency Bias Setting 
	A value, usually expressed in MW/0.1 Hz, set into a BA ACE algorithm that allows the BA to contribute its frequency response to the Interconnection.

	Generator Shift Factor (GSF)
	A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or Flowgate.

	Generator-Providing Entity (GPE)
	The PSE who is responsible for providing the source generation from owned, Affiliated, or contractually bound generation.

	Generator-to-Load Distribution Factor (GLDF)
	The algebraic sum of a GSF and a LSF to determine the total impact of an Interchange Transaction on an identified transmission facility or Flowgate.

	GET
	An HTTP method to request a representation of the specified information.

	Hyper Text Markup Language (HTML) Form
	A section of a document containing normal content, markup, special elements called controls (checkboxes, radio buttons, menus, etc.), and labels on those controls. Users generally "complete" a form by modifying its controls (entering text, selecting menu items, etc.), before submitting the form.

	Identical Service Requests 
	Those OASIS Transmission Service requests that have exactly the same values for the following OASIS Template Data Elements:

· CUSTOMER_CODE

· CUSTOMER_DUNS

· SERVICE_INCREMENT

· TS_CLASS

· START_TIME

· STOP_TIME

· POR*

· POD*

· PATH*

*Service requests where any combination of PATH, POR and/or POD represent exactly the same commercial transmission elements shall be considered as “having the exact same value.”

	Implemented Interchange 
	The state where the BA enters the Confirmed Interchange into its ACE equation. 

	Inadvertent Interchange 
	The difference between the BA’s Net Actual Interchange and Net Scheduled Interchange.

	Interchange 
	Energy transfers that cross BA boundaries.

	Interchange Authority (IA) 
	The responsible entity that authorizes implementation of valid and balanced Interchange Schedules between BAAs, and ensures communication of Interchange information for reliability assessment purposes.

	Interchange Authority (IA) Service Entity
	The entity that provides the IA service for an e-Tag.  The IA service itself is typically a computer system that maintains the master database for the Tag and communicates status with other computer systems.  The IA service entity is the utility industry entity that is responsible for providing the service.  In e-Tag 1.8.0, this entity is the Sink BA.

Change IA to IC.


	Interchange Block Accounting 
	Energy accounting that assumes a beginning and ending ramp time of zero minutes. For accounting purposes, this moves the energy associated with the starting and ending ramps into the adjacent starting and ending clock time of the Interchange.

	Interchange Distribution Calculator (IDC) 
	The mechanism used by RCs in the Eastern Interconnection to calculate the distribution of Interchange Transactions over specific Flowgates.  It includes a database of all Interchange Transactions and a matrix of the Distribution Factors for the Eastern Interconnection.

	Interchange Schedule 
	An agreed-upon Interchange Transaction size (MWs), start and end time, beginning and ending ramp times and rate, and type required for delivery and receipt of power and energy between the Source and Sink BAs involved in the transaction.

	Interchange Transaction 
	An agreement to transfer energy from a seller to a buyer that crosses one or more BAAs boundaries.

	Interconnected Operations Service 
	A service (exclusive of basic energy and Transmission Services) that is required to support the reliable operation of the interconnected Bulk Electric Systems.

	Interconnection 
	Any one of the four major electric system networks in North America: Eastern Interconnection, Western Interconnection, ERCOT Interconnection, and Quebec Interconnection.

	Interconnection Reliability Operating Limit (IROL) 
	A SOL that, if violated, could lead to instability, uncontrolled separation, or cascading outages that adversely impact the reliability of the Bulk Electric System.

	Interconnection Time Monitor 
	An entity that monitors Time Error and initiates and terminates Time Error Corrections.

	Internet
	A global network of interconnected computers, enabling users to share information along multiple channels.

	Issuing Certification Authority  
	In the context of a particular Certificate, the Issuing Certification Authority is the certificate authority that has digitally signed and issued the Certificate to a Subscriber.

A NAESB recognized entity that is authorized to digitally sign and issue a certificate to a subscriber. 

	Jointly Owned Unit (JOU) 
	This term refers to a unit in which two or more entities share ownership.



	Leap Second 
	A Leap Second is a second of time added to coordinated Universal Time to make it agree with astronomical time to within 0.9 seconds. Historically, Leap Seconds are implemented as needed on June 30th or December 31st. (NIST)

	Load Shift Factor (LSF) 
	A factor to be applied to a load’s expected change in demand to determine the amount of flow contribution that change in demand will impose on an identified transmission facility or Flowgate.

	Load-Serving Entity (LSE) 
	The responsible entity that secures energy and Transmission Service (and related Interconnected Operations Services) to serve the electrical demand and energy requirements of its end-use customers.

	Market Period 
	The period of time beginning with the Requesting PSE, or its designee, making required purchase, sale, and Transmission Service arrangements to support the Arranged Interchange through the period of time when the IA receives the Arranged Interchange.

	May, should, or optional
	Define optional requirements that are recommended for implementation but are not specifically required under these Business Practice Standards.

	Must, shall, or required
	Define specific requirements that are not optional and must be implemented as described under these Business Practice Standards.

	Native Load (NL) 
	The demand imposed on an electric utility or an entity by the requirements of all customers located within a franchised service territory that the electric utility or entity has statutory or contractual obligation to serve.  

	Net Actual Interchange 
	The algebraic sum of all metered Interchange over all interconnections between two physically adjacent BAAs.

	Net Interchange Schedule 
	The algebraic sum of all Interchange Schedules with each adjacent BAA. 

	Network Integration Transmission Service (NITS) 
	As specified in the Transmission Provider’s tariff, service that allows an electric Transmission Customer to integrate, plan, economically dispatch and regulate its network resources in a manner comparable to that in which the Transmission Provider serves NL customers.

	Non-Firm Transmission Service 
	As specified in the Transmission Provider’s tariff, Transmission Service that is reserved and scheduled on an as-available basis and is subject to Curtailment or interruption, and has less priority than Firm Transmission Service.

	Number-of-Hours Criteria 
	The maximum number of hours in a defined period (e.g., annually) that the Transmission Provider is allowed to curtail Transmission Service for reliability reasons at the Conditional Curtailment Priority Level, as specified in the long-term firm PTP agreement which specifies a CCO.

	Open Access Same-Time Information Service System (OASIS) 
	Comprises the computer systems and associated communications facilities that public utilities are required to provide for the purpose of making available to all transmission users comparable interactions with Transmission Service Information and any back-end supporting systems or user procedures that collectively perform the transaction processing functions associated with handling of requests on OASIS.

	Open Access Same-Time Information System (OASIS) Data Dictionary 
	Business Practice Standards WEQ-003 Open Access Same-Time Information Service Data Dictionary

	Open Access Same-Time Information System (OASIS) Implementation Guide 
	Business Practice Standards WEQ-013 Open Access Same-Time Information Service Implementation Guide

	Open Access Same-Time Information System (OASIS) Node
	Is a subsystem of the OASIS. It is one computer system in the OASIS that provides access to Transmission Service Information to a Transmission Customer.

	Open Access Same-Time Information System (OASIS) Standards and Communication Protocols (S&CP) 
	 Business Practice Standards WEQ-002 Open Access Same-Time Information Service Standards & Communication Protocol



	Open Access Same-Time Information System (OASIS) Template
	Refers generically, or by reference to a specifically named OASIS Template, to the OASIS Templates defined for the Transmission Customer interface to OASIS in Business Practice Standard WEQ-002, including the displays and forms associated with the web browser based user interface implementing the functions of an OASIS defined OASIS Template.

	Option Set
	Alternate sets of Tariff Records.

	Parent Reservation 
	An existing, confirmed reservation (original, Redirect, Transfer, Resale, etc,)  being modified by a Redirect, Transfer, Resale, etc. 

	Partial Service 
	Transmission Service offered or granted by a Transmission Provider that is for a shorter duration than requested (start-time through stop-time), less capacity than requested, or both.

	Path Participant
	Any of the entities that are part of an Interchange Transaction.

	Per Generator Method
	A methodology used by the IDC to calculate the portion of parallel flows on any Constrained Facility or Flowgate due to NITS customers and service to NL customers for each BA.

	Point-to-Point Transmission Service (PTP) 
	As specified in the Transmission Provider’s tariff, Transmission Service reserved and/or scheduled between specified PORs and PODs.

	Policy Qualifier 
	Policy-dependent information that accompanies a CP Identifier in an X.509 Certificate.

	POST
	An HTTP method that submits data to be processed to an identified resource.

	Postback 
	A variable component of the Transmission Provider’s selected ATC or AFC calculation methodology that positively impacts ATC or AFC based on a change in status of a Transmission Service reservation or use of reserved capacity, or other conditions as specified by the Transmission Provider.

	Posted Path
	Shall mean any control area to control area interconnection; any path for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months; and any path for which a customer requests to have ATC or TTC posted. For this last category, the posting must continue for 180 days and thereafter until 180 days have elapsed from the most recent request for service over the requested path. For purposes of this definition, an hour includes any part of an hour during which service was denied, curtailed or interrupted.

Is control area the appropriate term?????

	Power Plant Operator (PPO) 
	Is the term used to describe the entity(ies) that has responsibility for gas requirements  for a natural gas-fired electric generating facility(ies) and is responsible for coordinating natural gas deliveries with the appropriate Transportation Service Provider(s)  to meet those requirements.  The PPO performs a number of coordinated activities, including, but not limited to, power plant operations, unit dispatch, natural gas procurement and/or gas transportation arrangements.  Because each PPO is structured differently, specific responsibilities within each PPO should be determined by the PPO and the point of contact for the PPO should be communicated to the Transmission Service Provider(s). This definition applies to NAESB Business Practice Standards WEQ-000-2, WEQ-011-1.1, WEQ-011-1.2, WEQ-011-1.3, WEQ-011-1.4, WEQ-011-1.5, and WEQ-011-1.6 and NAESB WGQ Standard Numbers 0.2.2, 0.3.11, 0.3.12, 0.3.13, 0.3.14, and 0.3.15.

Is this appropriate for the electric side of NAESB???

	Power Plant Operator (PPO) Facility 
	Is the term used to describe the natural gas-fired electric generating unit(s) under the direct control of the PPO.  This definition applies to NAESB Business Practice Standards WEQ-011-1.2 and WEQ-011-1.3 and NAESB WGQ Standard Numbers 0.3.12 and 0.3.13.

Is this appropriate for the electric side of NAESB???


	Pseudo-Tie 
	A telemetered reading or value that is updated in real time and used as a “virtual” tie line flow in the AGC/ACE equation but for which no physical tie or energy metering actually exists.  The integrated value is used as a metered MWh value for Interchange accounting purposes.

	Purchasing-Selling Entity (PSE) 
	The entity that purchases or sells, and takes title to, energy, capacity, and Interconnected Operations Services.  PSEs may be Affiliated or Unaffiliated merchants and may or may not own generating facilities.

	Quebec Interconnection
	One of the major electric system networks in North America.

	Query Variables
	A list of query variables with their settings formatted as defined by the HTTP protocol (i.e., OASIS URL encoded separated by ampersands).

	Queue Flooding 
	Excessive submission of Identical Service Requests.

	Queue Hoarding 
	This is the act, intentionally or unintentionally, of not confirming or withdrawing an accepted service request such that it impacts the ability of other willing buyers to secure service in a timely fashion.

	Reallocation 
	The process used to totally or partially curtail Transactions during TLR levels 3a, 3b or 5a events to allow Transactions using equal or higher priority to be implemented.

	Redirect 
	A modification to all or a portion of a transmission reservation to an alternate POR/POD and/or make other changes to the terms of service as permitted.

	Regional Entity 
	1. An entity that ensures that a defined area of the

Bulk Electric System is reliable, adequate and

secure.

2. A member of the NERC. The Regional Entity can

serve as the compliance monitor.

Reword

A NERC recognized entity delegated to carry out NERC’s  compliance enforcement activities per the NERC Compliance Monitoring and Enforcement Program and described in the entity’s Delegation Agreement with NERC.


	Registration Authority (RA) 
	An entity that is responsible for identification and authentication of Certificate subjects, but that does not sign or issue Certificates (i.e., an RA is delegated certain tasks on behalf of a certificate authority).  

	Reliability Coordinator (RC) 
	The entity that is the highest level of authority who is responsible for the reliable operation of the Bulk Electric System, has the wide area view of the Bulk Electric System, and has the operating tools, processes and procedures, including the authority to prevent or mitigate emergency operating situations in both next-day analysis and real-time operations.  The RC has the purview that is broad enough to enable the calculation of IROLs, which may be based on the operating parameters of transmission systems beyond any Transmission Operator’s vision.

	Reliability Coordinator Information System (RCIS) 
	The system that RCs use to post messages and share operating information in real time.

	Relinquish 
	Release of all or a portion of the capacity of a Redirect on a non-firm basis to the firm Parent Reservation.

	Relying Party 
	A recipient of a Certificate who acts in reliance on that Certificate and/or digital signatures verified using that Certificate.  In this document, the terms "certificate user" and "Relying Party" are used interchangeably.

	Repository 
	A database of active digital signatures for a certificate authority system.  certificate authority’s post Certificates and CRLs to Repositories that allows Relying Parties to confirm the status of the digital signatures.

	Request for Interchange (RFI) 
	A collection of required data, as defined in Business Practice Standard WEQ-004-C, necessary for the purpose of submitting to the IA as an Arranged Interchange.

	Requesting Purchasing-Selling Entity (PSE) 
	The entity that prepares and submits the RFI to the IA also referred to as the tag author.

	Resale 
	The request to convey scheduling rights associated with a reservation for PTP from a Reseller to an Assignee.

	Reseller 
	The Transmission Customer that holds PTP rights and offers those rights for sale on the (secondary) transmission market.



	Reserve Sharing Group
	A group whose members consist of two or more BAs that collectively maintain, allocate, and supply operating reserves required for each BA’s use in recovering from contingencies within the group.  Scheduling energy from an adjacent BA to aid recovery need not constitute reserve sharing provided the transaction is ramped in over a period the supplying part could reasonably be expected to load generation in (e.g., ten minutes).  If the transaction is ramped in quicker (i.e.., between zero and ten minutes) then, for the purposes of disturbance control performance, the BAs become a Reserve Sharing Group.

	Secondary Network Transmission Service 
	Transmission Service provided to a network customer to deliver energy to network loads from non-designated resources.

	Section-Based Format 
	Describes the subdivision into sections of a tariff, rate schedule, or service agreement for purposes of a Tariff Filing.

	Seller
	Reseller or Transmission Provider

	Service Request Tiers 
	Relative queue priorities when negotiating Transmission Service.

	Set of Provisions 
	A collection of practice and/or policy statements, spanning a range of standard topics, for use in expressing a Certificate Policy definition or Certificate Practice Statement employing the approach described in this framework.

	Sheet-Based Format 
	Describes the subdivision into sheets of a tariff, rate schedule, or service agreement for purposes of a Tariff Filing.

	Sink Balancing Authority (BA) 
	The BA in which the load (sink) is located for an Interchange Transaction. (This will also be a receiving BA for the resulting Interchange Schedule.)

	Source Balancing Authority (BA) 
	The BA in which the generation (source) is located for an Interchange Transaction.  (This will also be a sending BA for the resulting Interchange Schedule.)

	Standards of Conduct
	The regulations contained in Title 18 CFR Part 358, Standards of Conduct for Transmission Providers.

	Subscriber 
	An authorized individual, application, server, or ‘role’ associated with a registered End Entity that has been issued a Certificate by an Authorized Certification Authority.

	Supplemental Regulation Service 
	A method of providing regulation service in which the BA providing the regulation service receives a signal representing all or a portion of the other BA’s ACE.

	System-Conditions Criteria 
	One or more specific system conditions during which the Transmission Provider is allowed to curtail Transmission Service for reliability reasons at the Conditional Curtailment Priority Level, as specified in the long-term firm PTP agreement which specifies a CCO.

	System Impact Study 
	An assessment by the Transmission Provider of (i) the adequacy of the transmission system to accommodate a request for either firm PTP or NITS and (ii) whether any additional costs may be incurred in order to provide Transmission Service.

	System Impact Study Agreement 
	An agreement to perform a System Impact Study.

	System Operating Limit (SOL) 
	The value (such as MW, MVar, Amperes, frequency or volts) that satisfies the most limiting of the prescribed operating criteria for a specified system configuration to ensure operation within acceptable reliability criteria.  SOL are based upon certain operating criteria.  These include, but are not limited to:

· Facility Rating (applicable pre- and post- contingency equipment or Facility Ratings)

· Transient stability ratings (applicable pre- and post-contingency stability limits)

· Voltage stability ratings (applicable pre- and post-contingency voltage limits)

	Tag
	See e-Tag.

	Tariff Filing 
	A compilation of all document(s), associated data and supporting documents that is required to be filed electronically by a Tariff Submitter pursuant to Title 18 CFR Parts 35, 154, 284, 300, 341 or other parts as required by the FERC.

	Tariff Record 
	The part of a Tariff Filing that consists of the Data Elements that relate to a sheet, section, or entire tariff, rate schedule, or service agreement that is required to be filed with the FERC.

	Tariff Submitter 
	Any entity that is required to submit a Tariff Filing.

	Tie Facility(ies) 
	The transmission facility(ies) interconnecting BAAs.

	Time Error 
	Accumulated time difference between time based on Interconnection frequency and the NIST time.

	Time Error Correction 
	An offset to the Interconnection’s scheduled frequency to return the Interconnection’s Time Error to a predetermined value.

	Transfer 
	Request to convey all rights and obligations associated with a reservation for PTP from a Reseller to an Assignee.  

	Transfer Distribution Factor (TDF) 
	The portion of an Interchange Transaction, expressed in percent that flows across a transmission facility (Flowgate).

	Transmission Customer 
	Any Eligible Transmission Customer (or its designated agent) that can or does execute a service agreement or can or does receive Transmission Service.

	Transmission Loading Relief (TLR) 
	A procedure used in the Eastern Interconnection to relieve potential or actual loading on a Constrained Facility or Flowgate.

	Transmission Operator 
	The entity responsible for the reliability of its “local” transmission system, and that operates or directs the operations of the transmission facilities.

	Transmission Provider
	A utility (or its designated agent) that owns, controls, or operates facilities used for the transmission of electric energy in interstate commerce and provides transmission service. 

	Transmission Purchasing Selling Entity (TPSE)
	Purchasing Selling Entity that holds the transmission rights on a physical path segment referenced in an e-Tag.

	Transmission Service 
	Services needed to move energy from a POR to a POD provided to Transmission Customers by Transmission Service Providers.

	Transmission Service Provider 
	The entity that administers the transmission tariff and provides Transmission Services to qualified market participants under applicable service agreements.

	Transmission Services Information 
	Is transmission and ancillary services information that must be made available by public utilities on a non-discriminatory basis to meet the regulatory requirements of transmission open access.



	Transmission Services Information Provider  (TSIP) 
	Is a Transmission Provider or an agent to whom the Transmission Provider has delegated the responsibility of meeting any of the requirements associated with OASIS. (Consistent with the definition of Responsible Party).



	Transportation Service Provider
	The interstate pipeline or intrastate pipeline that is providing the requested service.

	Unexercised Rollover Rights
	The amount of capacity that is held on a Long-Term Firm Point-to-Point Transmission Service reservation and is eligible for ongoing rollover or renewal of service as established by the Transmission Provider at the time service was granted, less the capacity held on any confirmed service reservations for renewal of those rollover rights for a subsequent term of service, and less any capacity conveyed as an on-going rollover right to a qualifying confirmed Redirect on a firm Basis.

	Western Electric Coordinating Council Network (WECCNet) 
	A messaging system used by the WECC for use by participating utility’s dispatchers and network administrators.

	Western Interconnection 
	One of the major electric system networks in North America.

	Whole Document Format 
	Describes a tariff, rate schedule, or service agreement submitted as a single document within a Tariff Record for purposes of a Tariff Filing.

	WWVB
	WWVB is a NIST time signal radio station near Fort Collins, Colorado, co-located with WWV. WWVB is the station that radio-controlled clocks throughout North America use to synchronize themselves


Updates to Existing Business Practice Standard WEQ-001 through WEQ-014
Conforming changes to the existing NAESB WEQ Business Practice Standards version 002.1 are included as attachments to the main recommendation.  It should be noted that as part of the recommendation conforming changes will need to be made to all recommendations within the approval queue and final actions,  which were not included in NAESB WEQ Business Practice Standards version 002.1

Additionally any new definitions or revised definitions that have been approved since the NAESB WEQ Business Practice Standards version 002.1 were published will be need to be moved to WEQ-000-2.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

In FERC Order 676-C, the commission noted:

8.
In the NOPR, we asked for comment on differences in definitions in a few of the NERC’s and NAESB’s TLR standards.  The comments indicate that NERC and NAESB have formed a subcommittee to ensure that their definitions are complementary in the future.  We are very pleased that NERC and NAESB have taken active steps to ensure that their respective definitions are harmonized so as to ensure that these standards will operate efficiently in the future.

The following line item was added to the 2009 WEQ Annual Plan which was approved by the NAESB Board of Directors on March 26, 2009.

5.b
Modify NAESB definitions to address internal inconsistencies and inconsistencies with the NERC glossary.  Revise existing NAESB glossary/definition of terms to be applicable to entire set of WEQ Business Practices. (http://www.naesb.org/pdf3/weq_ec051308w3.doc)

b.  Description of Recommendation:

The recommendation is intended to address the differences in definitions within the NAESB Business Practices and between the NERC Glossary and the NAESB Definition of Terms. 

c.  Business Purpose:

Address consistency of definitions discussed in FERC Order 676-C.

d. Commentary/Rationale of Subcommittee(s)/Task Force(s):

To the extent possible the differences between the NAESB Business Practices and NERC Standards have been reconciled.  The developers of this recommendation accepted the NERC definitions in most instances.  However, they are a few execptions where the drafters of the recommendation believe that the NAESB definitions are superior to the NERC definitions.  In those instances we would request that NERC modify their definitions to be consistent with the NAESB definitions. 

Supporting Documentation:

· Comparison on NERC/NAESB Definitions.

· Docket No. RM05-5-005 Order No.676-C Standards for Business Practices and Communication Protocols for Public Utilities
· Docket No. RM05-5-005 Standards for Business Practices Communication Protocols for Public Utilities (NOPR)
The subcommittee co-chairs utilized the following logic to develop the recommendation:

· Acronyms

· Acronyms would be listed in only WEQ-000 in section WEQ-000-1 and in WEQ-001.2 along with the defintion if the acronym was also representing a defined term.

· Values for Data Elements were not included in the acronym list.  Values for data elements are documented in WEQ-003 and WEQ-013.

·  If an acronym had more than one meaning in the WEQ Business Practices Standards a decision was made to not use the acronym and these acronyms were documented in WEQ-000-1.1

· If an acronym was only occassionally used rather than the term, in those instances where the acronym was listed it was replaced by the term.

· Acronyms only used in calculations were not included in the acronym list since they were documented with the calculation.

· Definitions

· In addition to the terms listed in each standard, the co-chairs identified all terms that were listed as proper case in the entire set of standards.  Upper case terms were excluded as they referred to data element values.  This became the set of terms that needed to be addressed.

· Existing terms with definitions

· If a term was defined and was not used in any of the standards the term was not added to WEQ-000-2

· If the term had multiple definitions one definition was selected, if the definition was also defined by NERC, to the extent appropriate the NERC definition was used.

· If  the term had only one definitions and also had a NERC definition, to the extent appropriate a NERC definition was used.

· If there were multiple terms which had the same meaning, one term was selected and the other terms were replaced with the selected term throughout the document.

· OASIS standards used terms commonly used in FERC Orders such as Control Area and Transmission Provider to be consistent with FERC.

· Standards tightly coupled with NERC standards such as Transmission Loading Relief used NERC terminology such as Balancing Authority Area and Transmission Service Provider.

· Data Element names were not defined since they are addressed in WEQ-003 and WEQ-014.

· If a term was not defined an attempt was made to define the term, this was done by:

· Reviewing the NERC glossary

· Reviewing FERC Orders

· Reviewing functional specifications

· Reviewing public internet sites

· Soliciting input from JISWG and the WGQ BPS

· Contacting SMEs

· If a term was a NERC term and no longer used by NERC the term was replaced with the current NERC term.  For example Security Coordinator was replaced with Reliability Coordinator.

· If a term could not be defined it was changed from proper to lower case. 

· The following terms were removed from the NAESB glossary. A brief explanation as to why the term were removed is provided.

· Appropriate Regulating Authority – Revised the definition for Commission to remove Appropriate Regulatory Authority.

· Eligible Customer – Replaced with Eligible Transmission Customer

· FERC – Moved to list of acronyms

· Interchange Transaction Tag (Tag) – Decision was made to use the term e-Tag.

· Market Assembly – In latest changes for Coordinate Interchange to support the Electronic Tagging Functional Specification the references to Market Assembly are being removed from the Business Practice Standards.

· NERC – Moved to list of acronyms

· Primary Provider – Decision was made to use only the term Transmission Provider for OASIS related standards and Transmission Service Provider for standards that are tightly coupled with NERC Standards..

· Regions – Replaced with Regional Entity

· Reliability Area – Term was defined but nout used in the Business Practice Standards.

· Reliability Period – Term was defined but not used in the Business Practice Standards

· Responsible Party – Deleted since it is a Data Element name.

· Secondary Provider – decision was made to use only the term “Reseller”

· Secondary Transmission Provider – decision was made to use only the term “Reseller”

· Template – Replaced with “Open Access Same-Time Information System (OASIS) Template”

· Value-Added Transmission Services Information Provider (VTSIP) – the term was defined but not used.

· Wholesale Merchant Function – Term was defined but not used in the Business Practice Standards.

· The definitions were created for terms that were capitalized in the Business Practice Standards for the following terms.  In several instances the terms were defined in the Business Practice Standards.

· Actual Daily Native Peak Load

· Actual Daily System-Wide Peak Load

· Acutal Daily Zonal Load

· Assignment Reference Number

· Business Practice Standards

· Checkout Partner

· Distribution Factor

· Eastern Interconnection

· Electric Reliability Council of Texas (ERCOT) Interconnection

· eTariff Submission Data Dictionary

· eTariff Submission Implementation Guide

· Facility Rating

· Forecasted Daily Native Peak Load

· Forecasted Daily System-Wide Peak Load

· Forecasted Daily Zonal Load

· GET

· Hyper Text Markup Language (HTML) Form

· Interchange Authority (IA) Service

· Internet

· Net Interchange Schedule

· Open Access Same-Time Information System (OASIS) Data Dictionary

· Open Access Same-Time Information System (OASIS) Implementation Guide

· Open Access Same-Time Information System (OASIS) Standards and Communication Protocols (S&CP)

· Open Access Same-Time Information System (OASIS) Template

· Path Participant

· POST

· Posted Path

· Pseudo-Tie

· Quebec Interconnection

· Query Variables

· Regional Entity

· Reserve Sharing Group

· Seller

· Service Request Tiers

· Standards of Conduct

· System Impact Study

· System Impact Study Agreement

· Western Interconnection

· WWWB

· The following terms were capitalized in the Business Practice Standards and either are no longer capitalize (because they were not defined) or have been replaced with other defined term.  Those items which have been replaced with another term are identifed as to the replacement term.

· Access Privledges

· Administrator

· Ancillary Service Type  (note this is a data element)

·  Associated Filing

· Authority Service

· Authorized Certificate Authority

· Certificate Application Procedure

· Certificate Authority

· Certificate Management Procedure

· Certificate Management Program

· Certificate User

· Common Name

· Conditional Curtailment Options Provisions (note only provisions was lower cased)

· Constraint Path

· Daily Firm Service (changed to daily Firm Transmission Service)

· Data Records

· DC Tie

· Dynamic Transfer

· Electronic Control Area (replaced with Control Area)

· Energy Profile

· Energy Title Holder

· FERC Policy (note only Policy was lower cased)

· FERC Regulation (note only Regulation was lower cased)

· Firm - Defined Firm Transmission Service

· Firm Point-to-Point Defined Firm Transmission Service and Point-to-Poin Transmission Servicet

· FORM (replaced with Hyper Text Markup (HTML) Form)

· Host Balancing Authority  - Lower case host 

· Host Control Area - Lower case host

· Input

· Input/Response

· Inadvertent Energy

· Internet Service Provider (note only Service Provider was lower cased)

· Investigation Requestor

· Issuing CA (Note only Issuing was lower cased and CA was spelled out to Control Area)

· Load CA (Note only Load was lower case and CA was spelled out to Control Area)

· Long-Term Firm Point-to-Point Transmission Service

· Market Operator

· Methodology Contact

· Multi-Balancing Authority Energy Market (only lower cased Multi- and Energy Market)

· Next Hour

· Non-Firm Next Hour Market Services – Did not define.  However, did define Non-Firm Transmission Service.

· Non-Firm Point-to-Point Transmission Service – Did define Non-Firm Transmission Service and Point-to-Point Transmission Service  (Non-Firm is an attribute of Point-to-Point Transmission Service)

· Numbers

· Observers

· Organizational

· Open Access Same-Time Information System (OASIS) Users (only lower cased users.)

· Part II (Note removed references to Part II this was pre-FERC Order 890 concepts)

· Part III (Note removed references to Part II this was pre-FERC Order 890 concepts)

· Phase 1A (Note removed references to Part II this was pre-FERC Order 890 concepts)

· Policy Object ID

· Receiving Balancing Authority (Changed to Sink BA)

· Receiving Control Area (Changed to Sink BA

· Redirect on a Firm basis

· Redirect on a Non-Firm basis

· Regional Reliability Organization -  (Changed to Reliability Entity)

· Request for Investigation

· Scheduling Enitity

· Sending Balancing Authority (Changed to Source BA)

· Sending Control Area (Changed to Sending BA)

· Security Coordinator  (Changed to Reliability Coordinator with the exception of code values and data element names)

· Security Officer

· Service Agreement

· Service Level Agreement

· Service Requestor

· Short-Term

· Short-Term Firm Point-to-Point Transmission Service

· State Regulatory Authorities (revised definition of Commission)

· Tag Authority Service Operator

· Temporary Logs

· Transient Stability Ratings

· Tranmission Customer Confirmation Time Limit (note only lower cased Confirmation Time Limit)

· Transmission Service Agreement

· Transmission System Information Networks (replaced with Electric Industry Registry)

· FORM (replaced with Hyper Text Markup (HTML) Form)

· Transmission Service Provider Counter Time Limit (Lower cased Counter Time Limit)

· Transmission Service Provider Evaluation Time Limit(Lower cased Evaluation Time Limit)

· Transmission Service Provider Loss Table (References a specific table in the Business Practice standards so no definition was developed)

· Transmission Service Provider Product (Lower cased Product)

· Same-Day

· Unscheduled Flow Reduction Procedure

· User

· User Interface

· Voltage Stability Ratings

· Want-ad (Lower cased when not referencing a value for a data element

1
August 18, 2009

Page 1

