REVIEW OF NERC PROJECT 2006-9

Standard FAC-008-2 — Facility Ratings
I have reviewed the progress of NERC Project 2006-9 to modify the Standard FAC-008 Facility Ratings.  The modified Standard FAC-008-2 was posted for ballot from 10/27/08 – 11/05/08 and later for recirculation ballot from 12/10/08 – 12/19/08. The Standard did not pass.

The latest version of the Standard does require Generator Owners and Transmission Owners to develop methodology for developing Facility Ratings (R1 and R2).  The Standard also requires to make these methodologies available for review by Reliability Coordinators, Transmission Operators, Transmission Planners, and Planning Coordinators that have responsibility for the area in which the associated facilities are located (R3).  The Standard does not require posting these methodologies on OASIS or any other location.  For transparency purposes, it may be useful to post these methodologies on a Public Web site such as OASIS.  
SRS should consider if there is merit in developing a Business Practice Standard for posting methodologies for developing Facility Ratings on a Public Web site.  If agreed it can be included in the current Annual Plan.   The timing to develop this standard can be linked with the finalization of NERC Standard.
Latest version of NERC Standard can be viewed at : http://www.nerc.com/docs/standards/sar/FAC-008-2_clean_20081208.pdf
Narinder K. Saini
