NAESB Standards Review Subcommittee

Analysis of NERC Project 2008-13: Normal Operations Planning,

Orlando Utilities Commission Request for Interpretation

January 26, 2009

Purpose

The purpose of this analysis is to identify those items contained in NERC Project 2008-13: Normal Operations Planning, Orlando Utilities Commission Request for Interpretation of TOP-002-02, which may present an opportunity for NAESB to develop parallel and complementary business practices.

Request for Interpretation

The Orlando Utilities Commission (OUC) requested an interpretation of TOP-002-02, requirement 11, which states;

Requirement R11: The Transmission Operator shall perform seasonal, next-day, and current day

Bulk Electric System studies to determine SOLs. Neighboring Transmission Operators shall utilize identical SOLs for common facilities. The Transmission Operator shall update these Bulk Electric System studies as necessary to reflect current system conditions; and shall make the results of Bulk Electric System studies available to the Transmission Operators, Balancing Authorities (subject to confidentiality requirements), and to its Reliability Coordinator.

The OUC’s questions were;

1. Is the Transmission Operator required to conduct a “unique” study for each operating day, even when the actual or expected system conditions are identical to other days already studied? In other words, can a study be used for more than one day?

2. Are there specific actions required to implement a “study”? In other words, what constitutes a study?

3. Does the term, “to determine SOLs” as used in the first sentence of Requirement R11 mean the “determination of system operating limits” or does it mean the “identification of potential SOL violations?”

NERC Interpretation

NERCs’ responses to the OUC’s questions were;

Question 1: Requirement R11 mandates that each Transmission Operator review (i.e., study) the state of its Transmission Operator area both in advance of each day and during each day. Each day must have “a” study that can be applied to it, but it is not necessary to generate a “unique” study for each day. Therefore, it is acceptable for a Transmission Operator to use a particular study for more than one day.

Question 2: The requirement does not mandate a particular type of review or study. The review or study may be based on complex computer studies or a manual reasonability review of previously existing study results. The requirement is designed to ensure the Transmission Operator maintains sensitivity to what is happening or what is about to happen.

Question 3: TOP-002-2 covers real-time and near-real-time studies. Requirement R11 is meant to include both determining new limits and identifying potential “exceedances” of pre-defined SOLs. If system conditions indicate to the Transmission Operator that prior studies and SOLs may be outdated, TOP-002-2 mandates the Transmission Operator to conduct a study to identify SOLs for the new conditions. If the Transmission Operator determines that system conditions do not warrant a new study, the primary purpose of the review is to check that the previously defined (i.e., defined from the current SOLs in use, or the set defined by the planners) SOLs are not expected to be exceeded. As written, the standard provides the Transmission Operator discretion regarding when to look for new SOLs and when to rely on its current set of SOLs.

SRS Analysis

The elements of the NERC interpretation of TOP-002-02, Requirement 11 were reviewed for potential NAESB input and development, based on the Standard Review Subcommittee’s mandate to review NERC standards, communication protocols, practices and annual plans for impacts on commercial activity and business standards.

The topic of this particular Request for Interpretation is specific to real-time and near real-time system reliability systems, and has no current or future potential impact on commercial activity or current NAESB business standards.

SRS Recommendation

Based on the SRS’ analysis, the subcommittee recommends no further action be taken on NERC Project 2008-13: Normal Operations Planning, Orlando Utilities Commission Request for Interpretation.

Respectfully Submitted,

Patrick Brown

Manager, NERC & Regional Coordination

PJM Interconnection

1

