[image: image1.emf]Potential candidate standards for a 

proof of concept demonstration project 

0%

5%

10%

15%

20%

25%

30%

PRC-005

FAC-008/009

PRC-001

PRC-003/004 IRO-005 FAC-003 VAR-002 PER-002 CIP-001 BAL-003 BAL-005

PRC-018

BAL-002 IRO 004 IRO-001

COM-002

BAL-001 CIP-002 EOP-004

MOD-010/012 MOD-030 PRC-016

TPL-001


Attachment 4bii


Project Prioritization Recommendation for Projects to Complete in 2010
Standards Committee January 13-14, 2010 Meeting Agenda


aboProject Prioritization Recommendation for Projects to Complete in 2010
An ad hoc group consisting of representatives from the industry, NERC Standards Committee, NERC staff, and regional staffs was formed in 2009 for the purpose of developing recommendations pertaining to the development of results-based reliability standards. The ad hoc group drafted a guiding set of results-based reliability standard principles and incorporated them into a report titled Proposal to Develop Results-Based Reliability Standards (found in attachment 2 of this recommendation). The ad hoc group’s report was submitted to the NERC Board of Trustees (BOT) for consideration during their November 4, 2009 meeting. The BOT accepted the report and directed the ad hoc group to perform additional work.

During their November 4 meeting the Board directed the ad hoc group to develop an implementation plan for the recommendations included in the Proposal to Develop Results-Based Reliability Standards. They also requested the ad hoc group to report back at the February meeting of the BOT as to the progress in developing an implementation plan and to provide the completed implementation plan at the May meeting of the BOT.
To comply with the Board’s request the ad hoc group identified candidate projects for a proof-of-concept demonstration for the results-based reliability standards initiative. The ad hoc group’s report Results-based Reliability Standards Proof of Concept Demonstration Candidates (attachment 1 to this recommendation) identifies a list of candidate projects to be used as the proof-of-concept demonstration for results-based reliability standards:
1. Project 2007-07 Transmission Vegetation Management:
· FAC-003-1 — Transmission Vegetation Management Program

2. Project 2009-06 Facility Ratings:
· FAC-008-1 — Facility Ratings Methodology

· FAC-009-1 — Establish and Communicate Facility Ratings
3. Project 2007-17 Protection System Maintenance and Testing:
· PRC–005-1 — Transmission and Generation Protection System Maintenance and Testing

· PRC–008-0 — Underfrequency Load Shedding Equipment Maintenance Programs

· PRC–011-0 — UVLS System Maintenance and Testing

· PRC–017-0 — Special Protection System Maintenance and Testing

4. Project 2006-06 Reliability Coordination:
· COM-001-1 — Telecommunications

· COM-002-2 — Communications and Coordination

· IRO-001-1 — Reliability Coordination — Responsibilities and Authorities

· IRO-002-1 — Reliability Coordination — Facilities

· IRO-005-2 — Reliability Coordination — Current-Day Operations

· IRO-014-1 — Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators

· IRO-015-1 — Notifications and Information Exchange Between Reliability Coordinators

· IRO-016-1 — Coordination of Real-time Activities Between Reliability Coordinators

NERC staff concurs with the ad hoc’s recommendation with the following exception: Project 2009-06 Facility Ratings should be removed from consideration. The standards associated with this project were posted for pre-ballot review through January 12, 2010 with the initial ballot scheduled to start on January 13, 2010. The concepts addressed in this project are very complex and have been very controversial while under development. As this project is very near completion and has been very controversial to date, NERC staff would like to see the project finished as is and not be included in the list of projects to be used for the results-based initiative. The results-based criteria can be applied to FAC-008-1 — Facility Ratings Methodology and FAC-009-1 — Establish and Communicate Facility Ratings at a later date.
NERC staff proposes that Project 2007-07 Transmission Vegetation Management be used as the proof-of concept demonstration project and that the ad hoc group work with the standard drafting team (SDT) for Project 2007-07 Transmission Vegetation Management to transform FAC-003-1 — Transmission Vegetation Management Program using the results-based reliability standard criteria developed by the ad hoc group. It is further proposed that an expedited schedule be developed for this project such that the industry ballot for FAC-003-2 — Transmission Vegetation Management Program be completed by August 31, 2010. It is envisioned that this expedited schedule will require deviating from the normal standards development process in ways similar to what the SDT is doing for Project 2008-06 Cyber Security Order 706 (i.e., using informal comment periods, using one 45-day formal comment period in parallel with the initial 10-day ballot, etc).
NERC staff further recommends that the following projects be identified as high priority projects and the SDTs associated with these projects be directed to expedite their projects as needed and incorporate the results-based reliability standard criteria into the standards associated with the project with a goal to have the standards complete ballot by year-end 2010 (in order of priority):
· Project 2007-17 Protection System Maintenance and Testing
· Project 2006-06 Reliability Coordination
· Project 2007-06 System Protection Coordination
· Project 2007-01 Underfrequency Load Shedding
· Project 2007-02 Operating Personnel Communications Protocols
· Project 2007-03 Real-time Transmission Operations
· Project 2006-08 Transmission Loading Relief
As with Project 2007-07 above, it is envisioned that the expedited schedules for these projects may require deviating from the normal standards development process (i.e., using informal comment periods, using one 45-day formal comment period in parallel with the initial 10-day ballot, etc).

In summary, with the understanding that Project 2008-06 Cyber Security Order 706 has already been designated as a high priority project for 2010, NERC staff recommends the following list be accepted as the list of high priority projects for 2010 (listed in order of priority):
1) Project 2008-06 Cyber Security Order 706

· CIP–002–2 — Critical Cyber Asset Identification

· CIP–003–2 — Security Management Controls

· CIP–004–2 — Personnel and Training

· CIP–005–2 — Electronic Security Perimeter(s)

· CIP–006-2a — Cyber Security — Physical Security

· CIP–007–2 — Systems Security Management

· CIP–008–2 — Incident Reporting and Response Planning

· CIP–009–2 — Recovery Plans for Critical Cyber Assets

2) Project 2007-07 Transmission Vegetation Management

· FAC-003-2 — Transmission Vegetation Management Program
3) Project 2007-17 Protection System Maintenance and Testing
· PRC–005-1 — Transmission and Generation Protection System Maintenance and Testing

· PRC–008-0 — Underfrequency Load Shedding Equipment Maintenance Programs

· PRC–011-0 — UVLS System Maintenance and Testing

· PRC–017-0 — Special Protection System Maintenance and Testing

4) Project 2006-06 Reliability Coordination
· COM-001-1 — Telecommunications

· COM-002-2 — Communications and Coordination

· IRO-001-1 — Reliability Coordination — Responsibilities and Authorities

· IRO-002-1 — Reliability Coordination — Facilities

· IRO-005-2 — Reliability Coordination — Current-Day Operations

· IRO-014-1 — Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators

· IRO-015-1 — Notifications and Information Exchange Between Reliability Coordinators

· IRO-016-1 — Coordination of Real-time Activities Between Reliability Coordinators

5) Project 2007-06 System Protection Coordination
· PRC-001-1 — System Protection Coordination
6) Project 2007-01 Underfrequency Load Shedding
· PRC-006-0 — Development and Documentation of Regional UFLS Programs

· PRC-007-0 — Assuring Consistency with Regional UFLS Program Requirements

· PRC-009-0 — UFLS Performance Following an Underfrequency Event

7) Project 2007-02 Operating Personnel Communications Protocols
· COM-003-1 — Operating Personnel Communications Protocols
8) Project 2007-03 Real-time Transmission Operations
· PER-001-0 — Operating Personnel Responsibility and Authority

· TOP-001-1 — Reliability Responsibilities and Authorities

· TOP-002-2 — Normal Operations Planning

· TOP-003-0 — Planned Outage Coordination

· TOP-004-1 — Transmission Operations

· TOP-004-2 — Transmission Operations

· TOP-005-1 — Operational Reliability Information

· TOP-006-1 — Monitoring System Conditions

· TOP-007-0 — Reporting SOL and IROL Violations

· TOP-008-1 — Response to Transmission Limit Violations

9) Project 2006-08 Transmission Loading Relief
· IRO-006-3 — Reliability Coordination — Transmission Loading Relief

· IRO-006-4 — Reliability Coordination — Transmission Loading Relief

Recommendation 1
NERC staff recommends that Project 2007-07 Transmission Vegetation Management be used as the proof-of concept demonstration project for the results-based reliability standards initiative. Staff further recommends that the ad hoc group work with the standard drafting team (SDT) for Project 2007-07 Transmission Vegetation Management to transform FAC-003-1 — Transmission Vegetation Management Program using the results-based reliability standard criteria developed by the ad hoc group. 
Additionally, staff recommends the SDT develop an expedited schedule for this project such that the industry ballot for FAC-003-2 — Transmission Vegetation Management Program be completed by August 31, 2010. It is envisioned that this expedited schedule will require deviating from the normal standards development process in ways similar to what the SDT is doing for Project 2008-06 Cyber Security Order 706 (i.e., using informal comment periods, using one 45-day formal comment period in parallel with the initial 10-day ballot, etc).
Recommendation 2
NERC staff recommends that the following projects be identified as high priority projects for 2010 and that the SDTs associated with these projects be directed to expedite their projects and incorporate the results-based reliability standard criteria into the standards associated with the projects with a goal to have the standards complete ballot by year-end 2010 (in order of priority):

· Project 2007-17 Protection System Maintenance and Testing
· Project 2006-06 Reliability Coordination
· Project 2007-06 System Protection Coordination
· Project 2007-01 Underfrequency Load Shedding
· Project 2007-02 Operating Personnel Communications Protocols
· Project 2007-03 Real-time Transmission Operations
· Project 2006-08 Transmission Loading Relief
As with recommendation 1 above, it is envisioned that the expedited schedules associated with these projects may require deviating from the normal standards development process (i.e., using informal comment periods, using one 45-day formal comment period in parallel with the initial 10-day ballot, etc).
Attachment 1
Results-based Reliability Standards Proof of Concept Demonstration Candidates

Issue:  A sub-team of the ad hoc group of industry participants established for developing a plan for implementing Project 20010-06 Results-based Reliability Standards (as defined in the Reliability Standards Development Plan: 2010-2012) has been tasked with recommending a set of reliability standards for a near-term proof of concept demonstration of results-based standards.

Purpose:  Results-based quality attributes ensure that NERC Reliability Standards have the greatest possible positive effect on the reliability of the bulk power system while:

· Striving to achieve a portfolio of performance, risk, and competency-based mandatory reliability requirements that provide an effective defense-in-depth strategy for achieving an adequate level of reliability of the bulk power system.

· Identifying a clear and measurable expected outcome, such as: i) a stated level of reliability performance, ii) a reduction in a specified reliability risk, or iii) a necessary competency.

· Being structured in the form of who, under what conditions (if any), shall perform what action, to achieve what particular result or outcome (that reduces a stated risk to the reliability of the bulk power system).
Procedure:  

Step 1 - Develop a short list of potential demonstration standards with a perceived high value return for the effort expended – seek input from persons experienced in implementing the existing set of NERC Board of Trustee approved reliability standards. 

Actions -

A survey with the following question was sent to industry participants with a broad base of NERC Standards experience. 
“Which FERC-approved NERC reliability standards do you feel should be revised in the immediate future because the resulting effort would have the highest potential for improvement in terms of impact to reliability of the bulk electric system (BES).  Please provide a prioritized list (with “1” being the highest priority).”
There were 21 respondents to the brief survey.  These respondents represented various registered entities subject to the standards, ERO auditors, standards committee members, and contract personnel who provide professional services with respect to entity compliance programs.

A total of 23 individual NERC Reliability Standards in 11 standards categories were identified as potential candidate standards for a proof of concept demonstration project which portrayed a fairly diverse target set.  However, to assist in analyzing the results, standards ranked a #1 priority in each response were assigned three points.  Those ranked as a #2 priority were assigned two points and those ranked as a #3 priority were assigned one point.  The following chart displays the results in terms of the percentage of the total weighted points each standard received. 
[image: image10.emf]The most effective way to measure this requirement is:

Evaluating 

capabilities, such 

as tools, systems, 

training records, 

etc.

7%

Evaluating bulk 

power system 

performance, 

data, or results.

3%

Evaluating a 

product or result 

(can be written 

such as a 

restoration 

procedure).

23%

Evaluating 

performance of an 

activity or a 

record/log of that 

activity.

23%

Can only be 

measured through 

documentation.

44%


Step 2 – Summarize the results of the survey responses received and highlight the pros and cons for a near-term proof of concept demonstration considering:  1) reliability impact; 2) violation frequency; 3) political importance; and 4) ability to get entire redraft done in 2010.

Summary -

(1) PRC-005 - Transmission and Generation Protection System Maintenance and Testing

· The requirements of this standard on average have a high impact to reliability
· Violations of this standard have been cited 102 times to date
· Rated by the survey as the #1 standard that could benefit from results-based quality attributes
· Project 2007-17 Protection System Maintenance and Testing has a drafting team in place and a current estimated completion date of Q4 2010
· Current draft standard is a major improvement to the current enforceable standard but may need some significant changes to comport with the results-based standard criteria
· Project 2007-17 Protection System Maintenance and Testing includes the following standards, modifications to which would all need to be coordinated simultaneously:
· PRC–005-1 — Transmission and Generation Protection System Maintenance and Testing

· PRC–008-0 — Underfrequency Load Shedding Equipment Maintenance Programs

· PRC–011-0 — UVLS System Maintenance and Testing

· PRC–017-0 — Special Protection System Maintenance and Testing

(2) FAC-008 - Facility Ratings Methodology & FAC-009 - Establish and Communicate Facility Ratings

· The requirements of these two standards on average have a high impact to reliability
· Violations of these standards have been cited 86 times to date
· Rated by the survey as the #2 standard area that could benefit from results-based quality attributes
· Project 2009-06 Facility Ratings has a drafting team in place
· FAC-008-2 Facility Ratings is currently posted for pre-ballot review through January 12, 2010 with the initial ballot schedule to commence January 13
· Over the course of Project 2009-06:  Facility Ratings the Standard Drafting Team has had difficulty striking a balance between the directives contained in FERC Order No. 693 and gaining industry consensus
· There is the possibility within the standards development process to pull this draft standard from ballot and take the opportunity and time to develop this standards area using results-based quality attributes
· Project 2009-06 Facility Ratings includes the following standards, both of which need coordinated simultaneously:
· FAC-008-1 — Facility Ratings Methodology

· FAC-009-1 — Establish and Communicate Facility Ratings

(3) PRC-001 System Protection Coordination
· The requirements of this standard on average have a high impact to reliability
· Violations of this standard has been cited six times to date
· Tied with PRC-003/004 for the #3 standards area that could benefit from results-based quality attributes

· Project 2007-06 System Protection Coordination has a drafting team in place and a current estimated completion date of Q4 2010
· The standard drafting team for Project 2007-06 System Protection Coordination has held a couple discussions with FERC staff that indicate more work might be needed before this standard can be balloted.  The risk associated with the additional work might cause an adverse impact to the schedule and therefore, would preclude this standard from being used for the proof of concept demonstration.

· Project 2007-06 System Protection Coordination includes the following standard:
· PRC-001-1 — System Protection Coordination 

(4) PRC-003 Regional Procedure for Analysis of Misoperations of Transmission and Generation Protection Systems & PRC-004 Analysis and Mitigation of Transmission and Generation Protection System Misoperations.
· The requirements of this standard on average have a high impact to reliability
· Violations of these standards have been cited six times to date
· Tied with PRC-001 for the #3 standards area that could benefit from results-based quality attributes

· Project 2010-05 Protection Systems is identified in the Board-approved Reliability Standards Development Plan: 2010-2012 to be initiated in 2010.  As such, a drafting team is not in place yet
· Since the project for these standards will not be initiated until sometime in 2010, the sub-team of the ad hoc group suggests that PRC-003 and PRC-004 are not good candidates to use for the proof of concept demonstration to assess the Results-Based Reliability Standard project
 (5) IRO-005 Reliability Coordination — Current Day Operations
· The requirements of this standard on average have a high impact to reliability
· Violations of this standards has been cited two times to date
· Tied with FAC-003 as the #4 standard that could benefit from results-based quality attributes
· Project 2006-06 Reliability Coordination has a drafting team in place and a current estimated completion date of Q3 2010
· Project 2006-06 Reliability Coordination includes the following standards, modifications to which would all need to be coordinated simultaneously:
· COM-001-1 — Telecommunications

· COM-002-2 — Communications and Coordination

· IRO-001-1 — Reliability Coordination — Responsibilities and Authorities

· IRO-002-1 — Reliability Coordination — Facilities

· IRO-005-2 — Reliability Coordination — Current-Day Operations

· IRO-014-1 — Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators

· IRO-015-1 — Notifications and Information Exchange Between Reliability Coordinators

· IRO-016-1 — Coordination of Real-time Activities Between Reliability Coordinators

(6) FAC-003 Transmission Vegetation Management Program

· The requirements of this standard on average have a high impact to reliability
· Violations of these standards have been cited 24 times to date
· Tied with IRO-005 for the #4 standards area that could benefit from results-based quality attributes

· Project 2007-07 Transmission Vegetation Management has a drafting team in place and a current estimated completion date of Q4 2010
· Project 2007-07 Transmission Vegetation Management includes the following standard:
· FAC-003-1 — Transmission Vegetation Management Program

Beyond the projects identified above, convergence on consensus of priority of standard development projects to pursue falls off considerably.
Step 3 – Compare the survey results in step 2 above with the work of the sub-team validating the reliability standard requirements scorecard developed earlier in the overall project.  Of the projects identified above, those with the poorest scorecard ratings should be considered of higher priority relative to the other projects.

Results -
Input from the scorecard effort evaluating the requirements of the top standards identified from the survey resulted in the following ranking:

[image: image2.emf]Normalized Standard Score for Top 12 Standards

24.67

22.62

21.14

21.00 21.00

20.27

20.00

18.00

17.33

16.00

14.46

14.00

13.11

0.00

5.00

10.00

15.00

20.00

25.00

30.00

FAC-003-1 FAC-008-1 PRC-003-1 PER-002-0 PRC-005-1

VAR-002-1.1a

CIP-001-1 FAC-009-1

BAL-003-0.1b

PRC-004-1

IRO-005-2

PRC-001-1

IRO-005-3


On a scale of 1 to 30, the underlying requirements of these existing standards have the greatest deviation from quality attributes of results-based standards and thus a standard with a higher score would potentially benefit more from the proof of concept relative to one with a lower score.  The scores have been normalized to allow comparison.

Step 4 – Finalize list.

In summary, four current standards development projects are potential candidates to use for the proof of concept demonstration to assess the Results-Based Reliability Standard project.  These four standard development projects are ranked and recommended in the following order of precedence.

1. Project 2007-07 Transmission Vegetation Management:
· FAC-003-1 — Transmission Vegetation Management Program
2. Project 2009-06 Facility Ratings:
· FAC-008-1 — Facility Ratings Methodology

· FAC-009-1 — Establish and Communicate Facility Ratings
3. Project 2007-17 Protection System Maintenance and Testing:
· PRC–005-1 — Transmission and Generation Protection System Maintenance and Testing

· PRC–008-0 — Underfrequency Load Shedding Equipment Maintenance Programs

· PRC–011-0 — UVLS System Maintenance and Testing

· PRC–017-0 — Special Protection System Maintenance and Testing
4. Project 2006-06 Reliability Coordination:
· COM-001-1 — Telecommunications

· COM-002-2 — Communications and Coordination

· IRO-001-1 — Reliability Coordination — Responsibilities and Authorities

· IRO-002-1 — Reliability Coordination — Facilities

· IRO-005-2 — Reliability Coordination — Current-Day Operations

· IRO-014-1 — Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators

· IRO-015-1 — Notifications and Information Exchange Between Reliability Coordinators

· IRO-016-1 — Coordination of Real-time Activities Between Reliability Coordinators

Additional stakeholder perspectives considered on the proposed standards:

	PRC-005

	It is the most violated standard and requires an inordinate amount of paperwork.  

	PRC-005 version 2 drafting is out of control in the detail of the draft standard.  It can be turned around to meet the quality attributes of a results-based standard before posting again.  It is the reported second-most violated standard (102 times) and the second-highest penalized ($387,000 total penalty amount) standard according to the published NOP.  

	This standard is recommended since lack of maintenance and testing of Protection Systems can have detrimental impact on BES reliability, lead to BES equipment damage and safety concerns.  The present standard is one of the most heavily violated standards yet without evidence of real reliability issues resulting.  This brings into question if appropriate performance expectations are being placed on industry.  We propose the starting point be the draft PRC-005-2 that is presently under development.   

	Transmission and Generation Protection System Maintenance and Testing is the most violated NERC Reliability Standard for the period of 11/01/08 through 10/31/09.  The purpose of this reliability standard is to ensure all transmission and generation Protection Systems affecting the reliability of the Bulk Electric System (BES) are maintained and tested.  Without the appropriate maintenance and testing procedures in place, safeguarding the BES is not plausible.  Due to the direct impact to the BES, this Reliability Standard needs clarification and would benefit from the concept demonstration of performance-based standards.  

	Highest number of violations, plus confusion to which equipment is covered by the standard and which equipment is excluded.  

	Utilities are found out of compliance with this standard more often than most other standards.  Greater clarity may result in fewer fines.  In addition, maintenance and testing requirements for current transformers, potential transformer, and the control circuits add confusions.  In many cases CTs and other instruments are buried in generation housings, power transformer, and switchgear where detailed observation and testing pose significant challenges that may result in issues that adversely impact equipment availability.   

	PRC-005 - this is a standard currently under revision - based on the interpretation for this standard, we know that the standard needs clarity 

	This standard has gathered a lot public attention and hence, is the political hot potato.  While I do not believe the standard needs a lot of new rewriting, some will help it.


	FAC-008/009

	It is one of the most violated standard and in my opinion contributes nothing to reliability of the BES by including generators in the applicability.  I am also not convinced that it does anything for consistency in the calculation of ATC.  

	FAC-008 and 009 if taken together are the third most violated (86 times) and third highest penalized ($241,500).  

	FAC-008-1 - Should be coupled with FAC-009-1 to make it a complete ratings methodology standard.  Entities maybe be using the most limiting machine rating but do not have a specified methodology to show compliance.  

	Some companies may overlook that equipment listed in R1.2.1 shall each be addressed using the considerations listed in R1.3.

	FAC-008-009, since facility ratings are the foundation of planning and operation for a bulk electric system.

	Facility Ratings Methodology is the fifth most violated NERC Reliability Standard for the period of 11/01/08 through 10/31/09.  The purpose of this reliability standard is to ensure that Facility Ratings used in the reliable planning and operation of the Bulk Electric System (BES) are determined based on an established methodology or methodologies.  Without the appropriate and accurate facility ratings methodology and ensuing facility ratings, the resulting planning and operation of the BES is not possible.  Due to the direct impact to the BES, this reliability standard needs clarification and would benefit from the concept demonstration of performance-based standards.


	PRC-003/004

	PRC-004 - relay misoperations have a very high potential to create a cascading event: 

	In the 2009 Long-Term Reliability Assessment report, the figure Trend 2 (on page 357) indicates that protection system misoperations are increasing substantially each year (2006 less than 10%, 2007 less than 40%, & in 2008 greater than 50%) and looking at Figure Trends 1 (page 356), they appear to be causing disturbance events of categories 2 and 3.  PRC-004 & PRC-003 would address these misoperations and hopefully corrective action plans could be implemented to resolve the current trend.  

	Even though the QRSAWs identify the type of equipment, emphasis should be considered in including the definition of “protection system” as defined in the NERC Glossary of Terms in the standard (bullet point, bold print, etc).  Many entities still miss the point here.


	PRC-001

	The consequences of this standard's impact on the bulk electric system are significant and yet I am hearing reports back from auditors working on many different company records that about problems with relays in the field that are not being captured by the existing standard on this topic.  

	PRC-001 - Coordination of settings is a very vague area and needs further clarification.

	PRC-001 There are Generator Operators who have been indoctrinated to give first priority to the facilities they operate, and as a result, they do not understand the consequences of the degraded relay on the reliability of the power system.

	PRC-001-1 - System Protection Coordination--the criticality of system protection to the reliable operation of the Bulk Power System can only be ensured through the coordination of information between entities.


	FAC-003

	Does not cover momentary contact outages which can be a precursor to larger and more significant contact outages.

	Not clear that vegetation contact and outage is a violation.  Need to establish a requirement to address.

	Has had a high profile and would benefit from a results-oriented review.

	Vegetation maintenance is an important preventative risk management standard to ensure reliable operation of the BES and one of the most heavily violated standards.  Again, are appropriate risk management expectations being placed on industry?  We propose the starting point be the draft FAC-003-2 that is presently under development.  Utilizing the drafting team’s work will also make use of supporting guideline documents, envisioned by the Results-Based initiation, that are in development for each of those projects.


	IRO-005

	To maintain real-time continuity of service, real-time operations must be addressed.


Comments on remaining candidate standards:

	VAR-002
	It allows the TO/TOP to provide the generator a reactive schedule but requires the Generator to maintain the AVR in the auto voltage mode.

	BAL-002
	Critical for reliability of the BES.

	BAL-003
	This is a standard that has an impact on frequency and has had several requests for interpretation.

	CIP-001 
	Sabotage Reporting is the third most violated NERC Reliability Standard for the period of 11/01/08 through 10/31/09.  The purpose of this reliability standard is to report disturbances or unusual occurrences, suspected or determined to be caused by sabotage to the appropriate systems, governmental agencies, and regulatory bodies.  The non-report of a suspected or determined sabotage event could have a major impact to the BES.  Due to the direct impact to the BES, this reliability standard needs clarification and would benefit from the concept demonstration of performance-based standards.

	IRO 004
	Clarify what information is needed for system studies.  

	IRO-001
	IRO-001/TOP-001 - Understanding what a directive is and following directives is critical to maintain BES stability.  Coordination of real time activities fits into this as well.

	CIP-002
	This standard may be a good compliment to round out the results-based proof of concept effort.  The CIP-002 is a very high profile standard being afforded leeway for expedited standard development.  It is important that this standard be written in a manner that supports the results-based initiative and that the industry demonstrates it can deliver a quality product in a timely manner.  Including this project will deliver an example proof of concept well before year-end 2010.

	COM-002
	Existence and maintenance of communication facilities is required to have an effective means of transmitting critical generation information and directives.

	EOP-004
	Disturbance event reporting is a major source of confusion and frustration in the industry right now.  Event analysis and lessons-learned are fundamental to lowering the "risk curve", a clear and consistent reporting threshold is needed for reporting of system events.  Data shows that the vast majority of events analyses as well as CIQ/CVIs, originate from system event reports.  Alleged violations of EOP-004 have only been enforced four times with no penalties assessed.

	MOD-010/012
	Clarify generator testing requirements and specifically what generators need to be tested within plants that have multiple generators.  A number of the MOD standards refer back to the RRO for details; however, RROs do not have approved criteria to provide guidance.

	PRC-016
	Version 0 standard lacks critical detail for ensuring continued future reliability of BES.

	TPL-001
	Correctly planning the performance of system would also resolve this trend; that is why I suggest the TPL-001-1.


Attachment 2
Proposal to Develop Results-Based Reliability Standards

October 16, 2009

Background

[image: image3.emf]This requirement is:

Capability-based 

(provides 

necessary 

capability).

6%

Risk-based 

(reduces risk).

23%

Performance-based 

(specifies a bulk 

power system 

outcome).

6%

Prescriptive 

(explains how to).

45%

Administrative 

(requires only 

documenting/repor

ting something).

20%

In Attachment 2 of the ERO Three-Year Assessment, stakeholders recommend that the industry should “focus existing reliability standards and reliability standards development on areas that will lead to the greatest improvement in bulk power system reliability.”  Stakeholder suggestions include: (i) focus the development of new reliability standards on those that will lead to the greatest improvement in reliability; i.e., address the greatest risks of wide-area cascading outages; (ii) reduce the number of existing reliability standards to just those that have a critical impact on reliability of the bulk power system and convert the remaining reliability standards to guidelines; and (iii) develop a more systematic process for prioritizing new reliability standards development projects based on risks to the bulk power system.
Beyond the strain of the standards development work itself, the first two years of experience with mandatory reliability standards tell us that the number and quality of standards have a profound downstream impact on the level of effort required to implement effective, comprehensive compliance programs (Figure 1).  Many entities believe they are diverting resources to documenting compliance with administrative or prescriptive requirements when these resources would be better invested in verifying compliance with requirements having a more direct impact on the reliability of the bulk power system.

In its three-year assessment as the ERO, NERC acknowledged these stakeholder comments and committed to resolving the issues by: i) addressing quality issues to ensure each reliability standard has a clear statement of purpose, and has outcome-focused requirements that are clear and measurable; and ii) eliminating requirements that do not have an impact on bulk power system reliability.
[image: image4.emf]The reliability objective (or risk mitigation) achieved 

by this requirement is

No reliability 

benefit is provided 

by the requirement.

6%

A bulk power 

system result that is 

clear in the 

requirement.

6%

A risk mitigation 

objective that is 

clear in the 

requirement.

14%

Is implied but not 

explicitly stated in 

the requirement.

48%

Is unclear.

26%


Purpose and Description of Ad Hoc Initiative

This report describes the results of an initiative by an ad hoc group representing industry and NERC and regional staffs (see the roster of the ad hoc group in Exhibit A).  The purpose of the initiative is to develop recommendations to ensure that NERC’s reliability standards can have the greatest possible positive effect on the reliability of the bulk power system. 

The group’s report outlines a guiding set of principles based on performance and risk-based methods and presents specific recommendations for improving the development and format of reliability standards.  Most of these recommendations can be adopted without revising NERC’s Reliability Standards Development Procedure or other rules of procedure – they deal simply with improving the style and quality of the performance requirements themselves.  However, a few proposed changes to the format of a reliability standard would require regulatory approvals.
The ad hoc group has been proactive in seeking industry input on the recommendations and the feedback has been positive.  The concepts were presented to the NERC standing committees on September 15, 2009, in a standards development plan webinar on September 17, and in a NERC standards workshop on October 15.  The concepts have also been reviewed in several regional forums.

The activities undertaken by the ad hoc group in developing this report are summarized as follows (see Exhibit B for a more detailed outline of the project milestones):

· Document a design philosophy for developing performance requirements that are focused on reliability outcomes.

· Develop criteria to test the effectiveness of reliability requirements using a ‘scorecard’ approach.

· Using the scorecard, evaluate the existing board-approved performance requirements to prepare a gap analysis.

· Develop guidelines, tools, and examples for drafting teams to use in developing results-based requirements.

· Propose modifications to improve the reliability standards template.

· Communicate with and seek inputs from reliability stakeholders.

· Deliver the project results to the Standards Committee for implementation.

It should be noted that, at the time of the project, substantial improvements to reliability standards were already underway.  The guidelines and recommendations from this report should be adopted into ongoing standards development projects, preserving and building upon the many improvements that were already underway with existing drafting teams.
Overview of Performance-Based Methods

Performance-based methods have been applied for several decades in the development of standards and in personnel training.  Performance-based methods were recognized and widely used as early as the 1970’s in the U.S. military.  Today they are widely used as the basis for systematic approaches to training and standards-setting in various industries worldwide.  For example, the U.S. nuclear industry has extensive experience in applying performance-based methods in its rulemakings and inspections and has achieved admirable improvements in nuclear performance and safety.  Some uses of performance-based methods include:
· U.S. military procedures, training, and standards (over 4 decades)

· Systematic approach to training design (over 4 decades)

· Nuclear regulations, guidelines, procedures, and training (over 3 decades)

· American Society of Mechanical Engineers standards development
In its simplest form, a performance-based standard has four components: who, under what conditions (if any), shall perform what action, to achieve what particular result or outcome?

As applied to the bulk power system, a performance-based standard should define a particular reliability objective or outcome to be achieved.  Ideally, this outcome should be observable and measurable on the bulk power system.  If the standard is met, there should be an observable effect on the reliability of the bulk power system, i.e. an effect that can be measured using power system data or trends.  Good examples of such requirements are the Control Performance Standard (CPS) and Disturbance Control Standard that have long been part of the NERC reliability policy.  These requirements set specific performance outcomes for the bulk power system, they have a technical basis in reliable interconnected operations, and they are readily measurable and reportable.

Bulk power system performance-based standards can be beneficial because they focus requirements on achieving a specific reliability outcome.  The purpose and benefit is clear because the reliable outcome itself is what is being directly measured.  Performance-based standards can also establish a bright line of expected reliability performance, thus guiding entities to take actions to avoid approaching or exceeding these bulk power system performance criteria.  Additionally, a performance-based standard does not prescribe how a particular outcome is to be achieved and therefore allows for innovation and efficiency.
Effective methods for measuring outcomes of performance-based reliability standards include:
· Evaluate bulk power system performance data, reportable periodically or by sampling.

· Evaluate bulk power system performance data, post event.

· System testing and simulation.
Risk-Based Methods – Necessary When Failure Consequences Are High

One challenge of using a purely performance-based approach, however, is that the reliability of the bulk power system is so critical to the public interest and safety that standards based solely on reliable outcomes are not sufficient.  In other words, it is insufficient to have standards that simply say ‘avoid cascading failures’.  The analogy in airline safety would be a performance-based requirement to avoid plane crashes.  The cost of failure is too high to rely solely on enforcing compliance after such a failure.  Like airline safety, bulk power system reliability requires additional, preventive requirements to reduce the risks of failure to acceptable tolerance levels.
Using a similar model as the performance-based approach, a risk-based reliability standard should be framed as: who, under what conditions (if any), shall perform what action, to achieve what particular result or outcome that reduces a stated risk to the reliability of the bulk power system?
Unlike a performance-based requirement, however, a risk-based requirement is unlikely to be directly measurable on the bulk power system itself, since risks represent possible but not actual outcomes.  The measures are more likely to be determined by evaluating a particular product or outcome resulting from the required actions, or by monitoring performance of the entity.  Examples of risk-based requirements in the current standards include requirements to maintain and test relays, perform vegetation management in right of ways, and operate within defined system operating limits.  There is an assumption that if the observed results satisfy the stated risk objective, then risk has been mitigated as desired.  Sample methods for measuring risk-based reliability standards include:
· Evaluate records/logs of performance.

· Observe defined risk targets/deliverables were achieved

· Interview personnel regarding performance.

· Observe bulk power system performance trends

Independent of monitoring conformance to the risk-based standards themselves, monitoring overall bulk power system performance over time to see if the standards are effective will help to correlate the risk-based standards more directly to system performance.  NERC’s current initiative to develop bulk power system reliability metrics is a key enabler for measuring the impact of risk-based reliability standards over time.

Capability-Based Requirements

A third type of requirement that is useful in reliability standards is a capability requirement.  Such a requirement defines a minimum set of capabilities an entity needs to have to demonstrate it is able to perform its designated reliability functions.  This might include tools, communications, control systems, analysis capabilities, back up capabilities, etc.  Another way to think about these requirements is that they would serve as the basis for certifying an entity or attesting that the entity has the capability to plan and operate a reliable bulk power system.  Once again, it is key that the capability that is expected be one that is defined to be measurable and demonstrable.  Examples of possible measures include:
· Observe/test tools, functionality, communications, other capabilities.

· Evaluate documentation of capabilities.

· Interview personnel regarding capabilities.

Blended Approach for Reliability Standards 

To achieve an adequate level of reliability, a blended approach using all three types of requirements described above is needed.  The premier category of requirements within the standards should be those that directly establish a measurable reliability outcome on the bulk power system.  Satisfactory achievement of the requirement results in a reliable bulk power system and the result is measurable.  Avoiding cascading failures, loss of firm load, and other attributes, as defined in an adequate level of reliability, should serve as the basis for these requirements.  Outcome based standards that are measurable through bulk power system reliability performance should shape the foundation of the reliability standards, should be utilized to the maximum extent possible, and are preferred relative to the other kinds of requirements.
Recognizing the need to not only perform reliably, but also to minimize risks leading to unreliable performance, a second category of risk-based requirements is necessary.  These risk-based requirements should establish minimum ‘reliable outcomes’ necessary to provide a reliable bulk power system.  These outcomes result from actions taken by an organization to minimize the risk of adverse impacts to the bulk power system.  Examples include coordinating relay settings or maintaining and testing relays.  To be effective, these requirements should be stated such that there is a clear definition of the reliability objective being achieved and the outcomes must be measurable.  Preferably, the risk mitigation objective or outcome is explicitly stated within the requirement itself, to make it clearer how success will be measured.

Finally, the third type of requirement used in effective standards should be capability or competency-based requirements.  These ensure the entity is equipped, qualified, and prepared to plan or operate a reliable bulk power system and to effectively manage and respond to risks associated with reliable operation.

A good foundation for developing results-based standards is NERC’s definition of “Adequate Level of Reliability”, which was filed with the Federal Energy Regulatory Commission and applicable Canadian government authorities on May 5, 2008.  A results-based reliability requirement should withstand the test of meeting at least one of the six goals of an Adequate Level of Reliability.  If it is determined that there are gaps between the definition of an adequate level of reliability and existing performance-based standards, then a concerted effort should be made to define additional performance-based requirements to ensure each attribute of a reliable bulk power system is addressed to the extent such outcomes can be defined and measured.
Other Types of Requirements to Be Minimized

Another type of requirement that is common in the NERC standards is a prescriptive requirement, which defines how a particular action should be performed.  To the extent possible, prescriptive requirements should be minimized.  Prescriptive requirements within reliability standards inhibit innovation and alternative solutions to solve a problem.  Instead, the performance expectation should be set in a requirement that defines a performance outcome.  Procedures on how to perform an action, unless it is essential that the actions be performed in a common manner to preserve reliability, should be moved to supporting references or guides.

Another common type of requirement is a requirement to document something.  It is much preferred to state a performance outcome or a risk to be mitigated and relegate the need to document something to the measures used to demonstrate compliance.  A distinction should be made here that producing a document containing specific content necessary for reliability, such as a system restoration procedure, can be an effective requirement used to minimize risk.  However, documentation that does not stand on its own as a result necessary for reliability should not be made into a requirement.  Such documentation requirements should either be eliminated or moved to an administrative, informational section of the standards.  An example of a weak requirement is “the Responsible Entity shall document the implementation of security patches”.  The requirement that directly contributes to a risk reduction outcome is to implement applicable cyber security patches.  Documentation of the implementation is simply a vehicle for demonstrating compliance.

Finally, reliability standards should not prescribe commercial business practices which do not contribute directly to reliability.
Defense-in-Depth Strategy
Reliability standards should not be viewed as a body of unrelated requirements, but rather should be viewed as part of a portfolio of requirements designed to achieve an overall defense-in-depth strategy.  Modern history tells us that major accidents and catastrophic failures, regardless of the industry, are the result of multiple underlying causes, each of which could have been prevented but was allowed to exist.  All that is missing is the triggering event and major failure is set in motion.  A defense-in-depth strategy for reliability standards should recognize that each requirement in the NERC standards, like the blocks in the walls in Figure 2, has a role in preventing system failures, and that these roles are complementary and reinforcing.  These prevention measures should be arranged in defensive layers or walls, as depicted in the figure.  No single defensive layer provides complete protection from failure by itself, as suggested by the irregular shapes of the walls and the holes in each wall.  But taken together, with well-designed layers including competency-based, risk-based, and performance-based requirements, a defense-in-depth approach can be very effective in preventing future large scale power system failures.

[image: image5.emf]The most effective way to measure this requirement is:

Evaluating 

capabilities, such 

as tools, systems, 

training records, 

etc.

7%

Evaluating bulk 

power system 

performance, 

data, or results.

3%

Evaluating a 

product or result 

(can be written 

such as a 

restoration 

procedure).

23%

Evaluating 

performance of an 

activity or a 

record/log of that 

activity.

23%

Can only be 

measured through 

documentation.

44%


Figure 2 – Defense in Depth Strategy for Reliability Requirements

Risk Management Approach to Standards Development

On a longer-term basis as risk-based approaches mature at NERC, there will be an opportunity to apply NERC’s bulk power system reliability metrics and lessons learned from event analyses to determining risk management objectives that feed into reliability standards.  This concept is shown in Figure 3.

System events, performance trends, and compliance results are analyzed to determine causal relationships that can then be formulated into risk mitigation strategies to guide development of mandatory requirements as well as lessons learned, voluntary guides, and best practices.  Of particular importance in this conceptual framework are the ‘small signal’ events that occur all the time on the system.  Multiple element outages caused by relay misoperation or human error are but two examples of minor events that can be used to develop strategies for avoiding larger events.  Corrective actions determined from analyzing small events can have a profound impact on preventing larger events.  This conceptual framework also allows for consideration of new threats that may arise from time to time.

[image: image6.jpg]NERC

NORTH AMERICAN ELECTRIC
RELIABILITY CORPORATION





Figure 3 – Risk-Based Approach to Standards Development

Scorecard for Evaluation of Effectiveness of Reliability Requirements

The ad hoc team used the results-based concepts outlined above and developed a scorecard to evaluate the existing NERC reliability requirements based.  The scorecard used the following questions:

Table 1 – Evaluation Criteria in Scorecard Tool

	Question
	Possible Responses

	1. This requirement is:
	Performance-based (specifies a bulk power system outcome).

	2. 
	Risk-based (reduces risk).

	3. 
	Capability-based (provides necessary capability).

	4. 
	Prescriptive (explains how to).

	5. 
	Administrative (requires only documenting/reporting something).

	6. The reliability objective (or risk mitigation) achieved by this requirement is:
	A bulk power system result that is clear in the requirement. 

	7. 
	A risk mitigation objective that is clear in the requirement.

	8. 
	Is implied but not explicitly stated in the requirement.

	9. 
	Is unclear.

	10. 
	No reliability benefit is provided by the requirement.

	11. The most effective way to measure this requirement is:
	Evaluating bulk power system performance, data, or results.

	12. 
	Evaluating a product or result (can be written such as a restoration procedure).

	13. 
	Evaluating performance of an activity or a record/log of that activity.

	14. 
	Evaluating capabilities, such as tools, systems, training records, etc.

	15. 
	Can only be measured through documentation.

	16. This requirement addresses the following goals associated with an adequate level of reliability (select all that apply):
	The bulk power system is controlled to stay within acceptable limits during normal conditions.

	17. 
	The bulk power system performs acceptably after credible contingencies.

	18. 
	The bulk power system limits the impact and scope of instability and cascading outages when they occur.

	19. 
	Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

	20. 
	The bulk power system’s integrity can be restored promptly if it is lost.

	21. 
	The bulk power system has the ability to supply the aggregate electric power and energy requirements of electricity consumers at all times, taking into account scheduled and reasonably expected unscheduled outages of system components.

	22. The time horizon to which this requirement applies is:
	Real-time or current hour

	23. 
	Same-day

	24. 
	Operations planning: day-ahead up to one year

	25. 
	Planning: one year and longer


These questions were incorporated into an electronic spreadsheet tool and all existing board-approved North American reliability standards were loaded into the tool.  Members of the ad hoc team then conducted assessments of the existing requirements and recorded their responses.  Regional standards approved by the board were excluded from the analysis, and when the board had approved multiple versions of a standard, only the most recent version was used.

It should be noted that there was no attempt to assess current drafts of standards still in the hands of drafting teams.  It would be expected that the results from those requirements would be substantially improved, as concerted efforts have been underway to improve the quality and effectiveness of the standards.

One useful byproduct of this work is that the scorecard tool itself can be made available in the future for drafting teams to perform their own self-assessments of proposed requirements and the tool could be used to seek industry input on the potential effectiveness of each proposed requirement in the standards by including the questions above in the public comment forms.

Analysis Results

The team analyzed 1360 unique reliability requirements that had been approved by the board.  The results are summarized at a high level in the charts that follow.

The first chart in Figure 4 summarizes the categories of existing reliability requirements.  The chart indicates that 45% of existing requirements are deemed to be prescriptive and 20% are deemed by the reviewers to by administrative.  That leaves a total of 35% that are performance-based (6%), risk-based (23%), or competency-based (6%).

Although it should be expected that there will be a portfolio of requirement types, there certainly appears to be a significant opportunity to shift a substantial number of prescriptive and documentation-only requirements to informational guides or to rework these requirements to state explicit performance or risk-based outcomes.

[image: image7.wmf]

Figure 5 – Summary of Types of Existing Requirements

Figure 6 shows how the existing requirements are rated with respect to the clarity of the reliability objective within the requirement itself.  It should be noted that stating a reliability objective within a requirement was not previously expected of drafting teams, as it was thought that the purpose statement of the standard would be sufficient.  However, as indicated in this report, a results-based approach would lend preference toward stating an explicit reliability objective or outcome in the requirement itself.  For 32% of the existing requirements there either does not appear to be a reliability objective (6%) or the objective is not clear from reading the requirement (26%).  For 48% of the requirements there is an implied reliability objective that is reasonably understood, but not explicitly stated.  Finally, 20% of the requirements appear to provide an explicit bulk power system performance objective (6%) or an explicit risk mitigation objective (14%).

This distribution could once again be improved in future revisions of these requirements to ensure each reliability objective is clearly stated within the requirement, or by removing requirements that are verified to not provide a reliability benefit.

[image: image8.emf]This requirement is:

Capability-based 

(provides 

necessary 

capability).

6%

Risk-based 

(reduces risk).

23%

Performance-based 

(specifies a bulk 

power system 

outcome).

6%

Prescriptive 

(explains how to).

45%

Administrative 

(requires only 

documenting/repor

ting something).

20%


Figure 6 – Summary of Clarity of Reliability Objectives in Existing Requirements

The next chart in Figure 7 reinforces the conclusions from the first two charts.  Of the 1360 existing board-approved requirements, 44% are judged to be best measured by documentation only.  Evaluating a product or result accounts for 23% of the requirements and evaluating performance of an activity record or log accounts for another 23%.  Evaluating capabilities or competencies is the best method for measuring compliance with 7% of the requirements and 3% are best measured by looking at bulk power system data.

[image: image9.emf]The reliability objective (or risk mitigation) achieved 

by this requirement is

No reliability 

benefit is provided 

by the requirement.

6%

A bulk power 

system result that is 

clear in the 

requirement.

6%

A risk mitigation 

objective that is 

clear in the 

requirement.

14%

Is implied but not 

explicitly stated in 

the requirement.

48%

Is unclear.

26%


Figure 7 – Effective Measures for Existing Requirements

The team also evaluated correlations between the scorecard questions and verified that the requirements that are deemed to be performance-based or risk-based also score much better with respect to having clear reliability objectives stated within the requirement (74% of the performance and risk-based requirements had clearly articulated reliability objectives compared to 20% of the entire population of requirements).  Nearly all (99%) of performance-based and risk-based requirements were also determined to be most effectively measured using methods other than documentation-only.

The team performed similar analyses on each topical cluster of standards, such as BAL, COM, FAC, etc.  These results will be made available to the various drafting teams for consideration.

The team performed dozens of other cross-relational tests on the requirements and the results are consistent with the main conclusions described above.  The most powerful outcome of this analysis is not the specific ratings from this exercise, but establishment of a tool for drafting teams and industry to better understand and rate the effectiveness of performance requirements using the results-based methods described in this report.
Role of the Standards Committee

On October 7, 2009, the NERC Standards Committee endorsed the concepts presented in this report and indicated its commitment to reinforce these principles and recommendations in the standards development program and guidance provided to the drafting teams.  The Standards Committee has provided guidance in the past that drafting teams should focus on developing performance requirements with clearer reliability objectives.  However, historically the Standards Committee has interpreted its role as guardian of the ANSI-accredited process and not the quality of the standards themselves.  The NERC Rules of Procedure 302.3, 302.4, and 302.5, however, respectively state that:

Each reliability standard shall state one or more performance requirements, which if achieved by the applicable entities, will provide for a reliable bulk power system, consistent with good utility practices and the public interest.  Each requirement is not a “lowest common denominator” compromise, but instead achieves an objective that is the best approach for bulk power system reliability, taking account of the costs and benefits of implementing the proposal.

Each performance requirement shall be stated so as to be objectively measurable by a third party with knowledge or expertise in the area addressed by that requirement. Each performance requirement shall have one or more associated measures used to objectively evaluate compliance with the requirement. If performance can be practically measured quantitatively, metrics shall be provided to determine satisfactory performance.

Each reliability standard shall be based upon sound engineering and operating judgment, analysis, or experience, as determined by expert practitioners in that particular field.

These statements, along with the other Essential Attributes of Technically Excellent Reliability Standards, suggest that the oversight provided by the Standards Committee does include oversight of the quality aspects of standards.  The ad hoc team believes that the quality of NERC reliability standards will improve over time if the scope of the Standards Committee is expanded to include the responsibility for ensuring the standards meet the essential quality attributes established by the Rules of Procedure.  This oversight role should be further guided by the results-based principles outlined in this report.  In exercising this responsibility, it would be important for the Standards Committee to focus on quality attributes, without prejudice regarding the specific content of each standard.
Recommendations

Based on the research and analysis conducted in the development of this report, the ad hoc team offers the following recommendations for consideration in the development of NERC reliability standards going forward.  These recommendations should be implemented through the ANSI-accredited standards development process under the oversight of the Standards Committee:

1. Strive to achieve a portfolio of performance, risk, and competency-based mandatory reliability requirements that provide an effective defense-in-depth strategy for achieving adequate reliability of the bulk power system.

2. Each performance requirement in the standards should identify a clear and measurable expected outcome, such as: i) a stated level of reliability performance, ii) a reduction in a specified reliability risk, or iii) a necessary competency.

3. Each performance requirement in the standards should be structured in the form of who, under what conditions (if any), shall perform what action, to achieve what particular result or outcome (that reduces a stated risk to the reliability of the bulk power system).
4. Provide instructions, training, and job aids to drafting teams to reinforce the results-based approach and structuring of requirements in this manner.

5. Provide the evaluation tool and criteria developed in this project to drafting teams and encourage use of the four questions outlined in Exhibit D throughout the drafting and commenting process.
6. Strive to minimize prescriptive, administrative (document something), and commercial requirements within the reliability standards.
7. Reduce the number of sub-requirements by incorporating essential components into the main body of the requirement statement for the purpose of reducing the compliance administration burden of numerous separate sub-requirements.
8. Provide increased focus in describing the applicability of each requirement by identifying not only the specific functional entities, but also any specific assets and conditions to which the requirement should apply to achieve the necessary reliability objective.
9. Provide active participation of compliance personnel in the development of standards to ensure performance requirements can be effectively measured in the field.

10. Evaluate the current three-year standards development plan and adjust priorities going forward to achieve the most reliability benefit using the principles outlined in this report.

11. Modify the standard template to distinguish elements that are mandatory for registered entities from elements that are informational or used to administer compliance (a sample template for a reliability standard is provided in Exhibit C).

a. Mandatory and enforceable sections of the standard should include: i) applicability, ii) performance requirements, iii) measures, and iv) data/record retention (plus any regional variations if applicable).

b. Informational sections for the administration and application of the standards should include: i) compliance administration information, ii) procedures, and iii) guidelines or supporting information.
12. Revise the Standards Committee charter to clearly indicate that the committee is responsible not only for the integrity of the standards process, but also the essential quality attributes of the reliability standards in accordance with the ERO Rules of Procedure, as guided by the results-based principles outlined in this report, and without prejudice regarding the specific content of each standard.
13. In the longer-term, NERC should develop a robust standards information management system based on relational database methods.
Exhibit A – Ad Hoc Group on Results-Based Reliability Standards

Gerry Adamski, NERC

Terry Bilke*, Midwest ISO
Gerry Cauley, SERC Reliability Corporation
Carter Edge, SERC Reliability Corporation
C Hajovski, RRI Energy

Pete Heidrich, Florida Reliability Coordinating Council
Pat Huntley, SERC Reliability Corporation
Ben Li*, Consultant – (formerly IESO)
Allen Mosher*, American Public Power Association
Eric Rollison, NERC

Steve Rueckert*, Western Electricity Coordinating Council
Dave Taylor, NERC

* Members of NERC Standards Committee
Exhibit B – Ad Hoc Project Summary

The following is a list of project milestones and target dates:

	Milestone/Deliverable
	Due Date
	Status

	Kickoff meeting and discussion of scope and participation.
	8/7/09
	Completed

	Develop startup work plan.
	8/14/09
	Completed

	Distribute prior documents on related efforts to improve standards.
	8/14/09
	Completed

	Evaluate alternatives and draft a written design philosophy for reliability standards.
	8/21/09
	Completed

	Develop criteria/attributes for review of existing standards.
	8/21/09
	Completed

	Develop “scorecard” based on criteria above and evaluate each existing requirement based on these criteria.
	9/11/09
	Completed

	Perform gap analysis of existing standards compared to criteria.
	9/30/09
	Completed

	Communicate to stakeholders

Standards Committee conference call
Standing committees joint presentation

Standards three-year plan webinar
Standards Committee presentation

Standards workshop

WIRAB
	9/3/09

9/15/09

9/17/09
10/7/09

10/15/09

10/20/09
	Completed
Completed
Completed

Completed

Completed

	Develop improved construct/format of a reliability standard, including supporting documents; reference SCPS’s prior effort.
	9/30/09
	Completed

	Develop several examples of model performance-based standards focused on reliability objectives.
	10/16/09
	Completed

	Develop a roadmap and high-level work plan for implementing modified approach to standards development.
	10/16/09
	Completed

	Present to NERC Standards Committee for endorsement
	10/7/09
	Completed

	Present report to NERC MRC and board.
	11/4/09
	

	Sunset ad hoc group and transition ownership to Standards Committee.
	12/3/09
	


Exhibit C – Proposed Revised Template for a Reliability Standard

Mandatory and Enforceable Sections of Standard

A. Introduction

1. Title
2. Number
3. Purpose
4. Effective Date
B. Requirements
1. R1
2. R2
C. Measures
1. M1
2. M2
D. Records Retention
Informational Sections of the Standard

E. Application Information

1. Application Guidelines

2. Procedures

F. Compliance Information

1. Compliance Monitoring Process

2. Levels of Non-Compliance

3. Additional Compliance Information
Exhibit D – Questionnaire for Evaluating Effectiveness of Performance Requirements
	Question
	Possible Responses

	1. This requirement is:
	Performance-based (specifies a bulk power system outcome).

	2. 
	Risk-based (reduces risk).

	3. 
	Capability-based (provides necessary capability).

	4. 
	Prescriptive (explains how to).

	5. 
	Administrative (requires only documenting/reporting something).

	6. The reliability objective (or risk mitigation) achieved by this requirement is:
	A bulk power system result that is clear in the requirement. 

	7. 
	A risk mitigation objective that is clear in the requirement.

	8. 
	Is implied but not explicitly stated in the requirement.

	9. 
	Is unclear.

	10. 
	No reliability benefit is provided by the requirement.

	11. The most effective way to measure this requirement is:
	Evaluating bulk power system performance, data, or results.

	12. 
	Evaluating a product or result (can be written such as a restoration procedure).

	13. 
	Evaluating performance of an activity or a record/log of that activity.

	14. 
	Evaluating capabilities, such as tools, systems, training records, etc.

	15. 
	Can only be measured through documentation.

	16. This requirement addresses the following goals associated with an adequate level of reliability (select all that apply):
	The bulk power system is controlled to stay within acceptable limits during normal conditions.

	17. 
	The bulk power system performs acceptably after credible contingencies.

	18. 
	The bulk power system limits the impact and scope of instability and cascading outages when they occur.

	19. 
	Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

	20. 
	The bulk power system’s integrity can be restored promptly if it is lost.

	21. 
	The bulk power system has the ability to supply the aggregate electric power and energy requirements of electricity consumers at all times, taking into account scheduled and reasonably expected unscheduled outages of system components.








NERC/RE


Compliance





Industry


Compliance





Standards





Not to scale





Figure 1 – Impact of Standards on Compliance

































































































































































































































































































































































Competency-Based


Requirements





Risk-Based


Requirements





Performance-Based


Requirements





Failure


Avoided





Tools


Communications


Personnel Qualifications


Security





Maintenance


Testing


Modeling


Simulation


Analysis


Vegetation Management





Bulk Power System


Measures




















Events


Near misses


Trends


Compliance results





Causal analysis


Risk assessment





Risk Strategies





Mandatory


Requirements





Standards


Development





System


Performance





New


Threats





Risk Mitigation


Objectives





Guides


References





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���








_1317286991.xls
RawData

		Standard		Req		Text of Requirement		This requirement is:		The reliability objective (or risk mitigation) achieved by this requirement is:		The most effective way to measure this requirement is:		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...		The time horizon to which this requirement applies is:

		BAL-001-0.1a		R1.		Each Balancing Authority shall operate such that, on a rolling 12-month basis, the average of the clock-minute averages of the Balancing Authority’s Area Control Error (ACE) divided by 10B (B is the clock-minute average of the Balancing Authority Area’s Frequency Bias) times the corresponding clock-minute averages of the Interconnection’s Frequency Error is less than a specific limit.  This limit  is a constant derived from a targeted frequency bound (separately calculated for each Interconnection) that is reviewed and set as necessary by the NERC Operating Committee. See Standard for Formula.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES				YES		Real-time or current hour

		BAL-001-0.1a		R2.		Each Balancing Authority shall operate such that its average ACE for at least 90% of clock-ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10. See Standard for Formula.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES				YES		Real-time or current hour

		BAL-001-0.1a		R3.		Each Balancing Authority providing Overlap Regulation Service shall evaluate Requirement R1 (i.e., Control Performance Standard 1 or CPS1) and Requirement R2 (i.e., Control Performance Standard 2 or CPS2) using the characteristics of the combined ACE and combined Frequency Bias Settings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-001-0.1a		R4.		Any Balancing Authority receiving Overlap Regulation Service shall not have its control performance evaluated (i.e. from a control performance perspective, the Balancing Authority has shifted all control requirements to the Balancing Authority providing Overlap Regulation Service).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-002-0		R1.		Each Balancing Authority shall have access to and/or operate Contingency Reserve to respond to Disturbances.  Contingency Reserve may be supplied from generation, controllable load resources, or coordinated adjustments to Interchange Schedules.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.				YES								YES		Real-time or current hour

		BAL-002-0		R1.1.		A Balancing Authority may elect to fulfill its Contingency Reserve obligations by participating as a member of a Reserve Sharing Group.  In such cases, the Reserve Sharing Group shall have the same responsibilities and obligations as each Balancing Authority with respect to monitoring and meeting the requirements of Standard BAL-002.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.		Each Regional Reliability Organization, sub-Regional Reliability Organization or Reserve Sharing Group shall specify its Contingency Reserve policies, including:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.1.		The minimum reserve requirement for the group.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.2.		Its allocation among members.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.3.		The permissible mix of Operating Reserve – Spinning and Operating Reserve – Supplemental that may be included in Contingency Reserve.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.4.		The procedure for applying Contingency Reserve in practice.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Real-time or current hour

		BAL-002-0		R2.5.		The limitations, if any, upon the amount of interruptible load that may be included.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.6.		The same portion of resource capacity (e.g., reserves from jointly owned generation) shall not be counted more than once as Contingency Reserve by multiple Balancing Authorities.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R3.		Each Balancing Authority or Reserve Sharing Group shall activate sufficient Contingency Reserve to comply with the DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		BAL-002-0		R3.1.		As a minimum, the Balancing Authority or Reserve Sharing Group shall carry at least enough Contingency Reserve to cover the most severe single contingency.  All Balancing Authorities and Reserve Sharing Groups shall review, no less frequently than annually, their probable contingencies to determine their prospective most severe single contingencies.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES										YES		Real-time or current hour

		BAL-002-0		R4.		A Balancing Authority or Reserve Sharing Group shall meet the Disturbance Recovery Criterion within the Disturbance Recovery Period for 100% of Reportable Disturbances.  The Disturbance Recovery Criterion is:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R4.1.		A Balancing Authority shall return its ACE to zero if its ACE just prior to the Reportable Disturbance was positive or equal to zero.  For negative initial ACE values just prior to the Disturbance, the Balancing Authority shall return ACE to its pre-Disturbance value.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R4.2.		The default Disturbance Recovery Period is 15 minutes after the start of a Reportable Disturbance.  This period may be adjusted to better suit the needs of an Interconnection based on analysis approved by the NERC Operating Committee.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES										YES		Real-time or current hour

		BAL-002-0		R5.		Each Reserve Sharing Group shall comply with the DCS.  A Reserve Sharing Group shall be considered in a Reportable Disturbance condition whenever a group member has experienced a Reportable Disturbance and calls for the activation of Contingency Reserves from one or more other group members.  (If a group member has experienced a Reportable Disturbance but does not call for reserve activation from other members of the Reserve Sharing Group, then that member shall report as a single Balancing Authority.)  Compliance may be demonstrated by either of the following two methods:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES										Real-time or current hour

		BAL-002-0		R5.1.		The Reserve Sharing Group reviews group ACE (or equivalent) and demonstrates compliance to the DCS.  To be in compliance, the group ACE (or its equivalent) must meet the Disturbance Recovery Criterion after the schedule change(s) related to reserve sharing have been fully implemented, and within the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-002-0		R5.2.		The Reserve Sharing Group reviews each member’s ACE in response to the activation of reserves.  To be in compliance, a member’s ACE (or its equivalent) must meet the Disturbance Recovery Criterion after the schedule change(s) related to reserve sharing have been fully implemented, and within the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-002-0		R6.		A Balancing Authority or Reserve Sharing Group shall fully restore its Contingency Reserves within the Contingency Reserve Restoration Period for its Interconnection.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R6.1.		The Contingency Reserve Restoration Period begins at the end of the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		BAL-002-0		R6.2.		The default Contingency Reserve Restoration Period is 90 minutes.  This period may be adjusted to better suit the reliability targets of the Interconnection based on analysis approved by the NERC Operating Committee.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-003-0		R4.2.		The Balancing Authorities that have a fixed schedule (B and C) but do not contain the Jointly Owned Unit shall not include their share of the governor droop response in their Frequency Bias Setting. See Standard for Graphic.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		BAL-003-0.1b		R1.		Each Balancing Authority shall review its Frequency Bias Settings by January 1 of each year and recalculate its setting to reflect any change in the Frequency Response of the Balancing Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES						YES				Operations planning: day-ahead up to one year

		BAL-003-0.1b		R1.1.		The Balancing Authority may change its Frequency Bias Setting, and the method used to determine the setting, whenever any of the factors used to determine the current bias value change.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.		Each Balancing Authority shall establish and maintain a Frequency Bias Setting that is as close as practical to, or greater than, the Balancing Authority’s Frequency Response.  Frequency Bias may be calculated several ways:		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.1.		The Balancing Authority may use a fixed Frequency Bias value which is based on a fixed, straight-line function of Tie Line deviation versus Frequency Deviation.  The Balancing Authority shall determine the fixed value by observing and averaging the Frequency Response for several Disturbances during on-peak hours.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.2.		The Balancing Authority may use a variable (linear or non-linear) bias value, which is based on a variable function of Tie Line deviation to Frequency Deviation.  The Balancing Authority shall determine the variable frequency bias value by analyzing Frequency Response as it varies with factors such as load, generation, governor characteristics, and frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R3.		Each Balancing Authority shall operate its Automatic Generation Control (AGC) on Tie Line Frequency Bias, unless such operation is adverse to system or Interconnection reliability.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		BAL-003-0.1b		R4.		Balancing Authorities that use Dynamic Scheduling or Pseudo-ties for jointly owned units shall reflect their respective share of the unit governor droop response in their respective Frequency Bias Setting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R4.1.		Fixed schedules for Jointly Owned Units mandate that Balancing Authority (A) that contains the Jointly Owned Unit must incorporate the respective share of the unit governor droop response for any Balancing Authorities that have fixed schedules (B and C).  See the diagram below. See Standard for Graphic.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R5.		Balancing Authorities that serve native load shall have a monthly average Frequency Bias Setting that is at least 1% of the Balancing Authority’s estimated yearly peak demand per 0.1 Hz change.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R5.1.		Balancing Authorities that do not serve native load shall have a monthly average Frequency Bias Setting that is at least 1% of its estimated maximum generation level in the coming year per 0.1 Hz change.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R6.		A Balancing Authority that is performing Overlap Regulation Service shall increase its Frequency Bias Setting to match the frequency response of the entire area being controlled.  A Balancing Authority shall not change its Frequency Bias Setting when performing Supplemental Regulation Service.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-004-1		R1.		Only a Reliability Coordinator shall be eligible to act as Interconnection Time Monitor.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-004-1		R2.		Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following methods:		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-004-1		R2.1.		The Balancing Authority shall offset its frequency schedule by 0.02 Hertz, leaving the Frequency Bias Setting normal; or		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R2.2.		The Balancing Authority shall offset its Net Interchange Schedule (MW) by an amount equal to the computed bias contribution during a 0.02 Hertz Frequency Deviation (i.e., 20% of the Frequency Bias Setting).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R3.		Any Reliability Coordinator in an Interconnection shall have the authority to request the Interconnection Time Monitor to terminate a Time Error Correction in progress, or a scheduled Time Error Correction that has not begun, for reliability considerations.		Capability-based (provides necessary capability).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R3.1.		Balancing Authorities that have reliability concerns with the execution of a Time Error Correction shall notify their Reliability Coordinator and request the termination of a Time Error Correction in progress.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R1.		All generation, transmission, and load operating within an Interconnection must be included within the metered boundaries of a Balancing Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.1.		Each Generator Operator with generation facilities operating in an Interconnection shall ensure that those generation facilities are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.2.		Each Transmission Operator with transmission facilities operating in an Interconnection shall ensure that those transmission facilities are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.3.		Each Load-Serving Entity with load operating in an Interconnection shall ensure that those loads are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R10.		The Balancing Authority shall include all Dynamic Schedules in the calculation of Net Scheduled Interchange for the ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R11.		Balancing Authorities shall include the effect of ramp rates, which shall be identical and agreed to between affected Balancing Authorities, in the Scheduled Interchange values to calculate ACE.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R12.		Each Balancing Authority shall include all Tie Line flows with Adjacent Balancing Authority Areas in the ACE calculation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R12.1.		Balancing Authorities that share a tie shall ensure Tie Line MW metering is telemetered to both control centers, and emanates from a common, agreed-upon source using common primary metering equipment.  Balancing Authorities shall ensure that megawatt-hour data is telemetered or reported at the end of each hour.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R12.2.		Balancing Authorities shall ensure the power flow and ACE signals that are utilized for calculating Balancing Authority performance or that are transmitted for Regulation Service are not filtered prior to transmission, except for the Anti-aliasing Filters of Tie Lines.		Prescriptive (explains how to).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-005-0.1b		R12.3.		Balancing Authorities shall install common metering equipment where Dynamic Schedules or Pseudo-Ties are implemented between two or more Balancing Authorities to deliver the output of Jointly Owned Units or to serve remote load.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R13.		Each Balancing Authority shall perform hourly error checks using Tie Line megawatt-hour meters with common time synchronization to determine the accuracy of its control equipment.  The Balancing Authority shall adjust the component (e.g., Tie Line meter) of ACE that is in error (if known) or use the interchange meter error (IME) term of the ACE equation to compensate for any equipment error until repairs can be made.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-005-0.1b		R14.		The Balancing Authority shall provide its operating personnel with sufficient instrumentation and data recording equipment to facilitate monitoring of control performance, generation response, and after-the-fact analysis of area performance.  As a minimum, the Balancing Authority shall provide its operating personnel with real-time values for ACE, Interconnection frequency and Net Actual Interchange with each Adjacent Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-005-0.1b		R15.		The Balancing Authority shall provide adequate and reliable backup power supplies and shall periodically test these supplies at the Balancing Authority’s control center and other critical locations to ensure continuous operation of AGC and vital data recording equipment during loss of the normal power supply.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Same-day

		BAL-005-0.1b		R16.		The Balancing Authority shall sample data at least at the same periodicity with which ACE is calculated.  The Balancing Authority shall flag missing or bad data for operator display and archival purposes.  The Balancing Authority shall collect coincident data to the greatest practical extent, i.e., ACE, Interconnection frequency, Net Actual Interchange, and other data shall all be sampled at the same time.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Same-day

		BAL-005-0.1b		R17.		Each Balancing Authority shall at least annually check and calibrate its time error and frequency devices against a common reference.  The Balancing Authority shall adhere to the minimum values for measuring devices as listed below:    See Standard for Values		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		BAL-005-0.1b		R2.		Each Balancing Authority shall maintain Regulating Reserve that can be controlled by AGC to meet the Control Performance Standard.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R3.		A Balancing Authority providing Regulation Service shall ensure that adequate metering, communications, and control equipment are employed to prevent such service from becoming a Burden on the Interconnection or other Balancing Authority Areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Real-time or current hour

		BAL-005-0.1b		R4.		A Balancing Authority providing Regulation Service shall notify the Host Balancing Authority for whom it is controlling if it is unable to provide the service, as well as any Intermediate Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R5.		A Balancing Authority receiving Regulation Service shall ensure that backup plans are in place to provide replacement Regulation Service should the supplying Balancing Authority no longer be able to provide this service.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R6.		The Balancing Authority’s AGC shall compare total Net Actual Interchange to total Net Scheduled Interchange plus Frequency Bias obligation to determine the Balancing Authority’s ACE.  Single Balancing Authorities operating asynchronously may employ alternative ACE calculations such as (but not limited to) flat frequency control.  If a Balancing Authority is unable to calculate ACE for more than 30 minutes it shall notify its Reliability Coordinator.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-005-0.1b		R7.		The Balancing Authority shall operate AGC continuously unless such operation adversely impacts the reliability of the Interconnection.  If AGC has become inoperative, the Balancing Authority shall use manual control to adjust generation to maintain the Net Scheduled Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-005-0.1b		R8.		The Balancing Authority shall ensure that data acquisition for and calculation of ACE occur at least every six seconds.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		BAL-005-0.1b		R8.1.		Each Balancing Authority shall provide redundant and independent frequency metering equipment that shall automatically activate upon detection of failure of the primary source.  This overall installation shall provide a minimum availability of 99.95%.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		BAL-005-0.1b		R9.		The Balancing Authority shall include all Interchange Schedules with Adjacent Balancing Authorities in the calculation of Net Scheduled Interchange for the ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R9.1.		Balancing Authorities with a high voltage direct current (HVDC) link to another Balancing Authority connected asynchronously to their Interconnection may choose to omit the Interchange Schedule related to the HVDC link from the ACE equation if it is modeled as internal generation or load.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-006-1.1		R1.		Each Balancing Authority shall calculate and record hourly Inadvertent Interchange.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R2.		Each Balancing Authority shall include all AC tie lines that connect to its Adjacent Balancing Authority Areas in its Inadvertent Interchange account. The Balancing Authority shall take into account interchange served by jointly owned generators.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R3.		Each Balancing Authority shall ensure all of its Balancing Authority Area interconnection points are equipped with common megawatt-hour meters, with readings provided hourly to the control centers of Adjacent Balancing Authorities.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R4.		Adjacent Balancing Authority Areas shall operate to a common Net Interchange Schedule and Actual Net Interchange value and shall record these hourly quantities, with like values but opposite sign.  Each Balancing Authority shall compute its Inadvertent Interchange based on the following:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R4.1.		Each Balancing Authority, by the end of the next business day, shall agree with its Adjacent Balancing Authorities to:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.1.1.		The hourly values of Net Interchange Schedule.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.1.2.		The hourly integrated megawatt-hour values of Net Actual Interchange.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.2.		Each Balancing Authority shall use the agreed-to daily and monthly accounting data to compile its monthly accumulated Inadvertent Interchange for the On-Peak and Off-Peak hours of the month.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.3.		A Balancing Authority shall make after-the-fact corrections to the agreed-to daily and monthly accounting data only as needed to reflect actual operating conditions (e.g. a meter being used for control was sending bad data).  Changes or corrections based on non-reliability considerations shall not be reflected in the Balancing Authority’s Inadvertent Interchange.  After-the-fact corrections to scheduled or actual values will not be accepted without agreement of the Adjacent Balancing Authority(ies).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R5.		Adjacent Balancing Authorities that cannot mutually agree upon their respective Net Actual Interchange or Net Scheduled Interchange quantities by the 15th calendar day of the following month shall, for the purposes of dispute resolution, submit a report to their respective Regional Reliability Organization Survey Contact. The report shall describe the nature and the cause of the dispute as well as a process for correcting the discrepancy.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-001-1		R1.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall have procedures for the recognition of and for making their operating personnel aware of sabotage events on its facilities and multi site sabotage affecting larger portions of the Interconnection.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R2.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall have procedures for the communication of information concerning sabotage events to appropriate parties in the Interconnection.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R3.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall provide its operating personnel with sabotage response guidelines, including personnel to contact, for reporting disturbances due to sabotage events.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R4.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall establish communications contacts, as applicable, with local Federal Bureau of Investigation (FBI) or Royal Canadian Mounted Police (RCMP) officials and develop reporting procedures as appropriate to their circumstances.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.		Critical Asset Identification Method — The Responsible Entity shall identify and document a risk-based assessment methodology to use to identify its Critical Assets.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES				YES		YES		Planning: one year and longer

		CIP-002-2		R1.1.		The Responsible Entity shall maintain documentation describing its risk-based assessment methodology that includes procedures and evaluation criteria.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.		The risk-based assessment shall consider the following assets:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		CIP-002-2		R1.2.1.		Control centers and backup control centers performing the functions of the entities listed in the Applicability section of this standard.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.2.		Transmission substations that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.3.		Generation resources that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.4.		Systems and facilities critical to system restoration, including blackstart generators and substations in the electrical path of transmission lines used for initial system restoration.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.5.		Systems and facilities critical to automatic load shedding under a common control system capable of shedding 300 MW or more.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.6.		Special Protection Systems that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.7.		Any additional assets that support the reliable operation of the Bulk Electric System that the Responsible Entity deems appropriate to include in its assessment.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R2.		Critical Asset Identification — The Responsible Entity shall develop a list of its identified Critical Assets determined through an annual application of the risk-based assessment methodology required in R1. The Responsible Entity shall review this list at least annually, and update it as necessary.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.		Critical Cyber Asset Identification — Using the list of Critical Assets developed pursuant to Requirement R2, the Responsible Entity shall develop a list of associated Critical Cyber Assets essential to the operation of the Critical Asset. Examples at control centers and backup control centers include systems and facilities at master and remote sites that provide monitoring and control, automatic generation control, real-time power system modeling, and real-time inter-utility data exchange. The Responsible Entity shall review this list at least annually, and update it as necessary. For the purpose of Standard CIP-002-2, Critical Cyber Assets are further qualified to be those having at least one of the following characteristics:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.1.		The Cyber Asset uses a routable protocol to communicate outside the Electronic Security Perimeter; or,		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.2.		The Cyber Asset uses a routable protocol within a control center; or,		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.3.		The Cyber Asset is dial-up accessible.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R4.		Annual Approval — The senior manager or delegate(s) shall approve annually the risk-based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets. Based on Requirements R1, R2, and R3 the Responsible Entity may determine that it has no Critical Assets or Critical Cyber Assets. The Responsible Entity shall keep a signed and dated record of the senior manager or delegate(s)’s approval of the risk-based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets (even if such lists are null.)		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-003-2		R1.		Cyber Security Policy — The Responsible Entity shall document and implement a cyber security policy that represents management’s commitment and ability to secure its Critical Cyber Assets.  The Responsible Entity shall, at minimum, ensure the following:		Administrative (requires only documenting/reporting something).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.1.		The cyber security policy addresses the requirements in Standards CIP-002-2 through CIP-009-2, including provision for emergency situations.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.2.		The cyber security policy is readily available to all personnel who have access to, or are responsible for, Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.3.		Annual review and approval of the cyber security policy by the senior manager assigned pursuant to R2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.		Leadership — The Responsible Entity shall assign a single senior manager with overall responsibility and authority for leading and managing the entity’s implementation of, and adherence to, Standards CIP-002-2 through CIP-009-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.1.		The senior manager shall be identified by name, title, and date of designation.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.2.		Changes to the senior manager must be documented within thirty calendar days of the effective date.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.3.		Where allowed by Standards CIP-002-2 through CIP-009-2, the senior manager may delegate authority for specific actions to a named delegate or delegates.  These delegations shall be documented in the same manner as R2.1 and R2.2, and approved by the senior manager.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.4.		The senior manager or delegate(s), shall authorize and document any exception from the requirements of the cyber security policy.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.		Exceptions — Instances where the Responsible Entity cannot conform to its cyber security policy must be documented as exceptions and authorized by the senior manager or delegate(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.1.		Exceptions to the Responsible Entity’s cyber security policy must be documented within thirty days of being approved by the senior manager or delegate(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.2.		Documented exceptions to the cyber security policy must include an explanation as to why the exception is necessary and any compensating measures.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.3.		Authorized exceptions to the cyber security policy must be reviewed and approved annually by the senior manager or delegate(s) to ensure the exceptions are still required and valid.  Such review and approval shall be documented.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.		Information Protection — The Responsible Entity shall implement and document a program to identify, classify, and protect information associated with Critical Cyber Assets.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		CIP-003-2		R4.1.		The Critical Cyber Asset information to be protected shall include, at a minimum and regardless of media type, operational procedures, lists as required in Standard CIP-002-2, network topology or similar diagrams, floor plans of computing centers that contain Critical Cyber Assets, equipment layouts of Critical Cyber Assets, disaster recovery plans, incident response plans, and security configuration information.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.2.		The Responsible Entity shall classify information to be protected under this program based on the sensitivity of the Critical Cyber Asset information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.3.		The Responsible Entity shall, at least annually, assess adherence to its Critical Cyber Asset information protection program, document the assessment results, and implement an action plan to remediate deficiencies identified during the assessment.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Operations planning: day-ahead up to one year

		CIP-003-2		R5.		Access Control — The Responsible Entity shall document and implement a program for managing access to protected Critical Cyber Asset information.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-003-2		R5.1.		The Responsible Entity shall maintain a list of designated personnel who are responsible for authorizing logical or physical access to protected information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.1.1.		Personnel shall be identified by name, title, and the information for which they are responsible for authorizing access.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.1.2.		The list of personnel responsible for authorizing access to protected information shall be verified at least annually.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.2.		The Responsible Entity shall review at least annually the access privileges to protected information to confirm that access privileges are correct and that they correspond with the Responsible Entity’s needs and appropriate personnel roles and responsibilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.3.		The Responsible Entity shall assess and document at least annually the processes for controlling access privileges to protected information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R6.		Change Control and Configuration Management — The Responsible Entity shall establish and document a process of change control and configuration management for adding, modifying, replacing, or removing Critical Cyber Asset hardware or software, and implement supporting configuration management activities to identify, control and document all entity or vendor-related changes to hardware and software components of Critical Cyber Assets pursuant to the change control process.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-004-2		R1.		Awareness — The Responsible Entity shall establish, document, implement, and maintain a security awareness program to ensure personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets receive on-going reinforcement in sound security practices. The program shall include security awareness reinforcement on at least a quarterly basis using mechanisms such as: Direct communications (e.g. emails, memos, computer based training, etc.); Indirect communications (e.g. posters, intranet, brochures, etc.); Management support and reinforcement (e.g., presentations, meetings, etc.).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-004-2		R2.		Training — The Responsible Entity shall establish, document, implement, and maintain an annual cyber security training program for personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets. The cyber security training program shall be reviewed annually, at a minimum, and shall be updated whenever necessary.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.						YES								Operations planning: day-ahead up to one year

		CIP-004-2		R2.1.		This program will ensure that all personnel having such access to Critical Cyber Assets, including contractors and service vendors, are trained prior to their being granted such access except in specified circumstances such as an emergency.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.		Training shall cover the policies, access controls, and procedures as developed for the Critical Cyber Assets covered by CIP-004-2, and include, at a minimum, the following required items appropriate to personnel roles and responsibilities:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.1.		The proper use of Critical Cyber Assets;		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.2.		Physical and electronic access controls to Critical Cyber Assets;		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.3.		The proper handling of Critical Cyber Asset information; and,		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.4.		Action plans and procedures to recover or re-establish Critical Cyber Assets and access thereto following a Cyber Security Incident.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.3.		The Responsible Entity shall maintain documentation that training is conducted at least annually, including the date the training was completed and attendance records.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R3.		Personnel Risk Assessment —The Responsible Entity shall have a documented personnel risk assessment program, in accordance with federal, state, provincial, and local laws, and subject to existing collective bargaining unit agreements, for  personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets.  A personnel risk assessment shall be conducted pursuant to that program prior to such personnel being granted such access except in specified circumstances such as an emergency. The personnel risk assessment program shall at a minimum include:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES								Operations planning: day-ahead up to one year

		CIP-004-2		R3.1.		The Responsible Entity shall ensure that each assessment conducted include, at least, identity verification (e.g., Social Security Number verification in the U.S.) and seven-year criminal check. The Responsible Entity may conduct more detailed reviews, as permitted by law and subject to existing collective bargaining unit agreements, depending upon the criticality of the position.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-004-2		R3.2.		The Responsible Entity shall update each personnel risk assessment at least every seven years after the initial personnel risk assessment or for cause.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-004-2		R3.3.		The Responsible Entity shall document the results of personnel risk assessments of its personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets, and that personnel risk assessments of contractor and service vendor personnel with such access are conducted pursuant to Standard CIP-004-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.		Access — The Responsible Entity shall maintain list(s) of personnel with authorized cyber or authorized unescorted physical access to Critical Cyber Assets, including their specific electronic and physical access rights to Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.1.		The Responsible Entity shall review the list(s) of its personnel who have such access to Critical Cyber Assets quarterly, and update the list(s) within seven calendar days of any change of personnel with such access to Critical Cyber Assets, or any change in the access rights of such personnel.  The Responsible Entity shall ensure access list(s) for contractors and service vendors are properly maintained.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.2.		The Responsible Entity shall revoke such access to Critical Cyber Assets within 24 hours for personnel terminated for cause and within seven calendar days for personnel who no longer require such access to Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		CIP-005-2		R1.		Electronic Security Perimeter — The Responsible Entity shall ensure that every Critical Cyber Asset resides within an Electronic Security Perimeter. The Responsible Entity shall identify and document the Electronic Security Perimeter(s) and all access points to the perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.1.		Access points to the Electronic Security Perimeter(s) shall include any externally connected communication end point (for example, dial-up modems) terminating at any device within the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.2.		For a dial-up accessible Critical Cyber Asset that uses a non-routable protocol, the Responsible Entity shall define an Electronic Security Perimeter for that single access point at the dial-up device.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.3.		Communication links connecting discrete Electronic Security Perimeters shall not be considered part of the Electronic Security Perimeter. However, end points of these communication links within the Electronic Security Perimeter(s) shall be considered access points to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-005-2		R1.4.		Any non-critical Cyber Asset within a defined Electronic Security Perimeter shall be identified and protected pursuant to the requirements of Standard CIP-005-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-005-2		R1.5.		Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall be afforded the protective measures as a specified in Standard CIP-003-2; Standard CIP-004-2 Requirement R3; Standard CIP-005-2 Requirements R2 and R3; Standard CIP-006-2 Requirement R3; Standard CIP-007-2 Requirements R1 and R3 through R9; Standard CIP-008-2; and Standard CIP-009-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.6.		The Responsible Entity shall maintain documentation of Electronic Security Perimeter(s), all interconnected Critical and non-critical Cyber Assets within the Electronic Security Perimeter(s), all electronic access points to the Electronic Security Perimeter(s) and the Cyber Assets deployed for the access control and monitoring of these access points.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.		Electronic Access Controls — The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for control of electronic access at all electronic access points to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.1.		These processes and mechanisms shall use an access control model that denies access by default, such that explicit access permissions must be specified.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.2.		At all access points to the Electronic Security Perimeter(s), the Responsible Entity shall enable only ports and services required for operations and for monitoring Cyber Assets within the Electronic Security Perimeter, and shall document, individually or by specified grouping, the configuration of those ports and services.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.3.		The Responsible Entity shall implement and maintain a procedure for securing dial-up access to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.4.		Where external interactive access into the Electronic Security Perimeter has been enabled, the Responsible Entity shall implement strong procedural or technical controls at the access points to ensure authenticity of the accessing party, where technically feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.5.		The required documentation shall, at least, identify and describe:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.1.		The processes for access request and authorization.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.2.		The authentication methods.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.3.		The review process for authorization rights, in accordance with Standard CIP-004-2 Requirement R4.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.4.		The controls used to secure dial-up accessible connections.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.6.		Appropriate Use Banner — Where technically feasible, electronic access control devices shall display an appropriate use banner on the user screen upon all interactive access attempts. The Responsible Entity shall maintain a document identifying the content of the banner.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-005-2		R3.		Monitoring Electronic Access — The Responsible Entity shall implement and document an electronic or manual process(es) for monitoring and logging access at access points to the Electronic Security Perimeter(s) twenty-four hours a day, seven days a week.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R3.1.		For dial-up accessible Critical Cyber Assets that use non-routable protocols, the Responsible Entity shall implement and document monitoring process(es) at each access point to the dial-up device, where technically feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R3.2.		Where technically feasible, the security monitoring process(es) shall detect and alert for attempts at or actual unauthorized accesses.  These alerts shall provide for appropriate notification to designated response personnel.  Where alerting is not technically feasible, the Responsible Entity shall review or otherwise assess access logs for attempts at or actual unauthorized accesses at least every ninety calendar days.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R4.		Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of the electronic access points to the Electronic Security Perimeter(s) at least annually.  The vulnerability assessment shall include, at a minimum, the following:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R4.1.		A document identifying the vulnerability assessment process;		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R4.2.		A review to verify that only ports and services required for operations at these access points are enabled;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Planning: one year and longer

		CIP-005-2		R4.3.		The discovery of all access points to the Electronic Security Perimeter;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Planning: one year and longer

		CIP-005-2		R4.4.		A review of controls for default accounts, passwords, and network management community strings;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-005-2		R4.5.		Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R5.		Documentation Review and Maintenance — The Responsible Entity shall review, update, and maintain all documentation to support compliance with the requirements of Standard CIP-005-2.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.1.		The Responsible Entity shall ensure that all documentation required by Standard CIP-005-2 reflect current configurations and processes and shall review the documents and procedures referenced in Standard CIP-005-2 at least annually.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.2.		The Responsible Entity shall update the documentation to reflect the modification of the network or controls within ninety calendar days of the change.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.3.		The Responsible Entity shall retain electronic access logs for at least ninety calendar days.  Logs related to reportable incidents shall be kept in accordance with the requirements of Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.		Physical Security Plan — The Responsible Entity shall document, implement, and maintain a physical security plan, approved by the senior manager or delegate(s) that shall address, at a minimum, the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-006-2		R1.1.		All Cyber Assets within an Electronic Security Perimeter shall reside within an identified Physical Security Perimeter.  Where a completely enclosed (“six-wall”) border cannot be established, the Responsible Entity shall deploy and document alternative measures to control physical access to such Cyber Assets.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R1.2.		Identification of all physical access points through each Physical Security Perimeter and measures to control entry at those access points.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.3.		Processes, tools, and procedures to monitor physical access to the perimeter(s).		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.4.		Appropriate use of physical access controls as described in Requirement R4 including visitor pass management, response to loss, and prohibition of inappropriate use of physical access controls.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.5.		Review of access authorization requests and revocation of access authorization, in accordance with CIP-004-2 Requirement R4.		Administrative (requires only documenting/reporting something).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.6.		Continuous escorted access within the Physical Security Perimeter of personnel not authorized for unescorted access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R1.7.		Update of the physical security plan within thirty calendar days of the completion of any physical security system redesign or reconfiguration, including, but not limited to, addition or removal of access points through the Physical Security Perimeter, physical access controls, monitoring controls, or logging controls.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-006-2		R1.8.		Annual review of the physical security plan.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-006-2		R2.		Protection of Physical Access Control Systems — Cyber Assets that authorize and/or log access to the Physical Security Perimeter(s), exclusive of hardware at the Physical Security Perimeter access point such as electronic lock control mechanisms and badge readers, shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R2.1.		Be protected from unauthorized physical access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES								Real-time or current hour

		CIP-006-2		R2.2.		Be afforded the protective measures specified in Standard CIP-003-2; Standard CIP-004-2 Requirement R3; Standard CIP-005-2 Requirements R2 and R3; Standard CIP-006-2 Requirements R4 and R5; Standard CIP-007-2; Standard CIP-008-2; and Standard CIP-009-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R3.		Protection of Electronic Access Control Systems — Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall reside within an identified Physical Security Perimeter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R4.		Physical Access Controls — The Responsible Entity shall document and implement the operational and procedural controls to manage physical access at all access points to the Physical Security Perimeter(s) twenty-four hours a day, seven days a week.  The Responsible Entity shall implement one or more of the following physical access methods: --Card Key:  A means of electronic access where the access rights of the card holder are predefined in a computer database.  Access rights may differ from one perimeter to another. --Special Locks:  These include, but are not limited to, locks with “restricted key” systems, magnetic locks that can be operated remotely, and “man-trap” systems. --Security Personnel:  Personnel responsible for controlling physical access who may reside on-site or at a monitoring station. --Other Authentication Devices:  Biometric, keypad, token, or other equivalent devices that control physical access to the Critical Cyber Assets.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R5.		Monitoring Physical Access — The Responsible Entity shall document and implement the technical and procedural controls for monitoring physical access at all access points to the Physical Security Perimeter(s) twenty-four hours a day, seven days a week.  Unauthorized access attempts shall be reviewed immediately and handled in accordance with the procedures specified in Requirement CIP-008-2.  One or more of the following monitoring methods shall be used: --Alarm Systems:  Systems that alarm to indicate a door, gate or window has been opened without authorization.  These alarms must provide for immediate notification to personnel responsible for response. --Human Observation of Access Points:  Monitoring of physical access points by authorized personnel as specified in Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R6.		Logging Physical Access — Logging shall record sufficient information to uniquely identify individuals and the time of access twenty-four hours a day, seven days a week.  The Responsible Entity shall implement and document the technical and procedural mechanisms for logging physical entry at all access points to the Physical Security Perimeter(s) using one or more of the following logging methods or their equivalent: --Computerized Logging:  Electronic logs produced by the Responsible Entity’s selected access control and monitoring method. --Video Recording:  Electronic capture of video images of sufficient quality to determine identity. --Manual Logging:  A log book or sign-in sheet, or other record of physical access maintained by security or other personnel authorized to control and monitor physical access as specified in Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R7.		Access Log Retention — The responsible entity shall retain physical access logs for at least ninety calendar days.  Logs related to reportable incidents shall be kept in accordance with the requirements of Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R8.		Maintenance and Testing — The Responsible Entity shall implement a maintenance and testing program to ensure that all physical security systems under Requirements R4, R5, and R6 function properly. The program must include, at a minimum, the following:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R8.1.		Testing and maintenance of all physical security mechanisms on a cycle no longer than three years.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-006-2		R8.2.		Retention of testing and maintenance records for the cycle determined by the Responsible Entity in Requirement R8.1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R8.3.		Retention of outage records regarding access controls, logging, and monitoring for a minimum of one calendar year.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R1.		Test Procedures — The Responsible Entity shall ensure that new Cyber Assets and significant changes to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security controls.  For purposes of Standard CIP-007-2, a significant change shall, at a minimum, include implementation of security patches, cumulative service packs, vendor releases, and version upgrades of operating systems, applications, database platforms, or other third-party software or firmware.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.1.		The Responsible Entity shall create, implement, and maintain cyber security test procedures in a manner that minimizes adverse effects on the production system or its operation.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.2.		The Responsible Entity shall document that testing is performed in a manner that reflects the production environment.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.3.		The Responsible Entity shall document test results.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R2.		Ports and Services — The Responsible Entity shall establish, document and implement a process to ensure that only those ports and services required for normal and emergency operations are enabled.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.1.		The Responsible Entity shall enable only those ports and services required for normal and emergency operations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.2.		The Responsible Entity shall disable other ports and services, including those used for testing purposes, prior to production use of all Cyber Assets inside the Electronic Security Perimeter(s).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.3.		In the case where unused ports and services cannot be disabled due to technical limitations, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R3.		Security Patch Management — The Responsible Entity, either separately or as a component of the documented configuration management process specified in CIP-003-2 Requirement R6,  shall establish, document and implement a security patch management program for tracking, evaluating, testing, and installing applicable cyber security software patches for all Cyber Assets within the Electronic Security Perimeter(s).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R3.1.		The Responsible Entity shall document the assessment of security patches and security upgrades for applicability within thirty calendar days of availability of the patches or upgrades.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R3.2.		The Responsible Entity shall document the implementation of security patches.  In any case where the patch is not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R4.		Malicious Software Prevention — The Responsible Entity shall use anti-virus software and other malicious software (“malware”) prevention tools, where technically feasible, to detect, prevent, deter, and mitigate the introduction, exposure, and propagation of malware on all Cyber Assets within the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R4.1.		The Responsible Entity shall document and implement anti-virus and malware prevention tools.  In the case where anti-virus software and malware prevention tools are not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R4.2.		The Responsible Entity shall document and implement a process for the update of anti-virus and malware prevention “signatures.”  The process must address testing and installing the signatures.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.		Account Management — The Responsible Entity shall establish, implement, and document technical and procedural controls that enforce access authentication of, and accountability for, all user activity, and that minimize the risk of unauthorized system access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.1.		The Responsible Entity shall ensure that individual and shared system accounts and authorized access permissions are consistent with the concept of “need to know” with respect to work functions performed.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.1.1.		The Responsible Entity shall ensure that user accounts are implemented as approved by designated personnel. Refer to Standard CIP-003-2 Requirement R5.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R5.1.2.		The Responsible Entity shall establish methods, processes, and procedures that generate logs of sufficient detail to create historical audit trails of individual user account access activity for a minimum of ninety days.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R5.1.3.		The Responsible Entity shall review, at least annually, user accounts to verify access privileges are in accordance with Standard CIP-003-2 Requirement R5 and Standard CIP-004-2 Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R5.2.		The Responsible Entity shall implement a policy to minimize and manage the scope and acceptable use of administrator, shared, and other generic account privileges including factory default accounts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.1.		The policy shall include the removal, disabling, or renaming of such accounts where possible. For such accounts that must remain enabled, passwords shall be changed prior to putting any system into service.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.2.		The Responsible Entity shall identify those individuals with access to shared accounts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.3.		Where such accounts must be shared, the Responsible Entity shall have a policy for managing the use of such accounts that limits access to only those with authorization, an audit trail of the account use (automated or manual), and steps for securing the account in the event of personnel changes (for example, change in assignment or termination).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.3.		At a minimum, the Responsible Entity shall require and use passwords, subject to the following, as technically feasible:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.3.1.		Each password shall be a minimum of six characters.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.3.2.		Each password shall consist of a combination of alpha, numeric, and “special” characters.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.3.3.		Each password shall be changed at least annually, or more frequently based on risk.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R6.		Security Status Monitoring — The Responsible Entity shall ensure that all Cyber Assets within the Electronic Security Perimeter, as technically feasible, implement automated tools or organizational process controls to monitor system events that are related to cyber security.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R6.1.		The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for monitoring for security events on all Cyber Assets within the Electronic Security Perimeter.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R6.2.		The security monitoring controls shall issue automated or manual alerts for detected Cyber Security Incidents.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R6.3.		The Responsible Entity shall maintain logs of system events related to cyber security, where technically feasible, to support incident response as required in Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R6.4.		The Responsible Entity shall retain all logs specified in Requirement R6 for ninety calendar days.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R6.5.		The Responsible Entity shall review logs of system events related to cyber security and maintain records documenting review of logs.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R7.		Disposal or Redeployment — The Responsible Entity shall establish and implement formal methods, processes, and procedures for disposal or redeployment of Cyber Assets within the Electronic Security Perimeter(s) as identified and documented in Standard CIP-005-2.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R7.1.		Prior to the disposal of such assets, the Responsible Entity shall destroy or erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R7.2.		Prior to redeployment of such assets, the Responsible Entity shall, at a minimum, erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.		risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R7.3.		The Responsible Entity shall maintain records that such assets were disposed of or redeployed in accordance with documented procedures.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.		Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of all Cyber Assets within the Electronic Security Perimeter at least annually.  The vulnerability assessment shall include, at a minimum, the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.1.		A document identifying the vulnerability assessment process;		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.2.		A review to verify that only ports and services required for operation of the Cyber Assets within the Electronic Security Perimeter are enabled;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.3.		A review of controls for default accounts; and,		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.4.		Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R9.		Documentation Review and Maintenance — The Responsible Entity shall review and update the documentation specified in Standard CIP-007-2 at least annually.  Changes resulting from modifications to the systems or controls shall be documented within thirty calendar days of the change being completed.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R1.		Cyber Security Incident Response Plan — The Responsible Entity shall develop and maintain a Cyber Security Incident response plan and implement the plan in response to Cyber Security Incidents.  The Cyber Security Incident response plan shall address, at a minimum, the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.1.		Procedures to characterize and classify events as reportable Cyber Security Incidents.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.2.		Response actions, including roles and responsibilities of Cyber Security Incident response teams, Cyber Security Incident handling procedures, and communication plans.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.3.		Process for reporting Cyber Security Incidents to the Electricity Sector Information Sharing and Analysis Center (ES-ISAC).  The Responsible Entity must ensure that all reportable Cyber Security Incidents are reported to the ES-ISAC either directly or through an intermediary.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.4.		Process for updating the Cyber Security Incident response plan within thirty calendar days of any changes.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R1.5.		Process for ensuring that the Cyber Security Incident response plan is reviewed at least annually.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R2.		Cyber Security Incident Documentation — The Responsible Entity shall keep relevant documentation related to Cyber Security Incidents reportable per Requirement R1.1 for three calendar years.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.		Recovery Plans — The Responsible Entity shall create and annually review recovery plan(s) for Critical Cyber Assets. The recovery plan(s) shall address at a minimum the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.1.		Specify the required actions in response to events or conditions of varying duration and severity that would activate the recovery plan(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.2.		Define the roles and responsibilities of responders.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R2.		Exercises — The recovery plan(s) shall be exercised at least annually.  An exercise of the recovery plan(s) can range from a paper drill, to a full operational exercise, to recovery from an actual incident.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-009-2		R3.		Change Control — Recovery plan(s) shall be updated to reflect any changes or lessons learned as a result of an exercise or the recovery from an actual incident.  Updates shall be communicated to personnel responsible for the activation and implementation of the recovery plan(s) within thirty calendar days of the change being completed.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-009-2		R4.		Backup and Restore — The recovery plan(s) shall include processes and procedures for the backup and storage of information required to successfully restore Critical Cyber Assets.  For example, backups may include spare electronic components or equipment, written documentation of configuration settings, tape backup, etc.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-009-2		R5.		Testing Backup Media — Information essential to recovery that is stored on backup media shall be tested at least annually to ensure that the information is available.  Testing can be completed off site.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		COM-001-1		R1.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall provide adequate and reliable telecommunications facilities for the exchange of Interconnection and operating information:		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES				Real-time or current hour

		COM-001-1.1		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall manage, alarm, test and/or actively monitor vital telecommunications facilities.  Special attention shall be given to emergency telecommunications facilities and equipment not used for routine communications.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		COM-001-1.1		R3.		Each Reliability Coordinator, Transmission Operator and Balancing Authority shall provide a means to coordinate telecommunications among their respective areas.  This coordination shall include the ability to investigate and recommend solutions to telecommunications problems within the area and with other areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		COM-001-1.1		R4.		Unless agreed to otherwise, each Reliability Coordinator, Transmission Operator, and Balancing Authority shall use English as the language for all communications between and among operating personnel responsible for the real-time generation control and operation of the interconnected Bulk Electric System.  Transmission Operators and Balancing Authorities may use an alternate language for internal operations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		COM-001-1.1		R5.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall have written operating instructions and procedures to enable continued operation of the system during the loss of telecommunications facilities.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES		YES				Real-time or current hour

		COM-001-1.1		R6.		Each NERCNet User Organization shall adhere to the requirements in Attachment 1-COM-001-0, “NERCNet Security Policy.”		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		COM-002-2		R1.		Each Transmission Operator, Balancing Authority, and Generator Operator shall have communications (voice and data links) with appropriate Reliability Coordinators, Balancing Authorities, and Transmission Operators.  Such communications shall be staffed and available for addressing a real-time emergency condition.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES				Real-time or current hour

		COM-002-2		R1.1.		Each Balancing Authority and Transmission Operator shall notify its Reliability Coordinator, and all other potentially affected Balancing Authorities and Transmission Operators through predetermined communication paths of any condition that could threaten the reliability of its area or when firm load shedding is anticipated.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Real-time or current hour

		COM-002-2		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall issue directives in a clear, concise, and definitive manner; shall ensure the recipient of the directive repeats the information back correctly; and shall acknowledge the response as correct or repeat the original statement to resolve any misunderstandings.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		EOP-002-2		R7.1.		Manually shed firm load without delay to return its ACE to zero; and		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Real-time or current hour

		EOP-002-2		R7.2.		Request the Reliability Coordinator to declare an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		EOP-002-2		R8.		A Reliability Coordinator that has any Balancing Authority within its Reliability Coordinator area experiencing a potential or actual Energy Emergency shall initiate an Energy Emergency Alert as detailed in Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”  The Reliability Coordinator shall act to mitigate the emergency condition, including a request for emergency assistance if required.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES				YES		YES		Same-day

		EOP-002-2		R9.		When a Transmission Service Provider expects to elevate the transmission service priority of an Interchange Transaction from Priority 6 (Network Integration Transmission Service from Non-designated Resources) to Priority 7 (Network Integration Transmission Service from designated Network Resources) as permitted in its transmission tariff (See Attachment 1-IRO-006-0 “Transmission Loading Relief Procedure” for explanation of Transmission Service Priorities):		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Same-day

		EOP-003-1		R1.		After taking all other remedial steps, a Transmission Operator or Balancing Authority operating with insufficient generation or transmission capacity shall shed customer load rather than risk an uncontrolled failure of components or cascading outages of the Interconnection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Same-day

		EOP-003-1		R2.		Each Transmission Operator and Balancing Authority shall establish plans for automatic load shedding for underfrequency or undervoltage conditions.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R3.		Each Transmission Operator and Balancing Authority shall coordinate load shedding plans among other interconnected Transmission Operators and Balancing Authorities.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R4.		A Transmission Operator or Balancing Authority shall consider one or more of these factors in designing an automatic load shedding scheme: frequency, rate of frequency decay, voltage level, rate of voltage decay, or power flow levels.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R5.		A Transmission Operator or Balancing Authority shall implement load shedding in steps established to minimize the risk of further uncontrolled separation, loss of generation, or system shutdown.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-003-1		R6.		After a Transmission Operator or Balancing Authority Area separates from the Interconnection, if there is insufficient generating capacity to restore system frequency following automatic underfrequency load shedding, the Transmission Operator or Balancing Authority shall shed additional load.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-003-1		R7.		The Transmission Operator and Balancing Authority shall coordinate automatic load shedding throughout their areas with underfrequency isolation of generating units, tripping of shunt capacitors, and other automatic actions that will occur under abnormal frequency, voltage, or power flow conditions.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R8.		Each Transmission Operator or Balancing Authority shall have plans for operator-controlled manual load shedding to respond to real-time emergencies.  The Transmission Operator or Balancing Authority shall be capable of implementing the load shedding in a timeframe adequate for responding to the emergency.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.				YES		YES		YES		YES				Real-time or current hour

		EOP-004-1		R1.		Each Regional Reliability Organization shall establish and maintain a Regional reporting procedure to facilitate preparation of preliminary and final disturbance reports.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		EOP-004-1		R2.		A Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity shall promptly analyze Bulk Electric System disturbances on its system or facilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.		A Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity experiencing a reportable incident shall provide a preliminary written report to its Regional Reliability Organization and NERC.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.1.		The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity shall submit within 24 hours of the disturbance or unusual occurrence either a copy of the report submitted to DOE, or, if no DOE report is required, a copy of the NERC Interconnection Reliability Operating Limit and Preliminary Disturbance Report form.  Events that are not identified until some time after they occur shall be reported within 24 hours of being recognized.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.2.		Applicable reporting forms are provided in Attachments 022-1 and 022-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.3.		Under certain adverse conditions, e.g., severe weather, it may not be possible to assess the damage caused by a disturbance and issue a written Interconnection Reliability Operating Limit and Preliminary Disturbance Report within 24 hours.  In such cases, the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall promptly notify its Regional Reliability Organization(s) and NERC, and verbally provide as much information as is available at that time.  The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall then provide timely, periodic verbal updates until adequate information is available to issue a written Preliminary Disturbance Report.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		EOP-004-1		R3.4.		If, in the judgment of the Regional Reliability Organization, after consultation with the Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity in which a disturbance occurred, a final report is required, the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall prepare this report within 60 days.  As a minimum, the final report shall have a discussion of the events and its cause, the conclusions reached, and recommendations to prevent recurrence of this type of event.  The report shall be subject to Regional Reliability Organization approval.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R4.		When a Bulk Electric System disturbance occurs, the Regional Reliability Organization shall make its representatives on the NERC Operating Committee and Disturbance Analysis Working Group available to the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity immediately affected by the disturbance for the purpose of providing any needed assistance in the investigation and to assist in the preparation of a final report.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R5.		The Regional Reliability Organization shall track and review the status of all final report recommendations at least twice each year to ensure they are being acted upon in a timely manner.  If any recommendation has not been acted on within two years, or if Regional Reliability Organization tracking and review indicates at any time that any recommendation is not being acted on with sufficient diligence, the Regional Reliability Organization shall notify the NERC Planning Committee and Operating Committee of the status of the recommendation(s) and the steps the Regional Reliability Organization has taken to accelerate implementation.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-005-1		R1.		Each Transmission Operator shall have a restoration plan to reestablish its electric system in a stable and orderly manner in the event of a partial or total shutdown of its system, including necessary operating instructions and procedures to cover emergency conditions, and the loss of vital telecommunications channels.  Each Transmission Operator shall include the applicable elements listed in Attachment 1-EOP-005 in developing a restoration plan.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES				YES				Real-time or current hour

		EOP-005-1		R10.		The Transmission Operator shall demonstrate, through simulation or testing, that the blackstart generating units in its restoration plan can perform their intended functions as required in the regional restoration plan.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES				YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R10.1.		The Transmission Operator shall perform this simulation or testing at least once every five years.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES				YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R11.		Following a disturbance in which one or more areas of the Bulk Electric System become isolated or blacked out, the affected Transmission Operators and Balancing Authorities shall begin immediately to return the Bulk Electric System to normal.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-005-1		R11.1.		The affected Transmission Operators and Balancing Authorities shall work in conjunction with their Reliability Coordinator(s) to determine the extent and condition of the isolated area(s).		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.2.		The affected Transmission Operators and Balancing Authorities shall take the necessary actions to restore Bulk Electric System frequency to normal, including adjusting generation, placing additional generators on line, or load shedding.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.3.		The affected Balancing Authorities, working with their Reliability Coordinator(s), shall immediately review the Interchange Schedules between those Balancing Authority Areas or fragments of those Balancing Authority Areas within the separated area and make adjustments as needed to facilitate the restoration. The affected Balancing Authorities shall make all attempts to maintain the adjusted Interchange Schedules, whether generation control is manual or automatic.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.4.		The affected Transmission Operators shall give high priority to restoration of off-site power to nuclear stations.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES				YES		YES				Real-time or current hour

		EOP-005-1		R11.5.		The affected Transmission Operators may resynchronize the isolated area(s) with the surrounding area(s) when the following conditions are met:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R2.		Each Transmission Operator shall review and update its restoration plan at least annually and whenever it makes changes in the power system network, and shall correct deficiencies found during the simulated restoration exercises.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES				YES				Operations planning: day-ahead up to one year

		EOP-005-1		R3.		Each Transmission Operator shall develop restoration plans with a priority of restoring the integrity of the Interconnection.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R4.		Each Transmission Operator shall coordinate its restoration plans with the Generator Owners and Balancing Authorities within its area, its Reliability Coordinator, and neighboring Transmission Operators and Balancing Authorities.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Operations planning: day-ahead up to one year

		EOP-005-1		R5.		Each Transmission Operator and Balancing Authority shall periodically test its telecommunication facilities needed to implement the restoration plan.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.										YES				Operations planning: day-ahead up to one year

		EOP-005-1		R6.		Each Transmission Operator and Balancing Authority shall train its operating personnel in the implementation of the restoration plan.   Such training shall include simulated exercises, if practicable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R7.		Each Transmission Operator and Balancing Authority shall verify the restoration procedure by actual testing or by simulation.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.				YES				YES		YES				Planning: one year and longer

		EOP-005-1		R8.		Each Transmission Operator shall verify that the number, size, availability, and location of system blackstart generating units are sufficient to meet Regional Reliability Organization restoration plan requirements for the Transmission Operator’s area.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES						YES				Operations planning: day-ahead up to one year

		EOP-005-1		R9.		The Transmission Operator shall document the Cranking Paths, including initial switching requirements, between each blackstart generating unit and the unit(s) to be started and shall provide this documentation for review by the Regional Reliability Organization upon request.  Such documentation may include Cranking Path diagrams.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.				YES						YES				Operations planning: day-ahead up to one year

		EOP-006-1		R1.		Each Reliability Coordinator shall be aware of the restoration plan of each Transmission Operator in its Reliability Coordinator Area in accordance with NERC and regional requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.										YES				Operations planning: day-ahead up to one year

		EOP-006-1		R2.		The Reliability Coordinator shall monitor restoration progress and coordinate any needed assistance.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R3.		The Reliability Coordinator shall have a Reliability Coordinator Area restoration plan that provides coordination between individual Transmission Operator restoration plans and that ensures reliability is maintained during system restoration events.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES						YES				Operations planning: day-ahead up to one year

		EOP-006-1		R4.		The Reliability Coordinator shall serve as the primary contact for disseminating information regarding restoration to neighboring Reliability Coordinators and Transmission Operators or Balancing Authorities not immediately involved in restoration.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R5.		Reliability Coordinators shall approve, communicate, and coordinate the re-synchronizing of major system islands or synchronizing points so as not to cause a Burden on adjacent Transmission Operator, Balancing Authority, or Reliability Coordinator Areas.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R6.		The Reliability Coordinator shall take actions to restore normal operations once an operating emergency has been mitigated in accordance with its restoration plan.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-007-0		R1.		Each Regional Reliability Organization shall establish and maintain a system BCP, as part of an overall coordinated Regional SRP. The Regional SRP shall include requirements for verification through analysis how system blackstart generating units shall perform their intended functions and shall be sufficient to meet SRP expectations. The Regional Reliability Organization shall coordinate with and among other Regional Reliability Organizations as appropriate in the development of its BCP. The BCP shall include:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.1.		A requirement to have a database that contains all blackstart generators1 designated for use in an SRP within the respective areas. This database shall be updated on an annual basis. The database shall include the name, location, megawatt capacity, type of unit, latest date of test, and starting method.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.2.		A requirement to demonstrate that blackstart units perform their intended functions as required in the Regional SRP. This requirement can be met through either simulation or testing. The BCP must consider the availability of designated BCP units and initial transmission switching requirements.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.3.		Blackstart unit testing requirements including, but not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES						YES				Operations planning: day-ahead up to one year

		EOP-007-0		R2.		The Regional Reliability Organization shall provide documentation of its system BCPs to NERC within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-008-0		R1.		Each Reliability Coordinator, Transmission Operator and Balancing Authority shall have a plan to continue reliability operations in the event its control center becomes inoperable.  The contingency plan must meet the following requirements:		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.1.		The contingency plan shall not rely on data or voice communication from the primary control facility to be viable.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Real-time or current hour

		EOP-008-0		R1.2.		The plan shall include procedures and responsibilities for providing basic tie line control and procedures and for maintaining the status of all inter-area schedules, such that there is an hourly accounting of all schedules.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.3.		The contingency plan must address monitoring and control of critical transmission facilities, generation control, voltage control, time and frequency control, control of critical substation devices, and logging of significant power system events.  The plan shall list the critical facilities.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.4.		The plan shall include procedures and responsibilities for maintaining basic voice communication capabilities with other areas.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.5.		The plan shall include procedures and responsibilities for conducting periodic tests, at least annually, to ensure viability of the plan.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Operations planning: day-ahead up to one year

		EOP-008-0		R1.6.		The plan shall include procedures and responsibilities for providing annual training to ensure that operating personnel are able to implement the contingency plans.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Operations planning: day-ahead up to one year

		EOP-008-0		R1.7.		The plan shall be reviewed and updated annually.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		EOP-008-0		R1.8.		Interim provisions must be included if it is expected to take more than one hour to implement the contingency plan for loss of primary control facility.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		EOP-009-0		R1.		The Generator Operator of each blackstart generating unit shall test the startup and operation of each system blackstart generating unit identified in the BCP as required in the Regional BCP (Reliability Standard EOP-007-0_R1).  Testing records shall include the dates of the tests, the duration of the tests, and an indication of whether the tests met Regional BCP requirements.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.										YES				Operations planning: day-ahead up to one year

		EOP-009-0		R2.		The Generator Owner or Generator Operator shall provide documentation of the test results of the startup and operation of each blackstart generating unit to the Regional Reliability Organizations and upon request to NERC.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		FAC-001-0		R1.		The Transmission Owner shall document, maintain, and publish facility connection requirements to ensure compliance with NERC Reliability Standards and applicable Regional Reliability Organization, subregional, Power Pool, and individual Transmission Owner planning criteria and facility connection requirements.  The Transmission Owner’s facility connection requirements shall address connection requirements for:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		FAC-001-0		R1.1.		Generation facilities,		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R1.2.		Transmission facilities, and		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R1.3.		End-user facilities		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.		The Transmission Owner’s facility connection requirements shall address, but are not limited to, the following items:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.		Provide a written summary of its plans to achieve the required system performance as described above throughout the planning horizon:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.1.		Procedures for coordinated joint studies of new facilities and their impacts on the interconnected transmission systems.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.10.		Power quality impacts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.11.		Equipment Ratings.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES				YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.12.		Synchronizing of facilities.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES		YES				Planning: one year and longer

		FAC-001-0		R2.1.13.		Maintenance coordination.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.14.		Operational issues (abnormal frequency and voltages).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Planning: one year and longer

		FAC-001-0		R2.1.15.		Inspection requirements for existing or new facilities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.16.		Communications and procedures during normal and emergency operating conditions.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES		YES		YES		Planning: one year and longer

		FAC-001-0		R2.1.2.		Procedures for notification of new or modified facilities to others (those responsible for the reliability of the interconnected transmission systems) as soon as feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.3.		Voltage level and MW and MVAR capacity or demand at point of connection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.4.		Breaker duty and surge protection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.5.		System protection and coordination.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.6.		Metering and telecommunications.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES		YES		YES		Planning: one year and longer

		FAC-001-0		R2.1.7.		Grounding and safety issues.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.8.		Insulation and insulation coordination.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.9.		Voltage, Reactive Power, and power factor control.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES				YES		Planning: one year and longer

		FAC-001-0		R3.		The Transmission Owner shall maintain and update its facility connection requirements as required.  The Transmission Owner shall make documentation of these requirements available to the users of the transmission system, the Regional Reliability Organization, and NERC on request (five business days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		FAC-002-0		R1.		The Generator Owner, Transmission Owner, Distribution Provider, and Load-Serving Entity seeking to integrate generation facilities, transmission facilities, and electricity end-user facilities shall each coordinate and cooperate on its assessments with its Transmission Planner and Planning Authority.  The assessment shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.1.		Evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.2.		Ensurance of compliance with NERC Reliability Standards and applicable Regional, subregional, Power Pool, and individual system planning criteria and facility connection requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.3.		Evidence that the parties involved in the assessment have coordinated and cooperated on the assessment of the reliability impacts of new facilities on the interconnected transmission systems.  While these studies may be performed independently, the results shall be jointly evaluated and coordinated by the entities involved.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.4.		Evidence that the assessment included steady-state, short-circuit, and dynamics studies as necessary to evaluate system performance in accordance with Reliability Standard TPL-001-0.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.5.		Documentation that the assessment included study assumptions, system performance, alternatives considered, and jointly coordinated recommendations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R2.		The Planning Authority, Transmission Planner, Generator Owner, Transmission Owner, Load-Serving Entity, and Distribution Provider shall each retain its documentation (of its evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems) for three years and shall provide the documentation to the Regional Reliability Organization(s) Regional Reliability Organization(s) and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-003-1		R1.		The Transmission owner shall prepare, and keep current, a formal transmission vegetation management (TVM). The TVMP shall include the Transmission Owner's objectives, practices, approved procedures, and work Specifications.  1. ANSI A300, Tree Care Operations – Tree, Shrub, and Other Woody Plant Maintenance – Standard Practices, while not a requirement of this standard, is considered to be an industry best practice.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.1.		The TVMP shall define a schedule for and the type (aerial, ground) of ROW vegetation inspections.  This schedule should be flexible enough to adjust for changing conditions.  The inspection schedule shall be based on the anticipated growth of vegetation and any other environmental or operational factors that could impact the relationship of vegetation to the Transmission Owner’s transmission lines.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.		The Transmission Owner, in the TVMP, shall identify and document clearances between vegetation and any overhead, ungrounded supply conductors, taking into consideration transmission line voltage, the effects of ambient temperature on conductor sag under maximum design loading, and the effects of wind velocities on conductor sway.  Specifically, the Transmission Owner shall establish clearances to be achieved at the time of vegetation management work identified herein as Clearance 1, and shall also establish and maintain a set of clearances identified herein as Clearance 2 to prevent flashover between vegetation and overhead ungrounded supply conductors.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.1.		Clearance 1 — The Transmission Owner shall determine and document appropriate clearance distances to be achieved at the time of transmission vegetation management work based upon local conditions and the expected time frame in which the Transmission Owner plans to return for future vegetation management work.  Local conditions may include, but are not limited to:  operating voltage, appropriate vegetation management techniques, fire risk, reasonably anticipated tree and conductor movement, species types and growth rates, species failure characteristics, local climate and rainfall patterns, line terrain and elevation, location of the vegetation within the span, and worker approach distance requirements.  Clearance 1 distances shall be greater than those defined by Clearance 2 below.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.		Clearance 2 — The Transmission Owner shall determine and document specific radial clearances to be maintained between vegetation and conductors under all rated electrical operating conditions.  These minimum clearance distances are necessary to prevent flashover between vegetation and conductors and will vary due to such factors as altitude and operating voltage.  These Transmission Owner-specific minimum clearance distances shall be no less than those set forth in the Institute of Electrical and Electronics Engineers (IEEE) Standard 516-2003 (Guide for Maintenance Methods on Energized Power Lines) and as specified in its Section 4.2.2.3, Minimum Air Insulation Distances without Tools in the Air Gap.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.1.		Where transmission system transient overvoltage factors are not known, clearances shall be derived from Table 5, IEEE 516-2003, phase-to-ground distances, with appropriate altitude correction factors applied.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.2.		Where transmission system transient overvoltage factors are known, clearances shall be derived from Table 7, IEEE 516-2003, phase-to-phase voltages, with appropriate altitude correction factors applied.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.3.		All personnel directly involved in the design and implementation of the TVMP shall hold appropriate qualifications and training, as defined by the Transmission Owner, to perform their duties.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		FAC-003-1		R1.4.		Each Transmission Owner shall develop mitigation measures to achieve sufficient clearances for the protection of the transmission facilities when it identifies locations on the ROW where the Transmission Owner is restricted from attaining the clearances specified in Requirement 1.2.1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.5.		Each Transmission Owner shall establish and document a process for the immediate communication of vegetation conditions that present an imminent threat of a transmission line outage. This is so that action (temporary reduction in line rating, switching line out of service, etc.) may be taken until the threat is relieved.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-003-1		R2.		The Transmission Owner shall create and implement an annual plan for vegetation management work to ensure the reliability of the system.  The plan shall describe the methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions. The plan should be flexible enough to adjust to changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the transmission systems.  Adjustments to the plan shall be documented as they occur.  The plan should take into consideration the time required to obtain permissions or permits from landowners or regulatory authorities.  Each Transmission Owner shall have systems and procedures for documenting and tracking the planned vegetation management work and ensuring that the vegetation management work was completed according to work specifications.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		FAC-003-1		R3.		The Transmission Owner shall report quarterly to its RRO, or the RRO’s designee, sustained transmission line outages determined by the Transmission Owner to have been caused by vegetation.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.1.		Multiple sustained outages on an individual line, if caused by the same vegetation, shall be reported as one outage regardless of the actual number of outages within a 24-hour period.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.2.		The Transmission Owner is not required to report to the RRO, or the RRO’s designee, certain sustained transmission line outages caused by vegetation: (1) Vegetation-related outages that result from vegetation falling into lines from outside the ROW that result from natural disasters shall not be considered reportable (examples of disasters that could create non-reportable outages include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, major storms as defined either by the Transmission Owner or an applicable regulatory body, ice storms, and floods), and (2) Vegetation-related outages due to human or animal activity shall not be considered reportable  (examples of human or animal activity that could cause a non-reportable outage include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural activities or horticultural or agricultural activities, or removal or digging of vegetation).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.3.		The outage information provided by the Transmission Owner to the RRO, or the RRO’s designee, shall include at a minimum: the name of the circuit(s) outaged, the date, time and duration of the outage; a description of the cause of the outage; other pertinent comments; and any countermeasures taken by the Transmission Owner.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.		An outage shall be categorized as one of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.1.		Category 1 — Grow-ins: Outages caused by vegetation growing into lines from vegetation inside and/or outside of the ROW;		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.2.		Category 2 — Fall-ins: Outages caused by vegetation falling into lines from inside the ROW;		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.3.		Category 3 — Fall-ins: Outages caused by vegetation falling into lines from outside the ROW.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R4.		The RRO shall report the outage information provided to it by Transmission Owner’s, as required by Requirement 3, quarterly to NERC, as well as any actions taken by the RRO as a result of any of the reported outages.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-008-1		R1.		The Transmission Owner and Generator Owner shall each document its current methodology used for developing Facility Ratings (Facility Ratings Methodology) of its solely and jointly owned Facilities.  The methodology shall include all of the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.1.		A statement that a Facility Rating shall equal the most limiting applicable Equipment Rating of the individual equipment that comprises that Facility.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-008-1		R1.2.		The method by which the Rating (of major BES equipment that comprises a Facility) is determined.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.2.1.		The scope of equipment addressed shall include, but not be limited to, generators, transmission conductors, transformers, relay protective devices, terminal equipment, and series and shunt compensation devices.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.2.2.		The scope of Ratings addressed shall include, as a minimum, both Normal and Emergency Ratings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.		Consideration of the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.1.		Ratings provided by equipment manufacturers.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.2.		Design criteria (e.g., including applicable references to industry Rating practices such as manufacturer’s warranty, IEEE, ANSI or other standards).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.3.		Ambient conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.4.		Operating limitations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.5.		Other assumptions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R2.		The Transmission Owner and Generator Owner shall each make its Facility Ratings Methodology available for inspection and technical review by those Reliability Coordinators, Transmission Operators, Transmission Planners, and Planning Authorities that have responsibility for the area in which the associated Facilities are located, within 15 business days of receipt of a request.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R3.		If a Reliability Coordinator, Transmission Operator, Transmission Planner, or Planning Authority provides written comments on its technical review of a Transmission Owner’s or Generator Owner’s Facility Ratings Methodology, the Transmission Owner or Generator Owner shall provide a written response to that commenting entity within 45 calendar days of receipt of those comments.  The response shall indicate whether a change will be made to the Facility Ratings Methodology and, if no change will be made to that Facility Ratings Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-009-1		R1.		The Transmission Owner and Generator Owner shall each establish Facility Ratings for its solely and jointly owned Facilities that are consistent with the associated Facility Ratings Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-009-1		R2.		The Transmission Owner and Generator Owner shall each provide Facility Ratings for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities to its associated Reliability Coordinator(s), Planning Authority(ies), Transmission Planner(s), and Transmission Operator(s) as scheduled by such requesting entities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.		The Planning Authority shall have a documented SOL Methodology for use in developing SOLs within its Planning Authority Area. This SOL Methodology shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.1.		Be applicable for developing SOLs used in the planning horizon.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.2.		State that SOLs shall not exceed associated Facility Ratings.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Operations planning: day-ahead up to one year

		FAC-010-1		R1.3.		Include a description of how to identify the subset of SOLs that qualify as
IROLs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.		The Planning Authority’s SOL Methodology shall include a requirement that SOLs
provide BES performance consistent with the following:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.1.		In the pre-contingency state and with all Facilities in service, the BES shall demonstrate transient, dynamic and voltage stability; all Facilities shall be within their Facility Ratings and within their thermal, voltage and stability limits. In the determination of SOLs, the BES condition used shall reflect expected system conditions and shall reflect changes to system topology such as Facility outages.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.		Following the single Contingencies1 identified in Requirement 2.2.1 through Requirement 2.2.3, the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not occur.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.1.		Single line to ground or three-phase Fault (whichever is more severe), with Normal Clearing, on any Faulted generator, line, transformer, or shunt device.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.2.		Loss of any generator, line, transformer, or shunt device without a Fault.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.3.		Single pole block, with Normal Clearing, in a monopolar or bipolar high voltage direct current system.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.		Starting with all Facilities in service, the system’s response to a single Contingency, may include any of the following:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.1.		Planned or controlled interruption of electric supply to radial customers or some local network customers connected to or supplied by the Faulted Facility or by the affected area.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.2.		System reconfiguration through manual or automatic control or protection actions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.3.		To prepare for the next Contingency, system adjustments may be made, including changes to generation, uses of the transmission system, and the transmission system topology.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.4.		Starting with all facilities in service and following any of the multiple Contingencies identified in Reliability Standard TPL-003 the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not
occur.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.5.		In determining the system’s response to any of the multiple Contingencies, identified in Reliability Standard TPL-003, in addition to the actions identified in R2.3.1 and R2.3.2, the following shall be acceptable:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.5.1.		Planned or controlled interruption of electric supply to customers (load shedding), the planned removal from service of certain generators, and/or the curtailment of contracted Firm (non-recallable reserved) electric power Transfers		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.		The Planning Authority’s methodology for determining SOLs, shall include, as a
minimum, a description of the following, along with any reliability margins applied for
each:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.1.		Study model (must include at least the entire Planning Authority Area as well as the critical modeling details from other Planning Authority Areas that would impact the Facility or Facilities under study).		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.2.		Selection of applicable Contingencies.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.3.		Level of detail of system models used to determine SOLs.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.4.		Allowed uses of Special Protection Systems or Remedial Action Plans.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.5.		Anticipated transmission system configuration, generation dispatch and Load level.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.6.		Criteria for determining when violating a SOL qualifies as an Interconnection Reliability Operating Limit (IROL) and criteria for developing any associated IROL Tv.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.		The Planning Authority shall issue its SOL Methodology, and any change to that methodology, to all of the following prior to the effectiveness of the change:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.1.		Each adjacent Planning Authority and each Planning Authority that indicated it
has a reliability-related need for the methodology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.2.		Each Reliability Coordinator and Transmission Operator that operates any portion of the Planning Authority’s Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.3.		Each Transmission Planner that works in the Planning Authority’s Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R5.		If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.		The Reliability Coordinator shall have a documented methodology for use in developing SOLs (SOL Methodology) within its Reliability Coordinator Area. This SOL Methodology shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.1.		Be applicable for developing SOLs used in the operations horizon.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.2.		State that SOLs shall not exceed associated Facility Ratings.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-011-1		R1.3.		Include a description of how to identify the subset of SOLs that qualify as IROLs		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-011-1		R2.		The Reliability Coordinator’s SOL Methodology shall include a requirement that SOLs
provide BES performance consistent with the following:		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.1.		In the pre-contingency state, the BES shall demonstrate transient, dynamic and voltage stability; all Facilities shall be within their Facility Ratings and within their thermal, voltage and stability limits. In the determination of SOLs, the BES condition used shall reflect current or expected system conditions and shall reflect changes to system topology such as Facility outages.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.		Following the single Contingencies1 identified in Requirement 2.2.1 through Requirement 2.2.3, the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not occur.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.1.		Single line to ground or 3-phase Fault (whichever is more severe), with Normal Clearing, on any Faulted generator, line, transformer, or shunt device.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.2.		Loss of any generator, line, transformer, or shunt device without a Fault.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.3.		Single pole block, with Normal Clearing, in a monopolar or bipolar high voltage direct current system.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.		In determining the system’s response to a single Contingency, the following shall be acceptable:		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.1.		Planned or controlled interruption of electric supply to radial customers or some local network customers connected to or supplied by the Faulted Facility or by the affected area.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.2.		Interruption of other network customers, only if the system has already been adjusted, or is being adjusted, following at least one prior outage, or, if the real-time operating conditions are more adverse than anticipated in the corresponding studies, e.g., load greater than
studied.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.3.		System reconfiguration through manual or automatic control or protection actions.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.4.		To prepare for the next Contingency, system adjustments may be made, including changes to generation, uses of the transmission system, and the transmission system topology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.		The Reliability Coordinator’s methodology for determining SOLs, shall include, as a
minimum, a description of the following, along with any reliability margins applied for
each:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.1.		Study model (must include at least the entire Reliability Coordinator Area as well as the critical modeling details from other Reliability Coordinator Areas that would impact the Facility or Facilities under study.)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.2.		Selection of applicable Contingencies		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.3.		A process for determining which of the stability limits associated with the list of multiple contingencies (provided by the Planning Authority in accordance with FAC-014 Requirement 6) are applicable for use in the operating horizon given the actual or expected system conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.3.1.		This process shall address the need to modify these limits, to modify the list of limits, and to modify the list of associated multiple contingencies.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.4.		Level of detail of system models used to determine SOLs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.5.		Allowed uses of Special Protection Systems or Remedial Action Plans.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.6.		Anticipated transmission system configuration, generation dispatch and Load level		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.7.		Criteria for determining when violating a SOL qualifies as an Interconnection Reliability Operating Limit (IROL) and criteria for developing any associated IROL Tv.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.		The Reliability Coordinator shall issue its SOL Methodology and any changes to that methodology, prior to the effectiveness of the Methodology or of a change to the Methodology, to all of the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.1.		Each adjacent Reliability Coordinator and each Reliability Coordinator that indicated it has a reliability-related need for the methodology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.2.		Each Planning Authority and Transmission Planner that models any portion of
the Reliability Coordinator’s Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.3.		Each Transmission Operator that operates in the Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R5.		If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Reliability Coordinator shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.		The Reliability Coordinator and Planning Authority shall each document its current methodology used for developing its inter-regional and intra-regional Transfer Capabilities (Transfer Capability Methodology). The Transfer Capability Methodology shall include all of the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.1.		A statement that Transfer Capabilities shall respect all applicable System Operating Limits (SOLs).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R1.2.		A definition stating whether the methodology is applicable to the planning horizon or the operating horizon.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.		A description of how each of the following is addressed, including any reliability margins applied to reflect uncertainty with projected BES conditions:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.1.		Transmission system topology		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.2.		System demand		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.3.		Generation dispatch		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.4.		Current and projected transmission uses		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R2.		The Reliability Coordinator shall issue its Transfer Capability Methodology, and any changes to that methodology, prior to the effectiveness of such changes, to all of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.1.		Each Adjacent Reliability Coordinator and each Reliability Coordinator that indicated a reliability-related need for the methodology.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.2.		Each Planning Authority and Transmission Planner that models any portion of the Reliability Coordinator’s Reliability Coordinator Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.3.		Each Transmission Operator that operates in the Reliability Coordinator Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.		The Planning Authority shall issue its Transfer Capability Methodology, and any changes to that methodology, prior to the effectiveness of such changes, to all of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.1.		Each Transmission Planner that works in the Planning Authority’s Planning Authority Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.2.		Each Adjacent Planning Authority and each Planning Authority that indicated a reliability-related need for the methodology.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.3.		Each Reliability Coordinator and Transmission Operator that operates any portion of the Planning Authority’s Planning Authority Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R4.		If a recipient of the Transfer Capability Methodology provides documented technical comments on the methodology, the Reliability Coordinator or Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the Transfer Capability Methodology and, if no change will be made to that Transfer Capability Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R1.		The Reliability Coordinator and Planning Authority shall each establish a set of inter-regional and intra-regional Transfer Capabilities that is consistent with its current Transfer Capability Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.		The Reliability Coordinator and Planning Authority shall each provide its inter-regional and intra-regional Transfer Capabilities to those entities that have a reliability-related need for such Transfer Capabilities and make a written request that includes a schedule for delivery of such Transfer Capabilities as follows:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.1.		The Reliability Coordinator shall provide its Transfer Capabilities to its associated Regional Reliability Organization(s), to its adjacent Reliability Coordinators, and to the Transmission Operators, Transmission Service Providers and Planning Authorities that work in its Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.2.		The Planning Authority shall provide its Transfer Capabilities to its associated Reliability Coordinator(s) and Regional Reliability Organization(s), and to the Transmission Planners and Transmission Service Provider(s) that work in its Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R1.		The Reliability Coordinator shall ensure that SOLs, including Interconnection Reliability Operating Limits (IROLs), for its Reliability Coordinator Area are established and that the SOLs (including Interconnection Reliability Operating Limits) are consistent with its SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R2.		The Transmission Operator shall establish SOLs (as directed by its Reliability Coordinator) for its portion of the Reliability Coordinator Area that are consistent with its Reliability Coordinator’s SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R3.		The Planning Authority shall establish SOLs, including IROLs, for its Planning
Authority Area that are consistent with its SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R4.		The Transmission Planner shall establish SOLs, including IROLs, for its Transmission
Planning Area that are consistent with its Planning Authority’s SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.		The Reliability Coordinator, Planning Authority and Transmission Planner shall each
provide its SOLs and IROLs to those entities that have a reliability-related need for
those limits and provide a written request that includes a schedule for delivery of those
limits as follows:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.		The Reliability Coordinator shall provide its SOLs (including the subset of SOLs that are IROLs) to adjacent Reliability Coordinators and Reliability Coordinators who indicate a reliability-related need for those limits, and to the Transmission Operators, Transmission Planners, Transmission Service Providers and Planning Authorities within its Reliability Coordinator Area. For each IROL, the Reliability Coordinator shall provide the following
supporting information:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.1.		Identification and status of the associated Facility (or group of Facilities) that is (are) critical to the derivation of the IROL.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.2.		The value of the IROL and its associated Tv.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.3.		The associated Contingency(ies).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.4.		The type of limitation represented by the IROL (e.g., voltage collapse, angular stability).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.2.		The Transmission Operator shall provide any SOLs it developed to its Reliability Coordinator and to the Transmission Service Providers that share its portion of the Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.3.		The Planning Authority shall provide its SOLs (including the subset of SOLs that are IROLs) to adjacent Planning Authorities, and to Transmission Planners, Transmission Service Providers, Transmission Operators and Reliability Coordinators that work within its Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.4.		The Transmission Planner shall provide its SOLs (including the subset of SOLs that are IROLs) to its Planning Authority, Reliability Coordinators, Transmission Operators, and Transmission Service Providers that work within its Transmission Planning Area and to adjacent Transmission Planners.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.		The Planning Authority shall identify the subset of multiple contingencies (if any), from Reliability Standard TPL-003 which result in stability limits.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.1.		The Planning Authority shall provide this list of multiple contingencies and the associated stability limits to the Reliability Coordinators that monitor the facilities associated with these contingencies and limits.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.2.		If the Planning Authority does not identify any stability-related multiple contingencies, the Planning Authority shall so notify the Reliability Coordinator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		INT-001-3		R1.		The Load-Serving, Purchasing-Selling Entity shall ensure that Arranged Interchange is submitted to the Interchange Authority for:		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R1.1.		All Dynamic Schedules at the expected average MW profile for each hour.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.		The Sink Balancing Authority shall ensure that Arranged Interchange is submitted to the Interchange Authority:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.1.		If a Purchasing-Selling Entity is not involved in the Interchange, such as
delivery from a jointly owned generator.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.2.		For each bilateral Inadvertent Interchange payback.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-003-2		R1.		Each Receiving Balancing Authority shall confirm Interchange Schedules with the Sending Balancing Authority prior to implementation in the Balancing Authority’s ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-003-2		R1.1.		The Sending Balancing Authority and Receiving Balancing Authority shall agree on Interchange as received from the Interchange Authority, including:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-003-2		R1.1.1.		Interchange Schedule start and end time.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-003-2		R1.1.2.		Energy profile.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-003-2		R1.2.		If a high voltage direct current (HVDC) tie is on the Scheduling Path, then the Sending Balancing Authorities and Receiving Balancing Authorities shall coordinate the Interchange Schedule with the Transmission Operator of the HVDC tie.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-004-2		R1.		At such time as the reliability event allows for the reloading of the transaction, the entity that initiated the curtailment shall release the limit on the Interchange Transaction tag to allow reloading the transaction and shall communicate the release of the limit to the Sink Balancing Authority.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.		The Purchasing-Selling Entity responsible for tagging a Dynamic Interchange Schedule shall ensure the tag is updated for the next available scheduling hour and future hours when any one of the following occurs:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-004-2		R2.1.		The average energy profile in an hour is greater than 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than +10%.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.2.		The average energy profile in an hour is less than or equal to 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than +25 megawatt-hours.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.3.		A Reliability Coordinator or Transmission Operator determines the deviation, regardless of magnitude, to be a reliability concern and notifies the Purchasing-Selling Entity of that determination and the reasons.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-2		R1.		Prior to the expiration of the time period defined in the Timing Table, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES												Same-day

		INT-005-2		R1.1.		When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-3		R1.		Prior to the expiration of the time period defined in the timing requirements tables in this standard, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-3		R1.1.		When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.		Prior to the expiration of the reliability assessment period defined in the Timing Table, Column B, the Balancing Authority and Transmission Service Provider shall respond to a request from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.		Each involved Balancing Authority shall evaluate the Arranged Interchange
with respect to:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.1.		Energy profile (ability to support the magnitude of the Interchange).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.2.		Ramp (ability of generation maneuverability to accommodate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.3.		Scheduling path (proper connectivity of Adjacent Balancing
Authorities).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.2.		Each involved Transmission Service Provider shall confirm that the
transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.		Prior to the expiration of the reliability assessment period defined in the timing requirements tables in this standard, Column B, the Balancing Authority and Transmission Service Provider shall respond to each On-time Request for Interchange (RFI), and to each Emergency RFI and Reliability Adjustment RFI from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.		Each involved Balancing Authority shall evaluate the Arranged Interchange with respect to:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.1.		Energy profile (ability to support the magnitude of the Interchange).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.2.		Ramp (ability of generation maneuverability to accommodate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.3.		Scheduling path (proper connectivity of Adjacent Balancing Authorities).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.2.		Each involved Transmission Service Provider shall confirm that the transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.		The Interchange Authority shall verify that Arranged Interchange is balanced and valid prior to transitioning Arranged Interchange to Confirmed Interchange by verifying the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.1.		Source Balancing Authority megawatts equal sink Balancing Authority megawatts (adjusted for losses, if appropriate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.2.		All reliability entities involved in the Arranged Interchange are currently in the NERC registry.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.		The following are defined:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.1.		Generation source and load sink.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.2.		Megawatt profile.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.3.		Ramp start and stop times.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.4.		Interchange duration.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.4.		Each Balancing Authority and Transmission Service Provider that received the Arranged Interchange information from the Interchange Authority for reliability assessment has provided approval.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.		Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.		For Confirmed Interchange, the Interchange Authority shall also communicate:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.1.		Start and stop times, ramps, and megawatt profile to Balancing
Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.2.		Necessary Interchange information to NERC-identified reliability
analysis services.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.		Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.		For Confirmed Interchange, the Interchange Authority shall also communicate:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.1.		Start and stop times, ramps, and megawatt profile to Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.2.		Necessary Interchange information to NERC-identified reliability analysis services.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-009-1		R1.		The Balancing Authority shall implement Confirmed Interchange as received from the Interchange Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-010-1		R1.		The Balancing Authority that experiences a loss of resources covered by an energy sharing agreement shall ensure that a request for an Arranged Interchange is submitted with a start time no more than 60 minutes beyond the resource loss. If the use of the energy sharing agreement does not exceed 60 minutes from the time of the resource loss, no request for Arranged Interchange is required.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-010-1		R2.		For a modification to an existing Interchange schedule that is directed by a Reliability Coordinator for current or imminent reliability-related reasons, the Reliability Coordinator shall direct a Balancing Authority to submit the modified Arranged Interchange reflecting that modification within 60 minutes of the initiation of the event.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		INT-010-1		R3.		For a new Interchange schedule that is directed by a Reliability Coordinator for current or imminent reliability-related reasons, the Reliability Coordinator shall direct a Balancing Authority to submit an Arranged Interchange reflecting that Interchange schedule within 60 minutes of the initiation of the event.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		IRO 002-2		R1.		Each Reliability Coordinator shall have adequate communications facilities (voice and data links) to appropriate entities within its Reliability Coordinator Area.  These communications facilities shall be staffed and available to act in addressing a real-time emergency condition.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R2.		Each Reliability Coordinator — or its Transmission Operators and Balancing Authorities — shall provide, or arrange provisions for, data exchange to other Reliability Coordinators or Transmission Operators and Balancing Authorities via a secure network.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R3.		Each Reliability Coordinator shall have multi-directional communications capabilities with its Transmission Operators and Balancing Authorities, and with neighboring Reliability Coordinators, for both voice and data exchange as required to meet reliability needs of the Interconnection.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R4.		Each Reliability Coordinator shall have detailed real-time monitoring capability of its Reliability Coordinator Area and sufficient monitoring capability of its surrounding Reliability Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.  Each Reliability Coordinator shall have monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel, giving particular emphasis to alarm management and awareness systems, automated data transfers, and synchronized information systems, over a redundant and highly reliable infrastructure.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R5.		Each Reliability Coordinator shall monitor Bulk Electric System elements (generators, transmission lines, buses, transformers, breakers, etc.) that could result in SOL or IROL violations within its Reliability Coordinator Area.  Each Reliability Coordinator shall monitor both real and reactive power system flows, and operating reserves, and the status of Bulk Electric System elements that are or could be critical to SOLs and IROLs and system restoration requirements within its Reliability Coordinator Area.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES				YES		YES				YES		Real-time or current hour

		IRO 002-2		R6.		Each Reliability Coordinator shall have adequate analysis tools such as state estimation, pre- and post-contingency analysis capabilities (thermal, stability, and voltage), and wide-area overview displays.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO 002-2		R7.		Each Reliability Coordinator shall continuously monitor its Reliability Coordinator Area.  Each Reliability Coordinator shall have provisions for backup facilities that shall be exercised if the main monitoring system is unavailable.  Each Reliability Coordinator shall ensure SOL and IROL monitoring and derivations continue if the main monitoring system is unavailable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO 002-2		R8.		Each Reliability Coordinator shall control its Reliability Coordinator analysis tools, including approvals for planned maintenance.  Each Reliability Coordinator shall have procedures in place to mitigate the effects of analysis tool outages.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R1.		Each Regional Reliability Organization, subregion, or interregional coordinating group shall establish one or more Reliability Coordinators to continuously assess transmission reliability and coordinate emergency operations among the operating entities within the region and across the regional boundaries.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R2.		The Reliability Coordinator shall comply with a regional reliability plan approved by the NERC Operating Committee.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R3.		The Reliability Coordinator shall have clear decision-making authority to act and to direct actions to be taken by Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities within its Reliability Coordinator Area to preserve the integrity and reliability of the Bulk Electric System.  These actions shall be taken without delay, but no longer than 30 minutes.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-001-1.1		R4.		Reliability Coordinators that delegate tasks to other entities shall have formal operating agreements with each entity to which tasks are delegated.  The Reliability Coordinator shall verify that all delegated tasks are understood, communicated, and addressed within its Reliability Coordinator Area.  All responsibilities for complying with NERC and regional standards applicable to Reliability Coordinators shall remain with the Reliability Coordinator.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R5.		The Reliability Coordinator shall list within its reliability plan all entities to which the Reliability Coordinator has delegated required tasks.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		IRO-001-1.1		R6.		The Reliability Coordinator shall verify that all delegated tasks are carried out by NERC-certified Reliability Coordinator operating personnel.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-001-1.1		R7.		The Reliability Coordinator shall have clear, comprehensive coordination agreements with adjacent Reliability Coordinators to ensure that System Operating Limit or Interconnection Reliability Operating Limit violation mitigation requiring actions in adjacent Reliability Coordinator Areas are coordinated.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								yes		yes				Real-time or current hour

		IRO-001-1.1		R8.		Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall comply with Reliability Coordinator directives unless such actions would violate safety, equipment, or regulatory or statutory requirements.  Under these circumstances, the Transmission Operator, Balancing Authority, Generator Operator, Transmission Service Provider, Load-Serving Entity, or Purchasing-Selling Entity shall immediately inform the Reliability Coordinator of the inability to perform the directive so that the Reliability Coordinator may implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R9.		The Reliability Coordinator shall act in the interests of reliability for the overall Reliability Coordinator Area and the Interconnection before the interests of any other entity.		Performance-based (specifies a bulk power system outcome).		Is unclear.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-003-2		R1.		Each Reliability Coordinator shall monitor all Bulk Electric System facilities, which may include sub-transmission information, within its Reliability Coordinator Area and adjacent Reliability Coordinator Areas, as necessary to ensure that, at any time, regardless of prior planned or unplanned events, the Reliability Coordinator is able to determine any potential System Operating Limit and Interconnection Reliability Operating Limit violations within its Reliability Coordinator Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-003-2		R2.		Each Reliability Coordinator shall know the current status of all critical facilities whose failure, degradation or disconnection could result in an SOL or IROL violation.  Reliability Coordinators shall also know the status of any facilities that may be required to assist area restoration objectives.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-004-1		R1.		Each Reliability Coordinator shall conduct next-day reliability analyses for its Reliability Coordinator Area to ensure that the Bulk Electric System can be operated reliably in anticipated normal and Contingency event conditions.  The Reliability Coordinator shall conduct Contingency analysis studies to identify potential interface and other SOL and IROL violations, including overloaded transmission lines and transformers, voltage and stability limits, etc.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R2.		Each Reliability Coordinator shall pay particular attention to parallel flows to ensure one Reliability Coordinator Area does not place an unacceptable or undue Burden on an adjacent Reliability Coordinator Area.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R3.		Each Reliability Coordinator shall, in conjunction with its Transmission Operators and Balancing Authorities, develop action plans that may be required, including reconfiguration of the transmission system, re-dispatching of generation, reduction or curtailment of Interchange Transactions, or reducing load to return transmission loading to within acceptable SOLs or IROLs.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R4.		Each Transmission Operator, Balancing Authority, Transmission Owner, Generator Owner, Generator Operator, and Load-Serving Entity in the Reliability Coordinator Area shall provide information required for system studies, such as critical facility status, Load, generation, operating reserve projections, and known Interchange Transactions.  This information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R5.		Each Reliability Coordinator shall share the results of its system studies, when conditions warrant or upon request, with other Reliability Coordinators and with Transmission Operators, Balancing Authorities, and Transmission Service Providers within its Reliability Coordinator Area.  The Reliability Coordinator shall make study results available no later than 1500 Central Standard Time for the Eastern Interconnection and 1500 Pacific Standard Time for the Western Interconnection, unless circumstances warrant otherwise.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R6.		If the results of these studies indicate potential SOL or IROL violations, the Reliability Coordinator shall direct its Transmission Operators, Balancing Authorities and Transmission Service Providers to take any necessary action the Reliability Coordinator deems appropriate to address the potential SOL or IROL violation.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R7.		Each Transmission Operator, Balancing Authority, and Transmission Service Provider shall comply with the directives of its Reliability Coordinator based on the next day assessments in the same manner in which it would comply during real time operating events.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-005-2		R1.		Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R1.1.		Current status of Bulk Electric System elements (transmission or generation including critical auxiliaries such as Automatic Voltage Regulators and Special Protection Systems) and system loading.		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R10.		As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R11.		The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R12.		Whenever a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows. The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R13.		Each Reliability Coordinator shall ensure that all Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities operate to prevent the likelihood that a disturbance, action, or nonaction in its Reliability Coordinator Area will result in a SOL or IROL violation in another area of the Interconnection. In instances where there is a difference in derived limits, the Reliability Coordinator and its Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R14.		Each Reliability Coordinator shall make known to Transmission Service Providers within its Reliability Coordinator Area, SOLs or IROLs within its wide-area view. The Transmission Service Providers shall respect these SOLs or IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R15.		Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay. The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities. The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R4.		Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements. If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities. The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.												yes		Real-time or current hour

		IRO-005-2		R6.		Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				yes		yes				yes				Operations planning: day-ahead up to one year

		IRO-005-2		R7.		The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		IRO-005-2		R8.		Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance. The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.												yes		Real-time or current hour

		IRO-005-2		R9.		The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, IROL, CPS, or DCS violations. The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-3		R1.		Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-005-3		R10.		In instances where there is a difference in derived limits, the Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R11.		The Transmission Service Provider shall respect SOLs  and IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-005-3		R12.		Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay.  The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities.  The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R2.		Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements.  If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities.  The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		IRO-005-3		R3.		Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES								Operations planning: day-ahead up to one year

		IRO-005-3		R4.		The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		IRO-005-3		R5.		Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance.  The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R6.		The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, CPS, or DCS violations.  The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-005-3		R7.		As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES										Real-time or current hour

		IRO-005-3		R8.		The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES								YES		Real-time or current hour

		IRO-005-3		R9.		Whenever a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows.  The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.		A Reliability Coordinator experiencing a potential or actual SOL or IROL violation within its Reliability Coordinator Area shall, with its authority and at its discretion, select one or more procedures to provide transmission loading relief. These procedures can be a “local” (regional, interregional, or sub-regional) transmission loading relief procedure or one of the following Interconnection-wide procedures: [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.1.		The Interconnection-wide Transmission Loading Relief (TLR) procedure for use in the Eastern Interconnection provided in Attachment 1-IRO-006-4. The TLR procedure alone is an inappropriate and ineffective tool to mitigate an IROL violation due to the time required to implement the procedure. Other acceptable and more effective procedures to mitigate actual IROL violations include: reconfiguration, redispatch, or load shedding.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.2.		The Interconnection-wide transmission loading relief procedure for use in the Western Interconnection is the WECC Unscheduled Flow Reduction Procedure provided at: http://www.wecc.biz/documents/library/UFAS/UFAS_mitigation_plan_rev_2001-clean_8-8-03.pdf.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.3.		The Interconnection-wide transmission loading relief procedure for use in ERCOT is provided as Section 7 of the ERCOT Protocols, posted at: http://www.ercot.com/mktrules/protocols/current.html		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R2.		The Reliability Coordinator shall only use local transmission loading relief or congestion management procedures to which the Transmission Operator experiencing the potential or actual SOL or IROL violation is a party. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R3.		Each Reliability Coordinator with a relief obligation from an Interconnection-wide procedure shall follow the curtailments as directed by the Interconnection-wide procedure. A Reliability Coordinator desiring to use a local procedure as a substitute for curtailments as directed by the Interconnection-wide procedure shall obtain prior approval of the local procedure from the ERO.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-006-4.1		R4.		When Interconnection-wide procedures are implemented to curtail Interchange Transactions that cross an Interconnection boundary, each Reliability Coordinator shall comply with the provisions of the Interconnection-wide procedure.  [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R5.		During the implementation of relief procedures, and up to the point that emergency action is necessary, Reliability Coordinators and Balancing Authorities shall comply with applicable Interchange scheduling standards. [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-008-1		R2.		Each Reliability Coordinator shall perform a Real-Time Assessment at least once every 30 minutes to determine if its Wide Area is exceeding any IROLs or is expected to exceed any IROLs.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Real-time or current hour

		IRO-008-1		R3.		When a Reliability Coordinator determines that the results of an Operational Planning Analysis or Real-Time Assessment indicates the need for specific operational actions to prevent or mitigate an instance of exceeding an IROL, the Reliability Coordinator shall share its results with those entities that are expected to take those actions. (Time Horizon: Real-time Operations or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R1.		For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator identifies one or more days prior to the current day, the Reliability Coordinator shall have one or more Operating Processes, Procedures, or Plans that identify actions it shall take or actions it shall direct others to take (up to and including load shedding) that can be implemented in time to prevent exceeding those IROLs. (Time Horizon: Operations Planning or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R2.		For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator identifies one or more days prior to the current day, the Reliability Coordinator shall have one or more Operating Processes, Procedures, or Plans that identify actions it shall take or actions it shall direct others to take (up to and including load shedding) to mitigate the magnitude and duration of exceeding that IROL such that the IROL is relieved within the IROL’s Tv. (Time Horizon: Operations Planning or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R3.		When an assessment of actual or expected system conditions predicts that an IROL in its Reliability Coordinator Area will be exceeded, the Reliability Coordinator shall implement one or more Operating Processes, Procedures or Plans (not limited to the Operating Processes, Procedures, or Plans developed for Requirements R1) to prevent exceeding that IROL.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-009-1		R4.		When actual system conditions show that there is an instance of exceeding an IROL in its Reliability Coordinator Area, the Reliability Coordinator shall, without delay, act or direct others to act to mitigate the magnitude and duration of the instance of exceeding that IROL within the IROL’s Tv.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-009-1		R5.		If unanimity cannot be reached on the value for an IROL or its Tv, each Reliability Coordinator that monitors that Facility (or group of Facilities) shall, without delay, use the most conservative of the values (the value with the least impact on reliability) under consideration.  (Time Horizon: Real-time Operations)		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-010-1		R1.		The Reliability Coordinator shall have a documented specification for data and information to build and maintain models to support Real-time monitoring, Operational Planning Analyses, and Real-time Assessments of its Reliability Coordinator Area to prevent instability, uncontrolled separation, and cascading outages. The specification shall include the following: (Time Horizon: Operations Planning)		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.1.		List of required data and information needed by the Reliability Coordinator to support Real-Time Monitoring, Operational Planning Analyses, and Real-Time Assessments.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.2.		Mutually agreeable format.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.3.		Timeframe and periodicity for providing data and information (based on its hardware and software requirements, and the time needed to do its Operational Planning Analyses).		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.4.		Process for data provision when automated Real-Time system operating data is unavailable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES

		IRO-010-1		R2.		The Reliability Coordinator shall distribute its data specification to entities that have Facilities monitored by the Reliability Coordinator and to entities that provide Facility status to the Reliability Coordinator. (Violation Risk Factor: Low) (Time Horizon: Operations Planning)		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R3.		Each Balancing Authority, Generator Owner, Generator Operator, Interchange Authority, Load-serving Entity, Reliability Coordinator, Transmission Operator, and Transmission Owner shall provide data and information, as specified, to the Reliability Coordinator(s) with which it has a reliability relationship. (Violation Risk Factor: Medium) (Time Horizon: Operations Planning; Same-day Operations; Real-time Operations)		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-014-1		R1.		The Reliability Coordinator shall have Operating Procedures, Processes, or Plans in place for activities that require notification, exchange of information or coordination of actions with one or more other Reliability Coordinators to support Interconnection reliability.  These Operating Procedures, Processes, or Plans shall address Scenarios that affect other Reliability Coordinator Areas as well as those developed in coordination with other Reliability Coordinators.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R2.		Each Reliability Coordinator’s Operating Procedure, Process, or Plan that requires one or more other Reliability Coordinators to take action (e.g., make notifications, exchange information, or coordinate actions) shall be:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R3.		A Reliability Coordinator’s Operating Procedures, Processes, or Plans developed to support a Reliability Coordinator-to-Reliability Coordinator Operating Procedure, Process, or Plan shall include:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R4.		Each of the Operating Procedures, Processes, and Plans addressed in Reliability Standard IRO-014 Requirement 1 and Requirement 3 shall:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		IRO-015-1		R1.		The Reliability Coordinator shall follow its Operating Procedures, Processes, or Plans for making notifications and exchanging reliability-related information with other Reliability Coordinators.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-015-1		R1.1.		The Reliability Coordinator shall make notifications to other Reliability Coordinators of conditions in its Reliability Coordinator Area that may impact other Reliability Coordinator Areas.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-015-1		R2.		The Reliability Coordinator shall participate in agreed upon conference calls and other communication forums with adjacent Reliability Coordinators.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-015-1		R3.		The Reliability Coordinator shall provide reliability-related information as requested by other Reliability Coordinators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-016-1		R1.		The Reliability Coordinator that identifies a potential, expected, or actual problem that requires the actions of one or more other Reliability Coordinators shall contact the other Reliability Coordinator(s) to confirm that there is a problem and then discuss options and decide upon a solution to prevent or resolve the identified problem.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-016-1		R1.1.		If the involved Reliability Coordinators agree on the problem and the actions to take to prevent or mitigate the system condition, each involved Reliability Coordinator shall implement the agreed-upon solution, and notify the involved Reliability Coordinators of the action(s) taken.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R1.2.		If the involved Reliability Coordinators cannot agree on the problem(s) each Reliability Coordinator shall re-evaluate the causes of the disagreement (bad data, status, study results, tools, etc.).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R1.3.		If the involved Reliability Coordinators cannot agree on the solution, the more conservative solution shall be implemented.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R2.		The Reliability Coordinator shall document (via operator logs or other data sources) its actions taken for either the event or for the disagreement on the problem(s) or for both.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Real-time or current hour

		MOD-001-0		R1.1.		A narrative explaining how TTC and ATC values are determined.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.2.		An accounting for how the reservations and schedules for firm (non-recallable) and non-firm (recallable) transfers, both within and outside the Transmission Service Provider’s system, are included.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.3.		An accounting for the ultimate points of power injection (sources) and power extraction (sinks) in TTC and ATC calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.4.		A description of how incomplete or so-called partial path transmission reservations are addressed. (Incomplete or partial path transmission reservations are those for which all transmission reservations necessary to complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing reservation priorities, durations, or because the reservations have not all been made.)		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.		A requirement that TTC and ATC values shall be determined and posted as follows:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.1.		Daily values for current week at least once per day.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.2.		Daily values for day 8 through the first month at least once per week.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.3.		Monthly values for months 2 through 13 at least once per month.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.6.		Indication of the treatment and level of customer demands, including interruptible demands.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.7.		A specification of how system conditions, limiting facilities, contingencies, transmission reservations, energy schedules, and other data needed by Transmission Service Providers for the calculation of TTC and ATC values are shared and used within the Regional Reliability Organization and with neighboring interconnected electric systems, including adjacent systems, subregions, and Regional Reliability Organizations. In addition, specify how this information is to be used to determine TTC and ATC values. If some data is not used, provide an explanation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.8.		A description of how the assumptions for and the calculations of TTC and ATC values change over different time (such as hourly, daily, and monthly) horizons.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.9.		A description of the Regional Reliability Organization’s practice on the netting of transmission reservations for purposes of TTC and ATC determination.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R2.		The Regional Reliability Organization shall make the most recent version of the documentation of its TTC and ATC methodology available on a Web site accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R1.		Each Transmission Operator shall select one of the methodologies  listed below for calculating Available Transfer Capability (ATC) or Available Flowgate Capability (AFC) for each ATC Path per time period identified in R2 for those Facilities within its Transmission operating area:  [Time Horizon: Operations Planning]
 The Area Interchange Methodology, as described in MOD-028
 The Rated System Path Methodology, as described in MOD-029
 The Flowgate Methodology, as described in MOD-030		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.		Each Transmission Service Provider shall calculate ATC or AFC values as listed below using the methodology or methodologies selected by its Transmission Operator(s):  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.1.		Hourly values for at least the next 48 hours.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.2.		Daily values for at least the next 31 calendar days.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.3.		Monthly values for at least the next 12 months (months 2-13).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.		Each Transmission Service Provider shall prepare and keep current an Available Transfer Capability Implementation Document (ATCID) that includes, at a minimum, the following information: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.1.		Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC or AFC calculations can be validated.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.		A description of the manner in which the Transmission Service Provider will account for counterflows including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.1.		How confirmed Transmission reservations, expected Interchange and internal counterflow are addressed in firm and non-firm ATC or AFC calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.2.		A rationale for that accounting specified in R3.2.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.3.		The identity of the Transmission Operators  and Transmission Service Providers from which the Transmission Service Provider receives data for use in calculating ATC or AFC.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-001-1		R3.4.		The identity of the Transmission Service Providers and Transmission Operators to which it provides data for use in calculating transfer or Flowgate capability.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-001-1		R3.5.		A description of the allocation processes listed below that are applicable to the Transmission Service Provider:
• Processes used to allocate transfer or Flowgate capability among multiple lines or sub-paths within a larger ATC Path or Flowgate.
• Processes used to allocate transfer or Flowgate capabilities among multiple owners or users of an ATC Path or Flowgate.
• Processes used to allocate transfer or Flowgate capabilities between Transmission Service Providers to address issues such as forward looking congestion management and seams coordination.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.		A description of how generation and transmission outages are considered in transfer or Flowgate capability calculations, including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.1.		The criteria used to determine when an outage that is in effect part of a day impacts a daily calculation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.2.		The criteria used to determine when an outage that is in effect part of a month impacts a monthly calculation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.3.		How outages from other Transmission Service Providers that can not be mapped to the Transmission model used to calculate transfer or Flowgate capability are addressed.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R4.		The Transmission Service Provider shall notify the following entities before implementing a new or revised ATCID: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.1.		Each Planning Coordinator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.2.		Each Reliability Coordinator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.3.		Each Transmission Operator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.4.		Each Planning Coordinator adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.5.		Each Reliability Coordinator adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.6.		Each Transmission Service Provider whose area is adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R5.		The Transmission Service Provider shall make available the current ATCID to all of the entities specified in R4. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R6.		When calculating Total Transfer Capability (TTC) or Total Flowgate Capability (TFC) the Transmission Operator shall use assumptions no more limiting than those used in the planning of operations for the corresponding time period studied, providing such planning of operations has been performed for that time period.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R7.		When calculating ATC or AFC the Transmission Service Provider shall use assumptions no more limiting than those used in the planning of operations for the corresponding time period studied, providing such planning of operations has been performed for that time period. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R8.		Each Transmission Service Provider that calculates ATC shall recalculate ATC at a minimum on the following frequency, unless none of the calculated values identified in the ATC equation have changed:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R8.1.		Hourly values, once per hour.  Transmission Service Providers are allowed up to 175 hours per calendar year during which calculations are not required to be performed, despite a change in a calculated value identified in the ATC equation.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-001-1		R8.2.		Daily values, once per day.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-001-1		R8.3.		Monthly values, once per week.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R9.		Within thirty calendar days of receiving a request by any Transmission Service Provider, Planning Coordinator, Reliability Coordinator, or Transmission Operator for data from the list below solely for use in the requestor’s ATC or AFC calculations, each Transmission Service Provider receiving said request shall begin to make the requested data available to the requestor, subject to the conditions specified in R9.1 and R9.2:  [Time Horizon: Operations Planning]  • Expected generation and Transmission outages, additions, and retirements. • Load forecasts.  • Unit commitments and order of dispatch, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:  Dispatch Order  Participation Factors
 Block Dispatch  • Aggregated firm capacity set-aside for Network Integration Transmission Service and aggregated non-firm capacity set aside for Network Integration Transmission Service (i.e. Secondary Service).  • Firm and non-firm Transmission reservations.  • Aggregated capacity set-aside for Grandfathered obligations   • Firm roll-over rights.  • Any firm and non-firm adjustments applied by the Transmission Service Provider to reflect parallel path impacts.  • Power flow models and underlying assumptions.  • Contingencies, provided in one or more of the following formats: A list of Elements   A list of Flowgates   A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider  • Facility Ratings.  • Any other services that impact Existing Transmission Commitments (ETCs).
• Values of Capacity Benefit Margin (CBM) and Transmission Reliability Margin (TRM) for all ATC Paths or Flowgates.  • Values of Total Flowgate Capability (TFC) and AFC for any Flowgates considered by the Transmission Service Provider receiving the request when selling Transmission service.   • Values of TTC and ATC for all ATC Paths for those Transmission Service Providers receiving the request that do not consider Flowgates when selling Transmission Service.  • Source and sink identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.		The Transmission Service Provider shall make its own current data available, in the format maintained by the Transmission Service Provider, for up to 13 months into the future (subject to confidentiality and security requirements).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.1.		If the Transmission Service Provider uses the data requested in its transfer or Flowgate capability calculations, it shall make the data used available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.2.		If the Transmission Service Provider does not use the data requested in its transfer or Flowgate capability calculations, but maintains that data, it shall make that data available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.3.		If the Transmission Service Provider does not use the data requested in its transfer or Flowgate capability calculations, and does not maintain that data, it shall not be required to make that data available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.2.		This data shall be made available by the Transmission Provider on the schedule specified by the requestor (but no more frequently than once per hour, unless mutually agreed to by the requester and the provider).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		MOD-002-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to periodically review (at least annually) and ensure that the TTC and ATC calculations and resulting values of member Transmission Service Providers comply with the Regional TTC and ATC methodology and applicable Regional criteria.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.												YES		Planning: one year and longer

		MOD-002-0		R2.		Each Regional Reliability Organization shall document the results of its periodic reviews of TTC and ATC.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-002-0		R3.		The Regional Reliability Organization shall provide the results of its most current reviews of TTC and ATC to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-003-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a procedure on how transmission users can input their concerns or questions regarding the TTC and ATC methodology and values of the Transmission Service Provider(s), and how these concerns or questions will be addressed. The Regional Reliability Organization’s procedure shall specify the following:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-003-0		R1.1.		The name, telephone number and email address of a contact person to whom concerns are to be addressed.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-003-0		R1.2.		The amount of time it will take for a response.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-003-0		R1.3.		The manner in which the response will be communicated (e.g., email, letter, telephone, etc).		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-003-0		R1.4.		What recourse a customer has if the response is deemed unsatisfactory.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-003-0		R2.		The Regional Reliability Organization shall post on a web site that is accessible by the Regional Reliability Organizations, NERC, and transmission users, its procedure for receiving and addressing concerns about the TTC and ATC methodology and TTC and ATC values of member Transmission Service Providers.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a Regional CBM methodology. The Regional Reliability Organization’s CBM methodology shall include each of the following ten items, and shall explain its use in determining CBM value. Other items that are Regional Reliability Organization specific or that are considered in each respective Regional Reliability Organization methodology shall also be explained along with their use in determining CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.1.		Specify that the method used by each Regional Reliability Organization member to determine its generation reliability requirements as the basis for CBM shall be consistent with its generation planning criteria.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.10.		Describe the inclusion or exclusion rationale for generation reserve sharing arrangements in the CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.2.		Specify the frequency of calculation of the generation reliability requirement and associated CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.3.		Require that generation unit outages considered in a Transmission Service Provider’s CBM calculation be restricted to those units within the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.4.		Require that CBM be preserved only on the Transmission Service Provider’s System where the Load-Serving Entity’s Load is located (i.e., CBM is an import quantity only).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.5.		Describe the inclusion or exclusion rationale for generation resources of each Load-Serving Entity including those generation resources not directly connected to the Transmission Service Provider’s system but serving Load-Serving Entity loads connected to the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.6.		Describe the inclusion or exclusion rationale for generation connected to the Transmission Service Provider’s system but not obligated to serve Native/Network Load connected to the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.7.		Describe the formal process and rationale for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional Reliability Organization’s CBM methodology.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.9.		Describe the inclusion or exclusion rationale for the loads of each Load-Serving Entity, including interruptible demands and buy-through contracts (type of service contract that offers the customer the option to be interrupted or to accept a higher rate for service under certain conditions).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R2.		The Regional Reliability Organization shall make the most recent version of the documentation of its CBM methodology available on a website accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-004-1		R1.		The Transmission Service Provider that maintains CBM shall prepare and keep current a “Capacity Benefit Margin Implementation Document” (CBMID) that includes, at a minimum, the following information: [Time Horizon: Operations Planning, Long-term Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R1.1.		The process through which a Load-Serving Entity within a Balancing Authority Area associated with the Transmission Service Provider, or the Resource Planner associated with that Balancing Authority Area, may ensure that its need for Transmission capacity to be set aside as CBM will be reviewed and accommodated by the Transmission Service Provider to the extent Transmission capacity is available.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-1		R1.2.		The procedure and assumptions for establishing CBM for each Available Transfer Capability (ATC) Path or Flowgate.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-1		R1.3.		The procedure for a Load-Serving Entity or Balancing Authority to use Transmission capacity set aside as CBM, including the manner in which the Transmission Service Provider will manage situations where the requested use of CBM exceeds the amount of CBM available.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-1		R10.		The Load-Serving Entity or Balancing Authority shall  request to import energy over firm Transfer Capability set aside as CBM only when experiencing a declared NERC Energy Emergency Alert (EEA) 2 or higher.  [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R11.		When reviewing an Arranged Interchange using CBM, all Balancing Authorities and Transmission Service Providers shall waive, within the bounds of reliable operation, any Real-time timing and ramping requirements. [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R12.		The Transmission Service Provider that maintains CBM shall approve, within the bounds of reliable operation, any Arranged Interchange using CBM that is submitted by an “energy deficient entity ” under an EEA 2 if: [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R12.1.		The CBM is available		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Operations planning: day-ahead up to one year

		MOD-004-1		R12.3.		The Load of the “energy deficient entity” is located within the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-004-1		R2.		The Transmission Service Provider that maintains CBM shall make available its current CBMID to the Transmission Operators, Transmission Service Providers, Reliability Coordinators, Transmission Planners, Resource Planners, and Planning Coordinators that are within or adjacent to the Transmission Service Provider’s area, and to the Load Serving Entities and Balancing Authorities within the Transmission Service Provider’s area, and notify those entities of any changes to the CBMID prior to the effective date of the change.  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R3.		Each Load-Serving Entity determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R3.1.		Using one or more of the following to determine the GCIR:
Loss of Load Expectation (LOLE) studies
Loss of Load Probability (LOLP) studies
Deterministic risk-analysis studies 
Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R3.2.		Identifying expected import path(s) or source region(s).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-004-1		R4.		Each Resource Planner determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R4.1.		Using one or more of the following to determine the GCIR:
Loss of Load Expectation (LOLE) studies
Loss of Load Probability (LOLP) studies
Deterministic risk-analysis studies
Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R4.2.		Identifying expected import path(s) or source region(s).		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R5.		At least every 13 months, the Transmission Service Provider that maintains CBM shall establish a CBM value for each ATC Path or Flowgate to be used for ATC or Available Flowgate Capability (AFC) calculations during the 13 full calendar months (months 2-14) following the current month (the month in which the Transmission Service Provider is establishing the CBM values).  This value shall: [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R5.1.		Reflect consideration of each of the following if available:
Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Service Provider’s area 
Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Service Provider’s area  
Any reserve margin or resource adequacy requirements for loads within the Transmission Service Provider’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-004-1		R5.2.		Be allocated as follows:
For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners
For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Service Provider		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-1		R6.		At least every 13 months, the Transmission Planner shall establish a CBM value for each ATC Path or Flowgate to be used in planning during each of the full calendar years two through ten following the current year (the year in which the Transmission Planner is establishing the CBM values).  This value shall:  [Time Horizon: Long-term Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-004-1		R6.1.		Reflect consideration of each of the following if available:
Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Planner’s area 
Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Planner’s area
Any reserve margin or resource adequacy requirements for loads within the Transmission Planner’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-004-1		R6.2.		Be allocated as follows:
For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners
 For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Planner.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-1		R7.		Less than 31 calendar days after the establishment of CBM, the Transmission Service Provider that maintains CBM shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the Transmission Service Provider’s system of the amount of CBM set aside. [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R8.		Less than 31 calendar days after the establishment of CBM, the Transmission Planner shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the system being planned by the Transmission Planner of the amount of CBM set aside. [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.		The Transmission Service Provider that maintains CBM and the Transmission Planner shall each provide (subject to confidentiality and security requirements) copies of the applicable supporting data, including any models, used for determining CBM or allocating CBM over each ATC Path or Flowgate to the following: [Time Horizon: Operations Planning, Long-term Planning]		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.1.		Each of its associated Transmission Operators within 30 calendar days of their making a request for the data.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.2.		To any Transmission Service Provider, Reliability Coordinator, Transmission Planner, Resource Planner, or Planning Coordinator within 30 calendar days of their making a request for the data.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-005-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review (at least annually) the CBM calculations and the resulting values of member Transmission Service Providers to ensure that they comply with the Regional Reliability Organization’s CBM methodology. The procedure shall include the following four requirements:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.1		Indicate the frequency under which the verification review shall be implemented.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.2.		Require review of the process by which CBM values are updated, and their frequency of update, to ensure that the most current CBM values are available to transmission users.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.3.		Require review of the consistency of the Transmission Service Provider’s CBM components with its published planning criteria. A CBM value is considered consistent with published planning criteria if the components that comprise CBM are addressed in the planning criteria. The methodology used to determine and apply CBM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumptions explained.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-005-0		R1.4.		Require CBM values to be periodically updated (at least annually) and available to the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-005-0		R2.		Each Regional Reliability Organization shall document its CBM procedure and shall make its CBM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R3.		The Regional Reliability Organization shall provide documentation of the results of the most current implementation of its CBM review procedure to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-006-0.1		R1.		R1. Each Transmission Service Provider shall document its procedure on the use of Capacity Benefit Margin (CBM) (scheduling of energy against a CBM reservation).  The procedure shall include the following three components:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.1.		Require that CBM be used only after the following steps have been taken (as time permits): all non-firm sales have been terminated, Direct-Control Load Management has been implemented, and customer interruptible demands have been interrupted.  CBM may be used to reestablish Operating Reserves.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.2.		Require that CBM shall only be used if the Load-Serving Entity calling for its use is experiencing a generation deficiency and its Transmission Service Provider is also experiencing Transmission Constraints relative to imports of energy on its transmission system.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.3.		Describe the conditions under which CBM may be available as Non-Firm Transmission Service.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-006-0.1		R2.		Each Transmission Service Provider shall make its CBM use procedure available on a web site accessible by the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		MOD-007-0		R1.		Each Transmission Service Provider that uses CBM shall report (to the Regional Reliability Organization, NERC and the transmission users) the use of CBM by the Load-Serving Entities’ Loads on its system, except for CBM sales as Non-Firm Transmission Service. (This use of CBM shall be consistent with the Transmission Service Provider’s procedure for use of CBM.)		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.		The Transmission Service Provider shall post the following three items within 15 calendar days after the use of CBM for an Energy Emergency.  This posting shall be on a web site accessible by the Regional Reliability Organizations, NERC, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.1.		Circumstances.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.2.		Duration.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.3.		Amount of CBM used.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a Regional TRM methodology. The Region’s TRM methodology shall specify or describe each of the following five items, and shall explain its use, if any, in determining TRM values. Other items that are Region-specific or that are considered in each respective Regional methodology shall also be explained along with their use in determining TRM values.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Operations planning: day-ahead up to one year

		MOD-008-0		R1.1.		Specify the update frequency of TRM calculations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.2.		Specify how TRM values are incorporated into Available Transfer Capability calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.		Specify the uncertainties accounted for in TRM and the methods used to determine their impacts on the TRM values. Any component of uncertainty, other than those identified in MOD-008-0_R1.3.1 through MOD-008-0_R1.3.7, shall benefit the interconnected transmission systems as a whole before they shall be permitted to be included in TRM calculations. The components of uncertainty identified in MOD-008-0_R1.3.1 through MOD-008-0_R1.3.7, if applied, shall be accounted for solely in TRM and not CBM.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.1.		Aggregate Load forecast error (not included in determining generation
reliability requirements).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.2.		Load distribution error.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.3.		Variations in facility Loadings due to balancing of generation within a
Balancing Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.4.		Forecast uncertainty in transmission system topology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.5.		Allowances for parallel path (loop flow) impacts.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.6.		Allowances for simultaneous path interactions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.7.		Variations in generation dispatch.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.8.		Short-term System Operator response (Operating Reserve actions not
exceeding a 59-minute window).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.4.		Describe the conditions, if any, under which TRM may be available to the market as Non-Firm Transmission Service.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.5.		Describe the formal process for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional TRM methodology.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R2.		The Regional Reliability Organization shall make its most recent version of the documentation of its TRM methodology available on a web site accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-008-1		R1.		Each Transmission Operator shall prepare and keep current a TRM Implementation Document (TRMID) that includes, as a minimum, the following information:  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.1.		Identification of (on each of its respective ATC Paths or Flowgates) each of the following components of uncertainty if used in establishing TRM, and a description of how that component is used to establish a TRM value:
- Aggregate Load forecast.
- Load distribution uncertainty.
- Forecast uncertainty in Transmission system topology (including, but not limited to, forced or unplanned outages and maintenance outages).
- Allowances for parallel path (loop flow) impacts.
- Allowances for simultaneous path interactions.
- Variations in generation dispatch (including, but not limited to, forced or unplanned outages, maintenance outages and location of future generation).
- Short-term System Operator response (Operating Reserve actions ).
- Reserve sharing requirements.
- Inertial response and frequency bias.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-008-1		R1.2.		The description of the method used to allocate TRM across ATC Paths or Flowgates.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.		The identification of the TRM calculation used for the following time periods:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.1.		Same day and real-time.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.2.		Day-ahead and pre-schedule.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R2.		Each Transmission Operator shall only use the components of uncertainty from R1.1 to establish TRM, and shall not include any of the components of Capacity Benefit Margin (CBM). Transmission capacity set aside for reserve sharing agreements can be included in TRM. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Operations planning: day-ahead up to one year

		MOD-008-1		R3.		Each Transmission Operator shall make available its TRMID, and if requested, underlying documentation (if any) used to determine TRM, in the format used by the Transmission Operator, to any of the following who make a written request no more than 30 calendar days after receiving the request.  [Time Horizon: Operations Planning] 
• Transmission Service Providers
• Reliability Coordinators
• Planning Coordinators
• Transmission Planner
• Transmission Operators		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-008-1		R4.		Each Transmission Operator that maintains TRM shall establish TRM values in accordance with the TRMID at least once every 13 months. [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-008-1		R5.		The Transmission Operator that maintains TRM shall provide the TRM values to its Transmission Service Provider(s) and Transmission Planner(s) no more than seven calendar days after a TRM value is initially established or subsequently changed. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-009-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review Transmission Reliability Margin (TRM) calculations and resulting values of member Transmission Service Providers to ensure they comply with the Regional TRM methodology, and are periodically updated and available to transmission users. This procedure shall include the following four required elements:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-009-0		R1.1.		Indicate the frequency under which the verification review shall be implemented.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.2.		Require review of the process by which TRM values are updated, and their frequency of update, to ensure that the most current TRM values are available to transmission users.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.3.		Require review of the consistency of the Transmission Service Provider’s TRM components with its published planning criteria. A TRM value is considered consistent with published planning criteria if the same components that comprise TRM are also addressed in the planning criteria. The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.4.		Require TRM values to be periodically updated (at least prior to each season — winter, spring, summer, and fall), as necessary, and made available to the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R2.		The Regional Reliability Organization shall make documentation of its Regional TRM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-009-0		R3.		The Regional Reliability Organization shall make documentation of the results of the most current implementation of its TRM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-010-0		R1.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners  (specified in the data requirements and reporting procedures of MOD-011-0_R1) shall provide appropriate equipment characteristics, system data, and existing and future Interchange Schedules in compliance with its respective Interconnection Regional steady-state modeling and simulation data requirements and reporting procedures as defined in Reliability Standard MOD-011-0_R 1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES				YES		Operations planning: day-ahead up to one year

		MOD-010-0		R2.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners  (specified in the data requirements and reporting procedures of MOD-011-0_R1) shall provide this steady-state modeling and simulation data to the Regional Reliability Organizations, NERC, and those entities specified within Reliability Standard MOD-011-0_R 1. If no schedule exists, then these entities shall provide the data on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-011-0		R1.		The Regional Reliability Organizations within an Interconnection, in conjunction with the Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners, shall develop comprehensive steady-state data requirements and reporting procedures needed to model and analyze the steady-state conditions for each of the NERC Interconnections: Eastern, Western, and ERCOT. Within an Interconnection, the Regional Reliability
Organizations shall jointly coordinate the development of the data requirements and reporting procedures for that Interconnection. The Interconnection-wide requirements shall include the following steady-state data requirements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.1.		Bus (substation): name, nominal voltage, electrical demand supplied (consistent with the aggregated and dispersed substation demand data supplied per Reliability Standards MOD-016-0, MOD-017-0, and MOD-020-0 ), and location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.2.		Generating Units (including synchronous condensers, pumped storage, etc.): location, minimum and maximum Ratings (net Real and Reactive Power), regulated bus and voltage set point, and equipment status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.3.		AC Transmission Line or Circuit (overhead and underground): nominal voltage, impedance, line charging, Normal and Emergency Ratings (consistent with methodologies defined and Ratings supplied per Reliability Standard FAC-004-0 and FAC-005-0 ) equipment status, and metering locations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.4.		DC Transmission Line (overhead and underground): line parameters, Normal and Emergency Ratings, control parameters, rectifier data, and inverter data.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.5.		Transformer (voltage and phase-shifting): nominal voltages of windings, impedance, tap ratios (voltage and/or phase angle or tap step size), regulated bus and voltage set point, Normal and Emergency Ratings (consistent with methodologies defined and Ratings supplied per Reliability Standard FAC-004-0 and FAC-005-0.), and equipment status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.6.		Reactive Compensation (shunt and series capacitors and reactors): nominal Ratings, impedance, percent compensation, connection point, and controller device.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.7.		Interchange Schedules: Existing and future Interchange Schedules and/or assumptions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R2.		The Regional Reliability Organizations within an Interconnection shall document their Interconnection’s steady-state data requirements and reporting procedures, shall review those data requirements and reporting procedures (at least every five years), and shall make the data requirements and reporting procedures available on request (within five business days) to Regional Reliability Organizations, NERC, and all users of the interconnected transmission systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-012-0		R1.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners (specified in the data requirements and reporting procedures of MOD-013-0_R1) shall provide appropriate equipment characteristics and system data in compliance with the respective Interconnection-wide Regional dynamics system modeling and simulation data requirements and reporting procedures as defined in Reliability Standard MOD-013-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-012-0		R2.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners (specified in the data requirements and reporting procedures of MOD-013-0_R4) shall provide dynamics system modeling and simulation data to its Regional Reliability Organization(s), NERC, and those entities specified within the applicable reporting procedures identified in Reliability Standard MOD-013-0_R 1.  If no schedule exists, then these entities shall provide data on request (30 calendar days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.		The Regional Reliability Organization, in coordination with its Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners, shall develop comprehensive dynamics data requirements and reporting procedures needed to model and analyze the dynamic behavior or response of each of the NERC Interconnections: Eastern, Western, and ERCOT. Within an Interconnection, the Regional Reliability Organizations shall jointly coordinate on the development of the data requirements and reporting procedures for that Interconnection. Each set of Interconnection-wide dynamics data requirements shall include the following dynamics data requirements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.1.		Design data shall be provided for new or refurbished excitation systems (for synchronous generators and synchronous condensers) at least three months prior to the installation date.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.1.1.		If design data is unavailable from the manufacturer 3 months prior to the installation date, estimated or typical manufacturer’s data, based on excitation systems of similar design and characteristics, shall be provided.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.		Unit-specific dynamics data shall be reported for generators and synchronous condensers (including, as appropriate to the model, items such as inertia constant, damping coefficient, saturation parameters, and direct and quadrature axes reactances and time constants), excitation systems, voltage regulators, turbine-governor systems, power system stabilizers, and other associated generation equipment.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.1.		Estimated or typical manufacturer’s dynamics data, based on units of similar design and characteristics, may be submitted when unit-specific dynamics data cannot be obtained. In no case shall other than unit-specific data be reported for generator units installed after 1990.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.2.		The Interconnection-wide requirements shall specify unit size thresholds for permitting:
− The use of non-detailed vs. detailed models,
− The netting of small generating units with bus load, and
− The combining of multiple generating units at one plant.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.3.		Device specific dynamics data shall be reported for dynamic devices, including, among others, static VAR controllers, high voltage direct current systems, flexible AC transmission systems, and static compensators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.4.		Dynamics data representing electrical Demand characteristics as a function of frequency and voltage.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.5.		Dynamics data shall be consistent with the reported steady-state (power flow) data supplied per Reliability Standard MOD-010 Requirement 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R2.		The Regional Reliability Organization shall participate in the documentation of its Interconnection’s data requirements and reporting procedures and, shall participate in the review of those data requirements and reporting procedures (at least every five years), and shall provide those data requirements and reporting procedures to Regional Reliability Organizations, NERC, and all users of the Interconnected systems on request (within five business days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-014-0		R1.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop and maintain a library of solved (converged) Interconnection-specific steadystate system models. The Interconnection-specific models shall include near- and longer-term planning horizons that are representative of system conditions for projected seasonal peak, minimum, and other appropriate system demand levels.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-014-0		R2.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop steady-state system models annually for selected study years, as determined by the Regional Reliability Organizations within its Interconnection. The Regional Reliability Organization shall provide the most recent solved (converged) Interconnection-specific steadystate models to NERC in accordance with each Interconnection’s schedule for submission.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R1.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop and maintain a library of initialized (with no Faults or system Disturbances) Interconnection-specific dynamics system models linked to the steadystate system models, as appropriate, of Reliability Standard MOD-014-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R1.1.		The Regional Reliability Organization(s) shall develop Interconnectionspecific dynamics system models for at least two timeframes (present or nearterm model and a future or longer-term model), and additional seasonal and demand level models, as necessary, to analyze the dynamic response of that Interconnection.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R2.		The Regional Reliability Organization(s) within each Interconnection shall develop Interconnection dynamics system models for their Interconnection annually for selected study years as determined by the Regional Reliability Organization(s) within each Interconnection and shall provide the most recent initialized (approximately 25 seconds, no-fault) models to NERC in accordance with each Interconnection’s schedule for submission.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R1.		The Planning Authority and Regional Reliability Organization shall have documentation identifying the scope and details of the actual and forecast (a) Demand data, (b) Net Energy for Load data, and (c) controllable DSM data to be reported for system modeling and reliability analyses.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R1.1.		The aggregated and dispersed data submittal requirements shall ensure that consistent data is supplied for Reliability Standards TPL-005, TPL-006, MOD-010, MOD-011, MOD-012, MOD-013, MOD-014, MOD-015, MOD-016, MOD-017, MOD-018, MOD-019, MOD-020, and MOD-021.   The data submittal requirements shall stipulate that each Load-Serving Entity count its customer Demand once and only once, on an aggregated and dispersed basis, in developing its actual and forecast customer Demand values.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R2.		The Regional Reliability Organization shall distribute its documentation required in Requirement 1 and any changes to that documentation, to all Planning Authorities that work within its Region.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R2.1.		The Regional Reliability Organization shall make this distribution within 30 calendar days of approval.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-016-1.1		R3.		The Planning Authority shall distribute its documentation required in R1 for reporting customer data and any changes to that documentation, to its Transmission Planners and Load-Serving Entities that work within its Planning Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R3.1.		The Planning Authority shall make this distribution within 30 calendar days of approval.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.		The Load-Serving Entity, Planning Authority and Resource Planner shall each provide the following information annually on an aggregated Regional, subregional, Power Pool, individual system, or Load-Serving Entity basis to NERC, the Regional Reliability Organizations, and any other entities specified by the documentation in Standard MOD-016-1_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.1.		Integrated hourly demands in megawatts (MW) for the prior year.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.2.		Monthly and annual peak hour actual demands in MW and Net Energy for Load in gigawatthours (GWh) for the prior year.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.3.		Monthly peak hour forecast demands in MW and Net Energy for Load in GWh for the next two years.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.4.		Annual Peak hour forecast demands (summer and winter) in MW and annual Net Energy for load in GWh for at least five years and up to ten years into the future, as requested.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.		The Load-Serving Entity, Planning Authority, Transmission Planner and Resource Planner’s report of actual and forecast demand data (reported on either an aggregated or dispersed basis) shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.1.		Indicate whether the demand data of nonmember entities within an area or Regional Reliability Organization are included, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.2.		Address assumptions, methods, and the manner in which uncertainties are treated in the forecasts of aggregated peak demands and Net Energy for Load.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.3.		Items (MOD-018-0_R 1.1) and (MOD-018-0_R 1.2) shall be addressed as described in the reporting procedures developed for Standard MOD-016-1_R 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R2.		The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource Planner shall each report data associated with Reliability Standard MOD-018-0_R1 to NERC, the Regional Reliability Organization, Load-Serving Entity, Planning Authority, and Resource Planner on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-019-0.1		R1.		The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource Planner shall each provide annually its forecasts of interruptible demands and Direct Control Load Management (DCLM) data for at least five years and up to ten years into the future, as requested, for summer and winter peak system conditions to NERC, the Regional Reliability Organizations, and other entities (Load-Serving Entities, Planning Authorities, and Resource Planners) as specified by the documentation in Reliability Standard MOD-016-1_R 1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-020-0		R1.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make known its amount of interruptible demands and Direct Control Load Management (DCLM) to Transmission Operators, Balancing Authorities, and Reliability Coordinators on request within 30 calendar days.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R1.		The Load-Serving Entity, Transmission Planner, and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R2.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for Load in the data reporting procedures of Standard MOD-016-0_R 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R3.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-021-0.1		R1.		The Load-Serving Entity, Transmission Planner and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0.1		R2.		The Load-Serving Entity, Transmission Planner and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for Load in the data reporting procedures of Standard MOD-016-0_R1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0.1		R3.		The Load-Serving Entity, Transmission Planner and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-024-1		R1.		The Regional Reliability Organization shall establish and maintain procedures to address verification of generator gross and net Real Power capability. These procedures shall include the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.1.		Generating unit exemption criteria including documentation of those units that are exempt from a portion or all of these procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.2.		Criteria for reporting generating unit auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.3.		Acceptable methods for model and data verification, including any applicable conditions under which the data should be verified. Such methods can include use of manufacturer data, commissioning data, performance tracking, and testing, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.4.		Periodicity and schedule of model and data verification and reporting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.		Information to be verified and reported:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.1.		Seasonal gross and net Real Power generating capabilities.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.2.		Real power requirements of auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.3.		Method of verification, including date and conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R2.		The Regional Reliability Organization shall provide its generator gross and net Real Power capability verification and reporting procedures, and any changes to those procedures, to the Generator Owners, Generator Operators, Transmission Operators, Planning Authorities, and Transmission Planners affected by the procedure within 30 calendar days of the approval.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R3.		The Generator Owner shall follow its Regional Reliability Organization’s procedures for verifying and reporting its gross and net Real Power generating capability per R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.		The Regional Reliability Organization shall establish and maintain procedures to address verification of generator gross and net Reactive Power capability. These procedures shall include the following:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.1.		Generating unit exemption criteria including documentation of those units that are exempt from a portion or all of these procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.2.		Criteria for reporting generating unit auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.3.		Acceptable methods for model and data verification, including any applicable conditions under which the data should be verified. Such methods can include use of commissioning data, performance tracking, engineering analysis, testing, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.4.		Periodicity and schedule of model and data verification and reporting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.		Information to be reported:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.1.		Verified maximum gross and net Reactive Power capability (both lagging and leading) at Seasonal Real Power generating capabilities as reported in accordance with Reliability Standard MOD-024 Requirement 1.5.1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.2.		Verified Reactive Power limitations, such as generator terminal voltage
limitations, shorted rotor turns, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.3.		Verified Reactive Power of auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.4.		Method of verification, including date and conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R2.		The Regional Reliability Organization shall provide its generator gross and net Reactive Power capability verification and reporting procedures, and any changes to those procedures, to the Generator Owners, Generator Operators, Transmission Operators, Planning Authorities, and Transmission Planners affected by the procedure within 30 calendar days of the approval.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-025-1		R3.		The Generator Owner shall follow its Regional Reliability Organization’s procedures for verifying and reporting its gross and net Reactive Power generating capability per R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-028-1		R1.		Each Transmission Service Provider shall include in its Available Transfer Capability Implementation Document (ATCID), at a minimum, the following information relative to its methodology for determining Total Transfer Capability (TTC): [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.1.		Information describing how the selected methodology has been implemented, in such detail that, given the same information used by the Transmission Operator, the results of the TTC calculations can be validated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.2.		A description of the manner in which the Transmission Operator will account for Interchange Schedules in the calculation of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.3.		Any contractual obligations for allocation of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.4.		A description of the manner in which Contingencies are identified for use in the TTC process.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.		The following information on how source and sink for transmission service is accounted for in ATC calculations including:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.1.		Define if the source used for Available Transfer Capability (ATC) calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.2.		Define if the sink used for ATC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.3.		The source/sink or POR/POD identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.4.		If the Transmission Service Provider’s ATC calculation process involves a grouping of generation, the ATCID must identify how these generators participate in the group.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R10.		When calculating firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall utilize the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R11.		When calculating non-firm ATC for a ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.		When calculating TTC for ATC Paths, the Transmission Operator shall use a Transmission model that contains all of the following: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.1.		Modeling data and topology of its Reliability Coordinator’s area of responsibility. Equivalent representation of radial lines and facilities 161 kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.2.		Modeling data and topology (or equivalent representation) for immediately adjacent and beyond Reliability Coordination areas.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.3.		Facility Ratings specified by the Generator Owners and Transmission Owners.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.		When calculating TTCs for ATC Paths, the Transmission Operator shall include the following data for the Transmission Service Provider’s area. The Transmission Operator shall also include the following data associated with Facilities that are explicitly represented in the Transmission model, as provided by adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.		For on-peak and off-peak intra-day and next-day TTCs, use the following (as well as any other values and additional parameters as specified in the ATCID):		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.1.		Expected generation and Transmission outages, additions, and retirements, included as specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.2.		Load forecast for the applicable period being calculated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.3.		Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.		For days two through 31 TTCs and for months two through 13 TTCs, use the following (as well as any other values and internal parameters as specified in the ATCID):		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.1.		Expected generation and Transmission outages, additions, and Retirements, included as specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.2.		Daily load forecast for the days two through 31 TTCs being calculated and monthly forecast for months two through 13 months TTCs being calculated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.3.		Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.		When calculating TTCs for ATC Paths, the Transmission Operator shall meet all of the following conditions: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.1.		Use all Contingencies meeting the criteria described in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.2.		Respect any contractual allocations of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.3.		Include, for each time period, the Firm Transmission Service expected to be scheduled as specified in the ATCID  (filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers)  for the Transmission Service Provider, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed modeling the source and sink as follows:   - If the source, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the source.    - If the source, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate representation” in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the source.     - If the source, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point, an “equivalence,” or an “aggregate representation” in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.     - If the source, as specified in the ATCID, has not been identified in the reservation, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.     - If the sink, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point shall as the sink.    - If the sink, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate representation” in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the sink.     - If the sink, as specified in the ATCID, has been identified in the reservation and the point can not be mapped to a discretely modeled point, an “equivalence,” or an “aggregate representation” in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider to which the power is to be delivered as the sink.     - If the sink, as specified in the ATCID, has not been identified in the reservation, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider to which the power is being delivered as the sink.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.		Each Transmission Operator shall establish TTC for each ATC Path as defined below:  [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.1.		At least once within the seven calendar days prior to the specified period for TTCs used in hourly and daily ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.2.		At least once per calendar month for TTCs used in monthly ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.3.		Within 24 hours of the unexpected outage of a 500 kV or higher transmission Facility or a transformer with a low-side voltage of 200 kV or higher for TTCs  in effect during the anticipated duration of the outage, provided such outage is expected to last 24 hours or longer.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.		Each Transmission Operator shall establish TTC for each ATC Path using the following process: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.1.		Determine the incremental Transfer Capability for each ATC Path by increasing generation and/or decreasing load within the source Balancing Authority area and decreasing generation and/or increasing load within the sink Balancing Authority area until either:
- A System Operating Limit is reached on the Transmission Service Provider’s system, or
- A SOL is reached on any other adjacent system in the Transmission model that is not on the study path and the distribution factor is 5% or greater .		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.2.		If the limit in step R6.1 can not be reached by adjusting any combination of load or generation, then set the incremental Transfer Capability by the results of the case where the maximum adjustments were applied.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.3.		Use (as the TTC) the lesser of:
 The sum of the incremental Transfer Capability and the impacts of Firm Transmission Services, as specified in the Transmission Service Provider’s ATCID, that were included in the study model, or
 The sum of Facility Ratings of all ties comprising the ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.4.		For ATC Paths whose capacity uses jointly-owned or allocated Facilities, limit TTC for each Transmission Service Provider so the TTC does not exceed each Transmission Service Provider’s contractual rights.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.		The Transmission Operator shall provide the Transmission Service Provider of that ATC Path with the most current value for TTC for that ATC Path no more than: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.1.		One calendar day after its determination for TTCs used in hourly and daily ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.2.		Seven calendar days after its determination for TTCs used in monthly ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R8.		When calculating Existing Transmission Commitments (ETCs) for firm commitments (ETCF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R9.		When calculating ETC for non-firm commitments (ETCNF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.		When calculating TTCs for ATC Paths, the Transmission Operator shall use a Transmission model which satisfies the following requirements: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.		The model  utilizes data and assumptions consistent with the time period being studied and that meets the following criteria:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.		Includes at least:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.1.		The Transmission Operator area. Equivalent representation of radial lines and facilities 161kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.2.		All Transmission Operator areas contiguous with its own Transmission Operator area. (Equivalent representation is allowed.)		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.3.		Any other Transmission Operator area linked to the Transmission Operator’s area by joint operating agreement.  (Equivalent representation is allowed.)		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.10.		Includes any other modeling requirements or criteria specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.2.		Models all system Elements as in-service for the assumed initial conditions.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.3.		Models all generation (may be either a single generator or multiple generators) that is greater than 20 MVA at the point of interconnection in the studied area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.4.		Models phase shifters in non-regulating mode, unless otherwise specified in the Available Transfer Capability Implementation Document (ATCID).		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.5.		Uses Load forecast by Balancing Authority.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.6.		Uses Transmission Facility additions and retirements.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.7.		Uses Generation Facility additions and retirements.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.8.		Uses Special Protection System (SPS) models where currently existing or projected for implementation within the studied time horizon.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.9.		Models series compensation for each line at the expected operating level unless specified otherwise in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.2.		Uses Facility Ratings as provided by the Transmission Owner and Generator Owner		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.		The Transmission Operator shall use the following process to determine TTC: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.		Except where otherwise specified within MOD-029-1, adjust base case generation and Load levels within the updated power flow model to determine the TTC (maximum flow or reliability limit) that can be simulated on the ATC Path while at the same time satisfying all planning criteria contingencies as follows:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.1.		When modeling normal conditions, all Transmission Elements will be modeled at or below 100% of their continuous rating.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.2.		When modeling contingencies the system shall demonstrate transient, dynamic and voltage stability, with no Transmission Element modeled above its Emergency Rating.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.3.		Uncontrolled separation shall not occur.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.2.		Where it is impossible to actually simulate a reliability-limited flow in a direction counter to prevailing flows (on an alternating current Transmission line), set the TTC for the non-prevailing direction equal to the TTC in the prevailing direction. If the TTC in the prevailing flow direction is dependant on a Special Protection System (SPS), set the TTC for the non-prevailing flow direction equal to the greater of the maximum flow that can be simulated in the non-prevailing flow direction or the maximum TTC that can be achieved in the prevailing flow direction without use of a SPS.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.3.		For an ATC Path whose capacity is limited by contract, set TTC on the ATC Path at the lesser of the maximum allowable contract capacity or the reliability limit as determined by R2.1.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.4.		For an ATC Path whose TTC varies due to simultaneous interaction with one or more other paths, develop a nomogram describing the interaction of the paths and the resulting TTC under specified conditions.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.5.		The Transmission Operator shall identify when the TTC for the ATC Path being studied has an adverse impact on the TTC value of any existing path.  Do this by modeling the flow on the path being studied at its proposed new TTC level simultaneous with the flow on the existing path at its TTC level while at the same time honoring the reliability criteria outlined in R2.1.   The Transmission Operator shall include the resolution of this adverse impact in its study report for the ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.6.		Where multiple ownership of Transmission rights exists on an ATC Path, allocate TTC of that ATC Path in accordance with the contractual agreement made by the multiple owners of that ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.7.		For ATC Paths whose path rating, adjusted for seasonal variance, was established, known and used in operation since January 1, 1994, and no action has been taken to have the path rated using a different method, set the TTC at that previously established amount.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.8.		Create a study report that describes the steps above that were undertaken (R2.1 – R2.7), including the contingencies and assumptions used, when determining the TTC and the results of the study. Where three phase fault damping is used to determine stability limits, that report shall also identify the percent used and include justification for use unless specified otherwise in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R3.		Each Transmission Operator shall establish the TTC at the lesser of the value calculated in R2 or any System Operating Limit (SOL) for that ATC Path.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R4.		Within seven calendar days of the finalization of the study report, the Transmission Operator shall make available to the Transmission Service Provider of the ATC Path, the most current value for TTC and the TTC study report documenting the assumptions used and steps taken in determining the current value for TTC for that ATC Path.  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-029-1		R5.		When calculating ETC for firm Existing Transmission Commitments (ETCF) for a specified period for an ATC Path, the Transmission Service Provider shall use the algorithm below:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R6.		When calculating ETC for non-firm Existing Transmission Commitments (ETCNF) for all time horizons for an ATC Path the Transmission Service Provider shall use the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R7.		When calculating firm ATC for an ATC Path  for a specified period, the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R8.		When calculating non-firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm:[Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R1.		The Transmission Service Provider shall include in its “Available Transfer Capability Implementation Document” (ATCID):  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.1.		The criteria used by the Transmission Operator to identify sets of Transmission Facilities as Flowgates that are to be considered in Available Flowgate Capability (AFC) calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.		The following information on how source and sink for transmission service is accounted for in AFC calculations including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.1.		Define if the source used for AFC calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.2.		Define if the sink used for AFC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.3.		The source/sink or POR/POD identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.4.		If the Transmission Service Provider’s AFC calculation process involves a grouping of generators, the ATCID must identify how these generators participate in the group.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R10.		Each Transmission Service Provider shall recalculate AFC, utilizing the updated models described in R3.2, R3.3, and R5, at a minimum on the following frequency, unless none of the calculated values identified in the AFC equation have changed:  [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.1.		For hourly AFC, once per hour. Transmission Service Providers are allowed up to 175 hours per calendar year during which calculations are not required to be performed, despite a change in a calculated value identified in the AFC equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.2.		For daily AFC, once per day.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.3.		For monthly AFC, once per week.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R11.		When converting Flowgate AFCs to ATCs for ATC Paths, the Transmission Service Provider shall convert those values based on the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.		The Transmission Operator shall perform the following: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.		Include Flowgates used in the AFC process based, at a minimum, on the following criteria:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.		Results of a first Contingency transfer analysis for ATC Paths internal to a Transmission Operator’s system up to the path capability such that at a minimum the first three limiting Elements and their worst associated Contingency combinations with an OTDF of at least 5% and within the Transmission Operator’s system are included as Flowgates.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.1.		Use first Contingency criteria consistent with those first Contingency criteria used in planning of operations for the applicable time periods, including use of Special Protection Systems.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.2.		Only the most limiting element in a series configuration needs to be included as a Flowgate.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.3.		If any limiting element is kept within its limit for its associated worst Contingency by operating within the limits of another Flowgate, then no new Flowgate needs to be established for such limiting elements or Contingencies.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.		Results of a first Contingency transfer analysis from all adjacent Balancing Authority source and sink (as defined in the ATCID) combinations up to the path capability such that at a minimum the first three limiting Elements and their worst associated Contingency combinations with an Outage Transfer Distribution Factor (OTDF) of at least 5% and within the Transmission Operator’s system are included as Flowgates unless the interface between such adjacent Balancing Authorities is accounted for using another ATC methodology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.1.		Use first Contingency criteria consistent with those first Contingency criteria used in planning of operations for the applicable time periods, including use of Special Protection Systems.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.2.		Only the most limiting element in a series configuration needs to be included as a Flowgate.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.3.		If any limiting element is kept within its limit for its associated worst Contingency by operating within the limits of another Flowgate, then no new Flowgate needs to be established for such limiting elements or Contingencies.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.3.		Any limiting Element/Contingency combination at least within its Reliability Coordinator’s Area that has been subjected to an Interconnection-wide congestion management procedure within the last 12 months, unless the limiting Element/Contingency combination is accounted for using another ATC methodology or was created to address temporary operating conditions.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.4.		Any limiting Element/Contingency combination within the Transmission model that has been requested to be included by any other Transmission Service Provider using the Flowgate Methodology or Area Interchange Methodology, where:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-030-02		R2.1.4.1.		The coordination of the limiting Element/Contingency combination is not already addressed through a different methodology, and 
- Any generator within the Transmission Service Provider’s area has at least a 5% Power Transfer Distribution Factor (PTDF) or Outage Transfer Distribution Factor (OTDF) impact on the Flowgate when delivered to the aggregate load of its own area, or
- A transfer from any Balancing Area within the Transmission Service Provider’s area to a Balancing Area adjacent has at least a 5% PTDF or OTDF impact on the Flowgate. 
- The Transmission Operator may utilize distribution factors less than 5% if desired.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.4.2.		The limiting Element/Contingency combination is included in the requesting Transmission Service Provider’s methodology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.2.		At a minimum, establish a list of Flowgates by creating, modifying, or deleting Flowgate definitions at least once per calendar year.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.3.		At a minimum, establish a list of Flowgates by creating, modifying, or deleting Flowgates that have been requested as part of R2.1.4 within thirty calendar days from the request.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.4.		Establish the TFC of each of the defined Flowgates as equal to: 
- For thermal limits, the System Operating Limit (SOL) of the Flowgate. 
- For voltage or stability limits, the flow that will respect the SOL of the Flowgate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.5.		At a minimum, establish the TFC once per calendar year.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.5.1.		If notified of a change in the Rating by the Transmission Owner that would affect the TFC of a flowgate used in the AFC process, the TFC should be updated within seven calendar days of the notification.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.6.		Provide the Transmission Service Provider with the TFCs within seven calendar days of their establishment.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.		The Transmission Operator shall make available to the Transmission Service Provider a Transmission model to determine Available Flowgate Capability (AFC) that meets the following criteria: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.1.		Contains generation Facility Ratings, such as generation maximum and minimum output levels, specified by the Generator Owners of the Facilities within the model.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.2.		Updated at least once per day for AFC calculations for intra-day, next day, and days two through 30.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.3.		Updated at least once per month for AFC calculations for months two through 13.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.4.		Contains modeling data and system topology for the Facilities within its Reliability Coordinator’s Area. Equivalent representation of radial lines and Facilities161kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.5.		Contains modeling data and system topology (or equivalent representation) for immediately adjacent and beyond Reliability Coordination Areas.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R4.		When calculating AFCs, the Transmission Service Provider shall represent the impact of Transmission Service as follows: [Time Horizon: Operations Planning]
- If the source, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the source.
- If the source, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate” representation in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the source.
- If the source, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” representation in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.
- If the source, as specified in the ATCID, has not been identified in the reservation use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.
- If the sink, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the sink.
- If the sink, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate” representation in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the sink.
- If the sink, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” representation in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider receiving the power as the sink.
- If the sink, as specified in the ATCID, has not been identified in the reservation use the immediately adjacent Balancing Authority associated with the Transmission Service Provider receiving the power as the sink.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.		When calculating AFCs, the Transmission Service Provider shall:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.1.		Use the models provided by the Transmission Operator.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.2.		Include in the transmission model expected generation and Transmission outages, additions, and retirements within the scope of the model as specified in the ATCID and in effect during the applicable period of the AFC calculation for the Transmission Service Provider’s area, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.3.		For external Flowgates, identified in R2.1.4, use the AFC provided by the Transmission Service Provider that calculates AFC for that Flowgate.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.		When calculating the impact of ETC for firm commitments (ETCFi) for all time periods for a Flowgate, the Transmission Service Provider shall sum the following:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.		The impact of firm Network Integration Transmission Service, including the impacts of generation to load, in the model referenced in R5.2 for the Transmission Service Provider’s area, based on:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.1.		Load forecast for the time period being calculated, including Native Load and Network Service load		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.2.		Unit commitment and Dispatch Order, to include all designated network resources and other resources that are committed or have the legal obligation to run as specified in the Transmission Service Provider's ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.		The impact of any firm Network Integration Transmission Service, including the impacts of generation to load in the model referenced in R5.2 and has a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed based on:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.1.		Load forecast for the time period being calculated, including Native Load and Network Service load		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.2.		Unit commitment and Dispatch Order, to include all designated network resources and other resources that are committed or have the legal obligation to run as specified in the Transmission Service Provider's ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.3.		The impact of all confirmed firm Point-to-Point Transmission Service expected to be scheduled, including roll-over rights for Firm Transmission Service contracts, for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.4.		The impact of any confirmed firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, including roll-over rights for Firm Transmission Service contracts having a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.5.		The impact of any Grandfathered firm obligations expected to be scheduled or expected to flow for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.6.		The impact of any Grandfathered firm obligations expected to be scheduled or expected to flow that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.7.		The impact of other firm services determined by the Transmission Service Provider.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.		When calculating the impact of ETC for non-firm commitments (ETCNFi) for all time periods for a Flowgate the Transmission Service Provider shall sum:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.1.		The impact of all confirmed non-firm Point-to-Point Transmission Service expected to be scheduled for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.2.		The impact of any confirmed non-firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.3.		The impact of any Grandfathered non-firm obligations expected to be scheduled or expected to flow for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.4.		The impact of any Grandfathered non-firm obligations expected to be scheduled or expected to flow that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.5.		The impact of non-firm Network Integration Transmission Service serving Load within the Transmission Service Provider’s area (i.e., secondary service), to include load growth, and losses not otherwise included in Transmission Reliability Margin or Capacity Benefit Margin.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.6.		The impact of any non-firm Network Integration Transmission Service (secondary service) with a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.7.		The impact of other non-firm services determined by the Transmission Service Provider.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R8.		When calculating firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm (subject to allocation processes described in the ATCID):  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R9.		When calculating non-firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm (subject to allocation processes described in the ATCID):  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		NUC-001-1		R1.		The Nuclear Plant Generator Operator shall provide the proposed NPIRs in writing to the applicable Transmission Entities and shall verify receipt		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES						Planning: one year and longer

		NUC-001-1		R2.		The Nuclear Plant Generator Operator and the applicable Transmission Entities shall have in effect one or more Agreements1 that include mutually agreed to NPIRs and document how the Nuclear Plant Generator Operator and the applicable Transmission Entities shall address and implement these NPIRs.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES						Planning: one year and longer

		NUC-001-1		R3.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall incorporate the NPIRs into their planning analyses of the electric system and shall communicate the results of these analyses to the Nuclear Plant Generator Operator.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall:		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		NUC-001-1		R4.1.		Incorporate the NPIRs into their operating analyses of the electric system.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.2.		Operate the electric system to meet the NPIRs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.3.		Inform the Nuclear Plant Generator Operator when the ability to assess the operation of the electric system affecting NPIRs is lost.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R5.		The Nuclear Plant Generator Operator shall operate per the Agreements developed in accordance with this standard.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		NUC-001-1		R6.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities and the Nuclear Plant Generator Operator shall coordinate outages and maintenance activities which affect the NPIRs.		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.		YES		YES		YES						YES		Operations planning: day-ahead up to one year

		NUC-001-1		R7.		Per the Agreements developed in accordance with this standard, the Nuclear Plant Generator Operator shall inform the applicable Transmission Entities of actual or proposed changes to nuclear plant design, configuration, operations, limits, protection systems, or capabilities that may impact the ability of the electric system to meet the NPIRs.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R8.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall inform the Nuclear Plant Generator Operator of actual or proposed changes to electric system design, configuration, operations, limits, protection systems, or capabilities that may impact the ability of the electric system to meet the NPIRs.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.		The Nuclear Plant Generator Operator and the applicable Transmission Entities shall include, as a minimum, the following elements within the agreement(s) identified in R2:		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.		Administrative elements:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.1.		Definitions of key terms used in the agreement.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.2.		Names of the responsible entities, organizational relationships, and
responsibilities related to the NPIRs.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.3.		A requirement to review the agreement(s) at least every three years.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.4.		A dispute resolution mechanism.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.2.		Technical requirements and analysis:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.1.		Identification of parameters, limits, configurations, and operating
scenarios included in the NPIRs and, as applicable, procedures for
providing any specific data not provided within the agreement.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.2.		Identification of facilities, components, and configuration restrictions
that are essential for meeting the NPIRs.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.3.		Types of planning and operational analyses performed specifically to
support the NPIRs, including the frequency of studies and types of
Contingencies and scenarios required.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.3.		Operations and maintenance coordination:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.3.1.		Designation of ownership of electrical facilities at the interface
between the electric system and the nuclear plant and responsibilities
for operational control coordination and maintenance of these
facilities.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.2.		Identification of any maintenance requirements for equipment not
owned or controlled by the Nuclear Plant Generator Operator that are
necessary to meet the NPIRs.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.3.		Coordination of testing, calibration and maintenance of on-site and
off-site power supply systems and related components.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.4.		Provisions to address mitigating actions needed to avoid violating
NPIRs and to address periods when responsible Transmission Entity
loses the ability to assess the capability of the electric system to meet
the NPIRs. These provisions shall include responsibility to notify the
Nuclear Plant Generator Operator within a specified time frame.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.3.5.		Provision to consider nuclear plant coping times required by the
NPLRs and their relation to the coordination of grid and nuclear plant
restoration following a nuclear plant loss of Off-site Power.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES				YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.3.6.		Coordination of physical and cyber security protection of the Bulk
Electric System at the nuclear plant interface to ensure each asset is
covered under at least one entity’s plan.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.7.		Coordination of the NPIRs with transmission system Special
Protection Systems and underfrequency and undervoltage load
shedding programs.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.		Communications and training:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.4.1.		Provisions for communications between the Nuclear Plant Generator
Operator and Transmission Entities, including communications
protocols, notification time requirements, and definitions of terms.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.2.		Provisions for coordination during an off-normal or emergency event
affecting the NPIRs, including the need to provide timely information
explaining the event, an estimate of when the system will be returned
to a normal state, and the actual time the system is returned to normal.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.				YES		YES				YES		YES		Planning: one year and longer

		NUC-001-1		R9.4.3.		Provisions for coordinating investigations of causes of unplanned
events affecting the NPIRs and developing solutions to minimize
future risk of such events.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.4.		Provisions for supplying information necessary to report to
government agencies, as related to NPIRs.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.5.		Provisions for personnel training, as related to NPIRs.		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PER-001-0.1		R1.		Each Transmission Operator and Balancing Authority shall provide operating personnel with the responsibility and authority to implement real-time actions to ensure the stable and reliable operation of the Bulk Electric System.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Real-time or current hour

		PER-002-0		R1.		Each Transmission Operator and Balancing Authority shall be staffed with adequately trained operating personnel.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-002-0		R2.		Each Transmission Operator and Balancing Authority shall have a training program for all operating personnel that are in:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-002-0		R2.1.		Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.

		PER-002-0		R2.2.		Positions directly responsible for complying with NERC standards.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.

		PER-002-0		R3.		For personnel identified in Requirement R2, the Transmission Operator and Balancing Authority shall provide a training program meeting the following criteria:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-002-0		R3.1.		A set of training program objectives must be defined, based on NERC and Regional Reliability Organization standards, entity operating procedures, and applicable regulatory requirements.  These objectives shall reference the knowledge and competencies needed to apply those standards, procedures, and requirements to normal, emergency, and restoration conditions for the Transmission Operator and Balancing Authority operating positions.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.2.		The training program must include a plan for the initial and continuing training of Transmission Operator and Balancing Authority operating personnel.  That plan shall address knowledge and competencies required for reliable system operations.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.3.		The training program must include training time for all Transmission Operator and Balancing Authority operating personnel to ensure their operating proficiency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.4.		Training staff must be identified, and the staff must be competent in both knowledge of system operations and instructional capabilities.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R4.		For personnel identified in Requirement R2, each Transmission Operator and Balancing Authority shall provide its operating personnel at least five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-003-0		R1.		Each Transmission Operator, Balancing Authority, and Reliability Coordinator shall staff all operating positions that meet both of the following criteria with personnel that are NERC-certified for the applicable functions:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.										YES				Real-time or current hour

		PER-003-0		R1.1.		Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-003-0		R1.2.		Positions directly responsible for complying with NERC standards.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES

		PER-004-1		R1.		Each Reliability Coordinator shall be staffed with adequately trained and NERC-certified Reliability Coordinator operators, 24 hours per day, seven days per week.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R2.		All Reliability Coordinator operating personnel shall each complete a minimum of five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-004-1		R3.		Reliability Coordinator operating personnel shall have a comprehensive understanding of the Reliability Coordinator Area and interactions with neighboring Reliability Coordinator Areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R4.		Reliability Coordinator operating personnel shall have an extensive understanding of the Balancing Authorities, Transmission Operators, and Generation Operators within the Reliability Coordinator Area, including the operating staff, operating practices and procedures, restoration priorities and objectives, outage plans, equipment capabilities, and operational restrictions.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R5.		Reliability Coordinator operating personnel shall place particular attention on SOLs and IROLs and inter-tie facility limits.  The Reliability Coordinator shall ensure protocols are in place to allow Reliability Coordinator operating personnel to have the best available information at all times.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-005-1		R1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall use a systematic approach to training to establish a training program for the BES company-specific reliability-related tasks performed by its System Operators and shall implement the program.  [Time Horizon: Long-term Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall create a list of BES company-specific reliability-related tasks performed by its System Operators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PER-005-1		R1.1.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall update its list of BES company-specific reliability-related tasks performed by its System Operators each calendar year to identify new or modified tasks for inclusion in training.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.2.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall design and develop learning objectives and training materials based on the task list created in R1.1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.3.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall deliver the training established in R1.2.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.4.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall conduct an annual evaluation of the training program established in R1, to identify any needed changes to the training program and shall implement the changes identified.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PER-005-1		R2.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall verify each of its System Operator’s capabilities to perform each assigned task identified in R1.1 at least one time. [Time Horizon: Long-term Planning]		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R2.1.		Within six months of a modification of the BES company-specific reliability-related tasks, each Reliability Coordinator, Balancing Authority and Transmission Operator shall verify each of its System Operator’s capabilities to perform the new or modified tasks.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R3.		At least every 12 months each Reliability Coordinator, Balancing Authority and Transmission Operator shall provide each of its System Operators with at least 32 hours of emergency operations training applicable to its organization that reflects emergency operations topics, which includes system restoration using drills, exercises or other training required to maintain qualified personnel. [Time Horizon: Long-term Planning]		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-005-1		R3.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator that has operational authority or control over Facilities with established IROLs or has established operating guides or protection systems to mitigate IROL violations shall provide each System Operator with emergency operations training using simulation technology such as a simulator, virtual technology, or other technology that replicates the operational behavior of the BES during normal and emergency conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PRC-001-1		R1.		Each Transmission Operator, Balancing Authority, and Generator Operator shall be familiar with the purpose and limitations of protection system schemes applied in its area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R2.		Each Generator Operator and Transmission Operator shall notify reliability entities of relay or equipment failures as follows:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R2.1.		If a protective relay or equipment failure reduces system reliability, the Generator Operator shall notify its Transmission Operator and Host Balancing Authority.  The Generator Operator shall take corrective action as soon as possible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Same-day

		PRC-001-1		R2.2.		If a protective relay or equipment failure reduces system reliability, the Transmission Operator shall notify its Reliability Coordinator and affected Transmission Operators and Balancing Authorities.  The Transmission Operator shall take corrective action as soon as possible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R3.		A Generator Operator or Transmission Operator shall coordinate new protective systems and changes as follows.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R3.1.		Each Generator Operator shall coordinate all new protective systems and all protective system changes with its Transmission Operator and Host Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R3.2.		Each Transmission Operator shall coordinate all new protective systems and all protective system changes with neighboring Transmission Operators and Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R4.		Each Transmission Operator shall coordinate protection systems on major transmission lines and interconnections with neighboring Generator Operators, Transmission Operators, and Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R5.		A Generator Operator or Transmission Operator shall coordinate changes in generation, transmission, load or operating conditions that could require changes in the protection systems of others:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R5.1.		Each Generator Operator shall notify its Transmission Operator in advance of changes in generation or operating conditions that could require changes in the Transmission Operator’s protection systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R5.2.		Each Transmission Operator shall notify neighboring Transmission Operators in advance of changes in generation, transmission, load, or operating conditions that could require changes in the other Transmission Operators’ protection systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R6.		Each Transmission Operator and Balancing Authority shall monitor the status of each Special Protection System in their area, and shall notify affected Transmission Operators and Balancing Authorities of each change in status.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-002-1		R1.		The Regional Reliability Organization shall establish the following installation requirements for sequence of event recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.		Location, monitoring and recording requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.1.		Criteria for equipment location (e.g., by voltage, geographic area, station size, etc.).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.2.		Devices to be monitored.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R2.		The Regional Reliability Organization shall establish the following installation requirements for fault recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R2.1.		Location, monitoring and recording requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.1.		Criteria for equipment location (e.g., by voltage, geographic area, station size, etc.).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.2.		Elements to be monitored at each location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.		Electrical quantities to be recorded for each monitored element shall be sufficient to determine the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.1.		Three phase to neutral voltages.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.2.		Three phase currents and neutral currents.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.3.		Polarizing currents and voltages, if used.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.4.		Frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.5.		Megawatts and megavars.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.		Technical requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.1.		Recording duration requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.2.		Minimum sampling rate of 16 samples per cycle.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.3.		Event triggering requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.		The Regional Reliability Organization shall establish the following installation requirements for dynamic Disturbance recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R3.1.		Location, monitoring and recording requirements including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.1.		Criteria for equipment location giving consideration to the following:
- Site(s) in or near major load centers
- Site(s) in or near major generation clusters
- Site(s) in or near major voltage sensitive areas
- Site(s) on both sides of major transmission interfaces
- A major transmission junction
- Elements associated with Interconnection Reliability Operating Limits
- Major EHV interconnections between control areas
- Coordination with neighboring regions within the interconnection		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.2.		Elements and number of phases to be monitored at each location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.		Electrical quantities to be recorded for each monitored element shall be sufficient to determine the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.1.		Voltage, current and frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.2.		Megawatts and megavars.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.		Technical requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.1.		Capability for continuous recording for devices installed after January 1, 2009.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.2.		Each device shall sample data at a rate of at least 960 samples per second and shall record the RMS value of electrical quantities at a rate of at least 6 records per second.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R4.		The Regional Reliability Organization shall establish requirements for facility owners to report Disturbance data recorded by their DME installations. The Disturbance data reporting requirements shall include the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R4.1.		Criteria for events that require the collection of data from DMEs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.2.		List of entities that must be provided with recorded Disturbance data.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.3.		Timetable for response to data request.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.4.		Provision for reporting Disturbance data in a format which is capable of being viewed, read and analyzed with a generic COMTRADE1 analysis tool,		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.5.		Naming of data files in conformance with the IEEE C37.232 Recommended Practice for Naming Time Sequence Data Files2.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.6.		Data content requirements and guidelines.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R5.		The Regional Reliability Organization shall provide its requirements (and any revisions to those requirements) including those for DME installation and Disturbance data reporting to the affected Transmission Owners and Generator Owners within 30 calendar days of approval of those requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R6.		The Regional Reliability Organization shall periodically (at least every five years) review, update and approve its Regional requirements for Disturbance monitoring and reporting.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-003-1		R1.		Each Regional Reliability Organization shall establish, document and maintain its procedures for, review, analysis, reporting and mitigation of transmission and generation Protection System Misoperations. These procedures shall include the following elements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.1.		The Protection Systems to be reviewed and analyzed for Misoperations (due to theirpotential impact on BES reliability).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.2.		Data reporting requirements (periodicity and format) for Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.3.		Process for review, analysis follow up, and documentation of Corrective Action Plans for Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.4.		Identification of the Regional Reliability Organization group responsible for the procedures and the process for approval of the procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R2.		Each Regional Reliability Organization shall maintain and periodically update documentation of its procedures for review, analysis, reporting, and mitigation of transmission and generation Protection System Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-003-1		R3.		Each Regional Reliability Organization shall distribute procedures in Requirement 1 and any changes to those procedures, to the affected Transmission Owners, Distribution Providers that own transmission Protection Systems, and Generator Owners within 30 calendar days of
approval of those procedures.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-004-1		R1.		The Transmission Owner and any Distribution Provider that owns a transmission Protection System shall each analyze its transmission Protection System Misoperations and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for Reliability Standard PRC-003 Requirement 1.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		PRC-004-1		R2.		The Generator Owner shall analyze its generator Protection System Misoperations, and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		PRC-004-1		R3.		The Transmission Owner, any Distribution Provider that owns a transmission Protection System, and the Generator Owner shall each provide to its Regional Reliability Organization, documentation of its Misoperations analyses and Corrective Action Plans according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R1.		Each Transmission Owner and any Distribution Provider that owns a transmission Protection System and each Generator Owner that owns a generation Protection System shall have a Protection System maintenance and testing program for Protection Systems that affect the reliability of the BES. The program shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-005-1		R1.1.		Maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R1.2.		Summary of maintenance and testing procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R2.		Each Transmission Owner and any Distribution Provider that owns a transmission Protection System and each Generator Owner that owns a generation Protection System shall provide documentation of its Protection System maintenance and testing program and the implementation of that program to its Regional Reliability Organization on request (within 30 calendar days).  The documentation of the program implementation shall include:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-005-1		R2.1.		Evidence Protection System devices were maintained and tested within the defined intervals.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-005-1		R2.2.		Date each Protection System device was last tested/maintained.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-006-0		R1.		Each Regional Reliability Organization shall develop, coordinate, and document an UFLS program, which shall include the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES						Planning: one year and longer

		PRC-006-0		R1.1.		Requirements for coordination of UFLS programs within the subregions, Regional Reliability Organization and, where appropriate, among Regional Reliability Organizations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.		Design details shall include, but are not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.1.		Frequency set points.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.2.		Size of corresponding load shedding blocks (% of connected loads.)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.3.		Intentional and total tripping time delays.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.4.		Generation protection.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.5.		Tie tripping schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.6.		Islanding schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.7.		Automatic load restoration schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.8.		Any other schemes that are part of or impact the UFLS programs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.3.		A Regional Reliability Organization UFLS program database. This database shall be updated as specified in the Regional Reliability Organization program (but at least every five years) and shall include sufficient information to model the UFLS program in dynamic simulations of the interconnected transmission systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.		Assessment and documentation of the effectiveness of the design and implementation of the Regional UFLS program. This assessment shall be conducted periodically and shall (at least every five years or as required by changes in system conditions) include, but not be limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.1.		A review of the frequency set points and timing, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.2.		Dynamic simulation of possible Disturbance that cause the Region or
portions of the Region to experience the largest imbalance between Demand (Load) and generation.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PRC-006-0		R2.		The Regional Reliability Organization shall provide documentation of its UFLS program and its database information to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES						Operations planning: day-ahead up to one year

		PRC-006-0		R3.		The Regional Reliability Organization shall provide documentation of the assessment of its UFLS program to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-007-0		R1.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall ensure that its UFLS program is consistent with its Regional Reliability Organization’s UFLS program requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-007-0		R2.		The Transmission Owner, Transmission Operator, Distribution Provider, and Load-Serving Entity that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide, and annually update, its underfrequency data as necessary for its Regional Reliability Organization to maintain and update  a UFLSprogram database.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-007-0		R3.		The Transmission Owner and Distribution Provider that owns a UFLS program (as required by its Regional Reliability Organization) shall provide its documentation of that UFLS program to its Regional Reliability Organization on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-008-0		R1.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall have a UFLS equipment maintenance and testing program in place.  This UFLS equipment maintenance and testing program shall include UFLS equipment identification, the schedule for UFLS equipment testing, and the schedule for UFLS equipment maintenance.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-008-0		R2.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall implement its UFLS equipment maintenance and testing program and shall provide UFLS maintenance and testing program results to its Regional Reliability Organization and NERC on request (within 30 calendar days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-009-0		R1.		The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall analyze and document its UFLS program performance in accordance with its Regional Reliability Organization’s UFLS program.  The analysis shall address the performance of UFLS equipment and program effectiveness following system events resulting in system frequency excursions below the initializing set points of the UFLS program.  The analysis shall include, but not be limited to:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.1.		A description of the event including initiating conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.2.		A review of the UFLS set points and tripping times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.3.		A simulation of the event.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.4.		A summary of the findings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R2.		The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide documentation of the analysis of the UFLS program to its Regional Reliability Organization and NERC on request 90 calendar days after the system event.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-010-0		R1.		The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall periodically (at least every five years or as required by changes in system conditions) conduct and document an assessment of the effectiveness of the UVLS program.  This assessment shall be conducted with the associated Transmission Planner(s) and Planning Authority(ies).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.		This assessment shall include, but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.1.		Coordination of the UVLS programs with other protection and control systems in the Region and with other Regional Reliability Organizations, as appropriate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.2.		Simulations that demonstrate that the UVLS programs performance is consistent with Reliability Standards TPL-001-0, TPL-002-0, TPL-003-0 and TPL-004-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.3.		A review of the voltage set points and timing.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R2.		The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall provide documentation of its current UVLS program assessment to its Regional Reliability Organization and NERC on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-011-0		R1.		The Transmission Owner and Distribution Provider that owns a UVLS system shall have a UVLS equipment maintenance and testing program in place. This program shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.		The UVLS system identification which shall include but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.1.		Relays.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.2.		Instrument transformers.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.3.		Communications systems, where appropriate.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.4.		Batteries.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.2.		Documentation of maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.3.		Summary of testing procedure.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.4.		Schedule for system testing.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.5.		Schedule for system maintenance.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.6.		Date last tested/maintained.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R2.		The Transmission Owner and Distribution Provider that owns a UVLS system shall provide documentation of its UVLS equipment maintenance and testing program and the implementation of that UVLS equipment maintenance and testing program to its Regional Reliability Organization and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-012-0		R1.		Each Regional Reliability Organization with a Transmission Owner, Generator Owner, or Distribution Providers that uses or is planning to use an SPS shall have a documented Regional Reliability Organization SPS review procedure to ensure that SPSs comply with Regional criteria and NERC Reliability Standards. The Regional SPS review procedure shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.1.		Description of the process for submitting a proposed SPS for Regional Reliability Organization review.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.2.		Requirements to provide data that describes design, operation, and modeling of an SPS.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.3.		Requirements to demonstrate that the SPS shall be designed so that a single SPS component failure, when the SPS was intended to operate, does not prevent the interconnected transmission system from meeting the performance requirements defined in Reliability Standards TPL-001-0, TPL-002-0, and TPL-003-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.4.		Requirements to demonstrate that the inadvertent operation of an SPS shall meet the same performance requirement (TPL-001-0, TPL-002-0, and TPL-003-0) as that required of the contingency for which it was designed, and not exceed TPL-003-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.5.		Requirements to demonstrate the proposed SPS will coordinate with other protection and control systems and applicable Regional Reliability Organization Emergency procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.6.		Regional Reliability Organization definition of misoperation.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.7.		Requirements for analysis and documentation of corrective action plans for all SPS misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.8.		Identification of the Regional Reliability Organization group responsible for the Regional Reliability Organization’s review procedure and the process for Regional Reliability Organization approval of the procedure.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.9.		Determination, as appropriate, of maintenance and testing requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R2.		The Regional Reliability Organization shall provide affected Regional Reliability Organizations and NERC with documentation of its SPS review procedure on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-013-0		R1.		The Regional Reliability Organization that has a Transmission Owner, Generator Owner, or Distribution Provider with an SPS installed shall maintain an SPS database. The database shall include the following types of information:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.1.		Design Objectives — Contingencies and system conditions for which the SPS was designed,		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.2.		Operation — The actions taken by the SPS in response to Disturbance conditions, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.3.		Modeling — Information on detection logic or relay settings that control operation of the SPS.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R2.		The Regional Reliability Organization shall provide to affected Regional Reliability Organization(s) and NERC documentation of its database or the information therein on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-014-0		R1.		The Regional Reliability Organization shall assess the operation, coordination, and effectiveness of all SPSs installed in its Region at least once every five years for compliance with NERC Reliability Standards and Regional criteria.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R2.		The Regional Reliability Organization shall provide either a summary report or a detailed report of its assessment of the operation, coordination, and effectiveness of all SPSs installed in its Region to affected Regional Reliability Organizations or NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-014-0		R3.		The documentation of the Regional Reliability Organization’s SPS assessment shall include the following elements:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.1.		Identification of group conducting the assessment and the date the assessment was performed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.2.		Study years, system conditions, and contingencies analyzed in the technical studies on which the assessment is based and when those technical studies were performed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.3.		Identification of SPSs that were found not to comply with NERC standards and Regional Reliability Organization criteria.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.4.		Discussion of any coordination problems found between a SPS and other protection and control systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.5.		Provide corrective action plans for non-compliant SPSs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall maintain a list of and provide data for existing and proposed SPSs as specified in Reliability Standard PRC-013-0_R 1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have evidence it reviewed new or functionally modified SPSs in accordance with the Regional Reliability Organization’s procedures as defined in Reliability Standard PRC-012-0_R1 prior to being placed in service.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R3.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of SPS data and the results of studies that show compliance of new or functionally modified SPSs with NERC Reliability Standards and Regional Reliability Organization criteria to affected Regional Reliability Organizations and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-016-0.1		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall analyze its SPS operations and maintain a record of all misoperations in accordance with the Regional SPS review procedure specified in Reliability Standard PRC-012-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-016-0.1		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall take corrective actions to avoid future misoperations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-016-0.1		R3.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the misoperation analyses and the corrective action plans to its Regional Reliability Organization and NERC on request (within 90 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-017-0		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have a system maintenance and testing program(s) in place. The program(s) shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.		SPS identification shall include but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.1.		Relays.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.2.		Instrument transformers.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.3.		Communications systems, where appropriate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.4.		Batteries.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.2.		Documentation of maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.3.		Summary of testing procedure.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.4.		Schedule for system testing.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.5.		Schedule for system maintenance.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.6.		Date last tested/maintained.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the program and its implementation to the appropriate Regional Reliability Organizations and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-018-1		R1.		Each Transmission Owner and Generator Owner required to install DMEs by its Regional Reliability Organization (reliability standard PRC-002 Requirements 1-3) shall have DMEs installed that meet the following requirements:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R1.1.		Internal Clocks in DME devices shall be synchronized to within 2 milliseconds or less of Universal Coordinated Time scale (UTC)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R1.2.		Recorded data from each Disturbance shall be retrievable for ten calendar days..		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R2.		The Transmission Owner and Generator Owner shall each install DMEs in accordance with its Regional Reliability Organization’s installation requirements (reliability standard PRC-002 Requirements 1 through 3).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R3.		The Transmission Owner and Generator Owner shall each maintain, and report to its Regional Reliability Organization on request, the following data on the DMEs installed to meet that region’s installation requirements (reliability standard PRC-002 Requirements1.1, 2.1 and 3.1):		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R3.1.		Type of DME (sequence of event recorder, fault recorder, or dynamic disturbance recorder).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.2.		Make and model of equipment.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.3.		Installation location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.4.		Operational status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.5.		Date last tested.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.6.		Monitored elements, such as transmission circuit, bus section, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.7.		Monitored devices, such as circuit breaker, disconnect status, alarms, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.8.		Monitored electrical quantities, such as voltage, current, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R4.		The Transmission Owner and Generator Owner shall each provide Disturbance data (recorded by DMEs) in accordance with its Regional Reliability Organization’s requirements (reliability standard PRC-002 Requirement 4).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R5.		The Transmission Owner and Generator Owner shall each archive all data recorded by DMEs for Regional Reliability Organization-identified events for at least three years.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R6.		Each Transmission Owner and Generator Owner that is required by its Regional Reliability Organization to have DMEs shall have a maintenance and testing program for those DMEs that includes:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R6.1.		Maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R6.2.		Summary of maintenance and testing procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-020-1		R1.		The Regional Reliability Organization shall establish, maintain and annually update a database for UVLS programs implemented by entities within the region to mitigate the risk of voltage collapse or voltage instability in the BES. This database shall include the following items:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.1.		Owner and operator of the UVLS program.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.2.		Size and location of customer load, or percent of connected load, to be interrupted.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.3.		Corresponding voltage set points and overall scheme clearing times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.4.		Time delay from initiation to trip signal.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.5.		Breaker operating times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.6.		Any other schemes that are part of or impact the UVLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, UFLS and Special Protection Systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R2.		The Regional Reliability Organization shall provide the information in its UVLS database to the Planning Authority, the Transmission Planner, or other Regional Reliability Organizations and to NERC within 30 calendar days of a request.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.		Each Transmission Owner and Distribution Provider that owns a UVLS program to mitigate the risk of voltage collapse or voltage instability in the BES shall annually update its UVLS data to support the Regional UVLS program database.  The following data shall be provided to the Regional Reliability Organization for each installed UVLS system:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.1.		Size and location of customer load, or percent of connected load, to be interrupted.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.2.		Corresponding voltage set points and overall scheme clearing times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.3.		Time delay from initiation to trip signal.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.4.		Breaker operating times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.5.		Any other schemes that are part of or impact the UVLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, UFLS and Special Protection Systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R2.		Each Transmission Owner and Distribution Provider that owns a UVLS program shall provide its UVLS program data to the Regional Reliability Organization within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-022-1		R1.		Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program to mitigate the risk of voltage collapse or voltage instability in the BES shall analyze and document all UVLS operations and Misoperations. The analysis shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.1.		A description of the event including initiating conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.2.		A review of the UVLS set points and tripping times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.3.		A simulation of the event, if deemed appropriate by the Regional Reliability Organization.  For most events, analysis of sequence of events may be sufficient and dynamic simulations may not be needed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.4.		A summary of the findings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.5.		For any Misoperation, a Corrective Action Plan to avoid future Misoperations of a similar nature.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R2.		Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program shall provide documentation of its analysis of UVLS program performance to its Regional Reliability Organization within 90 calendar days of a request.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-023-1		R1.		Each Transmission Owner, Generator Owner, and Distribution Provider shall use any one of the following criteria (R1.1 through R1.13) for any specific circuit terminal to prevent its phase protective relay settings from limiting transmission system loadability while maintaining reliable protection of the Bulk Electric System for all fault conditions. Each Transmission Owner, Generator Owner, and Distribution Provider shall evaluate relay loadability at 0.85 per unit voltage and a power factor angle of 30 degrees: [Mitigation Time Horizon: Long Term Planning].		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.1.		Set transmission line relays so they do not operate at or below 150% of the highest seasonal Facility Rating of a circuit, for the available defined loading duration nearest 4 hours (expressed in amperes).		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.10.		Set transformer fault protection relays and transmission line relays on transmission lines terminated only with a transformer so that they do not operate at or below the greater of:
- 150% of the applicable maximum transformer nameplate rating (expressed in amperes), including the forced cooled ratings corresponding to all installed supplemental cooling equipment.
- 115% of the highest operator established emergency transformer rating.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.11.		For transformer overload protection relays that do not comply with R1.10 set the relays according to one of the following:
- Set the relays to allow the transformer to be operated at an overload level of at least 150% of the maximum applicable nameplate rating, or 115% of the highest operator established emergency transformer rating, whichever is greater. The protection must allow this overload for at least 15 minutes to allow for the operator to take controlled action to relieve the overload.
- Install supervision for the relays using either a top oil or simulated winding hot spot temperature element. The setting should be no less than 100° C for the top oil or 140° C for the winding hot spot temperature3.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.		When the desired transmission line capability is limited by the requirement to adequately protect the transmission line, set the transmission line distance relays to a maximum of 125% of the apparent impedance (at the impedance angle of the transmission line) subject to the following constraints:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.1.		Set the maximum torque angle (MTA) to 90 degrees or the highest supported by the manufacturer.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.2.		Evaluate the relay loadability in amperes at the relay trip point at 0.85 per unit voltage and a power factor angle of 30 degrees.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.3.		Include a relay setting component of 87% of the current calculated in
R1.12.2 in the Facility Rating determination for the circuit.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.13.		Where other situations present practical limitations on circuit capability, set the phase protection relays so they do not operate at or below 115% of such limitations.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.2.		Set transmission line relays so they do not operate at or below 115% of the highest seasonal 15-minute Facility Rating2 of a circuit (expressed in amperes).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		PRC-023-1		R1.3.		Set transmission line relays so they do not operate at or below 115% of the maximum theoretical power transfer capability (using a 90-degree angle between the sendingend and receiving-end voltages and either reactance or complex impedance) of the circuit (expressed in amperes) using one of the following to perform the power transfer calculation:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.3.1.		An infinite source (zero source impedance) with a 1.00 per unit bus voltage at each end of the line.		Risk-based (reduces risk).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.3.2.		An impedance at each end of the line, which reflects the actual system
source impedance with a 1.05 per unit voltage behind each source impedance.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.4.		Set transmission line relays on series compensated transmission lines so they do not operate at or below the maximum power transfer capability of the line, determined as the greater of:
- 115% of the highest emergency rating of the series capacitor.
- 115% of the maximum power transfer capability of the circuit (expressed in amperes), calculated in accordance with R1.3, using the full line inductive reactance.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.5.		Set transmission line relays on weak source systems so they do not operate at or below 170% of the maximum end-of-line three-phase fault magnitude (expressed in amperes).		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.6.		Set transmission line relays applied on transmission lines connected to generation stations remote to load so they do not operate at or below 230% of the aggregated generation nameplate capability.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.7.		Set transmission line relays applied at the load center terminal, remote from generation stations, so they do not operate at or below 115% of the maximum current flow from the load to the generation source under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.8.		Set transmission line relays applied on the bulk system-end of transmission lines that serve load remote to the system so they do not operate at or below 115% of the maximum current flow from the system to the load under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.9.		Set transmission line relays applied on the load-end of transmission lines that serve load remote to the bulk system so they do not operate at or below 115% of the maximum current flow from the load to the system under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R2.		The Transmission Owner, Generator Owner, or Distribution Provider that uses a circuit capability with the practical limitations described in R1.6, R1.7, R1.8, R1.9, R1.12, or R1.13 shall use the calculated circuit capability as the Facility Rating of the circuit and shall obtain the agreement of the Planning Coordinator, Transmission Operator, and Reliability Coordinator with the calculated circuit capability.  [Time Horizon: Long Term Planning]		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.		The Planning Coordinator shall determine which of the facilities (transmission lines operated at 100 kV to 200 kV and transformers with low voltage terminals connected at 100 kV to 200 kV) in its Planning Coordinator Area are critical to the reliability of the Bulk Electric System to identify the facilities from 100 kV to 200 kV that must meet Requirement 1 to prevent potential cascade tripping that may occur when protective relay settings limit transmission loadability. [Time Horizon: Long Term Planning]		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.1.		The Planning Coordinator shall have a process to determine the facilities that are critical to the reliability of the Bulk Electric System.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.1.1.		This process shall consider input from adjoining Planning Coordinators and affected Reliability Coordinators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.2.		The Planning Coordinator shall maintain a current list of facilities determined according to the process described in R3.1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.3.		The Planning Coordinator shall provide a list of facilities to its Reliability Coordinators, Transmission Owners, Generator Owners, and Distribution Providers within 30 days of the establishment of the initial list and within 30 days of any changes to the list.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES		YES				YES		Operations planning: day-ahead up to one year

		TOP-001-1		R1.		Each Transmission Operator shall have the responsibility and clear decision-making authority to take whatever actions are needed to ensure the reliability of its area and shall exercise specific authority to alleviate operating emergencies.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R2.		Each Transmission Operator shall take immediate actions to alleviate operating emergencies including curtailing transmission service or energy schedules, operating equipment (e.g., generators, phase shifters, breakers), shedding firm load, etc.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R3.		Each Transmission Operator, Balancing Authority, and Generator Operator shall comply with reliability directives issued by the Reliability Coordinator, and each Balancing Authority and Generator Operator shall comply with reliability directives issued by the Transmission Operator, unless such actions would violate safety, equipment, regulatory or statutory requirements.  Under these circumstances the Transmission Operator, Balancing Authority, or Generator Operator shall immediately inform the Reliability Coordinator or Transmission Operator of the inability to perform the directive so that the Reliability Coordinator or Transmission Operator can implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R4.		Each Distribution Provider and Load-Serving Entity shall comply with all reliability directives issued by the Transmission Operator, including shedding firm load, unless such actions would violate safety, equipment, regulatory or statutory requirements.  Under these circumstances, the Distribution Provider or Load-Serving Entity shall immediately inform the Transmission Operator of the inability to perform the directive so that the Transmission Operator can implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R5.		Each Transmission Operator shall inform its Reliability Coordinator and any other potentially affected Transmission Operators of real-time or anticipated emergency conditions, and take actions to avoid, when possible, or mitigate the emergency.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R6.		Each Transmission Operator, Balancing Authority, and Generator Operator shall render all available emergency assistance to others as requested, provided that the requesting entity has implemented its comparable emergency procedures, unless such actions would violate safety, equipment, or regulatory or statutory requirements.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.		Each Transmission Operator and Generator Operator shall not remove Bulk Electric System facilities from service if removing those facilities would burden neighboring systems unless:		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.1.		For a generator outage, the Generator Operator shall notify and coordinate with the Transmission Operator.  The Transmission Operator shall notify the Reliability Coordinator and other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.2.		For a transmission facility, the Transmission Operator shall notify and coordinate with its Reliability Coordinator.  The Transmission Operator shall notify other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.3.		When time does not permit such notifications and coordination, or when immediate action is required to prevent a hazard to the public, lengthy customer service interruption, or damage to facilities, the Generator Operator shall notify the Transmission Operator, and the Transmission Operator shall notify its Reliability Coordinator and adjacent Transmission Operators, at the earliest possible time.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R8.		During a system emergency, the Balancing Authority and Transmission Operator shall immediately take action to restore the Real and Reactive Power Balance.  If the Balancing Authority or Transmission Operator is unable to restore Real and Reactive Power Balance it shall request emergency assistance from the Reliability Coordinator.  If corrective action or emergency assistance is not adequate to mitigate the Real and Reactive Power Balance, then the Reliability Coordinator, Balancing Authority, and Transmission Operator shall implement firm load shedding.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R1.		Each Balancing Authority and Transmission Operator shall maintain a set of current plans that are designed to evaluate options and set procedures for reliable operation through a reasonable future time period.  In addition, each Balancing Authority and Transmission Operator shall be responsible for using available personnel and system equipment to implement these plans to ensure that interconnected system reliability will be maintained.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R10.		Each Balancing Authority and Transmission Operator shall plan to meet all System Operating Limits (SOLs) and Interconnection Reliability Operating Limits (IROLs).		Risk-based (reduces risk).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R11.		The Transmission Operator shall perform seasonal, next-day, and current-day Bulk Electric System studies to determine SOLs.  Neighboring Transmission Operators shall utilize identical SOLs for common facilities.  The Transmission Operator shall update these Bulk Electric System studies as necessary to reflect current system conditions; and shall make the results of Bulk Electric System studies available to the Transmission Operators, Balancing Authorities (subject to confidentiality requirements), and to its Reliability Coordinator.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R12.		The Transmission Service Provider shall include known SOLs or IROLs within its area and neighboring areas in the determination of transfer capabilities, in accordance with filed tariffs and/or regional Total Transfer Capability and Available Transfer Capability calculation processes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R13.		At the request of the Balancing Authority or Transmission Operator, a Generator Operator shall perform generating real and reactive capability verification that shall include, among other variables, weather, ambient air and water conditions, and fuel quality and quantity, and provide the results to the Balancing Authority or Transmission Operator operating personnel as requested.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES						YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.		Generator Operators shall, without any intentional time delay, notify their Balancing Authority and Transmission Operator of changes in capabilities and characteristics including but not limited to:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.1.		Changes in real output capabilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.2.		Automatic Voltage Regulator status and mode setting. (Retired August 1, 2007)		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R15.		Generation Operators shall, at the request of the Balancing Authority or Transmission Operator, provide a forecast of expected real power output to assist in operations planning (e.g., a seven-day forecast of real output).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R16.		Subject to standards of conduct and confidentiality agreements, Transmission Operators shall, without any intentional time delay, notify their Reliability Coordinator and Balancing Authority of changes in capabilities and characteristics including but not limited to:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R16.1.		Changes in transmission facility status.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R16.2.		Changes in transmission facility rating.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R17.		Balancing Authorities and Transmission Operators shall, without any intentional time delay, communicate the information described in the requirements R1 to R16 above to their Reliability Coordinator.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R18.		Neighboring Balancing Authorities, Transmission Operators, Generator Operators, Transmission Service Providers, and Load-Serving Entities shall use uniform line identifiers when referring to transmission facilities of an interconnected network.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		yES		YES		Real-time or current hour

		TOP-002-2		R19.		Each Balancing Authority and Transmission Operator shall maintain accurate computer models utilized for analyzing and planning system operations.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R2.		Each Balancing Authority and Transmission Operator shall ensure its operating personnel participate in the system planning and design study processes, so that these studies contain the operating personnel perspective and system operating personnel are aware of the planning purpose.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES								Operations planning: day-ahead up to one year

		TOP-002-2		R3.		Each Load-Serving Entity and Generator Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal operations with its Host Balancing Authority and Transmission Service Provider.  Each Balancing Authority and Transmission Service Provider shall coordinate its current-day, next-day, and seasonal operations with its Transmission Operator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		yES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R4.		Each Balancing Authority and Transmission Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal planning and operations with neighboring Balancing Authorities and Transmission Operators and with its Reliability Coordinator, so that normal Interconnection operation will proceed in an orderly and consistent manner.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R5.		Each Balancing Authority and Transmission Operator shall plan to meet scheduled system configuration, generation dispatch, interchange scheduling and demand patterns.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R6.		Each Balancing Authority and Transmission Operator shall plan to meet unscheduled changes in system configuration and generation dispatch (at a minimum N-1 Contingency planning) in accordance with NERC, Regional Reliability Organization, subregional, and local reliability requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R7.		Each Balancing Authority shall plan to meet capacity and energy reserve requirements, including the deliverability/capability for any single Contingency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Same-day

		TOP-002-2		R8.		Each Balancing Authority shall plan to meet voltage and/or reactive limits, including the deliverability/capability for any single contingency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Same-day

		TOP-002-2		R9.		Each Balancing Authority shall plan to meet Interchange Schedules and Ramps.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-003-1		R1.		Generator Operators and Transmission Operators shall provide planned outage information.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.1.		Each Generator Operator shall provide outage information daily to its Transmission Operator for scheduled generator outages planned for the next day (any foreseen outage of a generator greater than 50 MW).  The Transmission Operator shall establish the outage reporting requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.2.		Each Transmission Operator shall provide outage information daily to affected Balancing Authorities and Transmission Operators for scheduled generator and bulk transmission outages planned for the next day (any foreseen outage of a transmission line or transformer greater than 100 kV or generator greater than 50 MW) that may collectively cause or contribute to an SOL or IROL violation or a regional operating area limitation.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.3.		Such information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R2.		Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of system voltage regulating equipment, such as automatic voltage regulators on generators, supplementary excitation control, synchronous condensers, shunt and series capacitors, reactors, etc., among affected Balancing Authorities and Transmission Operators as required.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R3.		Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of telemetering and control equipment and associated communication channels between the affected areas.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R4.		Each Reliability Coordinator shall resolve any scheduling of potential reliability conflicts.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-004-2		R1.		Each Transmission Operator shall operate within the Interconnection Reliability Operating Limits (IROLs) and System Operating Limits (SOLs).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R2.		Each Transmission Operator shall operate so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single contingency.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R3.		Each Transmission Operator shall operate to protect against instability, uncontrolled separation, or cascading outages resulting from multiple outages, as specified by its Reliability Coordinator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R4.		If a Transmission Operator enters an unknown operating state (i.e. any state for which valid operating limits have not been determined), it will be considered to be in an emergency and shall restore operations to respect proven reliable power system limits within 30 minutes.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R5.		Each Transmission Operator shall make every effort to remain connected to the Interconnection.  If the Transmission Operator determines that by remaining interconnected, it is in imminent danger of violating an IROL or SOL, the Transmission Operator may take such actions, as it deems necessary, to protect its area.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R6.		Transmission Operators, individually and jointly with other Transmission Operators, shall develop, maintain, and implement formal policies and procedures to provide for transmission reliability.  These policies and procedures shall address the execution and coordination of activities that impact inter- and intra-Regional reliability, including:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.1.		Monitoring and controlling voltage levels and real and reactive power flows.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.2.		Switching transmission elements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.3.		Planned outages of transmission elements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.4.		Responding to IROL and SOL violations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-005-2		R1.		As a condition of receiving data from the Interregional Security Network (ISN), each ISN data recipient shall sign the NERC Confidentiality Agreement for “Electric System Reliability Data.”		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		TOP-005-2		R2.		Upon request, each Balancing Authority and Transmission Operator shall provide to other Balancing Authorities and Transmission Operators with immediate responsibility for operational reliability, the operating data that are necessary to allow these Balancing Authorities and Transmission Operators to perform operational reliability assessments and to coordinate reliable operations.  Balancing Authorities and Transmission Operators shall provide the types of data as listed in Attachment 1-TOP-005 “Electric System Reliability Data,” unless otherwise agreed to by the Balancing Authorities and Transmission Operators with immediate responsibility for operational reliability.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-005-2		R3.		Each Purchasing-Selling Entity shall provide information as requested by its Host Balancing Authorities and Transmission Operators to enable them to conduct operational reliability assessments and coordinate reliable operations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.		Each Transmission Operator and Balancing Authority shall know the status of all generation and transmission resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.1.		Each Generator Operator shall inform its Host Balancing Authority and the Transmission Operator of all generation resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.2.		Each Transmission Operator and Balancing Authority shall inform the Reliability Coordinator and other affected Balancing Authorities and Transmission Operators of all generation and transmission resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall monitor applicable transmission line status, real and reactive power flows, voltage, load-tap-changer settings, and status of rotating and static reactive resources.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R3.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall provide appropriate technical information concerning protective relays to their operating personnel.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-006-2		R4.		Each Transmission Operator, and Balancing Authority shall have information, including weather forecasts and past load patterns, available to predict the system’s near-term load pattern.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-006-2		R5.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall use monitoring equipment to bring to the attention of operating personnel important deviations in operating conditions and to indicate, if appropriate, the need for corrective action.		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R6.		Each Balancing Authority and Transmission Operator shall use sufficient metering of suitable range, accuracy and sampling rate (if applicable) to ensure accurate and timely monitoring of operating conditions under both normal and emergency situations.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R7.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall monitor system frequency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R1.		A Transmission Operator shall inform its Reliability Coordinator when an IROL or SOL has been exceeded and the actions being taken to return the system to within limits.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		TOP-007-0		R2.		Following a Contingency or other event that results in an IROL violation, the Transmission Operator shall return its transmission system to within IROL as soon as possible, but not longer than 30 minutes.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R3.		A Transmission Operator shall take all appropriate actions up to and including shedding firm load, or directing the shedding of firm load, in order to comply with Requirement R 2.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R4.		The Reliability Coordinator shall evaluate actions taken to address an IROL or SOL violation and, if the actions taken are not appropriate or sufficient, direct actions required to return the system to within limits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R1.		The Transmission Operator experiencing or contributing to an IROL or SOL violation shall take immediate steps to relieve the condition, which may include shedding firm load.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R2.		Each Transmission Operator shall operate to prevent the likelihood that a disturbance, action, or inaction will result in an IROL or SOL violation in its area or another area of the Interconnection.  In instances where there is a difference in derived operating limits, the Transmission Operator shall always operate the Bulk Electric System to the most limiting parameter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R3.		The Transmission Operator shall disconnect the affected facility if the overload on a transmission facility or abnormal voltage or reactive condition persists and equipment is endangered.  In doing so, the Transmission Operator shall notify its Reliability Coordinator and all neighboring Transmission Operators impacted by the disconnection prior to switching, if time permits, otherwise, immediately thereafter.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R4.		The Transmission Operator shall have sufficient information and analysis tools to determine the cause(s) of SOL violations.  This analysis shall be conducted in all operating timeframes.  The Transmission Operator shall use the results of these analyses to immediately mitigate the SOL violation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		VAR-001-1		R1.		Each Transmission Operator, individually and jointly with other Transmission Operators, shall ensure that formal policies and procedures are developed, maintained, and implemented for monitoring and controlling voltage levels and Mvar flows within their individual areas and with the areas of neighboring Transmission Operators.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES						Real-time or current hour

		VAR-001-1		R10.		Each Transmission Operator shall correct IROL or SOL violations resulting from reactive resource deficiencies (IROL violations must be corrected within 30 minutes) and complete the required IROL or SOL violation reporting.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes						yes		yes		yes		Real-time or current hour

		VAR-001-1		R11.		After consultation with the Generator Owner regarding necessary step-up transformer tap changes, the Transmission Operator shall provide documentation to the Generator Owner specifying the required tap changes, a timeframe for making the changes, and technical justification for these changes.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		VAR-001-1		R12.		The Transmission Operator shall direct corrective action, including load reduction, necessary to prevent voltage collapse when reactive resources are insufficient.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R2.		Each Transmission Operator shall acquire sufficient reactive resources within its area to protect the voltage levels under normal and Contingency conditions.  This includes the Transmission Operator’s share of the reactive requirements of interconnecting transmission circuits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes				yes		yes		Real-time or current hour

		VAR-001-1		R3.		The Transmission Operator shall specify criteria that exempts generators from compliance with the requirements defined in Requirement 4, and Requirement 6.1.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		VAR-001-1		R3.1.		Each Transmission Operator shall maintain a list of generators in its area that are exempt from following a voltage or Reactive Power schedule.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Real-time or current hour

		VAR-001-1		R3.2.		For each generator that is on this exemption list, the Transmission Operator shall notify the associated Generator Owner.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-001-1		R4.		Each Transmission Operator shall specify a voltage or Rreactive Power schedule at the interconnection between the generator facility and the Transmission Owner's facilities to be maintained by each generator. The Transmission Operator shall provide the voltage or Reactive Power schedule to the associated Generator Operator and direct the Generator Operator to comply with the schedule in automatic voltage control mode (AVR in service and controlling voltage).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Real-time or current hour

		VAR-001-1		R5.		Each Purchasing-Selling Entity shall arrange for (self-provide or purchase) reactive resources to satisfy its reactive requirements identified by its Transmission Service Provider.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												yes		Real-time or current hour

		VAR-001-1		R6.		The Transmission Operator shall know the status of all transmission Reactive Power resources, including the status of voltage regulators and power system stabilizers.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes												Real-time or current hour

		VAR-001-1		R6.1.		When notified of the loss of an automatic voltage regulator control, the Transmission Operator shall direct the Generator Operator to maintain or change either its voltage schedule or its Reactive Power schedule.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes				yes								Real-time or current hour

		VAR-001-1		R7.		The Transmission Operator shall be able to operate or direct the operation of devices necessary to regulate transmission voltage and reactive flow.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R8.		Each Transmission Operator shall operate or direct the operation of capacitive and inductive reactive resources within its area – including reactive generation scheduling; transmission line and reactive resource switching; and, if necessary, load shedding – to maintain system and Interconnection voltages within established limits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R9.		Each Transmission Operator shall maintain reactive resources to support its voltage under first Contingency conditions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R9.1.		Each Transmission Operator shall disperse and locate the reactive resources so that the resources can be applied effectively and quickly when Contingencies occur.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R1.		The Generator Operator shall operate each generator connected to the interconnected transmission system in the automatic voltage control mode (automatic voltage regulator in service and controlling voltage) unless the Generator Operator has notified the Transmission Operator.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.		Unless exempted by the Transmission Operator, each Generator Operator shall maintain the generator voltage or Reactive Power output (within applicable Facility Ratings.  [1] as directed by the Transmission Operator		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.1.		When a generator’s automatic voltage regulator is out of service, the Generator Operator shall use an alternative method to control the generator voltage and reactive output to meet the voltage or Reactive Power schedule directed by the Transmission Operator.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.2.		When directed to modify voltage, the Generator Operator shall comply or provide an explanation of why the schedule cannot be met.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes						yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R3.		Each Generator Operator shall notify its associated Transmission Operator as soon as practical, but within 30 minutes of any of the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R3.1.		A status or capability change on any generator Reactive Power resource, including the status of each automatic voltage regulator and power system stabilizer and the expected duration of the change in status or capability.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R3.2.		A status or capability change on any other Reactive Power resources under the Generator Operator’s control and the expected duration of the change in status or capability.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R4.		The Generator Owner shall provide the following to its associated Transmission Operator and Transmission Planner within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.		For generator step-up transformers and auxiliary transformers with primary voltages equal to or greater than the generator terminal voltage:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.1.		Tap settings.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.2.		Available fixed tap ranges.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.3.		Impedance data.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.4.		The +/- voltage range with step-change in % for load-tap changing transformers.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R5.		After consultation with the Transmission Operator regarding necessary step-up transformer tap changes, the Generator Owner shall ensure that transformer tap positions are changed according to the specifications provided by the Transmission Operator, unless such action would violate safety, an equipment rating, a regulatory requirement, or a statutory requirement.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		VAR-002-1.1a		R5.1.		If the Generator Operator can’t comply with the Transmission Operator’s specifications, the Generator Operator shall notify the Transmission Operator and shall provide the technical justification.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year





AllQ1GroupQ2

		Is unclear.
Capability-based-

		Is unclear.
Performance-based-

		A bulk power system result that is clear in the requirement.
Administrative-

		A bulk power system result that is clear in the requirement.
Risk-based-

		A risk mitigation objective that is clear in the requirement.
Administrative-

		Is unclear.
Risk-based-

		A bulk power system result that is clear in the requirement. 
Capability-based-

		No reliability benefit is provided by the requirement.
Prescriptive -

		A risk mitigation objective that is clear in the requirement.
Performance-based-

		Is implied but not explicitly stated in the requirement.
Performance-based-

		A risk mitigation objective that is clear in the requirement.
Capability-based-

		A bulk power system result that is clear in the requirement.
Prescriptive -

		A risk mitigation objective that is clear in the requirement.
Prescriptive -

		A bulk power system result that is clear in the requirement.
Performance-based-

		Is implied but not explicitly stated in the requirement.
Capability-based-

		No reliability benefit is provided by the requirement.
Administrative-

		Is implied but not explicitly stated in the requirement.
Administrative-

		A risk mitigation objective that is clear in the requirement.
Risk-based-

		Is unclear.
Administrative-

		Is implied but not explicitly stated in the requirement.
Risk-based-

		Is unclear.
Prescriptive -

		Is implied but not explicitly stated in the requirement.
Prescriptive -



CountOfKeyID

Q1 Group Q2

1

1

2

2

9

9

12

16

19

20

24

28

35

39

45

71

73

99

119

209

226

301



AdministrativeQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Administrative (requires only documenting/reporting something).

2

9

73

119

71



Capability-basedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Capability-based (provides necessary capability).

12

24

45

1



Performance-basedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Performance-based (specifies a bulk power system outcome).

39

19

20

1



PrescriptiveQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Prescriptive (explains how to).

28

35

301

226

16



RiskBasedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Risk-based (reduces risk).

2

99

209

9



AllQ1Q3

		Can only be measured through documentation.
Performance-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Performance-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Performance-based-

		Evaluating bulk power system performance, data, or results.
Prescriptive -

		Can only be measured through documentation.
Capability-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Capability-based-

		Evaluating bulk power system performance, data, or results.
Risk-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Administrative-

		Evaluating capabilities, such as tools, systems, training records, etc.
Prescriptive -

		Evaluating performance of an activity or a record/log of that activity.
Capability-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Risk-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Administrative-

		Evaluating bulk power system performance, data, or results.
Performance-based-

		Evaluating performance of an activity or a record/log of that activity.
Performance-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Capability-based-

		Evaluating performance of an activity or a record/log of that activity.
Administrative-

		Can only be measured through documentation.
Risk-based-

		Evaluating performance of an activity or a record/log of that activity.
Prescriptive -

		Evaluating a product or result (can be written such as a restoration procedure).
Risk-based-

		Evaluating performance of an activity or a record/log of that activity.
Risk-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Prescriptive -

		Can only be measured through documentation.
Administrative-

		Can only be measured through documentation.
Prescriptive -



CountOfKeyID

Q1 Group Q3

1

1

3

4

9

9

9

10

16

18

24

28

29

45

46

48

51

56

91

144

187

188

343



AdministrativeQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Administrative (requires only documenting/reporting something).

188

28

10

48



CapabilityQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Capability-based (provides necessary capability).

9

9

46

18



PerformanceQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Performance-based (specifies a bulk power system outcome).

1

1

29

3

45



PrescriptiveQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Prescriptive (explains how to).

343

187

4

16

56



RiskBasedQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Risk-based (reduces risk).

51

91

9

24

144



AllQ1Q10

		Planning: one year and longer
Capability-based-

		Same-day
Performance-based-

		Same-day
Administrative-

		Same-day
Capability-based-

		Operations planning: day-ahead up to one year
Performance-based-

		Same-day
Prescriptive -

		Planning: one year and longer
Performance-based-

		Operations planning: day-ahead up to one year
Capability-based-

		Real-time or current hour
Administrative-

		Real-time or current hour
Prescriptive -

		Real-time or current hour
Capability-based-

		Real-time or current hour
Performance-based-

		Same-day
Risk-based-

		Operations planning: day-ahead up to one year
Risk-based-

		Real-time or current hour
Risk-based-

		Planning: one year and longer
Administrative-

		Planning: one year and longer
Risk-based-

		Operations planning: day-ahead up to one year
Administrative-

		Operations planning: day-ahead up to one year
Prescriptive -

		Planning: one year and longer
Prescriptive -



CountOfKeyID

Q1 Group Q10

2

2

8

8

9

12

14

21

41

49

50

54

59

67

83

103

110

120

203

341



AdministrativeQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Administrative (requires only documenting/reporting something).

120

103

41

8



CapabilityQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Capability-based (provides necessary capability).

21

2

50

8



PerformanceQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Performance-based (specifies a bulk power system outcome).

9

14

54

2



PrescriptiveQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Prescriptive (explains how to).

203

341

49

12



RiskQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Risk-based (reduces risk).

67

110

83

59



AllQ2Q1

		Administrative
A bulk power system result that is clear in the requirement.

		Performance-based
A bulk power system result that is clear in the requirement.

		Prescriptive
A bulk power system result that is clear in the requirement.

		Risk-based
A bulk power system result that is clear in the requirement.

		Capability-based
A bulk power system result that is clear in the requirement.

		Administrative
A risk mitigation objective that is clear in the requirement.

		Capability-based
A risk mitigation objective that is clear in the requirement.

		Performance-based
A risk mitigation objective that is clear in the requirement.

		Prescriptive
A risk mitigation objective that is clear in the requirement.

		Risk-based
A risk mitigation objective that is clear in the requirement.

		Administrative
Is implied but not explicitly stated in the requirement.

		Capability-based
Is implied but not explicitly stated in the requirement.

		Performance-based
Is implied but not explicitly stated in the requirement.

		Prescriptive
Is implied but not explicitly stated in the requirement.

		Risk-based
Is implied but not explicitly stated in the requirement.

		Administrative
Is unclear.

		Capability-based
Is unclear.

		Performance-based
Is unclear.

		Prescriptive
Is unclear.

		Risk-based
Is unclear.

		Administrative
No reliability benefit is provided by the requirement.

		Prescriptive
No reliability benefit is provided by the requirement.



CountOfKeyID

Q2 Grouping Q1

2

39

28

2

12

9

24

19

35

99

73

45

20

301

209

119

1

1

226

9

71

16



Bulk Power System 

		Administrative

		Performance-based

		Prescriptive

		Risk-based

		Capability-based



A bulk power system result that is clear in the requirement.

2

39

28

2

12



Risk Mitigation 

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



A risk mitigation objective that is clear in the requirement.

9

24

19

35

99



ImpliedNotExplicitly

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Is implied but not explicitly stated in the requirement.

73

45

20

301

209



Unclear

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Is unclear.

119

1

1

226

9



NoReliabilityBenefit

		Administrative

		Prescriptive



No reliability benefit is provided by the requirement.

71

16



MeasureDocumentation

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Can only be measured through documentation.

188

9

1

343

51



EvaluatingaProductorResult

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating a product or result (can be written such as a restoration procedure).

28

9

1

187

91



EvalCapabilities

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating capabilities, such as tools, systems, training records, etc.

10

46

3

16

24



EvaluatingPerfomance

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating performance of an activity or a record/log of that activity.

48

18

45

56

144



OperationPlanning

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Operations planning: day-ahead up to one year

120

21

9

203

67



Planning1yrandLonger

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Planning: one year and longer

103

2

14

341

110



RealTimeorCurrentHr

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Real-time or current hour

41

50

54

49

83



Same -Day

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Same-Day

8

8

2

12

59



Q123an10TableSource

		Q1 Q2

		This requirement is:		Requirement Type		The reliability objective (or risk mitigation) achieved by this		Count

		Administrative (requires only documenting/reporting something).		Administrative-		A bulk power system result that is clear in the requirement.		2

		Administrative (requires only documenting/reporting something).		Administrative-		A risk mitigation objective that is clear in the requirement.		9

		Administrative (requires only documenting/reporting something).		Administrative-		Is implied but not explicitly stated in the requirement.		73

		Administrative (requires only documenting/reporting something).		Administrative-		Is unclear.		119

		Administrative (requires only documenting/reporting something).		Administrative-		No reliability benefit is provided by the requirement.		71

		Capability-based (provides necessary capability).		Capability-based-		A bulk power system result that is clear in the requirement.		12

		Capability-based (provides necessary capability).		Capability-based-		A risk mitigation objective that is clear in the requirement.		24

		Capability-based (provides necessary capability).		Capability-based-		Is implied but not explicitly stated in the requirement.		45

		Capability-based (provides necessary capability).		Capability-based-		Is unclear.		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		A bulk power system result that is clear in the requirement.		39

		Performance-based (specifies a bulk power system outcome).		Performance-based-		A risk mitigation objective that is clear in the requirement.		19

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Is implied but not explicitly stated in the requirement.		20

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Is unclear.		1

		Prescriptive (explains how to).		Prescriptive -		A bulk power system result that is clear in the requirement.		28

		Prescriptive (explains how to).		Prescriptive -		A risk mitigation objective that is clear in the requirement.		35

		Prescriptive (explains how to).		Prescriptive -		Is implied but not explicitly stated in the requirement.		301

		Prescriptive (explains how to).		Prescriptive -		Is unclear.		226

		Prescriptive (explains how to).		Prescriptive -		No reliability benefit is provided by the requirement.		16

		Risk-based (reduces risk).		Risk-based-		A bulk power system result that is clear in the requirement.		2

		Risk-based (reduces risk).		Risk-based-		A risk mitigation objective that is clear in the requirement.		99

		Risk-based (reduces risk).		Risk-based-		Is implied but not explicitly stated in the requirement.		209

		Risk-based (reduces risk).		Risk-based-		Is unclear.		9

				Chart 2

				Requirement Type		The reliability objective (or risk mitigation) achieved by this		CountOfKeyID

				Capability-based-		Is unclear.		1

				Performance-based-		Is unclear.		1

				Administrative-		A bulk power system result that is clear in the requirement.		2

				Risk-based-		A bulk power system result that is clear in the requirement.		2

				Administrative-		A risk mitigation objective that is clear in the requirement.		9

				Risk-based-		Is unclear.		9

				Capability-based-		A bulk power system result that is clear in the requirement.		12

				Prescriptive -		No reliability benefit is provided by the requirement.		16

				Performance-based-		A risk mitigation objective that is clear in the requirement.		19

				Performance-based-		Is implied but not explicitly stated in the requirement.		20

				Capability-based-		A risk mitigation objective that is clear in the requirement.		24

				Prescriptive -		A bulk power system result that is clear in the requirement.		28

				Prescriptive -		A risk mitigation objective that is clear in the requirement.		35

				Performance-based-		A bulk power system result that is clear in the requirement.		39

				Capability-based-		Is implied but not explicitly stated in the requirement.		45

				Administrative-		No reliability benefit is provided by the requirement.		71

				Administrative-		Is implied but not explicitly stated in the requirement.		73

				Risk-based-		A risk mitigation objective that is clear in the requirement.		99

				Administrative-		Is unclear.		119

				Risk-based-		Is implied but not explicitly stated in the requirement.		209

				Prescriptive -		Is unclear.		226

				Prescriptive -		Is implied but not explicitly stated in the requirement.		301

		Q1-Q3

		This requirement is:		Requirement Type		The most effective way to measure this requirement is:		CountOfKeyID

		Administrative (requires only documenting/reporting something).		Administrative-		Can only be measured through documentation.		188

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating a product or result (can be written such as a restoration procedure).		28

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating capabilities, such as tools, systems, training records, etc.		10

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating performance of an activity or a record/log of that activity.		48

		Capability-based (provides necessary capability).		Capability-based-		Can only be measured through documentation.		9

		Capability-based (provides necessary capability).		Capability-based-		Evaluating a product or result (can be written such as a restoration procedure).		9

		Capability-based (provides necessary capability).		Capability-based-		Evaluating capabilities, such as tools, systems, training records, etc.		46

		Capability-based (provides necessary capability).		Capability-based-		Evaluating performance of an activity or a record/log of that activity.		18

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Can only be measured through documentation.		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating a product or result (can be written such as a restoration procedure).		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating bulk power system performance, data, or results.		29

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating capabilities, such as tools, systems, training records, etc.		3

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating performance of an activity or a record/log of that activity.		45

		Prescriptive (explains how to).		Prescriptive -		Can only be measured through documentation.		343

		Prescriptive (explains how to).		Prescriptive -		Evaluating a product or result (can be written such as a restoration procedure).		187

		Prescriptive (explains how to).		Prescriptive -		Evaluating bulk power system performance, data, or results.		4

		Prescriptive (explains how to).		Prescriptive -		Evaluating capabilities, such as tools, systems, training records, etc.		16

		Prescriptive (explains how to).		Prescriptive -		Evaluating performance of an activity or a record/log of that activity.		56

		Risk-based (reduces risk).		Risk-based-		Can only be measured through documentation.		51

		Risk-based (reduces risk).		Risk-based-		Evaluating a product or result (can be written such as a restoration procedure).		91

		Risk-based (reduces risk).		Risk-based-		Evaluating bulk power system performance, data, or results.		9

		Risk-based (reduces risk).		Risk-based-		Evaluating capabilities, such as tools, systems, training records, etc.		24

		Risk-based (reduces risk).		Risk-based-		Evaluating performance of an activity or a record/log of that activity.		144

				Requirement Type		The most effective way to measure this requirement is:		CountOfKeyID

				Performance-based-		Can only be measured through documentation.		1

				Performance-based-		Evaluating a product or result (can be written such as a restoration procedure).		1

				Performance-based-		Evaluating capabilities, such as tools, systems, training records, etc.		3

				Prescriptive -		Evaluating bulk power system performance, data, or results.		4

				Capability-based-		Can only be measured through documentation.		9

				Capability-based-		Evaluating a product or result (can be written such as a restoration procedure).		9

				Risk-based-		Evaluating bulk power system performance, data, or results.		9

				Administrative-		Evaluating capabilities, such as tools, systems, training records, etc.		10

				Prescriptive -		Evaluating capabilities, such as tools, systems, training records, etc.		16

				Capability-based-		Evaluating performance of an activity or a record/log of that activity.		18

				Risk-based-		Evaluating capabilities, such as tools, systems, training records, etc.		24

				Administrative-		Evaluating a product or result (can be written such as a restoration procedure).		28

				Performance-based-		Evaluating bulk power system performance, data, or results.		29

				Performance-based-		Evaluating performance of an activity or a record/log of that activity.		45

				Capability-based-		Evaluating capabilities, such as tools, systems, training records, etc.		46

				Administrative-		Evaluating performance of an activity or a record/log of that activity.		48

				Risk-based-		Can only be measured through documentation.		51

				Prescriptive -		Evaluating performance of an activity or a record/log of that activity.		56

				Risk-based-		Evaluating a product or result (can be written such as a restoration procedure).		91

				Risk-based-		Evaluating performance of an activity or a record/log of that activity.		144

				Prescriptive -		Evaluating a product or result (can be written such as a restoration procedure).		187

				Administrative-		Can only be measured through documentation.		188

				Prescriptive -		Can only be measured through documentation.		343

		Q1-Q10

		This requirement is:		Requirement Type		The time horizon to which this requirement applies is:		CountOfKeyID

		Administrative (requires only documenting/reporting something).		Administrative-		Operations planning: day-ahead up to one year		120

		Administrative (requires only documenting/reporting something).		Administrative-		Planning: one year and longer		103

		Administrative (requires only documenting/reporting something).		Administrative-		Real-time or current hour		41

		Administrative (requires only documenting/reporting something).		Administrative-		Same-day		8

		Capability-based (provides necessary capability).		Capability-based-		Operations planning: day-ahead up to one year		21

		Capability-based (provides necessary capability).		Capability-based-		Planning: one year and longer		2

		Capability-based (provides necessary capability).		Capability-based-		Real-time or current hour		50

		Capability-based (provides necessary capability).		Capability-based-		Same-day		8

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Operations planning: day-ahead up to one year		9

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Planning: one year and longer		14

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Real-time or current hour		54

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Same-day		2

		Prescriptive (explains how to).		Prescriptive -		Operations planning: day-ahead up to one year		203

		Prescriptive (explains how to).		Prescriptive -		Planning: one year and longer		341

		Prescriptive (explains how to).		Prescriptive -		Real-time or current hour		49

		Prescriptive (explains how to).		Prescriptive -		Same-day		12

		Risk-based (reduces risk).		Risk-based-		Operations planning: day-ahead up to one year		67

		Risk-based (reduces risk).		Risk-based-		Planning: one year and longer		110

		Risk-based (reduces risk).		Risk-based-		Real-time or current hour		83

		Risk-based (reduces risk).		Risk-based-		Same-day		59

				Requirement Type		The time horizon to which this requirement applies is:		CountOfKeyID

				Capability-based-		Planning: one year and longer		2

				Performance-based-		Same-day		2

				Administrative-		Same-day		8

				Capability-based-		Same-day		8

				Performance-based-		Operations planning: day-ahead up to one year		9

				Prescriptive -		Same-day		12

				Performance-based-		Planning: one year and longer		14

				Capability-based-		Operations planning: day-ahead up to one year		21

				Administrative-		Real-time or current hour		41

				Prescriptive -		Real-time or current hour		49

				Capability-based-		Real-time or current hour		50

				Performance-based-		Real-time or current hour		54

				Risk-based-		Same-day		59

				Risk-based-		Operations planning: day-ahead up to one year		67

				Risk-based-		Real-time or current hour		83

				Administrative-		Planning: one year and longer		103

				Risk-based-		Planning: one year and longer		110

				Administrative-		Operations planning: day-ahead up to one year		120

				Prescriptive -		Operations planning: day-ahead up to one year		203

				Prescriptive -		Planning: one year and longer		341

		Q2		This requirement is:		CountOfKeyID

		A bulk power system result that is clear in the requirement.		Administrative		2

		A bulk power system result that is clear in the requirement.		Performance-based		39

		A bulk power system result that is clear in the requirement.		Prescriptive		28

		A bulk power system result that is clear in the requirement.		Risk-based		2

		A bulk power system result that is clear in the requirement.		Capability-based		12

		A risk mitigation objective that is clear in the requirement.		Administrative		9

		A risk mitigation objective that is clear in the requirement.		Capability-based		24

		A risk mitigation objective that is clear in the requirement.		Performance-based		19

		A risk mitigation objective that is clear in the requirement.		Prescriptive		35

		A risk mitigation objective that is clear in the requirement.		Risk-based		99

		Is implied but not explicitly stated in the requirement.		Administrative		73

		Is implied but not explicitly stated in the requirement.		Capability-based		45

		Is implied but not explicitly stated in the requirement.		Performance-based		20

		Is implied but not explicitly stated in the requirement.		Prescriptive		301

		Is implied but not explicitly stated in the requirement.		Risk-based		209

		Is unclear.		Administrative		119

		Is unclear.		Capability-based		1

		Is unclear.		Performance-based		1

		Is unclear.		Prescriptive		226

		Is unclear.		Risk-based		9

		No reliability benefit is provided by the requirement.		Administrative		71

		No reliability benefit is provided by the requirement.		Prescriptive		16

		The most effective way to measure this requirement is:		This requirement is:		CountOfKeyID

		Can only be measured through documentation.		Administrative		188

		Can only be measured through documentation.		Capability-based		9

		Can only be measured through documentation.		Performance-based		1

		Can only be measured through documentation.		Prescriptive		343

		Can only be measured through documentation.		Risk-based		51

		Evaluating a product or result (can be written such as a restoration procedure).		Administrative		28

		Evaluating a product or result (can be written such as a restoration procedure).		Capability-based		9

		Evaluating a product or result (can be written such as a restoration procedure).		Performance-based		1

		Evaluating a product or result (can be written such as a restoration procedure).		Prescriptive		187

		Evaluating a product or result (can be written such as a restoration procedure).		Risk-based		91

		Evaluating bulk power system performance, data, or results.		Performance-based		29

		Evaluating bulk power system performance, data, or results.		Prescriptive		4

		Evaluating bulk power system performance, data, or results.		Risk-based		9

		Evaluating capabilities, such as tools, systems, training records, etc.		Administrative		10

		Evaluating capabilities, such as tools, systems, training records, etc.		Capability-based		46

		Evaluating capabilities, such as tools, systems, training records, etc.		Performance-based		3

		Evaluating capabilities, such as tools, systems, training records, etc.		Prescriptive		16

		Evaluating capabilities, such as tools, systems, training records, etc.		Risk-based		24

		Evaluating performance of an activity or a record/log of that activity.		Administrative		48

		Evaluating performance of an activity or a record/log of that activity.		Capability-based		18

		Evaluating performance of an activity or a record/log of that activity.		Performance-based		45

		Evaluating performance of an activity or a record/log of that activity.		Prescriptive		56

		Evaluating performance of an activity or a record/log of that activity.		Risk-based		144

		The time horizon to which this requirement applies is:		This requirement is:		CountOfKeyID

		Operations planning: day-ahead up to one year		Administrative (requires only documenting/reporting something).		120

		Operations planning: day-ahead up to one year		Capability-based (provides necessary capability).		21

		Operations planning: day-ahead up to one year		Performance-based (specifies a bulk power system outcome).		9

		Operations planning: day-ahead up to one year		Prescriptive (explains how to).		203

		Operations planning: day-ahead up to one year		Risk-based (reduces risk).		67

		Planning: one year and longer		Administrative (requires only documenting/reporting something).		103

		Planning: one year and longer		Capability-based (provides necessary capability).		2

		Planning: one year and longer		Performance-based (specifies a bulk power system outcome).		14

		Planning: one year and longer		Prescriptive (explains how to).		341

		Planning: one year and longer		Risk-based (reduces risk).		110

		Real-time or current hour		Administrative (requires only documenting/reporting something).		41

		Real-time or current hour		Capability-based (provides necessary capability).		50

		Real-time or current hour		Performance-based (specifies a bulk power system outcome).		54

		Real-time or current hour		Prescriptive (explains how to).		49

		Real-time or current hour		Risk-based (reduces risk).		83

		Same-day		Administrative (requires only documenting/reporting something).		8

		Same-day		Capability-based (provides necessary capability).		8

		Same-day		Performance-based (specifies a bulk power system outcome).		2

		Same-day		Prescriptive (explains how to).		12

		Same-day		Risk-based (reduces risk).		59





BALCOMCIP

		Administrative (requires only documenting/reporting something).
BAL

		Risk-based (reduces risk).
BAL

		Performance-based (specifies a bulk power system outcome).
BAL

		Capability-based (provides necessary capability).
BAL

		Prescriptive (explains how to).
BAL

		Prescriptive (explains how to).
CIP

		Capability-based (provides necessary capability).
CIP

		Risk-based (reduces risk).
CIP

		Administrative (requires only documenting/reporting something).
CIP

		Risk-based (reduces risk).
COM

		Prescriptive (explains how to).
COM

		Capability-based (provides necessary capability).
COM



BAL, COM & CIP

5

8

12

18

34

3

13

55

98

2

3

4



BAL - This requirement is

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Performance-based (specifies a bulk power system outcome).

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).



BAL
This requirement is:

5

8

12

18

34



CIP-This requirement is

		Prescriptive (explains how to).
CIP

		Capability-based (provides necessary capability).
CIP

		Risk-based (reduces risk).
CIP

		Administrative (requires only documenting/reporting something).
CIP



CIP 
This requirement is:

3

13

55

98



COM This requirement is

		Risk-based (reduces risk).
COM

		Prescriptive (explains how to).
COM

		Capability-based (provides necessary capability).
COM



COM
 This requirement is:

2

3

4



IROThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



IRO
This requirement is

9

13

13

13

38



EOPThisRequirementIs

		Risk-based (reduces risk).

		Prescriptive (explains how to).

		Performance-based (specifies a bulk power system outcome).

		Capability-based (provides necessary capability).

		Administrative (requires only documenting/reporting something).



EOP
This requirement is

3

6

12

17

22



NUCThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).



NUC
This requirement is

5

9

21



MODThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).



MOD
This requirement is

31

54

278



TOPThisRequirementIs

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).

		Administrative (requires only documenting/reporting something).

		Performance-based (specifies a bulk power system outcome).

		Risk-based (reduces risk).



TOP
This requirement is

4

4

15

15

33



FACThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Prescriptive (explains how to).



FAC
This requirement is

24

51

85



VARThisRequirementIs

		Capability-based (provides necessary capability).

		Risk-based (reduces risk).

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).



VAR
This requirement is

2

2

13

14



PERThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).



PER
This requirement is

1

2

11

15



INTThisRequirementIs

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



INT
This requirement is

1

2

3

46



PRCThisRequirementIs

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Prescriptive (explains how to).



PRC
This requirement is

13

20

44

141



VARReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



VAR: The reliability objective (or risk mitigation) achieved by this requirement is:

5

5

10

8

3



TOPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



TOP: The reliability objective (or risk mitigation) achieved by this requirement is:

9

14

36

12



PRCReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



PRC: The reliability objective (or risk mitigation) achieved by this requirement is:

20

6

169

14

9



PERReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



PER: The reliability objective (or risk mitigation) achieved by this requirement is:

2

1

21

2

3



NUCReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



NUC: The reliability objective (or risk mitigation) achieved by this requirement is:

8

20

7



MODReliabilityObjective 

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



MOD: The reliability objective (or risk mitigation) achieved by this requirement is:

14

106

220

23



IROReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



IRO: The reliability objective (or risk mitigation) achieved by this requirement is:

2

44

30

7

3



INTReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.



INT: The reliability objective (or risk mitigation) achieved by this requirement is:

50

2



EOPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



EOP: The reliability objective (or risk mitigation) achieved by this requirement is:

19

5

24

9

3



FACReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.



FAC: The reliability objective (or risk mitigation) achieved by this requirement is:

50

2



COMReliabilityObjective 

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.



COM: The reliability objective (or risk mitigation) achieved by this requirement is:

6

3



CIPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



CIP: The reliability objective (or risk mitigation) achieved by this requirement is:

2

62

39

53

13



BALReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



BAL: The reliability objective (or risk mitigation) achieved by this requirement is:

5

4

59

9



VARMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



VAR: The most effective way to measure this requirement is:

10

8

1

12



TOPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



TOP: The most effective way to measure this requirement is:

16

10

17

11

17



PRCMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating performance of an activity or a record/log of that activity.



PRC: The most effective way to measure this requirement is:

142

41

35



PERMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating capabilities, such as tools, systems, training records, etc.



PER: The most effective way to measure this requirement is:

7

22



NUCMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



NUC: The most effective way to measure this requirement is:

1

35

2

2

4



MODMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.		Evaluating performance of an activity or a record/log of that activity.		Evaluating performance of an activity or a record/log of that activity.		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.						Evaluating performance of an activity or a record/log of that activity.



MOD: The most effective way to measure this requirement is:

1

202

202

1

2

112

112

2

2

49

49

2

4

4



IROMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



IRO: The most effective way to measure this requirement is:

13

10

3

18

42



INTMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating performance of an activity or a record/log of that activity.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



INT: The most effective way to measure this requirement is:

1

9

2

43

2

4



EOPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



EOP: The most effective way to measure this requirement is:

6

11

5

5

33



FACMostEffectiveMeasure

		Can only be measured through documentation.
FAC

		Evaluating a product or result (can be written such as a restoration procedure).
FAC

		Evaluating bulk power system performance, data, or results.
FAC

		Evaluating capabilities, such as tools, systems, training records, etc.
FAC

		Evaluating performance of an activity or a record/log of that activity.
FAC



FAC: The most effective way to measure this requirement is:

32

125

1

1

1



COMMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.		Evaluating performance of an activity or a record/log of that activity.



COM: The most effective way to measure this requirement is:

1

1

2

2

2

2

4

4



CIPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



CIP: The most effective way to measure this requirement is:

101

3

1

22

42



BALMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



BAL: The most effective way to measure this requirement is:

18

2

7

17

33



BALTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour

		Same-day



BAL: The time horizon to which this requirement applies is:

21

43

13



CIPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



CIP: The time horizon to which this requirement applies is:

31

58

79

1



COMTimeHorizon

		Real-time or current hour



COM: The time horizon to which this requirement applies is:

9



EOPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



EOP: The time horizon to which this requirement applies is:

28

5

22

5



FACTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer



FAC: The time horizon to which this requirement applies is:

12

148



INTTimeHorizon

		Same-day



INT: The time horizon to which this requirement applies is:

52



IROTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour

		Same-day



IRO: The time horizon to which this requirement applies is:

32

49

4



MODTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Same-day



MOD: The time horizon to which this requirement applies is:

200

153

10



NUCTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour



NUC: The time horizon to which this requirement applies is:

10

24

1



PERTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour



PER: The time horizon to which this requirement applies is:

7

7

12



PRCTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Same-day



PRC: The time horizon to which this requirement applies is:

48

169

1



TOPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



TOP: The time horizon to which this requirement applies is:

22

6

40

3



VARTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour



VAR: The time horizon to which this requirement applies is:

9

22



GroupTableSource

		StandardGroup		This requirement is:		Count				StandardGroup		The reliability objective (or risk mitigation) achieved by this requirement is:		Count				StandardGroup		The most effective way to measure this requirement is:		CountOfKeyID				StandardGroup		The time horizon to which this requirement applies is:		CountOfKeyID

		BAL		Administrative (requires only documenting/reporting something).		5				BAL		A bulk power system result that is clear in the requirement.		5				BAL		Can only be measured through documentation.		18				BAL		Operations planning: day-ahead up to one year		21

		BAL		Risk-based (reduces risk).		8				BAL		A risk mitigation objective that is clear in the requirement.		4				BAL		Evaluating a product or result (can be written such as a restoration procedure).		2				BAL		Real-time or current hour		43

		BAL		Performance-based (specifies a bulk power system outcome).		12				BAL		Is implied but not explicitly stated in the requirement.		59				BAL		Evaluating bulk power system performance, data, or results.		7				BAL		Same-day		13

		BAL		Capability-based (provides necessary capability).		18				BAL		Is unclear.		9				BAL		Evaluating capabilities, such as tools, systems, training records, etc.		17				CIP		Operations planning: day-ahead up to one year		31

		BAL		Prescriptive (explains how to).		34				CIP		A bulk power system result that is clear in the requirement.		2				BAL		Evaluating performance of an activity or a record/log of that activity.		33				CIP		Planning: one year and longer		58

		CIP		Prescriptive (explains how to).		3				CIP		A risk mitigation objective that is clear in the requirement.		62				CIP		Can only be measured through documentation.		101				CIP		Real-time or current hour		79

		CIP		Capability-based (provides necessary capability).		13				CIP		Is implied but not explicitly stated in the requirement.		39				CIP		Evaluating a product or result (can be written such as a restoration procedure).		3				CIP		Same-day		1

		CIP		Risk-based (reduces risk).		55				CIP		Is unclear.		53				CIP		Evaluating bulk power system performance, data, or results.		1				COM		Real-time or current hour		9

		CIP		Administrative (requires only documenting/reporting something).		98				CIP		No reliability benefit is provided by the requirement.		13				CIP		Evaluating capabilities, such as tools, systems, training records, etc.		22				EOP		Operations planning: day-ahead up to one year		28

		COM		Risk-based (reduces risk).		2				COM		A risk mitigation objective that is clear in the requirement.		6				CIP		Evaluating performance of an activity or a record/log of that activity.		42				EOP		Planning: one year and longer		5

		COM		Prescriptive (explains how to).		3				COM		Is implied but not explicitly stated in the requirement.		3				COM		Can only be measured through documentation.		1				EOP		Real-time or current hour		22

		COM		Capability-based (provides necessary capability).		4				EOP		A bulk power system result that is clear in the requirement.		19				COM		Evaluating a product or result (can be written such as a restoration procedure).		2				EOP		Same-day		5

		EOP		Risk-based (reduces risk).		3				EOP		A risk mitigation objective that is clear in the requirement.		5				COM		Evaluating capabilities, such as tools, systems, training records, etc.		2				FAC		Operations planning: day-ahead up to one year		12

		EOP		Prescriptive (explains how to).		6				EOP		Is implied but not explicitly stated in the requirement.		24				COM		Evaluating performance of an activity or a record/log of that activity.		4				FAC		Planning: one year and longer		148

		EOP		Performance-based (specifies a bulk power system outcome).		12				EOP		Is unclear.		9				EOP		Can only be measured through documentation.		6				INT		Same-day		52

		EOP		Capability-based (provides necessary capability).		17				EOP		No reliability benefit is provided by the requirement.		3				EOP		Evaluating a product or result (can be written such as a restoration procedure).		11				IRO		Operations planning: day-ahead up to one year		32

		EOP		Administrative (requires only documenting/reporting something).		22				FAC		A bulk power system result that is clear in the requirement.		19				EOP		Evaluating bulk power system performance, data, or results.		5				IRO		Real-time or current hour		49

		FAC		Administrative (requires only documenting/reporting something).		24				FAC		A risk mitigation objective that is clear in the requirement.		25				EOP		Evaluating capabilities, such as tools, systems, training records, etc.		5				IRO		Same-day		4

		FAC		Risk-based (reduces risk).		51				FAC		Is implied but not explicitly stated in the requirement.		93				EOP		Evaluating performance of an activity or a record/log of that activity.		33				MOD		Operations planning: day-ahead up to one year		200

		FAC		Prescriptive (explains how to).		85				FAC		No reliability benefit is provided by the requirement.		23				FAC		Can only be measured through documentation.		32				MOD		Planning: one year and longer		153

		INT		Performance-based (specifies a bulk power system outcome).		1				INT		Is implied but not explicitly stated in the requirement.		50				FAC		Evaluating a product or result (can be written such as a restoration procedure).		125				MOD		Same-day		10

		INT		Administrative (requires only documenting/reporting something).		2				INT		Is unclear.		2				FAC		Evaluating bulk power system performance, data, or results.		1				NUC		Operations planning: day-ahead up to one year		10

		INT		Prescriptive (explains how to).		3				IRO		A bulk power system result that is clear in the requirement.		2				FAC		Evaluating capabilities, such as tools, systems, training records, etc.		1				NUC		Planning: one year and longer		24

		INT		Risk-based (reduces risk).		46				IRO		A risk mitigation objective that is clear in the requirement.		44				FAC		Evaluating performance of an activity or a record/log of that activity.		1				NUC		Real-time or current hour		1

		IRO		Administrative (requires only documenting/reporting something).		9				IRO		Is implied but not explicitly stated in the requirement.		30				INT		Can only be measured through documentation.		9				PER		Operations planning: day-ahead up to one year		7

		IRO		Capability-based (provides necessary capability).		13				IRO		Is unclear.		7				INT		Evaluating performance of an activity or a record/log of that activity.		43				PER		Planning: one year and longer		7

		IRO		Performance-based (specifies a bulk power system outcome).		13				IRO		No reliability benefit is provided by the requirement.		3				IRO		Can only be measured through documentation.		13				PER		Real-time or current hour		12

		IRO		Prescriptive (explains how to).		13				MOD		A risk mitigation objective that is clear in the requirement.		14				IRO		Evaluating a product or result (can be written such as a restoration procedure).		10				PRC		Operations planning: day-ahead up to one year		48

		IRO		Risk-based (reduces risk).		38				MOD		Is implied but not explicitly stated in the requirement.		106				IRO		Evaluating bulk power system performance, data, or results.		3				PRC		Planning: one year and longer		169

		MOD		Risk-based (reduces risk).		31				MOD		Is unclear.		220				IRO		Evaluating capabilities, such as tools, systems, training records, etc.		18				PRC		Same-day		1

		MOD		Administrative (requires only documenting/reporting something).		54				MOD		No reliability benefit is provided by the requirement.		23				IRO		Evaluating performance of an activity or a record/log of that activity.		42				TOP		Operations planning: day-ahead up to one year		22

		MOD		Prescriptive (explains how to).		278				NUC		Is implied but not explicitly stated in the requirement.		8				MOD		Can only be measured through documentation.		202				TOP		Planning: one year and longer		6

		NUC		Risk-based (reduces risk).		5				NUC		Is unclear.		20				MOD		Evaluating a product or result (can be written such as a restoration procedure).		112				TOP		Real-time or current hour		40

		NUC		Administrative (requires only documenting/reporting something).		9				NUC		No reliability benefit is provided by the requirement.		7				MOD		Evaluating performance of an activity or a record/log of that activity.		49				TOP		Same-day		3

		NUC		Prescriptive (explains how to).		21				PER		A bulk power system result that is clear in the requirement.		2				NUC		Can only be measured through documentation.		35				VAR		Operations planning: day-ahead up to one year		9

		PER		Risk-based (reduces risk).		1				PER		A risk mitigation objective that is clear in the requirement.		1				PER		Can only be measured through documentation.		7				VAR		Real-time or current hour		22

		PER		Administrative (requires only documenting/reporting something).		2				PER		Is implied but not explicitly stated in the requirement.		21				PER		Evaluating capabilities, such as tools, systems, training records, etc.		22

		PER		Capability-based (provides necessary capability).		11				PER		Is unclear.		2				PRC		Can only be measured through documentation.		142

		PER		Prescriptive (explains how to).		15				PER		No reliability benefit is provided by the requirement.		3				PRC		Evaluating a product or result (can be written such as a restoration procedure).		41

		PRC		Performance-based (specifies a bulk power system outcome).		13				PRC		A bulk power system result that is clear in the requirement.		20				PRC		Evaluating performance of an activity or a record/log of that activity.		35

		PRC		Administrative (requires only documenting/reporting something).		20				PRC		A risk mitigation objective that is clear in the requirement.		6				TOP		Can only be measured through documentation.		16

		PRC		Risk-based (reduces risk).		44				PRC		Is implied but not explicitly stated in the requirement.		169				TOP		Evaluating a product or result (can be written such as a restoration procedure).		10

		PRC		Prescriptive (explains how to).		141				PRC		Is unclear.		14				TOP		Evaluating bulk power system performance, data, or results.		17

		TOP		Capability-based (provides necessary capability).		4				PRC		No reliability benefit is provided by the requirement.		9				TOP		Evaluating capabilities, such as tools, systems, training records, etc.		11

		TOP		Prescriptive (explains how to).		4				TOP		A bulk power system result that is clear in the requirement.		9				TOP		Evaluating performance of an activity or a record/log of that activity.		17

		TOP		Administrative (requires only documenting/reporting something).		15				TOP		A risk mitigation objective that is clear in the requirement.		14				VAR		Can only be measured through documentation.		10

		TOP		Performance-based (specifies a bulk power system outcome).		15				TOP		Is implied but not explicitly stated in the requirement.		36				VAR		Evaluating bulk power system performance, data, or results.		8

		TOP		Risk-based (reduces risk).		33				TOP		Is unclear.		12				VAR		Evaluating capabilities, such as tools, systems, training records, etc.		1

		VAR		Capability-based (provides necessary capability).		2				VAR		A bulk power system result that is clear in the requirement.		5				VAR		Evaluating performance of an activity or a record/log of that activity.		12

		VAR		Risk-based (reduces risk).		2				VAR		A risk mitigation objective that is clear in the requirement.		5

		VAR		Performance-based (specifies a bulk power system outcome).		13				VAR		Is implied but not explicitly stated in the requirement.		10

		VAR		Administrative (requires only documenting/reporting something).		14				VAR		Is unclear.		8

										VAR		No reliability benefit is provided by the requirement.		3





Q1ThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Count

This requirement is:

274

82

79

606

319



Q2ReliabilityObjective

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Count

The reliability objective (or risk mitigation) achieved by this requirement is

Is unclear.
26%

83

186

648

356

87



Q2EffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Count

The most effective way to measure this requirement is:

592

316

42

99

311



Q10TimeHorizon

		Not Answered

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Count

The time horizon to which this requirement applies is:

4

420

570

277

89



TableSourceQ123&10

		This requirement is:		Count

		Administrative (requires only documenting/reporting something).		274

		Capability-based (provides necessary capability).		82

		Performance-based (specifies a bulk power system outcome).		79

		Prescriptive (explains how to).		606

		Risk-based (reduces risk).		319

		The reliability objective (or risk mitigation) achieved by this requirement is		Count

		A bulk power system result that is clear in the requirement.		83

		A risk mitigation objective that is clear in the requirement.		186

		Is implied but not explicitly stated in the requirement.		648

		Is unclear.		356

		No reliability benefit is provided by the requirement.		87

		The most effective way to measure this requirement is:		Count

		Can only be measured through documentation.		592

		Evaluating a product or result (can be written such as a restoration procedure).		316

		Evaluating bulk power system performance, data, or results.		42

		Evaluating capabilities, such as tools, systems, training records, etc.		99

		Evaluating performance of an activity or a record/log of that activity.		311

		The time horizon to which this requirement applies is:		Count

		Not Answered		4

		Operations planning: day-ahead up to one year		420

		Planning: one year and longer		570

		Real-time or current hour		277

		Same-day		89

		The bulk power system is controlled to stay within acceptable li		CountOfKeyID

				869

				51

		YES		440





NumGoalQ4-9

		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system is controlled to stay within acceptable limits during normal conditions.

		The bulk power system performs acceptably after credible contingencies.		The bulk power system performs acceptably after credible contingencies.

		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.

		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

		The bulk power system’s integrity can be restored promptly if it is lost.		The bulk power system’s integrity can be restored promptly if it is lost.

		supply the aggregate electric p…at all times...		supply the aggregate electric p…at all times...



NO

YES

#Questions on Goals:
Questions 4-9

920

440

1020

340

964

396

530

830

1156

204

707

653



PercentageGoalQ4-9

		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system is controlled to stay within acceptable limits during normal conditions.

		The bulk power system performs acceptably after credible contingencies.		The bulk power system performs acceptably after credible contingencies.

		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.

		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

		The bulk power system’s integrity can be restored promptly if it is lost.		The bulk power system’s integrity can be restored promptly if it is lost.

		supply the aggregate electric p…at all times...		supply the aggregate electric p…at all times...



NO

YES

% Questions on Goals:
Questions 4-9

0.68

0.32

0.75

0.25

0.71

0.29

0.39

0.61

0.85

0.15

0.52

0.48



Q4NormalConditions

		NO

		YES



The bulk power system is controlled to stay within acceptable limits during normal conditions.

920

440



Q5CredibleContingencies

		NO

		YES



The bulk power system performs acceptably after credible contingencies.

1020

340



Q6Cascading

		NO

		YES



The bulk power system limits the impact and scope of instability and cascading outages when they occur.

964

396



Q7FacilitesProtected

		NO

		YES



Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

530

830



Q8Integrity

		NO

		YES



The bulk power system’s integrity can be restored promptly if it is lost.

1156

204



Q9Aggregate

		NO

		YES



supply the aggregate electric p…at all times...

707

653



TableSourceGoal

		

		Answer		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...								The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...

		NO		920		1020		964		530		1156		707						NO		68%		75%		71%		39%		85%		52%

		YES		440		340		396		830		204		653						YES		32%		25%		29%		61%		15%		48%






_1317287353.xls
RawData

		Standard		Req		Text of Requirement		This requirement is:		The reliability objective (or risk mitigation) achieved by this requirement is:		The most effective way to measure this requirement is:		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...		The time horizon to which this requirement applies is:

		BAL-001-0.1a		R1.		Each Balancing Authority shall operate such that, on a rolling 12-month basis, the average of the clock-minute averages of the Balancing Authority’s Area Control Error (ACE) divided by 10B (B is the clock-minute average of the Balancing Authority Area’s Frequency Bias) times the corresponding clock-minute averages of the Interconnection’s Frequency Error is less than a specific limit.  This limit  is a constant derived from a targeted frequency bound (separately calculated for each Interconnection) that is reviewed and set as necessary by the NERC Operating Committee. See Standard for Formula.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES				YES		Real-time or current hour

		BAL-001-0.1a		R2.		Each Balancing Authority shall operate such that its average ACE for at least 90% of clock-ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10. See Standard for Formula.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES				YES		Real-time or current hour

		BAL-001-0.1a		R3.		Each Balancing Authority providing Overlap Regulation Service shall evaluate Requirement R1 (i.e., Control Performance Standard 1 or CPS1) and Requirement R2 (i.e., Control Performance Standard 2 or CPS2) using the characteristics of the combined ACE and combined Frequency Bias Settings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-001-0.1a		R4.		Any Balancing Authority receiving Overlap Regulation Service shall not have its control performance evaluated (i.e. from a control performance perspective, the Balancing Authority has shifted all control requirements to the Balancing Authority providing Overlap Regulation Service).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-002-0		R1.		Each Balancing Authority shall have access to and/or operate Contingency Reserve to respond to Disturbances.  Contingency Reserve may be supplied from generation, controllable load resources, or coordinated adjustments to Interchange Schedules.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.				YES								YES		Real-time or current hour

		BAL-002-0		R1.1.		A Balancing Authority may elect to fulfill its Contingency Reserve obligations by participating as a member of a Reserve Sharing Group.  In such cases, the Reserve Sharing Group shall have the same responsibilities and obligations as each Balancing Authority with respect to monitoring and meeting the requirements of Standard BAL-002.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.		Each Regional Reliability Organization, sub-Regional Reliability Organization or Reserve Sharing Group shall specify its Contingency Reserve policies, including:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.1.		The minimum reserve requirement for the group.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.2.		Its allocation among members.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.3.		The permissible mix of Operating Reserve – Spinning and Operating Reserve – Supplemental that may be included in Contingency Reserve.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.4.		The procedure for applying Contingency Reserve in practice.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Real-time or current hour

		BAL-002-0		R2.5.		The limitations, if any, upon the amount of interruptible load that may be included.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.6.		The same portion of resource capacity (e.g., reserves from jointly owned generation) shall not be counted more than once as Contingency Reserve by multiple Balancing Authorities.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R3.		Each Balancing Authority or Reserve Sharing Group shall activate sufficient Contingency Reserve to comply with the DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		BAL-002-0		R3.1.		As a minimum, the Balancing Authority or Reserve Sharing Group shall carry at least enough Contingency Reserve to cover the most severe single contingency.  All Balancing Authorities and Reserve Sharing Groups shall review, no less frequently than annually, their probable contingencies to determine their prospective most severe single contingencies.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES										YES		Real-time or current hour

		BAL-002-0		R4.		A Balancing Authority or Reserve Sharing Group shall meet the Disturbance Recovery Criterion within the Disturbance Recovery Period for 100% of Reportable Disturbances.  The Disturbance Recovery Criterion is:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R4.1.		A Balancing Authority shall return its ACE to zero if its ACE just prior to the Reportable Disturbance was positive or equal to zero.  For negative initial ACE values just prior to the Disturbance, the Balancing Authority shall return ACE to its pre-Disturbance value.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R4.2.		The default Disturbance Recovery Period is 15 minutes after the start of a Reportable Disturbance.  This period may be adjusted to better suit the needs of an Interconnection based on analysis approved by the NERC Operating Committee.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES										YES		Real-time or current hour

		BAL-002-0		R5.		Each Reserve Sharing Group shall comply with the DCS.  A Reserve Sharing Group shall be considered in a Reportable Disturbance condition whenever a group member has experienced a Reportable Disturbance and calls for the activation of Contingency Reserves from one or more other group members.  (If a group member has experienced a Reportable Disturbance but does not call for reserve activation from other members of the Reserve Sharing Group, then that member shall report as a single Balancing Authority.)  Compliance may be demonstrated by either of the following two methods:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES										Real-time or current hour

		BAL-002-0		R5.1.		The Reserve Sharing Group reviews group ACE (or equivalent) and demonstrates compliance to the DCS.  To be in compliance, the group ACE (or its equivalent) must meet the Disturbance Recovery Criterion after the schedule change(s) related to reserve sharing have been fully implemented, and within the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-002-0		R5.2.		The Reserve Sharing Group reviews each member’s ACE in response to the activation of reserves.  To be in compliance, a member’s ACE (or its equivalent) must meet the Disturbance Recovery Criterion after the schedule change(s) related to reserve sharing have been fully implemented, and within the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-002-0		R6.		A Balancing Authority or Reserve Sharing Group shall fully restore its Contingency Reserves within the Contingency Reserve Restoration Period for its Interconnection.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R6.1.		The Contingency Reserve Restoration Period begins at the end of the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		BAL-002-0		R6.2.		The default Contingency Reserve Restoration Period is 90 minutes.  This period may be adjusted to better suit the reliability targets of the Interconnection based on analysis approved by the NERC Operating Committee.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-003-0		R4.2.		The Balancing Authorities that have a fixed schedule (B and C) but do not contain the Jointly Owned Unit shall not include their share of the governor droop response in their Frequency Bias Setting. See Standard for Graphic.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		BAL-003-0.1b		R1.		Each Balancing Authority shall review its Frequency Bias Settings by January 1 of each year and recalculate its setting to reflect any change in the Frequency Response of the Balancing Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES						YES				Operations planning: day-ahead up to one year

		BAL-003-0.1b		R1.1.		The Balancing Authority may change its Frequency Bias Setting, and the method used to determine the setting, whenever any of the factors used to determine the current bias value change.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.		Each Balancing Authority shall establish and maintain a Frequency Bias Setting that is as close as practical to, or greater than, the Balancing Authority’s Frequency Response.  Frequency Bias may be calculated several ways:		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.1.		The Balancing Authority may use a fixed Frequency Bias value which is based on a fixed, straight-line function of Tie Line deviation versus Frequency Deviation.  The Balancing Authority shall determine the fixed value by observing and averaging the Frequency Response for several Disturbances during on-peak hours.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.2.		The Balancing Authority may use a variable (linear or non-linear) bias value, which is based on a variable function of Tie Line deviation to Frequency Deviation.  The Balancing Authority shall determine the variable frequency bias value by analyzing Frequency Response as it varies with factors such as load, generation, governor characteristics, and frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R3.		Each Balancing Authority shall operate its Automatic Generation Control (AGC) on Tie Line Frequency Bias, unless such operation is adverse to system or Interconnection reliability.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		BAL-003-0.1b		R4.		Balancing Authorities that use Dynamic Scheduling or Pseudo-ties for jointly owned units shall reflect their respective share of the unit governor droop response in their respective Frequency Bias Setting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R4.1.		Fixed schedules for Jointly Owned Units mandate that Balancing Authority (A) that contains the Jointly Owned Unit must incorporate the respective share of the unit governor droop response for any Balancing Authorities that have fixed schedules (B and C).  See the diagram below. See Standard for Graphic.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R5.		Balancing Authorities that serve native load shall have a monthly average Frequency Bias Setting that is at least 1% of the Balancing Authority’s estimated yearly peak demand per 0.1 Hz change.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R5.1.		Balancing Authorities that do not serve native load shall have a monthly average Frequency Bias Setting that is at least 1% of its estimated maximum generation level in the coming year per 0.1 Hz change.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R6.		A Balancing Authority that is performing Overlap Regulation Service shall increase its Frequency Bias Setting to match the frequency response of the entire area being controlled.  A Balancing Authority shall not change its Frequency Bias Setting when performing Supplemental Regulation Service.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-004-1		R1.		Only a Reliability Coordinator shall be eligible to act as Interconnection Time Monitor.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-004-1		R2.		Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following methods:		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-004-1		R2.1.		The Balancing Authority shall offset its frequency schedule by 0.02 Hertz, leaving the Frequency Bias Setting normal; or		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R2.2.		The Balancing Authority shall offset its Net Interchange Schedule (MW) by an amount equal to the computed bias contribution during a 0.02 Hertz Frequency Deviation (i.e., 20% of the Frequency Bias Setting).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R3.		Any Reliability Coordinator in an Interconnection shall have the authority to request the Interconnection Time Monitor to terminate a Time Error Correction in progress, or a scheduled Time Error Correction that has not begun, for reliability considerations.		Capability-based (provides necessary capability).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R3.1.		Balancing Authorities that have reliability concerns with the execution of a Time Error Correction shall notify their Reliability Coordinator and request the termination of a Time Error Correction in progress.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R1.		All generation, transmission, and load operating within an Interconnection must be included within the metered boundaries of a Balancing Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.1.		Each Generator Operator with generation facilities operating in an Interconnection shall ensure that those generation facilities are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.2.		Each Transmission Operator with transmission facilities operating in an Interconnection shall ensure that those transmission facilities are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.3.		Each Load-Serving Entity with load operating in an Interconnection shall ensure that those loads are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R10.		The Balancing Authority shall include all Dynamic Schedules in the calculation of Net Scheduled Interchange for the ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R11.		Balancing Authorities shall include the effect of ramp rates, which shall be identical and agreed to between affected Balancing Authorities, in the Scheduled Interchange values to calculate ACE.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R12.		Each Balancing Authority shall include all Tie Line flows with Adjacent Balancing Authority Areas in the ACE calculation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R12.1.		Balancing Authorities that share a tie shall ensure Tie Line MW metering is telemetered to both control centers, and emanates from a common, agreed-upon source using common primary metering equipment.  Balancing Authorities shall ensure that megawatt-hour data is telemetered or reported at the end of each hour.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R12.2.		Balancing Authorities shall ensure the power flow and ACE signals that are utilized for calculating Balancing Authority performance or that are transmitted for Regulation Service are not filtered prior to transmission, except for the Anti-aliasing Filters of Tie Lines.		Prescriptive (explains how to).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-005-0.1b		R12.3.		Balancing Authorities shall install common metering equipment where Dynamic Schedules or Pseudo-Ties are implemented between two or more Balancing Authorities to deliver the output of Jointly Owned Units or to serve remote load.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R13.		Each Balancing Authority shall perform hourly error checks using Tie Line megawatt-hour meters with common time synchronization to determine the accuracy of its control equipment.  The Balancing Authority shall adjust the component (e.g., Tie Line meter) of ACE that is in error (if known) or use the interchange meter error (IME) term of the ACE equation to compensate for any equipment error until repairs can be made.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-005-0.1b		R14.		The Balancing Authority shall provide its operating personnel with sufficient instrumentation and data recording equipment to facilitate monitoring of control performance, generation response, and after-the-fact analysis of area performance.  As a minimum, the Balancing Authority shall provide its operating personnel with real-time values for ACE, Interconnection frequency and Net Actual Interchange with each Adjacent Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-005-0.1b		R15.		The Balancing Authority shall provide adequate and reliable backup power supplies and shall periodically test these supplies at the Balancing Authority’s control center and other critical locations to ensure continuous operation of AGC and vital data recording equipment during loss of the normal power supply.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Same-day

		BAL-005-0.1b		R16.		The Balancing Authority shall sample data at least at the same periodicity with which ACE is calculated.  The Balancing Authority shall flag missing or bad data for operator display and archival purposes.  The Balancing Authority shall collect coincident data to the greatest practical extent, i.e., ACE, Interconnection frequency, Net Actual Interchange, and other data shall all be sampled at the same time.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Same-day

		BAL-005-0.1b		R17.		Each Balancing Authority shall at least annually check and calibrate its time error and frequency devices against a common reference.  The Balancing Authority shall adhere to the minimum values for measuring devices as listed below:    See Standard for Values		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		BAL-005-0.1b		R2.		Each Balancing Authority shall maintain Regulating Reserve that can be controlled by AGC to meet the Control Performance Standard.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R3.		A Balancing Authority providing Regulation Service shall ensure that adequate metering, communications, and control equipment are employed to prevent such service from becoming a Burden on the Interconnection or other Balancing Authority Areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Real-time or current hour

		BAL-005-0.1b		R4.		A Balancing Authority providing Regulation Service shall notify the Host Balancing Authority for whom it is controlling if it is unable to provide the service, as well as any Intermediate Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R5.		A Balancing Authority receiving Regulation Service shall ensure that backup plans are in place to provide replacement Regulation Service should the supplying Balancing Authority no longer be able to provide this service.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R6.		The Balancing Authority’s AGC shall compare total Net Actual Interchange to total Net Scheduled Interchange plus Frequency Bias obligation to determine the Balancing Authority’s ACE.  Single Balancing Authorities operating asynchronously may employ alternative ACE calculations such as (but not limited to) flat frequency control.  If a Balancing Authority is unable to calculate ACE for more than 30 minutes it shall notify its Reliability Coordinator.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-005-0.1b		R7.		The Balancing Authority shall operate AGC continuously unless such operation adversely impacts the reliability of the Interconnection.  If AGC has become inoperative, the Balancing Authority shall use manual control to adjust generation to maintain the Net Scheduled Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-005-0.1b		R8.		The Balancing Authority shall ensure that data acquisition for and calculation of ACE occur at least every six seconds.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		BAL-005-0.1b		R8.1.		Each Balancing Authority shall provide redundant and independent frequency metering equipment that shall automatically activate upon detection of failure of the primary source.  This overall installation shall provide a minimum availability of 99.95%.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		BAL-005-0.1b		R9.		The Balancing Authority shall include all Interchange Schedules with Adjacent Balancing Authorities in the calculation of Net Scheduled Interchange for the ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R9.1.		Balancing Authorities with a high voltage direct current (HVDC) link to another Balancing Authority connected asynchronously to their Interconnection may choose to omit the Interchange Schedule related to the HVDC link from the ACE equation if it is modeled as internal generation or load.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-006-1.1		R1.		Each Balancing Authority shall calculate and record hourly Inadvertent Interchange.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R2.		Each Balancing Authority shall include all AC tie lines that connect to its Adjacent Balancing Authority Areas in its Inadvertent Interchange account. The Balancing Authority shall take into account interchange served by jointly owned generators.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R3.		Each Balancing Authority shall ensure all of its Balancing Authority Area interconnection points are equipped with common megawatt-hour meters, with readings provided hourly to the control centers of Adjacent Balancing Authorities.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R4.		Adjacent Balancing Authority Areas shall operate to a common Net Interchange Schedule and Actual Net Interchange value and shall record these hourly quantities, with like values but opposite sign.  Each Balancing Authority shall compute its Inadvertent Interchange based on the following:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R4.1.		Each Balancing Authority, by the end of the next business day, shall agree with its Adjacent Balancing Authorities to:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.1.1.		The hourly values of Net Interchange Schedule.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.1.2.		The hourly integrated megawatt-hour values of Net Actual Interchange.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.2.		Each Balancing Authority shall use the agreed-to daily and monthly accounting data to compile its monthly accumulated Inadvertent Interchange for the On-Peak and Off-Peak hours of the month.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.3.		A Balancing Authority shall make after-the-fact corrections to the agreed-to daily and monthly accounting data only as needed to reflect actual operating conditions (e.g. a meter being used for control was sending bad data).  Changes or corrections based on non-reliability considerations shall not be reflected in the Balancing Authority’s Inadvertent Interchange.  After-the-fact corrections to scheduled or actual values will not be accepted without agreement of the Adjacent Balancing Authority(ies).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R5.		Adjacent Balancing Authorities that cannot mutually agree upon their respective Net Actual Interchange or Net Scheduled Interchange quantities by the 15th calendar day of the following month shall, for the purposes of dispute resolution, submit a report to their respective Regional Reliability Organization Survey Contact. The report shall describe the nature and the cause of the dispute as well as a process for correcting the discrepancy.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-001-1		R1.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall have procedures for the recognition of and for making their operating personnel aware of sabotage events on its facilities and multi site sabotage affecting larger portions of the Interconnection.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R2.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall have procedures for the communication of information concerning sabotage events to appropriate parties in the Interconnection.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R3.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall provide its operating personnel with sabotage response guidelines, including personnel to contact, for reporting disturbances due to sabotage events.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R4.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall establish communications contacts, as applicable, with local Federal Bureau of Investigation (FBI) or Royal Canadian Mounted Police (RCMP) officials and develop reporting procedures as appropriate to their circumstances.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.		Critical Asset Identification Method — The Responsible Entity shall identify and document a risk-based assessment methodology to use to identify its Critical Assets.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES				YES		YES		Planning: one year and longer

		CIP-002-2		R1.1.		The Responsible Entity shall maintain documentation describing its risk-based assessment methodology that includes procedures and evaluation criteria.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.		The risk-based assessment shall consider the following assets:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		CIP-002-2		R1.2.1.		Control centers and backup control centers performing the functions of the entities listed in the Applicability section of this standard.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.2.		Transmission substations that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.3.		Generation resources that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.4.		Systems and facilities critical to system restoration, including blackstart generators and substations in the electrical path of transmission lines used for initial system restoration.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.5.		Systems and facilities critical to automatic load shedding under a common control system capable of shedding 300 MW or more.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.6.		Special Protection Systems that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.7.		Any additional assets that support the reliable operation of the Bulk Electric System that the Responsible Entity deems appropriate to include in its assessment.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R2.		Critical Asset Identification — The Responsible Entity shall develop a list of its identified Critical Assets determined through an annual application of the risk-based assessment methodology required in R1. The Responsible Entity shall review this list at least annually, and update it as necessary.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.		Critical Cyber Asset Identification — Using the list of Critical Assets developed pursuant to Requirement R2, the Responsible Entity shall develop a list of associated Critical Cyber Assets essential to the operation of the Critical Asset. Examples at control centers and backup control centers include systems and facilities at master and remote sites that provide monitoring and control, automatic generation control, real-time power system modeling, and real-time inter-utility data exchange. The Responsible Entity shall review this list at least annually, and update it as necessary. For the purpose of Standard CIP-002-2, Critical Cyber Assets are further qualified to be those having at least one of the following characteristics:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.1.		The Cyber Asset uses a routable protocol to communicate outside the Electronic Security Perimeter; or,		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.2.		The Cyber Asset uses a routable protocol within a control center; or,		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.3.		The Cyber Asset is dial-up accessible.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R4.		Annual Approval — The senior manager or delegate(s) shall approve annually the risk-based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets. Based on Requirements R1, R2, and R3 the Responsible Entity may determine that it has no Critical Assets or Critical Cyber Assets. The Responsible Entity shall keep a signed and dated record of the senior manager or delegate(s)’s approval of the risk-based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets (even if such lists are null.)		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-003-2		R1.		Cyber Security Policy — The Responsible Entity shall document and implement a cyber security policy that represents management’s commitment and ability to secure its Critical Cyber Assets.  The Responsible Entity shall, at minimum, ensure the following:		Administrative (requires only documenting/reporting something).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.1.		The cyber security policy addresses the requirements in Standards CIP-002-2 through CIP-009-2, including provision for emergency situations.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.2.		The cyber security policy is readily available to all personnel who have access to, or are responsible for, Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.3.		Annual review and approval of the cyber security policy by the senior manager assigned pursuant to R2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.		Leadership — The Responsible Entity shall assign a single senior manager with overall responsibility and authority for leading and managing the entity’s implementation of, and adherence to, Standards CIP-002-2 through CIP-009-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.1.		The senior manager shall be identified by name, title, and date of designation.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.2.		Changes to the senior manager must be documented within thirty calendar days of the effective date.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.3.		Where allowed by Standards CIP-002-2 through CIP-009-2, the senior manager may delegate authority for specific actions to a named delegate or delegates.  These delegations shall be documented in the same manner as R2.1 and R2.2, and approved by the senior manager.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.4.		The senior manager or delegate(s), shall authorize and document any exception from the requirements of the cyber security policy.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.		Exceptions — Instances where the Responsible Entity cannot conform to its cyber security policy must be documented as exceptions and authorized by the senior manager or delegate(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.1.		Exceptions to the Responsible Entity’s cyber security policy must be documented within thirty days of being approved by the senior manager or delegate(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.2.		Documented exceptions to the cyber security policy must include an explanation as to why the exception is necessary and any compensating measures.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.3.		Authorized exceptions to the cyber security policy must be reviewed and approved annually by the senior manager or delegate(s) to ensure the exceptions are still required and valid.  Such review and approval shall be documented.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.		Information Protection — The Responsible Entity shall implement and document a program to identify, classify, and protect information associated with Critical Cyber Assets.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		CIP-003-2		R4.1.		The Critical Cyber Asset information to be protected shall include, at a minimum and regardless of media type, operational procedures, lists as required in Standard CIP-002-2, network topology or similar diagrams, floor plans of computing centers that contain Critical Cyber Assets, equipment layouts of Critical Cyber Assets, disaster recovery plans, incident response plans, and security configuration information.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.2.		The Responsible Entity shall classify information to be protected under this program based on the sensitivity of the Critical Cyber Asset information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.3.		The Responsible Entity shall, at least annually, assess adherence to its Critical Cyber Asset information protection program, document the assessment results, and implement an action plan to remediate deficiencies identified during the assessment.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Operations planning: day-ahead up to one year

		CIP-003-2		R5.		Access Control — The Responsible Entity shall document and implement a program for managing access to protected Critical Cyber Asset information.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-003-2		R5.1.		The Responsible Entity shall maintain a list of designated personnel who are responsible for authorizing logical or physical access to protected information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.1.1.		Personnel shall be identified by name, title, and the information for which they are responsible for authorizing access.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.1.2.		The list of personnel responsible for authorizing access to protected information shall be verified at least annually.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.2.		The Responsible Entity shall review at least annually the access privileges to protected information to confirm that access privileges are correct and that they correspond with the Responsible Entity’s needs and appropriate personnel roles and responsibilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.3.		The Responsible Entity shall assess and document at least annually the processes for controlling access privileges to protected information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R6.		Change Control and Configuration Management — The Responsible Entity shall establish and document a process of change control and configuration management for adding, modifying, replacing, or removing Critical Cyber Asset hardware or software, and implement supporting configuration management activities to identify, control and document all entity or vendor-related changes to hardware and software components of Critical Cyber Assets pursuant to the change control process.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-004-2		R1.		Awareness — The Responsible Entity shall establish, document, implement, and maintain a security awareness program to ensure personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets receive on-going reinforcement in sound security practices. The program shall include security awareness reinforcement on at least a quarterly basis using mechanisms such as: Direct communications (e.g. emails, memos, computer based training, etc.); Indirect communications (e.g. posters, intranet, brochures, etc.); Management support and reinforcement (e.g., presentations, meetings, etc.).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-004-2		R2.		Training — The Responsible Entity shall establish, document, implement, and maintain an annual cyber security training program for personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets. The cyber security training program shall be reviewed annually, at a minimum, and shall be updated whenever necessary.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.						YES								Operations planning: day-ahead up to one year

		CIP-004-2		R2.1.		This program will ensure that all personnel having such access to Critical Cyber Assets, including contractors and service vendors, are trained prior to their being granted such access except in specified circumstances such as an emergency.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.		Training shall cover the policies, access controls, and procedures as developed for the Critical Cyber Assets covered by CIP-004-2, and include, at a minimum, the following required items appropriate to personnel roles and responsibilities:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.1.		The proper use of Critical Cyber Assets;		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.2.		Physical and electronic access controls to Critical Cyber Assets;		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.3.		The proper handling of Critical Cyber Asset information; and,		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.4.		Action plans and procedures to recover or re-establish Critical Cyber Assets and access thereto following a Cyber Security Incident.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.3.		The Responsible Entity shall maintain documentation that training is conducted at least annually, including the date the training was completed and attendance records.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R3.		Personnel Risk Assessment —The Responsible Entity shall have a documented personnel risk assessment program, in accordance with federal, state, provincial, and local laws, and subject to existing collective bargaining unit agreements, for  personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets.  A personnel risk assessment shall be conducted pursuant to that program prior to such personnel being granted such access except in specified circumstances such as an emergency. The personnel risk assessment program shall at a minimum include:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES								Operations planning: day-ahead up to one year

		CIP-004-2		R3.1.		The Responsible Entity shall ensure that each assessment conducted include, at least, identity verification (e.g., Social Security Number verification in the U.S.) and seven-year criminal check. The Responsible Entity may conduct more detailed reviews, as permitted by law and subject to existing collective bargaining unit agreements, depending upon the criticality of the position.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-004-2		R3.2.		The Responsible Entity shall update each personnel risk assessment at least every seven years after the initial personnel risk assessment or for cause.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-004-2		R3.3.		The Responsible Entity shall document the results of personnel risk assessments of its personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets, and that personnel risk assessments of contractor and service vendor personnel with such access are conducted pursuant to Standard CIP-004-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.		Access — The Responsible Entity shall maintain list(s) of personnel with authorized cyber or authorized unescorted physical access to Critical Cyber Assets, including their specific electronic and physical access rights to Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.1.		The Responsible Entity shall review the list(s) of its personnel who have such access to Critical Cyber Assets quarterly, and update the list(s) within seven calendar days of any change of personnel with such access to Critical Cyber Assets, or any change in the access rights of such personnel.  The Responsible Entity shall ensure access list(s) for contractors and service vendors are properly maintained.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.2.		The Responsible Entity shall revoke such access to Critical Cyber Assets within 24 hours for personnel terminated for cause and within seven calendar days for personnel who no longer require such access to Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		CIP-005-2		R1.		Electronic Security Perimeter — The Responsible Entity shall ensure that every Critical Cyber Asset resides within an Electronic Security Perimeter. The Responsible Entity shall identify and document the Electronic Security Perimeter(s) and all access points to the perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.1.		Access points to the Electronic Security Perimeter(s) shall include any externally connected communication end point (for example, dial-up modems) terminating at any device within the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.2.		For a dial-up accessible Critical Cyber Asset that uses a non-routable protocol, the Responsible Entity shall define an Electronic Security Perimeter for that single access point at the dial-up device.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.3.		Communication links connecting discrete Electronic Security Perimeters shall not be considered part of the Electronic Security Perimeter. However, end points of these communication links within the Electronic Security Perimeter(s) shall be considered access points to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-005-2		R1.4.		Any non-critical Cyber Asset within a defined Electronic Security Perimeter shall be identified and protected pursuant to the requirements of Standard CIP-005-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-005-2		R1.5.		Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall be afforded the protective measures as a specified in Standard CIP-003-2; Standard CIP-004-2 Requirement R3; Standard CIP-005-2 Requirements R2 and R3; Standard CIP-006-2 Requirement R3; Standard CIP-007-2 Requirements R1 and R3 through R9; Standard CIP-008-2; and Standard CIP-009-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.6.		The Responsible Entity shall maintain documentation of Electronic Security Perimeter(s), all interconnected Critical and non-critical Cyber Assets within the Electronic Security Perimeter(s), all electronic access points to the Electronic Security Perimeter(s) and the Cyber Assets deployed for the access control and monitoring of these access points.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.		Electronic Access Controls — The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for control of electronic access at all electronic access points to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.1.		These processes and mechanisms shall use an access control model that denies access by default, such that explicit access permissions must be specified.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.2.		At all access points to the Electronic Security Perimeter(s), the Responsible Entity shall enable only ports and services required for operations and for monitoring Cyber Assets within the Electronic Security Perimeter, and shall document, individually or by specified grouping, the configuration of those ports and services.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.3.		The Responsible Entity shall implement and maintain a procedure for securing dial-up access to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.4.		Where external interactive access into the Electronic Security Perimeter has been enabled, the Responsible Entity shall implement strong procedural or technical controls at the access points to ensure authenticity of the accessing party, where technically feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.5.		The required documentation shall, at least, identify and describe:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.1.		The processes for access request and authorization.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.2.		The authentication methods.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.3.		The review process for authorization rights, in accordance with Standard CIP-004-2 Requirement R4.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.4.		The controls used to secure dial-up accessible connections.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.6.		Appropriate Use Banner — Where technically feasible, electronic access control devices shall display an appropriate use banner on the user screen upon all interactive access attempts. The Responsible Entity shall maintain a document identifying the content of the banner.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-005-2		R3.		Monitoring Electronic Access — The Responsible Entity shall implement and document an electronic or manual process(es) for monitoring and logging access at access points to the Electronic Security Perimeter(s) twenty-four hours a day, seven days a week.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R3.1.		For dial-up accessible Critical Cyber Assets that use non-routable protocols, the Responsible Entity shall implement and document monitoring process(es) at each access point to the dial-up device, where technically feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R3.2.		Where technically feasible, the security monitoring process(es) shall detect and alert for attempts at or actual unauthorized accesses.  These alerts shall provide for appropriate notification to designated response personnel.  Where alerting is not technically feasible, the Responsible Entity shall review or otherwise assess access logs for attempts at or actual unauthorized accesses at least every ninety calendar days.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R4.		Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of the electronic access points to the Electronic Security Perimeter(s) at least annually.  The vulnerability assessment shall include, at a minimum, the following:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R4.1.		A document identifying the vulnerability assessment process;		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R4.2.		A review to verify that only ports and services required for operations at these access points are enabled;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Planning: one year and longer

		CIP-005-2		R4.3.		The discovery of all access points to the Electronic Security Perimeter;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Planning: one year and longer

		CIP-005-2		R4.4.		A review of controls for default accounts, passwords, and network management community strings;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-005-2		R4.5.		Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R5.		Documentation Review and Maintenance — The Responsible Entity shall review, update, and maintain all documentation to support compliance with the requirements of Standard CIP-005-2.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.1.		The Responsible Entity shall ensure that all documentation required by Standard CIP-005-2 reflect current configurations and processes and shall review the documents and procedures referenced in Standard CIP-005-2 at least annually.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.2.		The Responsible Entity shall update the documentation to reflect the modification of the network or controls within ninety calendar days of the change.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.3.		The Responsible Entity shall retain electronic access logs for at least ninety calendar days.  Logs related to reportable incidents shall be kept in accordance with the requirements of Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.		Physical Security Plan — The Responsible Entity shall document, implement, and maintain a physical security plan, approved by the senior manager or delegate(s) that shall address, at a minimum, the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-006-2		R1.1.		All Cyber Assets within an Electronic Security Perimeter shall reside within an identified Physical Security Perimeter.  Where a completely enclosed (“six-wall”) border cannot be established, the Responsible Entity shall deploy and document alternative measures to control physical access to such Cyber Assets.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R1.2.		Identification of all physical access points through each Physical Security Perimeter and measures to control entry at those access points.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.3.		Processes, tools, and procedures to monitor physical access to the perimeter(s).		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.4.		Appropriate use of physical access controls as described in Requirement R4 including visitor pass management, response to loss, and prohibition of inappropriate use of physical access controls.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.5.		Review of access authorization requests and revocation of access authorization, in accordance with CIP-004-2 Requirement R4.		Administrative (requires only documenting/reporting something).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.6.		Continuous escorted access within the Physical Security Perimeter of personnel not authorized for unescorted access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R1.7.		Update of the physical security plan within thirty calendar days of the completion of any physical security system redesign or reconfiguration, including, but not limited to, addition or removal of access points through the Physical Security Perimeter, physical access controls, monitoring controls, or logging controls.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-006-2		R1.8.		Annual review of the physical security plan.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-006-2		R2.		Protection of Physical Access Control Systems — Cyber Assets that authorize and/or log access to the Physical Security Perimeter(s), exclusive of hardware at the Physical Security Perimeter access point such as electronic lock control mechanisms and badge readers, shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R2.1.		Be protected from unauthorized physical access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES								Real-time or current hour

		CIP-006-2		R2.2.		Be afforded the protective measures specified in Standard CIP-003-2; Standard CIP-004-2 Requirement R3; Standard CIP-005-2 Requirements R2 and R3; Standard CIP-006-2 Requirements R4 and R5; Standard CIP-007-2; Standard CIP-008-2; and Standard CIP-009-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R3.		Protection of Electronic Access Control Systems — Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall reside within an identified Physical Security Perimeter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R4.		Physical Access Controls — The Responsible Entity shall document and implement the operational and procedural controls to manage physical access at all access points to the Physical Security Perimeter(s) twenty-four hours a day, seven days a week.  The Responsible Entity shall implement one or more of the following physical access methods: --Card Key:  A means of electronic access where the access rights of the card holder are predefined in a computer database.  Access rights may differ from one perimeter to another. --Special Locks:  These include, but are not limited to, locks with “restricted key” systems, magnetic locks that can be operated remotely, and “man-trap” systems. --Security Personnel:  Personnel responsible for controlling physical access who may reside on-site or at a monitoring station. --Other Authentication Devices:  Biometric, keypad, token, or other equivalent devices that control physical access to the Critical Cyber Assets.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R5.		Monitoring Physical Access — The Responsible Entity shall document and implement the technical and procedural controls for monitoring physical access at all access points to the Physical Security Perimeter(s) twenty-four hours a day, seven days a week.  Unauthorized access attempts shall be reviewed immediately and handled in accordance with the procedures specified in Requirement CIP-008-2.  One or more of the following monitoring methods shall be used: --Alarm Systems:  Systems that alarm to indicate a door, gate or window has been opened without authorization.  These alarms must provide for immediate notification to personnel responsible for response. --Human Observation of Access Points:  Monitoring of physical access points by authorized personnel as specified in Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R6.		Logging Physical Access — Logging shall record sufficient information to uniquely identify individuals and the time of access twenty-four hours a day, seven days a week.  The Responsible Entity shall implement and document the technical and procedural mechanisms for logging physical entry at all access points to the Physical Security Perimeter(s) using one or more of the following logging methods or their equivalent: --Computerized Logging:  Electronic logs produced by the Responsible Entity’s selected access control and monitoring method. --Video Recording:  Electronic capture of video images of sufficient quality to determine identity. --Manual Logging:  A log book or sign-in sheet, or other record of physical access maintained by security or other personnel authorized to control and monitor physical access as specified in Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R7.		Access Log Retention — The responsible entity shall retain physical access logs for at least ninety calendar days.  Logs related to reportable incidents shall be kept in accordance with the requirements of Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R8.		Maintenance and Testing — The Responsible Entity shall implement a maintenance and testing program to ensure that all physical security systems under Requirements R4, R5, and R6 function properly. The program must include, at a minimum, the following:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R8.1.		Testing and maintenance of all physical security mechanisms on a cycle no longer than three years.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-006-2		R8.2.		Retention of testing and maintenance records for the cycle determined by the Responsible Entity in Requirement R8.1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R8.3.		Retention of outage records regarding access controls, logging, and monitoring for a minimum of one calendar year.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R1.		Test Procedures — The Responsible Entity shall ensure that new Cyber Assets and significant changes to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security controls.  For purposes of Standard CIP-007-2, a significant change shall, at a minimum, include implementation of security patches, cumulative service packs, vendor releases, and version upgrades of operating systems, applications, database platforms, or other third-party software or firmware.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.1.		The Responsible Entity shall create, implement, and maintain cyber security test procedures in a manner that minimizes adverse effects on the production system or its operation.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.2.		The Responsible Entity shall document that testing is performed in a manner that reflects the production environment.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.3.		The Responsible Entity shall document test results.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R2.		Ports and Services — The Responsible Entity shall establish, document and implement a process to ensure that only those ports and services required for normal and emergency operations are enabled.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.1.		The Responsible Entity shall enable only those ports and services required for normal and emergency operations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.2.		The Responsible Entity shall disable other ports and services, including those used for testing purposes, prior to production use of all Cyber Assets inside the Electronic Security Perimeter(s).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.3.		In the case where unused ports and services cannot be disabled due to technical limitations, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R3.		Security Patch Management — The Responsible Entity, either separately or as a component of the documented configuration management process specified in CIP-003-2 Requirement R6,  shall establish, document and implement a security patch management program for tracking, evaluating, testing, and installing applicable cyber security software patches for all Cyber Assets within the Electronic Security Perimeter(s).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R3.1.		The Responsible Entity shall document the assessment of security patches and security upgrades for applicability within thirty calendar days of availability of the patches or upgrades.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R3.2.		The Responsible Entity shall document the implementation of security patches.  In any case where the patch is not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R4.		Malicious Software Prevention — The Responsible Entity shall use anti-virus software and other malicious software (“malware”) prevention tools, where technically feasible, to detect, prevent, deter, and mitigate the introduction, exposure, and propagation of malware on all Cyber Assets within the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R4.1.		The Responsible Entity shall document and implement anti-virus and malware prevention tools.  In the case where anti-virus software and malware prevention tools are not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R4.2.		The Responsible Entity shall document and implement a process for the update of anti-virus and malware prevention “signatures.”  The process must address testing and installing the signatures.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.		Account Management — The Responsible Entity shall establish, implement, and document technical and procedural controls that enforce access authentication of, and accountability for, all user activity, and that minimize the risk of unauthorized system access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.1.		The Responsible Entity shall ensure that individual and shared system accounts and authorized access permissions are consistent with the concept of “need to know” with respect to work functions performed.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.1.1.		The Responsible Entity shall ensure that user accounts are implemented as approved by designated personnel. Refer to Standard CIP-003-2 Requirement R5.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R5.1.2.		The Responsible Entity shall establish methods, processes, and procedures that generate logs of sufficient detail to create historical audit trails of individual user account access activity for a minimum of ninety days.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R5.1.3.		The Responsible Entity shall review, at least annually, user accounts to verify access privileges are in accordance with Standard CIP-003-2 Requirement R5 and Standard CIP-004-2 Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R5.2.		The Responsible Entity shall implement a policy to minimize and manage the scope and acceptable use of administrator, shared, and other generic account privileges including factory default accounts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.1.		The policy shall include the removal, disabling, or renaming of such accounts where possible. For such accounts that must remain enabled, passwords shall be changed prior to putting any system into service.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.2.		The Responsible Entity shall identify those individuals with access to shared accounts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.3.		Where such accounts must be shared, the Responsible Entity shall have a policy for managing the use of such accounts that limits access to only those with authorization, an audit trail of the account use (automated or manual), and steps for securing the account in the event of personnel changes (for example, change in assignment or termination).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.3.		At a minimum, the Responsible Entity shall require and use passwords, subject to the following, as technically feasible:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.3.1.		Each password shall be a minimum of six characters.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.3.2.		Each password shall consist of a combination of alpha, numeric, and “special” characters.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.3.3.		Each password shall be changed at least annually, or more frequently based on risk.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R6.		Security Status Monitoring — The Responsible Entity shall ensure that all Cyber Assets within the Electronic Security Perimeter, as technically feasible, implement automated tools or organizational process controls to monitor system events that are related to cyber security.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R6.1.		The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for monitoring for security events on all Cyber Assets within the Electronic Security Perimeter.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R6.2.		The security monitoring controls shall issue automated or manual alerts for detected Cyber Security Incidents.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R6.3.		The Responsible Entity shall maintain logs of system events related to cyber security, where technically feasible, to support incident response as required in Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R6.4.		The Responsible Entity shall retain all logs specified in Requirement R6 for ninety calendar days.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R6.5.		The Responsible Entity shall review logs of system events related to cyber security and maintain records documenting review of logs.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R7.		Disposal or Redeployment — The Responsible Entity shall establish and implement formal methods, processes, and procedures for disposal or redeployment of Cyber Assets within the Electronic Security Perimeter(s) as identified and documented in Standard CIP-005-2.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R7.1.		Prior to the disposal of such assets, the Responsible Entity shall destroy or erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R7.2.		Prior to redeployment of such assets, the Responsible Entity shall, at a minimum, erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.		risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R7.3.		The Responsible Entity shall maintain records that such assets were disposed of or redeployed in accordance with documented procedures.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.		Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of all Cyber Assets within the Electronic Security Perimeter at least annually.  The vulnerability assessment shall include, at a minimum, the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.1.		A document identifying the vulnerability assessment process;		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.2.		A review to verify that only ports and services required for operation of the Cyber Assets within the Electronic Security Perimeter are enabled;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.3.		A review of controls for default accounts; and,		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.4.		Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R9.		Documentation Review and Maintenance — The Responsible Entity shall review and update the documentation specified in Standard CIP-007-2 at least annually.  Changes resulting from modifications to the systems or controls shall be documented within thirty calendar days of the change being completed.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R1.		Cyber Security Incident Response Plan — The Responsible Entity shall develop and maintain a Cyber Security Incident response plan and implement the plan in response to Cyber Security Incidents.  The Cyber Security Incident response plan shall address, at a minimum, the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.1.		Procedures to characterize and classify events as reportable Cyber Security Incidents.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.2.		Response actions, including roles and responsibilities of Cyber Security Incident response teams, Cyber Security Incident handling procedures, and communication plans.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.3.		Process for reporting Cyber Security Incidents to the Electricity Sector Information Sharing and Analysis Center (ES-ISAC).  The Responsible Entity must ensure that all reportable Cyber Security Incidents are reported to the ES-ISAC either directly or through an intermediary.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.4.		Process for updating the Cyber Security Incident response plan within thirty calendar days of any changes.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R1.5.		Process for ensuring that the Cyber Security Incident response plan is reviewed at least annually.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R2.		Cyber Security Incident Documentation — The Responsible Entity shall keep relevant documentation related to Cyber Security Incidents reportable per Requirement R1.1 for three calendar years.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.		Recovery Plans — The Responsible Entity shall create and annually review recovery plan(s) for Critical Cyber Assets. The recovery plan(s) shall address at a minimum the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.1.		Specify the required actions in response to events or conditions of varying duration and severity that would activate the recovery plan(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.2.		Define the roles and responsibilities of responders.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R2.		Exercises — The recovery plan(s) shall be exercised at least annually.  An exercise of the recovery plan(s) can range from a paper drill, to a full operational exercise, to recovery from an actual incident.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-009-2		R3.		Change Control — Recovery plan(s) shall be updated to reflect any changes or lessons learned as a result of an exercise or the recovery from an actual incident.  Updates shall be communicated to personnel responsible for the activation and implementation of the recovery plan(s) within thirty calendar days of the change being completed.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-009-2		R4.		Backup and Restore — The recovery plan(s) shall include processes and procedures for the backup and storage of information required to successfully restore Critical Cyber Assets.  For example, backups may include spare electronic components or equipment, written documentation of configuration settings, tape backup, etc.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-009-2		R5.		Testing Backup Media — Information essential to recovery that is stored on backup media shall be tested at least annually to ensure that the information is available.  Testing can be completed off site.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		COM-001-1		R1.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall provide adequate and reliable telecommunications facilities for the exchange of Interconnection and operating information:		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES				Real-time or current hour

		COM-001-1.1		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall manage, alarm, test and/or actively monitor vital telecommunications facilities.  Special attention shall be given to emergency telecommunications facilities and equipment not used for routine communications.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		COM-001-1.1		R3.		Each Reliability Coordinator, Transmission Operator and Balancing Authority shall provide a means to coordinate telecommunications among their respective areas.  This coordination shall include the ability to investigate and recommend solutions to telecommunications problems within the area and with other areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		COM-001-1.1		R4.		Unless agreed to otherwise, each Reliability Coordinator, Transmission Operator, and Balancing Authority shall use English as the language for all communications between and among operating personnel responsible for the real-time generation control and operation of the interconnected Bulk Electric System.  Transmission Operators and Balancing Authorities may use an alternate language for internal operations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		COM-001-1.1		R5.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall have written operating instructions and procedures to enable continued operation of the system during the loss of telecommunications facilities.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES		YES				Real-time or current hour

		COM-001-1.1		R6.		Each NERCNet User Organization shall adhere to the requirements in Attachment 1-COM-001-0, “NERCNet Security Policy.”		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		COM-002-2		R1.		Each Transmission Operator, Balancing Authority, and Generator Operator shall have communications (voice and data links) with appropriate Reliability Coordinators, Balancing Authorities, and Transmission Operators.  Such communications shall be staffed and available for addressing a real-time emergency condition.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES				Real-time or current hour

		COM-002-2		R1.1.		Each Balancing Authority and Transmission Operator shall notify its Reliability Coordinator, and all other potentially affected Balancing Authorities and Transmission Operators through predetermined communication paths of any condition that could threaten the reliability of its area or when firm load shedding is anticipated.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Real-time or current hour

		COM-002-2		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall issue directives in a clear, concise, and definitive manner; shall ensure the recipient of the directive repeats the information back correctly; and shall acknowledge the response as correct or repeat the original statement to resolve any misunderstandings.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		EOP-002-2		R7.1.		Manually shed firm load without delay to return its ACE to zero; and		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Real-time or current hour

		EOP-002-2		R7.2.		Request the Reliability Coordinator to declare an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		EOP-002-2		R8.		A Reliability Coordinator that has any Balancing Authority within its Reliability Coordinator area experiencing a potential or actual Energy Emergency shall initiate an Energy Emergency Alert as detailed in Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”  The Reliability Coordinator shall act to mitigate the emergency condition, including a request for emergency assistance if required.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES				YES		YES		Same-day

		EOP-002-2		R9.		When a Transmission Service Provider expects to elevate the transmission service priority of an Interchange Transaction from Priority 6 (Network Integration Transmission Service from Non-designated Resources) to Priority 7 (Network Integration Transmission Service from designated Network Resources) as permitted in its transmission tariff (See Attachment 1-IRO-006-0 “Transmission Loading Relief Procedure” for explanation of Transmission Service Priorities):		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Same-day

		EOP-003-1		R1.		After taking all other remedial steps, a Transmission Operator or Balancing Authority operating with insufficient generation or transmission capacity shall shed customer load rather than risk an uncontrolled failure of components or cascading outages of the Interconnection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Same-day

		EOP-003-1		R2.		Each Transmission Operator and Balancing Authority shall establish plans for automatic load shedding for underfrequency or undervoltage conditions.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R3.		Each Transmission Operator and Balancing Authority shall coordinate load shedding plans among other interconnected Transmission Operators and Balancing Authorities.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R4.		A Transmission Operator or Balancing Authority shall consider one or more of these factors in designing an automatic load shedding scheme: frequency, rate of frequency decay, voltage level, rate of voltage decay, or power flow levels.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R5.		A Transmission Operator or Balancing Authority shall implement load shedding in steps established to minimize the risk of further uncontrolled separation, loss of generation, or system shutdown.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-003-1		R6.		After a Transmission Operator or Balancing Authority Area separates from the Interconnection, if there is insufficient generating capacity to restore system frequency following automatic underfrequency load shedding, the Transmission Operator or Balancing Authority shall shed additional load.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-003-1		R7.		The Transmission Operator and Balancing Authority shall coordinate automatic load shedding throughout their areas with underfrequency isolation of generating units, tripping of shunt capacitors, and other automatic actions that will occur under abnormal frequency, voltage, or power flow conditions.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R8.		Each Transmission Operator or Balancing Authority shall have plans for operator-controlled manual load shedding to respond to real-time emergencies.  The Transmission Operator or Balancing Authority shall be capable of implementing the load shedding in a timeframe adequate for responding to the emergency.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.				YES		YES		YES		YES				Real-time or current hour

		EOP-004-1		R1.		Each Regional Reliability Organization shall establish and maintain a Regional reporting procedure to facilitate preparation of preliminary and final disturbance reports.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		EOP-004-1		R2.		A Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity shall promptly analyze Bulk Electric System disturbances on its system or facilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.		A Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity experiencing a reportable incident shall provide a preliminary written report to its Regional Reliability Organization and NERC.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.1.		The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity shall submit within 24 hours of the disturbance or unusual occurrence either a copy of the report submitted to DOE, or, if no DOE report is required, a copy of the NERC Interconnection Reliability Operating Limit and Preliminary Disturbance Report form.  Events that are not identified until some time after they occur shall be reported within 24 hours of being recognized.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.2.		Applicable reporting forms are provided in Attachments 022-1 and 022-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.3.		Under certain adverse conditions, e.g., severe weather, it may not be possible to assess the damage caused by a disturbance and issue a written Interconnection Reliability Operating Limit and Preliminary Disturbance Report within 24 hours.  In such cases, the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall promptly notify its Regional Reliability Organization(s) and NERC, and verbally provide as much information as is available at that time.  The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall then provide timely, periodic verbal updates until adequate information is available to issue a written Preliminary Disturbance Report.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		EOP-004-1		R3.4.		If, in the judgment of the Regional Reliability Organization, after consultation with the Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity in which a disturbance occurred, a final report is required, the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall prepare this report within 60 days.  As a minimum, the final report shall have a discussion of the events and its cause, the conclusions reached, and recommendations to prevent recurrence of this type of event.  The report shall be subject to Regional Reliability Organization approval.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R4.		When a Bulk Electric System disturbance occurs, the Regional Reliability Organization shall make its representatives on the NERC Operating Committee and Disturbance Analysis Working Group available to the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity immediately affected by the disturbance for the purpose of providing any needed assistance in the investigation and to assist in the preparation of a final report.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R5.		The Regional Reliability Organization shall track and review the status of all final report recommendations at least twice each year to ensure they are being acted upon in a timely manner.  If any recommendation has not been acted on within two years, or if Regional Reliability Organization tracking and review indicates at any time that any recommendation is not being acted on with sufficient diligence, the Regional Reliability Organization shall notify the NERC Planning Committee and Operating Committee of the status of the recommendation(s) and the steps the Regional Reliability Organization has taken to accelerate implementation.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-005-1		R1.		Each Transmission Operator shall have a restoration plan to reestablish its electric system in a stable and orderly manner in the event of a partial or total shutdown of its system, including necessary operating instructions and procedures to cover emergency conditions, and the loss of vital telecommunications channels.  Each Transmission Operator shall include the applicable elements listed in Attachment 1-EOP-005 in developing a restoration plan.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES				YES				Real-time or current hour

		EOP-005-1		R10.		The Transmission Operator shall demonstrate, through simulation or testing, that the blackstart generating units in its restoration plan can perform their intended functions as required in the regional restoration plan.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES				YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R10.1.		The Transmission Operator shall perform this simulation or testing at least once every five years.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES				YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R11.		Following a disturbance in which one or more areas of the Bulk Electric System become isolated or blacked out, the affected Transmission Operators and Balancing Authorities shall begin immediately to return the Bulk Electric System to normal.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-005-1		R11.1.		The affected Transmission Operators and Balancing Authorities shall work in conjunction with their Reliability Coordinator(s) to determine the extent and condition of the isolated area(s).		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.2.		The affected Transmission Operators and Balancing Authorities shall take the necessary actions to restore Bulk Electric System frequency to normal, including adjusting generation, placing additional generators on line, or load shedding.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.3.		The affected Balancing Authorities, working with their Reliability Coordinator(s), shall immediately review the Interchange Schedules between those Balancing Authority Areas or fragments of those Balancing Authority Areas within the separated area and make adjustments as needed to facilitate the restoration. The affected Balancing Authorities shall make all attempts to maintain the adjusted Interchange Schedules, whether generation control is manual or automatic.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.4.		The affected Transmission Operators shall give high priority to restoration of off-site power to nuclear stations.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES				YES		YES				Real-time or current hour

		EOP-005-1		R11.5.		The affected Transmission Operators may resynchronize the isolated area(s) with the surrounding area(s) when the following conditions are met:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R2.		Each Transmission Operator shall review and update its restoration plan at least annually and whenever it makes changes in the power system network, and shall correct deficiencies found during the simulated restoration exercises.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES				YES				Operations planning: day-ahead up to one year

		EOP-005-1		R3.		Each Transmission Operator shall develop restoration plans with a priority of restoring the integrity of the Interconnection.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R4.		Each Transmission Operator shall coordinate its restoration plans with the Generator Owners and Balancing Authorities within its area, its Reliability Coordinator, and neighboring Transmission Operators and Balancing Authorities.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Operations planning: day-ahead up to one year

		EOP-005-1		R5.		Each Transmission Operator and Balancing Authority shall periodically test its telecommunication facilities needed to implement the restoration plan.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.										YES				Operations planning: day-ahead up to one year

		EOP-005-1		R6.		Each Transmission Operator and Balancing Authority shall train its operating personnel in the implementation of the restoration plan.   Such training shall include simulated exercises, if practicable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R7.		Each Transmission Operator and Balancing Authority shall verify the restoration procedure by actual testing or by simulation.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.				YES				YES		YES				Planning: one year and longer

		EOP-005-1		R8.		Each Transmission Operator shall verify that the number, size, availability, and location of system blackstart generating units are sufficient to meet Regional Reliability Organization restoration plan requirements for the Transmission Operator’s area.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES						YES				Operations planning: day-ahead up to one year

		EOP-005-1		R9.		The Transmission Operator shall document the Cranking Paths, including initial switching requirements, between each blackstart generating unit and the unit(s) to be started and shall provide this documentation for review by the Regional Reliability Organization upon request.  Such documentation may include Cranking Path diagrams.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.				YES						YES				Operations planning: day-ahead up to one year

		EOP-006-1		R1.		Each Reliability Coordinator shall be aware of the restoration plan of each Transmission Operator in its Reliability Coordinator Area in accordance with NERC and regional requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.										YES				Operations planning: day-ahead up to one year

		EOP-006-1		R2.		The Reliability Coordinator shall monitor restoration progress and coordinate any needed assistance.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R3.		The Reliability Coordinator shall have a Reliability Coordinator Area restoration plan that provides coordination between individual Transmission Operator restoration plans and that ensures reliability is maintained during system restoration events.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES						YES				Operations planning: day-ahead up to one year

		EOP-006-1		R4.		The Reliability Coordinator shall serve as the primary contact for disseminating information regarding restoration to neighboring Reliability Coordinators and Transmission Operators or Balancing Authorities not immediately involved in restoration.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R5.		Reliability Coordinators shall approve, communicate, and coordinate the re-synchronizing of major system islands or synchronizing points so as not to cause a Burden on adjacent Transmission Operator, Balancing Authority, or Reliability Coordinator Areas.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R6.		The Reliability Coordinator shall take actions to restore normal operations once an operating emergency has been mitigated in accordance with its restoration plan.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-007-0		R1.		Each Regional Reliability Organization shall establish and maintain a system BCP, as part of an overall coordinated Regional SRP. The Regional SRP shall include requirements for verification through analysis how system blackstart generating units shall perform their intended functions and shall be sufficient to meet SRP expectations. The Regional Reliability Organization shall coordinate with and among other Regional Reliability Organizations as appropriate in the development of its BCP. The BCP shall include:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.1.		A requirement to have a database that contains all blackstart generators1 designated for use in an SRP within the respective areas. This database shall be updated on an annual basis. The database shall include the name, location, megawatt capacity, type of unit, latest date of test, and starting method.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.2.		A requirement to demonstrate that blackstart units perform their intended functions as required in the Regional SRP. This requirement can be met through either simulation or testing. The BCP must consider the availability of designated BCP units and initial transmission switching requirements.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.3.		Blackstart unit testing requirements including, but not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES						YES				Operations planning: day-ahead up to one year

		EOP-007-0		R2.		The Regional Reliability Organization shall provide documentation of its system BCPs to NERC within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-008-0		R1.		Each Reliability Coordinator, Transmission Operator and Balancing Authority shall have a plan to continue reliability operations in the event its control center becomes inoperable.  The contingency plan must meet the following requirements:		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.1.		The contingency plan shall not rely on data or voice communication from the primary control facility to be viable.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Real-time or current hour

		EOP-008-0		R1.2.		The plan shall include procedures and responsibilities for providing basic tie line control and procedures and for maintaining the status of all inter-area schedules, such that there is an hourly accounting of all schedules.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.3.		The contingency plan must address monitoring and control of critical transmission facilities, generation control, voltage control, time and frequency control, control of critical substation devices, and logging of significant power system events.  The plan shall list the critical facilities.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.4.		The plan shall include procedures and responsibilities for maintaining basic voice communication capabilities with other areas.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.5.		The plan shall include procedures and responsibilities for conducting periodic tests, at least annually, to ensure viability of the plan.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Operations planning: day-ahead up to one year

		EOP-008-0		R1.6.		The plan shall include procedures and responsibilities for providing annual training to ensure that operating personnel are able to implement the contingency plans.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Operations planning: day-ahead up to one year

		EOP-008-0		R1.7.		The plan shall be reviewed and updated annually.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		EOP-008-0		R1.8.		Interim provisions must be included if it is expected to take more than one hour to implement the contingency plan for loss of primary control facility.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		EOP-009-0		R1.		The Generator Operator of each blackstart generating unit shall test the startup and operation of each system blackstart generating unit identified in the BCP as required in the Regional BCP (Reliability Standard EOP-007-0_R1).  Testing records shall include the dates of the tests, the duration of the tests, and an indication of whether the tests met Regional BCP requirements.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.										YES				Operations planning: day-ahead up to one year

		EOP-009-0		R2.		The Generator Owner or Generator Operator shall provide documentation of the test results of the startup and operation of each blackstart generating unit to the Regional Reliability Organizations and upon request to NERC.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		FAC-001-0		R1.		The Transmission Owner shall document, maintain, and publish facility connection requirements to ensure compliance with NERC Reliability Standards and applicable Regional Reliability Organization, subregional, Power Pool, and individual Transmission Owner planning criteria and facility connection requirements.  The Transmission Owner’s facility connection requirements shall address connection requirements for:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		FAC-001-0		R1.1.		Generation facilities,		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R1.2.		Transmission facilities, and		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R1.3.		End-user facilities		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.		The Transmission Owner’s facility connection requirements shall address, but are not limited to, the following items:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.		Provide a written summary of its plans to achieve the required system performance as described above throughout the planning horizon:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.1.		Procedures for coordinated joint studies of new facilities and their impacts on the interconnected transmission systems.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.10.		Power quality impacts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.11.		Equipment Ratings.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES				YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.12.		Synchronizing of facilities.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES		YES				Planning: one year and longer

		FAC-001-0		R2.1.13.		Maintenance coordination.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.14.		Operational issues (abnormal frequency and voltages).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Planning: one year and longer

		FAC-001-0		R2.1.15.		Inspection requirements for existing or new facilities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.16.		Communications and procedures during normal and emergency operating conditions.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES		YES		YES		Planning: one year and longer

		FAC-001-0		R2.1.2.		Procedures for notification of new or modified facilities to others (those responsible for the reliability of the interconnected transmission systems) as soon as feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.3.		Voltage level and MW and MVAR capacity or demand at point of connection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.4.		Breaker duty and surge protection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.5.		System protection and coordination.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.6.		Metering and telecommunications.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES		YES		YES		Planning: one year and longer

		FAC-001-0		R2.1.7.		Grounding and safety issues.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.8.		Insulation and insulation coordination.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.9.		Voltage, Reactive Power, and power factor control.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES				YES		Planning: one year and longer

		FAC-001-0		R3.		The Transmission Owner shall maintain and update its facility connection requirements as required.  The Transmission Owner shall make documentation of these requirements available to the users of the transmission system, the Regional Reliability Organization, and NERC on request (five business days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		FAC-002-0		R1.		The Generator Owner, Transmission Owner, Distribution Provider, and Load-Serving Entity seeking to integrate generation facilities, transmission facilities, and electricity end-user facilities shall each coordinate and cooperate on its assessments with its Transmission Planner and Planning Authority.  The assessment shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.1.		Evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.2.		Ensurance of compliance with NERC Reliability Standards and applicable Regional, subregional, Power Pool, and individual system planning criteria and facility connection requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.3.		Evidence that the parties involved in the assessment have coordinated and cooperated on the assessment of the reliability impacts of new facilities on the interconnected transmission systems.  While these studies may be performed independently, the results shall be jointly evaluated and coordinated by the entities involved.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.4.		Evidence that the assessment included steady-state, short-circuit, and dynamics studies as necessary to evaluate system performance in accordance with Reliability Standard TPL-001-0.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.5.		Documentation that the assessment included study assumptions, system performance, alternatives considered, and jointly coordinated recommendations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R2.		The Planning Authority, Transmission Planner, Generator Owner, Transmission Owner, Load-Serving Entity, and Distribution Provider shall each retain its documentation (of its evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems) for three years and shall provide the documentation to the Regional Reliability Organization(s) Regional Reliability Organization(s) and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-003-1		R1.		The Transmission owner shall prepare, and keep current, a formal transmission vegetation management (TVM). The TVMP shall include the Transmission Owner's objectives, practices, approved procedures, and work Specifications.  1. ANSI A300, Tree Care Operations – Tree, Shrub, and Other Woody Plant Maintenance – Standard Practices, while not a requirement of this standard, is considered to be an industry best practice.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.1.		The TVMP shall define a schedule for and the type (aerial, ground) of ROW vegetation inspections.  This schedule should be flexible enough to adjust for changing conditions.  The inspection schedule shall be based on the anticipated growth of vegetation and any other environmental or operational factors that could impact the relationship of vegetation to the Transmission Owner’s transmission lines.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.		The Transmission Owner, in the TVMP, shall identify and document clearances between vegetation and any overhead, ungrounded supply conductors, taking into consideration transmission line voltage, the effects of ambient temperature on conductor sag under maximum design loading, and the effects of wind velocities on conductor sway.  Specifically, the Transmission Owner shall establish clearances to be achieved at the time of vegetation management work identified herein as Clearance 1, and shall also establish and maintain a set of clearances identified herein as Clearance 2 to prevent flashover between vegetation and overhead ungrounded supply conductors.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.1.		Clearance 1 — The Transmission Owner shall determine and document appropriate clearance distances to be achieved at the time of transmission vegetation management work based upon local conditions and the expected time frame in which the Transmission Owner plans to return for future vegetation management work.  Local conditions may include, but are not limited to:  operating voltage, appropriate vegetation management techniques, fire risk, reasonably anticipated tree and conductor movement, species types and growth rates, species failure characteristics, local climate and rainfall patterns, line terrain and elevation, location of the vegetation within the span, and worker approach distance requirements.  Clearance 1 distances shall be greater than those defined by Clearance 2 below.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.		Clearance 2 — The Transmission Owner shall determine and document specific radial clearances to be maintained between vegetation and conductors under all rated electrical operating conditions.  These minimum clearance distances are necessary to prevent flashover between vegetation and conductors and will vary due to such factors as altitude and operating voltage.  These Transmission Owner-specific minimum clearance distances shall be no less than those set forth in the Institute of Electrical and Electronics Engineers (IEEE) Standard 516-2003 (Guide for Maintenance Methods on Energized Power Lines) and as specified in its Section 4.2.2.3, Minimum Air Insulation Distances without Tools in the Air Gap.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.1.		Where transmission system transient overvoltage factors are not known, clearances shall be derived from Table 5, IEEE 516-2003, phase-to-ground distances, with appropriate altitude correction factors applied.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.2.		Where transmission system transient overvoltage factors are known, clearances shall be derived from Table 7, IEEE 516-2003, phase-to-phase voltages, with appropriate altitude correction factors applied.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.3.		All personnel directly involved in the design and implementation of the TVMP shall hold appropriate qualifications and training, as defined by the Transmission Owner, to perform their duties.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		FAC-003-1		R1.4.		Each Transmission Owner shall develop mitigation measures to achieve sufficient clearances for the protection of the transmission facilities when it identifies locations on the ROW where the Transmission Owner is restricted from attaining the clearances specified in Requirement 1.2.1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.5.		Each Transmission Owner shall establish and document a process for the immediate communication of vegetation conditions that present an imminent threat of a transmission line outage. This is so that action (temporary reduction in line rating, switching line out of service, etc.) may be taken until the threat is relieved.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-003-1		R2.		The Transmission Owner shall create and implement an annual plan for vegetation management work to ensure the reliability of the system.  The plan shall describe the methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions. The plan should be flexible enough to adjust to changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the transmission systems.  Adjustments to the plan shall be documented as they occur.  The plan should take into consideration the time required to obtain permissions or permits from landowners or regulatory authorities.  Each Transmission Owner shall have systems and procedures for documenting and tracking the planned vegetation management work and ensuring that the vegetation management work was completed according to work specifications.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		FAC-003-1		R3.		The Transmission Owner shall report quarterly to its RRO, or the RRO’s designee, sustained transmission line outages determined by the Transmission Owner to have been caused by vegetation.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.1.		Multiple sustained outages on an individual line, if caused by the same vegetation, shall be reported as one outage regardless of the actual number of outages within a 24-hour period.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.2.		The Transmission Owner is not required to report to the RRO, or the RRO’s designee, certain sustained transmission line outages caused by vegetation: (1) Vegetation-related outages that result from vegetation falling into lines from outside the ROW that result from natural disasters shall not be considered reportable (examples of disasters that could create non-reportable outages include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, major storms as defined either by the Transmission Owner or an applicable regulatory body, ice storms, and floods), and (2) Vegetation-related outages due to human or animal activity shall not be considered reportable  (examples of human or animal activity that could cause a non-reportable outage include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural activities or horticultural or agricultural activities, or removal or digging of vegetation).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.3.		The outage information provided by the Transmission Owner to the RRO, or the RRO’s designee, shall include at a minimum: the name of the circuit(s) outaged, the date, time and duration of the outage; a description of the cause of the outage; other pertinent comments; and any countermeasures taken by the Transmission Owner.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.		An outage shall be categorized as one of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.1.		Category 1 — Grow-ins: Outages caused by vegetation growing into lines from vegetation inside and/or outside of the ROW;		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.2.		Category 2 — Fall-ins: Outages caused by vegetation falling into lines from inside the ROW;		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.3.		Category 3 — Fall-ins: Outages caused by vegetation falling into lines from outside the ROW.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R4.		The RRO shall report the outage information provided to it by Transmission Owner’s, as required by Requirement 3, quarterly to NERC, as well as any actions taken by the RRO as a result of any of the reported outages.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-008-1		R1.		The Transmission Owner and Generator Owner shall each document its current methodology used for developing Facility Ratings (Facility Ratings Methodology) of its solely and jointly owned Facilities.  The methodology shall include all of the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.1.		A statement that a Facility Rating shall equal the most limiting applicable Equipment Rating of the individual equipment that comprises that Facility.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-008-1		R1.2.		The method by which the Rating (of major BES equipment that comprises a Facility) is determined.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.2.1.		The scope of equipment addressed shall include, but not be limited to, generators, transmission conductors, transformers, relay protective devices, terminal equipment, and series and shunt compensation devices.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.2.2.		The scope of Ratings addressed shall include, as a minimum, both Normal and Emergency Ratings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.		Consideration of the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.1.		Ratings provided by equipment manufacturers.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.2.		Design criteria (e.g., including applicable references to industry Rating practices such as manufacturer’s warranty, IEEE, ANSI or other standards).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.3.		Ambient conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.4.		Operating limitations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.5.		Other assumptions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R2.		The Transmission Owner and Generator Owner shall each make its Facility Ratings Methodology available for inspection and technical review by those Reliability Coordinators, Transmission Operators, Transmission Planners, and Planning Authorities that have responsibility for the area in which the associated Facilities are located, within 15 business days of receipt of a request.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R3.		If a Reliability Coordinator, Transmission Operator, Transmission Planner, or Planning Authority provides written comments on its technical review of a Transmission Owner’s or Generator Owner’s Facility Ratings Methodology, the Transmission Owner or Generator Owner shall provide a written response to that commenting entity within 45 calendar days of receipt of those comments.  The response shall indicate whether a change will be made to the Facility Ratings Methodology and, if no change will be made to that Facility Ratings Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-009-1		R1.		The Transmission Owner and Generator Owner shall each establish Facility Ratings for its solely and jointly owned Facilities that are consistent with the associated Facility Ratings Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-009-1		R2.		The Transmission Owner and Generator Owner shall each provide Facility Ratings for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities to its associated Reliability Coordinator(s), Planning Authority(ies), Transmission Planner(s), and Transmission Operator(s) as scheduled by such requesting entities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.		The Planning Authority shall have a documented SOL Methodology for use in developing SOLs within its Planning Authority Area. This SOL Methodology shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.1.		Be applicable for developing SOLs used in the planning horizon.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.2.		State that SOLs shall not exceed associated Facility Ratings.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Operations planning: day-ahead up to one year

		FAC-010-1		R1.3.		Include a description of how to identify the subset of SOLs that qualify as
IROLs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.		The Planning Authority’s SOL Methodology shall include a requirement that SOLs
provide BES performance consistent with the following:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.1.		In the pre-contingency state and with all Facilities in service, the BES shall demonstrate transient, dynamic and voltage stability; all Facilities shall be within their Facility Ratings and within their thermal, voltage and stability limits. In the determination of SOLs, the BES condition used shall reflect expected system conditions and shall reflect changes to system topology such as Facility outages.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.		Following the single Contingencies1 identified in Requirement 2.2.1 through Requirement 2.2.3, the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not occur.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.1.		Single line to ground or three-phase Fault (whichever is more severe), with Normal Clearing, on any Faulted generator, line, transformer, or shunt device.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.2.		Loss of any generator, line, transformer, or shunt device without a Fault.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.3.		Single pole block, with Normal Clearing, in a monopolar or bipolar high voltage direct current system.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.		Starting with all Facilities in service, the system’s response to a single Contingency, may include any of the following:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.1.		Planned or controlled interruption of electric supply to radial customers or some local network customers connected to or supplied by the Faulted Facility or by the affected area.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.2.		System reconfiguration through manual or automatic control or protection actions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.3.		To prepare for the next Contingency, system adjustments may be made, including changes to generation, uses of the transmission system, and the transmission system topology.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.4.		Starting with all facilities in service and following any of the multiple Contingencies identified in Reliability Standard TPL-003 the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not
occur.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.5.		In determining the system’s response to any of the multiple Contingencies, identified in Reliability Standard TPL-003, in addition to the actions identified in R2.3.1 and R2.3.2, the following shall be acceptable:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.5.1.		Planned or controlled interruption of electric supply to customers (load shedding), the planned removal from service of certain generators, and/or the curtailment of contracted Firm (non-recallable reserved) electric power Transfers		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.		The Planning Authority’s methodology for determining SOLs, shall include, as a
minimum, a description of the following, along with any reliability margins applied for
each:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.1.		Study model (must include at least the entire Planning Authority Area as well as the critical modeling details from other Planning Authority Areas that would impact the Facility or Facilities under study).		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.2.		Selection of applicable Contingencies.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.3.		Level of detail of system models used to determine SOLs.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.4.		Allowed uses of Special Protection Systems or Remedial Action Plans.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.5.		Anticipated transmission system configuration, generation dispatch and Load level.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.6.		Criteria for determining when violating a SOL qualifies as an Interconnection Reliability Operating Limit (IROL) and criteria for developing any associated IROL Tv.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.		The Planning Authority shall issue its SOL Methodology, and any change to that methodology, to all of the following prior to the effectiveness of the change:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.1.		Each adjacent Planning Authority and each Planning Authority that indicated it
has a reliability-related need for the methodology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.2.		Each Reliability Coordinator and Transmission Operator that operates any portion of the Planning Authority’s Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.3.		Each Transmission Planner that works in the Planning Authority’s Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R5.		If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.		The Reliability Coordinator shall have a documented methodology for use in developing SOLs (SOL Methodology) within its Reliability Coordinator Area. This SOL Methodology shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.1.		Be applicable for developing SOLs used in the operations horizon.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.2.		State that SOLs shall not exceed associated Facility Ratings.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-011-1		R1.3.		Include a description of how to identify the subset of SOLs that qualify as IROLs		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-011-1		R2.		The Reliability Coordinator’s SOL Methodology shall include a requirement that SOLs
provide BES performance consistent with the following:		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.1.		In the pre-contingency state, the BES shall demonstrate transient, dynamic and voltage stability; all Facilities shall be within their Facility Ratings and within their thermal, voltage and stability limits. In the determination of SOLs, the BES condition used shall reflect current or expected system conditions and shall reflect changes to system topology such as Facility outages.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.		Following the single Contingencies1 identified in Requirement 2.2.1 through Requirement 2.2.3, the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not occur.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.1.		Single line to ground or 3-phase Fault (whichever is more severe), with Normal Clearing, on any Faulted generator, line, transformer, or shunt device.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.2.		Loss of any generator, line, transformer, or shunt device without a Fault.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.3.		Single pole block, with Normal Clearing, in a monopolar or bipolar high voltage direct current system.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.		In determining the system’s response to a single Contingency, the following shall be acceptable:		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.1.		Planned or controlled interruption of electric supply to radial customers or some local network customers connected to or supplied by the Faulted Facility or by the affected area.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.2.		Interruption of other network customers, only if the system has already been adjusted, or is being adjusted, following at least one prior outage, or, if the real-time operating conditions are more adverse than anticipated in the corresponding studies, e.g., load greater than
studied.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.3.		System reconfiguration through manual or automatic control or protection actions.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.4.		To prepare for the next Contingency, system adjustments may be made, including changes to generation, uses of the transmission system, and the transmission system topology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.		The Reliability Coordinator’s methodology for determining SOLs, shall include, as a
minimum, a description of the following, along with any reliability margins applied for
each:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.1.		Study model (must include at least the entire Reliability Coordinator Area as well as the critical modeling details from other Reliability Coordinator Areas that would impact the Facility or Facilities under study.)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.2.		Selection of applicable Contingencies		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.3.		A process for determining which of the stability limits associated with the list of multiple contingencies (provided by the Planning Authority in accordance with FAC-014 Requirement 6) are applicable for use in the operating horizon given the actual or expected system conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.3.1.		This process shall address the need to modify these limits, to modify the list of limits, and to modify the list of associated multiple contingencies.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.4.		Level of detail of system models used to determine SOLs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.5.		Allowed uses of Special Protection Systems or Remedial Action Plans.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.6.		Anticipated transmission system configuration, generation dispatch and Load level		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.7.		Criteria for determining when violating a SOL qualifies as an Interconnection Reliability Operating Limit (IROL) and criteria for developing any associated IROL Tv.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.		The Reliability Coordinator shall issue its SOL Methodology and any changes to that methodology, prior to the effectiveness of the Methodology or of a change to the Methodology, to all of the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.1.		Each adjacent Reliability Coordinator and each Reliability Coordinator that indicated it has a reliability-related need for the methodology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.2.		Each Planning Authority and Transmission Planner that models any portion of
the Reliability Coordinator’s Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.3.		Each Transmission Operator that operates in the Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R5.		If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Reliability Coordinator shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.		The Reliability Coordinator and Planning Authority shall each document its current methodology used for developing its inter-regional and intra-regional Transfer Capabilities (Transfer Capability Methodology). The Transfer Capability Methodology shall include all of the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.1.		A statement that Transfer Capabilities shall respect all applicable System Operating Limits (SOLs).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R1.2.		A definition stating whether the methodology is applicable to the planning horizon or the operating horizon.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.		A description of how each of the following is addressed, including any reliability margins applied to reflect uncertainty with projected BES conditions:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.1.		Transmission system topology		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.2.		System demand		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.3.		Generation dispatch		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.4.		Current and projected transmission uses		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R2.		The Reliability Coordinator shall issue its Transfer Capability Methodology, and any changes to that methodology, prior to the effectiveness of such changes, to all of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.1.		Each Adjacent Reliability Coordinator and each Reliability Coordinator that indicated a reliability-related need for the methodology.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.2.		Each Planning Authority and Transmission Planner that models any portion of the Reliability Coordinator’s Reliability Coordinator Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.3.		Each Transmission Operator that operates in the Reliability Coordinator Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.		The Planning Authority shall issue its Transfer Capability Methodology, and any changes to that methodology, prior to the effectiveness of such changes, to all of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.1.		Each Transmission Planner that works in the Planning Authority’s Planning Authority Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.2.		Each Adjacent Planning Authority and each Planning Authority that indicated a reliability-related need for the methodology.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.3.		Each Reliability Coordinator and Transmission Operator that operates any portion of the Planning Authority’s Planning Authority Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R4.		If a recipient of the Transfer Capability Methodology provides documented technical comments on the methodology, the Reliability Coordinator or Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the Transfer Capability Methodology and, if no change will be made to that Transfer Capability Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R1.		The Reliability Coordinator and Planning Authority shall each establish a set of inter-regional and intra-regional Transfer Capabilities that is consistent with its current Transfer Capability Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.		The Reliability Coordinator and Planning Authority shall each provide its inter-regional and intra-regional Transfer Capabilities to those entities that have a reliability-related need for such Transfer Capabilities and make a written request that includes a schedule for delivery of such Transfer Capabilities as follows:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.1.		The Reliability Coordinator shall provide its Transfer Capabilities to its associated Regional Reliability Organization(s), to its adjacent Reliability Coordinators, and to the Transmission Operators, Transmission Service Providers and Planning Authorities that work in its Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.2.		The Planning Authority shall provide its Transfer Capabilities to its associated Reliability Coordinator(s) and Regional Reliability Organization(s), and to the Transmission Planners and Transmission Service Provider(s) that work in its Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R1.		The Reliability Coordinator shall ensure that SOLs, including Interconnection Reliability Operating Limits (IROLs), for its Reliability Coordinator Area are established and that the SOLs (including Interconnection Reliability Operating Limits) are consistent with its SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R2.		The Transmission Operator shall establish SOLs (as directed by its Reliability Coordinator) for its portion of the Reliability Coordinator Area that are consistent with its Reliability Coordinator’s SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R3.		The Planning Authority shall establish SOLs, including IROLs, for its Planning
Authority Area that are consistent with its SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R4.		The Transmission Planner shall establish SOLs, including IROLs, for its Transmission
Planning Area that are consistent with its Planning Authority’s SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.		The Reliability Coordinator, Planning Authority and Transmission Planner shall each
provide its SOLs and IROLs to those entities that have a reliability-related need for
those limits and provide a written request that includes a schedule for delivery of those
limits as follows:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.		The Reliability Coordinator shall provide its SOLs (including the subset of SOLs that are IROLs) to adjacent Reliability Coordinators and Reliability Coordinators who indicate a reliability-related need for those limits, and to the Transmission Operators, Transmission Planners, Transmission Service Providers and Planning Authorities within its Reliability Coordinator Area. For each IROL, the Reliability Coordinator shall provide the following
supporting information:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.1.		Identification and status of the associated Facility (or group of Facilities) that is (are) critical to the derivation of the IROL.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.2.		The value of the IROL and its associated Tv.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.3.		The associated Contingency(ies).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.4.		The type of limitation represented by the IROL (e.g., voltage collapse, angular stability).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.2.		The Transmission Operator shall provide any SOLs it developed to its Reliability Coordinator and to the Transmission Service Providers that share its portion of the Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.3.		The Planning Authority shall provide its SOLs (including the subset of SOLs that are IROLs) to adjacent Planning Authorities, and to Transmission Planners, Transmission Service Providers, Transmission Operators and Reliability Coordinators that work within its Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.4.		The Transmission Planner shall provide its SOLs (including the subset of SOLs that are IROLs) to its Planning Authority, Reliability Coordinators, Transmission Operators, and Transmission Service Providers that work within its Transmission Planning Area and to adjacent Transmission Planners.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.		The Planning Authority shall identify the subset of multiple contingencies (if any), from Reliability Standard TPL-003 which result in stability limits.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.1.		The Planning Authority shall provide this list of multiple contingencies and the associated stability limits to the Reliability Coordinators that monitor the facilities associated with these contingencies and limits.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.2.		If the Planning Authority does not identify any stability-related multiple contingencies, the Planning Authority shall so notify the Reliability Coordinator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		INT-001-3		R1.		The Load-Serving, Purchasing-Selling Entity shall ensure that Arranged Interchange is submitted to the Interchange Authority for:		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R1.1.		All Dynamic Schedules at the expected average MW profile for each hour.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.		The Sink Balancing Authority shall ensure that Arranged Interchange is submitted to the Interchange Authority:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.1.		If a Purchasing-Selling Entity is not involved in the Interchange, such as
delivery from a jointly owned generator.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.2.		For each bilateral Inadvertent Interchange payback.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-003-2		R1.		Each Receiving Balancing Authority shall confirm Interchange Schedules with the Sending Balancing Authority prior to implementation in the Balancing Authority’s ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-003-2		R1.1.		The Sending Balancing Authority and Receiving Balancing Authority shall agree on Interchange as received from the Interchange Authority, including:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-003-2		R1.1.1.		Interchange Schedule start and end time.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-003-2		R1.1.2.		Energy profile.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-003-2		R1.2.		If a high voltage direct current (HVDC) tie is on the Scheduling Path, then the Sending Balancing Authorities and Receiving Balancing Authorities shall coordinate the Interchange Schedule with the Transmission Operator of the HVDC tie.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-004-2		R1.		At such time as the reliability event allows for the reloading of the transaction, the entity that initiated the curtailment shall release the limit on the Interchange Transaction tag to allow reloading the transaction and shall communicate the release of the limit to the Sink Balancing Authority.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.		The Purchasing-Selling Entity responsible for tagging a Dynamic Interchange Schedule shall ensure the tag is updated for the next available scheduling hour and future hours when any one of the following occurs:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-004-2		R2.1.		The average energy profile in an hour is greater than 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than +10%.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.2.		The average energy profile in an hour is less than or equal to 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than +25 megawatt-hours.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.3.		A Reliability Coordinator or Transmission Operator determines the deviation, regardless of magnitude, to be a reliability concern and notifies the Purchasing-Selling Entity of that determination and the reasons.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-2		R1.		Prior to the expiration of the time period defined in the Timing Table, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES												Same-day

		INT-005-2		R1.1.		When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-3		R1.		Prior to the expiration of the time period defined in the timing requirements tables in this standard, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-3		R1.1.		When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.		Prior to the expiration of the reliability assessment period defined in the Timing Table, Column B, the Balancing Authority and Transmission Service Provider shall respond to a request from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.		Each involved Balancing Authority shall evaluate the Arranged Interchange
with respect to:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.1.		Energy profile (ability to support the magnitude of the Interchange).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.2.		Ramp (ability of generation maneuverability to accommodate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.3.		Scheduling path (proper connectivity of Adjacent Balancing
Authorities).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.2.		Each involved Transmission Service Provider shall confirm that the
transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.		Prior to the expiration of the reliability assessment period defined in the timing requirements tables in this standard, Column B, the Balancing Authority and Transmission Service Provider shall respond to each On-time Request for Interchange (RFI), and to each Emergency RFI and Reliability Adjustment RFI from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.		Each involved Balancing Authority shall evaluate the Arranged Interchange with respect to:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.1.		Energy profile (ability to support the magnitude of the Interchange).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.2.		Ramp (ability of generation maneuverability to accommodate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.3.		Scheduling path (proper connectivity of Adjacent Balancing Authorities).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.2.		Each involved Transmission Service Provider shall confirm that the transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.		The Interchange Authority shall verify that Arranged Interchange is balanced and valid prior to transitioning Arranged Interchange to Confirmed Interchange by verifying the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.1.		Source Balancing Authority megawatts equal sink Balancing Authority megawatts (adjusted for losses, if appropriate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.2.		All reliability entities involved in the Arranged Interchange are currently in the NERC registry.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.		The following are defined:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.1.		Generation source and load sink.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.2.		Megawatt profile.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.3.		Ramp start and stop times.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.4.		Interchange duration.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.4.		Each Balancing Authority and Transmission Service Provider that received the Arranged Interchange information from the Interchange Authority for reliability assessment has provided approval.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.		Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.		For Confirmed Interchange, the Interchange Authority shall also communicate:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.1.		Start and stop times, ramps, and megawatt profile to Balancing
Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.2.		Necessary Interchange information to NERC-identified reliability
analysis services.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.		Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.		For Confirmed Interchange, the Interchange Authority shall also communicate:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.1.		Start and stop times, ramps, and megawatt profile to Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.2.		Necessary Interchange information to NERC-identified reliability analysis services.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-009-1		R1.		The Balancing Authority shall implement Confirmed Interchange as received from the Interchange Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-010-1		R1.		The Balancing Authority that experiences a loss of resources covered by an energy sharing agreement shall ensure that a request for an Arranged Interchange is submitted with a start time no more than 60 minutes beyond the resource loss. If the use of the energy sharing agreement does not exceed 60 minutes from the time of the resource loss, no request for Arranged Interchange is required.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-010-1		R2.		For a modification to an existing Interchange schedule that is directed by a Reliability Coordinator for current or imminent reliability-related reasons, the Reliability Coordinator shall direct a Balancing Authority to submit the modified Arranged Interchange reflecting that modification within 60 minutes of the initiation of the event.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		INT-010-1		R3.		For a new Interchange schedule that is directed by a Reliability Coordinator for current or imminent reliability-related reasons, the Reliability Coordinator shall direct a Balancing Authority to submit an Arranged Interchange reflecting that Interchange schedule within 60 minutes of the initiation of the event.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		IRO 002-2		R1.		Each Reliability Coordinator shall have adequate communications facilities (voice and data links) to appropriate entities within its Reliability Coordinator Area.  These communications facilities shall be staffed and available to act in addressing a real-time emergency condition.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R2.		Each Reliability Coordinator — or its Transmission Operators and Balancing Authorities — shall provide, or arrange provisions for, data exchange to other Reliability Coordinators or Transmission Operators and Balancing Authorities via a secure network.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R3.		Each Reliability Coordinator shall have multi-directional communications capabilities with its Transmission Operators and Balancing Authorities, and with neighboring Reliability Coordinators, for both voice and data exchange as required to meet reliability needs of the Interconnection.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R4.		Each Reliability Coordinator shall have detailed real-time monitoring capability of its Reliability Coordinator Area and sufficient monitoring capability of its surrounding Reliability Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.  Each Reliability Coordinator shall have monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel, giving particular emphasis to alarm management and awareness systems, automated data transfers, and synchronized information systems, over a redundant and highly reliable infrastructure.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R5.		Each Reliability Coordinator shall monitor Bulk Electric System elements (generators, transmission lines, buses, transformers, breakers, etc.) that could result in SOL or IROL violations within its Reliability Coordinator Area.  Each Reliability Coordinator shall monitor both real and reactive power system flows, and operating reserves, and the status of Bulk Electric System elements that are or could be critical to SOLs and IROLs and system restoration requirements within its Reliability Coordinator Area.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES				YES		YES				YES		Real-time or current hour

		IRO 002-2		R6.		Each Reliability Coordinator shall have adequate analysis tools such as state estimation, pre- and post-contingency analysis capabilities (thermal, stability, and voltage), and wide-area overview displays.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO 002-2		R7.		Each Reliability Coordinator shall continuously monitor its Reliability Coordinator Area.  Each Reliability Coordinator shall have provisions for backup facilities that shall be exercised if the main monitoring system is unavailable.  Each Reliability Coordinator shall ensure SOL and IROL monitoring and derivations continue if the main monitoring system is unavailable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO 002-2		R8.		Each Reliability Coordinator shall control its Reliability Coordinator analysis tools, including approvals for planned maintenance.  Each Reliability Coordinator shall have procedures in place to mitigate the effects of analysis tool outages.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R1.		Each Regional Reliability Organization, subregion, or interregional coordinating group shall establish one or more Reliability Coordinators to continuously assess transmission reliability and coordinate emergency operations among the operating entities within the region and across the regional boundaries.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R2.		The Reliability Coordinator shall comply with a regional reliability plan approved by the NERC Operating Committee.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R3.		The Reliability Coordinator shall have clear decision-making authority to act and to direct actions to be taken by Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities within its Reliability Coordinator Area to preserve the integrity and reliability of the Bulk Electric System.  These actions shall be taken without delay, but no longer than 30 minutes.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-001-1.1		R4.		Reliability Coordinators that delegate tasks to other entities shall have formal operating agreements with each entity to which tasks are delegated.  The Reliability Coordinator shall verify that all delegated tasks are understood, communicated, and addressed within its Reliability Coordinator Area.  All responsibilities for complying with NERC and regional standards applicable to Reliability Coordinators shall remain with the Reliability Coordinator.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R5.		The Reliability Coordinator shall list within its reliability plan all entities to which the Reliability Coordinator has delegated required tasks.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		IRO-001-1.1		R6.		The Reliability Coordinator shall verify that all delegated tasks are carried out by NERC-certified Reliability Coordinator operating personnel.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-001-1.1		R7.		The Reliability Coordinator shall have clear, comprehensive coordination agreements with adjacent Reliability Coordinators to ensure that System Operating Limit or Interconnection Reliability Operating Limit violation mitigation requiring actions in adjacent Reliability Coordinator Areas are coordinated.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								yes		yes				Real-time or current hour

		IRO-001-1.1		R8.		Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall comply with Reliability Coordinator directives unless such actions would violate safety, equipment, or regulatory or statutory requirements.  Under these circumstances, the Transmission Operator, Balancing Authority, Generator Operator, Transmission Service Provider, Load-Serving Entity, or Purchasing-Selling Entity shall immediately inform the Reliability Coordinator of the inability to perform the directive so that the Reliability Coordinator may implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R9.		The Reliability Coordinator shall act in the interests of reliability for the overall Reliability Coordinator Area and the Interconnection before the interests of any other entity.		Performance-based (specifies a bulk power system outcome).		Is unclear.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-003-2		R1.		Each Reliability Coordinator shall monitor all Bulk Electric System facilities, which may include sub-transmission information, within its Reliability Coordinator Area and adjacent Reliability Coordinator Areas, as necessary to ensure that, at any time, regardless of prior planned or unplanned events, the Reliability Coordinator is able to determine any potential System Operating Limit and Interconnection Reliability Operating Limit violations within its Reliability Coordinator Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-003-2		R2.		Each Reliability Coordinator shall know the current status of all critical facilities whose failure, degradation or disconnection could result in an SOL or IROL violation.  Reliability Coordinators shall also know the status of any facilities that may be required to assist area restoration objectives.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-004-1		R1.		Each Reliability Coordinator shall conduct next-day reliability analyses for its Reliability Coordinator Area to ensure that the Bulk Electric System can be operated reliably in anticipated normal and Contingency event conditions.  The Reliability Coordinator shall conduct Contingency analysis studies to identify potential interface and other SOL and IROL violations, including overloaded transmission lines and transformers, voltage and stability limits, etc.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R2.		Each Reliability Coordinator shall pay particular attention to parallel flows to ensure one Reliability Coordinator Area does not place an unacceptable or undue Burden on an adjacent Reliability Coordinator Area.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R3.		Each Reliability Coordinator shall, in conjunction with its Transmission Operators and Balancing Authorities, develop action plans that may be required, including reconfiguration of the transmission system, re-dispatching of generation, reduction or curtailment of Interchange Transactions, or reducing load to return transmission loading to within acceptable SOLs or IROLs.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R4.		Each Transmission Operator, Balancing Authority, Transmission Owner, Generator Owner, Generator Operator, and Load-Serving Entity in the Reliability Coordinator Area shall provide information required for system studies, such as critical facility status, Load, generation, operating reserve projections, and known Interchange Transactions.  This information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R5.		Each Reliability Coordinator shall share the results of its system studies, when conditions warrant or upon request, with other Reliability Coordinators and with Transmission Operators, Balancing Authorities, and Transmission Service Providers within its Reliability Coordinator Area.  The Reliability Coordinator shall make study results available no later than 1500 Central Standard Time for the Eastern Interconnection and 1500 Pacific Standard Time for the Western Interconnection, unless circumstances warrant otherwise.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R6.		If the results of these studies indicate potential SOL or IROL violations, the Reliability Coordinator shall direct its Transmission Operators, Balancing Authorities and Transmission Service Providers to take any necessary action the Reliability Coordinator deems appropriate to address the potential SOL or IROL violation.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R7.		Each Transmission Operator, Balancing Authority, and Transmission Service Provider shall comply with the directives of its Reliability Coordinator based on the next day assessments in the same manner in which it would comply during real time operating events.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-005-2		R1.		Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R1.1.		Current status of Bulk Electric System elements (transmission or generation including critical auxiliaries such as Automatic Voltage Regulators and Special Protection Systems) and system loading.		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R10.		As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R11.		The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R12.		Whenever a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows. The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R13.		Each Reliability Coordinator shall ensure that all Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities operate to prevent the likelihood that a disturbance, action, or nonaction in its Reliability Coordinator Area will result in a SOL or IROL violation in another area of the Interconnection. In instances where there is a difference in derived limits, the Reliability Coordinator and its Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R14.		Each Reliability Coordinator shall make known to Transmission Service Providers within its Reliability Coordinator Area, SOLs or IROLs within its wide-area view. The Transmission Service Providers shall respect these SOLs or IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R15.		Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay. The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities. The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R4.		Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements. If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities. The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.												yes		Real-time or current hour

		IRO-005-2		R6.		Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				yes		yes				yes				Operations planning: day-ahead up to one year

		IRO-005-2		R7.		The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		IRO-005-2		R8.		Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance. The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.												yes		Real-time or current hour

		IRO-005-2		R9.		The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, IROL, CPS, or DCS violations. The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-3		R1.		Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-005-3		R10.		In instances where there is a difference in derived limits, the Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R11.		The Transmission Service Provider shall respect SOLs  and IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-005-3		R12.		Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay.  The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities.  The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R2.		Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements.  If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities.  The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		IRO-005-3		R3.		Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES								Operations planning: day-ahead up to one year

		IRO-005-3		R4.		The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		IRO-005-3		R5.		Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance.  The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R6.		The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, CPS, or DCS violations.  The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-005-3		R7.		As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES										Real-time or current hour

		IRO-005-3		R8.		The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES								YES		Real-time or current hour

		IRO-005-3		R9.		Whenever a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows.  The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.		A Reliability Coordinator experiencing a potential or actual SOL or IROL violation within its Reliability Coordinator Area shall, with its authority and at its discretion, select one or more procedures to provide transmission loading relief. These procedures can be a “local” (regional, interregional, or sub-regional) transmission loading relief procedure or one of the following Interconnection-wide procedures: [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.1.		The Interconnection-wide Transmission Loading Relief (TLR) procedure for use in the Eastern Interconnection provided in Attachment 1-IRO-006-4. The TLR procedure alone is an inappropriate and ineffective tool to mitigate an IROL violation due to the time required to implement the procedure. Other acceptable and more effective procedures to mitigate actual IROL violations include: reconfiguration, redispatch, or load shedding.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.2.		The Interconnection-wide transmission loading relief procedure for use in the Western Interconnection is the WECC Unscheduled Flow Reduction Procedure provided at: http://www.wecc.biz/documents/library/UFAS/UFAS_mitigation_plan_rev_2001-clean_8-8-03.pdf.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.3.		The Interconnection-wide transmission loading relief procedure for use in ERCOT is provided as Section 7 of the ERCOT Protocols, posted at: http://www.ercot.com/mktrules/protocols/current.html		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R2.		The Reliability Coordinator shall only use local transmission loading relief or congestion management procedures to which the Transmission Operator experiencing the potential or actual SOL or IROL violation is a party. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R3.		Each Reliability Coordinator with a relief obligation from an Interconnection-wide procedure shall follow the curtailments as directed by the Interconnection-wide procedure. A Reliability Coordinator desiring to use a local procedure as a substitute for curtailments as directed by the Interconnection-wide procedure shall obtain prior approval of the local procedure from the ERO.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-006-4.1		R4.		When Interconnection-wide procedures are implemented to curtail Interchange Transactions that cross an Interconnection boundary, each Reliability Coordinator shall comply with the provisions of the Interconnection-wide procedure.  [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R5.		During the implementation of relief procedures, and up to the point that emergency action is necessary, Reliability Coordinators and Balancing Authorities shall comply with applicable Interchange scheduling standards. [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-008-1		R2.		Each Reliability Coordinator shall perform a Real-Time Assessment at least once every 30 minutes to determine if its Wide Area is exceeding any IROLs or is expected to exceed any IROLs.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Real-time or current hour

		IRO-008-1		R3.		When a Reliability Coordinator determines that the results of an Operational Planning Analysis or Real-Time Assessment indicates the need for specific operational actions to prevent or mitigate an instance of exceeding an IROL, the Reliability Coordinator shall share its results with those entities that are expected to take those actions. (Time Horizon: Real-time Operations or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R1.		For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator identifies one or more days prior to the current day, the Reliability Coordinator shall have one or more Operating Processes, Procedures, or Plans that identify actions it shall take or actions it shall direct others to take (up to and including load shedding) that can be implemented in time to prevent exceeding those IROLs. (Time Horizon: Operations Planning or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R2.		For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator identifies one or more days prior to the current day, the Reliability Coordinator shall have one or more Operating Processes, Procedures, or Plans that identify actions it shall take or actions it shall direct others to take (up to and including load shedding) to mitigate the magnitude and duration of exceeding that IROL such that the IROL is relieved within the IROL’s Tv. (Time Horizon: Operations Planning or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R3.		When an assessment of actual or expected system conditions predicts that an IROL in its Reliability Coordinator Area will be exceeded, the Reliability Coordinator shall implement one or more Operating Processes, Procedures or Plans (not limited to the Operating Processes, Procedures, or Plans developed for Requirements R1) to prevent exceeding that IROL.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-009-1		R4.		When actual system conditions show that there is an instance of exceeding an IROL in its Reliability Coordinator Area, the Reliability Coordinator shall, without delay, act or direct others to act to mitigate the magnitude and duration of the instance of exceeding that IROL within the IROL’s Tv.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-009-1		R5.		If unanimity cannot be reached on the value for an IROL or its Tv, each Reliability Coordinator that monitors that Facility (or group of Facilities) shall, without delay, use the most conservative of the values (the value with the least impact on reliability) under consideration.  (Time Horizon: Real-time Operations)		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-010-1		R1.		The Reliability Coordinator shall have a documented specification for data and information to build and maintain models to support Real-time monitoring, Operational Planning Analyses, and Real-time Assessments of its Reliability Coordinator Area to prevent instability, uncontrolled separation, and cascading outages. The specification shall include the following: (Time Horizon: Operations Planning)		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.1.		List of required data and information needed by the Reliability Coordinator to support Real-Time Monitoring, Operational Planning Analyses, and Real-Time Assessments.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.2.		Mutually agreeable format.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.3.		Timeframe and periodicity for providing data and information (based on its hardware and software requirements, and the time needed to do its Operational Planning Analyses).		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.4.		Process for data provision when automated Real-Time system operating data is unavailable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES

		IRO-010-1		R2.		The Reliability Coordinator shall distribute its data specification to entities that have Facilities monitored by the Reliability Coordinator and to entities that provide Facility status to the Reliability Coordinator. (Violation Risk Factor: Low) (Time Horizon: Operations Planning)		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R3.		Each Balancing Authority, Generator Owner, Generator Operator, Interchange Authority, Load-serving Entity, Reliability Coordinator, Transmission Operator, and Transmission Owner shall provide data and information, as specified, to the Reliability Coordinator(s) with which it has a reliability relationship. (Violation Risk Factor: Medium) (Time Horizon: Operations Planning; Same-day Operations; Real-time Operations)		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-014-1		R1.		The Reliability Coordinator shall have Operating Procedures, Processes, or Plans in place for activities that require notification, exchange of information or coordination of actions with one or more other Reliability Coordinators to support Interconnection reliability.  These Operating Procedures, Processes, or Plans shall address Scenarios that affect other Reliability Coordinator Areas as well as those developed in coordination with other Reliability Coordinators.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R2.		Each Reliability Coordinator’s Operating Procedure, Process, or Plan that requires one or more other Reliability Coordinators to take action (e.g., make notifications, exchange information, or coordinate actions) shall be:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R3.		A Reliability Coordinator’s Operating Procedures, Processes, or Plans developed to support a Reliability Coordinator-to-Reliability Coordinator Operating Procedure, Process, or Plan shall include:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R4.		Each of the Operating Procedures, Processes, and Plans addressed in Reliability Standard IRO-014 Requirement 1 and Requirement 3 shall:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		IRO-015-1		R1.		The Reliability Coordinator shall follow its Operating Procedures, Processes, or Plans for making notifications and exchanging reliability-related information with other Reliability Coordinators.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-015-1		R1.1.		The Reliability Coordinator shall make notifications to other Reliability Coordinators of conditions in its Reliability Coordinator Area that may impact other Reliability Coordinator Areas.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-015-1		R2.		The Reliability Coordinator shall participate in agreed upon conference calls and other communication forums with adjacent Reliability Coordinators.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-015-1		R3.		The Reliability Coordinator shall provide reliability-related information as requested by other Reliability Coordinators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-016-1		R1.		The Reliability Coordinator that identifies a potential, expected, or actual problem that requires the actions of one or more other Reliability Coordinators shall contact the other Reliability Coordinator(s) to confirm that there is a problem and then discuss options and decide upon a solution to prevent or resolve the identified problem.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-016-1		R1.1.		If the involved Reliability Coordinators agree on the problem and the actions to take to prevent or mitigate the system condition, each involved Reliability Coordinator shall implement the agreed-upon solution, and notify the involved Reliability Coordinators of the action(s) taken.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R1.2.		If the involved Reliability Coordinators cannot agree on the problem(s) each Reliability Coordinator shall re-evaluate the causes of the disagreement (bad data, status, study results, tools, etc.).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R1.3.		If the involved Reliability Coordinators cannot agree on the solution, the more conservative solution shall be implemented.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R2.		The Reliability Coordinator shall document (via operator logs or other data sources) its actions taken for either the event or for the disagreement on the problem(s) or for both.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Real-time or current hour

		MOD-001-0		R1.1.		A narrative explaining how TTC and ATC values are determined.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.2.		An accounting for how the reservations and schedules for firm (non-recallable) and non-firm (recallable) transfers, both within and outside the Transmission Service Provider’s system, are included.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.3.		An accounting for the ultimate points of power injection (sources) and power extraction (sinks) in TTC and ATC calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.4.		A description of how incomplete or so-called partial path transmission reservations are addressed. (Incomplete or partial path transmission reservations are those for which all transmission reservations necessary to complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing reservation priorities, durations, or because the reservations have not all been made.)		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.		A requirement that TTC and ATC values shall be determined and posted as follows:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.1.		Daily values for current week at least once per day.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.2.		Daily values for day 8 through the first month at least once per week.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.3.		Monthly values for months 2 through 13 at least once per month.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.6.		Indication of the treatment and level of customer demands, including interruptible demands.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.7.		A specification of how system conditions, limiting facilities, contingencies, transmission reservations, energy schedules, and other data needed by Transmission Service Providers for the calculation of TTC and ATC values are shared and used within the Regional Reliability Organization and with neighboring interconnected electric systems, including adjacent systems, subregions, and Regional Reliability Organizations. In addition, specify how this information is to be used to determine TTC and ATC values. If some data is not used, provide an explanation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.8.		A description of how the assumptions for and the calculations of TTC and ATC values change over different time (such as hourly, daily, and monthly) horizons.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.9.		A description of the Regional Reliability Organization’s practice on the netting of transmission reservations for purposes of TTC and ATC determination.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R2.		The Regional Reliability Organization shall make the most recent version of the documentation of its TTC and ATC methodology available on a Web site accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R1.		Each Transmission Operator shall select one of the methodologies  listed below for calculating Available Transfer Capability (ATC) or Available Flowgate Capability (AFC) for each ATC Path per time period identified in R2 for those Facilities within its Transmission operating area:  [Time Horizon: Operations Planning]
 The Area Interchange Methodology, as described in MOD-028
 The Rated System Path Methodology, as described in MOD-029
 The Flowgate Methodology, as described in MOD-030		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.		Each Transmission Service Provider shall calculate ATC or AFC values as listed below using the methodology or methodologies selected by its Transmission Operator(s):  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.1.		Hourly values for at least the next 48 hours.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.2.		Daily values for at least the next 31 calendar days.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.3.		Monthly values for at least the next 12 months (months 2-13).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.		Each Transmission Service Provider shall prepare and keep current an Available Transfer Capability Implementation Document (ATCID) that includes, at a minimum, the following information: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.1.		Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC or AFC calculations can be validated.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.		A description of the manner in which the Transmission Service Provider will account for counterflows including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.1.		How confirmed Transmission reservations, expected Interchange and internal counterflow are addressed in firm and non-firm ATC or AFC calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.2.		A rationale for that accounting specified in R3.2.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.3.		The identity of the Transmission Operators  and Transmission Service Providers from which the Transmission Service Provider receives data for use in calculating ATC or AFC.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-001-1		R3.4.		The identity of the Transmission Service Providers and Transmission Operators to which it provides data for use in calculating transfer or Flowgate capability.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-001-1		R3.5.		A description of the allocation processes listed below that are applicable to the Transmission Service Provider:
• Processes used to allocate transfer or Flowgate capability among multiple lines or sub-paths within a larger ATC Path or Flowgate.
• Processes used to allocate transfer or Flowgate capabilities among multiple owners or users of an ATC Path or Flowgate.
• Processes used to allocate transfer or Flowgate capabilities between Transmission Service Providers to address issues such as forward looking congestion management and seams coordination.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.		A description of how generation and transmission outages are considered in transfer or Flowgate capability calculations, including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.1.		The criteria used to determine when an outage that is in effect part of a day impacts a daily calculation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.2.		The criteria used to determine when an outage that is in effect part of a month impacts a monthly calculation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.3.		How outages from other Transmission Service Providers that can not be mapped to the Transmission model used to calculate transfer or Flowgate capability are addressed.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R4.		The Transmission Service Provider shall notify the following entities before implementing a new or revised ATCID: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.1.		Each Planning Coordinator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.2.		Each Reliability Coordinator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.3.		Each Transmission Operator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.4.		Each Planning Coordinator adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.5.		Each Reliability Coordinator adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.6.		Each Transmission Service Provider whose area is adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R5.		The Transmission Service Provider shall make available the current ATCID to all of the entities specified in R4. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R6.		When calculating Total Transfer Capability (TTC) or Total Flowgate Capability (TFC) the Transmission Operator shall use assumptions no more limiting than those used in the planning of operations for the corresponding time period studied, providing such planning of operations has been performed for that time period.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R7.		When calculating ATC or AFC the Transmission Service Provider shall use assumptions no more limiting than those used in the planning of operations for the corresponding time period studied, providing such planning of operations has been performed for that time period. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R8.		Each Transmission Service Provider that calculates ATC shall recalculate ATC at a minimum on the following frequency, unless none of the calculated values identified in the ATC equation have changed:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R8.1.		Hourly values, once per hour.  Transmission Service Providers are allowed up to 175 hours per calendar year during which calculations are not required to be performed, despite a change in a calculated value identified in the ATC equation.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-001-1		R8.2.		Daily values, once per day.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-001-1		R8.3.		Monthly values, once per week.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R9.		Within thirty calendar days of receiving a request by any Transmission Service Provider, Planning Coordinator, Reliability Coordinator, or Transmission Operator for data from the list below solely for use in the requestor’s ATC or AFC calculations, each Transmission Service Provider receiving said request shall begin to make the requested data available to the requestor, subject to the conditions specified in R9.1 and R9.2:  [Time Horizon: Operations Planning]  • Expected generation and Transmission outages, additions, and retirements. • Load forecasts.  • Unit commitments and order of dispatch, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:  Dispatch Order  Participation Factors
 Block Dispatch  • Aggregated firm capacity set-aside for Network Integration Transmission Service and aggregated non-firm capacity set aside for Network Integration Transmission Service (i.e. Secondary Service).  • Firm and non-firm Transmission reservations.  • Aggregated capacity set-aside for Grandfathered obligations   • Firm roll-over rights.  • Any firm and non-firm adjustments applied by the Transmission Service Provider to reflect parallel path impacts.  • Power flow models and underlying assumptions.  • Contingencies, provided in one or more of the following formats: A list of Elements   A list of Flowgates   A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider  • Facility Ratings.  • Any other services that impact Existing Transmission Commitments (ETCs).
• Values of Capacity Benefit Margin (CBM) and Transmission Reliability Margin (TRM) for all ATC Paths or Flowgates.  • Values of Total Flowgate Capability (TFC) and AFC for any Flowgates considered by the Transmission Service Provider receiving the request when selling Transmission service.   • Values of TTC and ATC for all ATC Paths for those Transmission Service Providers receiving the request that do not consider Flowgates when selling Transmission Service.  • Source and sink identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.		The Transmission Service Provider shall make its own current data available, in the format maintained by the Transmission Service Provider, for up to 13 months into the future (subject to confidentiality and security requirements).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.1.		If the Transmission Service Provider uses the data requested in its transfer or Flowgate capability calculations, it shall make the data used available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.2.		If the Transmission Service Provider does not use the data requested in its transfer or Flowgate capability calculations, but maintains that data, it shall make that data available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.3.		If the Transmission Service Provider does not use the data requested in its transfer or Flowgate capability calculations, and does not maintain that data, it shall not be required to make that data available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.2.		This data shall be made available by the Transmission Provider on the schedule specified by the requestor (but no more frequently than once per hour, unless mutually agreed to by the requester and the provider).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		MOD-002-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to periodically review (at least annually) and ensure that the TTC and ATC calculations and resulting values of member Transmission Service Providers comply with the Regional TTC and ATC methodology and applicable Regional criteria.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.												YES		Planning: one year and longer

		MOD-002-0		R2.		Each Regional Reliability Organization shall document the results of its periodic reviews of TTC and ATC.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-002-0		R3.		The Regional Reliability Organization shall provide the results of its most current reviews of TTC and ATC to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-003-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a procedure on how transmission users can input their concerns or questions regarding the TTC and ATC methodology and values of the Transmission Service Provider(s), and how these concerns or questions will be addressed. The Regional Reliability Organization’s procedure shall specify the following:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-003-0		R1.1.		The name, telephone number and email address of a contact person to whom concerns are to be addressed.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-003-0		R1.2.		The amount of time it will take for a response.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-003-0		R1.3.		The manner in which the response will be communicated (e.g., email, letter, telephone, etc).		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-003-0		R1.4.		What recourse a customer has if the response is deemed unsatisfactory.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-003-0		R2.		The Regional Reliability Organization shall post on a web site that is accessible by the Regional Reliability Organizations, NERC, and transmission users, its procedure for receiving and addressing concerns about the TTC and ATC methodology and TTC and ATC values of member Transmission Service Providers.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a Regional CBM methodology. The Regional Reliability Organization’s CBM methodology shall include each of the following ten items, and shall explain its use in determining CBM value. Other items that are Regional Reliability Organization specific or that are considered in each respective Regional Reliability Organization methodology shall also be explained along with their use in determining CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.1.		Specify that the method used by each Regional Reliability Organization member to determine its generation reliability requirements as the basis for CBM shall be consistent with its generation planning criteria.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.10.		Describe the inclusion or exclusion rationale for generation reserve sharing arrangements in the CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.2.		Specify the frequency of calculation of the generation reliability requirement and associated CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.3.		Require that generation unit outages considered in a Transmission Service Provider’s CBM calculation be restricted to those units within the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.4.		Require that CBM be preserved only on the Transmission Service Provider’s System where the Load-Serving Entity’s Load is located (i.e., CBM is an import quantity only).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.5.		Describe the inclusion or exclusion rationale for generation resources of each Load-Serving Entity including those generation resources not directly connected to the Transmission Service Provider’s system but serving Load-Serving Entity loads connected to the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.6.		Describe the inclusion or exclusion rationale for generation connected to the Transmission Service Provider’s system but not obligated to serve Native/Network Load connected to the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.7.		Describe the formal process and rationale for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional Reliability Organization’s CBM methodology.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.9.		Describe the inclusion or exclusion rationale for the loads of each Load-Serving Entity, including interruptible demands and buy-through contracts (type of service contract that offers the customer the option to be interrupted or to accept a higher rate for service under certain conditions).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R2.		The Regional Reliability Organization shall make the most recent version of the documentation of its CBM methodology available on a website accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-004-1		R1.		The Transmission Service Provider that maintains CBM shall prepare and keep current a “Capacity Benefit Margin Implementation Document” (CBMID) that includes, at a minimum, the following information: [Time Horizon: Operations Planning, Long-term Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R1.1.		The process through which a Load-Serving Entity within a Balancing Authority Area associated with the Transmission Service Provider, or the Resource Planner associated with that Balancing Authority Area, may ensure that its need for Transmission capacity to be set aside as CBM will be reviewed and accommodated by the Transmission Service Provider to the extent Transmission capacity is available.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-1		R1.2.		The procedure and assumptions for establishing CBM for each Available Transfer Capability (ATC) Path or Flowgate.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-1		R1.3.		The procedure for a Load-Serving Entity or Balancing Authority to use Transmission capacity set aside as CBM, including the manner in which the Transmission Service Provider will manage situations where the requested use of CBM exceeds the amount of CBM available.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-1		R10.		The Load-Serving Entity or Balancing Authority shall  request to import energy over firm Transfer Capability set aside as CBM only when experiencing a declared NERC Energy Emergency Alert (EEA) 2 or higher.  [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R11.		When reviewing an Arranged Interchange using CBM, all Balancing Authorities and Transmission Service Providers shall waive, within the bounds of reliable operation, any Real-time timing and ramping requirements. [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R12.		The Transmission Service Provider that maintains CBM shall approve, within the bounds of reliable operation, any Arranged Interchange using CBM that is submitted by an “energy deficient entity ” under an EEA 2 if: [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R12.1.		The CBM is available		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Operations planning: day-ahead up to one year

		MOD-004-1		R12.3.		The Load of the “energy deficient entity” is located within the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-004-1		R2.		The Transmission Service Provider that maintains CBM shall make available its current CBMID to the Transmission Operators, Transmission Service Providers, Reliability Coordinators, Transmission Planners, Resource Planners, and Planning Coordinators that are within or adjacent to the Transmission Service Provider’s area, and to the Load Serving Entities and Balancing Authorities within the Transmission Service Provider’s area, and notify those entities of any changes to the CBMID prior to the effective date of the change.  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R3.		Each Load-Serving Entity determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R3.1.		Using one or more of the following to determine the GCIR:
Loss of Load Expectation (LOLE) studies
Loss of Load Probability (LOLP) studies
Deterministic risk-analysis studies 
Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R3.2.		Identifying expected import path(s) or source region(s).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-004-1		R4.		Each Resource Planner determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R4.1.		Using one or more of the following to determine the GCIR:
Loss of Load Expectation (LOLE) studies
Loss of Load Probability (LOLP) studies
Deterministic risk-analysis studies
Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R4.2.		Identifying expected import path(s) or source region(s).		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R5.		At least every 13 months, the Transmission Service Provider that maintains CBM shall establish a CBM value for each ATC Path or Flowgate to be used for ATC or Available Flowgate Capability (AFC) calculations during the 13 full calendar months (months 2-14) following the current month (the month in which the Transmission Service Provider is establishing the CBM values).  This value shall: [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R5.1.		Reflect consideration of each of the following if available:
Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Service Provider’s area 
Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Service Provider’s area  
Any reserve margin or resource adequacy requirements for loads within the Transmission Service Provider’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-004-1		R5.2.		Be allocated as follows:
For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners
For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Service Provider		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-1		R6.		At least every 13 months, the Transmission Planner shall establish a CBM value for each ATC Path or Flowgate to be used in planning during each of the full calendar years two through ten following the current year (the year in which the Transmission Planner is establishing the CBM values).  This value shall:  [Time Horizon: Long-term Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-004-1		R6.1.		Reflect consideration of each of the following if available:
Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Planner’s area 
Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Planner’s area
Any reserve margin or resource adequacy requirements for loads within the Transmission Planner’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-004-1		R6.2.		Be allocated as follows:
For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners
 For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Planner.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-1		R7.		Less than 31 calendar days after the establishment of CBM, the Transmission Service Provider that maintains CBM shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the Transmission Service Provider’s system of the amount of CBM set aside. [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R8.		Less than 31 calendar days after the establishment of CBM, the Transmission Planner shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the system being planned by the Transmission Planner of the amount of CBM set aside. [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.		The Transmission Service Provider that maintains CBM and the Transmission Planner shall each provide (subject to confidentiality and security requirements) copies of the applicable supporting data, including any models, used for determining CBM or allocating CBM over each ATC Path or Flowgate to the following: [Time Horizon: Operations Planning, Long-term Planning]		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.1.		Each of its associated Transmission Operators within 30 calendar days of their making a request for the data.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.2.		To any Transmission Service Provider, Reliability Coordinator, Transmission Planner, Resource Planner, or Planning Coordinator within 30 calendar days of their making a request for the data.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-005-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review (at least annually) the CBM calculations and the resulting values of member Transmission Service Providers to ensure that they comply with the Regional Reliability Organization’s CBM methodology. The procedure shall include the following four requirements:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.1		Indicate the frequency under which the verification review shall be implemented.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.2.		Require review of the process by which CBM values are updated, and their frequency of update, to ensure that the most current CBM values are available to transmission users.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.3.		Require review of the consistency of the Transmission Service Provider’s CBM components with its published planning criteria. A CBM value is considered consistent with published planning criteria if the components that comprise CBM are addressed in the planning criteria. The methodology used to determine and apply CBM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumptions explained.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-005-0		R1.4.		Require CBM values to be periodically updated (at least annually) and available to the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-005-0		R2.		Each Regional Reliability Organization shall document its CBM procedure and shall make its CBM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R3.		The Regional Reliability Organization shall provide documentation of the results of the most current implementation of its CBM review procedure to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-006-0.1		R1.		R1. Each Transmission Service Provider shall document its procedure on the use of Capacity Benefit Margin (CBM) (scheduling of energy against a CBM reservation).  The procedure shall include the following three components:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.1.		Require that CBM be used only after the following steps have been taken (as time permits): all non-firm sales have been terminated, Direct-Control Load Management has been implemented, and customer interruptible demands have been interrupted.  CBM may be used to reestablish Operating Reserves.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.2.		Require that CBM shall only be used if the Load-Serving Entity calling for its use is experiencing a generation deficiency and its Transmission Service Provider is also experiencing Transmission Constraints relative to imports of energy on its transmission system.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.3.		Describe the conditions under which CBM may be available as Non-Firm Transmission Service.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-006-0.1		R2.		Each Transmission Service Provider shall make its CBM use procedure available on a web site accessible by the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		MOD-007-0		R1.		Each Transmission Service Provider that uses CBM shall report (to the Regional Reliability Organization, NERC and the transmission users) the use of CBM by the Load-Serving Entities’ Loads on its system, except for CBM sales as Non-Firm Transmission Service. (This use of CBM shall be consistent with the Transmission Service Provider’s procedure for use of CBM.)		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.		The Transmission Service Provider shall post the following three items within 15 calendar days after the use of CBM for an Energy Emergency.  This posting shall be on a web site accessible by the Regional Reliability Organizations, NERC, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.1.		Circumstances.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.2.		Duration.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.3.		Amount of CBM used.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a Regional TRM methodology. The Region’s TRM methodology shall specify or describe each of the following five items, and shall explain its use, if any, in determining TRM values. Other items that are Region-specific or that are considered in each respective Regional methodology shall also be explained along with their use in determining TRM values.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Operations planning: day-ahead up to one year

		MOD-008-0		R1.1.		Specify the update frequency of TRM calculations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.2.		Specify how TRM values are incorporated into Available Transfer Capability calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.		Specify the uncertainties accounted for in TRM and the methods used to determine their impacts on the TRM values. Any component of uncertainty, other than those identified in MOD-008-0_R1.3.1 through MOD-008-0_R1.3.7, shall benefit the interconnected transmission systems as a whole before they shall be permitted to be included in TRM calculations. The components of uncertainty identified in MOD-008-0_R1.3.1 through MOD-008-0_R1.3.7, if applied, shall be accounted for solely in TRM and not CBM.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.1.		Aggregate Load forecast error (not included in determining generation
reliability requirements).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.2.		Load distribution error.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.3.		Variations in facility Loadings due to balancing of generation within a
Balancing Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.4.		Forecast uncertainty in transmission system topology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.5.		Allowances for parallel path (loop flow) impacts.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.6.		Allowances for simultaneous path interactions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.7.		Variations in generation dispatch.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.8.		Short-term System Operator response (Operating Reserve actions not
exceeding a 59-minute window).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.4.		Describe the conditions, if any, under which TRM may be available to the market as Non-Firm Transmission Service.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.5.		Describe the formal process for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional TRM methodology.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R2.		The Regional Reliability Organization shall make its most recent version of the documentation of its TRM methodology available on a web site accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-008-1		R1.		Each Transmission Operator shall prepare and keep current a TRM Implementation Document (TRMID) that includes, as a minimum, the following information:  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.1.		Identification of (on each of its respective ATC Paths or Flowgates) each of the following components of uncertainty if used in establishing TRM, and a description of how that component is used to establish a TRM value:
- Aggregate Load forecast.
- Load distribution uncertainty.
- Forecast uncertainty in Transmission system topology (including, but not limited to, forced or unplanned outages and maintenance outages).
- Allowances for parallel path (loop flow) impacts.
- Allowances for simultaneous path interactions.
- Variations in generation dispatch (including, but not limited to, forced or unplanned outages, maintenance outages and location of future generation).
- Short-term System Operator response (Operating Reserve actions ).
- Reserve sharing requirements.
- Inertial response and frequency bias.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-008-1		R1.2.		The description of the method used to allocate TRM across ATC Paths or Flowgates.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.		The identification of the TRM calculation used for the following time periods:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.1.		Same day and real-time.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.2.		Day-ahead and pre-schedule.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R2.		Each Transmission Operator shall only use the components of uncertainty from R1.1 to establish TRM, and shall not include any of the components of Capacity Benefit Margin (CBM). Transmission capacity set aside for reserve sharing agreements can be included in TRM. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Operations planning: day-ahead up to one year

		MOD-008-1		R3.		Each Transmission Operator shall make available its TRMID, and if requested, underlying documentation (if any) used to determine TRM, in the format used by the Transmission Operator, to any of the following who make a written request no more than 30 calendar days after receiving the request.  [Time Horizon: Operations Planning] 
• Transmission Service Providers
• Reliability Coordinators
• Planning Coordinators
• Transmission Planner
• Transmission Operators		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-008-1		R4.		Each Transmission Operator that maintains TRM shall establish TRM values in accordance with the TRMID at least once every 13 months. [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-008-1		R5.		The Transmission Operator that maintains TRM shall provide the TRM values to its Transmission Service Provider(s) and Transmission Planner(s) no more than seven calendar days after a TRM value is initially established or subsequently changed. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-009-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review Transmission Reliability Margin (TRM) calculations and resulting values of member Transmission Service Providers to ensure they comply with the Regional TRM methodology, and are periodically updated and available to transmission users. This procedure shall include the following four required elements:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-009-0		R1.1.		Indicate the frequency under which the verification review shall be implemented.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.2.		Require review of the process by which TRM values are updated, and their frequency of update, to ensure that the most current TRM values are available to transmission users.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.3.		Require review of the consistency of the Transmission Service Provider’s TRM components with its published planning criteria. A TRM value is considered consistent with published planning criteria if the same components that comprise TRM are also addressed in the planning criteria. The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.4.		Require TRM values to be periodically updated (at least prior to each season — winter, spring, summer, and fall), as necessary, and made available to the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R2.		The Regional Reliability Organization shall make documentation of its Regional TRM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-009-0		R3.		The Regional Reliability Organization shall make documentation of the results of the most current implementation of its TRM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-010-0		R1.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners  (specified in the data requirements and reporting procedures of MOD-011-0_R1) shall provide appropriate equipment characteristics, system data, and existing and future Interchange Schedules in compliance with its respective Interconnection Regional steady-state modeling and simulation data requirements and reporting procedures as defined in Reliability Standard MOD-011-0_R 1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES				YES		Operations planning: day-ahead up to one year

		MOD-010-0		R2.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners  (specified in the data requirements and reporting procedures of MOD-011-0_R1) shall provide this steady-state modeling and simulation data to the Regional Reliability Organizations, NERC, and those entities specified within Reliability Standard MOD-011-0_R 1. If no schedule exists, then these entities shall provide the data on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-011-0		R1.		The Regional Reliability Organizations within an Interconnection, in conjunction with the Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners, shall develop comprehensive steady-state data requirements and reporting procedures needed to model and analyze the steady-state conditions for each of the NERC Interconnections: Eastern, Western, and ERCOT. Within an Interconnection, the Regional Reliability
Organizations shall jointly coordinate the development of the data requirements and reporting procedures for that Interconnection. The Interconnection-wide requirements shall include the following steady-state data requirements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.1.		Bus (substation): name, nominal voltage, electrical demand supplied (consistent with the aggregated and dispersed substation demand data supplied per Reliability Standards MOD-016-0, MOD-017-0, and MOD-020-0 ), and location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.2.		Generating Units (including synchronous condensers, pumped storage, etc.): location, minimum and maximum Ratings (net Real and Reactive Power), regulated bus and voltage set point, and equipment status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.3.		AC Transmission Line or Circuit (overhead and underground): nominal voltage, impedance, line charging, Normal and Emergency Ratings (consistent with methodologies defined and Ratings supplied per Reliability Standard FAC-004-0 and FAC-005-0 ) equipment status, and metering locations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.4.		DC Transmission Line (overhead and underground): line parameters, Normal and Emergency Ratings, control parameters, rectifier data, and inverter data.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.5.		Transformer (voltage and phase-shifting): nominal voltages of windings, impedance, tap ratios (voltage and/or phase angle or tap step size), regulated bus and voltage set point, Normal and Emergency Ratings (consistent with methodologies defined and Ratings supplied per Reliability Standard FAC-004-0 and FAC-005-0.), and equipment status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.6.		Reactive Compensation (shunt and series capacitors and reactors): nominal Ratings, impedance, percent compensation, connection point, and controller device.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.7.		Interchange Schedules: Existing and future Interchange Schedules and/or assumptions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R2.		The Regional Reliability Organizations within an Interconnection shall document their Interconnection’s steady-state data requirements and reporting procedures, shall review those data requirements and reporting procedures (at least every five years), and shall make the data requirements and reporting procedures available on request (within five business days) to Regional Reliability Organizations, NERC, and all users of the interconnected transmission systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-012-0		R1.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners (specified in the data requirements and reporting procedures of MOD-013-0_R1) shall provide appropriate equipment characteristics and system data in compliance with the respective Interconnection-wide Regional dynamics system modeling and simulation data requirements and reporting procedures as defined in Reliability Standard MOD-013-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-012-0		R2.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners (specified in the data requirements and reporting procedures of MOD-013-0_R4) shall provide dynamics system modeling and simulation data to its Regional Reliability Organization(s), NERC, and those entities specified within the applicable reporting procedures identified in Reliability Standard MOD-013-0_R 1.  If no schedule exists, then these entities shall provide data on request (30 calendar days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.		The Regional Reliability Organization, in coordination with its Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners, shall develop comprehensive dynamics data requirements and reporting procedures needed to model and analyze the dynamic behavior or response of each of the NERC Interconnections: Eastern, Western, and ERCOT. Within an Interconnection, the Regional Reliability Organizations shall jointly coordinate on the development of the data requirements and reporting procedures for that Interconnection. Each set of Interconnection-wide dynamics data requirements shall include the following dynamics data requirements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.1.		Design data shall be provided for new or refurbished excitation systems (for synchronous generators and synchronous condensers) at least three months prior to the installation date.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.1.1.		If design data is unavailable from the manufacturer 3 months prior to the installation date, estimated or typical manufacturer’s data, based on excitation systems of similar design and characteristics, shall be provided.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.		Unit-specific dynamics data shall be reported for generators and synchronous condensers (including, as appropriate to the model, items such as inertia constant, damping coefficient, saturation parameters, and direct and quadrature axes reactances and time constants), excitation systems, voltage regulators, turbine-governor systems, power system stabilizers, and other associated generation equipment.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.1.		Estimated or typical manufacturer’s dynamics data, based on units of similar design and characteristics, may be submitted when unit-specific dynamics data cannot be obtained. In no case shall other than unit-specific data be reported for generator units installed after 1990.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.2.		The Interconnection-wide requirements shall specify unit size thresholds for permitting:
− The use of non-detailed vs. detailed models,
− The netting of small generating units with bus load, and
− The combining of multiple generating units at one plant.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.3.		Device specific dynamics data shall be reported for dynamic devices, including, among others, static VAR controllers, high voltage direct current systems, flexible AC transmission systems, and static compensators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.4.		Dynamics data representing electrical Demand characteristics as a function of frequency and voltage.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.5.		Dynamics data shall be consistent with the reported steady-state (power flow) data supplied per Reliability Standard MOD-010 Requirement 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R2.		The Regional Reliability Organization shall participate in the documentation of its Interconnection’s data requirements and reporting procedures and, shall participate in the review of those data requirements and reporting procedures (at least every five years), and shall provide those data requirements and reporting procedures to Regional Reliability Organizations, NERC, and all users of the Interconnected systems on request (within five business days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-014-0		R1.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop and maintain a library of solved (converged) Interconnection-specific steadystate system models. The Interconnection-specific models shall include near- and longer-term planning horizons that are representative of system conditions for projected seasonal peak, minimum, and other appropriate system demand levels.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-014-0		R2.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop steady-state system models annually for selected study years, as determined by the Regional Reliability Organizations within its Interconnection. The Regional Reliability Organization shall provide the most recent solved (converged) Interconnection-specific steadystate models to NERC in accordance with each Interconnection’s schedule for submission.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R1.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop and maintain a library of initialized (with no Faults or system Disturbances) Interconnection-specific dynamics system models linked to the steadystate system models, as appropriate, of Reliability Standard MOD-014-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R1.1.		The Regional Reliability Organization(s) shall develop Interconnectionspecific dynamics system models for at least two timeframes (present or nearterm model and a future or longer-term model), and additional seasonal and demand level models, as necessary, to analyze the dynamic response of that Interconnection.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R2.		The Regional Reliability Organization(s) within each Interconnection shall develop Interconnection dynamics system models for their Interconnection annually for selected study years as determined by the Regional Reliability Organization(s) within each Interconnection and shall provide the most recent initialized (approximately 25 seconds, no-fault) models to NERC in accordance with each Interconnection’s schedule for submission.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R1.		The Planning Authority and Regional Reliability Organization shall have documentation identifying the scope and details of the actual and forecast (a) Demand data, (b) Net Energy for Load data, and (c) controllable DSM data to be reported for system modeling and reliability analyses.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R1.1.		The aggregated and dispersed data submittal requirements shall ensure that consistent data is supplied for Reliability Standards TPL-005, TPL-006, MOD-010, MOD-011, MOD-012, MOD-013, MOD-014, MOD-015, MOD-016, MOD-017, MOD-018, MOD-019, MOD-020, and MOD-021.   The data submittal requirements shall stipulate that each Load-Serving Entity count its customer Demand once and only once, on an aggregated and dispersed basis, in developing its actual and forecast customer Demand values.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R2.		The Regional Reliability Organization shall distribute its documentation required in Requirement 1 and any changes to that documentation, to all Planning Authorities that work within its Region.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R2.1.		The Regional Reliability Organization shall make this distribution within 30 calendar days of approval.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-016-1.1		R3.		The Planning Authority shall distribute its documentation required in R1 for reporting customer data and any changes to that documentation, to its Transmission Planners and Load-Serving Entities that work within its Planning Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R3.1.		The Planning Authority shall make this distribution within 30 calendar days of approval.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.		The Load-Serving Entity, Planning Authority and Resource Planner shall each provide the following information annually on an aggregated Regional, subregional, Power Pool, individual system, or Load-Serving Entity basis to NERC, the Regional Reliability Organizations, and any other entities specified by the documentation in Standard MOD-016-1_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.1.		Integrated hourly demands in megawatts (MW) for the prior year.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.2.		Monthly and annual peak hour actual demands in MW and Net Energy for Load in gigawatthours (GWh) for the prior year.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.3.		Monthly peak hour forecast demands in MW and Net Energy for Load in GWh for the next two years.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.4.		Annual Peak hour forecast demands (summer and winter) in MW and annual Net Energy for load in GWh for at least five years and up to ten years into the future, as requested.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.		The Load-Serving Entity, Planning Authority, Transmission Planner and Resource Planner’s report of actual and forecast demand data (reported on either an aggregated or dispersed basis) shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.1.		Indicate whether the demand data of nonmember entities within an area or Regional Reliability Organization are included, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.2.		Address assumptions, methods, and the manner in which uncertainties are treated in the forecasts of aggregated peak demands and Net Energy for Load.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.3.		Items (MOD-018-0_R 1.1) and (MOD-018-0_R 1.2) shall be addressed as described in the reporting procedures developed for Standard MOD-016-1_R 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R2.		The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource Planner shall each report data associated with Reliability Standard MOD-018-0_R1 to NERC, the Regional Reliability Organization, Load-Serving Entity, Planning Authority, and Resource Planner on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-019-0.1		R1.		The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource Planner shall each provide annually its forecasts of interruptible demands and Direct Control Load Management (DCLM) data for at least five years and up to ten years into the future, as requested, for summer and winter peak system conditions to NERC, the Regional Reliability Organizations, and other entities (Load-Serving Entities, Planning Authorities, and Resource Planners) as specified by the documentation in Reliability Standard MOD-016-1_R 1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-020-0		R1.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make known its amount of interruptible demands and Direct Control Load Management (DCLM) to Transmission Operators, Balancing Authorities, and Reliability Coordinators on request within 30 calendar days.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R1.		The Load-Serving Entity, Transmission Planner, and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R2.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for Load in the data reporting procedures of Standard MOD-016-0_R 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R3.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-021-0.1		R1.		The Load-Serving Entity, Transmission Planner and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0.1		R2.		The Load-Serving Entity, Transmission Planner and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for Load in the data reporting procedures of Standard MOD-016-0_R1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0.1		R3.		The Load-Serving Entity, Transmission Planner and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-024-1		R1.		The Regional Reliability Organization shall establish and maintain procedures to address verification of generator gross and net Real Power capability. These procedures shall include the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.1.		Generating unit exemption criteria including documentation of those units that are exempt from a portion or all of these procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.2.		Criteria for reporting generating unit auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.3.		Acceptable methods for model and data verification, including any applicable conditions under which the data should be verified. Such methods can include use of manufacturer data, commissioning data, performance tracking, and testing, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.4.		Periodicity and schedule of model and data verification and reporting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.		Information to be verified and reported:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.1.		Seasonal gross and net Real Power generating capabilities.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.2.		Real power requirements of auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.3.		Method of verification, including date and conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R2.		The Regional Reliability Organization shall provide its generator gross and net Real Power capability verification and reporting procedures, and any changes to those procedures, to the Generator Owners, Generator Operators, Transmission Operators, Planning Authorities, and Transmission Planners affected by the procedure within 30 calendar days of the approval.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R3.		The Generator Owner shall follow its Regional Reliability Organization’s procedures for verifying and reporting its gross and net Real Power generating capability per R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.		The Regional Reliability Organization shall establish and maintain procedures to address verification of generator gross and net Reactive Power capability. These procedures shall include the following:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.1.		Generating unit exemption criteria including documentation of those units that are exempt from a portion or all of these procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.2.		Criteria for reporting generating unit auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.3.		Acceptable methods for model and data verification, including any applicable conditions under which the data should be verified. Such methods can include use of commissioning data, performance tracking, engineering analysis, testing, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.4.		Periodicity and schedule of model and data verification and reporting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.		Information to be reported:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.1.		Verified maximum gross and net Reactive Power capability (both lagging and leading) at Seasonal Real Power generating capabilities as reported in accordance with Reliability Standard MOD-024 Requirement 1.5.1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.2.		Verified Reactive Power limitations, such as generator terminal voltage
limitations, shorted rotor turns, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.3.		Verified Reactive Power of auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.4.		Method of verification, including date and conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R2.		The Regional Reliability Organization shall provide its generator gross and net Reactive Power capability verification and reporting procedures, and any changes to those procedures, to the Generator Owners, Generator Operators, Transmission Operators, Planning Authorities, and Transmission Planners affected by the procedure within 30 calendar days of the approval.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-025-1		R3.		The Generator Owner shall follow its Regional Reliability Organization’s procedures for verifying and reporting its gross and net Reactive Power generating capability per R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-028-1		R1.		Each Transmission Service Provider shall include in its Available Transfer Capability Implementation Document (ATCID), at a minimum, the following information relative to its methodology for determining Total Transfer Capability (TTC): [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.1.		Information describing how the selected methodology has been implemented, in such detail that, given the same information used by the Transmission Operator, the results of the TTC calculations can be validated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.2.		A description of the manner in which the Transmission Operator will account for Interchange Schedules in the calculation of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.3.		Any contractual obligations for allocation of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.4.		A description of the manner in which Contingencies are identified for use in the TTC process.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.		The following information on how source and sink for transmission service is accounted for in ATC calculations including:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.1.		Define if the source used for Available Transfer Capability (ATC) calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.2.		Define if the sink used for ATC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.3.		The source/sink or POR/POD identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.4.		If the Transmission Service Provider’s ATC calculation process involves a grouping of generation, the ATCID must identify how these generators participate in the group.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R10.		When calculating firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall utilize the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R11.		When calculating non-firm ATC for a ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.		When calculating TTC for ATC Paths, the Transmission Operator shall use a Transmission model that contains all of the following: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.1.		Modeling data and topology of its Reliability Coordinator’s area of responsibility. Equivalent representation of radial lines and facilities 161 kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.2.		Modeling data and topology (or equivalent representation) for immediately adjacent and beyond Reliability Coordination areas.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.3.		Facility Ratings specified by the Generator Owners and Transmission Owners.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.		When calculating TTCs for ATC Paths, the Transmission Operator shall include the following data for the Transmission Service Provider’s area. The Transmission Operator shall also include the following data associated with Facilities that are explicitly represented in the Transmission model, as provided by adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.		For on-peak and off-peak intra-day and next-day TTCs, use the following (as well as any other values and additional parameters as specified in the ATCID):		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.1.		Expected generation and Transmission outages, additions, and retirements, included as specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.2.		Load forecast for the applicable period being calculated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.3.		Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.		For days two through 31 TTCs and for months two through 13 TTCs, use the following (as well as any other values and internal parameters as specified in the ATCID):		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.1.		Expected generation and Transmission outages, additions, and Retirements, included as specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.2.		Daily load forecast for the days two through 31 TTCs being calculated and monthly forecast for months two through 13 months TTCs being calculated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.3.		Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.		When calculating TTCs for ATC Paths, the Transmission Operator shall meet all of the following conditions: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.1.		Use all Contingencies meeting the criteria described in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.2.		Respect any contractual allocations of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.3.		Include, for each time period, the Firm Transmission Service expected to be scheduled as specified in the ATCID  (filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers)  for the Transmission Service Provider, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed modeling the source and sink as follows:   - If the source, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the source.    - If the source, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate representation” in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the source.     - If the source, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point, an “equivalence,” or an “aggregate representation” in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.     - If the source, as specified in the ATCID, has not been identified in the reservation, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.     - If the sink, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point shall as the sink.    - If the sink, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate representation” in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the sink.     - If the sink, as specified in the ATCID, has been identified in the reservation and the point can not be mapped to a discretely modeled point, an “equivalence,” or an “aggregate representation” in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider to which the power is to be delivered as the sink.     - If the sink, as specified in the ATCID, has not been identified in the reservation, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider to which the power is being delivered as the sink.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.		Each Transmission Operator shall establish TTC for each ATC Path as defined below:  [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.1.		At least once within the seven calendar days prior to the specified period for TTCs used in hourly and daily ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.2.		At least once per calendar month for TTCs used in monthly ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.3.		Within 24 hours of the unexpected outage of a 500 kV or higher transmission Facility or a transformer with a low-side voltage of 200 kV or higher for TTCs  in effect during the anticipated duration of the outage, provided such outage is expected to last 24 hours or longer.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.		Each Transmission Operator shall establish TTC for each ATC Path using the following process: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.1.		Determine the incremental Transfer Capability for each ATC Path by increasing generation and/or decreasing load within the source Balancing Authority area and decreasing generation and/or increasing load within the sink Balancing Authority area until either:
- A System Operating Limit is reached on the Transmission Service Provider’s system, or
- A SOL is reached on any other adjacent system in the Transmission model that is not on the study path and the distribution factor is 5% or greater .		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.2.		If the limit in step R6.1 can not be reached by adjusting any combination of load or generation, then set the incremental Transfer Capability by the results of the case where the maximum adjustments were applied.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.3.		Use (as the TTC) the lesser of:
 The sum of the incremental Transfer Capability and the impacts of Firm Transmission Services, as specified in the Transmission Service Provider’s ATCID, that were included in the study model, or
 The sum of Facility Ratings of all ties comprising the ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.4.		For ATC Paths whose capacity uses jointly-owned or allocated Facilities, limit TTC for each Transmission Service Provider so the TTC does not exceed each Transmission Service Provider’s contractual rights.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.		The Transmission Operator shall provide the Transmission Service Provider of that ATC Path with the most current value for TTC for that ATC Path no more than: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.1.		One calendar day after its determination for TTCs used in hourly and daily ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.2.		Seven calendar days after its determination for TTCs used in monthly ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R8.		When calculating Existing Transmission Commitments (ETCs) for firm commitments (ETCF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R9.		When calculating ETC for non-firm commitments (ETCNF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.		When calculating TTCs for ATC Paths, the Transmission Operator shall use a Transmission model which satisfies the following requirements: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.		The model  utilizes data and assumptions consistent with the time period being studied and that meets the following criteria:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.		Includes at least:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.1.		The Transmission Operator area. Equivalent representation of radial lines and facilities 161kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.2.		All Transmission Operator areas contiguous with its own Transmission Operator area. (Equivalent representation is allowed.)		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.3.		Any other Transmission Operator area linked to the Transmission Operator’s area by joint operating agreement.  (Equivalent representation is allowed.)		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.10.		Includes any other modeling requirements or criteria specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.2.		Models all system Elements as in-service for the assumed initial conditions.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.3.		Models all generation (may be either a single generator or multiple generators) that is greater than 20 MVA at the point of interconnection in the studied area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.4.		Models phase shifters in non-regulating mode, unless otherwise specified in the Available Transfer Capability Implementation Document (ATCID).		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.5.		Uses Load forecast by Balancing Authority.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.6.		Uses Transmission Facility additions and retirements.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.7.		Uses Generation Facility additions and retirements.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.8.		Uses Special Protection System (SPS) models where currently existing or projected for implementation within the studied time horizon.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.9.		Models series compensation for each line at the expected operating level unless specified otherwise in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.2.		Uses Facility Ratings as provided by the Transmission Owner and Generator Owner		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.		The Transmission Operator shall use the following process to determine TTC: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.		Except where otherwise specified within MOD-029-1, adjust base case generation and Load levels within the updated power flow model to determine the TTC (maximum flow or reliability limit) that can be simulated on the ATC Path while at the same time satisfying all planning criteria contingencies as follows:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.1.		When modeling normal conditions, all Transmission Elements will be modeled at or below 100% of their continuous rating.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.2.		When modeling contingencies the system shall demonstrate transient, dynamic and voltage stability, with no Transmission Element modeled above its Emergency Rating.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.3.		Uncontrolled separation shall not occur.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.2.		Where it is impossible to actually simulate a reliability-limited flow in a direction counter to prevailing flows (on an alternating current Transmission line), set the TTC for the non-prevailing direction equal to the TTC in the prevailing direction. If the TTC in the prevailing flow direction is dependant on a Special Protection System (SPS), set the TTC for the non-prevailing flow direction equal to the greater of the maximum flow that can be simulated in the non-prevailing flow direction or the maximum TTC that can be achieved in the prevailing flow direction without use of a SPS.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.3.		For an ATC Path whose capacity is limited by contract, set TTC on the ATC Path at the lesser of the maximum allowable contract capacity or the reliability limit as determined by R2.1.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.4.		For an ATC Path whose TTC varies due to simultaneous interaction with one or more other paths, develop a nomogram describing the interaction of the paths and the resulting TTC under specified conditions.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.5.		The Transmission Operator shall identify when the TTC for the ATC Path being studied has an adverse impact on the TTC value of any existing path.  Do this by modeling the flow on the path being studied at its proposed new TTC level simultaneous with the flow on the existing path at its TTC level while at the same time honoring the reliability criteria outlined in R2.1.   The Transmission Operator shall include the resolution of this adverse impact in its study report for the ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.6.		Where multiple ownership of Transmission rights exists on an ATC Path, allocate TTC of that ATC Path in accordance with the contractual agreement made by the multiple owners of that ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.7.		For ATC Paths whose path rating, adjusted for seasonal variance, was established, known and used in operation since January 1, 1994, and no action has been taken to have the path rated using a different method, set the TTC at that previously established amount.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.8.		Create a study report that describes the steps above that were undertaken (R2.1 – R2.7), including the contingencies and assumptions used, when determining the TTC and the results of the study. Where three phase fault damping is used to determine stability limits, that report shall also identify the percent used and include justification for use unless specified otherwise in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R3.		Each Transmission Operator shall establish the TTC at the lesser of the value calculated in R2 or any System Operating Limit (SOL) for that ATC Path.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R4.		Within seven calendar days of the finalization of the study report, the Transmission Operator shall make available to the Transmission Service Provider of the ATC Path, the most current value for TTC and the TTC study report documenting the assumptions used and steps taken in determining the current value for TTC for that ATC Path.  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-029-1		R5.		When calculating ETC for firm Existing Transmission Commitments (ETCF) for a specified period for an ATC Path, the Transmission Service Provider shall use the algorithm below:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R6.		When calculating ETC for non-firm Existing Transmission Commitments (ETCNF) for all time horizons for an ATC Path the Transmission Service Provider shall use the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R7.		When calculating firm ATC for an ATC Path  for a specified period, the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R8.		When calculating non-firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm:[Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R1.		The Transmission Service Provider shall include in its “Available Transfer Capability Implementation Document” (ATCID):  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.1.		The criteria used by the Transmission Operator to identify sets of Transmission Facilities as Flowgates that are to be considered in Available Flowgate Capability (AFC) calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.		The following information on how source and sink for transmission service is accounted for in AFC calculations including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.1.		Define if the source used for AFC calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.2.		Define if the sink used for AFC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.3.		The source/sink or POR/POD identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.4.		If the Transmission Service Provider’s AFC calculation process involves a grouping of generators, the ATCID must identify how these generators participate in the group.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R10.		Each Transmission Service Provider shall recalculate AFC, utilizing the updated models described in R3.2, R3.3, and R5, at a minimum on the following frequency, unless none of the calculated values identified in the AFC equation have changed:  [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.1.		For hourly AFC, once per hour. Transmission Service Providers are allowed up to 175 hours per calendar year during which calculations are not required to be performed, despite a change in a calculated value identified in the AFC equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.2.		For daily AFC, once per day.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.3.		For monthly AFC, once per week.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R11.		When converting Flowgate AFCs to ATCs for ATC Paths, the Transmission Service Provider shall convert those values based on the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.		The Transmission Operator shall perform the following: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.		Include Flowgates used in the AFC process based, at a minimum, on the following criteria:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.		Results of a first Contingency transfer analysis for ATC Paths internal to a Transmission Operator’s system up to the path capability such that at a minimum the first three limiting Elements and their worst associated Contingency combinations with an OTDF of at least 5% and within the Transmission Operator’s system are included as Flowgates.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.1.		Use first Contingency criteria consistent with those first Contingency criteria used in planning of operations for the applicable time periods, including use of Special Protection Systems.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.2.		Only the most limiting element in a series configuration needs to be included as a Flowgate.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.3.		If any limiting element is kept within its limit for its associated worst Contingency by operating within the limits of another Flowgate, then no new Flowgate needs to be established for such limiting elements or Contingencies.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.		Results of a first Contingency transfer analysis from all adjacent Balancing Authority source and sink (as defined in the ATCID) combinations up to the path capability such that at a minimum the first three limiting Elements and their worst associated Contingency combinations with an Outage Transfer Distribution Factor (OTDF) of at least 5% and within the Transmission Operator’s system are included as Flowgates unless the interface between such adjacent Balancing Authorities is accounted for using another ATC methodology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.1.		Use first Contingency criteria consistent with those first Contingency criteria used in planning of operations for the applicable time periods, including use of Special Protection Systems.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.2.		Only the most limiting element in a series configuration needs to be included as a Flowgate.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.3.		If any limiting element is kept within its limit for its associated worst Contingency by operating within the limits of another Flowgate, then no new Flowgate needs to be established for such limiting elements or Contingencies.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.3.		Any limiting Element/Contingency combination at least within its Reliability Coordinator’s Area that has been subjected to an Interconnection-wide congestion management procedure within the last 12 months, unless the limiting Element/Contingency combination is accounted for using another ATC methodology or was created to address temporary operating conditions.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.4.		Any limiting Element/Contingency combination within the Transmission model that has been requested to be included by any other Transmission Service Provider using the Flowgate Methodology or Area Interchange Methodology, where:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-030-02		R2.1.4.1.		The coordination of the limiting Element/Contingency combination is not already addressed through a different methodology, and 
- Any generator within the Transmission Service Provider’s area has at least a 5% Power Transfer Distribution Factor (PTDF) or Outage Transfer Distribution Factor (OTDF) impact on the Flowgate when delivered to the aggregate load of its own area, or
- A transfer from any Balancing Area within the Transmission Service Provider’s area to a Balancing Area adjacent has at least a 5% PTDF or OTDF impact on the Flowgate. 
- The Transmission Operator may utilize distribution factors less than 5% if desired.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.4.2.		The limiting Element/Contingency combination is included in the requesting Transmission Service Provider’s methodology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.2.		At a minimum, establish a list of Flowgates by creating, modifying, or deleting Flowgate definitions at least once per calendar year.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.3.		At a minimum, establish a list of Flowgates by creating, modifying, or deleting Flowgates that have been requested as part of R2.1.4 within thirty calendar days from the request.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.4.		Establish the TFC of each of the defined Flowgates as equal to: 
- For thermal limits, the System Operating Limit (SOL) of the Flowgate. 
- For voltage or stability limits, the flow that will respect the SOL of the Flowgate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.5.		At a minimum, establish the TFC once per calendar year.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.5.1.		If notified of a change in the Rating by the Transmission Owner that would affect the TFC of a flowgate used in the AFC process, the TFC should be updated within seven calendar days of the notification.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.6.		Provide the Transmission Service Provider with the TFCs within seven calendar days of their establishment.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.		The Transmission Operator shall make available to the Transmission Service Provider a Transmission model to determine Available Flowgate Capability (AFC) that meets the following criteria: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.1.		Contains generation Facility Ratings, such as generation maximum and minimum output levels, specified by the Generator Owners of the Facilities within the model.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.2.		Updated at least once per day for AFC calculations for intra-day, next day, and days two through 30.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.3.		Updated at least once per month for AFC calculations for months two through 13.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.4.		Contains modeling data and system topology for the Facilities within its Reliability Coordinator’s Area. Equivalent representation of radial lines and Facilities161kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.5.		Contains modeling data and system topology (or equivalent representation) for immediately adjacent and beyond Reliability Coordination Areas.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R4.		When calculating AFCs, the Transmission Service Provider shall represent the impact of Transmission Service as follows: [Time Horizon: Operations Planning]
- If the source, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the source.
- If the source, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate” representation in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the source.
- If the source, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” representation in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.
- If the source, as specified in the ATCID, has not been identified in the reservation use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.
- If the sink, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the sink.
- If the sink, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate” representation in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the sink.
- If the sink, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” representation in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider receiving the power as the sink.
- If the sink, as specified in the ATCID, has not been identified in the reservation use the immediately adjacent Balancing Authority associated with the Transmission Service Provider receiving the power as the sink.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.		When calculating AFCs, the Transmission Service Provider shall:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.1.		Use the models provided by the Transmission Operator.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.2.		Include in the transmission model expected generation and Transmission outages, additions, and retirements within the scope of the model as specified in the ATCID and in effect during the applicable period of the AFC calculation for the Transmission Service Provider’s area, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.3.		For external Flowgates, identified in R2.1.4, use the AFC provided by the Transmission Service Provider that calculates AFC for that Flowgate.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.		When calculating the impact of ETC for firm commitments (ETCFi) for all time periods for a Flowgate, the Transmission Service Provider shall sum the following:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.		The impact of firm Network Integration Transmission Service, including the impacts of generation to load, in the model referenced in R5.2 for the Transmission Service Provider’s area, based on:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.1.		Load forecast for the time period being calculated, including Native Load and Network Service load		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.2.		Unit commitment and Dispatch Order, to include all designated network resources and other resources that are committed or have the legal obligation to run as specified in the Transmission Service Provider's ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.		The impact of any firm Network Integration Transmission Service, including the impacts of generation to load in the model referenced in R5.2 and has a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed based on:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.1.		Load forecast for the time period being calculated, including Native Load and Network Service load		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.2.		Unit commitment and Dispatch Order, to include all designated network resources and other resources that are committed or have the legal obligation to run as specified in the Transmission Service Provider's ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.3.		The impact of all confirmed firm Point-to-Point Transmission Service expected to be scheduled, including roll-over rights for Firm Transmission Service contracts, for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.4.		The impact of any confirmed firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, including roll-over rights for Firm Transmission Service contracts having a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.5.		The impact of any Grandfathered firm obligations expected to be scheduled or expected to flow for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.6.		The impact of any Grandfathered firm obligations expected to be scheduled or expected to flow that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.7.		The impact of other firm services determined by the Transmission Service Provider.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.		When calculating the impact of ETC for non-firm commitments (ETCNFi) for all time periods for a Flowgate the Transmission Service Provider shall sum:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.1.		The impact of all confirmed non-firm Point-to-Point Transmission Service expected to be scheduled for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.2.		The impact of any confirmed non-firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.3.		The impact of any Grandfathered non-firm obligations expected to be scheduled or expected to flow for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.4.		The impact of any Grandfathered non-firm obligations expected to be scheduled or expected to flow that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.5.		The impact of non-firm Network Integration Transmission Service serving Load within the Transmission Service Provider’s area (i.e., secondary service), to include load growth, and losses not otherwise included in Transmission Reliability Margin or Capacity Benefit Margin.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.6.		The impact of any non-firm Network Integration Transmission Service (secondary service) with a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.7.		The impact of other non-firm services determined by the Transmission Service Provider.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R8.		When calculating firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm (subject to allocation processes described in the ATCID):  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R9.		When calculating non-firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm (subject to allocation processes described in the ATCID):  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		NUC-001-1		R1.		The Nuclear Plant Generator Operator shall provide the proposed NPIRs in writing to the applicable Transmission Entities and shall verify receipt		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES						Planning: one year and longer

		NUC-001-1		R2.		The Nuclear Plant Generator Operator and the applicable Transmission Entities shall have in effect one or more Agreements1 that include mutually agreed to NPIRs and document how the Nuclear Plant Generator Operator and the applicable Transmission Entities shall address and implement these NPIRs.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES						Planning: one year and longer

		NUC-001-1		R3.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall incorporate the NPIRs into their planning analyses of the electric system and shall communicate the results of these analyses to the Nuclear Plant Generator Operator.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall:		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		NUC-001-1		R4.1.		Incorporate the NPIRs into their operating analyses of the electric system.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.2.		Operate the electric system to meet the NPIRs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.3.		Inform the Nuclear Plant Generator Operator when the ability to assess the operation of the electric system affecting NPIRs is lost.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R5.		The Nuclear Plant Generator Operator shall operate per the Agreements developed in accordance with this standard.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		NUC-001-1		R6.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities and the Nuclear Plant Generator Operator shall coordinate outages and maintenance activities which affect the NPIRs.		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.		YES		YES		YES						YES		Operations planning: day-ahead up to one year

		NUC-001-1		R7.		Per the Agreements developed in accordance with this standard, the Nuclear Plant Generator Operator shall inform the applicable Transmission Entities of actual or proposed changes to nuclear plant design, configuration, operations, limits, protection systems, or capabilities that may impact the ability of the electric system to meet the NPIRs.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R8.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall inform the Nuclear Plant Generator Operator of actual or proposed changes to electric system design, configuration, operations, limits, protection systems, or capabilities that may impact the ability of the electric system to meet the NPIRs.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.		The Nuclear Plant Generator Operator and the applicable Transmission Entities shall include, as a minimum, the following elements within the agreement(s) identified in R2:		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.		Administrative elements:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.1.		Definitions of key terms used in the agreement.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.2.		Names of the responsible entities, organizational relationships, and
responsibilities related to the NPIRs.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.3.		A requirement to review the agreement(s) at least every three years.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.4.		A dispute resolution mechanism.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.2.		Technical requirements and analysis:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.1.		Identification of parameters, limits, configurations, and operating
scenarios included in the NPIRs and, as applicable, procedures for
providing any specific data not provided within the agreement.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.2.		Identification of facilities, components, and configuration restrictions
that are essential for meeting the NPIRs.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.3.		Types of planning and operational analyses performed specifically to
support the NPIRs, including the frequency of studies and types of
Contingencies and scenarios required.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.3.		Operations and maintenance coordination:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.3.1.		Designation of ownership of electrical facilities at the interface
between the electric system and the nuclear plant and responsibilities
for operational control coordination and maintenance of these
facilities.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.2.		Identification of any maintenance requirements for equipment not
owned or controlled by the Nuclear Plant Generator Operator that are
necessary to meet the NPIRs.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.3.		Coordination of testing, calibration and maintenance of on-site and
off-site power supply systems and related components.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.4.		Provisions to address mitigating actions needed to avoid violating
NPIRs and to address periods when responsible Transmission Entity
loses the ability to assess the capability of the electric system to meet
the NPIRs. These provisions shall include responsibility to notify the
Nuclear Plant Generator Operator within a specified time frame.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.3.5.		Provision to consider nuclear plant coping times required by the
NPLRs and their relation to the coordination of grid and nuclear plant
restoration following a nuclear plant loss of Off-site Power.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES				YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.3.6.		Coordination of physical and cyber security protection of the Bulk
Electric System at the nuclear plant interface to ensure each asset is
covered under at least one entity’s plan.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.7.		Coordination of the NPIRs with transmission system Special
Protection Systems and underfrequency and undervoltage load
shedding programs.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.		Communications and training:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.4.1.		Provisions for communications between the Nuclear Plant Generator
Operator and Transmission Entities, including communications
protocols, notification time requirements, and definitions of terms.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.2.		Provisions for coordination during an off-normal or emergency event
affecting the NPIRs, including the need to provide timely information
explaining the event, an estimate of when the system will be returned
to a normal state, and the actual time the system is returned to normal.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.				YES		YES				YES		YES		Planning: one year and longer

		NUC-001-1		R9.4.3.		Provisions for coordinating investigations of causes of unplanned
events affecting the NPIRs and developing solutions to minimize
future risk of such events.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.4.		Provisions for supplying information necessary to report to
government agencies, as related to NPIRs.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.5.		Provisions for personnel training, as related to NPIRs.		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PER-001-0.1		R1.		Each Transmission Operator and Balancing Authority shall provide operating personnel with the responsibility and authority to implement real-time actions to ensure the stable and reliable operation of the Bulk Electric System.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Real-time or current hour

		PER-002-0		R1.		Each Transmission Operator and Balancing Authority shall be staffed with adequately trained operating personnel.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-002-0		R2.		Each Transmission Operator and Balancing Authority shall have a training program for all operating personnel that are in:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-002-0		R2.1.		Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.

		PER-002-0		R2.2.		Positions directly responsible for complying with NERC standards.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.

		PER-002-0		R3.		For personnel identified in Requirement R2, the Transmission Operator and Balancing Authority shall provide a training program meeting the following criteria:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-002-0		R3.1.		A set of training program objectives must be defined, based on NERC and Regional Reliability Organization standards, entity operating procedures, and applicable regulatory requirements.  These objectives shall reference the knowledge and competencies needed to apply those standards, procedures, and requirements to normal, emergency, and restoration conditions for the Transmission Operator and Balancing Authority operating positions.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.2.		The training program must include a plan for the initial and continuing training of Transmission Operator and Balancing Authority operating personnel.  That plan shall address knowledge and competencies required for reliable system operations.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.3.		The training program must include training time for all Transmission Operator and Balancing Authority operating personnel to ensure their operating proficiency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.4.		Training staff must be identified, and the staff must be competent in both knowledge of system operations and instructional capabilities.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R4.		For personnel identified in Requirement R2, each Transmission Operator and Balancing Authority shall provide its operating personnel at least five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-003-0		R1.		Each Transmission Operator, Balancing Authority, and Reliability Coordinator shall staff all operating positions that meet both of the following criteria with personnel that are NERC-certified for the applicable functions:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.										YES				Real-time or current hour

		PER-003-0		R1.1.		Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-003-0		R1.2.		Positions directly responsible for complying with NERC standards.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES

		PER-004-1		R1.		Each Reliability Coordinator shall be staffed with adequately trained and NERC-certified Reliability Coordinator operators, 24 hours per day, seven days per week.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R2.		All Reliability Coordinator operating personnel shall each complete a minimum of five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-004-1		R3.		Reliability Coordinator operating personnel shall have a comprehensive understanding of the Reliability Coordinator Area and interactions with neighboring Reliability Coordinator Areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R4.		Reliability Coordinator operating personnel shall have an extensive understanding of the Balancing Authorities, Transmission Operators, and Generation Operators within the Reliability Coordinator Area, including the operating staff, operating practices and procedures, restoration priorities and objectives, outage plans, equipment capabilities, and operational restrictions.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R5.		Reliability Coordinator operating personnel shall place particular attention on SOLs and IROLs and inter-tie facility limits.  The Reliability Coordinator shall ensure protocols are in place to allow Reliability Coordinator operating personnel to have the best available information at all times.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-005-1		R1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall use a systematic approach to training to establish a training program for the BES company-specific reliability-related tasks performed by its System Operators and shall implement the program.  [Time Horizon: Long-term Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall create a list of BES company-specific reliability-related tasks performed by its System Operators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PER-005-1		R1.1.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall update its list of BES company-specific reliability-related tasks performed by its System Operators each calendar year to identify new or modified tasks for inclusion in training.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.2.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall design and develop learning objectives and training materials based on the task list created in R1.1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.3.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall deliver the training established in R1.2.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.4.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall conduct an annual evaluation of the training program established in R1, to identify any needed changes to the training program and shall implement the changes identified.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PER-005-1		R2.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall verify each of its System Operator’s capabilities to perform each assigned task identified in R1.1 at least one time. [Time Horizon: Long-term Planning]		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R2.1.		Within six months of a modification of the BES company-specific reliability-related tasks, each Reliability Coordinator, Balancing Authority and Transmission Operator shall verify each of its System Operator’s capabilities to perform the new or modified tasks.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R3.		At least every 12 months each Reliability Coordinator, Balancing Authority and Transmission Operator shall provide each of its System Operators with at least 32 hours of emergency operations training applicable to its organization that reflects emergency operations topics, which includes system restoration using drills, exercises or other training required to maintain qualified personnel. [Time Horizon: Long-term Planning]		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-005-1		R3.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator that has operational authority or control over Facilities with established IROLs or has established operating guides or protection systems to mitigate IROL violations shall provide each System Operator with emergency operations training using simulation technology such as a simulator, virtual technology, or other technology that replicates the operational behavior of the BES during normal and emergency conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PRC-001-1		R1.		Each Transmission Operator, Balancing Authority, and Generator Operator shall be familiar with the purpose and limitations of protection system schemes applied in its area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R2.		Each Generator Operator and Transmission Operator shall notify reliability entities of relay or equipment failures as follows:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R2.1.		If a protective relay or equipment failure reduces system reliability, the Generator Operator shall notify its Transmission Operator and Host Balancing Authority.  The Generator Operator shall take corrective action as soon as possible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Same-day

		PRC-001-1		R2.2.		If a protective relay or equipment failure reduces system reliability, the Transmission Operator shall notify its Reliability Coordinator and affected Transmission Operators and Balancing Authorities.  The Transmission Operator shall take corrective action as soon as possible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R3.		A Generator Operator or Transmission Operator shall coordinate new protective systems and changes as follows.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R3.1.		Each Generator Operator shall coordinate all new protective systems and all protective system changes with its Transmission Operator and Host Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R3.2.		Each Transmission Operator shall coordinate all new protective systems and all protective system changes with neighboring Transmission Operators and Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R4.		Each Transmission Operator shall coordinate protection systems on major transmission lines and interconnections with neighboring Generator Operators, Transmission Operators, and Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R5.		A Generator Operator or Transmission Operator shall coordinate changes in generation, transmission, load or operating conditions that could require changes in the protection systems of others:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R5.1.		Each Generator Operator shall notify its Transmission Operator in advance of changes in generation or operating conditions that could require changes in the Transmission Operator’s protection systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R5.2.		Each Transmission Operator shall notify neighboring Transmission Operators in advance of changes in generation, transmission, load, or operating conditions that could require changes in the other Transmission Operators’ protection systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R6.		Each Transmission Operator and Balancing Authority shall monitor the status of each Special Protection System in their area, and shall notify affected Transmission Operators and Balancing Authorities of each change in status.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-002-1		R1.		The Regional Reliability Organization shall establish the following installation requirements for sequence of event recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.		Location, monitoring and recording requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.1.		Criteria for equipment location (e.g., by voltage, geographic area, station size, etc.).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.2.		Devices to be monitored.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R2.		The Regional Reliability Organization shall establish the following installation requirements for fault recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R2.1.		Location, monitoring and recording requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.1.		Criteria for equipment location (e.g., by voltage, geographic area, station size, etc.).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.2.		Elements to be monitored at each location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.		Electrical quantities to be recorded for each monitored element shall be sufficient to determine the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.1.		Three phase to neutral voltages.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.2.		Three phase currents and neutral currents.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.3.		Polarizing currents and voltages, if used.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.4.		Frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.5.		Megawatts and megavars.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.		Technical requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.1.		Recording duration requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.2.		Minimum sampling rate of 16 samples per cycle.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.3.		Event triggering requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.		The Regional Reliability Organization shall establish the following installation requirements for dynamic Disturbance recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R3.1.		Location, monitoring and recording requirements including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.1.		Criteria for equipment location giving consideration to the following:
- Site(s) in or near major load centers
- Site(s) in or near major generation clusters
- Site(s) in or near major voltage sensitive areas
- Site(s) on both sides of major transmission interfaces
- A major transmission junction
- Elements associated with Interconnection Reliability Operating Limits
- Major EHV interconnections between control areas
- Coordination with neighboring regions within the interconnection		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.2.		Elements and number of phases to be monitored at each location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.		Electrical quantities to be recorded for each monitored element shall be sufficient to determine the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.1.		Voltage, current and frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.2.		Megawatts and megavars.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.		Technical requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.1.		Capability for continuous recording for devices installed after January 1, 2009.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.2.		Each device shall sample data at a rate of at least 960 samples per second and shall record the RMS value of electrical quantities at a rate of at least 6 records per second.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R4.		The Regional Reliability Organization shall establish requirements for facility owners to report Disturbance data recorded by their DME installations. The Disturbance data reporting requirements shall include the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R4.1.		Criteria for events that require the collection of data from DMEs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.2.		List of entities that must be provided with recorded Disturbance data.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.3.		Timetable for response to data request.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.4.		Provision for reporting Disturbance data in a format which is capable of being viewed, read and analyzed with a generic COMTRADE1 analysis tool,		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.5.		Naming of data files in conformance with the IEEE C37.232 Recommended Practice for Naming Time Sequence Data Files2.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.6.		Data content requirements and guidelines.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R5.		The Regional Reliability Organization shall provide its requirements (and any revisions to those requirements) including those for DME installation and Disturbance data reporting to the affected Transmission Owners and Generator Owners within 30 calendar days of approval of those requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R6.		The Regional Reliability Organization shall periodically (at least every five years) review, update and approve its Regional requirements for Disturbance monitoring and reporting.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-003-1		R1.		Each Regional Reliability Organization shall establish, document and maintain its procedures for, review, analysis, reporting and mitigation of transmission and generation Protection System Misoperations. These procedures shall include the following elements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.1.		The Protection Systems to be reviewed and analyzed for Misoperations (due to theirpotential impact on BES reliability).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.2.		Data reporting requirements (periodicity and format) for Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.3.		Process for review, analysis follow up, and documentation of Corrective Action Plans for Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.4.		Identification of the Regional Reliability Organization group responsible for the procedures and the process for approval of the procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R2.		Each Regional Reliability Organization shall maintain and periodically update documentation of its procedures for review, analysis, reporting, and mitigation of transmission and generation Protection System Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-003-1		R3.		Each Regional Reliability Organization shall distribute procedures in Requirement 1 and any changes to those procedures, to the affected Transmission Owners, Distribution Providers that own transmission Protection Systems, and Generator Owners within 30 calendar days of
approval of those procedures.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-004-1		R1.		The Transmission Owner and any Distribution Provider that owns a transmission Protection System shall each analyze its transmission Protection System Misoperations and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for Reliability Standard PRC-003 Requirement 1.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		PRC-004-1		R2.		The Generator Owner shall analyze its generator Protection System Misoperations, and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		PRC-004-1		R3.		The Transmission Owner, any Distribution Provider that owns a transmission Protection System, and the Generator Owner shall each provide to its Regional Reliability Organization, documentation of its Misoperations analyses and Corrective Action Plans according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R1.		Each Transmission Owner and any Distribution Provider that owns a transmission Protection System and each Generator Owner that owns a generation Protection System shall have a Protection System maintenance and testing program for Protection Systems that affect the reliability of the BES. The program shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-005-1		R1.1.		Maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R1.2.		Summary of maintenance and testing procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R2.		Each Transmission Owner and any Distribution Provider that owns a transmission Protection System and each Generator Owner that owns a generation Protection System shall provide documentation of its Protection System maintenance and testing program and the implementation of that program to its Regional Reliability Organization on request (within 30 calendar days).  The documentation of the program implementation shall include:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-005-1		R2.1.		Evidence Protection System devices were maintained and tested within the defined intervals.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-005-1		R2.2.		Date each Protection System device was last tested/maintained.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-006-0		R1.		Each Regional Reliability Organization shall develop, coordinate, and document an UFLS program, which shall include the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES						Planning: one year and longer

		PRC-006-0		R1.1.		Requirements for coordination of UFLS programs within the subregions, Regional Reliability Organization and, where appropriate, among Regional Reliability Organizations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.		Design details shall include, but are not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.1.		Frequency set points.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.2.		Size of corresponding load shedding blocks (% of connected loads.)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.3.		Intentional and total tripping time delays.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.4.		Generation protection.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.5.		Tie tripping schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.6.		Islanding schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.7.		Automatic load restoration schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.8.		Any other schemes that are part of or impact the UFLS programs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.3.		A Regional Reliability Organization UFLS program database. This database shall be updated as specified in the Regional Reliability Organization program (but at least every five years) and shall include sufficient information to model the UFLS program in dynamic simulations of the interconnected transmission systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.		Assessment and documentation of the effectiveness of the design and implementation of the Regional UFLS program. This assessment shall be conducted periodically and shall (at least every five years or as required by changes in system conditions) include, but not be limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.1.		A review of the frequency set points and timing, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.2.		Dynamic simulation of possible Disturbance that cause the Region or
portions of the Region to experience the largest imbalance between Demand (Load) and generation.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PRC-006-0		R2.		The Regional Reliability Organization shall provide documentation of its UFLS program and its database information to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES						Operations planning: day-ahead up to one year

		PRC-006-0		R3.		The Regional Reliability Organization shall provide documentation of the assessment of its UFLS program to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-007-0		R1.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall ensure that its UFLS program is consistent with its Regional Reliability Organization’s UFLS program requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-007-0		R2.		The Transmission Owner, Transmission Operator, Distribution Provider, and Load-Serving Entity that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide, and annually update, its underfrequency data as necessary for its Regional Reliability Organization to maintain and update  a UFLSprogram database.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-007-0		R3.		The Transmission Owner and Distribution Provider that owns a UFLS program (as required by its Regional Reliability Organization) shall provide its documentation of that UFLS program to its Regional Reliability Organization on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-008-0		R1.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall have a UFLS equipment maintenance and testing program in place.  This UFLS equipment maintenance and testing program shall include UFLS equipment identification, the schedule for UFLS equipment testing, and the schedule for UFLS equipment maintenance.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-008-0		R2.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall implement its UFLS equipment maintenance and testing program and shall provide UFLS maintenance and testing program results to its Regional Reliability Organization and NERC on request (within 30 calendar days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-009-0		R1.		The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall analyze and document its UFLS program performance in accordance with its Regional Reliability Organization’s UFLS program.  The analysis shall address the performance of UFLS equipment and program effectiveness following system events resulting in system frequency excursions below the initializing set points of the UFLS program.  The analysis shall include, but not be limited to:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.1.		A description of the event including initiating conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.2.		A review of the UFLS set points and tripping times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.3.		A simulation of the event.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.4.		A summary of the findings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R2.		The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide documentation of the analysis of the UFLS program to its Regional Reliability Organization and NERC on request 90 calendar days after the system event.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-010-0		R1.		The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall periodically (at least every five years or as required by changes in system conditions) conduct and document an assessment of the effectiveness of the UVLS program.  This assessment shall be conducted with the associated Transmission Planner(s) and Planning Authority(ies).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.		This assessment shall include, but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.1.		Coordination of the UVLS programs with other protection and control systems in the Region and with other Regional Reliability Organizations, as appropriate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.2.		Simulations that demonstrate that the UVLS programs performance is consistent with Reliability Standards TPL-001-0, TPL-002-0, TPL-003-0 and TPL-004-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.3.		A review of the voltage set points and timing.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R2.		The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall provide documentation of its current UVLS program assessment to its Regional Reliability Organization and NERC on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-011-0		R1.		The Transmission Owner and Distribution Provider that owns a UVLS system shall have a UVLS equipment maintenance and testing program in place. This program shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.		The UVLS system identification which shall include but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.1.		Relays.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.2.		Instrument transformers.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.3.		Communications systems, where appropriate.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.4.		Batteries.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.2.		Documentation of maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.3.		Summary of testing procedure.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.4.		Schedule for system testing.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.5.		Schedule for system maintenance.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.6.		Date last tested/maintained.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R2.		The Transmission Owner and Distribution Provider that owns a UVLS system shall provide documentation of its UVLS equipment maintenance and testing program and the implementation of that UVLS equipment maintenance and testing program to its Regional Reliability Organization and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-012-0		R1.		Each Regional Reliability Organization with a Transmission Owner, Generator Owner, or Distribution Providers that uses or is planning to use an SPS shall have a documented Regional Reliability Organization SPS review procedure to ensure that SPSs comply with Regional criteria and NERC Reliability Standards. The Regional SPS review procedure shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.1.		Description of the process for submitting a proposed SPS for Regional Reliability Organization review.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.2.		Requirements to provide data that describes design, operation, and modeling of an SPS.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.3.		Requirements to demonstrate that the SPS shall be designed so that a single SPS component failure, when the SPS was intended to operate, does not prevent the interconnected transmission system from meeting the performance requirements defined in Reliability Standards TPL-001-0, TPL-002-0, and TPL-003-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.4.		Requirements to demonstrate that the inadvertent operation of an SPS shall meet the same performance requirement (TPL-001-0, TPL-002-0, and TPL-003-0) as that required of the contingency for which it was designed, and not exceed TPL-003-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.5.		Requirements to demonstrate the proposed SPS will coordinate with other protection and control systems and applicable Regional Reliability Organization Emergency procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.6.		Regional Reliability Organization definition of misoperation.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.7.		Requirements for analysis and documentation of corrective action plans for all SPS misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.8.		Identification of the Regional Reliability Organization group responsible for the Regional Reliability Organization’s review procedure and the process for Regional Reliability Organization approval of the procedure.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.9.		Determination, as appropriate, of maintenance and testing requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R2.		The Regional Reliability Organization shall provide affected Regional Reliability Organizations and NERC with documentation of its SPS review procedure on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-013-0		R1.		The Regional Reliability Organization that has a Transmission Owner, Generator Owner, or Distribution Provider with an SPS installed shall maintain an SPS database. The database shall include the following types of information:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.1.		Design Objectives — Contingencies and system conditions for which the SPS was designed,		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.2.		Operation — The actions taken by the SPS in response to Disturbance conditions, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.3.		Modeling — Information on detection logic or relay settings that control operation of the SPS.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R2.		The Regional Reliability Organization shall provide to affected Regional Reliability Organization(s) and NERC documentation of its database or the information therein on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-014-0		R1.		The Regional Reliability Organization shall assess the operation, coordination, and effectiveness of all SPSs installed in its Region at least once every five years for compliance with NERC Reliability Standards and Regional criteria.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R2.		The Regional Reliability Organization shall provide either a summary report or a detailed report of its assessment of the operation, coordination, and effectiveness of all SPSs installed in its Region to affected Regional Reliability Organizations or NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-014-0		R3.		The documentation of the Regional Reliability Organization’s SPS assessment shall include the following elements:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.1.		Identification of group conducting the assessment and the date the assessment was performed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.2.		Study years, system conditions, and contingencies analyzed in the technical studies on which the assessment is based and when those technical studies were performed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.3.		Identification of SPSs that were found not to comply with NERC standards and Regional Reliability Organization criteria.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.4.		Discussion of any coordination problems found between a SPS and other protection and control systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.5.		Provide corrective action plans for non-compliant SPSs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall maintain a list of and provide data for existing and proposed SPSs as specified in Reliability Standard PRC-013-0_R 1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have evidence it reviewed new or functionally modified SPSs in accordance with the Regional Reliability Organization’s procedures as defined in Reliability Standard PRC-012-0_R1 prior to being placed in service.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R3.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of SPS data and the results of studies that show compliance of new or functionally modified SPSs with NERC Reliability Standards and Regional Reliability Organization criteria to affected Regional Reliability Organizations and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-016-0.1		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall analyze its SPS operations and maintain a record of all misoperations in accordance with the Regional SPS review procedure specified in Reliability Standard PRC-012-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-016-0.1		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall take corrective actions to avoid future misoperations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-016-0.1		R3.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the misoperation analyses and the corrective action plans to its Regional Reliability Organization and NERC on request (within 90 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-017-0		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have a system maintenance and testing program(s) in place. The program(s) shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.		SPS identification shall include but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.1.		Relays.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.2.		Instrument transformers.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.3.		Communications systems, where appropriate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.4.		Batteries.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.2.		Documentation of maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.3.		Summary of testing procedure.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.4.		Schedule for system testing.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.5.		Schedule for system maintenance.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.6.		Date last tested/maintained.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the program and its implementation to the appropriate Regional Reliability Organizations and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-018-1		R1.		Each Transmission Owner and Generator Owner required to install DMEs by its Regional Reliability Organization (reliability standard PRC-002 Requirements 1-3) shall have DMEs installed that meet the following requirements:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R1.1.		Internal Clocks in DME devices shall be synchronized to within 2 milliseconds or less of Universal Coordinated Time scale (UTC)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R1.2.		Recorded data from each Disturbance shall be retrievable for ten calendar days..		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R2.		The Transmission Owner and Generator Owner shall each install DMEs in accordance with its Regional Reliability Organization’s installation requirements (reliability standard PRC-002 Requirements 1 through 3).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R3.		The Transmission Owner and Generator Owner shall each maintain, and report to its Regional Reliability Organization on request, the following data on the DMEs installed to meet that region’s installation requirements (reliability standard PRC-002 Requirements1.1, 2.1 and 3.1):		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R3.1.		Type of DME (sequence of event recorder, fault recorder, or dynamic disturbance recorder).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.2.		Make and model of equipment.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.3.		Installation location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.4.		Operational status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.5.		Date last tested.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.6.		Monitored elements, such as transmission circuit, bus section, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.7.		Monitored devices, such as circuit breaker, disconnect status, alarms, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.8.		Monitored electrical quantities, such as voltage, current, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R4.		The Transmission Owner and Generator Owner shall each provide Disturbance data (recorded by DMEs) in accordance with its Regional Reliability Organization’s requirements (reliability standard PRC-002 Requirement 4).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R5.		The Transmission Owner and Generator Owner shall each archive all data recorded by DMEs for Regional Reliability Organization-identified events for at least three years.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R6.		Each Transmission Owner and Generator Owner that is required by its Regional Reliability Organization to have DMEs shall have a maintenance and testing program for those DMEs that includes:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R6.1.		Maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R6.2.		Summary of maintenance and testing procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-020-1		R1.		The Regional Reliability Organization shall establish, maintain and annually update a database for UVLS programs implemented by entities within the region to mitigate the risk of voltage collapse or voltage instability in the BES. This database shall include the following items:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.1.		Owner and operator of the UVLS program.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.2.		Size and location of customer load, or percent of connected load, to be interrupted.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.3.		Corresponding voltage set points and overall scheme clearing times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.4.		Time delay from initiation to trip signal.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.5.		Breaker operating times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.6.		Any other schemes that are part of or impact the UVLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, UFLS and Special Protection Systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R2.		The Regional Reliability Organization shall provide the information in its UVLS database to the Planning Authority, the Transmission Planner, or other Regional Reliability Organizations and to NERC within 30 calendar days of a request.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.		Each Transmission Owner and Distribution Provider that owns a UVLS program to mitigate the risk of voltage collapse or voltage instability in the BES shall annually update its UVLS data to support the Regional UVLS program database.  The following data shall be provided to the Regional Reliability Organization for each installed UVLS system:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.1.		Size and location of customer load, or percent of connected load, to be interrupted.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.2.		Corresponding voltage set points and overall scheme clearing times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.3.		Time delay from initiation to trip signal.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.4.		Breaker operating times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.5.		Any other schemes that are part of or impact the UVLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, UFLS and Special Protection Systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R2.		Each Transmission Owner and Distribution Provider that owns a UVLS program shall provide its UVLS program data to the Regional Reliability Organization within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-022-1		R1.		Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program to mitigate the risk of voltage collapse or voltage instability in the BES shall analyze and document all UVLS operations and Misoperations. The analysis shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.1.		A description of the event including initiating conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.2.		A review of the UVLS set points and tripping times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.3.		A simulation of the event, if deemed appropriate by the Regional Reliability Organization.  For most events, analysis of sequence of events may be sufficient and dynamic simulations may not be needed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.4.		A summary of the findings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.5.		For any Misoperation, a Corrective Action Plan to avoid future Misoperations of a similar nature.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R2.		Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program shall provide documentation of its analysis of UVLS program performance to its Regional Reliability Organization within 90 calendar days of a request.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-023-1		R1.		Each Transmission Owner, Generator Owner, and Distribution Provider shall use any one of the following criteria (R1.1 through R1.13) for any specific circuit terminal to prevent its phase protective relay settings from limiting transmission system loadability while maintaining reliable protection of the Bulk Electric System for all fault conditions. Each Transmission Owner, Generator Owner, and Distribution Provider shall evaluate relay loadability at 0.85 per unit voltage and a power factor angle of 30 degrees: [Mitigation Time Horizon: Long Term Planning].		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.1.		Set transmission line relays so they do not operate at or below 150% of the highest seasonal Facility Rating of a circuit, for the available defined loading duration nearest 4 hours (expressed in amperes).		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.10.		Set transformer fault protection relays and transmission line relays on transmission lines terminated only with a transformer so that they do not operate at or below the greater of:
- 150% of the applicable maximum transformer nameplate rating (expressed in amperes), including the forced cooled ratings corresponding to all installed supplemental cooling equipment.
- 115% of the highest operator established emergency transformer rating.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.11.		For transformer overload protection relays that do not comply with R1.10 set the relays according to one of the following:
- Set the relays to allow the transformer to be operated at an overload level of at least 150% of the maximum applicable nameplate rating, or 115% of the highest operator established emergency transformer rating, whichever is greater. The protection must allow this overload for at least 15 minutes to allow for the operator to take controlled action to relieve the overload.
- Install supervision for the relays using either a top oil or simulated winding hot spot temperature element. The setting should be no less than 100° C for the top oil or 140° C for the winding hot spot temperature3.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.		When the desired transmission line capability is limited by the requirement to adequately protect the transmission line, set the transmission line distance relays to a maximum of 125% of the apparent impedance (at the impedance angle of the transmission line) subject to the following constraints:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.1.		Set the maximum torque angle (MTA) to 90 degrees or the highest supported by the manufacturer.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.2.		Evaluate the relay loadability in amperes at the relay trip point at 0.85 per unit voltage and a power factor angle of 30 degrees.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.3.		Include a relay setting component of 87% of the current calculated in
R1.12.2 in the Facility Rating determination for the circuit.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.13.		Where other situations present practical limitations on circuit capability, set the phase protection relays so they do not operate at or below 115% of such limitations.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.2.		Set transmission line relays so they do not operate at or below 115% of the highest seasonal 15-minute Facility Rating2 of a circuit (expressed in amperes).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		PRC-023-1		R1.3.		Set transmission line relays so they do not operate at or below 115% of the maximum theoretical power transfer capability (using a 90-degree angle between the sendingend and receiving-end voltages and either reactance or complex impedance) of the circuit (expressed in amperes) using one of the following to perform the power transfer calculation:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.3.1.		An infinite source (zero source impedance) with a 1.00 per unit bus voltage at each end of the line.		Risk-based (reduces risk).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.3.2.		An impedance at each end of the line, which reflects the actual system
source impedance with a 1.05 per unit voltage behind each source impedance.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.4.		Set transmission line relays on series compensated transmission lines so they do not operate at or below the maximum power transfer capability of the line, determined as the greater of:
- 115% of the highest emergency rating of the series capacitor.
- 115% of the maximum power transfer capability of the circuit (expressed in amperes), calculated in accordance with R1.3, using the full line inductive reactance.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.5.		Set transmission line relays on weak source systems so they do not operate at or below 170% of the maximum end-of-line three-phase fault magnitude (expressed in amperes).		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.6.		Set transmission line relays applied on transmission lines connected to generation stations remote to load so they do not operate at or below 230% of the aggregated generation nameplate capability.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.7.		Set transmission line relays applied at the load center terminal, remote from generation stations, so they do not operate at or below 115% of the maximum current flow from the load to the generation source under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.8.		Set transmission line relays applied on the bulk system-end of transmission lines that serve load remote to the system so they do not operate at or below 115% of the maximum current flow from the system to the load under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.9.		Set transmission line relays applied on the load-end of transmission lines that serve load remote to the bulk system so they do not operate at or below 115% of the maximum current flow from the load to the system under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R2.		The Transmission Owner, Generator Owner, or Distribution Provider that uses a circuit capability with the practical limitations described in R1.6, R1.7, R1.8, R1.9, R1.12, or R1.13 shall use the calculated circuit capability as the Facility Rating of the circuit and shall obtain the agreement of the Planning Coordinator, Transmission Operator, and Reliability Coordinator with the calculated circuit capability.  [Time Horizon: Long Term Planning]		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.		The Planning Coordinator shall determine which of the facilities (transmission lines operated at 100 kV to 200 kV and transformers with low voltage terminals connected at 100 kV to 200 kV) in its Planning Coordinator Area are critical to the reliability of the Bulk Electric System to identify the facilities from 100 kV to 200 kV that must meet Requirement 1 to prevent potential cascade tripping that may occur when protective relay settings limit transmission loadability. [Time Horizon: Long Term Planning]		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.1.		The Planning Coordinator shall have a process to determine the facilities that are critical to the reliability of the Bulk Electric System.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.1.1.		This process shall consider input from adjoining Planning Coordinators and affected Reliability Coordinators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.2.		The Planning Coordinator shall maintain a current list of facilities determined according to the process described in R3.1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.3.		The Planning Coordinator shall provide a list of facilities to its Reliability Coordinators, Transmission Owners, Generator Owners, and Distribution Providers within 30 days of the establishment of the initial list and within 30 days of any changes to the list.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES		YES				YES		Operations planning: day-ahead up to one year

		TOP-001-1		R1.		Each Transmission Operator shall have the responsibility and clear decision-making authority to take whatever actions are needed to ensure the reliability of its area and shall exercise specific authority to alleviate operating emergencies.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R2.		Each Transmission Operator shall take immediate actions to alleviate operating emergencies including curtailing transmission service or energy schedules, operating equipment (e.g., generators, phase shifters, breakers), shedding firm load, etc.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R3.		Each Transmission Operator, Balancing Authority, and Generator Operator shall comply with reliability directives issued by the Reliability Coordinator, and each Balancing Authority and Generator Operator shall comply with reliability directives issued by the Transmission Operator, unless such actions would violate safety, equipment, regulatory or statutory requirements.  Under these circumstances the Transmission Operator, Balancing Authority, or Generator Operator shall immediately inform the Reliability Coordinator or Transmission Operator of the inability to perform the directive so that the Reliability Coordinator or Transmission Operator can implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R4.		Each Distribution Provider and Load-Serving Entity shall comply with all reliability directives issued by the Transmission Operator, including shedding firm load, unless such actions would violate safety, equipment, regulatory or statutory requirements.  Under these circumstances, the Distribution Provider or Load-Serving Entity shall immediately inform the Transmission Operator of the inability to perform the directive so that the Transmission Operator can implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R5.		Each Transmission Operator shall inform its Reliability Coordinator and any other potentially affected Transmission Operators of real-time or anticipated emergency conditions, and take actions to avoid, when possible, or mitigate the emergency.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R6.		Each Transmission Operator, Balancing Authority, and Generator Operator shall render all available emergency assistance to others as requested, provided that the requesting entity has implemented its comparable emergency procedures, unless such actions would violate safety, equipment, or regulatory or statutory requirements.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.		Each Transmission Operator and Generator Operator shall not remove Bulk Electric System facilities from service if removing those facilities would burden neighboring systems unless:		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.1.		For a generator outage, the Generator Operator shall notify and coordinate with the Transmission Operator.  The Transmission Operator shall notify the Reliability Coordinator and other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.2.		For a transmission facility, the Transmission Operator shall notify and coordinate with its Reliability Coordinator.  The Transmission Operator shall notify other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.3.		When time does not permit such notifications and coordination, or when immediate action is required to prevent a hazard to the public, lengthy customer service interruption, or damage to facilities, the Generator Operator shall notify the Transmission Operator, and the Transmission Operator shall notify its Reliability Coordinator and adjacent Transmission Operators, at the earliest possible time.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R8.		During a system emergency, the Balancing Authority and Transmission Operator shall immediately take action to restore the Real and Reactive Power Balance.  If the Balancing Authority or Transmission Operator is unable to restore Real and Reactive Power Balance it shall request emergency assistance from the Reliability Coordinator.  If corrective action or emergency assistance is not adequate to mitigate the Real and Reactive Power Balance, then the Reliability Coordinator, Balancing Authority, and Transmission Operator shall implement firm load shedding.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R1.		Each Balancing Authority and Transmission Operator shall maintain a set of current plans that are designed to evaluate options and set procedures for reliable operation through a reasonable future time period.  In addition, each Balancing Authority and Transmission Operator shall be responsible for using available personnel and system equipment to implement these plans to ensure that interconnected system reliability will be maintained.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R10.		Each Balancing Authority and Transmission Operator shall plan to meet all System Operating Limits (SOLs) and Interconnection Reliability Operating Limits (IROLs).		Risk-based (reduces risk).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R11.		The Transmission Operator shall perform seasonal, next-day, and current-day Bulk Electric System studies to determine SOLs.  Neighboring Transmission Operators shall utilize identical SOLs for common facilities.  The Transmission Operator shall update these Bulk Electric System studies as necessary to reflect current system conditions; and shall make the results of Bulk Electric System studies available to the Transmission Operators, Balancing Authorities (subject to confidentiality requirements), and to its Reliability Coordinator.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R12.		The Transmission Service Provider shall include known SOLs or IROLs within its area and neighboring areas in the determination of transfer capabilities, in accordance with filed tariffs and/or regional Total Transfer Capability and Available Transfer Capability calculation processes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R13.		At the request of the Balancing Authority or Transmission Operator, a Generator Operator shall perform generating real and reactive capability verification that shall include, among other variables, weather, ambient air and water conditions, and fuel quality and quantity, and provide the results to the Balancing Authority or Transmission Operator operating personnel as requested.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES						YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.		Generator Operators shall, without any intentional time delay, notify their Balancing Authority and Transmission Operator of changes in capabilities and characteristics including but not limited to:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.1.		Changes in real output capabilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.2.		Automatic Voltage Regulator status and mode setting. (Retired August 1, 2007)		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R15.		Generation Operators shall, at the request of the Balancing Authority or Transmission Operator, provide a forecast of expected real power output to assist in operations planning (e.g., a seven-day forecast of real output).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R16.		Subject to standards of conduct and confidentiality agreements, Transmission Operators shall, without any intentional time delay, notify their Reliability Coordinator and Balancing Authority of changes in capabilities and characteristics including but not limited to:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R16.1.		Changes in transmission facility status.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R16.2.		Changes in transmission facility rating.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R17.		Balancing Authorities and Transmission Operators shall, without any intentional time delay, communicate the information described in the requirements R1 to R16 above to their Reliability Coordinator.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R18.		Neighboring Balancing Authorities, Transmission Operators, Generator Operators, Transmission Service Providers, and Load-Serving Entities shall use uniform line identifiers when referring to transmission facilities of an interconnected network.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		yES		YES		Real-time or current hour

		TOP-002-2		R19.		Each Balancing Authority and Transmission Operator shall maintain accurate computer models utilized for analyzing and planning system operations.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R2.		Each Balancing Authority and Transmission Operator shall ensure its operating personnel participate in the system planning and design study processes, so that these studies contain the operating personnel perspective and system operating personnel are aware of the planning purpose.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES								Operations planning: day-ahead up to one year

		TOP-002-2		R3.		Each Load-Serving Entity and Generator Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal operations with its Host Balancing Authority and Transmission Service Provider.  Each Balancing Authority and Transmission Service Provider shall coordinate its current-day, next-day, and seasonal operations with its Transmission Operator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		yES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R4.		Each Balancing Authority and Transmission Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal planning and operations with neighboring Balancing Authorities and Transmission Operators and with its Reliability Coordinator, so that normal Interconnection operation will proceed in an orderly and consistent manner.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R5.		Each Balancing Authority and Transmission Operator shall plan to meet scheduled system configuration, generation dispatch, interchange scheduling and demand patterns.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R6.		Each Balancing Authority and Transmission Operator shall plan to meet unscheduled changes in system configuration and generation dispatch (at a minimum N-1 Contingency planning) in accordance with NERC, Regional Reliability Organization, subregional, and local reliability requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R7.		Each Balancing Authority shall plan to meet capacity and energy reserve requirements, including the deliverability/capability for any single Contingency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Same-day

		TOP-002-2		R8.		Each Balancing Authority shall plan to meet voltage and/or reactive limits, including the deliverability/capability for any single contingency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Same-day

		TOP-002-2		R9.		Each Balancing Authority shall plan to meet Interchange Schedules and Ramps.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-003-1		R1.		Generator Operators and Transmission Operators shall provide planned outage information.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.1.		Each Generator Operator shall provide outage information daily to its Transmission Operator for scheduled generator outages planned for the next day (any foreseen outage of a generator greater than 50 MW).  The Transmission Operator shall establish the outage reporting requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.2.		Each Transmission Operator shall provide outage information daily to affected Balancing Authorities and Transmission Operators for scheduled generator and bulk transmission outages planned for the next day (any foreseen outage of a transmission line or transformer greater than 100 kV or generator greater than 50 MW) that may collectively cause or contribute to an SOL or IROL violation or a regional operating area limitation.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.3.		Such information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R2.		Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of system voltage regulating equipment, such as automatic voltage regulators on generators, supplementary excitation control, synchronous condensers, shunt and series capacitors, reactors, etc., among affected Balancing Authorities and Transmission Operators as required.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R3.		Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of telemetering and control equipment and associated communication channels between the affected areas.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R4.		Each Reliability Coordinator shall resolve any scheduling of potential reliability conflicts.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-004-2		R1.		Each Transmission Operator shall operate within the Interconnection Reliability Operating Limits (IROLs) and System Operating Limits (SOLs).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R2.		Each Transmission Operator shall operate so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single contingency.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R3.		Each Transmission Operator shall operate to protect against instability, uncontrolled separation, or cascading outages resulting from multiple outages, as specified by its Reliability Coordinator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R4.		If a Transmission Operator enters an unknown operating state (i.e. any state for which valid operating limits have not been determined), it will be considered to be in an emergency and shall restore operations to respect proven reliable power system limits within 30 minutes.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R5.		Each Transmission Operator shall make every effort to remain connected to the Interconnection.  If the Transmission Operator determines that by remaining interconnected, it is in imminent danger of violating an IROL or SOL, the Transmission Operator may take such actions, as it deems necessary, to protect its area.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R6.		Transmission Operators, individually and jointly with other Transmission Operators, shall develop, maintain, and implement formal policies and procedures to provide for transmission reliability.  These policies and procedures shall address the execution and coordination of activities that impact inter- and intra-Regional reliability, including:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.1.		Monitoring and controlling voltage levels and real and reactive power flows.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.2.		Switching transmission elements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.3.		Planned outages of transmission elements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.4.		Responding to IROL and SOL violations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-005-2		R1.		As a condition of receiving data from the Interregional Security Network (ISN), each ISN data recipient shall sign the NERC Confidentiality Agreement for “Electric System Reliability Data.”		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		TOP-005-2		R2.		Upon request, each Balancing Authority and Transmission Operator shall provide to other Balancing Authorities and Transmission Operators with immediate responsibility for operational reliability, the operating data that are necessary to allow these Balancing Authorities and Transmission Operators to perform operational reliability assessments and to coordinate reliable operations.  Balancing Authorities and Transmission Operators shall provide the types of data as listed in Attachment 1-TOP-005 “Electric System Reliability Data,” unless otherwise agreed to by the Balancing Authorities and Transmission Operators with immediate responsibility for operational reliability.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-005-2		R3.		Each Purchasing-Selling Entity shall provide information as requested by its Host Balancing Authorities and Transmission Operators to enable them to conduct operational reliability assessments and coordinate reliable operations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.		Each Transmission Operator and Balancing Authority shall know the status of all generation and transmission resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.1.		Each Generator Operator shall inform its Host Balancing Authority and the Transmission Operator of all generation resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.2.		Each Transmission Operator and Balancing Authority shall inform the Reliability Coordinator and other affected Balancing Authorities and Transmission Operators of all generation and transmission resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall monitor applicable transmission line status, real and reactive power flows, voltage, load-tap-changer settings, and status of rotating and static reactive resources.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R3.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall provide appropriate technical information concerning protective relays to their operating personnel.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-006-2		R4.		Each Transmission Operator, and Balancing Authority shall have information, including weather forecasts and past load patterns, available to predict the system’s near-term load pattern.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-006-2		R5.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall use monitoring equipment to bring to the attention of operating personnel important deviations in operating conditions and to indicate, if appropriate, the need for corrective action.		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R6.		Each Balancing Authority and Transmission Operator shall use sufficient metering of suitable range, accuracy and sampling rate (if applicable) to ensure accurate and timely monitoring of operating conditions under both normal and emergency situations.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R7.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall monitor system frequency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R1.		A Transmission Operator shall inform its Reliability Coordinator when an IROL or SOL has been exceeded and the actions being taken to return the system to within limits.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		TOP-007-0		R2.		Following a Contingency or other event that results in an IROL violation, the Transmission Operator shall return its transmission system to within IROL as soon as possible, but not longer than 30 minutes.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R3.		A Transmission Operator shall take all appropriate actions up to and including shedding firm load, or directing the shedding of firm load, in order to comply with Requirement R 2.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R4.		The Reliability Coordinator shall evaluate actions taken to address an IROL or SOL violation and, if the actions taken are not appropriate or sufficient, direct actions required to return the system to within limits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R1.		The Transmission Operator experiencing or contributing to an IROL or SOL violation shall take immediate steps to relieve the condition, which may include shedding firm load.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R2.		Each Transmission Operator shall operate to prevent the likelihood that a disturbance, action, or inaction will result in an IROL or SOL violation in its area or another area of the Interconnection.  In instances where there is a difference in derived operating limits, the Transmission Operator shall always operate the Bulk Electric System to the most limiting parameter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R3.		The Transmission Operator shall disconnect the affected facility if the overload on a transmission facility or abnormal voltage or reactive condition persists and equipment is endangered.  In doing so, the Transmission Operator shall notify its Reliability Coordinator and all neighboring Transmission Operators impacted by the disconnection prior to switching, if time permits, otherwise, immediately thereafter.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R4.		The Transmission Operator shall have sufficient information and analysis tools to determine the cause(s) of SOL violations.  This analysis shall be conducted in all operating timeframes.  The Transmission Operator shall use the results of these analyses to immediately mitigate the SOL violation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		VAR-001-1		R1.		Each Transmission Operator, individually and jointly with other Transmission Operators, shall ensure that formal policies and procedures are developed, maintained, and implemented for monitoring and controlling voltage levels and Mvar flows within their individual areas and with the areas of neighboring Transmission Operators.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES						Real-time or current hour

		VAR-001-1		R10.		Each Transmission Operator shall correct IROL or SOL violations resulting from reactive resource deficiencies (IROL violations must be corrected within 30 minutes) and complete the required IROL or SOL violation reporting.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes						yes		yes		yes		Real-time or current hour

		VAR-001-1		R11.		After consultation with the Generator Owner regarding necessary step-up transformer tap changes, the Transmission Operator shall provide documentation to the Generator Owner specifying the required tap changes, a timeframe for making the changes, and technical justification for these changes.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		VAR-001-1		R12.		The Transmission Operator shall direct corrective action, including load reduction, necessary to prevent voltage collapse when reactive resources are insufficient.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R2.		Each Transmission Operator shall acquire sufficient reactive resources within its area to protect the voltage levels under normal and Contingency conditions.  This includes the Transmission Operator’s share of the reactive requirements of interconnecting transmission circuits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes				yes		yes		Real-time or current hour

		VAR-001-1		R3.		The Transmission Operator shall specify criteria that exempts generators from compliance with the requirements defined in Requirement 4, and Requirement 6.1.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		VAR-001-1		R3.1.		Each Transmission Operator shall maintain a list of generators in its area that are exempt from following a voltage or Reactive Power schedule.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Real-time or current hour

		VAR-001-1		R3.2.		For each generator that is on this exemption list, the Transmission Operator shall notify the associated Generator Owner.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-001-1		R4.		Each Transmission Operator shall specify a voltage or Rreactive Power schedule at the interconnection between the generator facility and the Transmission Owner's facilities to be maintained by each generator. The Transmission Operator shall provide the voltage or Reactive Power schedule to the associated Generator Operator and direct the Generator Operator to comply with the schedule in automatic voltage control mode (AVR in service and controlling voltage).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Real-time or current hour

		VAR-001-1		R5.		Each Purchasing-Selling Entity shall arrange for (self-provide or purchase) reactive resources to satisfy its reactive requirements identified by its Transmission Service Provider.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												yes		Real-time or current hour

		VAR-001-1		R6.		The Transmission Operator shall know the status of all transmission Reactive Power resources, including the status of voltage regulators and power system stabilizers.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes												Real-time or current hour

		VAR-001-1		R6.1.		When notified of the loss of an automatic voltage regulator control, the Transmission Operator shall direct the Generator Operator to maintain or change either its voltage schedule or its Reactive Power schedule.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes				yes								Real-time or current hour

		VAR-001-1		R7.		The Transmission Operator shall be able to operate or direct the operation of devices necessary to regulate transmission voltage and reactive flow.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R8.		Each Transmission Operator shall operate or direct the operation of capacitive and inductive reactive resources within its area – including reactive generation scheduling; transmission line and reactive resource switching; and, if necessary, load shedding – to maintain system and Interconnection voltages within established limits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R9.		Each Transmission Operator shall maintain reactive resources to support its voltage under first Contingency conditions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R9.1.		Each Transmission Operator shall disperse and locate the reactive resources so that the resources can be applied effectively and quickly when Contingencies occur.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R1.		The Generator Operator shall operate each generator connected to the interconnected transmission system in the automatic voltage control mode (automatic voltage regulator in service and controlling voltage) unless the Generator Operator has notified the Transmission Operator.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.		Unless exempted by the Transmission Operator, each Generator Operator shall maintain the generator voltage or Reactive Power output (within applicable Facility Ratings.  [1] as directed by the Transmission Operator		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.1.		When a generator’s automatic voltage regulator is out of service, the Generator Operator shall use an alternative method to control the generator voltage and reactive output to meet the voltage or Reactive Power schedule directed by the Transmission Operator.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.2.		When directed to modify voltage, the Generator Operator shall comply or provide an explanation of why the schedule cannot be met.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes						yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R3.		Each Generator Operator shall notify its associated Transmission Operator as soon as practical, but within 30 minutes of any of the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R3.1.		A status or capability change on any generator Reactive Power resource, including the status of each automatic voltage regulator and power system stabilizer and the expected duration of the change in status or capability.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R3.2.		A status or capability change on any other Reactive Power resources under the Generator Operator’s control and the expected duration of the change in status or capability.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R4.		The Generator Owner shall provide the following to its associated Transmission Operator and Transmission Planner within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.		For generator step-up transformers and auxiliary transformers with primary voltages equal to or greater than the generator terminal voltage:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.1.		Tap settings.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.2.		Available fixed tap ranges.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.3.		Impedance data.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.4.		The +/- voltage range with step-change in % for load-tap changing transformers.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R5.		After consultation with the Transmission Operator regarding necessary step-up transformer tap changes, the Generator Owner shall ensure that transformer tap positions are changed according to the specifications provided by the Transmission Operator, unless such action would violate safety, an equipment rating, a regulatory requirement, or a statutory requirement.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		VAR-002-1.1a		R5.1.		If the Generator Operator can’t comply with the Transmission Operator’s specifications, the Generator Operator shall notify the Transmission Operator and shall provide the technical justification.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year





AllQ1GroupQ2

		Is unclear.
Capability-based-

		Is unclear.
Performance-based-

		A bulk power system result that is clear in the requirement.
Administrative-

		A bulk power system result that is clear in the requirement.
Risk-based-

		A risk mitigation objective that is clear in the requirement.
Administrative-

		Is unclear.
Risk-based-

		A bulk power system result that is clear in the requirement. 
Capability-based-

		No reliability benefit is provided by the requirement.
Prescriptive -

		A risk mitigation objective that is clear in the requirement.
Performance-based-

		Is implied but not explicitly stated in the requirement.
Performance-based-

		A risk mitigation objective that is clear in the requirement.
Capability-based-

		A bulk power system result that is clear in the requirement.
Prescriptive -

		A risk mitigation objective that is clear in the requirement.
Prescriptive -

		A bulk power system result that is clear in the requirement.
Performance-based-

		Is implied but not explicitly stated in the requirement.
Capability-based-

		No reliability benefit is provided by the requirement.
Administrative-

		Is implied but not explicitly stated in the requirement.
Administrative-

		A risk mitigation objective that is clear in the requirement.
Risk-based-

		Is unclear.
Administrative-

		Is implied but not explicitly stated in the requirement.
Risk-based-

		Is unclear.
Prescriptive -

		Is implied but not explicitly stated in the requirement.
Prescriptive -



CountOfKeyID

Q1 Group Q2

1

1

2

2

9

9

12

16

19

20

24

28

35

39

45

71

73

99

119

209

226

301



AdministrativeQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Administrative (requires only documenting/reporting something).

2

9

73

119

71



Capability-basedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Capability-based (provides necessary capability).

12

24

45

1



Performance-basedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Performance-based (specifies a bulk power system outcome).

39

19

20

1



PrescriptiveQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Prescriptive (explains how to).

28

35

301

226

16



RiskBasedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Risk-based (reduces risk).

2

99

209

9



AllQ1Q3

		Can only be measured through documentation.
Performance-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Performance-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Performance-based-

		Evaluating bulk power system performance, data, or results.
Prescriptive -

		Can only be measured through documentation.
Capability-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Capability-based-

		Evaluating bulk power system performance, data, or results.
Risk-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Administrative-

		Evaluating capabilities, such as tools, systems, training records, etc.
Prescriptive -

		Evaluating performance of an activity or a record/log of that activity.
Capability-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Risk-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Administrative-

		Evaluating bulk power system performance, data, or results.
Performance-based-

		Evaluating performance of an activity or a record/log of that activity.
Performance-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Capability-based-

		Evaluating performance of an activity or a record/log of that activity.
Administrative-

		Can only be measured through documentation.
Risk-based-

		Evaluating performance of an activity or a record/log of that activity.
Prescriptive -

		Evaluating a product or result (can be written such as a restoration procedure).
Risk-based-

		Evaluating performance of an activity or a record/log of that activity.
Risk-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Prescriptive -

		Can only be measured through documentation.
Administrative-

		Can only be measured through documentation.
Prescriptive -



CountOfKeyID

Q1 Group Q3

1

1

3

4

9

9

9

10

16

18

24

28

29

45

46

48

51

56

91

144

187

188

343



AdministrativeQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Administrative (requires only documenting/reporting something).

188

28

10

48



CapabilityQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Capability-based (provides necessary capability).

9

9

46

18



PerformanceQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Performance-based (specifies a bulk power system outcome).

1

1

29

3

45



PrescriptiveQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Prescriptive (explains how to).

343

187

4

16

56



RiskBasedQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Risk-based (reduces risk).

51

91

9

24

144



AllQ1Q10

		Planning: one year and longer
Capability-based-

		Same-day
Performance-based-

		Same-day
Administrative-

		Same-day
Capability-based-

		Operations planning: day-ahead up to one year
Performance-based-

		Same-day
Prescriptive -

		Planning: one year and longer
Performance-based-

		Operations planning: day-ahead up to one year
Capability-based-

		Real-time or current hour
Administrative-

		Real-time or current hour
Prescriptive -

		Real-time or current hour
Capability-based-

		Real-time or current hour
Performance-based-

		Same-day
Risk-based-

		Operations planning: day-ahead up to one year
Risk-based-

		Real-time or current hour
Risk-based-

		Planning: one year and longer
Administrative-

		Planning: one year and longer
Risk-based-

		Operations planning: day-ahead up to one year
Administrative-

		Operations planning: day-ahead up to one year
Prescriptive -

		Planning: one year and longer
Prescriptive -



CountOfKeyID

Q1 Group Q10

2

2

8

8

9

12

14

21

41

49

50

54

59

67

83

103

110

120

203

341



AdministrativeQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Administrative (requires only documenting/reporting something).

120

103

41

8



CapabilityQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Capability-based (provides necessary capability).

21

2

50

8



PerformanceQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Performance-based (specifies a bulk power system outcome).

9

14

54

2



PrescriptiveQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Prescriptive (explains how to).

203

341

49

12



RiskQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Risk-based (reduces risk).

67

110

83

59



AllQ2Q1

		Administrative
A bulk power system result that is clear in the requirement.

		Performance-based
A bulk power system result that is clear in the requirement.

		Prescriptive
A bulk power system result that is clear in the requirement.

		Risk-based
A bulk power system result that is clear in the requirement.

		Capability-based
A bulk power system result that is clear in the requirement.

		Administrative
A risk mitigation objective that is clear in the requirement.

		Capability-based
A risk mitigation objective that is clear in the requirement.

		Performance-based
A risk mitigation objective that is clear in the requirement.

		Prescriptive
A risk mitigation objective that is clear in the requirement.

		Risk-based
A risk mitigation objective that is clear in the requirement.

		Administrative
Is implied but not explicitly stated in the requirement.

		Capability-based
Is implied but not explicitly stated in the requirement.

		Performance-based
Is implied but not explicitly stated in the requirement.

		Prescriptive
Is implied but not explicitly stated in the requirement.

		Risk-based
Is implied but not explicitly stated in the requirement.

		Administrative
Is unclear.

		Capability-based
Is unclear.

		Performance-based
Is unclear.

		Prescriptive
Is unclear.

		Risk-based
Is unclear.

		Administrative
No reliability benefit is provided by the requirement.

		Prescriptive
No reliability benefit is provided by the requirement.



CountOfKeyID

Q2 Grouping Q1

2

39

28

2

12

9

24

19

35

99

73

45

20

301

209

119

1

1

226

9

71

16



Bulk Power System 

		Administrative

		Performance-based

		Prescriptive

		Risk-based

		Capability-based



A bulk power system result that is clear in the requirement.

2

39

28

2

12



Risk Mitigation 

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



A risk mitigation objective that is clear in the requirement.

9

24

19

35

99



ImpliedNotExplicitly

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Is implied but not explicitly stated in the requirement.

73

45

20

301

209



Unclear

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Is unclear.

119

1

1

226

9



NoReliabilityBenefit

		Administrative

		Prescriptive



No reliability benefit is provided by the requirement.

71

16



MeasureDocumentation

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Can only be measured through documentation.

188

9

1

343

51



EvaluatingaProductorResult

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating a product or result (can be written such as a restoration procedure).

28

9

1

187

91



EvalCapabilities

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating capabilities, such as tools, systems, training records, etc.

10

46

3

16

24



EvaluatingPerfomance

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating performance of an activity or a record/log of that activity.

48

18

45

56

144



OperationPlanning

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Operations planning: day-ahead up to one year

120

21

9

203

67



Planning1yrandLonger

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Planning: one year and longer

103

2

14

341

110



RealTimeorCurrentHr

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Real-time or current hour

41

50

54

49

83



Same -Day

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Same-Day

8

8

2

12

59



Q123an10TableSource

		Q1 Q2

		This requirement is:		Requirement Type		The reliability objective (or risk mitigation) achieved by this		Count

		Administrative (requires only documenting/reporting something).		Administrative-		A bulk power system result that is clear in the requirement.		2

		Administrative (requires only documenting/reporting something).		Administrative-		A risk mitigation objective that is clear in the requirement.		9

		Administrative (requires only documenting/reporting something).		Administrative-		Is implied but not explicitly stated in the requirement.		73

		Administrative (requires only documenting/reporting something).		Administrative-		Is unclear.		119

		Administrative (requires only documenting/reporting something).		Administrative-		No reliability benefit is provided by the requirement.		71

		Capability-based (provides necessary capability).		Capability-based-		A bulk power system result that is clear in the requirement.		12

		Capability-based (provides necessary capability).		Capability-based-		A risk mitigation objective that is clear in the requirement.		24

		Capability-based (provides necessary capability).		Capability-based-		Is implied but not explicitly stated in the requirement.		45

		Capability-based (provides necessary capability).		Capability-based-		Is unclear.		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		A bulk power system result that is clear in the requirement.		39

		Performance-based (specifies a bulk power system outcome).		Performance-based-		A risk mitigation objective that is clear in the requirement.		19

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Is implied but not explicitly stated in the requirement.		20

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Is unclear.		1

		Prescriptive (explains how to).		Prescriptive -		A bulk power system result that is clear in the requirement.		28

		Prescriptive (explains how to).		Prescriptive -		A risk mitigation objective that is clear in the requirement.		35

		Prescriptive (explains how to).		Prescriptive -		Is implied but not explicitly stated in the requirement.		301

		Prescriptive (explains how to).		Prescriptive -		Is unclear.		226

		Prescriptive (explains how to).		Prescriptive -		No reliability benefit is provided by the requirement.		16

		Risk-based (reduces risk).		Risk-based-		A bulk power system result that is clear in the requirement.		2

		Risk-based (reduces risk).		Risk-based-		A risk mitigation objective that is clear in the requirement.		99

		Risk-based (reduces risk).		Risk-based-		Is implied but not explicitly stated in the requirement.		209

		Risk-based (reduces risk).		Risk-based-		Is unclear.		9

				Chart 2

				Requirement Type		The reliability objective (or risk mitigation) achieved by this		CountOfKeyID

				Capability-based-		Is unclear.		1

				Performance-based-		Is unclear.		1

				Administrative-		A bulk power system result that is clear in the requirement.		2

				Risk-based-		A bulk power system result that is clear in the requirement.		2

				Administrative-		A risk mitigation objective that is clear in the requirement.		9

				Risk-based-		Is unclear.		9

				Capability-based-		A bulk power system result that is clear in the requirement.		12

				Prescriptive -		No reliability benefit is provided by the requirement.		16

				Performance-based-		A risk mitigation objective that is clear in the requirement.		19

				Performance-based-		Is implied but not explicitly stated in the requirement.		20

				Capability-based-		A risk mitigation objective that is clear in the requirement.		24

				Prescriptive -		A bulk power system result that is clear in the requirement.		28

				Prescriptive -		A risk mitigation objective that is clear in the requirement.		35

				Performance-based-		A bulk power system result that is clear in the requirement.		39

				Capability-based-		Is implied but not explicitly stated in the requirement.		45

				Administrative-		No reliability benefit is provided by the requirement.		71

				Administrative-		Is implied but not explicitly stated in the requirement.		73

				Risk-based-		A risk mitigation objective that is clear in the requirement.		99

				Administrative-		Is unclear.		119

				Risk-based-		Is implied but not explicitly stated in the requirement.		209

				Prescriptive -		Is unclear.		226

				Prescriptive -		Is implied but not explicitly stated in the requirement.		301

		Q1-Q3

		This requirement is:		Requirement Type		The most effective way to measure this requirement is:		CountOfKeyID

		Administrative (requires only documenting/reporting something).		Administrative-		Can only be measured through documentation.		188

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating a product or result (can be written such as a restoration procedure).		28

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating capabilities, such as tools, systems, training records, etc.		10

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating performance of an activity or a record/log of that activity.		48

		Capability-based (provides necessary capability).		Capability-based-		Can only be measured through documentation.		9

		Capability-based (provides necessary capability).		Capability-based-		Evaluating a product or result (can be written such as a restoration procedure).		9

		Capability-based (provides necessary capability).		Capability-based-		Evaluating capabilities, such as tools, systems, training records, etc.		46

		Capability-based (provides necessary capability).		Capability-based-		Evaluating performance of an activity or a record/log of that activity.		18

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Can only be measured through documentation.		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating a product or result (can be written such as a restoration procedure).		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating bulk power system performance, data, or results.		29

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating capabilities, such as tools, systems, training records, etc.		3

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating performance of an activity or a record/log of that activity.		45

		Prescriptive (explains how to).		Prescriptive -		Can only be measured through documentation.		343

		Prescriptive (explains how to).		Prescriptive -		Evaluating a product or result (can be written such as a restoration procedure).		187

		Prescriptive (explains how to).		Prescriptive -		Evaluating bulk power system performance, data, or results.		4

		Prescriptive (explains how to).		Prescriptive -		Evaluating capabilities, such as tools, systems, training records, etc.		16

		Prescriptive (explains how to).		Prescriptive -		Evaluating performance of an activity or a record/log of that activity.		56

		Risk-based (reduces risk).		Risk-based-		Can only be measured through documentation.		51

		Risk-based (reduces risk).		Risk-based-		Evaluating a product or result (can be written such as a restoration procedure).		91

		Risk-based (reduces risk).		Risk-based-		Evaluating bulk power system performance, data, or results.		9

		Risk-based (reduces risk).		Risk-based-		Evaluating capabilities, such as tools, systems, training records, etc.		24

		Risk-based (reduces risk).		Risk-based-		Evaluating performance of an activity or a record/log of that activity.		144

				Requirement Type		The most effective way to measure this requirement is:		CountOfKeyID

				Performance-based-		Can only be measured through documentation.		1

				Performance-based-		Evaluating a product or result (can be written such as a restoration procedure).		1

				Performance-based-		Evaluating capabilities, such as tools, systems, training records, etc.		3

				Prescriptive -		Evaluating bulk power system performance, data, or results.		4

				Capability-based-		Can only be measured through documentation.		9

				Capability-based-		Evaluating a product or result (can be written such as a restoration procedure).		9

				Risk-based-		Evaluating bulk power system performance, data, or results.		9

				Administrative-		Evaluating capabilities, such as tools, systems, training records, etc.		10

				Prescriptive -		Evaluating capabilities, such as tools, systems, training records, etc.		16

				Capability-based-		Evaluating performance of an activity or a record/log of that activity.		18

				Risk-based-		Evaluating capabilities, such as tools, systems, training records, etc.		24

				Administrative-		Evaluating a product or result (can be written such as a restoration procedure).		28

				Performance-based-		Evaluating bulk power system performance, data, or results.		29

				Performance-based-		Evaluating performance of an activity or a record/log of that activity.		45

				Capability-based-		Evaluating capabilities, such as tools, systems, training records, etc.		46

				Administrative-		Evaluating performance of an activity or a record/log of that activity.		48

				Risk-based-		Can only be measured through documentation.		51

				Prescriptive -		Evaluating performance of an activity or a record/log of that activity.		56

				Risk-based-		Evaluating a product or result (can be written such as a restoration procedure).		91

				Risk-based-		Evaluating performance of an activity or a record/log of that activity.		144

				Prescriptive -		Evaluating a product or result (can be written such as a restoration procedure).		187

				Administrative-		Can only be measured through documentation.		188

				Prescriptive -		Can only be measured through documentation.		343

		Q1-Q10

		This requirement is:		Requirement Type		The time horizon to which this requirement applies is:		CountOfKeyID

		Administrative (requires only documenting/reporting something).		Administrative-		Operations planning: day-ahead up to one year		120

		Administrative (requires only documenting/reporting something).		Administrative-		Planning: one year and longer		103

		Administrative (requires only documenting/reporting something).		Administrative-		Real-time or current hour		41

		Administrative (requires only documenting/reporting something).		Administrative-		Same-day		8

		Capability-based (provides necessary capability).		Capability-based-		Operations planning: day-ahead up to one year		21

		Capability-based (provides necessary capability).		Capability-based-		Planning: one year and longer		2

		Capability-based (provides necessary capability).		Capability-based-		Real-time or current hour		50

		Capability-based (provides necessary capability).		Capability-based-		Same-day		8

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Operations planning: day-ahead up to one year		9

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Planning: one year and longer		14

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Real-time or current hour		54

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Same-day		2

		Prescriptive (explains how to).		Prescriptive -		Operations planning: day-ahead up to one year		203

		Prescriptive (explains how to).		Prescriptive -		Planning: one year and longer		341

		Prescriptive (explains how to).		Prescriptive -		Real-time or current hour		49

		Prescriptive (explains how to).		Prescriptive -		Same-day		12

		Risk-based (reduces risk).		Risk-based-		Operations planning: day-ahead up to one year		67

		Risk-based (reduces risk).		Risk-based-		Planning: one year and longer		110

		Risk-based (reduces risk).		Risk-based-		Real-time or current hour		83

		Risk-based (reduces risk).		Risk-based-		Same-day		59

				Requirement Type		The time horizon to which this requirement applies is:		CountOfKeyID

				Capability-based-		Planning: one year and longer		2

				Performance-based-		Same-day		2

				Administrative-		Same-day		8

				Capability-based-		Same-day		8

				Performance-based-		Operations planning: day-ahead up to one year		9

				Prescriptive -		Same-day		12

				Performance-based-		Planning: one year and longer		14

				Capability-based-		Operations planning: day-ahead up to one year		21

				Administrative-		Real-time or current hour		41

				Prescriptive -		Real-time or current hour		49

				Capability-based-		Real-time or current hour		50

				Performance-based-		Real-time or current hour		54

				Risk-based-		Same-day		59

				Risk-based-		Operations planning: day-ahead up to one year		67

				Risk-based-		Real-time or current hour		83

				Administrative-		Planning: one year and longer		103

				Risk-based-		Planning: one year and longer		110

				Administrative-		Operations planning: day-ahead up to one year		120

				Prescriptive -		Operations planning: day-ahead up to one year		203

				Prescriptive -		Planning: one year and longer		341

		Q2		This requirement is:		CountOfKeyID

		A bulk power system result that is clear in the requirement.		Administrative		2

		A bulk power system result that is clear in the requirement.		Performance-based		39

		A bulk power system result that is clear in the requirement.		Prescriptive		28

		A bulk power system result that is clear in the requirement.		Risk-based		2

		A bulk power system result that is clear in the requirement.		Capability-based		12

		A risk mitigation objective that is clear in the requirement.		Administrative		9

		A risk mitigation objective that is clear in the requirement.		Capability-based		24

		A risk mitigation objective that is clear in the requirement.		Performance-based		19

		A risk mitigation objective that is clear in the requirement.		Prescriptive		35

		A risk mitigation objective that is clear in the requirement.		Risk-based		99

		Is implied but not explicitly stated in the requirement.		Administrative		73

		Is implied but not explicitly stated in the requirement.		Capability-based		45

		Is implied but not explicitly stated in the requirement.		Performance-based		20

		Is implied but not explicitly stated in the requirement.		Prescriptive		301

		Is implied but not explicitly stated in the requirement.		Risk-based		209

		Is unclear.		Administrative		119

		Is unclear.		Capability-based		1

		Is unclear.		Performance-based		1

		Is unclear.		Prescriptive		226

		Is unclear.		Risk-based		9

		No reliability benefit is provided by the requirement.		Administrative		71

		No reliability benefit is provided by the requirement.		Prescriptive		16

		The most effective way to measure this requirement is:		This requirement is:		CountOfKeyID

		Can only be measured through documentation.		Administrative		188

		Can only be measured through documentation.		Capability-based		9

		Can only be measured through documentation.		Performance-based		1

		Can only be measured through documentation.		Prescriptive		343

		Can only be measured through documentation.		Risk-based		51

		Evaluating a product or result (can be written such as a restoration procedure).		Administrative		28

		Evaluating a product or result (can be written such as a restoration procedure).		Capability-based		9

		Evaluating a product or result (can be written such as a restoration procedure).		Performance-based		1

		Evaluating a product or result (can be written such as a restoration procedure).		Prescriptive		187

		Evaluating a product or result (can be written such as a restoration procedure).		Risk-based		91

		Evaluating bulk power system performance, data, or results.		Performance-based		29

		Evaluating bulk power system performance, data, or results.		Prescriptive		4

		Evaluating bulk power system performance, data, or results.		Risk-based		9

		Evaluating capabilities, such as tools, systems, training records, etc.		Administrative		10

		Evaluating capabilities, such as tools, systems, training records, etc.		Capability-based		46

		Evaluating capabilities, such as tools, systems, training records, etc.		Performance-based		3

		Evaluating capabilities, such as tools, systems, training records, etc.		Prescriptive		16

		Evaluating capabilities, such as tools, systems, training records, etc.		Risk-based		24

		Evaluating performance of an activity or a record/log of that activity.		Administrative		48

		Evaluating performance of an activity or a record/log of that activity.		Capability-based		18

		Evaluating performance of an activity or a record/log of that activity.		Performance-based		45

		Evaluating performance of an activity or a record/log of that activity.		Prescriptive		56

		Evaluating performance of an activity or a record/log of that activity.		Risk-based		144

		The time horizon to which this requirement applies is:		This requirement is:		CountOfKeyID

		Operations planning: day-ahead up to one year		Administrative (requires only documenting/reporting something).		120

		Operations planning: day-ahead up to one year		Capability-based (provides necessary capability).		21

		Operations planning: day-ahead up to one year		Performance-based (specifies a bulk power system outcome).		9

		Operations planning: day-ahead up to one year		Prescriptive (explains how to).		203

		Operations planning: day-ahead up to one year		Risk-based (reduces risk).		67

		Planning: one year and longer		Administrative (requires only documenting/reporting something).		103

		Planning: one year and longer		Capability-based (provides necessary capability).		2

		Planning: one year and longer		Performance-based (specifies a bulk power system outcome).		14

		Planning: one year and longer		Prescriptive (explains how to).		341

		Planning: one year and longer		Risk-based (reduces risk).		110

		Real-time or current hour		Administrative (requires only documenting/reporting something).		41

		Real-time or current hour		Capability-based (provides necessary capability).		50

		Real-time or current hour		Performance-based (specifies a bulk power system outcome).		54

		Real-time or current hour		Prescriptive (explains how to).		49

		Real-time or current hour		Risk-based (reduces risk).		83

		Same-day		Administrative (requires only documenting/reporting something).		8

		Same-day		Capability-based (provides necessary capability).		8

		Same-day		Performance-based (specifies a bulk power system outcome).		2

		Same-day		Prescriptive (explains how to).		12

		Same-day		Risk-based (reduces risk).		59





BALCOMCIP

		Administrative (requires only documenting/reporting something).
BAL

		Risk-based (reduces risk).
BAL

		Performance-based (specifies a bulk power system outcome).
BAL

		Capability-based (provides necessary capability).
BAL

		Prescriptive (explains how to).
BAL

		Prescriptive (explains how to).
CIP

		Capability-based (provides necessary capability).
CIP

		Risk-based (reduces risk).
CIP

		Administrative (requires only documenting/reporting something).
CIP

		Risk-based (reduces risk).
COM

		Prescriptive (explains how to).
COM

		Capability-based (provides necessary capability).
COM



BAL, COM & CIP

5

8

12

18

34

3

13

55

98

2

3

4



BAL - This requirement is

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Performance-based (specifies a bulk power system outcome).

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).



BAL
This requirement is:

5

8

12

18

34



CIP-This requirement is

		Prescriptive (explains how to).
CIP

		Capability-based (provides necessary capability).
CIP

		Risk-based (reduces risk).
CIP

		Administrative (requires only documenting/reporting something).
CIP



CIP 
This requirement is:

3

13

55

98



COM This requirement is

		Risk-based (reduces risk).
COM

		Prescriptive (explains how to).
COM

		Capability-based (provides necessary capability).
COM



COM
 This requirement is:

2

3

4



IROThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



IRO
This requirement is

9

13

13

13

38



EOPThisRequirementIs

		Risk-based (reduces risk).

		Prescriptive (explains how to).

		Performance-based (specifies a bulk power system outcome).

		Capability-based (provides necessary capability).

		Administrative (requires only documenting/reporting something).



EOP
This requirement is

3

6

12

17

22



NUCThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).



NUC
This requirement is

5

9

21



MODThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).



MOD
This requirement is

31

54

278



TOPThisRequirementIs

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).

		Administrative (requires only documenting/reporting something).

		Performance-based (specifies a bulk power system outcome).

		Risk-based (reduces risk).



TOP
This requirement is

4

4

15

15

33



FACThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Prescriptive (explains how to).



FAC
This requirement is

24

51

85



VARThisRequirementIs

		Capability-based (provides necessary capability).

		Risk-based (reduces risk).

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).



VAR
This requirement is

2

2

13

14



PERThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).



PER
This requirement is

1

2

11

15



INTThisRequirementIs

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



INT
This requirement is

1

2

3

46



PRCThisRequirementIs

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Prescriptive (explains how to).



PRC
This requirement is

13

20

44

141



VARReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



VAR: The reliability objective (or risk mitigation) achieved by this requirement is:

5

5

10

8

3



TOPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



TOP: The reliability objective (or risk mitigation) achieved by this requirement is:

9

14

36

12



PRCReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



PRC: The reliability objective (or risk mitigation) achieved by this requirement is:

20

6

169

14

9



PERReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



PER: The reliability objective (or risk mitigation) achieved by this requirement is:

2

1

21

2

3



NUCReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



NUC: The reliability objective (or risk mitigation) achieved by this requirement is:

8

20

7



MODReliabilityObjective 

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



MOD: The reliability objective (or risk mitigation) achieved by this requirement is:

14

106

220

23



IROReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



IRO: The reliability objective (or risk mitigation) achieved by this requirement is:

2

44

30

7

3



INTReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.



INT: The reliability objective (or risk mitigation) achieved by this requirement is:

50

2



EOPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



EOP: The reliability objective (or risk mitigation) achieved by this requirement is:

19

5

24

9

3



FACReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.



FAC: The reliability objective (or risk mitigation) achieved by this requirement is:

50

2



COMReliabilityObjective 

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.



COM: The reliability objective (or risk mitigation) achieved by this requirement is:

6

3



CIPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



CIP: The reliability objective (or risk mitigation) achieved by this requirement is:

2

62

39

53

13



BALReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



BAL: The reliability objective (or risk mitigation) achieved by this requirement is:

5

4

59

9



VARMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



VAR: The most effective way to measure this requirement is:

10

8

1

12



TOPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



TOP: The most effective way to measure this requirement is:

16

10

17

11

17



PRCMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating performance of an activity or a record/log of that activity.



PRC: The most effective way to measure this requirement is:

142

41

35



PERMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating capabilities, such as tools, systems, training records, etc.



PER: The most effective way to measure this requirement is:

7

22



NUCMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



NUC: The most effective way to measure this requirement is:

1

35

2

2

4



MODMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.		Evaluating performance of an activity or a record/log of that activity.		Evaluating performance of an activity or a record/log of that activity.		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.						Evaluating performance of an activity or a record/log of that activity.



MOD: The most effective way to measure this requirement is:

1

202

202

1

2

112

112

2

2

49

49

2

4

4



IROMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



IRO: The most effective way to measure this requirement is:

13

10

3

18

42



INTMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating performance of an activity or a record/log of that activity.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



INT: The most effective way to measure this requirement is:

1

9

2

43

2

4



EOPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



EOP: The most effective way to measure this requirement is:

6

11

5

5

33



FACMostEffectiveMeasure

		Can only be measured through documentation.
FAC

		Evaluating a product or result (can be written such as a restoration procedure).
FAC

		Evaluating bulk power system performance, data, or results.
FAC

		Evaluating capabilities, such as tools, systems, training records, etc.
FAC

		Evaluating performance of an activity or a record/log of that activity.
FAC



FAC: The most effective way to measure this requirement is:

32

125

1

1

1



COMMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.		Evaluating performance of an activity or a record/log of that activity.



COM: The most effective way to measure this requirement is:

1

1

2

2

2

2

4

4



CIPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



CIP: The most effective way to measure this requirement is:

101

3

1

22

42



BALMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



BAL: The most effective way to measure this requirement is:

18

2

7

17

33



BALTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour

		Same-day



BAL: The time horizon to which this requirement applies is:

21

43

13



CIPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



CIP: The time horizon to which this requirement applies is:

31

58

79

1



COMTimeHorizon

		Real-time or current hour



COM: The time horizon to which this requirement applies is:

9



EOPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



EOP: The time horizon to which this requirement applies is:

28

5

22

5



FACTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer



FAC: The time horizon to which this requirement applies is:

12

148



INTTimeHorizon

		Same-day



INT: The time horizon to which this requirement applies is:

52



IROTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour

		Same-day



IRO: The time horizon to which this requirement applies is:

32

49

4



MODTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Same-day



MOD: The time horizon to which this requirement applies is:

200

153

10



NUCTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour



NUC: The time horizon to which this requirement applies is:

10

24

1



PERTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour



PER: The time horizon to which this requirement applies is:

7

7

12



PRCTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Same-day



PRC: The time horizon to which this requirement applies is:

48

169

1



TOPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



TOP: The time horizon to which this requirement applies is:

22

6

40

3



VARTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour



VAR: The time horizon to which this requirement applies is:

9

22



GroupTableSource

		StandardGroup		This requirement is:		Count				StandardGroup		The reliability objective (or risk mitigation) achieved by this requirement is:		Count				StandardGroup		The most effective way to measure this requirement is:		CountOfKeyID				StandardGroup		The time horizon to which this requirement applies is:		CountOfKeyID

		BAL		Administrative (requires only documenting/reporting something).		5				BAL		A bulk power system result that is clear in the requirement.		5				BAL		Can only be measured through documentation.		18				BAL		Operations planning: day-ahead up to one year		21

		BAL		Risk-based (reduces risk).		8				BAL		A risk mitigation objective that is clear in the requirement.		4				BAL		Evaluating a product or result (can be written such as a restoration procedure).		2				BAL		Real-time or current hour		43

		BAL		Performance-based (specifies a bulk power system outcome).		12				BAL		Is implied but not explicitly stated in the requirement.		59				BAL		Evaluating bulk power system performance, data, or results.		7				BAL		Same-day		13

		BAL		Capability-based (provides necessary capability).		18				BAL		Is unclear.		9				BAL		Evaluating capabilities, such as tools, systems, training records, etc.		17				CIP		Operations planning: day-ahead up to one year		31

		BAL		Prescriptive (explains how to).		34				CIP		A bulk power system result that is clear in the requirement.		2				BAL		Evaluating performance of an activity or a record/log of that activity.		33				CIP		Planning: one year and longer		58

		CIP		Prescriptive (explains how to).		3				CIP		A risk mitigation objective that is clear in the requirement.		62				CIP		Can only be measured through documentation.		101				CIP		Real-time or current hour		79

		CIP		Capability-based (provides necessary capability).		13				CIP		Is implied but not explicitly stated in the requirement.		39				CIP		Evaluating a product or result (can be written such as a restoration procedure).		3				CIP		Same-day		1

		CIP		Risk-based (reduces risk).		55				CIP		Is unclear.		53				CIP		Evaluating bulk power system performance, data, or results.		1				COM		Real-time or current hour		9

		CIP		Administrative (requires only documenting/reporting something).		98				CIP		No reliability benefit is provided by the requirement.		13				CIP		Evaluating capabilities, such as tools, systems, training records, etc.		22				EOP		Operations planning: day-ahead up to one year		28

		COM		Risk-based (reduces risk).		2				COM		A risk mitigation objective that is clear in the requirement.		6				CIP		Evaluating performance of an activity or a record/log of that activity.		42				EOP		Planning: one year and longer		5

		COM		Prescriptive (explains how to).		3				COM		Is implied but not explicitly stated in the requirement.		3				COM		Can only be measured through documentation.		1				EOP		Real-time or current hour		22

		COM		Capability-based (provides necessary capability).		4				EOP		A bulk power system result that is clear in the requirement.		19				COM		Evaluating a product or result (can be written such as a restoration procedure).		2				EOP		Same-day		5

		EOP		Risk-based (reduces risk).		3				EOP		A risk mitigation objective that is clear in the requirement.		5				COM		Evaluating capabilities, such as tools, systems, training records, etc.		2				FAC		Operations planning: day-ahead up to one year		12

		EOP		Prescriptive (explains how to).		6				EOP		Is implied but not explicitly stated in the requirement.		24				COM		Evaluating performance of an activity or a record/log of that activity.		4				FAC		Planning: one year and longer		148

		EOP		Performance-based (specifies a bulk power system outcome).		12				EOP		Is unclear.		9				EOP		Can only be measured through documentation.		6				INT		Same-day		52

		EOP		Capability-based (provides necessary capability).		17				EOP		No reliability benefit is provided by the requirement.		3				EOP		Evaluating a product or result (can be written such as a restoration procedure).		11				IRO		Operations planning: day-ahead up to one year		32

		EOP		Administrative (requires only documenting/reporting something).		22				FAC		A bulk power system result that is clear in the requirement.		19				EOP		Evaluating bulk power system performance, data, or results.		5				IRO		Real-time or current hour		49

		FAC		Administrative (requires only documenting/reporting something).		24				FAC		A risk mitigation objective that is clear in the requirement.		25				EOP		Evaluating capabilities, such as tools, systems, training records, etc.		5				IRO		Same-day		4

		FAC		Risk-based (reduces risk).		51				FAC		Is implied but not explicitly stated in the requirement.		93				EOP		Evaluating performance of an activity or a record/log of that activity.		33				MOD		Operations planning: day-ahead up to one year		200

		FAC		Prescriptive (explains how to).		85				FAC		No reliability benefit is provided by the requirement.		23				FAC		Can only be measured through documentation.		32				MOD		Planning: one year and longer		153

		INT		Performance-based (specifies a bulk power system outcome).		1				INT		Is implied but not explicitly stated in the requirement.		50				FAC		Evaluating a product or result (can be written such as a restoration procedure).		125				MOD		Same-day		10

		INT		Administrative (requires only documenting/reporting something).		2				INT		Is unclear.		2				FAC		Evaluating bulk power system performance, data, or results.		1				NUC		Operations planning: day-ahead up to one year		10

		INT		Prescriptive (explains how to).		3				IRO		A bulk power system result that is clear in the requirement.		2				FAC		Evaluating capabilities, such as tools, systems, training records, etc.		1				NUC		Planning: one year and longer		24

		INT		Risk-based (reduces risk).		46				IRO		A risk mitigation objective that is clear in the requirement.		44				FAC		Evaluating performance of an activity or a record/log of that activity.		1				NUC		Real-time or current hour		1

		IRO		Administrative (requires only documenting/reporting something).		9				IRO		Is implied but not explicitly stated in the requirement.		30				INT		Can only be measured through documentation.		9				PER		Operations planning: day-ahead up to one year		7

		IRO		Capability-based (provides necessary capability).		13				IRO		Is unclear.		7				INT		Evaluating performance of an activity or a record/log of that activity.		43				PER		Planning: one year and longer		7

		IRO		Performance-based (specifies a bulk power system outcome).		13				IRO		No reliability benefit is provided by the requirement.		3				IRO		Can only be measured through documentation.		13				PER		Real-time or current hour		12

		IRO		Prescriptive (explains how to).		13				MOD		A risk mitigation objective that is clear in the requirement.		14				IRO		Evaluating a product or result (can be written such as a restoration procedure).		10				PRC		Operations planning: day-ahead up to one year		48

		IRO		Risk-based (reduces risk).		38				MOD		Is implied but not explicitly stated in the requirement.		106				IRO		Evaluating bulk power system performance, data, or results.		3				PRC		Planning: one year and longer		169

		MOD		Risk-based (reduces risk).		31				MOD		Is unclear.		220				IRO		Evaluating capabilities, such as tools, systems, training records, etc.		18				PRC		Same-day		1

		MOD		Administrative (requires only documenting/reporting something).		54				MOD		No reliability benefit is provided by the requirement.		23				IRO		Evaluating performance of an activity or a record/log of that activity.		42				TOP		Operations planning: day-ahead up to one year		22

		MOD		Prescriptive (explains how to).		278				NUC		Is implied but not explicitly stated in the requirement.		8				MOD		Can only be measured through documentation.		202				TOP		Planning: one year and longer		6

		NUC		Risk-based (reduces risk).		5				NUC		Is unclear.		20				MOD		Evaluating a product or result (can be written such as a restoration procedure).		112				TOP		Real-time or current hour		40

		NUC		Administrative (requires only documenting/reporting something).		9				NUC		No reliability benefit is provided by the requirement.		7				MOD		Evaluating performance of an activity or a record/log of that activity.		49				TOP		Same-day		3

		NUC		Prescriptive (explains how to).		21				PER		A bulk power system result that is clear in the requirement.		2				NUC		Can only be measured through documentation.		35				VAR		Operations planning: day-ahead up to one year		9

		PER		Risk-based (reduces risk).		1				PER		A risk mitigation objective that is clear in the requirement.		1				PER		Can only be measured through documentation.		7				VAR		Real-time or current hour		22

		PER		Administrative (requires only documenting/reporting something).		2				PER		Is implied but not explicitly stated in the requirement.		21				PER		Evaluating capabilities, such as tools, systems, training records, etc.		22

		PER		Capability-based (provides necessary capability).		11				PER		Is unclear.		2				PRC		Can only be measured through documentation.		142

		PER		Prescriptive (explains how to).		15				PER		No reliability benefit is provided by the requirement.		3				PRC		Evaluating a product or result (can be written such as a restoration procedure).		41

		PRC		Performance-based (specifies a bulk power system outcome).		13				PRC		A bulk power system result that is clear in the requirement.		20				PRC		Evaluating performance of an activity or a record/log of that activity.		35

		PRC		Administrative (requires only documenting/reporting something).		20				PRC		A risk mitigation objective that is clear in the requirement.		6				TOP		Can only be measured through documentation.		16

		PRC		Risk-based (reduces risk).		44				PRC		Is implied but not explicitly stated in the requirement.		169				TOP		Evaluating a product or result (can be written such as a restoration procedure).		10

		PRC		Prescriptive (explains how to).		141				PRC		Is unclear.		14				TOP		Evaluating bulk power system performance, data, or results.		17

		TOP		Capability-based (provides necessary capability).		4				PRC		No reliability benefit is provided by the requirement.		9				TOP		Evaluating capabilities, such as tools, systems, training records, etc.		11

		TOP		Prescriptive (explains how to).		4				TOP		A bulk power system result that is clear in the requirement.		9				TOP		Evaluating performance of an activity or a record/log of that activity.		17

		TOP		Administrative (requires only documenting/reporting something).		15				TOP		A risk mitigation objective that is clear in the requirement.		14				VAR		Can only be measured through documentation.		10

		TOP		Performance-based (specifies a bulk power system outcome).		15				TOP		Is implied but not explicitly stated in the requirement.		36				VAR		Evaluating bulk power system performance, data, or results.		8

		TOP		Risk-based (reduces risk).		33				TOP		Is unclear.		12				VAR		Evaluating capabilities, such as tools, systems, training records, etc.		1

		VAR		Capability-based (provides necessary capability).		2				VAR		A bulk power system result that is clear in the requirement.		5				VAR		Evaluating performance of an activity or a record/log of that activity.		12

		VAR		Risk-based (reduces risk).		2				VAR		A risk mitigation objective that is clear in the requirement.		5

		VAR		Performance-based (specifies a bulk power system outcome).		13				VAR		Is implied but not explicitly stated in the requirement.		10

		VAR		Administrative (requires only documenting/reporting something).		14				VAR		Is unclear.		8

										VAR		No reliability benefit is provided by the requirement.		3





Q1ThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Count

This requirement is:

274

82

79

606

319



Q2ReliabilityObjective

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Count

The reliability objective (or risk mitigation) achieved by this requirement is

Is unclear.
26%

83

186

648

356

87



Q2EffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Count

The most effective way to measure this requirement is:

592

316

42

99

311



Q10TimeHorizon

		Not Answered

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Count

The time horizon to which this requirement applies is:

4

420

570

277

89



TableSourceQ123&10

		This requirement is:		Count

		Administrative (requires only documenting/reporting something).		274

		Capability-based (provides necessary capability).		82

		Performance-based (specifies a bulk power system outcome).		79

		Prescriptive (explains how to).		606

		Risk-based (reduces risk).		319

		The reliability objective (or risk mitigation) achieved by this requirement is		Count

		A bulk power system result that is clear in the requirement.		83

		A risk mitigation objective that is clear in the requirement.		186

		Is implied but not explicitly stated in the requirement.		648

		Is unclear.		356

		No reliability benefit is provided by the requirement.		87

		The most effective way to measure this requirement is:		Count

		Can only be measured through documentation.		592

		Evaluating a product or result (can be written such as a restoration procedure).		316

		Evaluating bulk power system performance, data, or results.		42

		Evaluating capabilities, such as tools, systems, training records, etc.		99

		Evaluating performance of an activity or a record/log of that activity.		311

		The time horizon to which this requirement applies is:		Count

		Not Answered		4

		Operations planning: day-ahead up to one year		420

		Planning: one year and longer		570

		Real-time or current hour		277

		Same-day		89

		The bulk power system is controlled to stay within acceptable li		CountOfKeyID

				869

				51

		YES		440





NumGoalQ4-9

		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system is controlled to stay within acceptable limits during normal conditions.

		The bulk power system performs acceptably after credible contingencies.		The bulk power system performs acceptably after credible contingencies.

		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.

		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

		The bulk power system’s integrity can be restored promptly if it is lost.		The bulk power system’s integrity can be restored promptly if it is lost.

		supply the aggregate electric p…at all times...		supply the aggregate electric p…at all times...



NO

YES

#Questions on Goals:
Questions 4-9

920

440

1020

340

964

396

530

830

1156

204

707

653



PercentageGoalQ4-9

		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system is controlled to stay within acceptable limits during normal conditions.

		The bulk power system performs acceptably after credible contingencies.		The bulk power system performs acceptably after credible contingencies.

		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.

		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

		The bulk power system’s integrity can be restored promptly if it is lost.		The bulk power system’s integrity can be restored promptly if it is lost.

		supply the aggregate electric p…at all times...		supply the aggregate electric p…at all times...



NO

YES

% Questions on Goals:
Questions 4-9

0.68

0.32

0.75

0.25

0.71

0.29

0.39

0.61

0.85

0.15

0.52

0.48



Q4NormalConditions

		NO

		YES



The bulk power system is controlled to stay within acceptable limits during normal conditions.

920

440



Q5CredibleContingencies

		NO

		YES



The bulk power system performs acceptably after credible contingencies.

1020

340



Q6Cascading

		NO

		YES



The bulk power system limits the impact and scope of instability and cascading outages when they occur.

964

396



Q7FacilitesProtected

		NO

		YES



Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

530

830



Q8Integrity

		NO

		YES



The bulk power system’s integrity can be restored promptly if it is lost.

1156

204



Q9Aggregate

		NO

		YES



supply the aggregate electric p…at all times...

707

653



TableSourceGoal

		

		Answer		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...								The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...

		NO		920		1020		964		530		1156		707						NO		68%		75%		71%		39%		85%		52%

		YES		440		340		396		830		204		653						YES		32%		25%		29%		61%		15%		48%






_1317286828.xls
RawData

		Standard		Req		Text of Requirement		This requirement is:		The reliability objective (or risk mitigation) achieved by this requirement is:		The most effective way to measure this requirement is:		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...		The time horizon to which this requirement applies is:

		BAL-001-0.1a		R1.		Each Balancing Authority shall operate such that, on a rolling 12-month basis, the average of the clock-minute averages of the Balancing Authority’s Area Control Error (ACE) divided by 10B (B is the clock-minute average of the Balancing Authority Area’s Frequency Bias) times the corresponding clock-minute averages of the Interconnection’s Frequency Error is less than a specific limit.  This limit  is a constant derived from a targeted frequency bound (separately calculated for each Interconnection) that is reviewed and set as necessary by the NERC Operating Committee. See Standard for Formula.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES				YES		Real-time or current hour

		BAL-001-0.1a		R2.		Each Balancing Authority shall operate such that its average ACE for at least 90% of clock-ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10. See Standard for Formula.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES				YES		Real-time or current hour

		BAL-001-0.1a		R3.		Each Balancing Authority providing Overlap Regulation Service shall evaluate Requirement R1 (i.e., Control Performance Standard 1 or CPS1) and Requirement R2 (i.e., Control Performance Standard 2 or CPS2) using the characteristics of the combined ACE and combined Frequency Bias Settings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-001-0.1a		R4.		Any Balancing Authority receiving Overlap Regulation Service shall not have its control performance evaluated (i.e. from a control performance perspective, the Balancing Authority has shifted all control requirements to the Balancing Authority providing Overlap Regulation Service).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-002-0		R1.		Each Balancing Authority shall have access to and/or operate Contingency Reserve to respond to Disturbances.  Contingency Reserve may be supplied from generation, controllable load resources, or coordinated adjustments to Interchange Schedules.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.				YES								YES		Real-time or current hour

		BAL-002-0		R1.1.		A Balancing Authority may elect to fulfill its Contingency Reserve obligations by participating as a member of a Reserve Sharing Group.  In such cases, the Reserve Sharing Group shall have the same responsibilities and obligations as each Balancing Authority with respect to monitoring and meeting the requirements of Standard BAL-002.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.		Each Regional Reliability Organization, sub-Regional Reliability Organization or Reserve Sharing Group shall specify its Contingency Reserve policies, including:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.1.		The minimum reserve requirement for the group.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.2.		Its allocation among members.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.3.		The permissible mix of Operating Reserve – Spinning and Operating Reserve – Supplemental that may be included in Contingency Reserve.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.4.		The procedure for applying Contingency Reserve in practice.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Real-time or current hour

		BAL-002-0		R2.5.		The limitations, if any, upon the amount of interruptible load that may be included.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R2.6.		The same portion of resource capacity (e.g., reserves from jointly owned generation) shall not be counted more than once as Contingency Reserve by multiple Balancing Authorities.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.												YES		Real-time or current hour

		BAL-002-0		R3.		Each Balancing Authority or Reserve Sharing Group shall activate sufficient Contingency Reserve to comply with the DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		BAL-002-0		R3.1.		As a minimum, the Balancing Authority or Reserve Sharing Group shall carry at least enough Contingency Reserve to cover the most severe single contingency.  All Balancing Authorities and Reserve Sharing Groups shall review, no less frequently than annually, their probable contingencies to determine their prospective most severe single contingencies.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES										YES		Real-time or current hour

		BAL-002-0		R4.		A Balancing Authority or Reserve Sharing Group shall meet the Disturbance Recovery Criterion within the Disturbance Recovery Period for 100% of Reportable Disturbances.  The Disturbance Recovery Criterion is:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R4.1.		A Balancing Authority shall return its ACE to zero if its ACE just prior to the Reportable Disturbance was positive or equal to zero.  For negative initial ACE values just prior to the Disturbance, the Balancing Authority shall return ACE to its pre-Disturbance value.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R4.2.		The default Disturbance Recovery Period is 15 minutes after the start of a Reportable Disturbance.  This period may be adjusted to better suit the needs of an Interconnection based on analysis approved by the NERC Operating Committee.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES										YES		Real-time or current hour

		BAL-002-0		R5.		Each Reserve Sharing Group shall comply with the DCS.  A Reserve Sharing Group shall be considered in a Reportable Disturbance condition whenever a group member has experienced a Reportable Disturbance and calls for the activation of Contingency Reserves from one or more other group members.  (If a group member has experienced a Reportable Disturbance but does not call for reserve activation from other members of the Reserve Sharing Group, then that member shall report as a single Balancing Authority.)  Compliance may be demonstrated by either of the following two methods:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES										Real-time or current hour

		BAL-002-0		R5.1.		The Reserve Sharing Group reviews group ACE (or equivalent) and demonstrates compliance to the DCS.  To be in compliance, the group ACE (or its equivalent) must meet the Disturbance Recovery Criterion after the schedule change(s) related to reserve sharing have been fully implemented, and within the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-002-0		R5.2.		The Reserve Sharing Group reviews each member’s ACE in response to the activation of reserves.  To be in compliance, a member’s ACE (or its equivalent) must meet the Disturbance Recovery Criterion after the schedule change(s) related to reserve sharing have been fully implemented, and within the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-002-0		R6.		A Balancing Authority or Reserve Sharing Group shall fully restore its Contingency Reserves within the Contingency Reserve Restoration Period for its Interconnection.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES								YES		Real-time or current hour

		BAL-002-0		R6.1.		The Contingency Reserve Restoration Period begins at the end of the Disturbance Recovery Period.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		BAL-002-0		R6.2.		The default Contingency Reserve Restoration Period is 90 minutes.  This period may be adjusted to better suit the reliability targets of the Interconnection based on analysis approved by the NERC Operating Committee.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-003-0		R4.2.		The Balancing Authorities that have a fixed schedule (B and C) but do not contain the Jointly Owned Unit shall not include their share of the governor droop response in their Frequency Bias Setting. See Standard for Graphic.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		BAL-003-0.1b		R1.		Each Balancing Authority shall review its Frequency Bias Settings by January 1 of each year and recalculate its setting to reflect any change in the Frequency Response of the Balancing Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES						YES				Operations planning: day-ahead up to one year

		BAL-003-0.1b		R1.1.		The Balancing Authority may change its Frequency Bias Setting, and the method used to determine the setting, whenever any of the factors used to determine the current bias value change.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.		Each Balancing Authority shall establish and maintain a Frequency Bias Setting that is as close as practical to, or greater than, the Balancing Authority’s Frequency Response.  Frequency Bias may be calculated several ways:		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.1.		The Balancing Authority may use a fixed Frequency Bias value which is based on a fixed, straight-line function of Tie Line deviation versus Frequency Deviation.  The Balancing Authority shall determine the fixed value by observing and averaging the Frequency Response for several Disturbances during on-peak hours.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R2.2.		The Balancing Authority may use a variable (linear or non-linear) bias value, which is based on a variable function of Tie Line deviation to Frequency Deviation.  The Balancing Authority shall determine the variable frequency bias value by analyzing Frequency Response as it varies with factors such as load, generation, governor characteristics, and frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R3.		Each Balancing Authority shall operate its Automatic Generation Control (AGC) on Tie Line Frequency Bias, unless such operation is adverse to system or Interconnection reliability.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		BAL-003-0.1b		R4.		Balancing Authorities that use Dynamic Scheduling or Pseudo-ties for jointly owned units shall reflect their respective share of the unit governor droop response in their respective Frequency Bias Setting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R4.1.		Fixed schedules for Jointly Owned Units mandate that Balancing Authority (A) that contains the Jointly Owned Unit must incorporate the respective share of the unit governor droop response for any Balancing Authorities that have fixed schedules (B and C).  See the diagram below. See Standard for Graphic.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R5.		Balancing Authorities that serve native load shall have a monthly average Frequency Bias Setting that is at least 1% of the Balancing Authority’s estimated yearly peak demand per 0.1 Hz change.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R5.1.		Balancing Authorities that do not serve native load shall have a monthly average Frequency Bias Setting that is at least 1% of its estimated maximum generation level in the coming year per 0.1 Hz change.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-003-0.1b		R6.		A Balancing Authority that is performing Overlap Regulation Service shall increase its Frequency Bias Setting to match the frequency response of the entire area being controlled.  A Balancing Authority shall not change its Frequency Bias Setting when performing Supplemental Regulation Service.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Operations planning: day-ahead up to one year

		BAL-004-1		R1.		Only a Reliability Coordinator shall be eligible to act as Interconnection Time Monitor.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-004-1		R2.		Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following methods:		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-004-1		R2.1.		The Balancing Authority shall offset its frequency schedule by 0.02 Hertz, leaving the Frequency Bias Setting normal; or		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R2.2.		The Balancing Authority shall offset its Net Interchange Schedule (MW) by an amount equal to the computed bias contribution during a 0.02 Hertz Frequency Deviation (i.e., 20% of the Frequency Bias Setting).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R3.		Any Reliability Coordinator in an Interconnection shall have the authority to request the Interconnection Time Monitor to terminate a Time Error Correction in progress, or a scheduled Time Error Correction that has not begun, for reliability considerations.		Capability-based (provides necessary capability).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-004-1		R3.1.		Balancing Authorities that have reliability concerns with the execution of a Time Error Correction shall notify their Reliability Coordinator and request the termination of a Time Error Correction in progress.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R1.		All generation, transmission, and load operating within an Interconnection must be included within the metered boundaries of a Balancing Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.1.		Each Generator Operator with generation facilities operating in an Interconnection shall ensure that those generation facilities are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.2.		Each Transmission Operator with transmission facilities operating in an Interconnection shall ensure that those transmission facilities are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R1.3.		Each Load-Serving Entity with load operating in an Interconnection shall ensure that those loads are included within the metered boundaries of a Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		BAL-005-0.1b		R10.		The Balancing Authority shall include all Dynamic Schedules in the calculation of Net Scheduled Interchange for the ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R11.		Balancing Authorities shall include the effect of ramp rates, which shall be identical and agreed to between affected Balancing Authorities, in the Scheduled Interchange values to calculate ACE.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R12.		Each Balancing Authority shall include all Tie Line flows with Adjacent Balancing Authority Areas in the ACE calculation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R12.1.		Balancing Authorities that share a tie shall ensure Tie Line MW metering is telemetered to both control centers, and emanates from a common, agreed-upon source using common primary metering equipment.  Balancing Authorities shall ensure that megawatt-hour data is telemetered or reported at the end of each hour.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R12.2.		Balancing Authorities shall ensure the power flow and ACE signals that are utilized for calculating Balancing Authority performance or that are transmitted for Regulation Service are not filtered prior to transmission, except for the Anti-aliasing Filters of Tie Lines.		Prescriptive (explains how to).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-005-0.1b		R12.3.		Balancing Authorities shall install common metering equipment where Dynamic Schedules or Pseudo-Ties are implemented between two or more Balancing Authorities to deliver the output of Jointly Owned Units or to serve remote load.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		BAL-005-0.1b		R13.		Each Balancing Authority shall perform hourly error checks using Tie Line megawatt-hour meters with common time synchronization to determine the accuracy of its control equipment.  The Balancing Authority shall adjust the component (e.g., Tie Line meter) of ACE that is in error (if known) or use the interchange meter error (IME) term of the ACE equation to compensate for any equipment error until repairs can be made.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-005-0.1b		R14.		The Balancing Authority shall provide its operating personnel with sufficient instrumentation and data recording equipment to facilitate monitoring of control performance, generation response, and after-the-fact analysis of area performance.  As a minimum, the Balancing Authority shall provide its operating personnel with real-time values for ACE, Interconnection frequency and Net Actual Interchange with each Adjacent Balancing Authority Area.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-005-0.1b		R15.		The Balancing Authority shall provide adequate and reliable backup power supplies and shall periodically test these supplies at the Balancing Authority’s control center and other critical locations to ensure continuous operation of AGC and vital data recording equipment during loss of the normal power supply.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Same-day

		BAL-005-0.1b		R16.		The Balancing Authority shall sample data at least at the same periodicity with which ACE is calculated.  The Balancing Authority shall flag missing or bad data for operator display and archival purposes.  The Balancing Authority shall collect coincident data to the greatest practical extent, i.e., ACE, Interconnection frequency, Net Actual Interchange, and other data shall all be sampled at the same time.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Same-day

		BAL-005-0.1b		R17.		Each Balancing Authority shall at least annually check and calibrate its time error and frequency devices against a common reference.  The Balancing Authority shall adhere to the minimum values for measuring devices as listed below:    See Standard for Values		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		BAL-005-0.1b		R2.		Each Balancing Authority shall maintain Regulating Reserve that can be controlled by AGC to meet the Control Performance Standard.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R3.		A Balancing Authority providing Regulation Service shall ensure that adequate metering, communications, and control equipment are employed to prevent such service from becoming a Burden on the Interconnection or other Balancing Authority Areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Real-time or current hour

		BAL-005-0.1b		R4.		A Balancing Authority providing Regulation Service shall notify the Host Balancing Authority for whom it is controlling if it is unable to provide the service, as well as any Intermediate Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R5.		A Balancing Authority receiving Regulation Service shall ensure that backup plans are in place to provide replacement Regulation Service should the supplying Balancing Authority no longer be able to provide this service.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		BAL-005-0.1b		R6.		The Balancing Authority’s AGC shall compare total Net Actual Interchange to total Net Scheduled Interchange plus Frequency Bias obligation to determine the Balancing Authority’s ACE.  Single Balancing Authorities operating asynchronously may employ alternative ACE calculations such as (but not limited to) flat frequency control.  If a Balancing Authority is unable to calculate ACE for more than 30 minutes it shall notify its Reliability Coordinator.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-005-0.1b		R7.		The Balancing Authority shall operate AGC continuously unless such operation adversely impacts the reliability of the Interconnection.  If AGC has become inoperative, the Balancing Authority shall use manual control to adjust generation to maintain the Net Scheduled Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES										YES		Real-time or current hour

		BAL-005-0.1b		R8.		The Balancing Authority shall ensure that data acquisition for and calculation of ACE occur at least every six seconds.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		BAL-005-0.1b		R8.1.		Each Balancing Authority shall provide redundant and independent frequency metering equipment that shall automatically activate upon detection of failure of the primary source.  This overall installation shall provide a minimum availability of 99.95%.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		BAL-005-0.1b		R9.		The Balancing Authority shall include all Interchange Schedules with Adjacent Balancing Authorities in the calculation of Net Scheduled Interchange for the ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		BAL-005-0.1b		R9.1.		Balancing Authorities with a high voltage direct current (HVDC) link to another Balancing Authority connected asynchronously to their Interconnection may choose to omit the Interchange Schedule related to the HVDC link from the ACE equation if it is modeled as internal generation or load.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		BAL-006-1.1		R1.		Each Balancing Authority shall calculate and record hourly Inadvertent Interchange.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R2.		Each Balancing Authority shall include all AC tie lines that connect to its Adjacent Balancing Authority Areas in its Inadvertent Interchange account. The Balancing Authority shall take into account interchange served by jointly owned generators.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R3.		Each Balancing Authority shall ensure all of its Balancing Authority Area interconnection points are equipped with common megawatt-hour meters, with readings provided hourly to the control centers of Adjacent Balancing Authorities.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R4.		Adjacent Balancing Authority Areas shall operate to a common Net Interchange Schedule and Actual Net Interchange value and shall record these hourly quantities, with like values but opposite sign.  Each Balancing Authority shall compute its Inadvertent Interchange based on the following:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Same-day

		BAL-006-1.1		R4.1.		Each Balancing Authority, by the end of the next business day, shall agree with its Adjacent Balancing Authorities to:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.1.1.		The hourly values of Net Interchange Schedule.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.1.2.		The hourly integrated megawatt-hour values of Net Actual Interchange.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.2.		Each Balancing Authority shall use the agreed-to daily and monthly accounting data to compile its monthly accumulated Inadvertent Interchange for the On-Peak and Off-Peak hours of the month.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R4.3.		A Balancing Authority shall make after-the-fact corrections to the agreed-to daily and monthly accounting data only as needed to reflect actual operating conditions (e.g. a meter being used for control was sending bad data).  Changes or corrections based on non-reliability considerations shall not be reflected in the Balancing Authority’s Inadvertent Interchange.  After-the-fact corrections to scheduled or actual values will not be accepted without agreement of the Adjacent Balancing Authority(ies).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		BAL-006-1.1		R5.		Adjacent Balancing Authorities that cannot mutually agree upon their respective Net Actual Interchange or Net Scheduled Interchange quantities by the 15th calendar day of the following month shall, for the purposes of dispute resolution, submit a report to their respective Regional Reliability Organization Survey Contact. The report shall describe the nature and the cause of the dispute as well as a process for correcting the discrepancy.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-001-1		R1.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall have procedures for the recognition of and for making their operating personnel aware of sabotage events on its facilities and multi site sabotage affecting larger portions of the Interconnection.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R2.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall have procedures for the communication of information concerning sabotage events to appropriate parties in the Interconnection.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R3.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall provide its operating personnel with sabotage response guidelines, including personnel to contact, for reporting disturbances due to sabotage events.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-001-1		R4.		Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load-Serving Entity shall establish communications contacts, as applicable, with local Federal Bureau of Investigation (FBI) or Royal Canadian Mounted Police (RCMP) officials and develop reporting procedures as appropriate to their circumstances.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.		Critical Asset Identification Method — The Responsible Entity shall identify and document a risk-based assessment methodology to use to identify its Critical Assets.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES				YES		YES		Planning: one year and longer

		CIP-002-2		R1.1.		The Responsible Entity shall maintain documentation describing its risk-based assessment methodology that includes procedures and evaluation criteria.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.		The risk-based assessment shall consider the following assets:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		CIP-002-2		R1.2.1.		Control centers and backup control centers performing the functions of the entities listed in the Applicability section of this standard.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.2.		Transmission substations that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.3.		Generation resources that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.4.		Systems and facilities critical to system restoration, including blackstart generators and substations in the electrical path of transmission lines used for initial system restoration.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.5.		Systems and facilities critical to automatic load shedding under a common control system capable of shedding 300 MW or more.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.6.		Special Protection Systems that support the reliable operation of the Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R1.2.7.		Any additional assets that support the reliable operation of the Bulk Electric System that the Responsible Entity deems appropriate to include in its assessment.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R2.		Critical Asset Identification — The Responsible Entity shall develop a list of its identified Critical Assets determined through an annual application of the risk-based assessment methodology required in R1. The Responsible Entity shall review this list at least annually, and update it as necessary.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.		Critical Cyber Asset Identification — Using the list of Critical Assets developed pursuant to Requirement R2, the Responsible Entity shall develop a list of associated Critical Cyber Assets essential to the operation of the Critical Asset. Examples at control centers and backup control centers include systems and facilities at master and remote sites that provide monitoring and control, automatic generation control, real-time power system modeling, and real-time inter-utility data exchange. The Responsible Entity shall review this list at least annually, and update it as necessary. For the purpose of Standard CIP-002-2, Critical Cyber Assets are further qualified to be those having at least one of the following characteristics:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.1.		The Cyber Asset uses a routable protocol to communicate outside the Electronic Security Perimeter; or,		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.2.		The Cyber Asset uses a routable protocol within a control center; or,		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R3.3.		The Cyber Asset is dial-up accessible.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-002-2		R4.		Annual Approval — The senior manager or delegate(s) shall approve annually the risk-based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets. Based on Requirements R1, R2, and R3 the Responsible Entity may determine that it has no Critical Assets or Critical Cyber Assets. The Responsible Entity shall keep a signed and dated record of the senior manager or delegate(s)’s approval of the risk-based assessment methodology, the list of Critical Assets and the list of Critical Cyber Assets (even if such lists are null.)		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-003-2		R1.		Cyber Security Policy — The Responsible Entity shall document and implement a cyber security policy that represents management’s commitment and ability to secure its Critical Cyber Assets.  The Responsible Entity shall, at minimum, ensure the following:		Administrative (requires only documenting/reporting something).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.1.		The cyber security policy addresses the requirements in Standards CIP-002-2 through CIP-009-2, including provision for emergency situations.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.2.		The cyber security policy is readily available to all personnel who have access to, or are responsible for, Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R1.3.		Annual review and approval of the cyber security policy by the senior manager assigned pursuant to R2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.		Leadership — The Responsible Entity shall assign a single senior manager with overall responsibility and authority for leading and managing the entity’s implementation of, and adherence to, Standards CIP-002-2 through CIP-009-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.1.		The senior manager shall be identified by name, title, and date of designation.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.2.		Changes to the senior manager must be documented within thirty calendar days of the effective date.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.3.		Where allowed by Standards CIP-002-2 through CIP-009-2, the senior manager may delegate authority for specific actions to a named delegate or delegates.  These delegations shall be documented in the same manner as R2.1 and R2.2, and approved by the senior manager.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R2.4.		The senior manager or delegate(s), shall authorize and document any exception from the requirements of the cyber security policy.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.		Exceptions — Instances where the Responsible Entity cannot conform to its cyber security policy must be documented as exceptions and authorized by the senior manager or delegate(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.1.		Exceptions to the Responsible Entity’s cyber security policy must be documented within thirty days of being approved by the senior manager or delegate(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.2.		Documented exceptions to the cyber security policy must include an explanation as to why the exception is necessary and any compensating measures.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R3.3.		Authorized exceptions to the cyber security policy must be reviewed and approved annually by the senior manager or delegate(s) to ensure the exceptions are still required and valid.  Such review and approval shall be documented.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.		Information Protection — The Responsible Entity shall implement and document a program to identify, classify, and protect information associated with Critical Cyber Assets.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		CIP-003-2		R4.1.		The Critical Cyber Asset information to be protected shall include, at a minimum and regardless of media type, operational procedures, lists as required in Standard CIP-002-2, network topology or similar diagrams, floor plans of computing centers that contain Critical Cyber Assets, equipment layouts of Critical Cyber Assets, disaster recovery plans, incident response plans, and security configuration information.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.2.		The Responsible Entity shall classify information to be protected under this program based on the sensitivity of the Critical Cyber Asset information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R4.3.		The Responsible Entity shall, at least annually, assess adherence to its Critical Cyber Asset information protection program, document the assessment results, and implement an action plan to remediate deficiencies identified during the assessment.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Operations planning: day-ahead up to one year

		CIP-003-2		R5.		Access Control — The Responsible Entity shall document and implement a program for managing access to protected Critical Cyber Asset information.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-003-2		R5.1.		The Responsible Entity shall maintain a list of designated personnel who are responsible for authorizing logical or physical access to protected information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.1.1.		Personnel shall be identified by name, title, and the information for which they are responsible for authorizing access.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.1.2.		The list of personnel responsible for authorizing access to protected information shall be verified at least annually.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.2.		The Responsible Entity shall review at least annually the access privileges to protected information to confirm that access privileges are correct and that they correspond with the Responsible Entity’s needs and appropriate personnel roles and responsibilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R5.3.		The Responsible Entity shall assess and document at least annually the processes for controlling access privileges to protected information.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-003-2		R6.		Change Control and Configuration Management — The Responsible Entity shall establish and document a process of change control and configuration management for adding, modifying, replacing, or removing Critical Cyber Asset hardware or software, and implement supporting configuration management activities to identify, control and document all entity or vendor-related changes to hardware and software components of Critical Cyber Assets pursuant to the change control process.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-004-2		R1.		Awareness — The Responsible Entity shall establish, document, implement, and maintain a security awareness program to ensure personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets receive on-going reinforcement in sound security practices. The program shall include security awareness reinforcement on at least a quarterly basis using mechanisms such as: Direct communications (e.g. emails, memos, computer based training, etc.); Indirect communications (e.g. posters, intranet, brochures, etc.); Management support and reinforcement (e.g., presentations, meetings, etc.).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-004-2		R2.		Training — The Responsible Entity shall establish, document, implement, and maintain an annual cyber security training program for personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets. The cyber security training program shall be reviewed annually, at a minimum, and shall be updated whenever necessary.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.						YES								Operations planning: day-ahead up to one year

		CIP-004-2		R2.1.		This program will ensure that all personnel having such access to Critical Cyber Assets, including contractors and service vendors, are trained prior to their being granted such access except in specified circumstances such as an emergency.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.		Training shall cover the policies, access controls, and procedures as developed for the Critical Cyber Assets covered by CIP-004-2, and include, at a minimum, the following required items appropriate to personnel roles and responsibilities:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.1.		The proper use of Critical Cyber Assets;		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.2.		Physical and electronic access controls to Critical Cyber Assets;		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.3.		The proper handling of Critical Cyber Asset information; and,		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.2.4.		Action plans and procedures to recover or re-establish Critical Cyber Assets and access thereto following a Cyber Security Incident.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R2.3.		The Responsible Entity shall maintain documentation that training is conducted at least annually, including the date the training was completed and attendance records.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-004-2		R3.		Personnel Risk Assessment —The Responsible Entity shall have a documented personnel risk assessment program, in accordance with federal, state, provincial, and local laws, and subject to existing collective bargaining unit agreements, for  personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets.  A personnel risk assessment shall be conducted pursuant to that program prior to such personnel being granted such access except in specified circumstances such as an emergency. The personnel risk assessment program shall at a minimum include:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES								Operations planning: day-ahead up to one year

		CIP-004-2		R3.1.		The Responsible Entity shall ensure that each assessment conducted include, at least, identity verification (e.g., Social Security Number verification in the U.S.) and seven-year criminal check. The Responsible Entity may conduct more detailed reviews, as permitted by law and subject to existing collective bargaining unit agreements, depending upon the criticality of the position.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-004-2		R3.2.		The Responsible Entity shall update each personnel risk assessment at least every seven years after the initial personnel risk assessment or for cause.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-004-2		R3.3.		The Responsible Entity shall document the results of personnel risk assessments of its personnel having authorized cyber or authorized unescorted physical access to Critical Cyber Assets, and that personnel risk assessments of contractor and service vendor personnel with such access are conducted pursuant to Standard CIP-004-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.		Access — The Responsible Entity shall maintain list(s) of personnel with authorized cyber or authorized unescorted physical access to Critical Cyber Assets, including their specific electronic and physical access rights to Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.1.		The Responsible Entity shall review the list(s) of its personnel who have such access to Critical Cyber Assets quarterly, and update the list(s) within seven calendar days of any change of personnel with such access to Critical Cyber Assets, or any change in the access rights of such personnel.  The Responsible Entity shall ensure access list(s) for contractors and service vendors are properly maintained.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-004-2		R4.2.		The Responsible Entity shall revoke such access to Critical Cyber Assets within 24 hours for personnel terminated for cause and within seven calendar days for personnel who no longer require such access to Critical Cyber Assets.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		CIP-005-2		R1.		Electronic Security Perimeter — The Responsible Entity shall ensure that every Critical Cyber Asset resides within an Electronic Security Perimeter. The Responsible Entity shall identify and document the Electronic Security Perimeter(s) and all access points to the perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.1.		Access points to the Electronic Security Perimeter(s) shall include any externally connected communication end point (for example, dial-up modems) terminating at any device within the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.2.		For a dial-up accessible Critical Cyber Asset that uses a non-routable protocol, the Responsible Entity shall define an Electronic Security Perimeter for that single access point at the dial-up device.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.3.		Communication links connecting discrete Electronic Security Perimeters shall not be considered part of the Electronic Security Perimeter. However, end points of these communication links within the Electronic Security Perimeter(s) shall be considered access points to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-005-2		R1.4.		Any non-critical Cyber Asset within a defined Electronic Security Perimeter shall be identified and protected pursuant to the requirements of Standard CIP-005-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-005-2		R1.5.		Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall be afforded the protective measures as a specified in Standard CIP-003-2; Standard CIP-004-2 Requirement R3; Standard CIP-005-2 Requirements R2 and R3; Standard CIP-006-2 Requirement R3; Standard CIP-007-2 Requirements R1 and R3 through R9; Standard CIP-008-2; and Standard CIP-009-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R1.6.		The Responsible Entity shall maintain documentation of Electronic Security Perimeter(s), all interconnected Critical and non-critical Cyber Assets within the Electronic Security Perimeter(s), all electronic access points to the Electronic Security Perimeter(s) and the Cyber Assets deployed for the access control and monitoring of these access points.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.		Electronic Access Controls — The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for control of electronic access at all electronic access points to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.1.		These processes and mechanisms shall use an access control model that denies access by default, such that explicit access permissions must be specified.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.2.		At all access points to the Electronic Security Perimeter(s), the Responsible Entity shall enable only ports and services required for operations and for monitoring Cyber Assets within the Electronic Security Perimeter, and shall document, individually or by specified grouping, the configuration of those ports and services.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.3.		The Responsible Entity shall implement and maintain a procedure for securing dial-up access to the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.4.		Where external interactive access into the Electronic Security Perimeter has been enabled, the Responsible Entity shall implement strong procedural or technical controls at the access points to ensure authenticity of the accessing party, where technically feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R2.5.		The required documentation shall, at least, identify and describe:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.1.		The processes for access request and authorization.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.2.		The authentication methods.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.3.		The review process for authorization rights, in accordance with Standard CIP-004-2 Requirement R4.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.5.4.		The controls used to secure dial-up accessible connections.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R2.6.		Appropriate Use Banner — Where technically feasible, electronic access control devices shall display an appropriate use banner on the user screen upon all interactive access attempts. The Responsible Entity shall maintain a document identifying the content of the banner.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-005-2		R3.		Monitoring Electronic Access — The Responsible Entity shall implement and document an electronic or manual process(es) for monitoring and logging access at access points to the Electronic Security Perimeter(s) twenty-four hours a day, seven days a week.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R3.1.		For dial-up accessible Critical Cyber Assets that use non-routable protocols, the Responsible Entity shall implement and document monitoring process(es) at each access point to the dial-up device, where technically feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R3.2.		Where technically feasible, the security monitoring process(es) shall detect and alert for attempts at or actual unauthorized accesses.  These alerts shall provide for appropriate notification to designated response personnel.  Where alerting is not technically feasible, the Responsible Entity shall review or otherwise assess access logs for attempts at or actual unauthorized accesses at least every ninety calendar days.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-005-2		R4.		Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of the electronic access points to the Electronic Security Perimeter(s) at least annually.  The vulnerability assessment shall include, at a minimum, the following:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R4.1.		A document identifying the vulnerability assessment process;		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R4.2.		A review to verify that only ports and services required for operations at these access points are enabled;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Planning: one year and longer

		CIP-005-2		R4.3.		The discovery of all access points to the Electronic Security Perimeter;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Planning: one year and longer

		CIP-005-2		R4.4.		A review of controls for default accounts, passwords, and network management community strings;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-005-2		R4.5.		Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-005-2		R5.		Documentation Review and Maintenance — The Responsible Entity shall review, update, and maintain all documentation to support compliance with the requirements of Standard CIP-005-2.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.1.		The Responsible Entity shall ensure that all documentation required by Standard CIP-005-2 reflect current configurations and processes and shall review the documents and procedures referenced in Standard CIP-005-2 at least annually.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.2.		The Responsible Entity shall update the documentation to reflect the modification of the network or controls within ninety calendar days of the change.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-005-2		R5.3.		The Responsible Entity shall retain electronic access logs for at least ninety calendar days.  Logs related to reportable incidents shall be kept in accordance with the requirements of Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.		Physical Security Plan — The Responsible Entity shall document, implement, and maintain a physical security plan, approved by the senior manager or delegate(s) that shall address, at a minimum, the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Real-time or current hour

		CIP-006-2		R1.1.		All Cyber Assets within an Electronic Security Perimeter shall reside within an identified Physical Security Perimeter.  Where a completely enclosed (“six-wall”) border cannot be established, the Responsible Entity shall deploy and document alternative measures to control physical access to such Cyber Assets.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R1.2.		Identification of all physical access points through each Physical Security Perimeter and measures to control entry at those access points.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.3.		Processes, tools, and procedures to monitor physical access to the perimeter(s).		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.4.		Appropriate use of physical access controls as described in Requirement R4 including visitor pass management, response to loss, and prohibition of inappropriate use of physical access controls.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.5.		Review of access authorization requests and revocation of access authorization, in accordance with CIP-004-2 Requirement R4.		Administrative (requires only documenting/reporting something).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R1.6.		Continuous escorted access within the Physical Security Perimeter of personnel not authorized for unescorted access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R1.7.		Update of the physical security plan within thirty calendar days of the completion of any physical security system redesign or reconfiguration, including, but not limited to, addition or removal of access points through the Physical Security Perimeter, physical access controls, monitoring controls, or logging controls.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-006-2		R1.8.		Annual review of the physical security plan.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-006-2		R2.		Protection of Physical Access Control Systems — Cyber Assets that authorize and/or log access to the Physical Security Perimeter(s), exclusive of hardware at the Physical Security Perimeter access point such as electronic lock control mechanisms and badge readers, shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R2.1.		Be protected from unauthorized physical access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES								Real-time or current hour

		CIP-006-2		R2.2.		Be afforded the protective measures specified in Standard CIP-003-2; Standard CIP-004-2 Requirement R3; Standard CIP-005-2 Requirements R2 and R3; Standard CIP-006-2 Requirements R4 and R5; Standard CIP-007-2; Standard CIP-008-2; and Standard CIP-009-2.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R3.		Protection of Electronic Access Control Systems — Cyber Assets used in the access control and/or monitoring of the Electronic Security Perimeter(s) shall reside within an identified Physical Security Perimeter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R4.		Physical Access Controls — The Responsible Entity shall document and implement the operational and procedural controls to manage physical access at all access points to the Physical Security Perimeter(s) twenty-four hours a day, seven days a week.  The Responsible Entity shall implement one or more of the following physical access methods: --Card Key:  A means of electronic access where the access rights of the card holder are predefined in a computer database.  Access rights may differ from one perimeter to another. --Special Locks:  These include, but are not limited to, locks with “restricted key” systems, magnetic locks that can be operated remotely, and “man-trap” systems. --Security Personnel:  Personnel responsible for controlling physical access who may reside on-site or at a monitoring station. --Other Authentication Devices:  Biometric, keypad, token, or other equivalent devices that control physical access to the Critical Cyber Assets.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R5.		Monitoring Physical Access — The Responsible Entity shall document and implement the technical and procedural controls for monitoring physical access at all access points to the Physical Security Perimeter(s) twenty-four hours a day, seven days a week.  Unauthorized access attempts shall be reviewed immediately and handled in accordance with the procedures specified in Requirement CIP-008-2.  One or more of the following monitoring methods shall be used: --Alarm Systems:  Systems that alarm to indicate a door, gate or window has been opened without authorization.  These alarms must provide for immediate notification to personnel responsible for response. --Human Observation of Access Points:  Monitoring of physical access points by authorized personnel as specified in Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Real-time or current hour

		CIP-006-2		R6.		Logging Physical Access — Logging shall record sufficient information to uniquely identify individuals and the time of access twenty-four hours a day, seven days a week.  The Responsible Entity shall implement and document the technical and procedural mechanisms for logging physical entry at all access points to the Physical Security Perimeter(s) using one or more of the following logging methods or their equivalent: --Computerized Logging:  Electronic logs produced by the Responsible Entity’s selected access control and monitoring method. --Video Recording:  Electronic capture of video images of sufficient quality to determine identity. --Manual Logging:  A log book or sign-in sheet, or other record of physical access maintained by security or other personnel authorized to control and monitor physical access as specified in Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R7.		Access Log Retention — The responsible entity shall retain physical access logs for at least ninety calendar days.  Logs related to reportable incidents shall be kept in accordance with the requirements of Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R8.		Maintenance and Testing — The Responsible Entity shall implement a maintenance and testing program to ensure that all physical security systems under Requirements R4, R5, and R6 function properly. The program must include, at a minimum, the following:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-006-2		R8.1.		Testing and maintenance of all physical security mechanisms on a cycle no longer than three years.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		CIP-006-2		R8.2.		Retention of testing and maintenance records for the cycle determined by the Responsible Entity in Requirement R8.1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-006-2		R8.3.		Retention of outage records regarding access controls, logging, and monitoring for a minimum of one calendar year.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R1.		Test Procedures — The Responsible Entity shall ensure that new Cyber Assets and significant changes to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security controls.  For purposes of Standard CIP-007-2, a significant change shall, at a minimum, include implementation of security patches, cumulative service packs, vendor releases, and version upgrades of operating systems, applications, database platforms, or other third-party software or firmware.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.1.		The Responsible Entity shall create, implement, and maintain cyber security test procedures in a manner that minimizes adverse effects on the production system or its operation.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.2.		The Responsible Entity shall document that testing is performed in a manner that reflects the production environment.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R1.3.		The Responsible Entity shall document test results.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R2.		Ports and Services — The Responsible Entity shall establish, document and implement a process to ensure that only those ports and services required for normal and emergency operations are enabled.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.1.		The Responsible Entity shall enable only those ports and services required for normal and emergency operations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.2.		The Responsible Entity shall disable other ports and services, including those used for testing purposes, prior to production use of all Cyber Assets inside the Electronic Security Perimeter(s).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R2.3.		In the case where unused ports and services cannot be disabled due to technical limitations, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R3.		Security Patch Management — The Responsible Entity, either separately or as a component of the documented configuration management process specified in CIP-003-2 Requirement R6,  shall establish, document and implement a security patch management program for tracking, evaluating, testing, and installing applicable cyber security software patches for all Cyber Assets within the Electronic Security Perimeter(s).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R3.1.		The Responsible Entity shall document the assessment of security patches and security upgrades for applicability within thirty calendar days of availability of the patches or upgrades.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R3.2.		The Responsible Entity shall document the implementation of security patches.  In any case where the patch is not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R4.		Malicious Software Prevention — The Responsible Entity shall use anti-virus software and other malicious software (“malware”) prevention tools, where technically feasible, to detect, prevent, deter, and mitigate the introduction, exposure, and propagation of malware on all Cyber Assets within the Electronic Security Perimeter(s).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R4.1.		The Responsible Entity shall document and implement anti-virus and malware prevention tools.  In the case where anti-virus software and malware prevention tools are not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R4.2.		The Responsible Entity shall document and implement a process for the update of anti-virus and malware prevention “signatures.”  The process must address testing and installing the signatures.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.		Account Management — The Responsible Entity shall establish, implement, and document technical and procedural controls that enforce access authentication of, and accountability for, all user activity, and that minimize the risk of unauthorized system access.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.1.		The Responsible Entity shall ensure that individual and shared system accounts and authorized access permissions are consistent with the concept of “need to know” with respect to work functions performed.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.1.1.		The Responsible Entity shall ensure that user accounts are implemented as approved by designated personnel. Refer to Standard CIP-003-2 Requirement R5.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R5.1.2.		The Responsible Entity shall establish methods, processes, and procedures that generate logs of sufficient detail to create historical audit trails of individual user account access activity for a minimum of ninety days.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R5.1.3.		The Responsible Entity shall review, at least annually, user accounts to verify access privileges are in accordance with Standard CIP-003-2 Requirement R5 and Standard CIP-004-2 Requirement R4.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R5.2.		The Responsible Entity shall implement a policy to minimize and manage the scope and acceptable use of administrator, shared, and other generic account privileges including factory default accounts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.1.		The policy shall include the removal, disabling, or renaming of such accounts where possible. For such accounts that must remain enabled, passwords shall be changed prior to putting any system into service.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.2.		The Responsible Entity shall identify those individuals with access to shared accounts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.2.3.		Where such accounts must be shared, the Responsible Entity shall have a policy for managing the use of such accounts that limits access to only those with authorization, an audit trail of the account use (automated or manual), and steps for securing the account in the event of personnel changes (for example, change in assignment or termination).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.3.		At a minimum, the Responsible Entity shall require and use passwords, subject to the following, as technically feasible:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R5.3.1.		Each password shall be a minimum of six characters.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.3.2.		Each password shall consist of a combination of alpha, numeric, and “special” characters.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R5.3.3.		Each password shall be changed at least annually, or more frequently based on risk.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		CIP-007-2		R6.		Security Status Monitoring — The Responsible Entity shall ensure that all Cyber Assets within the Electronic Security Perimeter, as technically feasible, implement automated tools or organizational process controls to monitor system events that are related to cyber security.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		CIP-007-2		R6.1.		The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for monitoring for security events on all Cyber Assets within the Electronic Security Perimeter.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R6.2.		The security monitoring controls shall issue automated or manual alerts for detected Cyber Security Incidents.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R6.3.		The Responsible Entity shall maintain logs of system events related to cyber security, where technically feasible, to support incident response as required in Standard CIP-008-2.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R6.4.		The Responsible Entity shall retain all logs specified in Requirement R6 for ninety calendar days.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R6.5.		The Responsible Entity shall review logs of system events related to cyber security and maintain records documenting review of logs.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R7.		Disposal or Redeployment — The Responsible Entity shall establish and implement formal methods, processes, and procedures for disposal or redeployment of Cyber Assets within the Electronic Security Perimeter(s) as identified and documented in Standard CIP-005-2.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		CIP-007-2		R7.1.		Prior to the disposal of such assets, the Responsible Entity shall destroy or erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R7.2.		Prior to redeployment of such assets, the Responsible Entity shall, at a minimum, erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.		risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		CIP-007-2		R7.3.		The Responsible Entity shall maintain records that such assets were disposed of or redeployed in accordance with documented procedures.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.		Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of all Cyber Assets within the Electronic Security Perimeter at least annually.  The vulnerability assessment shall include, at a minimum, the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.1.		A document identifying the vulnerability assessment process;		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.2.		A review to verify that only ports and services required for operation of the Cyber Assets within the Electronic Security Perimeter are enabled;		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.3.		A review of controls for default accounts; and,		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R8.4.		Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.		Administrative (requires only documenting/reporting something).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-007-2		R9.		Documentation Review and Maintenance — The Responsible Entity shall review and update the documentation specified in Standard CIP-007-2 at least annually.  Changes resulting from modifications to the systems or controls shall be documented within thirty calendar days of the change being completed.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R1.		Cyber Security Incident Response Plan — The Responsible Entity shall develop and maintain a Cyber Security Incident response plan and implement the plan in response to Cyber Security Incidents.  The Cyber Security Incident response plan shall address, at a minimum, the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.1.		Procedures to characterize and classify events as reportable Cyber Security Incidents.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.2.		Response actions, including roles and responsibilities of Cyber Security Incident response teams, Cyber Security Incident handling procedures, and communication plans.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.3.		Process for reporting Cyber Security Incidents to the Electricity Sector Information Sharing and Analysis Center (ES-ISAC).  The Responsible Entity must ensure that all reportable Cyber Security Incidents are reported to the ES-ISAC either directly or through an intermediary.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		CIP-008-2		R1.4.		Process for updating the Cyber Security Incident response plan within thirty calendar days of any changes.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R1.5.		Process for ensuring that the Cyber Security Incident response plan is reviewed at least annually.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-008-2		R2.		Cyber Security Incident Documentation — The Responsible Entity shall keep relevant documentation related to Cyber Security Incidents reportable per Requirement R1.1 for three calendar years.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.		Recovery Plans — The Responsible Entity shall create and annually review recovery plan(s) for Critical Cyber Assets. The recovery plan(s) shall address at a minimum the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.1.		Specify the required actions in response to events or conditions of varying duration and severity that would activate the recovery plan(s).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R1.2.		Define the roles and responsibilities of responders.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		CIP-009-2		R2.		Exercises — The recovery plan(s) shall be exercised at least annually.  An exercise of the recovery plan(s) can range from a paper drill, to a full operational exercise, to recovery from an actual incident.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-009-2		R3.		Change Control — Recovery plan(s) shall be updated to reflect any changes or lessons learned as a result of an exercise or the recovery from an actual incident.  Updates shall be communicated to personnel responsible for the activation and implementation of the recovery plan(s) within thirty calendar days of the change being completed.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		CIP-009-2		R4.		Backup and Restore — The recovery plan(s) shall include processes and procedures for the backup and storage of information required to successfully restore Critical Cyber Assets.  For example, backups may include spare electronic components or equipment, written documentation of configuration settings, tape backup, etc.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		CIP-009-2		R5.		Testing Backup Media — Information essential to recovery that is stored on backup media shall be tested at least annually to ensure that the information is available.  Testing can be completed off site.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		COM-001-1		R1.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall provide adequate and reliable telecommunications facilities for the exchange of Interconnection and operating information:		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES				Real-time or current hour

		COM-001-1.1		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall manage, alarm, test and/or actively monitor vital telecommunications facilities.  Special attention shall be given to emergency telecommunications facilities and equipment not used for routine communications.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		COM-001-1.1		R3.		Each Reliability Coordinator, Transmission Operator and Balancing Authority shall provide a means to coordinate telecommunications among their respective areas.  This coordination shall include the ability to investigate and recommend solutions to telecommunications problems within the area and with other areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Real-time or current hour

		COM-001-1.1		R4.		Unless agreed to otherwise, each Reliability Coordinator, Transmission Operator, and Balancing Authority shall use English as the language for all communications between and among operating personnel responsible for the real-time generation control and operation of the interconnected Bulk Electric System.  Transmission Operators and Balancing Authorities may use an alternate language for internal operations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		COM-001-1.1		R5.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall have written operating instructions and procedures to enable continued operation of the system during the loss of telecommunications facilities.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES		YES				Real-time or current hour

		COM-001-1.1		R6.		Each NERCNet User Organization shall adhere to the requirements in Attachment 1-COM-001-0, “NERCNet Security Policy.”		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Real-time or current hour

		COM-002-2		R1.		Each Transmission Operator, Balancing Authority, and Generator Operator shall have communications (voice and data links) with appropriate Reliability Coordinators, Balancing Authorities, and Transmission Operators.  Such communications shall be staffed and available for addressing a real-time emergency condition.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES				Real-time or current hour

		COM-002-2		R1.1.		Each Balancing Authority and Transmission Operator shall notify its Reliability Coordinator, and all other potentially affected Balancing Authorities and Transmission Operators through predetermined communication paths of any condition that could threaten the reliability of its area or when firm load shedding is anticipated.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Real-time or current hour

		COM-002-2		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall issue directives in a clear, concise, and definitive manner; shall ensure the recipient of the directive repeats the information back correctly; and shall acknowledge the response as correct or repeat the original statement to resolve any misunderstandings.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		EOP-002-2		R7.1.		Manually shed firm load without delay to return its ACE to zero; and		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Real-time or current hour

		EOP-002-2		R7.2.		Request the Reliability Coordinator to declare an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Real-time or current hour

		EOP-002-2		R8.		A Reliability Coordinator that has any Balancing Authority within its Reliability Coordinator area experiencing a potential or actual Energy Emergency shall initiate an Energy Emergency Alert as detailed in Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”  The Reliability Coordinator shall act to mitigate the emergency condition, including a request for emergency assistance if required.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES				YES		YES		Same-day

		EOP-002-2		R9.		When a Transmission Service Provider expects to elevate the transmission service priority of an Interchange Transaction from Priority 6 (Network Integration Transmission Service from Non-designated Resources) to Priority 7 (Network Integration Transmission Service from designated Network Resources) as permitted in its transmission tariff (See Attachment 1-IRO-006-0 “Transmission Loading Relief Procedure” for explanation of Transmission Service Priorities):		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.												YES		Same-day

		EOP-003-1		R1.		After taking all other remedial steps, a Transmission Operator or Balancing Authority operating with insufficient generation or transmission capacity shall shed customer load rather than risk an uncontrolled failure of components or cascading outages of the Interconnection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Same-day

		EOP-003-1		R2.		Each Transmission Operator and Balancing Authority shall establish plans for automatic load shedding for underfrequency or undervoltage conditions.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R3.		Each Transmission Operator and Balancing Authority shall coordinate load shedding plans among other interconnected Transmission Operators and Balancing Authorities.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R4.		A Transmission Operator or Balancing Authority shall consider one or more of these factors in designing an automatic load shedding scheme: frequency, rate of frequency decay, voltage level, rate of voltage decay, or power flow levels.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R5.		A Transmission Operator or Balancing Authority shall implement load shedding in steps established to minimize the risk of further uncontrolled separation, loss of generation, or system shutdown.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-003-1		R6.		After a Transmission Operator or Balancing Authority Area separates from the Interconnection, if there is insufficient generating capacity to restore system frequency following automatic underfrequency load shedding, the Transmission Operator or Balancing Authority shall shed additional load.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-003-1		R7.		The Transmission Operator and Balancing Authority shall coordinate automatic load shedding throughout their areas with underfrequency isolation of generating units, tripping of shunt capacitors, and other automatic actions that will occur under abnormal frequency, voltage, or power flow conditions.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Planning: one year and longer

		EOP-003-1		R8.		Each Transmission Operator or Balancing Authority shall have plans for operator-controlled manual load shedding to respond to real-time emergencies.  The Transmission Operator or Balancing Authority shall be capable of implementing the load shedding in a timeframe adequate for responding to the emergency.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.				YES		YES		YES		YES				Real-time or current hour

		EOP-004-1		R1.		Each Regional Reliability Organization shall establish and maintain a Regional reporting procedure to facilitate preparation of preliminary and final disturbance reports.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		EOP-004-1		R2.		A Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity shall promptly analyze Bulk Electric System disturbances on its system or facilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.		A Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity experiencing a reportable incident shall provide a preliminary written report to its Regional Reliability Organization and NERC.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.1.		The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator or Load-Serving Entity shall submit within 24 hours of the disturbance or unusual occurrence either a copy of the report submitted to DOE, or, if no DOE report is required, a copy of the NERC Interconnection Reliability Operating Limit and Preliminary Disturbance Report form.  Events that are not identified until some time after they occur shall be reported within 24 hours of being recognized.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.2.		Applicable reporting forms are provided in Attachments 022-1 and 022-2.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R3.3.		Under certain adverse conditions, e.g., severe weather, it may not be possible to assess the damage caused by a disturbance and issue a written Interconnection Reliability Operating Limit and Preliminary Disturbance Report within 24 hours.  In such cases, the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall promptly notify its Regional Reliability Organization(s) and NERC, and verbally provide as much information as is available at that time.  The affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall then provide timely, periodic verbal updates until adequate information is available to issue a written Preliminary Disturbance Report.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		EOP-004-1		R3.4.		If, in the judgment of the Regional Reliability Organization, after consultation with the Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity in which a disturbance occurred, a final report is required, the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity shall prepare this report within 60 days.  As a minimum, the final report shall have a discussion of the events and its cause, the conclusions reached, and recommendations to prevent recurrence of this type of event.  The report shall be subject to Regional Reliability Organization approval.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R4.		When a Bulk Electric System disturbance occurs, the Regional Reliability Organization shall make its representatives on the NERC Operating Committee and Disturbance Analysis Working Group available to the affected Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, or Load-Serving Entity immediately affected by the disturbance for the purpose of providing any needed assistance in the investigation and to assist in the preparation of a final report.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-004-1		R5.		The Regional Reliability Organization shall track and review the status of all final report recommendations at least twice each year to ensure they are being acted upon in a timely manner.  If any recommendation has not been acted on within two years, or if Regional Reliability Organization tracking and review indicates at any time that any recommendation is not being acted on with sufficient diligence, the Regional Reliability Organization shall notify the NERC Planning Committee and Operating Committee of the status of the recommendation(s) and the steps the Regional Reliability Organization has taken to accelerate implementation.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-005-1		R1.		Each Transmission Operator shall have a restoration plan to reestablish its electric system in a stable and orderly manner in the event of a partial or total shutdown of its system, including necessary operating instructions and procedures to cover emergency conditions, and the loss of vital telecommunications channels.  Each Transmission Operator shall include the applicable elements listed in Attachment 1-EOP-005 in developing a restoration plan.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES				YES				Real-time or current hour

		EOP-005-1		R10.		The Transmission Operator shall demonstrate, through simulation or testing, that the blackstart generating units in its restoration plan can perform their intended functions as required in the regional restoration plan.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES				YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R10.1.		The Transmission Operator shall perform this simulation or testing at least once every five years.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES				YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R11.		Following a disturbance in which one or more areas of the Bulk Electric System become isolated or blacked out, the affected Transmission Operators and Balancing Authorities shall begin immediately to return the Bulk Electric System to normal.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-005-1		R11.1.		The affected Transmission Operators and Balancing Authorities shall work in conjunction with their Reliability Coordinator(s) to determine the extent and condition of the isolated area(s).		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.2.		The affected Transmission Operators and Balancing Authorities shall take the necessary actions to restore Bulk Electric System frequency to normal, including adjusting generation, placing additional generators on line, or load shedding.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.3.		The affected Balancing Authorities, working with their Reliability Coordinator(s), shall immediately review the Interchange Schedules between those Balancing Authority Areas or fragments of those Balancing Authority Areas within the separated area and make adjustments as needed to facilitate the restoration. The affected Balancing Authorities shall make all attempts to maintain the adjusted Interchange Schedules, whether generation control is manual or automatic.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R11.4.		The affected Transmission Operators shall give high priority to restoration of off-site power to nuclear stations.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES				YES		YES				Real-time or current hour

		EOP-005-1		R11.5.		The affected Transmission Operators may resynchronize the isolated area(s) with the surrounding area(s) when the following conditions are met:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Real-time or current hour

		EOP-005-1		R2.		Each Transmission Operator shall review and update its restoration plan at least annually and whenever it makes changes in the power system network, and shall correct deficiencies found during the simulated restoration exercises.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES				YES				Operations planning: day-ahead up to one year

		EOP-005-1		R3.		Each Transmission Operator shall develop restoration plans with a priority of restoring the integrity of the Interconnection.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R4.		Each Transmission Operator shall coordinate its restoration plans with the Generator Owners and Balancing Authorities within its area, its Reliability Coordinator, and neighboring Transmission Operators and Balancing Authorities.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES				YES				Operations planning: day-ahead up to one year

		EOP-005-1		R5.		Each Transmission Operator and Balancing Authority shall periodically test its telecommunication facilities needed to implement the restoration plan.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.										YES				Operations planning: day-ahead up to one year

		EOP-005-1		R6.		Each Transmission Operator and Balancing Authority shall train its operating personnel in the implementation of the restoration plan.   Such training shall include simulated exercises, if practicable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES		YES				Operations planning: day-ahead up to one year

		EOP-005-1		R7.		Each Transmission Operator and Balancing Authority shall verify the restoration procedure by actual testing or by simulation.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.				YES				YES		YES				Planning: one year and longer

		EOP-005-1		R8.		Each Transmission Operator shall verify that the number, size, availability, and location of system blackstart generating units are sufficient to meet Regional Reliability Organization restoration plan requirements for the Transmission Operator’s area.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.				YES						YES				Operations planning: day-ahead up to one year

		EOP-005-1		R9.		The Transmission Operator shall document the Cranking Paths, including initial switching requirements, between each blackstart generating unit and the unit(s) to be started and shall provide this documentation for review by the Regional Reliability Organization upon request.  Such documentation may include Cranking Path diagrams.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.				YES						YES				Operations planning: day-ahead up to one year

		EOP-006-1		R1.		Each Reliability Coordinator shall be aware of the restoration plan of each Transmission Operator in its Reliability Coordinator Area in accordance with NERC and regional requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.										YES				Operations planning: day-ahead up to one year

		EOP-006-1		R2.		The Reliability Coordinator shall monitor restoration progress and coordinate any needed assistance.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R3.		The Reliability Coordinator shall have a Reliability Coordinator Area restoration plan that provides coordination between individual Transmission Operator restoration plans and that ensures reliability is maintained during system restoration events.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES						YES				Operations planning: day-ahead up to one year

		EOP-006-1		R4.		The Reliability Coordinator shall serve as the primary contact for disseminating information regarding restoration to neighboring Reliability Coordinators and Transmission Operators or Balancing Authorities not immediately involved in restoration.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R5.		Reliability Coordinators shall approve, communicate, and coordinate the re-synchronizing of major system islands or synchronizing points so as not to cause a Burden on adjacent Transmission Operator, Balancing Authority, or Reliability Coordinator Areas.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-006-1		R6.		The Reliability Coordinator shall take actions to restore normal operations once an operating emergency has been mitigated in accordance with its restoration plan.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES						YES				Real-time or current hour

		EOP-007-0		R1.		Each Regional Reliability Organization shall establish and maintain a system BCP, as part of an overall coordinated Regional SRP. The Regional SRP shall include requirements for verification through analysis how system blackstart generating units shall perform their intended functions and shall be sufficient to meet SRP expectations. The Regional Reliability Organization shall coordinate with and among other Regional Reliability Organizations as appropriate in the development of its BCP. The BCP shall include:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.1.		A requirement to have a database that contains all blackstart generators1 designated for use in an SRP within the respective areas. This database shall be updated on an annual basis. The database shall include the name, location, megawatt capacity, type of unit, latest date of test, and starting method.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.2.		A requirement to demonstrate that blackstart units perform their intended functions as required in the Regional SRP. This requirement can be met through either simulation or testing. The BCP must consider the availability of designated BCP units and initial transmission switching requirements.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).										YES				Operations planning: day-ahead up to one year

		EOP-007-0		R1.3.		Blackstart unit testing requirements including, but not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES						YES				Operations planning: day-ahead up to one year

		EOP-007-0		R2.		The Regional Reliability Organization shall provide documentation of its system BCPs to NERC within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		EOP-008-0		R1.		Each Reliability Coordinator, Transmission Operator and Balancing Authority shall have a plan to continue reliability operations in the event its control center becomes inoperable.  The contingency plan must meet the following requirements:		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.1.		The contingency plan shall not rely on data or voice communication from the primary control facility to be viable.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Real-time or current hour

		EOP-008-0		R1.2.		The plan shall include procedures and responsibilities for providing basic tie line control and procedures and for maintaining the status of all inter-area schedules, such that there is an hourly accounting of all schedules.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.3.		The contingency plan must address monitoring and control of critical transmission facilities, generation control, voltage control, time and frequency control, control of critical substation devices, and logging of significant power system events.  The plan shall list the critical facilities.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.4.		The plan shall include procedures and responsibilities for maintaining basic voice communication capabilities with other areas.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES												Real-time or current hour

		EOP-008-0		R1.5.		The plan shall include procedures and responsibilities for conducting periodic tests, at least annually, to ensure viability of the plan.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Operations planning: day-ahead up to one year

		EOP-008-0		R1.6.		The plan shall include procedures and responsibilities for providing annual training to ensure that operating personnel are able to implement the contingency plans.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES												Operations planning: day-ahead up to one year

		EOP-008-0		R1.7.		The plan shall be reviewed and updated annually.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		EOP-008-0		R1.8.		Interim provisions must be included if it is expected to take more than one hour to implement the contingency plan for loss of primary control facility.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Real-time or current hour

		EOP-009-0		R1.		The Generator Operator of each blackstart generating unit shall test the startup and operation of each system blackstart generating unit identified in the BCP as required in the Regional BCP (Reliability Standard EOP-007-0_R1).  Testing records shall include the dates of the tests, the duration of the tests, and an indication of whether the tests met Regional BCP requirements.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.										YES				Operations planning: day-ahead up to one year

		EOP-009-0		R2.		The Generator Owner or Generator Operator shall provide documentation of the test results of the startup and operation of each blackstart generating unit to the Regional Reliability Organizations and upon request to NERC.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		FAC-001-0		R1.		The Transmission Owner shall document, maintain, and publish facility connection requirements to ensure compliance with NERC Reliability Standards and applicable Regional Reliability Organization, subregional, Power Pool, and individual Transmission Owner planning criteria and facility connection requirements.  The Transmission Owner’s facility connection requirements shall address connection requirements for:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		FAC-001-0		R1.1.		Generation facilities,		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R1.2.		Transmission facilities, and		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R1.3.		End-user facilities		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.		The Transmission Owner’s facility connection requirements shall address, but are not limited to, the following items:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.		Provide a written summary of its plans to achieve the required system performance as described above throughout the planning horizon:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.1.		Procedures for coordinated joint studies of new facilities and their impacts on the interconnected transmission systems.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.10.		Power quality impacts.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.11.		Equipment Ratings.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES				YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.12.		Synchronizing of facilities.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES		YES				Planning: one year and longer

		FAC-001-0		R2.1.13.		Maintenance coordination.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.14.		Operational issues (abnormal frequency and voltages).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES		YES				Planning: one year and longer

		FAC-001-0		R2.1.15.		Inspection requirements for existing or new facilities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.16.		Communications and procedures during normal and emergency operating conditions.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES		YES		YES		Planning: one year and longer

		FAC-001-0		R2.1.2.		Procedures for notification of new or modified facilities to others (those responsible for the reliability of the interconnected transmission systems) as soon as feasible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.3.		Voltage level and MW and MVAR capacity or demand at point of connection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.4.		Breaker duty and surge protection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.5.		System protection and coordination.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES				YES		Planning: one year and longer

		FAC-001-0		R2.1.6.		Metering and telecommunications.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES		YES		YES		Planning: one year and longer

		FAC-001-0		R2.1.7.		Grounding and safety issues.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.8.		Insulation and insulation coordination.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES						Planning: one year and longer

		FAC-001-0		R2.1.9.		Voltage, Reactive Power, and power factor control.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES				YES		Planning: one year and longer

		FAC-001-0		R3.		The Transmission Owner shall maintain and update its facility connection requirements as required.  The Transmission Owner shall make documentation of these requirements available to the users of the transmission system, the Regional Reliability Organization, and NERC on request (five business days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		FAC-002-0		R1.		The Generator Owner, Transmission Owner, Distribution Provider, and Load-Serving Entity seeking to integrate generation facilities, transmission facilities, and electricity end-user facilities shall each coordinate and cooperate on its assessments with its Transmission Planner and Planning Authority.  The assessment shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.1.		Evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.2.		Ensurance of compliance with NERC Reliability Standards and applicable Regional, subregional, Power Pool, and individual system planning criteria and facility connection requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.3.		Evidence that the parties involved in the assessment have coordinated and cooperated on the assessment of the reliability impacts of new facilities on the interconnected transmission systems.  While these studies may be performed independently, the results shall be jointly evaluated and coordinated by the entities involved.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.4.		Evidence that the assessment included steady-state, short-circuit, and dynamics studies as necessary to evaluate system performance in accordance with Reliability Standard TPL-001-0.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R1.5.		Documentation that the assessment included study assumptions, system performance, alternatives considered, and jointly coordinated recommendations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		FAC-002-0		R2.		The Planning Authority, Transmission Planner, Generator Owner, Transmission Owner, Load-Serving Entity, and Distribution Provider shall each retain its documentation (of its evaluation of the reliability impact of the new facilities and their connections on the interconnected transmission systems) for three years and shall provide the documentation to the Regional Reliability Organization(s) Regional Reliability Organization(s) and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-003-1		R1.		The Transmission owner shall prepare, and keep current, a formal transmission vegetation management (TVM). The TVMP shall include the Transmission Owner's objectives, practices, approved procedures, and work Specifications.  1. ANSI A300, Tree Care Operations – Tree, Shrub, and Other Woody Plant Maintenance – Standard Practices, while not a requirement of this standard, is considered to be an industry best practice.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.1.		The TVMP shall define a schedule for and the type (aerial, ground) of ROW vegetation inspections.  This schedule should be flexible enough to adjust for changing conditions.  The inspection schedule shall be based on the anticipated growth of vegetation and any other environmental or operational factors that could impact the relationship of vegetation to the Transmission Owner’s transmission lines.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.		The Transmission Owner, in the TVMP, shall identify and document clearances between vegetation and any overhead, ungrounded supply conductors, taking into consideration transmission line voltage, the effects of ambient temperature on conductor sag under maximum design loading, and the effects of wind velocities on conductor sway.  Specifically, the Transmission Owner shall establish clearances to be achieved at the time of vegetation management work identified herein as Clearance 1, and shall also establish and maintain a set of clearances identified herein as Clearance 2 to prevent flashover between vegetation and overhead ungrounded supply conductors.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.1.		Clearance 1 — The Transmission Owner shall determine and document appropriate clearance distances to be achieved at the time of transmission vegetation management work based upon local conditions and the expected time frame in which the Transmission Owner plans to return for future vegetation management work.  Local conditions may include, but are not limited to:  operating voltage, appropriate vegetation management techniques, fire risk, reasonably anticipated tree and conductor movement, species types and growth rates, species failure characteristics, local climate and rainfall patterns, line terrain and elevation, location of the vegetation within the span, and worker approach distance requirements.  Clearance 1 distances shall be greater than those defined by Clearance 2 below.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.		Clearance 2 — The Transmission Owner shall determine and document specific radial clearances to be maintained between vegetation and conductors under all rated electrical operating conditions.  These minimum clearance distances are necessary to prevent flashover between vegetation and conductors and will vary due to such factors as altitude and operating voltage.  These Transmission Owner-specific minimum clearance distances shall be no less than those set forth in the Institute of Electrical and Electronics Engineers (IEEE) Standard 516-2003 (Guide for Maintenance Methods on Energized Power Lines) and as specified in its Section 4.2.2.3, Minimum Air Insulation Distances without Tools in the Air Gap.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.1.		Where transmission system transient overvoltage factors are not known, clearances shall be derived from Table 5, IEEE 516-2003, phase-to-ground distances, with appropriate altitude correction factors applied.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.2.2.2.		Where transmission system transient overvoltage factors are known, clearances shall be derived from Table 7, IEEE 516-2003, phase-to-phase voltages, with appropriate altitude correction factors applied.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.3.		All personnel directly involved in the design and implementation of the TVMP shall hold appropriate qualifications and training, as defined by the Transmission Owner, to perform their duties.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		FAC-003-1		R1.4.		Each Transmission Owner shall develop mitigation measures to achieve sufficient clearances for the protection of the transmission facilities when it identifies locations on the ROW where the Transmission Owner is restricted from attaining the clearances specified in Requirement 1.2.1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		FAC-003-1		R1.5.		Each Transmission Owner shall establish and document a process for the immediate communication of vegetation conditions that present an imminent threat of a transmission line outage. This is so that action (temporary reduction in line rating, switching line out of service, etc.) may be taken until the threat is relieved.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-003-1		R2.		The Transmission Owner shall create and implement an annual plan for vegetation management work to ensure the reliability of the system.  The plan shall describe the methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions. The plan should be flexible enough to adjust to changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the transmission systems.  Adjustments to the plan shall be documented as they occur.  The plan should take into consideration the time required to obtain permissions or permits from landowners or regulatory authorities.  Each Transmission Owner shall have systems and procedures for documenting and tracking the planned vegetation management work and ensuring that the vegetation management work was completed according to work specifications.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		FAC-003-1		R3.		The Transmission Owner shall report quarterly to its RRO, or the RRO’s designee, sustained transmission line outages determined by the Transmission Owner to have been caused by vegetation.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.1.		Multiple sustained outages on an individual line, if caused by the same vegetation, shall be reported as one outage regardless of the actual number of outages within a 24-hour period.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.2.		The Transmission Owner is not required to report to the RRO, or the RRO’s designee, certain sustained transmission line outages caused by vegetation: (1) Vegetation-related outages that result from vegetation falling into lines from outside the ROW that result from natural disasters shall not be considered reportable (examples of disasters that could create non-reportable outages include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, major storms as defined either by the Transmission Owner or an applicable regulatory body, ice storms, and floods), and (2) Vegetation-related outages due to human or animal activity shall not be considered reportable  (examples of human or animal activity that could cause a non-reportable outage include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural activities or horticultural or agricultural activities, or removal or digging of vegetation).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.3.		The outage information provided by the Transmission Owner to the RRO, or the RRO’s designee, shall include at a minimum: the name of the circuit(s) outaged, the date, time and duration of the outage; a description of the cause of the outage; other pertinent comments; and any countermeasures taken by the Transmission Owner.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.		An outage shall be categorized as one of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.1.		Category 1 — Grow-ins: Outages caused by vegetation growing into lines from vegetation inside and/or outside of the ROW;		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.2.		Category 2 — Fall-ins: Outages caused by vegetation falling into lines from inside the ROW;		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R3.4.3.		Category 3 — Fall-ins: Outages caused by vegetation falling into lines from outside the ROW.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-003-1		R4.		The RRO shall report the outage information provided to it by Transmission Owner’s, as required by Requirement 3, quarterly to NERC, as well as any actions taken by the RRO as a result of any of the reported outages.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		FAC-008-1		R1.		The Transmission Owner and Generator Owner shall each document its current methodology used for developing Facility Ratings (Facility Ratings Methodology) of its solely and jointly owned Facilities.  The methodology shall include all of the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.1.		A statement that a Facility Rating shall equal the most limiting applicable Equipment Rating of the individual equipment that comprises that Facility.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-008-1		R1.2.		The method by which the Rating (of major BES equipment that comprises a Facility) is determined.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.2.1.		The scope of equipment addressed shall include, but not be limited to, generators, transmission conductors, transformers, relay protective devices, terminal equipment, and series and shunt compensation devices.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.2.2.		The scope of Ratings addressed shall include, as a minimum, both Normal and Emergency Ratings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.		Consideration of the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.1.		Ratings provided by equipment manufacturers.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.2.		Design criteria (e.g., including applicable references to industry Rating practices such as manufacturer’s warranty, IEEE, ANSI or other standards).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.3.		Ambient conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.4.		Operating limitations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R1.3.5.		Other assumptions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R2.		The Transmission Owner and Generator Owner shall each make its Facility Ratings Methodology available for inspection and technical review by those Reliability Coordinators, Transmission Operators, Transmission Planners, and Planning Authorities that have responsibility for the area in which the associated Facilities are located, within 15 business days of receipt of a request.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-008-1		R3.		If a Reliability Coordinator, Transmission Operator, Transmission Planner, or Planning Authority provides written comments on its technical review of a Transmission Owner’s or Generator Owner’s Facility Ratings Methodology, the Transmission Owner or Generator Owner shall provide a written response to that commenting entity within 45 calendar days of receipt of those comments.  The response shall indicate whether a change will be made to the Facility Ratings Methodology and, if no change will be made to that Facility Ratings Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-009-1		R1.		The Transmission Owner and Generator Owner shall each establish Facility Ratings for its solely and jointly owned Facilities that are consistent with the associated Facility Ratings Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-009-1		R2.		The Transmission Owner and Generator Owner shall each provide Facility Ratings for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities to its associated Reliability Coordinator(s), Planning Authority(ies), Transmission Planner(s), and Transmission Operator(s) as scheduled by such requesting entities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.		The Planning Authority shall have a documented SOL Methodology for use in developing SOLs within its Planning Authority Area. This SOL Methodology shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.1.		Be applicable for developing SOLs used in the planning horizon.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R1.2.		State that SOLs shall not exceed associated Facility Ratings.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Operations planning: day-ahead up to one year

		FAC-010-1		R1.3.		Include a description of how to identify the subset of SOLs that qualify as
IROLs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.		The Planning Authority’s SOL Methodology shall include a requirement that SOLs
provide BES performance consistent with the following:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.1.		In the pre-contingency state and with all Facilities in service, the BES shall demonstrate transient, dynamic and voltage stability; all Facilities shall be within their Facility Ratings and within their thermal, voltage and stability limits. In the determination of SOLs, the BES condition used shall reflect expected system conditions and shall reflect changes to system topology such as Facility outages.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.		Following the single Contingencies1 identified in Requirement 2.2.1 through Requirement 2.2.3, the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not occur.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.1.		Single line to ground or three-phase Fault (whichever is more severe), with Normal Clearing, on any Faulted generator, line, transformer, or shunt device.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.2.		Loss of any generator, line, transformer, or shunt device without a Fault.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.2.3.		Single pole block, with Normal Clearing, in a monopolar or bipolar high voltage direct current system.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.		Starting with all Facilities in service, the system’s response to a single Contingency, may include any of the following:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.1.		Planned or controlled interruption of electric supply to radial customers or some local network customers connected to or supplied by the Faulted Facility or by the affected area.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.2.		System reconfiguration through manual or automatic control or protection actions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.3.3.		To prepare for the next Contingency, system adjustments may be made, including changes to generation, uses of the transmission system, and the transmission system topology.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.4.		Starting with all facilities in service and following any of the multiple Contingencies identified in Reliability Standard TPL-003 the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not
occur.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.5.		In determining the system’s response to any of the multiple Contingencies, identified in Reliability Standard TPL-003, in addition to the actions identified in R2.3.1 and R2.3.2, the following shall be acceptable:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R2.5.1.		Planned or controlled interruption of electric supply to customers (load shedding), the planned removal from service of certain generators, and/or the curtailment of contracted Firm (non-recallable reserved) electric power Transfers		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.		The Planning Authority’s methodology for determining SOLs, shall include, as a
minimum, a description of the following, along with any reliability margins applied for
each:		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.1.		Study model (must include at least the entire Planning Authority Area as well as the critical modeling details from other Planning Authority Areas that would impact the Facility or Facilities under study).		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.2.		Selection of applicable Contingencies.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.3.		Level of detail of system models used to determine SOLs.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.4.		Allowed uses of Special Protection Systems or Remedial Action Plans.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.5.		Anticipated transmission system configuration, generation dispatch and Load level.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R3.6.		Criteria for determining when violating a SOL qualifies as an Interconnection Reliability Operating Limit (IROL) and criteria for developing any associated IROL Tv.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.		The Planning Authority shall issue its SOL Methodology, and any change to that methodology, to all of the following prior to the effectiveness of the change:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.1.		Each adjacent Planning Authority and each Planning Authority that indicated it
has a reliability-related need for the methodology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.2.		Each Reliability Coordinator and Transmission Operator that operates any portion of the Planning Authority’s Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R4.3.		Each Transmission Planner that works in the Planning Authority’s Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-010-1		R5.		If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.		The Reliability Coordinator shall have a documented methodology for use in developing SOLs (SOL Methodology) within its Reliability Coordinator Area. This SOL Methodology shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.1.		Be applicable for developing SOLs used in the operations horizon.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R1.2.		State that SOLs shall not exceed associated Facility Ratings.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-011-1		R1.3.		Include a description of how to identify the subset of SOLs that qualify as IROLs		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-011-1		R2.		The Reliability Coordinator’s SOL Methodology shall include a requirement that SOLs
provide BES performance consistent with the following:		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.1.		In the pre-contingency state, the BES shall demonstrate transient, dynamic and voltage stability; all Facilities shall be within their Facility Ratings and within their thermal, voltage and stability limits. In the determination of SOLs, the BES condition used shall reflect current or expected system conditions and shall reflect changes to system topology such as Facility outages.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.		Following the single Contingencies1 identified in Requirement 2.2.1 through Requirement 2.2.3, the system shall demonstrate transient, dynamic and voltage stability; all Facilities shall be operating within their Facility Ratings and within their thermal, voltage and stability limits; and Cascading Outages or uncontrolled separation shall not occur.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.1.		Single line to ground or 3-phase Fault (whichever is more severe), with Normal Clearing, on any Faulted generator, line, transformer, or shunt device.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.2.		Loss of any generator, line, transformer, or shunt device without a Fault.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.2.3.		Single pole block, with Normal Clearing, in a monopolar or bipolar high voltage direct current system.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.		In determining the system’s response to a single Contingency, the following shall be acceptable:		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.1.		Planned or controlled interruption of electric supply to radial customers or some local network customers connected to or supplied by the Faulted Facility or by the affected area.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.2.		Interruption of other network customers, only if the system has already been adjusted, or is being adjusted, following at least one prior outage, or, if the real-time operating conditions are more adverse than anticipated in the corresponding studies, e.g., load greater than
studied.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.3.3.		System reconfiguration through manual or automatic control or protection actions.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R2.4.		To prepare for the next Contingency, system adjustments may be made, including changes to generation, uses of the transmission system, and the transmission system topology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.		The Reliability Coordinator’s methodology for determining SOLs, shall include, as a
minimum, a description of the following, along with any reliability margins applied for
each:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.1.		Study model (must include at least the entire Reliability Coordinator Area as well as the critical modeling details from other Reliability Coordinator Areas that would impact the Facility or Facilities under study.)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.2.		Selection of applicable Contingencies		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.3.		A process for determining which of the stability limits associated with the list of multiple contingencies (provided by the Planning Authority in accordance with FAC-014 Requirement 6) are applicable for use in the operating horizon given the actual or expected system conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.3.1.		This process shall address the need to modify these limits, to modify the list of limits, and to modify the list of associated multiple contingencies.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.4.		Level of detail of system models used to determine SOLs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.5.		Allowed uses of Special Protection Systems or Remedial Action Plans.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.6.		Anticipated transmission system configuration, generation dispatch and Load level		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R3.7.		Criteria for determining when violating a SOL qualifies as an Interconnection Reliability Operating Limit (IROL) and criteria for developing any associated IROL Tv.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.		The Reliability Coordinator shall issue its SOL Methodology and any changes to that methodology, prior to the effectiveness of the Methodology or of a change to the Methodology, to all of the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.1.		Each adjacent Reliability Coordinator and each Reliability Coordinator that indicated it has a reliability-related need for the methodology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.2.		Each Planning Authority and Transmission Planner that models any portion of
the Reliability Coordinator’s Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R4.3.		Each Transmission Operator that operates in the Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-011-1		R5.		If a recipient of the SOL Methodology provides documented technical comments on the methodology, the Reliability Coordinator shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the SOL Methodology and, if no change will be made to that SOL Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.		The Reliability Coordinator and Planning Authority shall each document its current methodology used for developing its inter-regional and intra-regional Transfer Capabilities (Transfer Capability Methodology). The Transfer Capability Methodology shall include all of the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.1.		A statement that Transfer Capabilities shall respect all applicable System Operating Limits (SOLs).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R1.2.		A definition stating whether the methodology is applicable to the planning horizon or the operating horizon.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.		A description of how each of the following is addressed, including any reliability margins applied to reflect uncertainty with projected BES conditions:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.1.		Transmission system topology		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.2.		System demand		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.3.		Generation dispatch		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R1.3.4.		Current and projected transmission uses		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-012-1		R2.		The Reliability Coordinator shall issue its Transfer Capability Methodology, and any changes to that methodology, prior to the effectiveness of such changes, to all of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.1.		Each Adjacent Reliability Coordinator and each Reliability Coordinator that indicated a reliability-related need for the methodology.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.2.		Each Planning Authority and Transmission Planner that models any portion of the Reliability Coordinator’s Reliability Coordinator Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R2.3.		Each Transmission Operator that operates in the Reliability Coordinator Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.		The Planning Authority shall issue its Transfer Capability Methodology, and any changes to that methodology, prior to the effectiveness of such changes, to all of the following:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.1.		Each Transmission Planner that works in the Planning Authority’s Planning Authority Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.2.		Each Adjacent Planning Authority and each Planning Authority that indicated a reliability-related need for the methodology.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R3.3.		Each Reliability Coordinator and Transmission Operator that operates any portion of the Planning Authority’s Planning Authority Area.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		FAC-012-1		R4.		If a recipient of the Transfer Capability Methodology provides documented technical comments on the methodology, the Reliability Coordinator or Planning Authority shall provide a documented response to that recipient within 45 calendar days of receipt of those comments. The response shall indicate whether a change will be made to the Transfer Capability Methodology and, if no change will be made to that Transfer Capability Methodology, the reason why.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R1.		The Reliability Coordinator and Planning Authority shall each establish a set of inter-regional and intra-regional Transfer Capabilities that is consistent with its current Transfer Capability Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.		The Reliability Coordinator and Planning Authority shall each provide its inter-regional and intra-regional Transfer Capabilities to those entities that have a reliability-related need for such Transfer Capabilities and make a written request that includes a schedule for delivery of such Transfer Capabilities as follows:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.1.		The Reliability Coordinator shall provide its Transfer Capabilities to its associated Regional Reliability Organization(s), to its adjacent Reliability Coordinators, and to the Transmission Operators, Transmission Service Providers and Planning Authorities that work in its Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES						YES				YES		Planning: one year and longer

		FAC-013-1		R2.2.		The Planning Authority shall provide its Transfer Capabilities to its associated Reliability Coordinator(s) and Regional Reliability Organization(s), and to the Transmission Planners and Transmission Service Provider(s) that work in its Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R1.		The Reliability Coordinator shall ensure that SOLs, including Interconnection Reliability Operating Limits (IROLs), for its Reliability Coordinator Area are established and that the SOLs (including Interconnection Reliability Operating Limits) are consistent with its SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R2.		The Transmission Operator shall establish SOLs (as directed by its Reliability Coordinator) for its portion of the Reliability Coordinator Area that are consistent with its Reliability Coordinator’s SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R3.		The Planning Authority shall establish SOLs, including IROLs, for its Planning
Authority Area that are consistent with its SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R4.		The Transmission Planner shall establish SOLs, including IROLs, for its Transmission
Planning Area that are consistent with its Planning Authority’s SOL Methodology.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.		The Reliability Coordinator, Planning Authority and Transmission Planner shall each
provide its SOLs and IROLs to those entities that have a reliability-related need for
those limits and provide a written request that includes a schedule for delivery of those
limits as follows:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.		The Reliability Coordinator shall provide its SOLs (including the subset of SOLs that are IROLs) to adjacent Reliability Coordinators and Reliability Coordinators who indicate a reliability-related need for those limits, and to the Transmission Operators, Transmission Planners, Transmission Service Providers and Planning Authorities within its Reliability Coordinator Area. For each IROL, the Reliability Coordinator shall provide the following
supporting information:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.1.		Identification and status of the associated Facility (or group of Facilities) that is (are) critical to the derivation of the IROL.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.2.		The value of the IROL and its associated Tv.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.3.		The associated Contingency(ies).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.1.4.		The type of limitation represented by the IROL (e.g., voltage collapse, angular stability).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.2.		The Transmission Operator shall provide any SOLs it developed to its Reliability Coordinator and to the Transmission Service Providers that share its portion of the Reliability Coordinator Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.3.		The Planning Authority shall provide its SOLs (including the subset of SOLs that are IROLs) to adjacent Planning Authorities, and to Transmission Planners, Transmission Service Providers, Transmission Operators and Reliability Coordinators that work within its Planning Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R5.4.		The Transmission Planner shall provide its SOLs (including the subset of SOLs that are IROLs) to its Planning Authority, Reliability Coordinators, Transmission Operators, and Transmission Service Providers that work within its Transmission Planning Area and to adjacent Transmission Planners.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.		The Planning Authority shall identify the subset of multiple contingencies (if any), from Reliability Standard TPL-003 which result in stability limits.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.1.		The Planning Authority shall provide this list of multiple contingencies and the associated stability limits to the Reliability Coordinators that monitor the facilities associated with these contingencies and limits.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		FAC-014-1		R6.2.		If the Planning Authority does not identify any stability-related multiple contingencies, the Planning Authority shall so notify the Reliability Coordinator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES						YES				YES		Planning: one year and longer

		INT-001-3		R1.		The Load-Serving, Purchasing-Selling Entity shall ensure that Arranged Interchange is submitted to the Interchange Authority for:		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R1.1.		All Dynamic Schedules at the expected average MW profile for each hour.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.		The Sink Balancing Authority shall ensure that Arranged Interchange is submitted to the Interchange Authority:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.1.		If a Purchasing-Selling Entity is not involved in the Interchange, such as
delivery from a jointly owned generator.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		INT-001-3		R2.2.		For each bilateral Inadvertent Interchange payback.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-003-2		R1.		Each Receiving Balancing Authority shall confirm Interchange Schedules with the Sending Balancing Authority prior to implementation in the Balancing Authority’s ACE equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-003-2		R1.1.		The Sending Balancing Authority and Receiving Balancing Authority shall agree on Interchange as received from the Interchange Authority, including:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-003-2		R1.1.1.		Interchange Schedule start and end time.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-003-2		R1.1.2.		Energy profile.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-003-2		R1.2.		If a high voltage direct current (HVDC) tie is on the Scheduling Path, then the Sending Balancing Authorities and Receiving Balancing Authorities shall coordinate the Interchange Schedule with the Transmission Operator of the HVDC tie.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-004-2		R1.		At such time as the reliability event allows for the reloading of the transaction, the entity that initiated the curtailment shall release the limit on the Interchange Transaction tag to allow reloading the transaction and shall communicate the release of the limit to the Sink Balancing Authority.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.		The Purchasing-Selling Entity responsible for tagging a Dynamic Interchange Schedule shall ensure the tag is updated for the next available scheduling hour and future hours when any one of the following occurs:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-004-2		R2.1.		The average energy profile in an hour is greater than 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than +10%.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.2.		The average energy profile in an hour is less than or equal to 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than +25 megawatt-hours.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		INT-004-2		R2.3.		A Reliability Coordinator or Transmission Operator determines the deviation, regardless of magnitude, to be a reliability concern and notifies the Purchasing-Selling Entity of that determination and the reasons.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-2		R1.		Prior to the expiration of the time period defined in the Timing Table, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES												Same-day

		INT-005-2		R1.1.		When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-3		R1.		Prior to the expiration of the time period defined in the timing requirements tables in this standard, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-005-3		R1.1.		When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.		Prior to the expiration of the reliability assessment period defined in the Timing Table, Column B, the Balancing Authority and Transmission Service Provider shall respond to a request from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.		Each involved Balancing Authority shall evaluate the Arranged Interchange
with respect to:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.1.		Energy profile (ability to support the magnitude of the Interchange).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.2.		Ramp (ability of generation maneuverability to accommodate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.1.3.		Scheduling path (proper connectivity of Adjacent Balancing
Authorities).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-2		R1.2.		Each involved Transmission Service Provider shall confirm that the
transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.		Prior to the expiration of the reliability assessment period defined in the timing requirements tables in this standard, Column B, the Balancing Authority and Transmission Service Provider shall respond to each On-time Request for Interchange (RFI), and to each Emergency RFI and Reliability Adjustment RFI from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.		Each involved Balancing Authority shall evaluate the Arranged Interchange with respect to:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.1.		Energy profile (ability to support the magnitude of the Interchange).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.2.		Ramp (ability of generation maneuverability to accommodate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.1.3.		Scheduling path (proper connectivity of Adjacent Balancing Authorities).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-006-3		R1.2.		Each involved Transmission Service Provider shall confirm that the transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.		The Interchange Authority shall verify that Arranged Interchange is balanced and valid prior to transitioning Arranged Interchange to Confirmed Interchange by verifying the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.1.		Source Balancing Authority megawatts equal sink Balancing Authority megawatts (adjusted for losses, if appropriate).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.2.		All reliability entities involved in the Arranged Interchange are currently in the NERC registry.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.		The following are defined:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.1.		Generation source and load sink.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.2.		Megawatt profile.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.3.		Ramp start and stop times.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.3.4.		Interchange duration.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-007-1		R1.4.		Each Balancing Authority and Transmission Service Provider that received the Arranged Interchange information from the Interchange Authority for reliability assessment has provided approval.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.		Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.		For Confirmed Interchange, the Interchange Authority shall also communicate:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.1.		Start and stop times, ramps, and megawatt profile to Balancing
Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-2		R1.1.2.		Necessary Interchange information to NERC-identified reliability
analysis services.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.		Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.		For Confirmed Interchange, the Interchange Authority shall also communicate:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.1.		Start and stop times, ramps, and megawatt profile to Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-008-3		R1.1.2.		Necessary Interchange information to NERC-identified reliability analysis services.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-009-1		R1.		The Balancing Authority shall implement Confirmed Interchange as received from the Interchange Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		INT-010-1		R1.		The Balancing Authority that experiences a loss of resources covered by an energy sharing agreement shall ensure that a request for an Arranged Interchange is submitted with a start time no more than 60 minutes beyond the resource loss. If the use of the energy sharing agreement does not exceed 60 minutes from the time of the resource loss, no request for Arranged Interchange is required.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Same-day

		INT-010-1		R2.		For a modification to an existing Interchange schedule that is directed by a Reliability Coordinator for current or imminent reliability-related reasons, the Reliability Coordinator shall direct a Balancing Authority to submit the modified Arranged Interchange reflecting that modification within 60 minutes of the initiation of the event.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		INT-010-1		R3.		For a new Interchange schedule that is directed by a Reliability Coordinator for current or imminent reliability-related reasons, the Reliability Coordinator shall direct a Balancing Authority to submit an Arranged Interchange reflecting that Interchange schedule within 60 minutes of the initiation of the event.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES												Same-day

		IRO 002-2		R1.		Each Reliability Coordinator shall have adequate communications facilities (voice and data links) to appropriate entities within its Reliability Coordinator Area.  These communications facilities shall be staffed and available to act in addressing a real-time emergency condition.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R2.		Each Reliability Coordinator — or its Transmission Operators and Balancing Authorities — shall provide, or arrange provisions for, data exchange to other Reliability Coordinators or Transmission Operators and Balancing Authorities via a secure network.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R3.		Each Reliability Coordinator shall have multi-directional communications capabilities with its Transmission Operators and Balancing Authorities, and with neighboring Reliability Coordinators, for both voice and data exchange as required to meet reliability needs of the Interconnection.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R4.		Each Reliability Coordinator shall have detailed real-time monitoring capability of its Reliability Coordinator Area and sufficient monitoring capability of its surrounding Reliability Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.  Each Reliability Coordinator shall have monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel, giving particular emphasis to alarm management and awareness systems, automated data transfers, and synchronized information systems, over a redundant and highly reliable infrastructure.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Real-time or current hour

		IRO 002-2		R5.		Each Reliability Coordinator shall monitor Bulk Electric System elements (generators, transmission lines, buses, transformers, breakers, etc.) that could result in SOL or IROL violations within its Reliability Coordinator Area.  Each Reliability Coordinator shall monitor both real and reactive power system flows, and operating reserves, and the status of Bulk Electric System elements that are or could be critical to SOLs and IROLs and system restoration requirements within its Reliability Coordinator Area.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES				YES		YES				YES		Real-time or current hour

		IRO 002-2		R6.		Each Reliability Coordinator shall have adequate analysis tools such as state estimation, pre- and post-contingency analysis capabilities (thermal, stability, and voltage), and wide-area overview displays.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO 002-2		R7.		Each Reliability Coordinator shall continuously monitor its Reliability Coordinator Area.  Each Reliability Coordinator shall have provisions for backup facilities that shall be exercised if the main monitoring system is unavailable.  Each Reliability Coordinator shall ensure SOL and IROL monitoring and derivations continue if the main monitoring system is unavailable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO 002-2		R8.		Each Reliability Coordinator shall control its Reliability Coordinator analysis tools, including approvals for planned maintenance.  Each Reliability Coordinator shall have procedures in place to mitigate the effects of analysis tool outages.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R1.		Each Regional Reliability Organization, subregion, or interregional coordinating group shall establish one or more Reliability Coordinators to continuously assess transmission reliability and coordinate emergency operations among the operating entities within the region and across the regional boundaries.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R2.		The Reliability Coordinator shall comply with a regional reliability plan approved by the NERC Operating Committee.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R3.		The Reliability Coordinator shall have clear decision-making authority to act and to direct actions to be taken by Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities within its Reliability Coordinator Area to preserve the integrity and reliability of the Bulk Electric System.  These actions shall be taken without delay, but no longer than 30 minutes.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-001-1.1		R4.		Reliability Coordinators that delegate tasks to other entities shall have formal operating agreements with each entity to which tasks are delegated.  The Reliability Coordinator shall verify that all delegated tasks are understood, communicated, and addressed within its Reliability Coordinator Area.  All responsibilities for complying with NERC and regional standards applicable to Reliability Coordinators shall remain with the Reliability Coordinator.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R5.		The Reliability Coordinator shall list within its reliability plan all entities to which the Reliability Coordinator has delegated required tasks.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		IRO-001-1.1		R6.		The Reliability Coordinator shall verify that all delegated tasks are carried out by NERC-certified Reliability Coordinator operating personnel.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-001-1.1		R7.		The Reliability Coordinator shall have clear, comprehensive coordination agreements with adjacent Reliability Coordinators to ensure that System Operating Limit or Interconnection Reliability Operating Limit violation mitigation requiring actions in adjacent Reliability Coordinator Areas are coordinated.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								yes		yes				Real-time or current hour

		IRO-001-1.1		R8.		Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall comply with Reliability Coordinator directives unless such actions would violate safety, equipment, or regulatory or statutory requirements.  Under these circumstances, the Transmission Operator, Balancing Authority, Generator Operator, Transmission Service Provider, Load-Serving Entity, or Purchasing-Selling Entity shall immediately inform the Reliability Coordinator of the inability to perform the directive so that the Reliability Coordinator may implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-001-1.1		R9.		The Reliability Coordinator shall act in the interests of reliability for the overall Reliability Coordinator Area and the Interconnection before the interests of any other entity.		Performance-based (specifies a bulk power system outcome).		Is unclear.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-003-2		R1.		Each Reliability Coordinator shall monitor all Bulk Electric System facilities, which may include sub-transmission information, within its Reliability Coordinator Area and adjacent Reliability Coordinator Areas, as necessary to ensure that, at any time, regardless of prior planned or unplanned events, the Reliability Coordinator is able to determine any potential System Operating Limit and Interconnection Reliability Operating Limit violations within its Reliability Coordinator Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-003-2		R2.		Each Reliability Coordinator shall know the current status of all critical facilities whose failure, degradation or disconnection could result in an SOL or IROL violation.  Reliability Coordinators shall also know the status of any facilities that may be required to assist area restoration objectives.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-004-1		R1.		Each Reliability Coordinator shall conduct next-day reliability analyses for its Reliability Coordinator Area to ensure that the Bulk Electric System can be operated reliably in anticipated normal and Contingency event conditions.  The Reliability Coordinator shall conduct Contingency analysis studies to identify potential interface and other SOL and IROL violations, including overloaded transmission lines and transformers, voltage and stability limits, etc.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R2.		Each Reliability Coordinator shall pay particular attention to parallel flows to ensure one Reliability Coordinator Area does not place an unacceptable or undue Burden on an adjacent Reliability Coordinator Area.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R3.		Each Reliability Coordinator shall, in conjunction with its Transmission Operators and Balancing Authorities, develop action plans that may be required, including reconfiguration of the transmission system, re-dispatching of generation, reduction or curtailment of Interchange Transactions, or reducing load to return transmission loading to within acceptable SOLs or IROLs.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R4.		Each Transmission Operator, Balancing Authority, Transmission Owner, Generator Owner, Generator Operator, and Load-Serving Entity in the Reliability Coordinator Area shall provide information required for system studies, such as critical facility status, Load, generation, operating reserve projections, and known Interchange Transactions.  This information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R5.		Each Reliability Coordinator shall share the results of its system studies, when conditions warrant or upon request, with other Reliability Coordinators and with Transmission Operators, Balancing Authorities, and Transmission Service Providers within its Reliability Coordinator Area.  The Reliability Coordinator shall make study results available no later than 1500 Central Standard Time for the Eastern Interconnection and 1500 Pacific Standard Time for the Western Interconnection, unless circumstances warrant otherwise.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R6.		If the results of these studies indicate potential SOL or IROL violations, the Reliability Coordinator shall direct its Transmission Operators, Balancing Authorities and Transmission Service Providers to take any necessary action the Reliability Coordinator deems appropriate to address the potential SOL or IROL violation.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-004-1		R7.		Each Transmission Operator, Balancing Authority, and Transmission Service Provider shall comply with the directives of its Reliability Coordinator based on the next day assessments in the same manner in which it would comply during real time operating events.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-005-2		R1.		Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R1.1.		Current status of Bulk Electric System elements (transmission or generation including critical auxiliaries such as Automatic Voltage Regulators and Special Protection Systems) and system loading.		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R10.		As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R11.		The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R12.		Whenever a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows. The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R13.		Each Reliability Coordinator shall ensure that all Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities operate to prevent the likelihood that a disturbance, action, or nonaction in its Reliability Coordinator Area will result in a SOL or IROL violation in another area of the Interconnection. In instances where there is a difference in derived limits, the Reliability Coordinator and its Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R14.		Each Reliability Coordinator shall make known to Transmission Service Providers within its Reliability Coordinator Area, SOLs or IROLs within its wide-area view. The Transmission Service Providers shall respect these SOLs or IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R15.		Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay. The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities. The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-2		R4.		Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements. If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities. The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.												yes		Real-time or current hour

		IRO-005-2		R6.		Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				yes		yes				yes				Operations planning: day-ahead up to one year

		IRO-005-2		R7.		The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		IRO-005-2		R8.		Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance. The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.												yes		Real-time or current hour

		IRO-005-2		R9.		The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, IROL, CPS, or DCS violations. The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-005-3		R1.		Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-005-3		R10.		In instances where there is a difference in derived limits, the Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R11.		The Transmission Service Provider shall respect SOLs  and IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-005-3		R12.		Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay.  The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities.  The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R2.		Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements.  If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities.  The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		IRO-005-3		R3.		Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES								Operations planning: day-ahead up to one year

		IRO-005-3		R4.		The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		IRO-005-3		R5.		Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance.  The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-005-3		R6.		The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, CPS, or DCS violations.  The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-005-3		R7.		As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES										Real-time or current hour

		IRO-005-3		R8.		The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES								YES		Real-time or current hour

		IRO-005-3		R9.		Whenever a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows.  The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.		A Reliability Coordinator experiencing a potential or actual SOL or IROL violation within its Reliability Coordinator Area shall, with its authority and at its discretion, select one or more procedures to provide transmission loading relief. These procedures can be a “local” (regional, interregional, or sub-regional) transmission loading relief procedure or one of the following Interconnection-wide procedures: [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.1.		The Interconnection-wide Transmission Loading Relief (TLR) procedure for use in the Eastern Interconnection provided in Attachment 1-IRO-006-4. The TLR procedure alone is an inappropriate and ineffective tool to mitigate an IROL violation due to the time required to implement the procedure. Other acceptable and more effective procedures to mitigate actual IROL violations include: reconfiguration, redispatch, or load shedding.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.2.		The Interconnection-wide transmission loading relief procedure for use in the Western Interconnection is the WECC Unscheduled Flow Reduction Procedure provided at: http://www.wecc.biz/documents/library/UFAS/UFAS_mitigation_plan_rev_2001-clean_8-8-03.pdf.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R1.3.		The Interconnection-wide transmission loading relief procedure for use in ERCOT is provided as Section 7 of the ERCOT Protocols, posted at: http://www.ercot.com/mktrules/protocols/current.html		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R2.		The Reliability Coordinator shall only use local transmission loading relief or congestion management procedures to which the Transmission Operator experiencing the potential or actual SOL or IROL violation is a party. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R3.		Each Reliability Coordinator with a relief obligation from an Interconnection-wide procedure shall follow the curtailments as directed by the Interconnection-wide procedure. A Reliability Coordinator desiring to use a local procedure as a substitute for curtailments as directed by the Interconnection-wide procedure shall obtain prior approval of the local procedure from the ERO.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-006-4.1		R4.		When Interconnection-wide procedures are implemented to curtail Interchange Transactions that cross an Interconnection boundary, each Reliability Coordinator shall comply with the provisions of the Interconnection-wide procedure.  [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-006-4.1		R5.		During the implementation of relief procedures, and up to the point that emergency action is necessary, Reliability Coordinators and Balancing Authorities shall comply with applicable Interchange scheduling standards. [Time Horizon: Real-time Operations]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-008-1		R2.		Each Reliability Coordinator shall perform a Real-Time Assessment at least once every 30 minutes to determine if its Wide Area is exceeding any IROLs or is expected to exceed any IROLs.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES				YES		Real-time or current hour

		IRO-008-1		R3.		When a Reliability Coordinator determines that the results of an Operational Planning Analysis or Real-Time Assessment indicates the need for specific operational actions to prevent or mitigate an instance of exceeding an IROL, the Reliability Coordinator shall share its results with those entities that are expected to take those actions. (Time Horizon: Real-time Operations or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R1.		For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator identifies one or more days prior to the current day, the Reliability Coordinator shall have one or more Operating Processes, Procedures, or Plans that identify actions it shall take or actions it shall direct others to take (up to and including load shedding) that can be implemented in time to prevent exceeding those IROLs. (Time Horizon: Operations Planning or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R2.		For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator identifies one or more days prior to the current day, the Reliability Coordinator shall have one or more Operating Processes, Procedures, or Plans that identify actions it shall take or actions it shall direct others to take (up to and including load shedding) to mitigate the magnitude and duration of exceeding that IROL such that the IROL is relieved within the IROL’s Tv. (Time Horizon: Operations Planning or Same Day Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-009-1		R3.		When an assessment of actual or expected system conditions predicts that an IROL in its Reliability Coordinator Area will be exceeded, the Reliability Coordinator shall implement one or more Operating Processes, Procedures or Plans (not limited to the Operating Processes, Procedures, or Plans developed for Requirements R1) to prevent exceeding that IROL.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-009-1		R4.		When actual system conditions show that there is an instance of exceeding an IROL in its Reliability Coordinator Area, the Reliability Coordinator shall, without delay, act or direct others to act to mitigate the magnitude and duration of the instance of exceeding that IROL within the IROL’s Tv.  (Time Horizon: Real-time Operations)		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-009-1		R5.		If unanimity cannot be reached on the value for an IROL or its Tv, each Reliability Coordinator that monitors that Facility (or group of Facilities) shall, without delay, use the most conservative of the values (the value with the least impact on reliability) under consideration.  (Time Horizon: Real-time Operations)		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Real-time or current hour

		IRO-010-1		R1.		The Reliability Coordinator shall have a documented specification for data and information to build and maintain models to support Real-time monitoring, Operational Planning Analyses, and Real-time Assessments of its Reliability Coordinator Area to prevent instability, uncontrolled separation, and cascading outages. The specification shall include the following: (Time Horizon: Operations Planning)		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.1.		List of required data and information needed by the Reliability Coordinator to support Real-Time Monitoring, Operational Planning Analyses, and Real-Time Assessments.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.2.		Mutually agreeable format.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.3.		Timeframe and periodicity for providing data and information (based on its hardware and software requirements, and the time needed to do its Operational Planning Analyses).		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R1.4.		Process for data provision when automated Real-Time system operating data is unavailable.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES

		IRO-010-1		R2.		The Reliability Coordinator shall distribute its data specification to entities that have Facilities monitored by the Reliability Coordinator and to entities that provide Facility status to the Reliability Coordinator. (Violation Risk Factor: Low) (Time Horizon: Operations Planning)		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-010-1		R3.		Each Balancing Authority, Generator Owner, Generator Operator, Interchange Authority, Load-serving Entity, Reliability Coordinator, Transmission Operator, and Transmission Owner shall provide data and information, as specified, to the Reliability Coordinator(s) with which it has a reliability relationship. (Violation Risk Factor: Medium) (Time Horizon: Operations Planning; Same-day Operations; Real-time Operations)		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES				YES		YES		YES		Operations planning: day-ahead up to one year

		IRO-014-1		R1.		The Reliability Coordinator shall have Operating Procedures, Processes, or Plans in place for activities that require notification, exchange of information or coordination of actions with one or more other Reliability Coordinators to support Interconnection reliability.  These Operating Procedures, Processes, or Plans shall address Scenarios that affect other Reliability Coordinator Areas as well as those developed in coordination with other Reliability Coordinators.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R2.		Each Reliability Coordinator’s Operating Procedure, Process, or Plan that requires one or more other Reliability Coordinators to take action (e.g., make notifications, exchange information, or coordinate actions) shall be:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R3.		A Reliability Coordinator’s Operating Procedures, Processes, or Plans developed to support a Reliability Coordinator-to-Reliability Coordinator Operating Procedure, Process, or Plan shall include:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-014-1		R4.		Each of the Operating Procedures, Processes, and Plans addressed in Reliability Standard IRO-014 Requirement 1 and Requirement 3 shall:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		IRO-015-1		R1.		The Reliability Coordinator shall follow its Operating Procedures, Processes, or Plans for making notifications and exchanging reliability-related information with other Reliability Coordinators.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-015-1		R1.1.		The Reliability Coordinator shall make notifications to other Reliability Coordinators of conditions in its Reliability Coordinator Area that may impact other Reliability Coordinator Areas.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-015-1		R2.		The Reliability Coordinator shall participate in agreed upon conference calls and other communication forums with adjacent Reliability Coordinators.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		IRO-015-1		R3.		The Reliability Coordinator shall provide reliability-related information as requested by other Reliability Coordinators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES				YES		Operations planning: day-ahead up to one year

		IRO-016-1		R1.		The Reliability Coordinator that identifies a potential, expected, or actual problem that requires the actions of one or more other Reliability Coordinators shall contact the other Reliability Coordinator(s) to confirm that there is a problem and then discuss options and decide upon a solution to prevent or resolve the identified problem.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		IRO-016-1		R1.1.		If the involved Reliability Coordinators agree on the problem and the actions to take to prevent or mitigate the system condition, each involved Reliability Coordinator shall implement the agreed-upon solution, and notify the involved Reliability Coordinators of the action(s) taken.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R1.2.		If the involved Reliability Coordinators cannot agree on the problem(s) each Reliability Coordinator shall re-evaluate the causes of the disagreement (bad data, status, study results, tools, etc.).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R1.3.		If the involved Reliability Coordinators cannot agree on the solution, the more conservative solution shall be implemented.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES				YES		YES		YES		Same-day

		IRO-016-1		R2.		The Reliability Coordinator shall document (via operator logs or other data sources) its actions taken for either the event or for the disagreement on the problem(s) or for both.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Real-time or current hour

		MOD-001-0		R1.1.		A narrative explaining how TTC and ATC values are determined.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.2.		An accounting for how the reservations and schedules for firm (non-recallable) and non-firm (recallable) transfers, both within and outside the Transmission Service Provider’s system, are included.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.3.		An accounting for the ultimate points of power injection (sources) and power extraction (sinks) in TTC and ATC calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.4.		A description of how incomplete or so-called partial path transmission reservations are addressed. (Incomplete or partial path transmission reservations are those for which all transmission reservations necessary to complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing reservation priorities, durations, or because the reservations have not all been made.)		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.		A requirement that TTC and ATC values shall be determined and posted as follows:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.1.		Daily values for current week at least once per day.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.2.		Daily values for day 8 through the first month at least once per week.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.5.3.		Monthly values for months 2 through 13 at least once per month.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.6.		Indication of the treatment and level of customer demands, including interruptible demands.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.7.		A specification of how system conditions, limiting facilities, contingencies, transmission reservations, energy schedules, and other data needed by Transmission Service Providers for the calculation of TTC and ATC values are shared and used within the Regional Reliability Organization and with neighboring interconnected electric systems, including adjacent systems, subregions, and Regional Reliability Organizations. In addition, specify how this information is to be used to determine TTC and ATC values. If some data is not used, provide an explanation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.8.		A description of how the assumptions for and the calculations of TTC and ATC values change over different time (such as hourly, daily, and monthly) horizons.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R1.9.		A description of the Regional Reliability Organization’s practice on the netting of transmission reservations for purposes of TTC and ATC determination.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-0		R2.		The Regional Reliability Organization shall make the most recent version of the documentation of its TTC and ATC methodology available on a Web site accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R1.		Each Transmission Operator shall select one of the methodologies  listed below for calculating Available Transfer Capability (ATC) or Available Flowgate Capability (AFC) for each ATC Path per time period identified in R2 for those Facilities within its Transmission operating area:  [Time Horizon: Operations Planning]
 The Area Interchange Methodology, as described in MOD-028
 The Rated System Path Methodology, as described in MOD-029
 The Flowgate Methodology, as described in MOD-030		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.		Each Transmission Service Provider shall calculate ATC or AFC values as listed below using the methodology or methodologies selected by its Transmission Operator(s):  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.1.		Hourly values for at least the next 48 hours.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.2.		Daily values for at least the next 31 calendar days.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R2.3.		Monthly values for at least the next 12 months (months 2-13).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.		Each Transmission Service Provider shall prepare and keep current an Available Transfer Capability Implementation Document (ATCID) that includes, at a minimum, the following information: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.1.		Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC or AFC calculations can be validated.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.		A description of the manner in which the Transmission Service Provider will account for counterflows including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.1.		How confirmed Transmission reservations, expected Interchange and internal counterflow are addressed in firm and non-firm ATC or AFC calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.2.2.		A rationale for that accounting specified in R3.2.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.3.		The identity of the Transmission Operators  and Transmission Service Providers from which the Transmission Service Provider receives data for use in calculating ATC or AFC.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-001-1		R3.4.		The identity of the Transmission Service Providers and Transmission Operators to which it provides data for use in calculating transfer or Flowgate capability.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-001-1		R3.5.		A description of the allocation processes listed below that are applicable to the Transmission Service Provider:
• Processes used to allocate transfer or Flowgate capability among multiple lines or sub-paths within a larger ATC Path or Flowgate.
• Processes used to allocate transfer or Flowgate capabilities among multiple owners or users of an ATC Path or Flowgate.
• Processes used to allocate transfer or Flowgate capabilities between Transmission Service Providers to address issues such as forward looking congestion management and seams coordination.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.		A description of how generation and transmission outages are considered in transfer or Flowgate capability calculations, including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.1.		The criteria used to determine when an outage that is in effect part of a day impacts a daily calculation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.2.		The criteria used to determine when an outage that is in effect part of a month impacts a monthly calculation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R3.6.3.		How outages from other Transmission Service Providers that can not be mapped to the Transmission model used to calculate transfer or Flowgate capability are addressed.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-001-1		R4.		The Transmission Service Provider shall notify the following entities before implementing a new or revised ATCID: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.1.		Each Planning Coordinator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.2.		Each Reliability Coordinator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.3.		Each Transmission Operator associated with the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.4.		Each Planning Coordinator adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.5.		Each Reliability Coordinator adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R4.6.		Each Transmission Service Provider whose area is adjacent to the Transmission Service Provider’s area.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R5.		The Transmission Service Provider shall make available the current ATCID to all of the entities specified in R4. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R6.		When calculating Total Transfer Capability (TTC) or Total Flowgate Capability (TFC) the Transmission Operator shall use assumptions no more limiting than those used in the planning of operations for the corresponding time period studied, providing such planning of operations has been performed for that time period.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R7.		When calculating ATC or AFC the Transmission Service Provider shall use assumptions no more limiting than those used in the planning of operations for the corresponding time period studied, providing such planning of operations has been performed for that time period. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R8.		Each Transmission Service Provider that calculates ATC shall recalculate ATC at a minimum on the following frequency, unless none of the calculated values identified in the ATC equation have changed:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R8.1.		Hourly values, once per hour.  Transmission Service Providers are allowed up to 175 hours per calendar year during which calculations are not required to be performed, despite a change in a calculated value identified in the ATC equation.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-001-1		R8.2.		Daily values, once per day.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-001-1		R8.3.		Monthly values, once per week.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES						Operations planning: day-ahead up to one year

		MOD-001-1		R9.		Within thirty calendar days of receiving a request by any Transmission Service Provider, Planning Coordinator, Reliability Coordinator, or Transmission Operator for data from the list below solely for use in the requestor’s ATC or AFC calculations, each Transmission Service Provider receiving said request shall begin to make the requested data available to the requestor, subject to the conditions specified in R9.1 and R9.2:  [Time Horizon: Operations Planning]  • Expected generation and Transmission outages, additions, and retirements. • Load forecasts.  • Unit commitments and order of dispatch, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:  Dispatch Order  Participation Factors
 Block Dispatch  • Aggregated firm capacity set-aside for Network Integration Transmission Service and aggregated non-firm capacity set aside for Network Integration Transmission Service (i.e. Secondary Service).  • Firm and non-firm Transmission reservations.  • Aggregated capacity set-aside for Grandfathered obligations   • Firm roll-over rights.  • Any firm and non-firm adjustments applied by the Transmission Service Provider to reflect parallel path impacts.  • Power flow models and underlying assumptions.  • Contingencies, provided in one or more of the following formats: A list of Elements   A list of Flowgates   A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider  • Facility Ratings.  • Any other services that impact Existing Transmission Commitments (ETCs).
• Values of Capacity Benefit Margin (CBM) and Transmission Reliability Margin (TRM) for all ATC Paths or Flowgates.  • Values of Total Flowgate Capability (TFC) and AFC for any Flowgates considered by the Transmission Service Provider receiving the request when selling Transmission service.   • Values of TTC and ATC for all ATC Paths for those Transmission Service Providers receiving the request that do not consider Flowgates when selling Transmission Service.  • Source and sink identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.		The Transmission Service Provider shall make its own current data available, in the format maintained by the Transmission Service Provider, for up to 13 months into the future (subject to confidentiality and security requirements).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.1.		If the Transmission Service Provider uses the data requested in its transfer or Flowgate capability calculations, it shall make the data used available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.2.		If the Transmission Service Provider does not use the data requested in its transfer or Flowgate capability calculations, but maintains that data, it shall make that data available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.1.3.		If the Transmission Service Provider does not use the data requested in its transfer or Flowgate capability calculations, and does not maintain that data, it shall not be required to make that data available		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-001-1		R9.2.		This data shall be made available by the Transmission Provider on the schedule specified by the requestor (but no more frequently than once per hour, unless mutually agreed to by the requester and the provider).		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		MOD-002-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to periodically review (at least annually) and ensure that the TTC and ATC calculations and resulting values of member Transmission Service Providers comply with the Regional TTC and ATC methodology and applicable Regional criteria.		Risk-based (reduces risk).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.												YES		Planning: one year and longer

		MOD-002-0		R2.		Each Regional Reliability Organization shall document the results of its periodic reviews of TTC and ATC.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-002-0		R3.		The Regional Reliability Organization shall provide the results of its most current reviews of TTC and ATC to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-003-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a procedure on how transmission users can input their concerns or questions regarding the TTC and ATC methodology and values of the Transmission Service Provider(s), and how these concerns or questions will be addressed. The Regional Reliability Organization’s procedure shall specify the following:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-003-0		R1.1.		The name, telephone number and email address of a contact person to whom concerns are to be addressed.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-003-0		R1.2.		The amount of time it will take for a response.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-003-0		R1.3.		The manner in which the response will be communicated (e.g., email, letter, telephone, etc).		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-003-0		R1.4.		What recourse a customer has if the response is deemed unsatisfactory.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-003-0		R2.		The Regional Reliability Organization shall post on a web site that is accessible by the Regional Reliability Organizations, NERC, and transmission users, its procedure for receiving and addressing concerns about the TTC and ATC methodology and TTC and ATC values of member Transmission Service Providers.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a Regional CBM methodology. The Regional Reliability Organization’s CBM methodology shall include each of the following ten items, and shall explain its use in determining CBM value. Other items that are Regional Reliability Organization specific or that are considered in each respective Regional Reliability Organization methodology shall also be explained along with their use in determining CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.1.		Specify that the method used by each Regional Reliability Organization member to determine its generation reliability requirements as the basis for CBM shall be consistent with its generation planning criteria.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.10.		Describe the inclusion or exclusion rationale for generation reserve sharing arrangements in the CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.2.		Specify the frequency of calculation of the generation reliability requirement and associated CBM values.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.3.		Require that generation unit outages considered in a Transmission Service Provider’s CBM calculation be restricted to those units within the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.4.		Require that CBM be preserved only on the Transmission Service Provider’s System where the Load-Serving Entity’s Load is located (i.e., CBM is an import quantity only).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-0		R1.5.		Describe the inclusion or exclusion rationale for generation resources of each Load-Serving Entity including those generation resources not directly connected to the Transmission Service Provider’s system but serving Load-Serving Entity loads connected to the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.6.		Describe the inclusion or exclusion rationale for generation connected to the Transmission Service Provider’s system but not obligated to serve Native/Network Load connected to the Transmission Service Provider’s system.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.7.		Describe the formal process and rationale for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional Reliability Organization’s CBM methodology.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R1.9.		Describe the inclusion or exclusion rationale for the loads of each Load-Serving Entity, including interruptible demands and buy-through contracts (type of service contract that offers the customer the option to be interrupted or to accept a higher rate for service under certain conditions).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-0		R2.		The Regional Reliability Organization shall make the most recent version of the documentation of its CBM methodology available on a website accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-004-1		R1.		The Transmission Service Provider that maintains CBM shall prepare and keep current a “Capacity Benefit Margin Implementation Document” (CBMID) that includes, at a minimum, the following information: [Time Horizon: Operations Planning, Long-term Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R1.1.		The process through which a Load-Serving Entity within a Balancing Authority Area associated with the Transmission Service Provider, or the Resource Planner associated with that Balancing Authority Area, may ensure that its need for Transmission capacity to be set aside as CBM will be reviewed and accommodated by the Transmission Service Provider to the extent Transmission capacity is available.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-004-1		R1.2.		The procedure and assumptions for establishing CBM for each Available Transfer Capability (ATC) Path or Flowgate.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-1		R1.3.		The procedure for a Load-Serving Entity or Balancing Authority to use Transmission capacity set aside as CBM, including the manner in which the Transmission Service Provider will manage situations where the requested use of CBM exceeds the amount of CBM available.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		MOD-004-1		R10.		The Load-Serving Entity or Balancing Authority shall  request to import energy over firm Transfer Capability set aside as CBM only when experiencing a declared NERC Energy Emergency Alert (EEA) 2 or higher.  [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R11.		When reviewing an Arranged Interchange using CBM, all Balancing Authorities and Transmission Service Providers shall waive, within the bounds of reliable operation, any Real-time timing and ramping requirements. [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R12.		The Transmission Service Provider that maintains CBM shall approve, within the bounds of reliable operation, any Arranged Interchange using CBM that is submitted by an “energy deficient entity ” under an EEA 2 if: [Time Horizon: Same-day Operations]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES						Same-day

		MOD-004-1		R12.1.		The CBM is available		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Operations planning: day-ahead up to one year

		MOD-004-1		R12.3.		The Load of the “energy deficient entity” is located within the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-004-1		R2.		The Transmission Service Provider that maintains CBM shall make available its current CBMID to the Transmission Operators, Transmission Service Providers, Reliability Coordinators, Transmission Planners, Resource Planners, and Planning Coordinators that are within or adjacent to the Transmission Service Provider’s area, and to the Load Serving Entities and Balancing Authorities within the Transmission Service Provider’s area, and notify those entities of any changes to the CBMID prior to the effective date of the change.  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R3.		Each Load-Serving Entity determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R3.1.		Using one or more of the following to determine the GCIR:
Loss of Load Expectation (LOLE) studies
Loss of Load Probability (LOLP) studies
Deterministic risk-analysis studies 
Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R3.2.		Identifying expected import path(s) or source region(s).		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-004-1		R4.		Each Resource Planner determining the need for Transmission capacity to be set aside as CBM for imports into a Balancing Authority Area shall determine that need by: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R4.1.		Using one or more of the following to determine the GCIR:
Loss of Load Expectation (LOLE) studies
Loss of Load Probability (LOLP) studies
Deterministic risk-analysis studies
Reserve margin or resource adequacy requirements established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R4.2.		Identifying expected import path(s) or source region(s).		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-004-1		R5.		At least every 13 months, the Transmission Service Provider that maintains CBM shall establish a CBM value for each ATC Path or Flowgate to be used for ATC or Available Flowgate Capability (AFC) calculations during the 13 full calendar months (months 2-14) following the current month (the month in which the Transmission Service Provider is establishing the CBM values).  This value shall: [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-004-1		R5.1.		Reflect consideration of each of the following if available:
Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Service Provider’s area 
Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Service Provider’s area  
Any reserve margin or resource adequacy requirements for loads within the Transmission Service Provider’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-004-1		R5.2.		Be allocated as follows:
For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners
For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Service Provider		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-1		R6.		At least every 13 months, the Transmission Planner shall establish a CBM value for each ATC Path or Flowgate to be used in planning during each of the full calendar years two through ten following the current year (the year in which the Transmission Planner is establishing the CBM values).  This value shall:  [Time Horizon: Long-term Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-004-1		R6.1.		Reflect consideration of each of the following if available:
Any studies (as described in R3.1) performed by Load-Serving Entities for loads within the Transmission Planner’s area 
Any studies (as described in R4.1) performed by Resource Planners for loads within the Transmission Planner’s area
Any reserve margin or resource adequacy requirements for loads within the Transmission Planner’s area established by other entities, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-004-1		R6.2.		Be allocated as follows:
For ATC Paths, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners
 For Flowgates, based on the expected import paths or source regions provided by Load-Serving Entities or Resource Planners and the distribution factors associated with those paths or regions, as determined by the Transmission Planner.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-004-1		R7.		Less than 31 calendar days after the establishment of CBM, the Transmission Service Provider that maintains CBM shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the Transmission Service Provider’s system of the amount of CBM set aside. [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R8.		Less than 31 calendar days after the establishment of CBM, the Transmission Planner shall notify all the Load-Serving Entities and Resource Planners that determined they had a need for CBM on the system being planned by the Transmission Planner of the amount of CBM set aside. [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.		The Transmission Service Provider that maintains CBM and the Transmission Planner shall each provide (subject to confidentiality and security requirements) copies of the applicable supporting data, including any models, used for determining CBM or allocating CBM over each ATC Path or Flowgate to the following: [Time Horizon: Operations Planning, Long-term Planning]		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.1.		Each of its associated Transmission Operators within 30 calendar days of their making a request for the data.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-004-1		R9.2.		To any Transmission Service Provider, Reliability Coordinator, Transmission Planner, Resource Planner, or Planning Coordinator within 30 calendar days of their making a request for the data.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-005-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review (at least annually) the CBM calculations and the resulting values of member Transmission Service Providers to ensure that they comply with the Regional Reliability Organization’s CBM methodology. The procedure shall include the following four requirements:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.1		Indicate the frequency under which the verification review shall be implemented.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.2.		Require review of the process by which CBM values are updated, and their frequency of update, to ensure that the most current CBM values are available to transmission users.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R1.3.		Require review of the consistency of the Transmission Service Provider’s CBM components with its published planning criteria. A CBM value is considered consistent with published planning criteria if the components that comprise CBM are addressed in the planning criteria. The methodology used to determine and apply CBM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumptions explained.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		MOD-005-0		R1.4.		Require CBM values to be periodically updated (at least annually) and available to the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Planning: one year and longer

		MOD-005-0		R2.		Each Regional Reliability Organization shall document its CBM procedure and shall make its CBM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-005-0		R3.		The Regional Reliability Organization shall provide documentation of the results of the most current implementation of its CBM review procedure to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-006-0.1		R1.		R1. Each Transmission Service Provider shall document its procedure on the use of Capacity Benefit Margin (CBM) (scheduling of energy against a CBM reservation).  The procedure shall include the following three components:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.1.		Require that CBM be used only after the following steps have been taken (as time permits): all non-firm sales have been terminated, Direct-Control Load Management has been implemented, and customer interruptible demands have been interrupted.  CBM may be used to reestablish Operating Reserves.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.2.		Require that CBM shall only be used if the Load-Serving Entity calling for its use is experiencing a generation deficiency and its Transmission Service Provider is also experiencing Transmission Constraints relative to imports of energy on its transmission system.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Operations planning: day-ahead up to one year

		MOD-006-0.1		R1.3.		Describe the conditions under which CBM may be available as Non-Firm Transmission Service.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-006-0.1		R2.		Each Transmission Service Provider shall make its CBM use procedure available on a web site accessible by the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Same-day

		MOD-007-0		R1.		Each Transmission Service Provider that uses CBM shall report (to the Regional Reliability Organization, NERC and the transmission users) the use of CBM by the Load-Serving Entities’ Loads on its system, except for CBM sales as Non-Firm Transmission Service. (This use of CBM shall be consistent with the Transmission Service Provider’s procedure for use of CBM.)		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.		The Transmission Service Provider shall post the following three items within 15 calendar days after the use of CBM for an Energy Emergency.  This posting shall be on a web site accessible by the Regional Reliability Organizations, NERC, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.1.		Circumstances.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.2.		Duration.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-007-0		R2.3.		Amount of CBM used.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and document a Regional TRM methodology. The Region’s TRM methodology shall specify or describe each of the following five items, and shall explain its use, if any, in determining TRM values. Other items that are Region-specific or that are considered in each respective Regional methodology shall also be explained along with their use in determining TRM values.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Operations planning: day-ahead up to one year

		MOD-008-0		R1.1.		Specify the update frequency of TRM calculations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.2.		Specify how TRM values are incorporated into Available Transfer Capability calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.		Specify the uncertainties accounted for in TRM and the methods used to determine their impacts on the TRM values. Any component of uncertainty, other than those identified in MOD-008-0_R1.3.1 through MOD-008-0_R1.3.7, shall benefit the interconnected transmission systems as a whole before they shall be permitted to be included in TRM calculations. The components of uncertainty identified in MOD-008-0_R1.3.1 through MOD-008-0_R1.3.7, if applied, shall be accounted for solely in TRM and not CBM.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.1.		Aggregate Load forecast error (not included in determining generation
reliability requirements).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.2.		Load distribution error.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.3.		Variations in facility Loadings due to balancing of generation within a
Balancing Authority Area.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.4.		Forecast uncertainty in transmission system topology.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.5.		Allowances for parallel path (loop flow) impacts.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.6.		Allowances for simultaneous path interactions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.7.		Variations in generation dispatch.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.3.8.		Short-term System Operator response (Operating Reserve actions not
exceeding a 59-minute window).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.4.		Describe the conditions, if any, under which TRM may be available to the market as Non-Firm Transmission Service.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R1.5.		Describe the formal process for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional TRM methodology.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Planning: one year and longer

		MOD-008-0		R2.		The Regional Reliability Organization shall make its most recent version of the documentation of its TRM methodology available on a web site accessible by NERC, the Regional Reliability Organizations, and transmission users.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-008-1		R1.		Each Transmission Operator shall prepare and keep current a TRM Implementation Document (TRMID) that includes, as a minimum, the following information:  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.1.		Identification of (on each of its respective ATC Paths or Flowgates) each of the following components of uncertainty if used in establishing TRM, and a description of how that component is used to establish a TRM value:
- Aggregate Load forecast.
- Load distribution uncertainty.
- Forecast uncertainty in Transmission system topology (including, but not limited to, forced or unplanned outages and maintenance outages).
- Allowances for parallel path (loop flow) impacts.
- Allowances for simultaneous path interactions.
- Variations in generation dispatch (including, but not limited to, forced or unplanned outages, maintenance outages and location of future generation).
- Short-term System Operator response (Operating Reserve actions ).
- Reserve sharing requirements.
- Inertial response and frequency bias.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-008-1		R1.2.		The description of the method used to allocate TRM across ATC Paths or Flowgates.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.		The identification of the TRM calculation used for the following time periods:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.1.		Same day and real-time.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R1.3.2.		Day-ahead and pre-schedule.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-008-1		R2.		Each Transmission Operator shall only use the components of uncertainty from R1.1 to establish TRM, and shall not include any of the components of Capacity Benefit Margin (CBM). Transmission capacity set aside for reserve sharing agreements can be included in TRM. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Operations planning: day-ahead up to one year

		MOD-008-1		R3.		Each Transmission Operator shall make available its TRMID, and if requested, underlying documentation (if any) used to determine TRM, in the format used by the Transmission Operator, to any of the following who make a written request no more than 30 calendar days after receiving the request.  [Time Horizon: Operations Planning] 
• Transmission Service Providers
• Reliability Coordinators
• Planning Coordinators
• Transmission Planner
• Transmission Operators		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-008-1		R4.		Each Transmission Operator that maintains TRM shall establish TRM values in accordance with the TRMID at least once every 13 months. [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-008-1		R5.		The Transmission Operator that maintains TRM shall provide the TRM values to its Transmission Service Provider(s) and Transmission Planner(s) no more than seven calendar days after a TRM value is initially established or subsequently changed. [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-009-0		R1.		Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review Transmission Reliability Margin (TRM) calculations and resulting values of member Transmission Service Providers to ensure they comply with the Regional TRM methodology, and are periodically updated and available to transmission users. This procedure shall include the following four required elements:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-009-0		R1.1.		Indicate the frequency under which the verification review shall be implemented.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.2.		Require review of the process by which TRM values are updated, and their frequency of update, to ensure that the most current TRM values are available to transmission users.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.3.		Require review of the consistency of the Transmission Service Provider’s TRM components with its published planning criteria. A TRM value is considered consistent with published planning criteria if the same components that comprise TRM are also addressed in the planning criteria. The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R1.4.		Require TRM values to be periodically updated (at least prior to each season — winter, spring, summer, and fall), as necessary, and made available to the Regional Reliability Organizations, NERC, and transmission users.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-009-0		R2.		The Regional Reliability Organization shall make documentation of its Regional TRM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		MOD-009-0		R3.		The Regional Reliability Organization shall make documentation of the results of the most current implementation of its TRM review procedure available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Operations planning: day-ahead up to one year

		MOD-010-0		R1.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners  (specified in the data requirements and reporting procedures of MOD-011-0_R1) shall provide appropriate equipment characteristics, system data, and existing and future Interchange Schedules in compliance with its respective Interconnection Regional steady-state modeling and simulation data requirements and reporting procedures as defined in Reliability Standard MOD-011-0_R 1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES				YES		Operations planning: day-ahead up to one year

		MOD-010-0		R2.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners  (specified in the data requirements and reporting procedures of MOD-011-0_R1) shall provide this steady-state modeling and simulation data to the Regional Reliability Organizations, NERC, and those entities specified within Reliability Standard MOD-011-0_R 1. If no schedule exists, then these entities shall provide the data on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Planning: one year and longer

		MOD-011-0		R1.		The Regional Reliability Organizations within an Interconnection, in conjunction with the Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners, shall develop comprehensive steady-state data requirements and reporting procedures needed to model and analyze the steady-state conditions for each of the NERC Interconnections: Eastern, Western, and ERCOT. Within an Interconnection, the Regional Reliability
Organizations shall jointly coordinate the development of the data requirements and reporting procedures for that Interconnection. The Interconnection-wide requirements shall include the following steady-state data requirements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.1.		Bus (substation): name, nominal voltage, electrical demand supplied (consistent with the aggregated and dispersed substation demand data supplied per Reliability Standards MOD-016-0, MOD-017-0, and MOD-020-0 ), and location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.2.		Generating Units (including synchronous condensers, pumped storage, etc.): location, minimum and maximum Ratings (net Real and Reactive Power), regulated bus and voltage set point, and equipment status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.3.		AC Transmission Line or Circuit (overhead and underground): nominal voltage, impedance, line charging, Normal and Emergency Ratings (consistent with methodologies defined and Ratings supplied per Reliability Standard FAC-004-0 and FAC-005-0 ) equipment status, and metering locations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.4.		DC Transmission Line (overhead and underground): line parameters, Normal and Emergency Ratings, control parameters, rectifier data, and inverter data.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.5.		Transformer (voltage and phase-shifting): nominal voltages of windings, impedance, tap ratios (voltage and/or phase angle or tap step size), regulated bus and voltage set point, Normal and Emergency Ratings (consistent with methodologies defined and Ratings supplied per Reliability Standard FAC-004-0 and FAC-005-0.), and equipment status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.6.		Reactive Compensation (shunt and series capacitors and reactors): nominal Ratings, impedance, percent compensation, connection point, and controller device.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R1.7.		Interchange Schedules: Existing and future Interchange Schedules and/or assumptions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-011-0		R2.		The Regional Reliability Organizations within an Interconnection shall document their Interconnection’s steady-state data requirements and reporting procedures, shall review those data requirements and reporting procedures (at least every five years), and shall make the data requirements and reporting procedures available on request (within five business days) to Regional Reliability Organizations, NERC, and all users of the interconnected transmission systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-012-0		R1.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners (specified in the data requirements and reporting procedures of MOD-013-0_R1) shall provide appropriate equipment characteristics and system data in compliance with the respective Interconnection-wide Regional dynamics system modeling and simulation data requirements and reporting procedures as defined in Reliability Standard MOD-013-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-012-0		R2.		The Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners (specified in the data requirements and reporting procedures of MOD-013-0_R4) shall provide dynamics system modeling and simulation data to its Regional Reliability Organization(s), NERC, and those entities specified within the applicable reporting procedures identified in Reliability Standard MOD-013-0_R 1.  If no schedule exists, then these entities shall provide data on request (30 calendar days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.		The Regional Reliability Organization, in coordination with its Transmission Owners, Transmission Planners, Generator Owners, and Resource Planners, shall develop comprehensive dynamics data requirements and reporting procedures needed to model and analyze the dynamic behavior or response of each of the NERC Interconnections: Eastern, Western, and ERCOT. Within an Interconnection, the Regional Reliability Organizations shall jointly coordinate on the development of the data requirements and reporting procedures for that Interconnection. Each set of Interconnection-wide dynamics data requirements shall include the following dynamics data requirements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.1.		Design data shall be provided for new or refurbished excitation systems (for synchronous generators and synchronous condensers) at least three months prior to the installation date.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.1.1.		If design data is unavailable from the manufacturer 3 months prior to the installation date, estimated or typical manufacturer’s data, based on excitation systems of similar design and characteristics, shall be provided.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.		Unit-specific dynamics data shall be reported for generators and synchronous condensers (including, as appropriate to the model, items such as inertia constant, damping coefficient, saturation parameters, and direct and quadrature axes reactances and time constants), excitation systems, voltage regulators, turbine-governor systems, power system stabilizers, and other associated generation equipment.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.1.		Estimated or typical manufacturer’s dynamics data, based on units of similar design and characteristics, may be submitted when unit-specific dynamics data cannot be obtained. In no case shall other than unit-specific data be reported for generator units installed after 1990.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.2.2.		The Interconnection-wide requirements shall specify unit size thresholds for permitting:
− The use of non-detailed vs. detailed models,
− The netting of small generating units with bus load, and
− The combining of multiple generating units at one plant.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.3.		Device specific dynamics data shall be reported for dynamic devices, including, among others, static VAR controllers, high voltage direct current systems, flexible AC transmission systems, and static compensators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.4.		Dynamics data representing electrical Demand characteristics as a function of frequency and voltage.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R1.5.		Dynamics data shall be consistent with the reported steady-state (power flow) data supplied per Reliability Standard MOD-010 Requirement 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-013-1		R2.		The Regional Reliability Organization shall participate in the documentation of its Interconnection’s data requirements and reporting procedures and, shall participate in the review of those data requirements and reporting procedures (at least every five years), and shall provide those data requirements and reporting procedures to Regional Reliability Organizations, NERC, and all users of the Interconnected systems on request (within five business days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-014-0		R1.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop and maintain a library of solved (converged) Interconnection-specific steadystate system models. The Interconnection-specific models shall include near- and longer-term planning horizons that are representative of system conditions for projected seasonal peak, minimum, and other appropriate system demand levels.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-014-0		R2.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop steady-state system models annually for selected study years, as determined by the Regional Reliability Organizations within its Interconnection. The Regional Reliability Organization shall provide the most recent solved (converged) Interconnection-specific steadystate models to NERC in accordance with each Interconnection’s schedule for submission.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R1.		The Regional Reliability Organization(s) within each Interconnection shall coordinate and jointly develop and maintain a library of initialized (with no Faults or system Disturbances) Interconnection-specific dynamics system models linked to the steadystate system models, as appropriate, of Reliability Standard MOD-014-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R1.1.		The Regional Reliability Organization(s) shall develop Interconnectionspecific dynamics system models for at least two timeframes (present or nearterm model and a future or longer-term model), and additional seasonal and demand level models, as necessary, to analyze the dynamic response of that Interconnection.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-015-0		R2.		The Regional Reliability Organization(s) within each Interconnection shall develop Interconnection dynamics system models for their Interconnection annually for selected study years as determined by the Regional Reliability Organization(s) within each Interconnection and shall provide the most recent initialized (approximately 25 seconds, no-fault) models to NERC in accordance with each Interconnection’s schedule for submission.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R1.		The Planning Authority and Regional Reliability Organization shall have documentation identifying the scope and details of the actual and forecast (a) Demand data, (b) Net Energy for Load data, and (c) controllable DSM data to be reported for system modeling and reliability analyses.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R1.1.		The aggregated and dispersed data submittal requirements shall ensure that consistent data is supplied for Reliability Standards TPL-005, TPL-006, MOD-010, MOD-011, MOD-012, MOD-013, MOD-014, MOD-015, MOD-016, MOD-017, MOD-018, MOD-019, MOD-020, and MOD-021.   The data submittal requirements shall stipulate that each Load-Serving Entity count its customer Demand once and only once, on an aggregated and dispersed basis, in developing its actual and forecast customer Demand values.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R2.		The Regional Reliability Organization shall distribute its documentation required in Requirement 1 and any changes to that documentation, to all Planning Authorities that work within its Region.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R2.1.		The Regional Reliability Organization shall make this distribution within 30 calendar days of approval.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-016-1.1		R3.		The Planning Authority shall distribute its documentation required in R1 for reporting customer data and any changes to that documentation, to its Transmission Planners and Load-Serving Entities that work within its Planning Authority Area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-016-1.1		R3.1.		The Planning Authority shall make this distribution within 30 calendar days of approval.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.		The Load-Serving Entity, Planning Authority and Resource Planner shall each provide the following information annually on an aggregated Regional, subregional, Power Pool, individual system, or Load-Serving Entity basis to NERC, the Regional Reliability Organizations, and any other entities specified by the documentation in Standard MOD-016-1_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.1.		Integrated hourly demands in megawatts (MW) for the prior year.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.2.		Monthly and annual peak hour actual demands in MW and Net Energy for Load in gigawatthours (GWh) for the prior year.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.3.		Monthly peak hour forecast demands in MW and Net Energy for Load in GWh for the next two years.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-017-0.1		R1.4.		Annual Peak hour forecast demands (summer and winter) in MW and annual Net Energy for load in GWh for at least five years and up to ten years into the future, as requested.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.		The Load-Serving Entity, Planning Authority, Transmission Planner and Resource Planner’s report of actual and forecast demand data (reported on either an aggregated or dispersed basis) shall:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.1.		Indicate whether the demand data of nonmember entities within an area or Regional Reliability Organization are included, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.2.		Address assumptions, methods, and the manner in which uncertainties are treated in the forecasts of aggregated peak demands and Net Energy for Load.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R1.3.		Items (MOD-018-0_R 1.1) and (MOD-018-0_R 1.2) shall be addressed as described in the reporting procedures developed for Standard MOD-016-1_R 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-018-0		R2.		The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource Planner shall each report data associated with Reliability Standard MOD-018-0_R1 to NERC, the Regional Reliability Organization, Load-Serving Entity, Planning Authority, and Resource Planner on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-019-0.1		R1.		The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource Planner shall each provide annually its forecasts of interruptible demands and Direct Control Load Management (DCLM) data for at least five years and up to ten years into the future, as requested, for summer and winter peak system conditions to NERC, the Regional Reliability Organizations, and other entities (Load-Serving Entities, Planning Authorities, and Resource Planners) as specified by the documentation in Reliability Standard MOD-016-1_R 1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-020-0		R1.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make known its amount of interruptible demands and Direct Control Load Management (DCLM) to Transmission Operators, Balancing Authorities, and Reliability Coordinators on request within 30 calendar days.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R1.		The Load-Serving Entity, Transmission Planner, and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R2.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for Load in the data reporting procedures of Standard MOD-016-0_R 1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0		R3.		The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-021-0.1		R1.		The Load-Serving Entity, Transmission Planner and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0.1		R2.		The Load-Serving Entity, Transmission Planner and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for Load in the data reporting procedures of Standard MOD-016-0_R1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-021-0.1		R3.		The Load-Serving Entity, Transmission Planner and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-024-1		R1.		The Regional Reliability Organization shall establish and maintain procedures to address verification of generator gross and net Real Power capability. These procedures shall include the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.1.		Generating unit exemption criteria including documentation of those units that are exempt from a portion or all of these procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.2.		Criteria for reporting generating unit auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.3.		Acceptable methods for model and data verification, including any applicable conditions under which the data should be verified. Such methods can include use of manufacturer data, commissioning data, performance tracking, and testing, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.4.		Periodicity and schedule of model and data verification and reporting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.		Information to be verified and reported:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.1.		Seasonal gross and net Real Power generating capabilities.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.2.		Real power requirements of auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R1.5.3.		Method of verification, including date and conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R2.		The Regional Reliability Organization shall provide its generator gross and net Real Power capability verification and reporting procedures, and any changes to those procedures, to the Generator Owners, Generator Operators, Transmission Operators, Planning Authorities, and Transmission Planners affected by the procedure within 30 calendar days of the approval.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-024-1		R3.		The Generator Owner shall follow its Regional Reliability Organization’s procedures for verifying and reporting its gross and net Real Power generating capability per R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.		The Regional Reliability Organization shall establish and maintain procedures to address verification of generator gross and net Reactive Power capability. These procedures shall include the following:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.1.		Generating unit exemption criteria including documentation of those units that are exempt from a portion or all of these procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.2.		Criteria for reporting generating unit auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.3.		Acceptable methods for model and data verification, including any applicable conditions under which the data should be verified. Such methods can include use of commissioning data, performance tracking, engineering analysis, testing, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.4.		Periodicity and schedule of model and data verification and reporting.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.		Information to be reported:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.1.		Verified maximum gross and net Reactive Power capability (both lagging and leading) at Seasonal Real Power generating capabilities as reported in accordance with Reliability Standard MOD-024 Requirement 1.5.1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.2.		Verified Reactive Power limitations, such as generator terminal voltage
limitations, shorted rotor turns, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.3.		Verified Reactive Power of auxiliary loads.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R1.5.4.		Method of verification, including date and conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES						Planning: one year and longer

		MOD-025-1		R2.		The Regional Reliability Organization shall provide its generator gross and net Reactive Power capability verification and reporting procedures, and any changes to those procedures, to the Generator Owners, Generator Operators, Transmission Operators, Planning Authorities, and Transmission Planners affected by the procedure within 30 calendar days of the approval.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		MOD-025-1		R3.		The Generator Owner shall follow its Regional Reliability Organization’s procedures for verifying and reporting its gross and net Reactive Power generating capability per R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES						Planning: one year and longer

		MOD-028-1		R1.		Each Transmission Service Provider shall include in its Available Transfer Capability Implementation Document (ATCID), at a minimum, the following information relative to its methodology for determining Total Transfer Capability (TTC): [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.1.		Information describing how the selected methodology has been implemented, in such detail that, given the same information used by the Transmission Operator, the results of the TTC calculations can be validated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.2.		A description of the manner in which the Transmission Operator will account for Interchange Schedules in the calculation of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.3.		Any contractual obligations for allocation of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.4.		A description of the manner in which Contingencies are identified for use in the TTC process.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.		The following information on how source and sink for transmission service is accounted for in ATC calculations including:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.1.		Define if the source used for Available Transfer Capability (ATC) calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.2.		Define if the sink used for ATC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.3.		The source/sink or POR/POD identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R1.5.4.		If the Transmission Service Provider’s ATC calculation process involves a grouping of generation, the ATCID must identify how these generators participate in the group.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R10.		When calculating firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall utilize the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R11.		When calculating non-firm ATC for a ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.		When calculating TTC for ATC Paths, the Transmission Operator shall use a Transmission model that contains all of the following: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.1.		Modeling data and topology of its Reliability Coordinator’s area of responsibility. Equivalent representation of radial lines and facilities 161 kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.2.		Modeling data and topology (or equivalent representation) for immediately adjacent and beyond Reliability Coordination areas.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R2.3.		Facility Ratings specified by the Generator Owners and Transmission Owners.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.		When calculating TTCs for ATC Paths, the Transmission Operator shall include the following data for the Transmission Service Provider’s area. The Transmission Operator shall also include the following data associated with Facilities that are explicitly represented in the Transmission model, as provided by adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.		For on-peak and off-peak intra-day and next-day TTCs, use the following (as well as any other values and additional parameters as specified in the ATCID):		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.1.		Expected generation and Transmission outages, additions, and retirements, included as specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.2.		Load forecast for the applicable period being calculated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.1.3.		Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.		For days two through 31 TTCs and for months two through 13 TTCs, use the following (as well as any other values and internal parameters as specified in the ATCID):		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.1.		Expected generation and Transmission outages, additions, and Retirements, included as specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.2.		Daily load forecast for the days two through 31 TTCs being calculated and monthly forecast for months two through 13 months TTCs being calculated.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R3.2.3.		Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.		When calculating TTCs for ATC Paths, the Transmission Operator shall meet all of the following conditions: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.1.		Use all Contingencies meeting the criteria described in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.2.		Respect any contractual allocations of TTC.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R4.3.		Include, for each time period, the Firm Transmission Service expected to be scheduled as specified in the ATCID  (filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers)  for the Transmission Service Provider, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed modeling the source and sink as follows:   - If the source, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the source.    - If the source, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate representation” in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the source.     - If the source, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point, an “equivalence,” or an “aggregate representation” in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.     - If the source, as specified in the ATCID, has not been identified in the reservation, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.     - If the sink, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point shall as the sink.    - If the sink, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate representation” in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the sink.     - If the sink, as specified in the ATCID, has been identified in the reservation and the point can not be mapped to a discretely modeled point, an “equivalence,” or an “aggregate representation” in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider to which the power is to be delivered as the sink.     - If the sink, as specified in the ATCID, has not been identified in the reservation, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider to which the power is being delivered as the sink.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.		Each Transmission Operator shall establish TTC for each ATC Path as defined below:  [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.1.		At least once within the seven calendar days prior to the specified period for TTCs used in hourly and daily ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.2.		At least once per calendar month for TTCs used in monthly ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R5.3.		Within 24 hours of the unexpected outage of a 500 kV or higher transmission Facility or a transformer with a low-side voltage of 200 kV or higher for TTCs  in effect during the anticipated duration of the outage, provided such outage is expected to last 24 hours or longer.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.		Each Transmission Operator shall establish TTC for each ATC Path using the following process: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.1.		Determine the incremental Transfer Capability for each ATC Path by increasing generation and/or decreasing load within the source Balancing Authority area and decreasing generation and/or increasing load within the sink Balancing Authority area until either:
- A System Operating Limit is reached on the Transmission Service Provider’s system, or
- A SOL is reached on any other adjacent system in the Transmission model that is not on the study path and the distribution factor is 5% or greater .		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.2.		If the limit in step R6.1 can not be reached by adjusting any combination of load or generation, then set the incremental Transfer Capability by the results of the case where the maximum adjustments were applied.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.3.		Use (as the TTC) the lesser of:
 The sum of the incremental Transfer Capability and the impacts of Firm Transmission Services, as specified in the Transmission Service Provider’s ATCID, that were included in the study model, or
 The sum of Facility Ratings of all ties comprising the ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R6.4.		For ATC Paths whose capacity uses jointly-owned or allocated Facilities, limit TTC for each Transmission Service Provider so the TTC does not exceed each Transmission Service Provider’s contractual rights.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.		The Transmission Operator shall provide the Transmission Service Provider of that ATC Path with the most current value for TTC for that ATC Path no more than: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.1.		One calendar day after its determination for TTCs used in hourly and daily ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R7.2.		Seven calendar days after its determination for TTCs used in monthly ATC calculations.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R8.		When calculating Existing Transmission Commitments (ETCs) for firm commitments (ETCF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-028-1		R9.		When calculating ETC for non-firm commitments (ETCNF) for all time periods for an ATC Path the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.		When calculating TTCs for ATC Paths, the Transmission Operator shall use a Transmission model which satisfies the following requirements: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.		The model  utilizes data and assumptions consistent with the time period being studied and that meets the following criteria:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.		Includes at least:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.1.		The Transmission Operator area. Equivalent representation of radial lines and facilities 161kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.2.		All Transmission Operator areas contiguous with its own Transmission Operator area. (Equivalent representation is allowed.)		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.1.3.		Any other Transmission Operator area linked to the Transmission Operator’s area by joint operating agreement.  (Equivalent representation is allowed.)		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.10.		Includes any other modeling requirements or criteria specified in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.2.		Models all system Elements as in-service for the assumed initial conditions.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.3.		Models all generation (may be either a single generator or multiple generators) that is greater than 20 MVA at the point of interconnection in the studied area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.4.		Models phase shifters in non-regulating mode, unless otherwise specified in the Available Transfer Capability Implementation Document (ATCID).		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.5.		Uses Load forecast by Balancing Authority.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.6.		Uses Transmission Facility additions and retirements.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.7.		Uses Generation Facility additions and retirements.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.8.		Uses Special Protection System (SPS) models where currently existing or projected for implementation within the studied time horizon.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.1.9.		Models series compensation for each line at the expected operating level unless specified otherwise in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R1.2.		Uses Facility Ratings as provided by the Transmission Owner and Generator Owner		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.		The Transmission Operator shall use the following process to determine TTC: [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.		Except where otherwise specified within MOD-029-1, adjust base case generation and Load levels within the updated power flow model to determine the TTC (maximum flow or reliability limit) that can be simulated on the ATC Path while at the same time satisfying all planning criteria contingencies as follows:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.1.		When modeling normal conditions, all Transmission Elements will be modeled at or below 100% of their continuous rating.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.2.		When modeling contingencies the system shall demonstrate transient, dynamic and voltage stability, with no Transmission Element modeled above its Emergency Rating.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.1.3.		Uncontrolled separation shall not occur.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.2.		Where it is impossible to actually simulate a reliability-limited flow in a direction counter to prevailing flows (on an alternating current Transmission line), set the TTC for the non-prevailing direction equal to the TTC in the prevailing direction. If the TTC in the prevailing flow direction is dependant on a Special Protection System (SPS), set the TTC for the non-prevailing flow direction equal to the greater of the maximum flow that can be simulated in the non-prevailing flow direction or the maximum TTC that can be achieved in the prevailing flow direction without use of a SPS.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.3.		For an ATC Path whose capacity is limited by contract, set TTC on the ATC Path at the lesser of the maximum allowable contract capacity or the reliability limit as determined by R2.1.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.4.		For an ATC Path whose TTC varies due to simultaneous interaction with one or more other paths, develop a nomogram describing the interaction of the paths and the resulting TTC under specified conditions.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.5.		The Transmission Operator shall identify when the TTC for the ATC Path being studied has an adverse impact on the TTC value of any existing path.  Do this by modeling the flow on the path being studied at its proposed new TTC level simultaneous with the flow on the existing path at its TTC level while at the same time honoring the reliability criteria outlined in R2.1.   The Transmission Operator shall include the resolution of this adverse impact in its study report for the ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.6.		Where multiple ownership of Transmission rights exists on an ATC Path, allocate TTC of that ATC Path in accordance with the contractual agreement made by the multiple owners of that ATC Path.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.7.		For ATC Paths whose path rating, adjusted for seasonal variance, was established, known and used in operation since January 1, 1994, and no action has been taken to have the path rated using a different method, set the TTC at that previously established amount.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R2.8.		Create a study report that describes the steps above that were undertaken (R2.1 – R2.7), including the contingencies and assumptions used, when determining the TTC and the results of the study. Where three phase fault damping is used to determine stability limits, that report shall also identify the percent used and include justification for use unless specified otherwise in the ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R3.		Each Transmission Operator shall establish the TTC at the lesser of the value calculated in R2 or any System Operating Limit (SOL) for that ATC Path.  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R4.		Within seven calendar days of the finalization of the study report, the Transmission Operator shall make available to the Transmission Service Provider of the ATC Path, the most current value for TTC and the TTC study report documenting the assumptions used and steps taken in determining the current value for TTC for that ATC Path.  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		MOD-029-1		R5.		When calculating ETC for firm Existing Transmission Commitments (ETCF) for a specified period for an ATC Path, the Transmission Service Provider shall use the algorithm below:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R6.		When calculating ETC for non-firm Existing Transmission Commitments (ETCNF) for all time horizons for an ATC Path the Transmission Service Provider shall use the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R7.		When calculating firm ATC for an ATC Path  for a specified period, the Transmission Service Provider shall use the following algorithm:  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-029-1		R8.		When calculating non-firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm:[Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R1.		The Transmission Service Provider shall include in its “Available Transfer Capability Implementation Document” (ATCID):  [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.1.		The criteria used by the Transmission Operator to identify sets of Transmission Facilities as Flowgates that are to be considered in Available Flowgate Capability (AFC) calculations.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.		The following information on how source and sink for transmission service is accounted for in AFC calculations including:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.1.		Define if the source used for AFC calculations is obtained from the source field or the Point of Receipt (POR) field of the transmission reservation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.2.		Define if the sink used for AFC calculations is obtained from the sink field or the Point of Delivery (POD) field of the transmission reservation.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.3.		The source/sink or POR/POD identification and mapping to the model.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R1.2.4.		If the Transmission Service Provider’s AFC calculation process involves a grouping of generators, the ATCID must identify how these generators participate in the group.		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R10.		Each Transmission Service Provider shall recalculate AFC, utilizing the updated models described in R3.2, R3.3, and R5, at a minimum on the following frequency, unless none of the calculated values identified in the AFC equation have changed:  [Time Horizon: Operations Planning]		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.1.		For hourly AFC, once per hour. Transmission Service Providers are allowed up to 175 hours per calendar year during which calculations are not required to be performed, despite a change in a calculated value identified in the AFC equation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.2.		For daily AFC, once per day.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R10.3.		For monthly AFC, once per week.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R11.		When converting Flowgate AFCs to ATCs for ATC Paths, the Transmission Service Provider shall convert those values based on the following algorithm: [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.		The Transmission Operator shall perform the following: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.		Include Flowgates used in the AFC process based, at a minimum, on the following criteria:		Prescriptive (explains how to).		Is unclear.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.		Results of a first Contingency transfer analysis for ATC Paths internal to a Transmission Operator’s system up to the path capability such that at a minimum the first three limiting Elements and their worst associated Contingency combinations with an OTDF of at least 5% and within the Transmission Operator’s system are included as Flowgates.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.1.		Use first Contingency criteria consistent with those first Contingency criteria used in planning of operations for the applicable time periods, including use of Special Protection Systems.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.2.		Only the most limiting element in a series configuration needs to be included as a Flowgate.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.1.3.		If any limiting element is kept within its limit for its associated worst Contingency by operating within the limits of another Flowgate, then no new Flowgate needs to be established for such limiting elements or Contingencies.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.		Results of a first Contingency transfer analysis from all adjacent Balancing Authority source and sink (as defined in the ATCID) combinations up to the path capability such that at a minimum the first three limiting Elements and their worst associated Contingency combinations with an Outage Transfer Distribution Factor (OTDF) of at least 5% and within the Transmission Operator’s system are included as Flowgates unless the interface between such adjacent Balancing Authorities is accounted for using another ATC methodology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.1.		Use first Contingency criteria consistent with those first Contingency criteria used in planning of operations for the applicable time periods, including use of Special Protection Systems.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.2.		Only the most limiting element in a series configuration needs to be included as a Flowgate.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.2.3.		If any limiting element is kept within its limit for its associated worst Contingency by operating within the limits of another Flowgate, then no new Flowgate needs to be established for such limiting elements or Contingencies.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.3.		Any limiting Element/Contingency combination at least within its Reliability Coordinator’s Area that has been subjected to an Interconnection-wide congestion management procedure within the last 12 months, unless the limiting Element/Contingency combination is accounted for using another ATC methodology or was created to address temporary operating conditions.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.4.		Any limiting Element/Contingency combination within the Transmission model that has been requested to be included by any other Transmission Service Provider using the Flowgate Methodology or Area Interchange Methodology, where:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		MOD-030-02		R2.1.4.1.		The coordination of the limiting Element/Contingency combination is not already addressed through a different methodology, and 
- Any generator within the Transmission Service Provider’s area has at least a 5% Power Transfer Distribution Factor (PTDF) or Outage Transfer Distribution Factor (OTDF) impact on the Flowgate when delivered to the aggregate load of its own area, or
- A transfer from any Balancing Area within the Transmission Service Provider’s area to a Balancing Area adjacent has at least a 5% PTDF or OTDF impact on the Flowgate. 
- The Transmission Operator may utilize distribution factors less than 5% if desired.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.1.4.2.		The limiting Element/Contingency combination is included in the requesting Transmission Service Provider’s methodology.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.2.		At a minimum, establish a list of Flowgates by creating, modifying, or deleting Flowgate definitions at least once per calendar year.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES				YES						Operations planning: day-ahead up to one year

		MOD-030-02		R2.3.		At a minimum, establish a list of Flowgates by creating, modifying, or deleting Flowgates that have been requested as part of R2.1.4 within thirty calendar days from the request.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).														Operations planning: day-ahead up to one year

		MOD-030-02		R2.4.		Establish the TFC of each of the defined Flowgates as equal to: 
- For thermal limits, the System Operating Limit (SOL) of the Flowgate. 
- For voltage or stability limits, the flow that will respect the SOL of the Flowgate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.5.		At a minimum, establish the TFC once per calendar year.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.5.1.		If notified of a change in the Rating by the Transmission Owner that would affect the TFC of a flowgate used in the AFC process, the TFC should be updated within seven calendar days of the notification.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R2.6.		Provide the Transmission Service Provider with the TFCs within seven calendar days of their establishment.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.		The Transmission Operator shall make available to the Transmission Service Provider a Transmission model to determine Available Flowgate Capability (AFC) that meets the following criteria: [Time Horizon: Operations Planning]		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.1.		Contains generation Facility Ratings, such as generation maximum and minimum output levels, specified by the Generator Owners of the Facilities within the model.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.2.		Updated at least once per day for AFC calculations for intra-day, next day, and days two through 30.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.3.		Updated at least once per month for AFC calculations for months two through 13.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.4.		Contains modeling data and system topology for the Facilities within its Reliability Coordinator’s Area. Equivalent representation of radial lines and Facilities161kV or below is allowed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R3.5.		Contains modeling data and system topology (or equivalent representation) for immediately adjacent and beyond Reliability Coordination Areas.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R4.		When calculating AFCs, the Transmission Service Provider shall represent the impact of Transmission Service as follows: [Time Horizon: Operations Planning]
- If the source, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the source.
- If the source, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate” representation in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the source.
- If the source, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” representation in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.
- If the source, as specified in the ATCID, has not been identified in the reservation use the immediately adjacent Balancing Authority associated with the Transmission Service Provider from which the power is to be received as the source.
- If the sink, as specified in the ATCID, has been identified in the reservation and it is discretely modeled in the Transmission Service Provider’s Transmission model, use the discretely modeled point as the sink.
- If the sink, as specified in the ATCID, has been identified in the reservation and the point can be mapped to an “equivalence” or “aggregate” representation in the Transmission Service Provider’s Transmission model, use the modeled equivalence or aggregate as the sink.
- If the sink, as specified in the ATCID, has been identified in the reservation and the point cannot be mapped to a discretely modeled point or an “equivalence” representation in the Transmission Service Provider’s Transmission model, use the immediately adjacent Balancing Authority associated with the Transmission Service Provider receiving the power as the sink.
- If the sink, as specified in the ATCID, has not been identified in the reservation use the immediately adjacent Balancing Authority associated with the Transmission Service Provider receiving the power as the sink.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.		When calculating AFCs, the Transmission Service Provider shall:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.1.		Use the models provided by the Transmission Operator.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.2.		Include in the transmission model expected generation and Transmission outages, additions, and retirements within the scope of the model as specified in the ATCID and in effect during the applicable period of the AFC calculation for the Transmission Service Provider’s area, all adjacent Transmission Service Providers, and any Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R5.3.		For external Flowgates, identified in R2.1.4, use the AFC provided by the Transmission Service Provider that calculates AFC for that Flowgate.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.		When calculating the impact of ETC for firm commitments (ETCFi) for all time periods for a Flowgate, the Transmission Service Provider shall sum the following:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.		The impact of firm Network Integration Transmission Service, including the impacts of generation to load, in the model referenced in R5.2 for the Transmission Service Provider’s area, based on:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.1.		Load forecast for the time period being calculated, including Native Load and Network Service load		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.1.2.		Unit commitment and Dispatch Order, to include all designated network resources and other resources that are committed or have the legal obligation to run as specified in the Transmission Service Provider's ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.		The impact of any firm Network Integration Transmission Service, including the impacts of generation to load in the model referenced in R5.2 and has a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed based on:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.1.		Load forecast for the time period being calculated, including Native Load and Network Service load		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.2.2.		Unit commitment and Dispatch Order, to include all designated network resources and other resources that are committed or have the legal obligation to run as specified in the Transmission Service Provider's ATCID.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.3.		The impact of all confirmed firm Point-to-Point Transmission Service expected to be scheduled, including roll-over rights for Firm Transmission Service contracts, for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.4.		The impact of any confirmed firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, including roll-over rights for Firm Transmission Service contracts having a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.5.		The impact of any Grandfathered firm obligations expected to be scheduled or expected to flow for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.6.		The impact of any Grandfathered firm obligations expected to be scheduled or expected to flow that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R6.7.		The impact of other firm services determined by the Transmission Service Provider.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.		When calculating the impact of ETC for non-firm commitments (ETCNFi) for all time periods for a Flowgate the Transmission Service Provider shall sum:  [Time Horizon: Operations Planning]		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.1.		The impact of all confirmed non-firm Point-to-Point Transmission Service expected to be scheduled for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.2.		The impact of any confirmed non-firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.3.		The impact of any Grandfathered non-firm obligations expected to be scheduled or expected to flow for the Transmission Service Provider’s area.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.4.		The impact of any Grandfathered non-firm obligations expected to be scheduled or expected to flow that have a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.5.		The impact of non-firm Network Integration Transmission Service serving Load within the Transmission Service Provider’s area (i.e., secondary service), to include load growth, and losses not otherwise included in Transmission Reliability Margin or Capacity Benefit Margin.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.6.		The impact of any non-firm Network Integration Transmission Service (secondary service) with a distribution factor equal to or greater than the percentage  used to curtail in the Interconnection-wide congestion management procedure used by the Transmission Service Provider, filtered to reduce or eliminate duplicate impacts from transactions using Transmission service from multiple Transmission Service Providers, for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R7.7.		The impact of other non-firm services determined by the Transmission Service Provider.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R8.		When calculating firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm (subject to allocation processes described in the ATCID):  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		MOD-030-02		R9.		When calculating non-firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm (subject to allocation processes described in the ATCID):  [Time Horizon: Operations Planning] See Standard for Formula		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES				YES		Operations planning: day-ahead up to one year

		NUC-001-1		R1.		The Nuclear Plant Generator Operator shall provide the proposed NPIRs in writing to the applicable Transmission Entities and shall verify receipt		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.								YES						Planning: one year and longer

		NUC-001-1		R2.		The Nuclear Plant Generator Operator and the applicable Transmission Entities shall have in effect one or more Agreements1 that include mutually agreed to NPIRs and document how the Nuclear Plant Generator Operator and the applicable Transmission Entities shall address and implement these NPIRs.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.								YES						Planning: one year and longer

		NUC-001-1		R3.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall incorporate the NPIRs into their planning analyses of the electric system and shall communicate the results of these analyses to the Nuclear Plant Generator Operator.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall:		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		NUC-001-1		R4.1.		Incorporate the NPIRs into their operating analyses of the electric system.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.2.		Operate the electric system to meet the NPIRs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R4.3.		Inform the Nuclear Plant Generator Operator when the ability to assess the operation of the electric system affecting NPIRs is lost.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R5.		The Nuclear Plant Generator Operator shall operate per the Agreements developed in accordance with this standard.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		NUC-001-1		R6.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities and the Nuclear Plant Generator Operator shall coordinate outages and maintenance activities which affect the NPIRs.		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.		YES		YES		YES						YES		Operations planning: day-ahead up to one year

		NUC-001-1		R7.		Per the Agreements developed in accordance with this standard, the Nuclear Plant Generator Operator shall inform the applicable Transmission Entities of actual or proposed changes to nuclear plant design, configuration, operations, limits, protection systems, or capabilities that may impact the ability of the electric system to meet the NPIRs.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R8.		Per the Agreements developed in accordance with this standard, the applicable Transmission Entities shall inform the Nuclear Plant Generator Operator of actual or proposed changes to electric system design, configuration, operations, limits, protection systems, or capabilities that may impact the ability of the electric system to meet the NPIRs.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.		The Nuclear Plant Generator Operator and the applicable Transmission Entities shall include, as a minimum, the following elements within the agreement(s) identified in R2:		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.		Administrative elements:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.1.		Definitions of key terms used in the agreement.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.2.		Names of the responsible entities, organizational relationships, and
responsibilities related to the NPIRs.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.3.		A requirement to review the agreement(s) at least every three years.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.1.4.		A dispute resolution mechanism.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.2.		Technical requirements and analysis:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.1.		Identification of parameters, limits, configurations, and operating
scenarios included in the NPIRs and, as applicable, procedures for
providing any specific data not provided within the agreement.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.2.		Identification of facilities, components, and configuration restrictions
that are essential for meeting the NPIRs.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.2.3.		Types of planning and operational analyses performed specifically to
support the NPIRs, including the frequency of studies and types of
Contingencies and scenarios required.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.3.		Operations and maintenance coordination:		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.3.1.		Designation of ownership of electrical facilities at the interface
between the electric system and the nuclear plant and responsibilities
for operational control coordination and maintenance of these
facilities.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.2.		Identification of any maintenance requirements for equipment not
owned or controlled by the Nuclear Plant Generator Operator that are
necessary to meet the NPIRs.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.3.		Coordination of testing, calibration and maintenance of on-site and
off-site power supply systems and related components.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.4.		Provisions to address mitigating actions needed to avoid violating
NPIRs and to address periods when responsible Transmission Entity
loses the ability to assess the capability of the electric system to meet
the NPIRs. These provisions shall include responsibility to notify the
Nuclear Plant Generator Operator within a specified time frame.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.3.5.		Provision to consider nuclear plant coping times required by the
NPLRs and their relation to the coordination of grid and nuclear plant
restoration following a nuclear plant loss of Off-site Power.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES				YES		YES		Operations planning: day-ahead up to one year

		NUC-001-1		R9.3.6.		Coordination of physical and cyber security protection of the Bulk
Electric System at the nuclear plant interface to ensure each asset is
covered under at least one entity’s plan.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.3.7.		Coordination of the NPIRs with transmission system Special
Protection Systems and underfrequency and undervoltage load
shedding programs.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.		Communications and training:		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		NUC-001-1		R9.4.1.		Provisions for communications between the Nuclear Plant Generator
Operator and Transmission Entities, including communications
protocols, notification time requirements, and definitions of terms.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.2.		Provisions for coordination during an off-normal or emergency event
affecting the NPIRs, including the need to provide timely information
explaining the event, an estimate of when the system will be returned
to a normal state, and the actual time the system is returned to normal.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.				YES		YES				YES		YES		Planning: one year and longer

		NUC-001-1		R9.4.3.		Provisions for coordinating investigations of causes of unplanned
events affecting the NPIRs and developing solutions to minimize
future risk of such events.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.4.		Provisions for supplying information necessary to report to
government agencies, as related to NPIRs.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		NUC-001-1		R9.4.5.		Provisions for personnel training, as related to NPIRs.		Risk-based (reduces risk).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PER-001-0.1		R1.		Each Transmission Operator and Balancing Authority shall provide operating personnel with the responsibility and authority to implement real-time actions to ensure the stable and reliable operation of the Bulk Electric System.		Capability-based (provides necessary capability).		A bulk power system result that is clear in the requirement.		Can only be measured through documentation.		YES		YES				YES		YES		YES		Real-time or current hour

		PER-002-0		R1.		Each Transmission Operator and Balancing Authority shall be staffed with adequately trained operating personnel.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-002-0		R2.		Each Transmission Operator and Balancing Authority shall have a training program for all operating personnel that are in:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-002-0		R2.1.		Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.

		PER-002-0		R2.2.		Positions directly responsible for complying with NERC standards.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.

		PER-002-0		R3.		For personnel identified in Requirement R2, the Transmission Operator and Balancing Authority shall provide a training program meeting the following criteria:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-002-0		R3.1.		A set of training program objectives must be defined, based on NERC and Regional Reliability Organization standards, entity operating procedures, and applicable regulatory requirements.  These objectives shall reference the knowledge and competencies needed to apply those standards, procedures, and requirements to normal, emergency, and restoration conditions for the Transmission Operator and Balancing Authority operating positions.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.2.		The training program must include a plan for the initial and continuing training of Transmission Operator and Balancing Authority operating personnel.  That plan shall address knowledge and competencies required for reliable system operations.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.3.		The training program must include training time for all Transmission Operator and Balancing Authority operating personnel to ensure their operating proficiency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R3.4.		Training staff must be identified, and the staff must be competent in both knowledge of system operations and instructional capabilities.		Prescriptive (explains how to).		No reliability benefit is provided by the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-002-0		R4.		For personnel identified in Requirement R2, each Transmission Operator and Balancing Authority shall provide its operating personnel at least five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-003-0		R1.		Each Transmission Operator, Balancing Authority, and Reliability Coordinator shall staff all operating positions that meet both of the following criteria with personnel that are NERC-certified for the applicable functions:		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.										YES				Real-time or current hour

		PER-003-0		R1.1.		Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		PER-003-0		R1.2.		Positions directly responsible for complying with NERC standards.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES

		PER-004-1		R1.		Each Reliability Coordinator shall be staffed with adequately trained and NERC-certified Reliability Coordinator operators, 24 hours per day, seven days per week.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R2.		All Reliability Coordinator operating personnel shall each complete a minimum of five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-004-1		R3.		Reliability Coordinator operating personnel shall have a comprehensive understanding of the Reliability Coordinator Area and interactions with neighboring Reliability Coordinator Areas.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R4.		Reliability Coordinator operating personnel shall have an extensive understanding of the Balancing Authorities, Transmission Operators, and Generation Operators within the Reliability Coordinator Area, including the operating staff, operating practices and procedures, restoration priorities and objectives, outage plans, equipment capabilities, and operational restrictions.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-004-1		R5.		Reliability Coordinator operating personnel shall place particular attention on SOLs and IROLs and inter-tie facility limits.  The Reliability Coordinator shall ensure protocols are in place to allow Reliability Coordinator operating personnel to have the best available information at all times.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Real-time or current hour

		PER-005-1		R1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall use a systematic approach to training to establish a training program for the BES company-specific reliability-related tasks performed by its System Operators and shall implement the program.  [Time Horizon: Long-term Planning]		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall create a list of BES company-specific reliability-related tasks performed by its System Operators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PER-005-1		R1.1.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall update its list of BES company-specific reliability-related tasks performed by its System Operators each calendar year to identify new or modified tasks for inclusion in training.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.2.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall design and develop learning objectives and training materials based on the task list created in R1.1.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.3.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall deliver the training established in R1.2.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R1.4.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall conduct an annual evaluation of the training program established in R1, to identify any needed changes to the training program and shall implement the changes identified.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PER-005-1		R2.		Each Reliability Coordinator, Balancing Authority and Transmission Operator shall verify each of its System Operator’s capabilities to perform each assigned task identified in R1.1 at least one time. [Time Horizon: Long-term Planning]		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R2.1.		Within six months of a modification of the BES company-specific reliability-related tasks, each Reliability Coordinator, Balancing Authority and Transmission Operator shall verify each of its System Operator’s capabilities to perform the new or modified tasks.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Planning: one year and longer

		PER-005-1		R3.		At least every 12 months each Reliability Coordinator, Balancing Authority and Transmission Operator shall provide each of its System Operators with at least 32 hours of emergency operations training applicable to its organization that reflects emergency operations topics, which includes system restoration using drills, exercises or other training required to maintain qualified personnel. [Time Horizon: Long-term Planning]		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PER-005-1		R3.1.		Each Reliability Coordinator, Balancing Authority and Transmission Operator that has operational authority or control over Facilities with established IROLs or has established operating guides or protection systems to mitigate IROL violations shall provide each System Operator with emergency operations training using simulation technology such as a simulator, virtual technology, or other technology that replicates the operational behavior of the BES during normal and emergency conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		PRC-001-1		R1.		Each Transmission Operator, Balancing Authority, and Generator Operator shall be familiar with the purpose and limitations of protection system schemes applied in its area.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R2.		Each Generator Operator and Transmission Operator shall notify reliability entities of relay or equipment failures as follows:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R2.1.		If a protective relay or equipment failure reduces system reliability, the Generator Operator shall notify its Transmission Operator and Host Balancing Authority.  The Generator Operator shall take corrective action as soon as possible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Same-day

		PRC-001-1		R2.2.		If a protective relay or equipment failure reduces system reliability, the Transmission Operator shall notify its Reliability Coordinator and affected Transmission Operators and Balancing Authorities.  The Transmission Operator shall take corrective action as soon as possible.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R3.		A Generator Operator or Transmission Operator shall coordinate new protective systems and changes as follows.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R3.1.		Each Generator Operator shall coordinate all new protective systems and all protective system changes with its Transmission Operator and Host Balancing Authority.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R3.2.		Each Transmission Operator shall coordinate all new protective systems and all protective system changes with neighboring Transmission Operators and Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R4.		Each Transmission Operator shall coordinate protection systems on major transmission lines and interconnections with neighboring Generator Operators, Transmission Operators, and Balancing Authorities.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-001-1		R5.		A Generator Operator or Transmission Operator shall coordinate changes in generation, transmission, load or operating conditions that could require changes in the protection systems of others:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R5.1.		Each Generator Operator shall notify its Transmission Operator in advance of changes in generation or operating conditions that could require changes in the Transmission Operator’s protection systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R5.2.		Each Transmission Operator shall notify neighboring Transmission Operators in advance of changes in generation, transmission, load, or operating conditions that could require changes in the other Transmission Operators’ protection systems.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-001-1		R6.		Each Transmission Operator and Balancing Authority shall monitor the status of each Special Protection System in their area, and shall notify affected Transmission Operators and Balancing Authorities of each change in status.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-002-1		R1.		The Regional Reliability Organization shall establish the following installation requirements for sequence of event recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.		Location, monitoring and recording requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.1.		Criteria for equipment location (e.g., by voltage, geographic area, station size, etc.).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R1.1.2.		Devices to be monitored.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R2.		The Regional Reliability Organization shall establish the following installation requirements for fault recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R2.1.		Location, monitoring and recording requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.1.		Criteria for equipment location (e.g., by voltage, geographic area, station size, etc.).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.2.		Elements to be monitored at each location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.		Electrical quantities to be recorded for each monitored element shall be sufficient to determine the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.1.		Three phase to neutral voltages.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.2.		Three phase currents and neutral currents.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.3.		Polarizing currents and voltages, if used.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.4.		Frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.1.3.5.		Megawatts and megavars.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.		Technical requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.1.		Recording duration requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.2.		Minimum sampling rate of 16 samples per cycle.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R2.2.3.		Event triggering requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.		The Regional Reliability Organization shall establish the following installation requirements for dynamic Disturbance recording:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R3.1.		Location, monitoring and recording requirements including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.1.		Criteria for equipment location giving consideration to the following:
- Site(s) in or near major load centers
- Site(s) in or near major generation clusters
- Site(s) in or near major voltage sensitive areas
- Site(s) on both sides of major transmission interfaces
- A major transmission junction
- Elements associated with Interconnection Reliability Operating Limits
- Major EHV interconnections between control areas
- Coordination with neighboring regions within the interconnection		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.2.		Elements and number of phases to be monitored at each location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.		Electrical quantities to be recorded for each monitored element shall be sufficient to determine the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.1.		Voltage, current and frequency.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.1.3.2.		Megawatts and megavars.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.		Technical requirements, including the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.1.		Capability for continuous recording for devices installed after January 1, 2009.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R3.2.2.		Each device shall sample data at a rate of at least 960 samples per second and shall record the RMS value of electrical quantities at a rate of at least 6 records per second.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R4.		The Regional Reliability Organization shall establish requirements for facility owners to report Disturbance data recorded by their DME installations. The Disturbance data reporting requirements shall include the following:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-002-1		R4.1.		Criteria for events that require the collection of data from DMEs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.2.		List of entities that must be provided with recorded Disturbance data.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.3.		Timetable for response to data request.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.4.		Provision for reporting Disturbance data in a format which is capable of being viewed, read and analyzed with a generic COMTRADE1 analysis tool,		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.5.		Naming of data files in conformance with the IEEE C37.232 Recommended Practice for Naming Time Sequence Data Files2.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R4.6.		Data content requirements and guidelines.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R5.		The Regional Reliability Organization shall provide its requirements (and any revisions to those requirements) including those for DME installation and Disturbance data reporting to the affected Transmission Owners and Generator Owners within 30 calendar days of approval of those requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-002-1		R6.		The Regional Reliability Organization shall periodically (at least every five years) review, update and approve its Regional requirements for Disturbance monitoring and reporting.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-003-1		R1.		Each Regional Reliability Organization shall establish, document and maintain its procedures for, review, analysis, reporting and mitigation of transmission and generation Protection System Misoperations. These procedures shall include the following elements:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.1.		The Protection Systems to be reviewed and analyzed for Misoperations (due to theirpotential impact on BES reliability).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.2.		Data reporting requirements (periodicity and format) for Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.3.		Process for review, analysis follow up, and documentation of Corrective Action Plans for Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R1.4.		Identification of the Regional Reliability Organization group responsible for the procedures and the process for approval of the procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-003-1		R2.		Each Regional Reliability Organization shall maintain and periodically update documentation of its procedures for review, analysis, reporting, and mitigation of transmission and generation Protection System Misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-003-1		R3.		Each Regional Reliability Organization shall distribute procedures in Requirement 1 and any changes to those procedures, to the affected Transmission Owners, Distribution Providers that own transmission Protection Systems, and Generator Owners within 30 calendar days of
approval of those procedures.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-004-1		R1.		The Transmission Owner and any Distribution Provider that owns a transmission Protection System shall each analyze its transmission Protection System Misoperations and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for Reliability Standard PRC-003 Requirement 1.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		PRC-004-1		R2.		The Generator Owner shall analyze its generator Protection System Misoperations, and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.								YES				YES		Operations planning: day-ahead up to one year

		PRC-004-1		R3.		The Transmission Owner, any Distribution Provider that owns a transmission Protection System, and the Generator Owner shall each provide to its Regional Reliability Organization, documentation of its Misoperations analyses and Corrective Action Plans according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R1.		Each Transmission Owner and any Distribution Provider that owns a transmission Protection System and each Generator Owner that owns a generation Protection System shall have a Protection System maintenance and testing program for Protection Systems that affect the reliability of the BES. The program shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES				YES		Planning: one year and longer

		PRC-005-1		R1.1.		Maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R1.2.		Summary of maintenance and testing procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES				YES		Planning: one year and longer

		PRC-005-1		R2.		Each Transmission Owner and any Distribution Provider that owns a transmission Protection System and each Generator Owner that owns a generation Protection System shall provide documentation of its Protection System maintenance and testing program and the implementation of that program to its Regional Reliability Organization on request (within 30 calendar days).  The documentation of the program implementation shall include:		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-005-1		R2.1.		Evidence Protection System devices were maintained and tested within the defined intervals.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-005-1		R2.2.		Date each Protection System device was last tested/maintained.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-006-0		R1.		Each Regional Reliability Organization shall develop, coordinate, and document an UFLS program, which shall include the following:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES						Planning: one year and longer

		PRC-006-0		R1.1.		Requirements for coordination of UFLS programs within the subregions, Regional Reliability Organization and, where appropriate, among Regional Reliability Organizations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.		Design details shall include, but are not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.1.		Frequency set points.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.2.		Size of corresponding load shedding blocks (% of connected loads.)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.3.		Intentional and total tripping time delays.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.4.		Generation protection.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.5.		Tie tripping schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.6.		Islanding schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.7.		Automatic load restoration schemes.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.2.8.		Any other schemes that are part of or impact the UFLS programs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.3.		A Regional Reliability Organization UFLS program database. This database shall be updated as specified in the Regional Reliability Organization program (but at least every five years) and shall include sufficient information to model the UFLS program in dynamic simulations of the interconnected transmission systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.		Assessment and documentation of the effectiveness of the design and implementation of the Regional UFLS program. This assessment shall be conducted periodically and shall (at least every five years or as required by changes in system conditions) include, but not be limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.1.		A review of the frequency set points and timing, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-006-0		R1.4.2.		Dynamic simulation of possible Disturbance that cause the Region or
portions of the Region to experience the largest imbalance between Demand (Load) and generation.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		PRC-006-0		R2.		The Regional Reliability Organization shall provide documentation of its UFLS program and its database information to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES						Operations planning: day-ahead up to one year

		PRC-006-0		R3.		The Regional Reliability Organization shall provide documentation of the assessment of its UFLS program to NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES						Planning: one year and longer

		PRC-007-0		R1.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall ensure that its UFLS program is consistent with its Regional Reliability Organization’s UFLS program requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-007-0		R2.		The Transmission Owner, Transmission Operator, Distribution Provider, and Load-Serving Entity that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide, and annually update, its underfrequency data as necessary for its Regional Reliability Organization to maintain and update  a UFLSprogram database.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-007-0		R3.		The Transmission Owner and Distribution Provider that owns a UFLS program (as required by its Regional Reliability Organization) shall provide its documentation of that UFLS program to its Regional Reliability Organization on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-008-0		R1.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall have a UFLS equipment maintenance and testing program in place.  This UFLS equipment maintenance and testing program shall include UFLS equipment identification, the schedule for UFLS equipment testing, and the schedule for UFLS equipment maintenance.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-008-0		R2.		The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall implement its UFLS equipment maintenance and testing program and shall provide UFLS maintenance and testing program results to its Regional Reliability Organization and NERC on request (within 30 calendar days).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-009-0		R1.		The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall analyze and document its UFLS program performance in accordance with its Regional Reliability Organization’s UFLS program.  The analysis shall address the performance of UFLS equipment and program effectiveness following system events resulting in system frequency excursions below the initializing set points of the UFLS program.  The analysis shall include, but not be limited to:		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.1.		A description of the event including initiating conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.2.		A review of the UFLS set points and tripping times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.3.		A simulation of the event.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R1.4.		A summary of the findings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-009-0		R2.		The Transmission Owner, Transmission Operator, Load-Serving Entity, and Distribution Provider that owns or operates a UFLS program (as required by its Regional Reliability Organization) shall provide documentation of the analysis of the UFLS program to its Regional Reliability Organization and NERC on request 90 calendar days after the system event.		Prescriptive (explains how to).		A risk mitigation objective that is clear in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-010-0		R1.		The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall periodically (at least every five years or as required by changes in system conditions) conduct and document an assessment of the effectiveness of the UVLS program.  This assessment shall be conducted with the associated Transmission Planner(s) and Planning Authority(ies).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.		This assessment shall include, but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.1.		Coordination of the UVLS programs with other protection and control systems in the Region and with other Regional Reliability Organizations, as appropriate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.2.		Simulations that demonstrate that the UVLS programs performance is consistent with Reliability Standards TPL-001-0, TPL-002-0, TPL-003-0 and TPL-004-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R1.1.3.		A review of the voltage set points and timing.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-010-0		R2.		The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall provide documentation of its current UVLS program assessment to its Regional Reliability Organization and NERC on request (30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-011-0		R1.		The Transmission Owner and Distribution Provider that owns a UVLS system shall have a UVLS equipment maintenance and testing program in place. This program shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.		The UVLS system identification which shall include but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.1.		Relays.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.2.		Instrument transformers.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.3.		Communications systems, where appropriate.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.1.4.		Batteries.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.2.		Documentation of maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.3.		Summary of testing procedure.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.4.		Schedule for system testing.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.5.		Schedule for system maintenance.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R1.6.		Date last tested/maintained.		Prescriptive (explains how to).		Is unclear.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-011-0		R2.		The Transmission Owner and Distribution Provider that owns a UVLS system shall provide documentation of its UVLS equipment maintenance and testing program and the implementation of that UVLS equipment maintenance and testing program to its Regional Reliability Organization and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-012-0		R1.		Each Regional Reliability Organization with a Transmission Owner, Generator Owner, or Distribution Providers that uses or is planning to use an SPS shall have a documented Regional Reliability Organization SPS review procedure to ensure that SPSs comply with Regional criteria and NERC Reliability Standards. The Regional SPS review procedure shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.1.		Description of the process for submitting a proposed SPS for Regional Reliability Organization review.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.2.		Requirements to provide data that describes design, operation, and modeling of an SPS.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.3.		Requirements to demonstrate that the SPS shall be designed so that a single SPS component failure, when the SPS was intended to operate, does not prevent the interconnected transmission system from meeting the performance requirements defined in Reliability Standards TPL-001-0, TPL-002-0, and TPL-003-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.4.		Requirements to demonstrate that the inadvertent operation of an SPS shall meet the same performance requirement (TPL-001-0, TPL-002-0, and TPL-003-0) as that required of the contingency for which it was designed, and not exceed TPL-003-0.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.5.		Requirements to demonstrate the proposed SPS will coordinate with other protection and control systems and applicable Regional Reliability Organization Emergency procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.6.		Regional Reliability Organization definition of misoperation.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.7.		Requirements for analysis and documentation of corrective action plans for all SPS misoperations.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.8.		Identification of the Regional Reliability Organization group responsible for the Regional Reliability Organization’s review procedure and the process for Regional Reliability Organization approval of the procedure.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R1.9.		Determination, as appropriate, of maintenance and testing requirements.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-012-0		R2.		The Regional Reliability Organization shall provide affected Regional Reliability Organizations and NERC with documentation of its SPS review procedure on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-013-0		R1.		The Regional Reliability Organization that has a Transmission Owner, Generator Owner, or Distribution Provider with an SPS installed shall maintain an SPS database. The database shall include the following types of information:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.1.		Design Objectives — Contingencies and system conditions for which the SPS was designed,		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.2.		Operation — The actions taken by the SPS in response to Disturbance conditions, and		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R1.3.		Modeling — Information on detection logic or relay settings that control operation of the SPS.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-013-0		R2.		The Regional Reliability Organization shall provide to affected Regional Reliability Organization(s) and NERC documentation of its database or the information therein on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-014-0		R1.		The Regional Reliability Organization shall assess the operation, coordination, and effectiveness of all SPSs installed in its Region at least once every five years for compliance with NERC Reliability Standards and Regional criteria.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R2.		The Regional Reliability Organization shall provide either a summary report or a detailed report of its assessment of the operation, coordination, and effectiveness of all SPSs installed in its Region to affected Regional Reliability Organizations or NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-014-0		R3.		The documentation of the Regional Reliability Organization’s SPS assessment shall include the following elements:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.1.		Identification of group conducting the assessment and the date the assessment was performed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.2.		Study years, system conditions, and contingencies analyzed in the technical studies on which the assessment is based and when those technical studies were performed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.3.		Identification of SPSs that were found not to comply with NERC standards and Regional Reliability Organization criteria.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.4.		Discussion of any coordination problems found between a SPS and other protection and control systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-014-0		R3.5.		Provide corrective action plans for non-compliant SPSs.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall maintain a list of and provide data for existing and proposed SPSs as specified in Reliability Standard PRC-013-0_R 1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have evidence it reviewed new or functionally modified SPSs in accordance with the Regional Reliability Organization’s procedures as defined in Reliability Standard PRC-012-0_R1 prior to being placed in service.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-015-0		R3.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of SPS data and the results of studies that show compliance of new or functionally modified SPSs with NERC Reliability Standards and Regional Reliability Organization criteria to affected Regional Reliability Organizations and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Planning: one year and longer

		PRC-016-0.1		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall analyze its SPS operations and maintain a record of all misoperations in accordance with the Regional SPS review procedure specified in Reliability Standard PRC-012-0_R1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-016-0.1		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall take corrective actions to avoid future misoperations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-016-0.1		R3.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the misoperation analyses and the corrective action plans to its Regional Reliability Organization and NERC on request (within 90 calendar days).		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-017-0		R1.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have a system maintenance and testing program(s) in place. The program(s) shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.		SPS identification shall include but is not limited to:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.1.		Relays.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.2.		Instrument transformers.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.3.		Communications systems, where appropriate.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.1.4.		Batteries.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.2.		Documentation of maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.3.		Summary of testing procedure.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.4.		Schedule for system testing.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.5.		Schedule for system maintenance.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R1.6.		Date last tested/maintained.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Planning: one year and longer

		PRC-017-0		R2.		The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the program and its implementation to the appropriate Regional Reliability Organizations and NERC on request (within 30 calendar days).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-018-1		R1.		Each Transmission Owner and Generator Owner required to install DMEs by its Regional Reliability Organization (reliability standard PRC-002 Requirements 1-3) shall have DMEs installed that meet the following requirements:		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R1.1.		Internal Clocks in DME devices shall be synchronized to within 2 milliseconds or less of Universal Coordinated Time scale (UTC)		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R1.2.		Recorded data from each Disturbance shall be retrievable for ten calendar days..		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R2.		The Transmission Owner and Generator Owner shall each install DMEs in accordance with its Regional Reliability Organization’s installation requirements (reliability standard PRC-002 Requirements 1 through 3).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R3.		The Transmission Owner and Generator Owner shall each maintain, and report to its Regional Reliability Organization on request, the following data on the DMEs installed to meet that region’s installation requirements (reliability standard PRC-002 Requirements1.1, 2.1 and 3.1):		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R3.1.		Type of DME (sequence of event recorder, fault recorder, or dynamic disturbance recorder).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.2.		Make and model of equipment.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.3.		Installation location.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.4.		Operational status.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.5.		Date last tested.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.6.		Monitored elements, such as transmission circuit, bus section, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.7.		Monitored devices, such as circuit breaker, disconnect status, alarms, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R3.8.		Monitored electrical quantities, such as voltage, current, etc.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R4.		The Transmission Owner and Generator Owner shall each provide Disturbance data (recorded by DMEs) in accordance with its Regional Reliability Organization’s requirements (reliability standard PRC-002 Requirement 4).		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R5.		The Transmission Owner and Generator Owner shall each archive all data recorded by DMEs for Regional Reliability Organization-identified events for at least three years.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R6.		Each Transmission Owner and Generator Owner that is required by its Regional Reliability Organization to have DMEs shall have a maintenance and testing program for those DMEs that includes:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).								YES						Planning: one year and longer

		PRC-018-1		R6.1.		Maintenance and testing intervals and their basis.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-018-1		R6.2.		Summary of maintenance and testing procedures.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.								YES						Planning: one year and longer

		PRC-020-1		R1.		The Regional Reliability Organization shall establish, maintain and annually update a database for UVLS programs implemented by entities within the region to mitigate the risk of voltage collapse or voltage instability in the BES. This database shall include the following items:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.1.		Owner and operator of the UVLS program.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.2.		Size and location of customer load, or percent of connected load, to be interrupted.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.3.		Corresponding voltage set points and overall scheme clearing times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.4.		Time delay from initiation to trip signal.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.5.		Breaker operating times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R1.6.		Any other schemes that are part of or impact the UVLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, UFLS and Special Protection Systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-020-1		R2.		The Regional Reliability Organization shall provide the information in its UVLS database to the Planning Authority, the Transmission Planner, or other Regional Reliability Organizations and to NERC within 30 calendar days of a request.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.		Each Transmission Owner and Distribution Provider that owns a UVLS program to mitigate the risk of voltage collapse or voltage instability in the BES shall annually update its UVLS data to support the Regional UVLS program database.  The following data shall be provided to the Regional Reliability Organization for each installed UVLS system:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.1.		Size and location of customer load, or percent of connected load, to be interrupted.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.2.		Corresponding voltage set points and overall scheme clearing times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.3.		Time delay from initiation to trip signal.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.4.		Breaker operating times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R1.5.		Any other schemes that are part of or impact the UVLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, UFLS and Special Protection Systems.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-021-1		R2.		Each Transmission Owner and Distribution Provider that owns a UVLS program shall provide its UVLS program data to the Regional Reliability Organization within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		PRC-022-1		R1.		Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program to mitigate the risk of voltage collapse or voltage instability in the BES shall analyze and document all UVLS operations and Misoperations. The analysis shall include:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.1.		A description of the event including initiating conditions.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.2.		A review of the UVLS set points and tripping times.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.3.		A simulation of the event, if deemed appropriate by the Regional Reliability Organization.  For most events, analysis of sequence of events may be sufficient and dynamic simulations may not be needed.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.4.		A summary of the findings.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R1.5.		For any Misoperation, a Corrective Action Plan to avoid future Misoperations of a similar nature.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-022-1		R2.		Each Transmission Operator, Load-Serving Entity, and Distribution Provider that operates a UVLS program shall provide documentation of its analysis of UVLS program performance to its Regional Reliability Organization within 90 calendar days of a request.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.						YES		YES				YES		Operations planning: day-ahead up to one year

		PRC-023-1		R1.		Each Transmission Owner, Generator Owner, and Distribution Provider shall use any one of the following criteria (R1.1 through R1.13) for any specific circuit terminal to prevent its phase protective relay settings from limiting transmission system loadability while maintaining reliable protection of the Bulk Electric System for all fault conditions. Each Transmission Owner, Generator Owner, and Distribution Provider shall evaluate relay loadability at 0.85 per unit voltage and a power factor angle of 30 degrees: [Mitigation Time Horizon: Long Term Planning].		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.1.		Set transmission line relays so they do not operate at or below 150% of the highest seasonal Facility Rating of a circuit, for the available defined loading duration nearest 4 hours (expressed in amperes).		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.10.		Set transformer fault protection relays and transmission line relays on transmission lines terminated only with a transformer so that they do not operate at or below the greater of:
- 150% of the applicable maximum transformer nameplate rating (expressed in amperes), including the forced cooled ratings corresponding to all installed supplemental cooling equipment.
- 115% of the highest operator established emergency transformer rating.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.11.		For transformer overload protection relays that do not comply with R1.10 set the relays according to one of the following:
- Set the relays to allow the transformer to be operated at an overload level of at least 150% of the maximum applicable nameplate rating, or 115% of the highest operator established emergency transformer rating, whichever is greater. The protection must allow this overload for at least 15 minutes to allow for the operator to take controlled action to relieve the overload.
- Install supervision for the relays using either a top oil or simulated winding hot spot temperature element. The setting should be no less than 100° C for the top oil or 140° C for the winding hot spot temperature3.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.		When the desired transmission line capability is limited by the requirement to adequately protect the transmission line, set the transmission line distance relays to a maximum of 125% of the apparent impedance (at the impedance angle of the transmission line) subject to the following constraints:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.1.		Set the maximum torque angle (MTA) to 90 degrees or the highest supported by the manufacturer.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.2.		Evaluate the relay loadability in amperes at the relay trip point at 0.85 per unit voltage and a power factor angle of 30 degrees.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.12.3.		Include a relay setting component of 87% of the current calculated in
R1.12.2 in the Facility Rating determination for the circuit.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.13.		Where other situations present practical limitations on circuit capability, set the phase protection relays so they do not operate at or below 115% of such limitations.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.2.		Set transmission line relays so they do not operate at or below 115% of the highest seasonal 15-minute Facility Rating2 of a circuit (expressed in amperes).		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		PRC-023-1		R1.3.		Set transmission line relays so they do not operate at or below 115% of the maximum theoretical power transfer capability (using a 90-degree angle between the sendingend and receiving-end voltages and either reactance or complex impedance) of the circuit (expressed in amperes) using one of the following to perform the power transfer calculation:		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.3.1.		An infinite source (zero source impedance) with a 1.00 per unit bus voltage at each end of the line.		Risk-based (reduces risk).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.3.2.		An impedance at each end of the line, which reflects the actual system
source impedance with a 1.05 per unit voltage behind each source impedance.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.4.		Set transmission line relays on series compensated transmission lines so they do not operate at or below the maximum power transfer capability of the line, determined as the greater of:
- 115% of the highest emergency rating of the series capacitor.
- 115% of the maximum power transfer capability of the circuit (expressed in amperes), calculated in accordance with R1.3, using the full line inductive reactance.		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.5.		Set transmission line relays on weak source systems so they do not operate at or below 170% of the maximum end-of-line three-phase fault magnitude (expressed in amperes).		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.6.		Set transmission line relays applied on transmission lines connected to generation stations remote to load so they do not operate at or below 230% of the aggregated generation nameplate capability.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.7.		Set transmission line relays applied at the load center terminal, remote from generation stations, so they do not operate at or below 115% of the maximum current flow from the load to the generation source under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.8.		Set transmission line relays applied on the bulk system-end of transmission lines that serve load remote to the system so they do not operate at or below 115% of the maximum current flow from the system to the load under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R1.9.		Set transmission line relays applied on the load-end of transmission lines that serve load remote to the bulk system so they do not operate at or below 115% of the maximum current flow from the load to the system under any system configuration.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R2.		The Transmission Owner, Generator Owner, or Distribution Provider that uses a circuit capability with the practical limitations described in R1.6, R1.7, R1.8, R1.9, R1.12, or R1.13 shall use the calculated circuit capability as the Facility Rating of the circuit and shall obtain the agreement of the Planning Coordinator, Transmission Operator, and Reliability Coordinator with the calculated circuit capability.  [Time Horizon: Long Term Planning]		Prescriptive (explains how to).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.		The Planning Coordinator shall determine which of the facilities (transmission lines operated at 100 kV to 200 kV and transformers with low voltage terminals connected at 100 kV to 200 kV) in its Planning Coordinator Area are critical to the reliability of the Bulk Electric System to identify the facilities from 100 kV to 200 kV that must meet Requirement 1 to prevent potential cascade tripping that may occur when protective relay settings limit transmission loadability. [Time Horizon: Long Term Planning]		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.1.		The Planning Coordinator shall have a process to determine the facilities that are critical to the reliability of the Bulk Electric System.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.1.1.		This process shall consider input from adjoining Planning Coordinators and affected Reliability Coordinators.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.2.		The Planning Coordinator shall maintain a current list of facilities determined according to the process described in R3.1.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).				YES		YES		YES				YES		Planning: one year and longer

		PRC-023-1		R3.3.		The Planning Coordinator shall provide a list of facilities to its Reliability Coordinators, Transmission Owners, Generator Owners, and Distribution Providers within 30 days of the establishment of the initial list and within 30 days of any changes to the list.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.				YES		YES		YES				YES		Operations planning: day-ahead up to one year

		TOP-001-1		R1.		Each Transmission Operator shall have the responsibility and clear decision-making authority to take whatever actions are needed to ensure the reliability of its area and shall exercise specific authority to alleviate operating emergencies.		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R2.		Each Transmission Operator shall take immediate actions to alleviate operating emergencies including curtailing transmission service or energy schedules, operating equipment (e.g., generators, phase shifters, breakers), shedding firm load, etc.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R3.		Each Transmission Operator, Balancing Authority, and Generator Operator shall comply with reliability directives issued by the Reliability Coordinator, and each Balancing Authority and Generator Operator shall comply with reliability directives issued by the Transmission Operator, unless such actions would violate safety, equipment, regulatory or statutory requirements.  Under these circumstances the Transmission Operator, Balancing Authority, or Generator Operator shall immediately inform the Reliability Coordinator or Transmission Operator of the inability to perform the directive so that the Reliability Coordinator or Transmission Operator can implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R4.		Each Distribution Provider and Load-Serving Entity shall comply with all reliability directives issued by the Transmission Operator, including shedding firm load, unless such actions would violate safety, equipment, regulatory or statutory requirements.  Under these circumstances, the Distribution Provider or Load-Serving Entity shall immediately inform the Transmission Operator of the inability to perform the directive so that the Transmission Operator can implement alternate remedial actions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R5.		Each Transmission Operator shall inform its Reliability Coordinator and any other potentially affected Transmission Operators of real-time or anticipated emergency conditions, and take actions to avoid, when possible, or mitigate the emergency.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R6.		Each Transmission Operator, Balancing Authority, and Generator Operator shall render all available emergency assistance to others as requested, provided that the requesting entity has implemented its comparable emergency procedures, unless such actions would violate safety, equipment, or regulatory or statutory requirements.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.		Each Transmission Operator and Generator Operator shall not remove Bulk Electric System facilities from service if removing those facilities would burden neighboring systems unless:		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.1.		For a generator outage, the Generator Operator shall notify and coordinate with the Transmission Operator.  The Transmission Operator shall notify the Reliability Coordinator and other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.2.		For a transmission facility, the Transmission Operator shall notify and coordinate with its Reliability Coordinator.  The Transmission Operator shall notify other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R7.3.		When time does not permit such notifications and coordination, or when immediate action is required to prevent a hazard to the public, lengthy customer service interruption, or damage to facilities, the Generator Operator shall notify the Transmission Operator, and the Transmission Operator shall notify its Reliability Coordinator and adjacent Transmission Operators, at the earliest possible time.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-001-1		R8.		During a system emergency, the Balancing Authority and Transmission Operator shall immediately take action to restore the Real and Reactive Power Balance.  If the Balancing Authority or Transmission Operator is unable to restore Real and Reactive Power Balance it shall request emergency assistance from the Reliability Coordinator.  If corrective action or emergency assistance is not adequate to mitigate the Real and Reactive Power Balance, then the Reliability Coordinator, Balancing Authority, and Transmission Operator shall implement firm load shedding.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R1.		Each Balancing Authority and Transmission Operator shall maintain a set of current plans that are designed to evaluate options and set procedures for reliable operation through a reasonable future time period.  In addition, each Balancing Authority and Transmission Operator shall be responsible for using available personnel and system equipment to implement these plans to ensure that interconnected system reliability will be maintained.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R10.		Each Balancing Authority and Transmission Operator shall plan to meet all System Operating Limits (SOLs) and Interconnection Reliability Operating Limits (IROLs).		Risk-based (reduces risk).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R11.		The Transmission Operator shall perform seasonal, next-day, and current-day Bulk Electric System studies to determine SOLs.  Neighboring Transmission Operators shall utilize identical SOLs for common facilities.  The Transmission Operator shall update these Bulk Electric System studies as necessary to reflect current system conditions; and shall make the results of Bulk Electric System studies available to the Transmission Operators, Balancing Authorities (subject to confidentiality requirements), and to its Reliability Coordinator.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R12.		The Transmission Service Provider shall include known SOLs or IROLs within its area and neighboring areas in the determination of transfer capabilities, in accordance with filed tariffs and/or regional Total Transfer Capability and Available Transfer Capability calculation processes.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R13.		At the request of the Balancing Authority or Transmission Operator, a Generator Operator shall perform generating real and reactive capability verification that shall include, among other variables, weather, ambient air and water conditions, and fuel quality and quantity, and provide the results to the Balancing Authority or Transmission Operator operating personnel as requested.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).						YES						YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.		Generator Operators shall, without any intentional time delay, notify their Balancing Authority and Transmission Operator of changes in capabilities and characteristics including but not limited to:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.1.		Changes in real output capabilities.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R14.2.		Automatic Voltage Regulator status and mode setting. (Retired August 1, 2007)		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R15.		Generation Operators shall, at the request of the Balancing Authority or Transmission Operator, provide a forecast of expected real power output to assist in operations planning (e.g., a seven-day forecast of real output).		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R16.		Subject to standards of conduct and confidentiality agreements, Transmission Operators shall, without any intentional time delay, notify their Reliability Coordinator and Balancing Authority of changes in capabilities and characteristics including but not limited to:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R16.1.		Changes in transmission facility status.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R16.2.		Changes in transmission facility rating.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R17.		Balancing Authorities and Transmission Operators shall, without any intentional time delay, communicate the information described in the requirements R1 to R16 above to their Reliability Coordinator.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R18.		Neighboring Balancing Authorities, Transmission Operators, Generator Operators, Transmission Service Providers, and Load-Serving Entities shall use uniform line identifiers when referring to transmission facilities of an interconnected network.		Prescriptive (explains how to).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		yES		YES		Real-time or current hour

		TOP-002-2		R19.		Each Balancing Authority and Transmission Operator shall maintain accurate computer models utilized for analyzing and planning system operations.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R2.		Each Balancing Authority and Transmission Operator shall ensure its operating personnel participate in the system planning and design study processes, so that these studies contain the operating personnel perspective and system operating personnel are aware of the planning purpose.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.						YES								Operations planning: day-ahead up to one year

		TOP-002-2		R3.		Each Load-Serving Entity and Generator Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal operations with its Host Balancing Authority and Transmission Service Provider.  Each Balancing Authority and Transmission Service Provider shall coordinate its current-day, next-day, and seasonal operations with its Transmission Operator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		yES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R4.		Each Balancing Authority and Transmission Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal planning and operations with neighboring Balancing Authorities and Transmission Operators and with its Reliability Coordinator, so that normal Interconnection operation will proceed in an orderly and consistent manner.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-002-2		R5.		Each Balancing Authority and Transmission Operator shall plan to meet scheduled system configuration, generation dispatch, interchange scheduling and demand patterns.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R6.		Each Balancing Authority and Transmission Operator shall plan to meet unscheduled changes in system configuration and generation dispatch (at a minimum N-1 Contingency planning) in accordance with NERC, Regional Reliability Organization, subregional, and local reliability requirements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-002-2		R7.		Each Balancing Authority shall plan to meet capacity and energy reserve requirements, including the deliverability/capability for any single Contingency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Same-day

		TOP-002-2		R8.		Each Balancing Authority shall plan to meet voltage and/or reactive limits, including the deliverability/capability for any single contingency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Same-day

		TOP-002-2		R9.		Each Balancing Authority shall plan to meet Interchange Schedules and Ramps.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-003-1		R1.		Generator Operators and Transmission Operators shall provide planned outage information.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.1.		Each Generator Operator shall provide outage information daily to its Transmission Operator for scheduled generator outages planned for the next day (any foreseen outage of a generator greater than 50 MW).  The Transmission Operator shall establish the outage reporting requirements.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.2.		Each Transmission Operator shall provide outage information daily to affected Balancing Authorities and Transmission Operators for scheduled generator and bulk transmission outages planned for the next day (any foreseen outage of a transmission line or transformer greater than 100 kV or generator greater than 50 MW) that may collectively cause or contribute to an SOL or IROL violation or a regional operating area limitation.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R1.3.		Such information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R2.		Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of system voltage regulating equipment, such as automatic voltage regulators on generators, supplementary excitation control, synchronous condensers, shunt and series capacitors, reactors, etc., among affected Balancing Authorities and Transmission Operators as required.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R3.		Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of telemetering and control equipment and associated communication channels between the affected areas.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-003-1		R4.		Each Reliability Coordinator shall resolve any scheduling of potential reliability conflicts.		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.		YES				YES				YES		YES		Operations planning: day-ahead up to one year

		TOP-004-2		R1.		Each Transmission Operator shall operate within the Interconnection Reliability Operating Limits (IROLs) and System Operating Limits (SOLs).		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R2.		Each Transmission Operator shall operate so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single contingency.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R3.		Each Transmission Operator shall operate to protect against instability, uncontrolled separation, or cascading outages resulting from multiple outages, as specified by its Reliability Coordinator.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R4.		If a Transmission Operator enters an unknown operating state (i.e. any state for which valid operating limits have not been determined), it will be considered to be in an emergency and shall restore operations to respect proven reliable power system limits within 30 minutes.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R5.		Each Transmission Operator shall make every effort to remain connected to the Interconnection.  If the Transmission Operator determines that by remaining interconnected, it is in imminent danger of violating an IROL or SOL, the Transmission Operator may take such actions, as it deems necessary, to protect its area.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-004-2		R6.		Transmission Operators, individually and jointly with other Transmission Operators, shall develop, maintain, and implement formal policies and procedures to provide for transmission reliability.  These policies and procedures shall address the execution and coordination of activities that impact inter- and intra-Regional reliability, including:		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.1.		Monitoring and controlling voltage levels and real and reactive power flows.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.2.		Switching transmission elements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.3.		Planned outages of transmission elements.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-004-2		R6.4.		Responding to IROL and SOL violations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating a product or result (can be written such as a restoration procedure).		YES		YES		YES		YES		YES		YES		Planning: one year and longer

		TOP-005-2		R1.		As a condition of receiving data from the Interregional Security Network (ISN), each ISN data recipient shall sign the NERC Confidentiality Agreement for “Electric System Reliability Data.”		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Planning: one year and longer

		TOP-005-2		R2.		Upon request, each Balancing Authority and Transmission Operator shall provide to other Balancing Authorities and Transmission Operators with immediate responsibility for operational reliability, the operating data that are necessary to allow these Balancing Authorities and Transmission Operators to perform operational reliability assessments and to coordinate reliable operations.  Balancing Authorities and Transmission Operators shall provide the types of data as listed in Attachment 1-TOP-005 “Electric System Reliability Data,” unless otherwise agreed to by the Balancing Authorities and Transmission Operators with immediate responsibility for operational reliability.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-005-2		R3.		Each Purchasing-Selling Entity shall provide information as requested by its Host Balancing Authorities and Transmission Operators to enable them to conduct operational reliability assessments and coordinate reliable operations.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.		Each Transmission Operator and Balancing Authority shall know the status of all generation and transmission resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.1.		Each Generator Operator shall inform its Host Balancing Authority and the Transmission Operator of all generation resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R1.2.		Each Transmission Operator and Balancing Authority shall inform the Reliability Coordinator and other affected Balancing Authorities and Transmission Operators of all generation and transmission resources available for use.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R2.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall monitor applicable transmission line status, real and reactive power flows, voltage, load-tap-changer settings, and status of rotating and static reactive resources.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R3.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall provide appropriate technical information concerning protective relays to their operating personnel.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-006-2		R4.		Each Transmission Operator, and Balancing Authority shall have information, including weather forecasts and past load patterns, available to predict the system’s near-term load pattern.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Operations planning: day-ahead up to one year

		TOP-006-2		R5.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall use monitoring equipment to bring to the attention of operating personnel important deviations in operating conditions and to indicate, if appropriate, the need for corrective action.		Risk-based (reduces risk).		Is unclear.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R6.		Each Balancing Authority and Transmission Operator shall use sufficient metering of suitable range, accuracy and sampling rate (if applicable) to ensure accurate and timely monitoring of operating conditions under both normal and emergency situations.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-006-2		R7.		Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall monitor system frequency.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R1.		A Transmission Operator shall inform its Reliability Coordinator when an IROL or SOL has been exceeded and the actions being taken to return the system to within limits.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Same-day

		TOP-007-0		R2.		Following a Contingency or other event that results in an IROL violation, the Transmission Operator shall return its transmission system to within IROL as soon as possible, but not longer than 30 minutes.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R3.		A Transmission Operator shall take all appropriate actions up to and including shedding firm load, or directing the shedding of firm load, in order to comply with Requirement R 2.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-007-0		R4.		The Reliability Coordinator shall evaluate actions taken to address an IROL or SOL violation and, if the actions taken are not appropriate or sufficient, direct actions required to return the system to within limits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R1.		The Transmission Operator experiencing or contributing to an IROL or SOL violation shall take immediate steps to relieve the condition, which may include shedding firm load.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R2.		Each Transmission Operator shall operate to prevent the likelihood that a disturbance, action, or inaction will result in an IROL or SOL violation in its area or another area of the Interconnection.  In instances where there is a difference in derived operating limits, the Transmission Operator shall always operate the Bulk Electric System to the most limiting parameter.		Risk-based (reduces risk).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R3.		The Transmission Operator shall disconnect the affected facility if the overload on a transmission facility or abnormal voltage or reactive condition persists and equipment is endangered.  In doing so, the Transmission Operator shall notify its Reliability Coordinator and all neighboring Transmission Operators impacted by the disconnection prior to switching, if time permits, otherwise, immediately thereafter.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES		YES		YES		Real-time or current hour

		TOP-008-1		R4.		The Transmission Operator shall have sufficient information and analysis tools to determine the cause(s) of SOL violations.  This analysis shall be conducted in all operating timeframes.  The Transmission Operator shall use the results of these analyses to immediately mitigate the SOL violation.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.														Operations planning: day-ahead up to one year

		VAR-001-1		R1.		Each Transmission Operator, individually and jointly with other Transmission Operators, shall ensure that formal policies and procedures are developed, maintained, and implemented for monitoring and controlling voltage levels and Mvar flows within their individual areas and with the areas of neighboring Transmission Operators.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		YES		YES		YES		YES						Real-time or current hour

		VAR-001-1		R10.		Each Transmission Operator shall correct IROL or SOL violations resulting from reactive resource deficiencies (IROL violations must be corrected within 30 minutes) and complete the required IROL or SOL violation reporting.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes						yes		yes		yes		Real-time or current hour

		VAR-001-1		R11.		After consultation with the Generator Owner regarding necessary step-up transformer tap changes, the Transmission Operator shall provide documentation to the Generator Owner specifying the required tap changes, a timeframe for making the changes, and technical justification for these changes.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		VAR-001-1		R12.		The Transmission Operator shall direct corrective action, including load reduction, necessary to prevent voltage collapse when reactive resources are insufficient.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R2.		Each Transmission Operator shall acquire sufficient reactive resources within its area to protect the voltage levels under normal and Contingency conditions.  This includes the Transmission Operator’s share of the reactive requirements of interconnecting transmission circuits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes				yes		yes		Real-time or current hour

		VAR-001-1		R3.		The Transmission Operator shall specify criteria that exempts generators from compliance with the requirements defined in Requirement 4, and Requirement 6.1.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Real-time or current hour

		VAR-001-1		R3.1.		Each Transmission Operator shall maintain a list of generators in its area that are exempt from following a voltage or Reactive Power schedule.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Can only be measured through documentation.														Real-time or current hour

		VAR-001-1		R3.2.		For each generator that is on this exemption list, the Transmission Operator shall notify the associated Generator Owner.		Administrative (requires only documenting/reporting something).		No reliability benefit is provided by the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-001-1		R4.		Each Transmission Operator shall specify a voltage or Rreactive Power schedule at the interconnection between the generator facility and the Transmission Owner's facilities to be maintained by each generator. The Transmission Operator shall provide the voltage or Reactive Power schedule to the associated Generator Operator and direct the Generator Operator to comply with the schedule in automatic voltage control mode (AVR in service and controlling voltage).		Capability-based (provides necessary capability).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		YES		YES		YES		YES						Real-time or current hour

		VAR-001-1		R5.		Each Purchasing-Selling Entity shall arrange for (self-provide or purchase) reactive resources to satisfy its reactive requirements identified by its Transmission Service Provider.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.												yes		Real-time or current hour

		VAR-001-1		R6.		The Transmission Operator shall know the status of all transmission Reactive Power resources, including the status of voltage regulators and power system stabilizers.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes												Real-time or current hour

		VAR-001-1		R6.1.		When notified of the loss of an automatic voltage regulator control, the Transmission Operator shall direct the Generator Operator to maintain or change either its voltage schedule or its Reactive Power schedule.		Risk-based (reduces risk).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes				yes								Real-time or current hour

		VAR-001-1		R7.		The Transmission Operator shall be able to operate or direct the operation of devices necessary to regulate transmission voltage and reactive flow.		Capability-based (provides necessary capability).		Is implied but not explicitly stated in the requirement.		Evaluating capabilities, such as tools, systems, training records, etc.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R8.		Each Transmission Operator shall operate or direct the operation of capacitive and inductive reactive resources within its area – including reactive generation scheduling; transmission line and reactive resource switching; and, if necessary, load shedding – to maintain system and Interconnection voltages within established limits.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R9.		Each Transmission Operator shall maintain reactive resources to support its voltage under first Contingency conditions.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-001-1		R9.1.		Each Transmission Operator shall disperse and locate the reactive resources so that the resources can be applied effectively and quickly when Contingencies occur.		Performance-based (specifies a bulk power system outcome).		A risk mitigation objective that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R1.		The Generator Operator shall operate each generator connected to the interconnected transmission system in the automatic voltage control mode (automatic voltage regulator in service and controlling voltage) unless the Generator Operator has notified the Transmission Operator.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.		Unless exempted by the Transmission Operator, each Generator Operator shall maintain the generator voltage or Reactive Power output (within applicable Facility Ratings.  [1] as directed by the Transmission Operator		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.1.		When a generator’s automatic voltage regulator is out of service, the Generator Operator shall use an alternative method to control the generator voltage and reactive output to meet the voltage or Reactive Power schedule directed by the Transmission Operator.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating bulk power system performance, data, or results.		yes		yes		yes		yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R2.2.		When directed to modify voltage, the Generator Operator shall comply or provide an explanation of why the schedule cannot be met.		Performance-based (specifies a bulk power system outcome).		A bulk power system result that is clear in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes						yes		yes		yes		Real-time or current hour

		VAR-002-1.1a		R3.		Each Generator Operator shall notify its associated Transmission Operator as soon as practical, but within 30 minutes of any of the following:		Administrative (requires only documenting/reporting something).		Is unclear.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R3.1.		A status or capability change on any generator Reactive Power resource, including the status of each automatic voltage regulator and power system stabilizer and the expected duration of the change in status or capability.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R3.2.		A status or capability change on any other Reactive Power resources under the Generator Operator’s control and the expected duration of the change in status or capability.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.														Real-time or current hour

		VAR-002-1.1a		R4.		The Generator Owner shall provide the following to its associated Transmission Operator and Transmission Planner within 30 calendar days of a request.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.		For generator step-up transformers and auxiliary transformers with primary voltages equal to or greater than the generator terminal voltage:		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.1.		Tap settings.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.2.		Available fixed tap ranges.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.3.		Impedance data.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R4.1.4.		The +/- voltage range with step-change in % for load-tap changing transformers.		Administrative (requires only documenting/reporting something).		Is unclear.		Can only be measured through documentation.														Operations planning: day-ahead up to one year

		VAR-002-1.1a		R5.		After consultation with the Transmission Operator regarding necessary step-up transformer tap changes, the Generator Owner shall ensure that transformer tap positions are changed according to the specifications provided by the Transmission Operator, unless such action would violate safety, an equipment rating, a regulatory requirement, or a statutory requirement.		Performance-based (specifies a bulk power system outcome).		Is implied but not explicitly stated in the requirement.		Evaluating performance of an activity or a record/log of that activity.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year

		VAR-002-1.1a		R5.1.		If the Generator Operator can’t comply with the Transmission Operator’s specifications, the Generator Operator shall notify the Transmission Operator and shall provide the technical justification.		Administrative (requires only documenting/reporting something).		Is implied but not explicitly stated in the requirement.		Can only be measured through documentation.		yes		yes		yes		yes		yes		yes		Operations planning: day-ahead up to one year





AllQ1GroupQ2

		Is unclear.
Capability-based-

		Is unclear.
Performance-based-

		A bulk power system result that is clear in the requirement.
Administrative-

		A bulk power system result that is clear in the requirement.
Risk-based-

		A risk mitigation objective that is clear in the requirement.
Administrative-

		Is unclear.
Risk-based-

		A bulk power system result that is clear in the requirement. 
Capability-based-

		No reliability benefit is provided by the requirement.
Prescriptive -

		A risk mitigation objective that is clear in the requirement.
Performance-based-

		Is implied but not explicitly stated in the requirement.
Performance-based-

		A risk mitigation objective that is clear in the requirement.
Capability-based-

		A bulk power system result that is clear in the requirement.
Prescriptive -

		A risk mitigation objective that is clear in the requirement.
Prescriptive -

		A bulk power system result that is clear in the requirement.
Performance-based-

		Is implied but not explicitly stated in the requirement.
Capability-based-

		No reliability benefit is provided by the requirement.
Administrative-

		Is implied but not explicitly stated in the requirement.
Administrative-

		A risk mitigation objective that is clear in the requirement.
Risk-based-

		Is unclear.
Administrative-

		Is implied but not explicitly stated in the requirement.
Risk-based-

		Is unclear.
Prescriptive -

		Is implied but not explicitly stated in the requirement.
Prescriptive -



CountOfKeyID

Q1 Group Q2

1

1

2

2

9

9

12

16

19

20

24

28

35

39

45

71

73

99

119

209

226

301



AdministrativeQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Administrative (requires only documenting/reporting something).

2

9

73

119

71



Capability-basedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Capability-based (provides necessary capability).

12

24

45

1



Performance-basedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Performance-based (specifies a bulk power system outcome).

39

19

20

1



PrescriptiveQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Prescriptive (explains how to).

28

35

301

226

16



RiskBasedQ2

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



Risk-based (reduces risk).

2

99

209

9



AllQ1Q3

		Can only be measured through documentation.
Performance-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Performance-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Performance-based-

		Evaluating bulk power system performance, data, or results.
Prescriptive -

		Can only be measured through documentation.
Capability-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Capability-based-

		Evaluating bulk power system performance, data, or results.
Risk-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Administrative-

		Evaluating capabilities, such as tools, systems, training records, etc.
Prescriptive -

		Evaluating performance of an activity or a record/log of that activity.
Capability-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Risk-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Administrative-

		Evaluating bulk power system performance, data, or results.
Performance-based-

		Evaluating performance of an activity or a record/log of that activity.
Performance-based-

		Evaluating capabilities, such as tools, systems, training records, etc.
Capability-based-

		Evaluating performance of an activity or a record/log of that activity.
Administrative-

		Can only be measured through documentation.
Risk-based-

		Evaluating performance of an activity or a record/log of that activity.
Prescriptive -

		Evaluating a product or result (can be written such as a restoration procedure).
Risk-based-

		Evaluating performance of an activity or a record/log of that activity.
Risk-based-

		Evaluating a product or result (can be written such as a restoration procedure).
Prescriptive -

		Can only be measured through documentation.
Administrative-

		Can only be measured through documentation.
Prescriptive -



CountOfKeyID

Q1 Group Q3

1

1

3

4

9

9

9

10

16

18

24

28

29

45

46

48

51

56

91

144

187

188

343



AdministrativeQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Administrative (requires only documenting/reporting something).

188

28

10

48



CapabilityQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Capability-based (provides necessary capability).

9

9

46

18



PerformanceQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Performance-based (specifies a bulk power system outcome).

1

1

29

3

45



PrescriptiveQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Prescriptive (explains how to).

343

187

4

16

56



RiskBasedQ3

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Risk-based (reduces risk).

51

91

9

24

144



AllQ1Q10

		Planning: one year and longer
Capability-based-

		Same-day
Performance-based-

		Same-day
Administrative-

		Same-day
Capability-based-

		Operations planning: day-ahead up to one year
Performance-based-

		Same-day
Prescriptive -

		Planning: one year and longer
Performance-based-

		Operations planning: day-ahead up to one year
Capability-based-

		Real-time or current hour
Administrative-

		Real-time or current hour
Prescriptive -

		Real-time or current hour
Capability-based-

		Real-time or current hour
Performance-based-

		Same-day
Risk-based-

		Operations planning: day-ahead up to one year
Risk-based-

		Real-time or current hour
Risk-based-

		Planning: one year and longer
Administrative-

		Planning: one year and longer
Risk-based-

		Operations planning: day-ahead up to one year
Administrative-

		Operations planning: day-ahead up to one year
Prescriptive -

		Planning: one year and longer
Prescriptive -



CountOfKeyID

Q1 Group Q10

2

2

8

8

9

12

14

21

41

49

50

54

59

67

83

103

110

120

203

341



AdministrativeQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Administrative (requires only documenting/reporting something).

120

103

41

8



CapabilityQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Capability-based (provides necessary capability).

21

2

50

8



PerformanceQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Performance-based (specifies a bulk power system outcome).

9

14

54

2



PrescriptiveQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Prescriptive (explains how to).

203

341

49

12



RiskQ10

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Risk-based (reduces risk).

67

110

83

59



AllQ2Q1

		Administrative
A bulk power system result that is clear in the requirement.

		Performance-based
A bulk power system result that is clear in the requirement.

		Prescriptive
A bulk power system result that is clear in the requirement.

		Risk-based
A bulk power system result that is clear in the requirement.

		Capability-based
A bulk power system result that is clear in the requirement.

		Administrative
A risk mitigation objective that is clear in the requirement.

		Capability-based
A risk mitigation objective that is clear in the requirement.

		Performance-based
A risk mitigation objective that is clear in the requirement.

		Prescriptive
A risk mitigation objective that is clear in the requirement.

		Risk-based
A risk mitigation objective that is clear in the requirement.

		Administrative
Is implied but not explicitly stated in the requirement.

		Capability-based
Is implied but not explicitly stated in the requirement.

		Performance-based
Is implied but not explicitly stated in the requirement.

		Prescriptive
Is implied but not explicitly stated in the requirement.

		Risk-based
Is implied but not explicitly stated in the requirement.

		Administrative
Is unclear.

		Capability-based
Is unclear.

		Performance-based
Is unclear.

		Prescriptive
Is unclear.

		Risk-based
Is unclear.

		Administrative
No reliability benefit is provided by the requirement.

		Prescriptive
No reliability benefit is provided by the requirement.



CountOfKeyID

Q2 Grouping Q1

2

39

28

2

12

9

24

19

35

99

73

45

20

301

209

119

1

1

226

9

71

16



Bulk Power System 

		Administrative

		Performance-based

		Prescriptive

		Risk-based

		Capability-based



A bulk power system result that is clear in the requirement.

2

39

28

2

12



Risk Mitigation 

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



A risk mitigation objective that is clear in the requirement.

9

24

19

35

99



ImpliedNotExplicitly

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Is implied but not explicitly stated in the requirement.

73

45

20

301

209



Unclear

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Is unclear.

119

1

1

226

9



NoReliabilityBenefit

		Administrative

		Prescriptive



No reliability benefit is provided by the requirement.

71

16



MeasureDocumentation

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Can only be measured through documentation.

188

9

1

343

51



EvaluatingaProductorResult

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating a product or result (can be written such as a restoration procedure).

28

9

1

187

91



EvalCapabilities

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating capabilities, such as tools, systems, training records, etc.

10

46

3

16

24



EvaluatingPerfomance

		Administrative

		Capability-based

		Performance-based

		Prescriptive

		Risk-based



Evaluating performance of an activity or a record/log of that activity.

48

18

45

56

144



OperationPlanning

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Operations planning: day-ahead up to one year

120

21

9

203

67



Planning1yrandLonger

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Planning: one year and longer

103

2

14

341

110



RealTimeorCurrentHr

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Real-time or current hour

41

50

54

49

83



Same -Day

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Same-Day

8

8

2

12

59



Q123an10TableSource

		Q1 Q2

		This requirement is:		Requirement Type		The reliability objective (or risk mitigation) achieved by this		Count

		Administrative (requires only documenting/reporting something).		Administrative-		A bulk power system result that is clear in the requirement.		2

		Administrative (requires only documenting/reporting something).		Administrative-		A risk mitigation objective that is clear in the requirement.		9

		Administrative (requires only documenting/reporting something).		Administrative-		Is implied but not explicitly stated in the requirement.		73

		Administrative (requires only documenting/reporting something).		Administrative-		Is unclear.		119

		Administrative (requires only documenting/reporting something).		Administrative-		No reliability benefit is provided by the requirement.		71

		Capability-based (provides necessary capability).		Capability-based-		A bulk power system result that is clear in the requirement.		12

		Capability-based (provides necessary capability).		Capability-based-		A risk mitigation objective that is clear in the requirement.		24

		Capability-based (provides necessary capability).		Capability-based-		Is implied but not explicitly stated in the requirement.		45

		Capability-based (provides necessary capability).		Capability-based-		Is unclear.		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		A bulk power system result that is clear in the requirement.		39

		Performance-based (specifies a bulk power system outcome).		Performance-based-		A risk mitigation objective that is clear in the requirement.		19

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Is implied but not explicitly stated in the requirement.		20

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Is unclear.		1

		Prescriptive (explains how to).		Prescriptive -		A bulk power system result that is clear in the requirement.		28

		Prescriptive (explains how to).		Prescriptive -		A risk mitigation objective that is clear in the requirement.		35

		Prescriptive (explains how to).		Prescriptive -		Is implied but not explicitly stated in the requirement.		301

		Prescriptive (explains how to).		Prescriptive -		Is unclear.		226

		Prescriptive (explains how to).		Prescriptive -		No reliability benefit is provided by the requirement.		16

		Risk-based (reduces risk).		Risk-based-		A bulk power system result that is clear in the requirement.		2

		Risk-based (reduces risk).		Risk-based-		A risk mitigation objective that is clear in the requirement.		99

		Risk-based (reduces risk).		Risk-based-		Is implied but not explicitly stated in the requirement.		209

		Risk-based (reduces risk).		Risk-based-		Is unclear.		9

				Chart 2

				Requirement Type		The reliability objective (or risk mitigation) achieved by this		CountOfKeyID

				Capability-based-		Is unclear.		1

				Performance-based-		Is unclear.		1

				Administrative-		A bulk power system result that is clear in the requirement.		2

				Risk-based-		A bulk power system result that is clear in the requirement.		2

				Administrative-		A risk mitigation objective that is clear in the requirement.		9

				Risk-based-		Is unclear.		9

				Capability-based-		A bulk power system result that is clear in the requirement.		12

				Prescriptive -		No reliability benefit is provided by the requirement.		16

				Performance-based-		A risk mitigation objective that is clear in the requirement.		19

				Performance-based-		Is implied but not explicitly stated in the requirement.		20

				Capability-based-		A risk mitigation objective that is clear in the requirement.		24

				Prescriptive -		A bulk power system result that is clear in the requirement.		28

				Prescriptive -		A risk mitigation objective that is clear in the requirement.		35

				Performance-based-		A bulk power system result that is clear in the requirement.		39

				Capability-based-		Is implied but not explicitly stated in the requirement.		45

				Administrative-		No reliability benefit is provided by the requirement.		71

				Administrative-		Is implied but not explicitly stated in the requirement.		73

				Risk-based-		A risk mitigation objective that is clear in the requirement.		99

				Administrative-		Is unclear.		119

				Risk-based-		Is implied but not explicitly stated in the requirement.		209

				Prescriptive -		Is unclear.		226

				Prescriptive -		Is implied but not explicitly stated in the requirement.		301

		Q1-Q3

		This requirement is:		Requirement Type		The most effective way to measure this requirement is:		CountOfKeyID

		Administrative (requires only documenting/reporting something).		Administrative-		Can only be measured through documentation.		188

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating a product or result (can be written such as a restoration procedure).		28

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating capabilities, such as tools, systems, training records, etc.		10

		Administrative (requires only documenting/reporting something).		Administrative-		Evaluating performance of an activity or a record/log of that activity.		48

		Capability-based (provides necessary capability).		Capability-based-		Can only be measured through documentation.		9

		Capability-based (provides necessary capability).		Capability-based-		Evaluating a product or result (can be written such as a restoration procedure).		9

		Capability-based (provides necessary capability).		Capability-based-		Evaluating capabilities, such as tools, systems, training records, etc.		46

		Capability-based (provides necessary capability).		Capability-based-		Evaluating performance of an activity or a record/log of that activity.		18

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Can only be measured through documentation.		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating a product or result (can be written such as a restoration procedure).		1

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating bulk power system performance, data, or results.		29

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating capabilities, such as tools, systems, training records, etc.		3

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Evaluating performance of an activity or a record/log of that activity.		45

		Prescriptive (explains how to).		Prescriptive -		Can only be measured through documentation.		343

		Prescriptive (explains how to).		Prescriptive -		Evaluating a product or result (can be written such as a restoration procedure).		187

		Prescriptive (explains how to).		Prescriptive -		Evaluating bulk power system performance, data, or results.		4

		Prescriptive (explains how to).		Prescriptive -		Evaluating capabilities, such as tools, systems, training records, etc.		16

		Prescriptive (explains how to).		Prescriptive -		Evaluating performance of an activity or a record/log of that activity.		56

		Risk-based (reduces risk).		Risk-based-		Can only be measured through documentation.		51

		Risk-based (reduces risk).		Risk-based-		Evaluating a product or result (can be written such as a restoration procedure).		91

		Risk-based (reduces risk).		Risk-based-		Evaluating bulk power system performance, data, or results.		9

		Risk-based (reduces risk).		Risk-based-		Evaluating capabilities, such as tools, systems, training records, etc.		24

		Risk-based (reduces risk).		Risk-based-		Evaluating performance of an activity or a record/log of that activity.		144

				Requirement Type		The most effective way to measure this requirement is:		CountOfKeyID

				Performance-based-		Can only be measured through documentation.		1

				Performance-based-		Evaluating a product or result (can be written such as a restoration procedure).		1

				Performance-based-		Evaluating capabilities, such as tools, systems, training records, etc.		3

				Prescriptive -		Evaluating bulk power system performance, data, or results.		4

				Capability-based-		Can only be measured through documentation.		9

				Capability-based-		Evaluating a product or result (can be written such as a restoration procedure).		9

				Risk-based-		Evaluating bulk power system performance, data, or results.		9

				Administrative-		Evaluating capabilities, such as tools, systems, training records, etc.		10

				Prescriptive -		Evaluating capabilities, such as tools, systems, training records, etc.		16

				Capability-based-		Evaluating performance of an activity or a record/log of that activity.		18

				Risk-based-		Evaluating capabilities, such as tools, systems, training records, etc.		24

				Administrative-		Evaluating a product or result (can be written such as a restoration procedure).		28

				Performance-based-		Evaluating bulk power system performance, data, or results.		29

				Performance-based-		Evaluating performance of an activity or a record/log of that activity.		45

				Capability-based-		Evaluating capabilities, such as tools, systems, training records, etc.		46

				Administrative-		Evaluating performance of an activity or a record/log of that activity.		48

				Risk-based-		Can only be measured through documentation.		51

				Prescriptive -		Evaluating performance of an activity or a record/log of that activity.		56

				Risk-based-		Evaluating a product or result (can be written such as a restoration procedure).		91

				Risk-based-		Evaluating performance of an activity or a record/log of that activity.		144

				Prescriptive -		Evaluating a product or result (can be written such as a restoration procedure).		187

				Administrative-		Can only be measured through documentation.		188

				Prescriptive -		Can only be measured through documentation.		343

		Q1-Q10

		This requirement is:		Requirement Type		The time horizon to which this requirement applies is:		CountOfKeyID

		Administrative (requires only documenting/reporting something).		Administrative-		Operations planning: day-ahead up to one year		120

		Administrative (requires only documenting/reporting something).		Administrative-		Planning: one year and longer		103

		Administrative (requires only documenting/reporting something).		Administrative-		Real-time or current hour		41

		Administrative (requires only documenting/reporting something).		Administrative-		Same-day		8

		Capability-based (provides necessary capability).		Capability-based-		Operations planning: day-ahead up to one year		21

		Capability-based (provides necessary capability).		Capability-based-		Planning: one year and longer		2

		Capability-based (provides necessary capability).		Capability-based-		Real-time or current hour		50

		Capability-based (provides necessary capability).		Capability-based-		Same-day		8

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Operations planning: day-ahead up to one year		9

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Planning: one year and longer		14

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Real-time or current hour		54

		Performance-based (specifies a bulk power system outcome).		Performance-based-		Same-day		2

		Prescriptive (explains how to).		Prescriptive -		Operations planning: day-ahead up to one year		203

		Prescriptive (explains how to).		Prescriptive -		Planning: one year and longer		341

		Prescriptive (explains how to).		Prescriptive -		Real-time or current hour		49

		Prescriptive (explains how to).		Prescriptive -		Same-day		12

		Risk-based (reduces risk).		Risk-based-		Operations planning: day-ahead up to one year		67

		Risk-based (reduces risk).		Risk-based-		Planning: one year and longer		110

		Risk-based (reduces risk).		Risk-based-		Real-time or current hour		83

		Risk-based (reduces risk).		Risk-based-		Same-day		59

				Requirement Type		The time horizon to which this requirement applies is:		CountOfKeyID

				Capability-based-		Planning: one year and longer		2

				Performance-based-		Same-day		2

				Administrative-		Same-day		8

				Capability-based-		Same-day		8

				Performance-based-		Operations planning: day-ahead up to one year		9

				Prescriptive -		Same-day		12

				Performance-based-		Planning: one year and longer		14

				Capability-based-		Operations planning: day-ahead up to one year		21

				Administrative-		Real-time or current hour		41

				Prescriptive -		Real-time or current hour		49

				Capability-based-		Real-time or current hour		50

				Performance-based-		Real-time or current hour		54

				Risk-based-		Same-day		59

				Risk-based-		Operations planning: day-ahead up to one year		67

				Risk-based-		Real-time or current hour		83

				Administrative-		Planning: one year and longer		103

				Risk-based-		Planning: one year and longer		110

				Administrative-		Operations planning: day-ahead up to one year		120

				Prescriptive -		Operations planning: day-ahead up to one year		203

				Prescriptive -		Planning: one year and longer		341

		Q2		This requirement is:		CountOfKeyID

		A bulk power system result that is clear in the requirement.		Administrative		2

		A bulk power system result that is clear in the requirement.		Performance-based		39

		A bulk power system result that is clear in the requirement.		Prescriptive		28

		A bulk power system result that is clear in the requirement.		Risk-based		2

		A bulk power system result that is clear in the requirement.		Capability-based		12

		A risk mitigation objective that is clear in the requirement.		Administrative		9

		A risk mitigation objective that is clear in the requirement.		Capability-based		24

		A risk mitigation objective that is clear in the requirement.		Performance-based		19

		A risk mitigation objective that is clear in the requirement.		Prescriptive		35

		A risk mitigation objective that is clear in the requirement.		Risk-based		99

		Is implied but not explicitly stated in the requirement.		Administrative		73

		Is implied but not explicitly stated in the requirement.		Capability-based		45

		Is implied but not explicitly stated in the requirement.		Performance-based		20

		Is implied but not explicitly stated in the requirement.		Prescriptive		301

		Is implied but not explicitly stated in the requirement.		Risk-based		209

		Is unclear.		Administrative		119

		Is unclear.		Capability-based		1

		Is unclear.		Performance-based		1

		Is unclear.		Prescriptive		226

		Is unclear.		Risk-based		9

		No reliability benefit is provided by the requirement.		Administrative		71

		No reliability benefit is provided by the requirement.		Prescriptive		16

		The most effective way to measure this requirement is:		This requirement is:		CountOfKeyID

		Can only be measured through documentation.		Administrative		188

		Can only be measured through documentation.		Capability-based		9

		Can only be measured through documentation.		Performance-based		1

		Can only be measured through documentation.		Prescriptive		343

		Can only be measured through documentation.		Risk-based		51

		Evaluating a product or result (can be written such as a restoration procedure).		Administrative		28

		Evaluating a product or result (can be written such as a restoration procedure).		Capability-based		9

		Evaluating a product or result (can be written such as a restoration procedure).		Performance-based		1

		Evaluating a product or result (can be written such as a restoration procedure).		Prescriptive		187

		Evaluating a product or result (can be written such as a restoration procedure).		Risk-based		91

		Evaluating bulk power system performance, data, or results.		Performance-based		29

		Evaluating bulk power system performance, data, or results.		Prescriptive		4

		Evaluating bulk power system performance, data, or results.		Risk-based		9

		Evaluating capabilities, such as tools, systems, training records, etc.		Administrative		10

		Evaluating capabilities, such as tools, systems, training records, etc.		Capability-based		46

		Evaluating capabilities, such as tools, systems, training records, etc.		Performance-based		3

		Evaluating capabilities, such as tools, systems, training records, etc.		Prescriptive		16

		Evaluating capabilities, such as tools, systems, training records, etc.		Risk-based		24

		Evaluating performance of an activity or a record/log of that activity.		Administrative		48

		Evaluating performance of an activity or a record/log of that activity.		Capability-based		18

		Evaluating performance of an activity or a record/log of that activity.		Performance-based		45

		Evaluating performance of an activity or a record/log of that activity.		Prescriptive		56

		Evaluating performance of an activity or a record/log of that activity.		Risk-based		144

		The time horizon to which this requirement applies is:		This requirement is:		CountOfKeyID

		Operations planning: day-ahead up to one year		Administrative (requires only documenting/reporting something).		120

		Operations planning: day-ahead up to one year		Capability-based (provides necessary capability).		21

		Operations planning: day-ahead up to one year		Performance-based (specifies a bulk power system outcome).		9

		Operations planning: day-ahead up to one year		Prescriptive (explains how to).		203

		Operations planning: day-ahead up to one year		Risk-based (reduces risk).		67

		Planning: one year and longer		Administrative (requires only documenting/reporting something).		103

		Planning: one year and longer		Capability-based (provides necessary capability).		2

		Planning: one year and longer		Performance-based (specifies a bulk power system outcome).		14

		Planning: one year and longer		Prescriptive (explains how to).		341

		Planning: one year and longer		Risk-based (reduces risk).		110

		Real-time or current hour		Administrative (requires only documenting/reporting something).		41

		Real-time or current hour		Capability-based (provides necessary capability).		50

		Real-time or current hour		Performance-based (specifies a bulk power system outcome).		54

		Real-time or current hour		Prescriptive (explains how to).		49

		Real-time or current hour		Risk-based (reduces risk).		83

		Same-day		Administrative (requires only documenting/reporting something).		8

		Same-day		Capability-based (provides necessary capability).		8

		Same-day		Performance-based (specifies a bulk power system outcome).		2

		Same-day		Prescriptive (explains how to).		12

		Same-day		Risk-based (reduces risk).		59





BALCOMCIP

		Administrative (requires only documenting/reporting something).
BAL

		Risk-based (reduces risk).
BAL

		Performance-based (specifies a bulk power system outcome).
BAL

		Capability-based (provides necessary capability).
BAL

		Prescriptive (explains how to).
BAL

		Prescriptive (explains how to).
CIP

		Capability-based (provides necessary capability).
CIP

		Risk-based (reduces risk).
CIP

		Administrative (requires only documenting/reporting something).
CIP

		Risk-based (reduces risk).
COM

		Prescriptive (explains how to).
COM

		Capability-based (provides necessary capability).
COM



BAL, COM & CIP

5

8

12

18

34

3

13

55

98

2

3

4



BAL - This requirement is

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Performance-based (specifies a bulk power system outcome).

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).



BAL
This requirement is:

5

8

12

18

34



CIP-This requirement is

		Prescriptive (explains how to).
CIP

		Capability-based (provides necessary capability).
CIP

		Risk-based (reduces risk).
CIP

		Administrative (requires only documenting/reporting something).
CIP



CIP 
This requirement is:

3

13

55

98



COM This requirement is

		Risk-based (reduces risk).
COM

		Prescriptive (explains how to).
COM

		Capability-based (provides necessary capability).
COM



COM
 This requirement is:

2

3

4



IROThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



IRO
This requirement is

9

13

13

13

38



EOPThisRequirementIs

		Risk-based (reduces risk).

		Prescriptive (explains how to).

		Performance-based (specifies a bulk power system outcome).

		Capability-based (provides necessary capability).

		Administrative (requires only documenting/reporting something).



EOP
This requirement is

3

6

12

17

22



NUCThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).



NUC
This requirement is

5

9

21



MODThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).



MOD
This requirement is

31

54

278



TOPThisRequirementIs

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).

		Administrative (requires only documenting/reporting something).

		Performance-based (specifies a bulk power system outcome).

		Risk-based (reduces risk).



TOP
This requirement is

4

4

15

15

33



FACThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Prescriptive (explains how to).



FAC
This requirement is

24

51

85



VARThisRequirementIs

		Capability-based (provides necessary capability).

		Risk-based (reduces risk).

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).



VAR
This requirement is

2

2

13

14



PERThisRequirementIs

		Risk-based (reduces risk).

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Prescriptive (explains how to).



PER
This requirement is

1

2

11

15



INTThisRequirementIs

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



INT
This requirement is

1

2

3

46



PRCThisRequirementIs

		Performance-based (specifies a bulk power system outcome).

		Administrative (requires only documenting/reporting something).

		Risk-based (reduces risk).

		Prescriptive (explains how to).



PRC
This requirement is

13

20

44

141



VARReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



VAR: The reliability objective (or risk mitigation) achieved by this requirement is:

5

5

10

8

3



TOPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



TOP: The reliability objective (or risk mitigation) achieved by this requirement is:

9

14

36

12



PRCReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



PRC: The reliability objective (or risk mitigation) achieved by this requirement is:

20

6

169

14

9



PERReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



PER: The reliability objective (or risk mitigation) achieved by this requirement is:

2

1

21

2

3



NUCReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



NUC: The reliability objective (or risk mitigation) achieved by this requirement is:

8

20

7



MODReliabilityObjective 

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



MOD: The reliability objective (or risk mitigation) achieved by this requirement is:

14

106

220

23



IROReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



IRO: The reliability objective (or risk mitigation) achieved by this requirement is:

2

44

30

7

3



INTReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.



INT: The reliability objective (or risk mitigation) achieved by this requirement is:

50

2



EOPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



EOP: The reliability objective (or risk mitigation) achieved by this requirement is:

19

5

24

9

3



FACReliabilityObjective 

		Is implied but not explicitly stated in the requirement.

		Is unclear.



FAC: The reliability objective (or risk mitigation) achieved by this requirement is:

50

2



COMReliabilityObjective 

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.



COM: The reliability objective (or risk mitigation) achieved by this requirement is:

6

3



CIPReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



CIP: The reliability objective (or risk mitigation) achieved by this requirement is:

2

62

39

53

13



BALReliabilityObjective 

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.



BAL: The reliability objective (or risk mitigation) achieved by this requirement is:

5

4

59

9



VARMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



VAR: The most effective way to measure this requirement is:

10

8

1

12



TOPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



TOP: The most effective way to measure this requirement is:

16

10

17

11

17



PRCMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating performance of an activity or a record/log of that activity.



PRC: The most effective way to measure this requirement is:

142

41

35



PERMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating capabilities, such as tools, systems, training records, etc.



PER: The most effective way to measure this requirement is:

7

22



NUCMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



NUC: The most effective way to measure this requirement is:

1

35

2

2

4



MODMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.		Evaluating performance of an activity or a record/log of that activity.		Evaluating performance of an activity or a record/log of that activity.		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.						Evaluating performance of an activity or a record/log of that activity.



MOD: The most effective way to measure this requirement is:

1

202

202

1

2

112

112

2

2

49

49

2

4

4



IROMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



IRO: The most effective way to measure this requirement is:

13

10

3

18

42



INTMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating performance of an activity or a record/log of that activity.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



INT: The most effective way to measure this requirement is:

1

9

2

43

2

4



EOPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



EOP: The most effective way to measure this requirement is:

6

11

5

5

33



FACMostEffectiveMeasure

		Can only be measured through documentation.
FAC

		Evaluating a product or result (can be written such as a restoration procedure).
FAC

		Evaluating bulk power system performance, data, or results.
FAC

		Evaluating capabilities, such as tools, systems, training records, etc.
FAC

		Evaluating performance of an activity or a record/log of that activity.
FAC



FAC: The most effective way to measure this requirement is:

32

125

1

1

1



COMMostEffectiveMeasure

		Can only be measured through documentation.		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating capabilities, such as tools, systems, training records, etc.		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.		Evaluating performance of an activity or a record/log of that activity.



COM: The most effective way to measure this requirement is:

1

1

2

2

2

2

4

4



CIPMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



CIP: The most effective way to measure this requirement is:

101

3

1

22

42



BALMostEffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



BAL: The most effective way to measure this requirement is:

18

2

7

17

33



BALTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour

		Same-day



BAL: The time horizon to which this requirement applies is:

21

43

13



CIPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



CIP: The time horizon to which this requirement applies is:

31

58

79

1



COMTimeHorizon

		Real-time or current hour



COM: The time horizon to which this requirement applies is:

9



EOPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



EOP: The time horizon to which this requirement applies is:

28

5

22

5



FACTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer



FAC: The time horizon to which this requirement applies is:

12

148



INTTimeHorizon

		Same-day



INT: The time horizon to which this requirement applies is:

52



IROTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour

		Same-day



IRO: The time horizon to which this requirement applies is:

32

49

4



MODTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Same-day



MOD: The time horizon to which this requirement applies is:

200

153

10



NUCTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour



NUC: The time horizon to which this requirement applies is:

10

24

1



PERTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour



PER: The time horizon to which this requirement applies is:

7

7

12



PRCTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Same-day



PRC: The time horizon to which this requirement applies is:

48

169

1



TOPTimeHorizon

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



TOP: The time horizon to which this requirement applies is:

22

6

40

3



VARTimeHorizon

		Operations planning: day-ahead up to one year

		Real-time or current hour



VAR: The time horizon to which this requirement applies is:

9

22



GroupTableSource

		StandardGroup		This requirement is:		Count				StandardGroup		The reliability objective (or risk mitigation) achieved by this requirement is:		Count				StandardGroup		The most effective way to measure this requirement is:		CountOfKeyID				StandardGroup		The time horizon to which this requirement applies is:		CountOfKeyID

		BAL		Administrative (requires only documenting/reporting something).		5				BAL		A bulk power system result that is clear in the requirement.		5				BAL		Can only be measured through documentation.		18				BAL		Operations planning: day-ahead up to one year		21

		BAL		Risk-based (reduces risk).		8				BAL		A risk mitigation objective that is clear in the requirement.		4				BAL		Evaluating a product or result (can be written such as a restoration procedure).		2				BAL		Real-time or current hour		43

		BAL		Performance-based (specifies a bulk power system outcome).		12				BAL		Is implied but not explicitly stated in the requirement.		59				BAL		Evaluating bulk power system performance, data, or results.		7				BAL		Same-day		13

		BAL		Capability-based (provides necessary capability).		18				BAL		Is unclear.		9				BAL		Evaluating capabilities, such as tools, systems, training records, etc.		17				CIP		Operations planning: day-ahead up to one year		31

		BAL		Prescriptive (explains how to).		34				CIP		A bulk power system result that is clear in the requirement.		2				BAL		Evaluating performance of an activity or a record/log of that activity.		33				CIP		Planning: one year and longer		58

		CIP		Prescriptive (explains how to).		3				CIP		A risk mitigation objective that is clear in the requirement.		62				CIP		Can only be measured through documentation.		101				CIP		Real-time or current hour		79

		CIP		Capability-based (provides necessary capability).		13				CIP		Is implied but not explicitly stated in the requirement.		39				CIP		Evaluating a product or result (can be written such as a restoration procedure).		3				CIP		Same-day		1

		CIP		Risk-based (reduces risk).		55				CIP		Is unclear.		53				CIP		Evaluating bulk power system performance, data, or results.		1				COM		Real-time or current hour		9

		CIP		Administrative (requires only documenting/reporting something).		98				CIP		No reliability benefit is provided by the requirement.		13				CIP		Evaluating capabilities, such as tools, systems, training records, etc.		22				EOP		Operations planning: day-ahead up to one year		28

		COM		Risk-based (reduces risk).		2				COM		A risk mitigation objective that is clear in the requirement.		6				CIP		Evaluating performance of an activity or a record/log of that activity.		42				EOP		Planning: one year and longer		5

		COM		Prescriptive (explains how to).		3				COM		Is implied but not explicitly stated in the requirement.		3				COM		Can only be measured through documentation.		1				EOP		Real-time or current hour		22

		COM		Capability-based (provides necessary capability).		4				EOP		A bulk power system result that is clear in the requirement.		19				COM		Evaluating a product or result (can be written such as a restoration procedure).		2				EOP		Same-day		5

		EOP		Risk-based (reduces risk).		3				EOP		A risk mitigation objective that is clear in the requirement.		5				COM		Evaluating capabilities, such as tools, systems, training records, etc.		2				FAC		Operations planning: day-ahead up to one year		12

		EOP		Prescriptive (explains how to).		6				EOP		Is implied but not explicitly stated in the requirement.		24				COM		Evaluating performance of an activity or a record/log of that activity.		4				FAC		Planning: one year and longer		148

		EOP		Performance-based (specifies a bulk power system outcome).		12				EOP		Is unclear.		9				EOP		Can only be measured through documentation.		6				INT		Same-day		52

		EOP		Capability-based (provides necessary capability).		17				EOP		No reliability benefit is provided by the requirement.		3				EOP		Evaluating a product or result (can be written such as a restoration procedure).		11				IRO		Operations planning: day-ahead up to one year		32

		EOP		Administrative (requires only documenting/reporting something).		22				FAC		A bulk power system result that is clear in the requirement.		19				EOP		Evaluating bulk power system performance, data, or results.		5				IRO		Real-time or current hour		49

		FAC		Administrative (requires only documenting/reporting something).		24				FAC		A risk mitigation objective that is clear in the requirement.		25				EOP		Evaluating capabilities, such as tools, systems, training records, etc.		5				IRO		Same-day		4

		FAC		Risk-based (reduces risk).		51				FAC		Is implied but not explicitly stated in the requirement.		93				EOP		Evaluating performance of an activity or a record/log of that activity.		33				MOD		Operations planning: day-ahead up to one year		200

		FAC		Prescriptive (explains how to).		85				FAC		No reliability benefit is provided by the requirement.		23				FAC		Can only be measured through documentation.		32				MOD		Planning: one year and longer		153

		INT		Performance-based (specifies a bulk power system outcome).		1				INT		Is implied but not explicitly stated in the requirement.		50				FAC		Evaluating a product or result (can be written such as a restoration procedure).		125				MOD		Same-day		10

		INT		Administrative (requires only documenting/reporting something).		2				INT		Is unclear.		2				FAC		Evaluating bulk power system performance, data, or results.		1				NUC		Operations planning: day-ahead up to one year		10

		INT		Prescriptive (explains how to).		3				IRO		A bulk power system result that is clear in the requirement.		2				FAC		Evaluating capabilities, such as tools, systems, training records, etc.		1				NUC		Planning: one year and longer		24

		INT		Risk-based (reduces risk).		46				IRO		A risk mitigation objective that is clear in the requirement.		44				FAC		Evaluating performance of an activity or a record/log of that activity.		1				NUC		Real-time or current hour		1

		IRO		Administrative (requires only documenting/reporting something).		9				IRO		Is implied but not explicitly stated in the requirement.		30				INT		Can only be measured through documentation.		9				PER		Operations planning: day-ahead up to one year		7

		IRO		Capability-based (provides necessary capability).		13				IRO		Is unclear.		7				INT		Evaluating performance of an activity or a record/log of that activity.		43				PER		Planning: one year and longer		7

		IRO		Performance-based (specifies a bulk power system outcome).		13				IRO		No reliability benefit is provided by the requirement.		3				IRO		Can only be measured through documentation.		13				PER		Real-time or current hour		12

		IRO		Prescriptive (explains how to).		13				MOD		A risk mitigation objective that is clear in the requirement.		14				IRO		Evaluating a product or result (can be written such as a restoration procedure).		10				PRC		Operations planning: day-ahead up to one year		48

		IRO		Risk-based (reduces risk).		38				MOD		Is implied but not explicitly stated in the requirement.		106				IRO		Evaluating bulk power system performance, data, or results.		3				PRC		Planning: one year and longer		169

		MOD		Risk-based (reduces risk).		31				MOD		Is unclear.		220				IRO		Evaluating capabilities, such as tools, systems, training records, etc.		18				PRC		Same-day		1

		MOD		Administrative (requires only documenting/reporting something).		54				MOD		No reliability benefit is provided by the requirement.		23				IRO		Evaluating performance of an activity or a record/log of that activity.		42				TOP		Operations planning: day-ahead up to one year		22

		MOD		Prescriptive (explains how to).		278				NUC		Is implied but not explicitly stated in the requirement.		8				MOD		Can only be measured through documentation.		202				TOP		Planning: one year and longer		6

		NUC		Risk-based (reduces risk).		5				NUC		Is unclear.		20				MOD		Evaluating a product or result (can be written such as a restoration procedure).		112				TOP		Real-time or current hour		40

		NUC		Administrative (requires only documenting/reporting something).		9				NUC		No reliability benefit is provided by the requirement.		7				MOD		Evaluating performance of an activity or a record/log of that activity.		49				TOP		Same-day		3

		NUC		Prescriptive (explains how to).		21				PER		A bulk power system result that is clear in the requirement.		2				NUC		Can only be measured through documentation.		35				VAR		Operations planning: day-ahead up to one year		9

		PER		Risk-based (reduces risk).		1				PER		A risk mitigation objective that is clear in the requirement.		1				PER		Can only be measured through documentation.		7				VAR		Real-time or current hour		22

		PER		Administrative (requires only documenting/reporting something).		2				PER		Is implied but not explicitly stated in the requirement.		21				PER		Evaluating capabilities, such as tools, systems, training records, etc.		22

		PER		Capability-based (provides necessary capability).		11				PER		Is unclear.		2				PRC		Can only be measured through documentation.		142

		PER		Prescriptive (explains how to).		15				PER		No reliability benefit is provided by the requirement.		3				PRC		Evaluating a product or result (can be written such as a restoration procedure).		41

		PRC		Performance-based (specifies a bulk power system outcome).		13				PRC		A bulk power system result that is clear in the requirement.		20				PRC		Evaluating performance of an activity or a record/log of that activity.		35

		PRC		Administrative (requires only documenting/reporting something).		20				PRC		A risk mitigation objective that is clear in the requirement.		6				TOP		Can only be measured through documentation.		16

		PRC		Risk-based (reduces risk).		44				PRC		Is implied but not explicitly stated in the requirement.		169				TOP		Evaluating a product or result (can be written such as a restoration procedure).		10

		PRC		Prescriptive (explains how to).		141				PRC		Is unclear.		14				TOP		Evaluating bulk power system performance, data, or results.		17

		TOP		Capability-based (provides necessary capability).		4				PRC		No reliability benefit is provided by the requirement.		9				TOP		Evaluating capabilities, such as tools, systems, training records, etc.		11

		TOP		Prescriptive (explains how to).		4				TOP		A bulk power system result that is clear in the requirement.		9				TOP		Evaluating performance of an activity or a record/log of that activity.		17

		TOP		Administrative (requires only documenting/reporting something).		15				TOP		A risk mitigation objective that is clear in the requirement.		14				VAR		Can only be measured through documentation.		10

		TOP		Performance-based (specifies a bulk power system outcome).		15				TOP		Is implied but not explicitly stated in the requirement.		36				VAR		Evaluating bulk power system performance, data, or results.		8

		TOP		Risk-based (reduces risk).		33				TOP		Is unclear.		12				VAR		Evaluating capabilities, such as tools, systems, training records, etc.		1

		VAR		Capability-based (provides necessary capability).		2				VAR		A bulk power system result that is clear in the requirement.		5				VAR		Evaluating performance of an activity or a record/log of that activity.		12

		VAR		Risk-based (reduces risk).		2				VAR		A risk mitigation objective that is clear in the requirement.		5

		VAR		Performance-based (specifies a bulk power system outcome).		13				VAR		Is implied but not explicitly stated in the requirement.		10

		VAR		Administrative (requires only documenting/reporting something).		14				VAR		Is unclear.		8

										VAR		No reliability benefit is provided by the requirement.		3





Q1ThisRequirementIs

		Administrative (requires only documenting/reporting something).

		Capability-based (provides necessary capability).

		Performance-based (specifies a bulk power system outcome).

		Prescriptive (explains how to).

		Risk-based (reduces risk).



Count

This requirement is:

274

82

79

606

319



Q2ReliabilityObjective

		A bulk power system result that is clear in the requirement.

		A risk mitigation objective that is clear in the requirement.

		Is implied but not explicitly stated in the requirement.

		Is unclear.

		No reliability benefit is provided by the requirement.



Count

The reliability objective (or risk mitigation) achieved by this requirement is

83

186

648

356

87



Q2EffectiveMeasure

		Can only be measured through documentation.

		Evaluating a product or result (can be written such as a restoration procedure).

		Evaluating bulk power system performance, data, or results.

		Evaluating capabilities, such as tools, systems, training records, etc.

		Evaluating performance of an activity or a record/log of that activity.



Count

The most effective way to measure this requirement is:

592

316

42

99

311



Q10TimeHorizon

		Not Answered

		Operations planning: day-ahead up to one year

		Planning: one year and longer

		Real-time or current hour

		Same-day



Count

The time horizon to which this requirement applies is:

4

420

570

277

89



TableSourceQ123&10

		This requirement is:		Count

		Administrative (requires only documenting/reporting something).		274

		Capability-based (provides necessary capability).		82

		Performance-based (specifies a bulk power system outcome).		79

		Prescriptive (explains how to).		606

		Risk-based (reduces risk).		319

		The reliability objective (or risk mitigation) achieved by this requirement is		Count

		A bulk power system result that is clear in the requirement.		83

		A risk mitigation objective that is clear in the requirement.		186

		Is implied but not explicitly stated in the requirement.		648

		Is unclear.		356

		No reliability benefit is provided by the requirement.		87

		The most effective way to measure this requirement is:		Count

		Can only be measured through documentation.		592

		Evaluating a product or result (can be written such as a restoration procedure).		316

		Evaluating bulk power system performance, data, or results.		42

		Evaluating capabilities, such as tools, systems, training records, etc.		99

		Evaluating performance of an activity or a record/log of that activity.		311

		The time horizon to which this requirement applies is:		Count

		Not Answered		4

		Operations planning: day-ahead up to one year		420

		Planning: one year and longer		570

		Real-time or current hour		277

		Same-day		89

		The bulk power system is controlled to stay within acceptable li		CountOfKeyID

				869

				51

		YES		440





NumGoalQ4-9

		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system is controlled to stay within acceptable limits during normal conditions.

		The bulk power system performs acceptably after credible contingencies.		The bulk power system performs acceptably after credible contingencies.

		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.

		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

		The bulk power system’s integrity can be restored promptly if it is lost.		The bulk power system’s integrity can be restored promptly if it is lost.

		supply the aggregate electric p…at all times...		supply the aggregate electric p…at all times...



NO

YES

#Questions on Goals:
Questions 4-9

920

440

1020

340

964

396

530

830

1156

204

707

653



PercentageGoalQ4-9

		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system is controlled to stay within acceptable limits during normal conditions.

		The bulk power system performs acceptably after credible contingencies.		The bulk power system performs acceptably after credible contingencies.

		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.

		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

		The bulk power system’s integrity can be restored promptly if it is lost.		The bulk power system’s integrity can be restored promptly if it is lost.

		supply the aggregate electric p…at all times...		supply the aggregate electric p…at all times...



NO

YES

% Questions on Goals:
Questions 4-9

0.68

0.32

0.75

0.25

0.71

0.29

0.39

0.61

0.85

0.15

0.52

0.48



Q4NormalConditions

		NO

		YES



The bulk power system is controlled to stay within acceptable limits during normal conditions.

920

440



Q5CredibleContingencies

		NO

		YES



The bulk power system performs acceptably after credible contingencies.

1020

340



Q6Cascading

		NO

		YES



The bulk power system limits the impact and scope of instability and cascading outages when they occur.

964

396



Q7FacilitesProtected

		NO

		YES



Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.

530

830



Q8Integrity

		NO

		YES



The bulk power system’s integrity can be restored promptly if it is lost.

1156

204



Q9Aggregate

		NO

		YES



supply the aggregate electric p…at all times...

707

653



TableSourceGoal

		

		Answer		The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...								The bulk power system is controlled to stay within acceptable limits during normal conditions.		The bulk power system performs acceptably after credible contingencies.		The bulk power system limits the impact and scope of instability and cascading outages when they occur.		Bulk power system facilities are protected from unacceptable damage by operating them within facility ratings.		The bulk power system’s integrity can be restored promptly if it is lost.		supply the aggregate electric p…at all times...

		NO		920		1020		964		530		1156		707						NO		68%		75%		71%		39%		85%		52%

		YES		440		340		396		830		204		653						YES		32%		25%		29%		61%		15%		48%






