



FORMAL COMMENTS
Quadrant:
Wholesale Electric Quadrant

Recommendation: 
WEQ 2009 AP Item (1.a) R05020; WEQ 2009 AP Item (3.a.vii) Coordinate Interchange WEQ-004
Submitted By:
Standards Review Subcommittee
Date:
October 8, 2009
Under the Standards Review Subcommittee (SRS) Scope of Work, which was approved by the SRS on March 6, 2008, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comment to the Executive Committee for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

The SRS is requesting the Executive Committee consider the following advisory comment in their review of this recommendation.  

· In section 004-18.1 delete the word “the” as noted below.
004-18.1
Until other means for submitting the RFI are adopted by NAESB, the following data fields shall be specified in each e-Tag requesting the use of the Transmission Service Provider’s CBM:

· The e-Tag transaction type shall be EMERGENCY.
· The Transmission PSE (TPSE) listed in the physical segment where CBM is being requested shall be the registered Entity Code of the Load Serving Entity requesting use of CBM.  Note that this is not necessarily the PSE submitting the e-Tag.

· The Transmission Product associated with the Transmission Service Provider whose use of CBM is being requested shall be 7-CB. 

· Apply the changes as noted below to Appendix A Section B Participating Entities:

· E-Tag Authority Service Entity – The entity that provides the Interchange Authority service for an e-Tag.  The E-Tag Authority service itself is typically a computer system that maintains the master database for the tag and communicates status with other computer systems.  The E-Tag Authority Service Entity is the utility industry entity that is responsible for providing the service, and this entity’s URL is specified by the Sink Balancing Authority.
· Approval Entity – a period needs to be added at the end of the sentence.

