Comment Form

Time Error

#### Version 0 Draft 3

#### WEQBPS-004-000

# Posted October 25, 2004 – November 25, 2004

# Please submit comment form by November 25, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						: Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization	: NERC Resources Subcommittee

Email of Contact					: cmonroe@spp.org

Phone Number on Contact				: 501 664 0146

## Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

- NAESB Business Practice Standard SDT needs to check with each of the Interconnection Time Error Monitors (Eastern Interconnection, Western Interconnection, ERCOT Interconnection, Hydro Quebec) to ensure the time periods that are exempt from active ime error correction are identified and secified.

- Requirement #11 recommends: “. . . . . devices to coincide with the time error of the interconnection.”  Be enhanced to read “. . . . . devices to coincide with the time error of the Interconnection Time Error Monitor.”

### General Comments