## NAESB
Entity providing this information may be gathering from other sources, including distribution utility, load serving entity, etc.
Type | Category | Remove | Data Element | Provided by Entity | Standard Data Format | Comment | SPP | Distribution utility | Voltus
DER Aggregation Data | Identity |  | DER Aggregation ID | Registration System |  |  | N/A
DER Aggregation Data | Locational | Y | Locational information |  |  |  | N/A
DER Aggregation Data | Locational | Y | Geographic location |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Longitude and latitude (conditionally required i.e. offshore wind) |  |  | Long Lat will cover Location/Geographic; for large, singular DERs | Y
DER Aggregation Data | Geographic Locational |  | Street name and number (conditionally required i.e. land-based facilities) |  |  | For large, singular DERs | N/A
DER Aggregation Data | Geographic Locational |  | City (conditionally required i.e. land-based facilities) |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | State |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | County |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Country |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Province |  |  |  | N/A
DER Aggregation Data | Locational | Y | Apartment number |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Zip Code |  |  |  | N/A
DER Aggregation Data | Zonal Information |  | Load zone |  |  |  | Y
DER Aggregation Data | Zonal Information |  | Load aggregation point |  |  | Point of Interconnection | Y
DER Aggregation Data | Zonal Information |  | Reserve zone |  |  |  | Y
DER Aggregation Data | Zonal Information |  | Capacity zone |  |  |  | N/A
DER Aggregation Data | Zonal Information |  | Market nodal information (p-node) (may or may not be a single p-node) |  |  |  | Y |  | Aggregator does not have access to this information
DER Aggregation Data | Operational |  | Default distribution factors (for multi-nodal DER aggregations) |  |  |  | N/A
DER Aggregation Data | Network Locational |  | Electrical nodal information (e-node aka service points (RTO/ISO point of interconnection) |  |  |  | Y |  | Aggregator does not have access to this information
DER Aggregation Data | Entity |  | Distribution Utility |  |  |  | Y
DER Aggregation Data | Entity |  | relevant electric retail regulatory authority (RERRA) |  |  |  | Y
DER Aggregation Data | Entity |  | Public State Commission
DER Aggregation Data | Entity |  | Load Serving Entity | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Market Participant/Aggregator Name | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Metering agent | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Balancing Area | Aggregator |  |  | Y
| Entity |  | Asset Owner
DER Aggregation Data | Operational |  | Pseudo-ties/dynamic schedules | Aggregator |  |  | Y
DER Aggregation Data | Locational | Y | Service location (maybe point of interconnection?) | Aggregator |  | Seems duplicative of service delivery point | Y
DER Aggregation Data | Identity | Y | Customer account | Aggregator |  |  | N/A |  | Concern this may burden customers
DER Aggregation Data | Locational |  | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y
DER Aggregation Data | Attestation | Y | Attestation/certificates | Aggregator |  |  | Y
DER Aggregation Data | Attestation |  | DER aggregation would not result in double counting (yes/no) | Aggregator |  |  | Y
DER Aggregation Data | Attestation |  | Distribution utility/load serving entity reliability concern (yes/no) | Aggregator |  | Response not required, if no response RTO proceeds | Y |  | Question of data availability during registration
DER Aggregation Data | Attestation |  | Relevant electric retail regulatory authority allows (yes/no) | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Operational contact | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Planning contact | Aggregator |  |  | Y
DER Aggregation Data | Information |  | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER Aggregation Data | Information | Y | Operational characteristics of the aggregation | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Nameplate capacity in megawatts | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Ramp rate | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Response time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor |  | Maximum run time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor |  | Minimum run time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor |  | DER aggregation type (homogeneous or heterogeneous) | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | Heterogeneous type, including DER type comprising the aggregation | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | Number of DERs in the aggregation | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | DER aggregation profile (historical or expected DER aggregation output with active and reactive power profiles) | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Ability to reverse direction (supply vs. demand switching) | Aggregator |  | can be in form of steady state model data | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Voltage control (yes/no; volt-r) | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Frequency control | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Inertial control | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Feeder voltage | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Feeder impedance – distribution system equivalent feeder impedance | Aggregator |  | can be in form of steady state model data | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Reactive support | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Market product eligibility (capacity, energy, regulation, etc.) | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | Y |  | Reasonable
DER Aggregation Data | Resource Descriptor |  | Metering infrastructure | Aggregator |  |  | Y |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor |  | Efficiency rating | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor |  | Battery technology | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Battery performance over time | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Solar panel performance over time | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor |  | Manufacturer of DER | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Types of communication protocols supported | Aggregator |  |  | N/A
DER Aggregation Data | Resource Descriptor |  | Operating status | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Known/planned outages or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor |  | Duration of outage or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor |  | Start/end time of outage or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor |  | Mobility flag | Aggregator |  |  | Y |  | Unclear
DER Aggregation Data | Resource Descriptor | Y | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Aggregator does not have access to this information
DER Aggregation Data | Resource Descriptor | Y | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Aggregator does not have access to this information
DER Aggregation Data | Resource Descriptor | Y | Weatherization applications | Aggregator |  |  | N/A |  | Inapplicable to many DER
DER Aggregation Data | Resource Descriptor | Y | Designated dispatch entity | Aggregator |  |  | N/A
DER Aggregation Data | Resource Descriptor |  | Nominal amperage/voltage | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y | Heat rate | Aggregator |  |  | Y |  | Duplicate
DER Aggregation Data | Resource Descriptor |  | Transient ability limits | Aggregator |  | can be in form of dynamic model | Y |  | Duplicate
DER Aggregation Data | Resource Descriptor | Y | Number of resources in the aggregation | Aggregator |  |  | Y |  | Duplicate
DER ID | Identity |  | DER ID |  |  |  | N/A
DER ID | Locational | Y | Geographic location |  |  | Lat Long will provide | N/A
DER ID | Geographic Locational |  | Longitude and latitude (conditionally required i.e. offshore wind) | Aggregator |  |  | Y
DER ID | Geographic Locational |  | Street name and number (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | City (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | State (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | County | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | Country (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | Province (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | Apartment number | Aggregator |  |  | N/A
| Geographic Locational |  | Zip Code
DER ID | Zonal Locational |  | Load zone | RTO |  |  | Y
DER ID | Zonal Locational |  | Reserve zone | RTO |  |  | N/A
DER ID | Zonal Locational |  | Capacity zone | RTO |  |  | N/A
DER ID | Zonal Locational |  | Market nodal information (p-node) | RTO |  |  | Y |  | Aggregator does not have access to this information
DER ID | Resource Descriptor |  | Meter information | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational |  | Substation | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational |  | Feeder/circuit | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Resource Descriptor |  | Phase information | Aggregator |  | Provided during registration process | N/A |  | Difficult for the Aggregator to obtain
DER ID | Entity |  | Distribution Utility | Aggregator |  |  | Y
DER ID | Entity |  | relevant retail electric regulatory authority (RERRA) | Aggregator |  |  | Y
| Entity |  | State Public Service Commission
DER ID | Entity |  | Load Serving Entity | Aggregator |  |  | Y
DER ID | Locational |  | Balancing Area | Aggregator |  |  | Y
DER ID | Locational |  | Service location | Aggregator |  |  | Y
DER ID | Entity |  | Customer account | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Locational |  | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y |  | Barrier for aggregator
DER ID | Locational |  | Retail rate (net metering, dynamic pricing, etc.) | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Resource Descriptor |  | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER ID | Entity | Y | Operational contact | Aggregator |  |  | Y |  | DERA would have this information
DER ID | Entity | Y | Planning contact | Aggregator |  |  | N/A |  | DERA would have this information
DER ID | Entity | Y | Asset owner contact | Aggregator |  |  | N/A |  | Seems excessive, e.g. each owner of each hot water heater
DER ID | Resource Descriptor |  | Operational characteristics of resources comprising aggregation | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | DER type | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Nameplate capacity of a DER (in megawatts or kilowatts) | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Battery technology | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Battery performance over time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Available Energy and Available Storage (in MWh) | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Charge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Discharge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Charge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Discharge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Discharge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Charge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Discharge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Charge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Performance over time | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Number/capacity of PV cells | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Autotracking capability | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Obstructions | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Number/capacity of turbines | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Demand reduction capability | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y | Known operational constraints (i.e. analogue to permitting restrictions, environmental restrictions, contractual limit on when individual DER in aggregation can be dispatched) | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Y | Time delay to initiate response (start time) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Ability to reverse direction (supply vs. demand switching) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Voltage control (yes/no; volt-r) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Ride through capability (yes/no) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Frequency control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Inertial control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Feeder voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Reactive support | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Sensitivity to ambient weather conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Relevant weather station id | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Metering infrastructure | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Efficiency rating | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Manufacturer of DER | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Types of communication protocols supported | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Applicable operating status conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Mobility flag | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Weatherization applications | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Nominal amperage/voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID |  | Y | Distribution level data | Aggregator |  |  | N/A
DER ID |  | Y | Interconnection data | Aggregator |  |  | N/A
DER ID |  | Y | Designated dispatch entity | Aggregator |  |  | N/A