## Sheet1
Transmission Operator and Balancing Authority
NERC Requirement | Language | WEQ BPS Comments
R1 | Each Transmission Operator shall have an Operational Planning Analysis that will allow it to assess whether its planned operations for the next day within its Transmission Operator Area will exceed any of its System Operating Limits (SOLs). [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
M1 | Each Transmission Operator shall have evidence of a completed Operational Planning Analysis. Such evidence could include, but is not limited to dated power flow study results.
R2 | Each Transmission Operator shall have an Operating Plan(s) for next-day operations to address potential System Operating Limit (SOL) exceedances identified as a result of its Operational Planning Analysis as required in Requirement R1. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
M2 | Each Transmission Operator shall have evidence that it has an Operating Plan to address potential System Operating Limits (SOLs) exceedances identified as a result of the Operational Planning Analysis performed in Requirement R1. Such evidence could include, but it is not limited to plans for precluding operating in excess of each SOL that was identified as a result of the Operational Planning Analysis.
R3 | Each Transmission Operator shall notify entities identified in the Operating Plan(s) cited in Requirement R2 as to their role in those plan(s). [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
M3 | Each Transmission Operator shall have evidence that it notified entities identified in the Operating Plan(s) cited in Requirement R2 as to their role in the plan(s). Such evidence could include, but is not limited to dated operator logs, or email records.
R4 | Each Balancing Authority shall have an Operating Plan(s) for the next day that addresses: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
R4.1 | Expected generation resource commitment and dispatch;
R4.2 | Interchange scheduling;
R4.3 | Demand patterns; and
R4.4 | Capacity and energy reserve requirements, including deliverability capability.
M4 | Each Balancing Authority shall have evidence that it has developed a plan to operate within the criteria identified. Such evidence could include, but is not limited to dated operator logs or email records.
R5 | Each Balancing Authority shall notify entities identified in the Operating Plan(s) cited in Requirement R4 as to their role in those plan(s). [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
M5 | Each Balancing Authority shall have evidence that it notified entities identified in the plan(s) cited in Requirement R4 as to their role in the plan(s). Such evidence could include, but is not limited to dated operator logs or email records.
R6 | Each Transmission Operator shall provide its Operating Plan(s) for next day operations identified in Requirement R2 to its Reliability Coordinator. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
M6 | Each Transmission Operator shall have evidence that it provided its Operating Plan(s) for next day operations identified in Requirement R2 to its Reliability Coordinator. Such evidence could include, but is not limited to dated operator logs or email records.
R7 | Each Balancing Authority shall provide its Operating Plan(s) for next day operations identified in Requirement R4 to its Reliability Coordinator. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
M7 | Each Balancing Authority shall have evidence that it provided its Operating Plan(s) for next day operations identified in Requirement R4 to its Reliability Coordinator. Such evidence could include, but is not limited to dated operator logs or email records.
R8 | Each Balancing Authority shall have an extreme cold weather Operating Process for its Balancing Authority Area, addressing preparations for and operations during extreme cold weather periods. The extreme cold weather Operating Process shall include, but is not limited to: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning] | 9/19/24 - WEQ BPS reviewed and considered these requirements to be reliability-based. There is no need for complementary commercial business practices.
R8.1 | A methodology for identifying an extreme cold weather period within each Balancing Authority Area;
R8.2 | A methodology to determine an adequate reserve margin during the extreme cold weather period considering the generating unit(s) operating limitations in previous extreme cold weather periods that includes, but is not limited to:
R8.2.1 | Capability and availability;
R8.2.2 | Fuel supply and inventory concerns;
R8.2.3 | Start-up issues;
R8.2.4 | Fuel switching capabilities; and
R8.2.5 | Environmental constraints.
R8.3 | A methodology to determine a five-day hourly forecast during the identified extreme cold weather periods that includes, but is not limited to:
R8.3.1 | Expected generation resource commitment and dispatch;
R8.3.2 | Demand patterns;
R8.3.3 | Capacity and energy reserve requirements, including deliverability capability; and
R8.3.4 | Weather forecast.
M8 | Each Balancing Authority shall have evidence that it has developed an extreme cold weather Operating Process in accordance with Requirement R8.