## IDC Data
Flowgate data
IDC # | Name/Description | Owners |  |  | Market Coordination |  |  | Monitored Branches |  |  |  | OTD Contingency Branches |  |  |  |  | LODF Contingency Branches
|  | Reliability Coordinator | Control Area | Transmission Provider | Market | Market Agreement | Effective Time | From Bus | To Bus | Tertiary Bus | Circuit | From Bus | To Bus | Tertiary Bus | Circuit | Contingency Status | From Bus | To Bus | Tertiary Bus | Circuit
23235 | TEMP39 WAVERLY7-LACYGNE 345 KV FTLO CAN_RIVR-N345 | SWPP | KCPL | SWPP | SWPP | NO | 2018-02-05 22:35 | WAVERLY7 345.00 | LACYGNE7 345.00 | N/A | 1 | CANEYRV7 345.00 | NEOSHO 7 345.00 | N/A | 1 | Switch Off | CANEYRV7 345.00 | NEOSHO 7 345.00 | N/A | 1
TLR data
Issuing RC | NERC Report | NNL | TLR Flowgate
|  |  | CA | Number | Name | Coord | Direction | Start | End | Duration (Hours) | Starting Level | Highest Level
SWPP | YES | YES | KCPL | 23235 | TEMP39 WAVERLY7-LACYGNE 345 KV FTLO CAN_RIVR-N345 | YES | NORMAL | 02/15 06:00 | 02/15 08:50 | 2:50 | 5A | 5A
TLR action data
Confirm Time | Level | Effective Hour | Priority | Schedule | [6 empty] | NNL Relief |  |  | Market Relief |  |  |  | Flow |  | Cont. | TLR Action Comments
|  |  |  | Total Tags Cut/Hold | IDC Cut |  | RC Cut Acknowledge |  | Hold |  | CA | IDC MW | RC Ackn MW | Type | Mkt | IDC MW | RC Ackn MW | Current | Post Cont. | Flow
[5 empty] | MW | Relief | MW | Relief | MW | Relief
Feb 15 | TLR 5A | NEXT | 7-F | 9 / 0 | 91 | 5.8 | 91 | 5.8 | 0 | 0.0 | SOCO | 1.0 | 1.0 | ED-2 | SWPP | 0.0 | 0.0 | 1004 | 1148 | 551 | N/A
05:39 (CST) |  |  | Total | 9 / 0 | 91 | 5.8 | 91 | 5.8 | 0 | 0.0 | TVA | 1.0 | 1.0 | ED-6 | SWPP | 0.0 | 0.0
[11 empty] | Total | 2.0 | 2.0 | FIRM-7 | SWPP | 47.6 | 47.6
[14 empty] | FIRM-CREDIT | SWPP | 0.0 | 0.0
[14 empty] | Total |  | 47.6 | 47.6
Feb 15 | TLR 5A | NEXT | 7-F | 7 / 0 | 65 | 4.2 | 65 | 4.2 | 0 | 0.0 | SOCO | 1.0 | 1.0 | ED-2 | SWPP | 0.0 | 0.0 | 1014 | 1154 | 536 | N/A
06:27 (CST) |  |  | Total | 7 / 0 | 65 | 4.2 | 65 | 4.2 | 0 | 0.0 | TVA | 1.0 | 1.0 | ED-6 | SWPP | 0.0 | 0.0
[11 empty] | Total | 2.0 | 2.0 | FIRM-7 | SWPP | 33.7 | 33.7
[14 empty] | FIRM-CREDIT | SWPP | 0.0 | 0.0
[14 empty] | Total |  | 33.7 | 33.7
Feb 15 | TLR 5A | NEXT | 7-F | 6 / 0 | 45 | 3.0 | 45 | 3.0 | 0 | 0.0 | SOCO | 1.0 | 1.0 | ED-2 | SWPP | 0.0 | 0.0 | 993 | 1130 | 525 | N/A
07:26 (CST) |  |  | Total | 6 / 0 | 45 | 3.0 | 45 | 3.0 | 0 | 0.0 | TVA | 1.0 | 1.0 | ED-6 | SWPP | 0.0 | 0.0
[11 empty] | Total | 2.0 | 2.0 | FIRM-7 | SWPP | 31.3 | 31.3
[14 empty] | FIRM-CREDIT | SWPP | 0.0 | 0.0
[14 empty] | Total |  | 31.3 | 31.3
Feb 15 | TLR 0 | CURRENT | NONE | [7 empty] | NONE |  |  | NONE |  |  |  | 988 | 1130 | 545 | N/A
08:26 (CST)
TLR Schedule Totals
Priority | Schedule
| Total Tags Cut / Hold | IDC Cut MW | RC Cut Acknowledge MW | Hold MW
0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0
7 | 22 | 201 | 201 | 0
Total | 22 | 201 | 201 | 0
TLR Tracking
Type | Req Relief | Relief Provided
|  | 6:00 | 6:05 | 6:10 | 6:15 | 6:20 | 6:25 | 6:30 | 6:35 | 6:40 | 6:45 | 6:50 | 6:55
Tag | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8
Next Hour Reallocation Priority Summary
Priority | Total Trans Alloc | Total Schedule Mw | Next Hour MW | Curtail MW | Relief Provided | Total Relief Available | Remaining Relief Available
0-NX | 0 | 0 | 0 | 0 | 0 | 0 | 0
1-NS | 0 | 0 | 0 | 0 | 0 | 0 | 0
2-NH | 0 | 0 | 0 | 0 | 0 | 0 | 0
3-ND | 0 | 0 | 0 | 0 | 0 | 0 | 0
4-NW | 0 | 0 | 0 | 0 | 0 | 0 | 0
5-NM | 0 | 0 | 0 | 0 | 0 | 0 | 0
6-NN | 0 | 0 | 0 | 0 | 0 | 0 | 0
7-F | 428 | 428 | 383 | 91 | 5.8 | 25.8 | 20
7-FN | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 428 | 428 | 383 | 91 | 5.8 | 25.8 | 20
Next Hour Schedule Reallocation
Sink RC | Tag Name | Service Point |  | Method | Tag Marginal Priority | Active MW | Next Hour Schedule Mw | Next Hour Curtail MW | Next Hour MW Cap | Status | Outside Restriction | TDF % | Relief Provided | Acknowledgement |  |  |  | Adjustment |  | Interconnect
|  | Source | Sink | [10 empty] | Time | MW Cap | Start | Estimated Ramp Duration | GCA | LCA
SOCO | SWPP_SUSPSBC20448_SOCO | WFEC | SOCO | CPM | 7-F | 49 | 49 | 13 | 36 | CURTAIL | NO | 7.9 | 1.0 | 05:42 | 36 | 06:00 | 10 | APPROVED
SOCO | SWPP_SUSPSBC60449_SOCO | WFEC | SOCO | CPM | 7-F | 35 | 35 | 10 | 25 | CURTAIL | NO | 7.9 | 0.8 | 05:42 | 25 | 06:00 | 10 | APPROVED
SWPP | AECI_APMM10099314_SWPP | AECI | KCPL | CPM | 7-F | 0 | 1 | 1 | 0 | CURTAIL | NO | 6.4 | 0.1 | 05:39 | 0 | 06:00 | 10 | APPROVED
SWPP | SPA_KBPUPSSPA0797_SWPP | SPA | KACY | CPM | 7-F | 0 | 36 | 8 | 28 | CURTAIL | NO | 5.9 | 0.5 | 05:39 | 28 | 06:00 | 10 | APPROVED
SWPP | SPA_KMEA01KME8388_SWPP | SPA | KCPL | CPM | 7-F | 0 | 1 | 1 | 0 | CURTAIL | NO | 7.5 | 0.1 | 05:39 | 0 | 06:00 | 10 | APPROVED
SWPP | SPA_MEUC010091671_SWPP | SPA | KCPL | CPM | 7-F | 0 | 3 | 3 | 0 | CURTAIL | NO | 7.5 | 0.2 | 05:39 | 0 | 06:00 | 10 | APPROVED
SWPP | SWPP_SPA3743490_SPA | WFEC | SPA | CPM | 7-F | 6 | 7 | 3 | 4 | CURTAIL | NO | 7.5 | 0.2 | 05:39 | 4 | 06:00 | 10 | APPROVED
TVA | SWPP_FPLPSECMRN08T_TVA | SECI | TVA | CPM | 7-F | 55 | 28 | 8 | 20 | CURTAIL | NO | 8.5 | 0.7 | 05:41 | 20 | 06:00 | 10 | APPROVED
TVA | SWPP_SGPMD0215FW_AECI | WR | AECI | CPM | 7-F | 265 | 268 | 44 | 224 | CURTAIL | NO | 5.1 | 2.3 | 05:41 | 224 | 06:00 | 10 | APPROVED
Total Reallocation: | [5 empty] | 410 | 428 | 91 | 337 |  |  |  | 5.8
Tag Composite Transmission Stack Detail
*This is a sample from a single tag, but this data is available in IDC for each curtailed tag
Next Hour Reallocation / Reload
Tag: | Tag Name | Impact: | 7.93%
Flowgate: | [OTDF] [23235] [TEMP 39 WAVERLY7-LACYGNE 345 KV FTLO CAN_RIVR-N345]
TLR Level: | TLR Level 5A
Direction: | Normal
Market Coord: | SWPP
Dynamic Schedule: | No
Energy Distribution on Reservation Stack
Next Hour Schedule
Priority | Trans Alloc | CVS | Schedule | Active | MW Cap | MW Relief
0-NX | 0 | 0 | 0 | 0 | 0 | 0.0
1-NS | 0 | 0 | 0 | 0 | 0 | 0.0
2-NH | 0 | 0 | 0 | 0 | 0 | 0.0
3-ND | 0 | 0 | 0 | 0 | 0 | 0.0
4-NW | 0 | 0 | 0 | 0 | 0 | 0.0
5-NM | 0 | 0 | 0 | 0 | 0 | 0.0
6-NN | 0 | 0 | 0 | 0 | 0 | 0.0
FIRM | 49 | 49 | 49 | 49 | 36 | 1.0
Total | 49 | 49 | 49 | 49 | 36 | 1.0
Tag Reservation Stack Detail
On Path | Provider | OASIS Reservation | Priority | [7 empty] | Total
|  |  | 0-NX | 1-NS | 2-NH | 3-ND | 4-NW | 5-NM | 6-NN | FIRM
YES | COMPOSITE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 49
YES | SWPP | ARef | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 (7-F) | 49
Total for: SWPP |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 49
NO | MISO | ARef | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 (7-F) | 49
Total for: MISO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 49
NO | SOCO | ARef | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 (7-FN) | 49
Total for: SOCO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 49