WEQ-001 TP Curtailment Obligations Standards

**x001-xx** **Curtailment posting requirements**

**x001-xx.1** Transmission Providers who have adopted an Interconnection wide congestion management procedure with impacted scheduled transactions on the Transmission Provider’s system shall ensure all firm and/or non-firm transmission curtailment actions issued under the procedure are made available on OASIS.

**x001-xx-1.1** The curtailment information must be made available for Transmission Customer view in accordance with the ***securitysummary***, ***security***, ***securitydetail*** and ***scheduledetail*** OASIS Templates and in compliance with Business Practice Standards WEQ-002, WEQ-003 and WEQ-013.

**X001-xx-1.1.1** The curtailment information must remain available for download on OASIS for 90 days after its posted date. The information is to be retained for five years from the date when it was first posted and made available upon request in the same electronic format as posted on OASIS.

**x001-xx-1.2** The Transmission Provider shall post detailed curtailment information on OASIS no later than seven calendar days from the conclusion of the curtailment event.

**X001-xx-1.2.1** The posting of this information would be subject to the Transmission Provider’s ability to delay disclosing of certain information due to market, security or reliability sensitivity concerns.