July 15, 2025th, 2025

NORTH AMERICAN STANDARDS BOARD

1415 LOUISIANA

SUITE 3460

HOUSTON TX 77002

Submitted via email to NAESB office (naesb@naesb.org)

Comments Concerning NAESB WEQ BPS Secure, Equitable Access to DER and Aggregation Data Through a Standardized Framework for DER Information Registries Request for Informal Comment

Seattle City Light (City Light) appreciates the NAESB WEQ BPS transparency and receptiveness to feedback and comment. Thank you for accepting and considering the following comments.

- Would a centralized DER Entity Registry to identify and authenticate parties be beneficial? Why or why not?

  - Seattle City Light (City Light) believes a centralized DER Entity Registry would be beneficial by providing enhanced grid visibility for modeling, transmission planning, seasonal reliability assessment, next day operations plan, real time data, risk assessment and emergency operations planning.

- Related to the DER Entity Registry specifically:

  - Are there any additional stakeholder registration categories that need to be supported? If so, please identify and provide an explanation.

    - City Light recommends adding Bulk Power System Transmission Planning Authority to the list of stakeholder registration categories. The impact of DERs needs to be evaluated in the transmission planning horizon for reliability and planning purposes.

    - City Light additionally suggests adding Electric Reliability Organization Regional Regional Entity. This recognizes the relationship that there are multiple regional entities in the NERC ERO.

  - Are there any identified stakeholder registration categories that are not needed? If so, please identify and provide an explanation.

    - No

- Would NAESB Business Practice Standards to facilitate interoperability between existing and future DER and aggregation registries and other industry tools be beneficial? Why or why not?

  - Yes, City Light recommends a single central DER registry would enable a standard for DER data and modeling. This would facilitate better interoperability and increase reliability.

- Would the creation of a DER Entity Registry and the development of NAESB Business Practice Standards to facilitate interoperability be beneficial to:

  - Support broader integration of DERs and aggregations by industry? Why or why not?

    - Yes, City Light recommends a DER Entity Registry would support broader integration of DERs by providing an accepted framework for identifying and qualifying a DER resource.

  - Help industry respond to FERC Order No. 2222, FERC Order No. 901, and/or needs for DER data?  Why or why not?

    - City Light believes a DER Entity Registry would facilitate standardizing DER data and data collection. This would help industry respond to FERC Order No. 222 and 901.

- Please provide information about your organization’s role in the electric industry (e.g., market operator, distribution utility, etc.)?

  - City Light is a consumer owned utility that is a Load Serving Entity, Balancing Authority, Transmission Owner / Operator, Transmission Planner, and Planning Authority. City Lights a winter peaking utility with a peak load of approximately 2027MW with over 500,000 customer meters.

- Please provide any additional information, questions, or considerations that could provide guidance to the subcommittees in determining how to proceed.

  - City Light recommends that the subcommittee carefully consider the need for and implications of requiring registration of DERs below a 2MW threshold. City Light recommends that individual DER impact below 2MWs should be included in load characteristics for modeling and planning purposes. This would not preclude and aggregator entity from registering or participating in bulk power operations in a material way.

Seattle City Light thanks NAESB for accepting and considering these comments

Michael Watkins

Strategic Advisor

Seattle City Light

cc: