Secure, Equitable Access to DER and Aggregation Data Through a Standardized Framework for DER Information Registries

Concept Paper

I. Introduction

In April 2025, at the direction of the NAESB Board of Directors, wholesale and retail electric participants initiated a joint effort to consider the development of business practice standards to support the integration of distributed energy resource (DER) and DER aggregation registries by the industry.  The work is being addressed jointly by the WEQ and RMQ Business Practices Subcommittees (BPS) and is reflected on the current annual plans as 2026 WEQ Annual Plan Item 5.a / 2026 RMQ Annual Plan Item 2.a.

Over the course of thirteen meetings held between April 2025 and February 2026, participants have identified coordination challenges and gaps in the availability, consistency, and content of DER and aggregation information which has led the subcommittees to explore areas where standardization would be of greatest benefit.  Informed by perspectives shared by meeting participants as well as NERC guidance and recommendations for collaborative DER information sharing, the subcommittees have found that centralized information databases, designed to be interoperable with existing industry tools and processes, could help address some of the identified issues.

The proposed conceptual approach is based on meeting discussions and input from a variety of entities representing different wholesale and retail electric market interests, including utilities, grid operators, technology service providers, and NERC staff.  As described in more detail below, the subcommittees are proposing a two-part solution to:

- Create a centralized DER Entity Registry to support mutual authentication of parties

- Develop NAESB Business Practice Standards to facilitate interoperability between existing and future DER and aggregation registries and other data tools.

The subcommittees are seeking informal feedback from industry to help gauge support for moving forward and inform decisions regarding standards development and the creation of a DER Entity Registry.  This Concept Paper describes the considerations that resulted from the joint discussions of the WEQ and RMQ BPS and details the proposed conceptual approach.  The intent is to provide information that can be used to respond to the questions at the end of the paper.

Consistent with the NAESB process, any subsequently developed recommendation for new or revised NAESB Business Practice Standards will be voted on by WEQ and RMQ BPS participants and distributed for a formal industry comment period before being considered by the Executive Committees.

II. Problem Statement

Both reliable grid operations and effective utilization of DERs are dependent upon relevant electric industry participants having secure, consistent access to accurate DER information. However, large gaps exist in the availability of DER information critical for establishing situational awareness and carrying out necessary grid functions.  Further, wide variances in the quality, content and formatting of DER data are impacting the ability of electric industry participants to efficiently collect, validate, and synthesize DER information.  While manual processes exist to map disparate data between incompatible systems, the large number of DERs and quantity of data makes analysis time consuming and inefficient.

As recognized by NERC, a lack of visibility related to the quantity, location, and characteristics of DERs is driving increased variability and uncertainty for bulk power system planning and operations.  Access to this same information is needed to help identify and mitigate cybersecurity risks and protect sensitive data.  The data necessary to enhance DER visibility and increase situational awareness is owned or controlled by a variety of industry participants, each with their own software systems or databases.  With over 3,000 distribution providers, multiple RTOs/ISOs and bulk electric grid operators, hundreds of aggregators, thousands of regulatory and permitting groups, and millions of DERs, developing customized solutions to interface with proprietary systems has significant cost implications for industry.  Effective and efficient cross-market coordination and collaboration is needed to provide relevant stakeholders with fair and equal access to accurate DER information in a reliable manner.

III. Considerations of the WEQ and RMQ Business Practices Subcommittees

The WEQ and RMQ BPS initiated the effort by reviewing the various existing tools and processes used to facilitate DER data collection.  Presentations and information provided by representatives from MISO, CAISO, New York ISO, Evergy, and Collaborative Utility Solutions gave insight into coordination challenges and information availability gaps and led to exploration of how standardization could help address issues identified by the subcommittees.  Further discussions and subsequently developed use cases, based on NERC guidance and additional participant perspective, led to a general consensus that centralized registries, supported by a standardized framework and designed to be interoperable with existing industry tools and processes would establish mechanisms to reliably access and validate DER information that could best address some of the issues identified by the subcommittees.  After evaluating possible paths for establishing such registries, it was determined that a two-part approach would be best to meet industry needs and accommodate existing structures: the creation of a centralized DER Entity Registry and development of NAESB Business Practice Standards that provide a framework to facilitate interoperability.

As identified by NERC and demonstrated by the implementation of DER registries in other countries, registries establish trusted sources to access and validate data through the creation of centralized system records and have broad applicability for the electric industry.  Although stakeholders have differing operational needs, there are some common, widely used datasets, such as static operational characteristics of DERs and device type, manufacturer, ownership, and location information.  This data supports a number of commercial and operational functions, including (1) DER registration and aggregation processes, (2) scheduling and operations, (3) performance validation and settlements, (4) change management, and (5) regulatory compliance and reporting efforts, including FERC Order No. 2222 and the implementation of NERC Reliability Standards developed in response to FERC Order No. 901.  Standardization would improve data comparability and could streamline associated industry processes.

IV. Conceptual Approach for Proposed Two-Part Solution

The intent of the proposed two-part solution is to establish industry mechanisms and supporting NAESB Business Practice Standards that can promote broader cross-market coordination and better facilitate access to the DER and aggregation information that may enhance visibility of these resources, increase situational awareness, and assist in industry implementation of state and federal regulatory requirements.  The creation of a DER Entity Registry will establish a centralized database for the registration of entities responsible for providing and requiring access to information maintained in industry developed DER registries.  Additionally, the development of new NAESB Business Practice Standards will define the necessary processes and technical requirements to facilitate interoperability between existing and future DER registries and other industry data tools.

A. Creation of a Centralized DER Entity Registry

The proposed DER Entity Registry would function similar to the NAESB Electric Industry Registry (EIR).  NAESB manages and operates the NAESB EIR on behalf of the wholesale electric industry as the central repository for information needed to carryout commercial scheduling and transmission management operations, including identification of relevant market participants and the interchange information necessary to populate e-Tags.  The NAESB EIR supports common data formats defined by the NAESB Business Practice Standards, enabling greater interoperability, and registration is a pre-requisite to accessing certain industry tools, such as OASIS nodes and e-Tagging systems.

The DER Entity Registry will support the registration of all stakeholders that provide or require access to data housed within DER and aggregation registries and other industry data tools.  Stakeholder registrations within the DER Entity Registry will define the organizational categories and functional roles necessary to mutually authenticate parties and provide a basis for establishing data access controls and cybersecurity protocols.  Like the NAESB EIR, the DER Entity Registry will be supported by NAESB Business Practice Standards to define the processes and technical requirements that will facilitate entity registration and industry use as a centralized database.

The subcommittees have initially identified the following stakeholders as those that may need to be supported by specific registration categories in the DER Entity Registry:

| Registration Category | Description |
| --- | --- |
| Aggregator | Entity that aggregates DER devices for usage by other market participants |
| Distribution System Provider | Entity that operates a distribution system or local transmission system |
| Supplier | Entity that provides competitive retail electric services to customers |
| Scheduling Entity | Entity responsible for submitting bids or offers and receiving schedules and awards |
| Bulk Power System Operator | Entity responsible for monitoring and controlling a bulk electric system |
| Bulk Power Reliability Coordinator | Entity responsible for the reliable operation of the bulk power system |
| Bulk Power Market Operator | Entity responsible for implementation of an organized market |
| Electric Reliability Organization | Entity certified by FERC to establish and enforce reliability standards for the bulk-power system (e.g., NERC) |
| Applicable Regulatory Authority | Local, state or federal regulator |

The diagram below is an illustrative example of how the DER Entity Registry would interact with industry developed DER registries:

B. Development of NAESB Business Practice Standards to Facilitate Data Interoperability

Additionally, the WEQ and RMQ BPS propose the development of NAESB Business Practice Standards that will work with existing industry processes to and related industry tools to create a consistent approach for data compatibility between disparate systems that house DER and aggregation information.  The standards will define processes and technical details that support consistency in data formatting, governance, and interface structures to establish a standardized framework and support interoperability.  As with other NAESB Business Practice Standards, these standards can be developed to include the optionality needed by industry to maintain current customized databases, tools, and other processes tailored to specific entity, regional, or jurisdictional needs, while allowing for a consistent approach to DER and DER aggregation information sharing.  NAESB also provides a process that allows for updates to its standards that ensure the industry can evolve with the introduction of new dynamic resources or changing market structures.

V. Areas of Needed Industry Feedback

To inform next steps, the subcommittees are seeking responses to the following questions:

- Would a centralized DER Entity Registry to identify and authenticate parties be beneficial? Why or why not? A DER Entity Registry would be a beneficial first step to establish an industry accepted and defined DER information repository. This DER Entity Registry information could then be leveraged to address the aforementioned, “large gaps exist in the availability of DER information critical for establishing situational awareness and carrying out necessary grid functions.  Further, wide variances in the quality, content and formatting of DER data are impacting the ability of electric industry participants to efficiently collect, validate, and synthesize DER information.” The lack of visibility and real -time DER data is a substantial risk to the reliability of the distribution and transmission electrical systems. Improving DER data access for real-time and planning functions is important and beneficial towards maintaining system reliability and coordination between affected system(s). Additionally, if a DER Entity Registry was administered and managed by NAESB, then the NAESB governance structure would be useful to create and enforce industry vetted requirements and expectations.

- Related to the DER Entity Registry specifically:

  - Are there any additional stakeholder registration categories that need to be supported? If so, please identify and provide an explanation. As mentioned, the existing NAESB Electric Industry Registry (EIR) has been successfully managed and operated by NAESB on behalf of the wholesale electric industry as the central repository for information needed to carry out commercial scheduling and transmission management operations, including identification of relevant market participants and the interchange information necessary to populate e-Tags. The EIR has industry accepted and defined “Entity” roles that could be similarly used in the DER Entity Registry to establish a consistency of defined terms and roles within the NAESB BPSs and industry use.

| Registration Category | Description |
| --- | --- |
| Aggregator | Entity that aggregates DER devices for usage by other market participants |
| Distribution System Provider | Entity that operates a distribution system or local transmission system |
| Supplier | Entity that provides competitive retail electric services to customers |
| Scheduling Entity Purchase-Selling Entities | Entity responsible for submitting bids or offers and receiving schedules and awards |
| Bulk Power System Operator Transmission Service Providers | Entity responsible for monitoring and controlling a bulk electric system |
| Bulk Power Reliability Coordinator Reliability Coordinators | Entity responsible for the reliable operation of the bulk power system |
| Bulk Power Market Operator Market Operators | Entity responsible for implementation of an organized market |
| Electric Reliability Organization Regional Reliability Organizations | Entity certified by FERC to establish and enforce reliability standards for the bulk-power system (e.g., NERC) |
| Balancing Authorities | Entity responsible for balancing resources and load withing a metered boundary. |
| Applicable Regulatory Authority | Local, state or federal regulator |

  - Are there any identified stakeholder registration categories that are not needed? If so, please identify and provide an explanation.

- Would NAESB Business Practice Standards to facilitate interoperability between existing and future DER and aggregation registries and other industry tools be beneficial? Why or why not? Using NAESB BPSs would be beneficial as the approach would utilize existing constructs and industry accepted processes and practices to manage and operate the DER Entity Registry. Existing data formatting and exchange mediums could be leveraged to create consistency and utilization of existing data infrastructure. As well as the ability to use existing NAESB governance processes and NERC compliance enforcement. However, as experienced in the existing EIR, participation, consistent and accurate data is a challenge to achieve and has been shown to be elusive. Also, RTOs and Balancing Authority’s (BA) already have the ability to require DER information and data according to their identified business needs.  Nonetheless, as a TSP operating within the jurisdiction of multiple BAs, and soon to be RTO as well, we have observed a large variation in the level of oversight and MW threshold reporting criteria that is applied in each RTO and BA Area, such that our company can readily appreciate the benefit of the formation of a standardized reporting regime in the context of a DER Entity Registry which would establish a consistent MW reporting threshold that our company could apply across its footprint in the jurisdiction of numerous BAAs and a newly forming RTO.

- Would the creation of a DER Entity Registry and the development of NAESB Business Practice Standards to facilitate interoperability be beneficial to:

  - Support broader integration of DERs and aggregations by industry? Why or why not? A substantial hinderance for broad integration of DNRs is the lack of an industry standards establishing base DER information and data sharing requirements. We agree that a DER Entity Registration could be a beneficial initial step towards addressing and establishing a centralized repository and data sharing requirement, which could facilitate broader integration and situational awareness for planning, forecasting scheduling and operating DERs.  Whether or not the creation of a DER Entity Registry would have any significant impact on the cost/benefit analysis of the determination on whether a proposed new DER project could be expected to produce sufficient revenues to offset its construction costs is not readily visible to our company in its TSP role.  However, a future DER Entity Registry would very likely facilitate the widespread visibility of the level of DER development in a particular region that would garner greater attention from other regions and Distribution Service Providers who might be incentivized to investigate additional DER expansion opportunities.

  - Help industry respond to FERC Order No. 2222, FERC Order No. 901, and/or needs for DER data?  Why or why not? A DER Entity Registry would be a positive step towards establishing industry requirements for DER aggregators and consistent rules and data sharing requirements for parties. Currently aggregators are applying many various methods and approaches absent standardized industry requirements. To the extent NAESB BPS would address Inverter-Based Resources and the FERC identified specifications to be standardized, FERC Order 901 could also be responded to in part. It seems many ‘downstream’ opportunities for planning, data sharing, modeling and forecasting, etc. are all dependent upon a centralized data repository with enforceable requirements for DER owners, operators, and marketers. A DER Entity Registry could be a viable starting point for meeting these FERC Orders and facilitating ‘downstream’ integration into existing industry processes and efforts to ensure system reliability and accountability for participating entities.

- Please provide information about your organization’s role in the electric industry (e.g., market operator, distribution utility, etc.)? Transmission System Operator, Transmission Owner, Transmission Service Provider, Transmission Planner

- Please provide any additional information, questions, or considerations that could provide guidance to the subcommittees in determining how to proceed. The existing NAESB Electric Industry Registry (EIR), while useful, has been hampered by lack of and incomplete data consistency and entry. There are many examples of this in the EIR and these realities limit the usefulness of the data. A DER Entity Registry would also be potentially limited to such outcomes if entities do not fully participate and ensure complete and accurate data is provided and coordinated. For example, there are solar, wind, and battery resources connected to or back feeding onto the bulk electric system that are not registered in the EIR. As with any data set, if it is incomplete then the outcomes and results are incomplete. We anticipate this condition will even been more prevalent with DERs given the many locations, types of DERs, owners, operators and distribution providers that would have to be similarly entered and incorporated into a standardized data set.

As a Transmission Service Provider (TSP), our company also faces a recurring, systemic challenge every month in the calculation of its Network Load as a result of more rapid and widespread construction of DERs in the service territories of our Network Customer Distribution Service Providers which are poorly coordinated between the retail customers of our Network Integrated Transmission Service (NITS) customers, and those NITS customers, as well as between our NITS customers and our company, both in the context of the timely communication of anticipated in-service dates and metering data which is vital to our company to permit the accurate calculation of its total NITS load peak as dictated by our pro-forma FERC approved Tariff.  If the creation of a DER Entity Registry would enhance this flow information between all of the impacted entities, then as a TSP we could readily envision the benefit to its establishment.  However, we also have concerns that there would need to be some sort of enforcement mechanism established in conjunction with the DER to assist in maintaining accountability of the accurate and timely reporting of new DER facility operation and output levels.  The relative impact of this lack of operational visibility and planning and settlement awareness of our customers’ directly controlled or owned DER facilities, and also our NITS customers’ customer’s DER facilities, has grown substantially over the last decade to the point where one of our customers has constructed such a large amount of DER projects (specifically a combination of solar and BESS), that it has reached the tipping point where it has become a net exporter of energy in excess of its coincident peak demand during the daylight hours.  If there were to be created a DER Entity Registry with some sort of feasible and effective incentive/enforcement mechanism created in conjunction with it that TSP’s similar to our own could monitor on a regular basis, it would likely prove to become a positive and beneficial tool that would enhance our coordination with our direct NITS customers, most of whom are cooperative in their DER facility operational status reporting, but one of which is not, and which we are forced to indirectly coordinate with the governing Balancing Authority to verify the operational status and generator source output levels of newly constructed DER facilities.

Balancing Authority Area and RTO Generator Interconnection rules and requirements do not necessarily support an exhaustive DER Entity Registry as the minimum interconnection MW threshold is such that most DER aggregations would not be required to be declared, studied or included in the BAA/RTO’s modeling or studies. Unsure to what extent BAA/RTOs have been meeting FERC Order 2222 and 901, and how the BAA/RTOs account for and model the impacts to their operations. From a path methodology perspective, the DER Entity Registry makes sense, but not sure how useful a DER registry would be in a RTO flow-based methodology sense. Other than the BAA/RTO could potentially use nameplate spec information and real-time output data. Additionally, the BAA/RTO can already establish a minimum reporting MW threshold already and can require the DER to provide data and information sufficient to meet its needs. A DER Entity Registry would not materially change this option and would probably be of limited value.

Specific material discussed by the WEQ and RMQ BPS included the NERC Transmission and Distribution Coordination Strategies White Paper that identified DER registries as one mechanism to enable uniform formatting requirements for users to aid industry’s ability to obtain needed information and facilitate collaboration between electric participants.  Participants also reviewed the NERC Reducing DER Variability and Uncertainty Impacts on the Bulk Power System White Paper that recognized the “breadth of stakeholders,” outlined methods to improve DER data collection and sharing, and expanded on recommendations related to the use of DER registries and a common information model for information exchanges.