## Sheet1
Data Field | Category | Data Field | Category
First Name | Owner/Contact | Critical load compliance | DER
Middle Name | Owner/Contact | Telemetry compliance | DER
Last Name | Owner/Contact | Double-counting compliance | DER
Suffix | Owner/Contact | Program/Product compliance | DER
Address 1 | Owner/Contact | DER Type | DER
Address 2 | Owner/Contact | Synchronous or Non-Synchronous | DER
Apartment Number or Suite | Owner/Contact | Manufacture Date | DER
City | Owner/Contact | Max Injection Capacity | DER
County | Owner/Contact | Max Withdrawal Capacity | DER
State | Owner/Contact | Manufacturer | DER
Zip Code | Owner/Contact | Serial Number | DER
Province | Owner/Contact | Voltage Control | DER
Country | Owner/Contact | Frequency Control | DER
Phone Number (primary) | Owner/Contact | Inertial Control | DER
Phone Number (secondary) | Owner/Contact | Ride-through capability | DER
Email | Owner/Contact | Number of Panels | DER - Solar
Premise Unique ID | Site/POI | Tracking Capability | DER - Solar
Premise is Designated Critical Care or Critical Load? | Site/POI | Number of Turbines | DER - Wind
Latitude | Site/POI | Vehicle Identification Number (VIN) | DER - EV
Longitude | Site/POI | Maximum State of Charge | DER - Battery
Utility Account Number | Site/POI | Minimum State of Charge | DER - Battery
Manufacturer update acknowledgement | Site/POI | Maximum Charge Limit | DER - Battery
Data privacy agreement acknowledgement | Site/POI | Maximum Discharge Limit | DER - Battery
Distribution Utility Service Provider | Site/POI | Maximum Charge Rate | DER - Battery
Aggregator | Site/POI | Maximum Discharge Rate | DER - Battery
Transmission System Operator | Site/POI | Minimum Charge Time | DER - Battery
Independent System Operator | Site/POI | Maximum Charge Time | DER - Battery
Competative Retail Supplier | Site/POI | Minimum Run Time | DER - Battery
Meter ID | Site/POI | Maximum Run Time | DER - Battery
Current Tariff | Site/POI | Discharge Ramp Rate | DER - Battery
Phase on System | Site/POI | Charge Ramp Rate | DER - Battery
Distribution Point of Connection | Site/POI | Minimum Discharge Limit | DER - Battery
Load Serving Transformer | Site/POI | Minimum Charge Limit | DER - Battery
Feeder Id | Site/POI | Demand Response Type | DR
Feeder is subject to UFLS and/or UVLS | Site/POI | Max Demand Response Capacity | DR
Substation Name | Site/POI
Intermediate Feeder | Site/POI
Intermediate Substation Transformer Name | Site/POI
Intermediate Substation Name | Site/POI | Consider anonymizing
Transmission Point of Interconnection | Site/POI | Warranty Questions to Include?
ISO/Transmission Meter ID | Site/POI | Start up time for DER and turn around time for batteries?
Node/Load Zone | Site/POI | Maximum number of cycles per day/year
Sub Node/Sub Load Zone | Site/POI
Interconnection Agreement | Site/POI | Could free text field address some of these?
Proof of Insurance | Site/POI | Specific for limitations?
Real power capability (minimum and maximum) | Site/POI
Reactive power capability (minimum and maximum) | Site/POI | Should we include language in the standard that notes that some may be inverter/multiple category?
Fault Current Contributions | Site/POI | Should we add "telementry infrastructure for communication" for the Site/POI?