## Data Fields for Standard
Data Category | Data Field "Friendly Name" | Data Source | Unit of Measure | Optional | Pick-List Driven | Req'd for Agg | CIM Class.Attribute (samples only) | Notes
Owner/Site | Premise Unique ID | Registry Generated |  |  |  |  | UsagePoint.identity
| Created (Date Created) | Registry Generated |  |  |  |  | [CIM metadata]
| Full Name | Site Owner/Agent |  |  |  | ü | person.firstName
person.middleName
person.lastName
[7 empty] | person.suffix | As they appear on utility bill
| Address 1 | Site Owner/Agent |  |  |  | ü | PhysicalAddress.streetNumber
PhysicalAddress.streetName
PhysicalAddress.suiteNumber
| Address 2 | Site Owner/Agent |  | ü
| Apartment Number or Suite | Site Owner/Agent |  | ü
| City | Site Owner/Agent |  |  |  | ü | PhysicalAddress.cityName
| County | Site Owner/Agent |  |  |  | ü | PhysicalAddress.county
| State | Site Owner/Agent |  |  |  | ü | PhysicalAddress.region
| Zip | Site Owner/Agent |  |  |  | ü | PhysicalAddress.postalCode
| Province | Site Owner/Agent |  | ü
| Country | Site Owner/Agent |  |  |  | ü | PhysicalAddress.country
| Phone Number (primary) | Site Owner/Agent |  |  |  | ü | contactPoint.telephoneNumber
| Phone Number (secondary) | Site Owner/Agent |  | ü |  |  | contactPoint.telephoneNumber
| Email | Site Owner/Agent |  | ü |  |  | contactPoint.emailAddress
| Geospatial Coordinates | System Look-Up |  |  |  | ü | PositionPoint.xPosition | Geocoding through ESRI (or other GIS) based on their database
PositionPoint.yPosition
| Utility Account Number | Site Owner/Agent |  |  |  | ü | CustomerAccount.identity
| Manufacturer update acknowledgement | Site Owner/Agent |  | ü |  |  |  | Opt-in by customer to receive release any recalls or updates from the device manufacturer
| Data privacy agreement acknowledgement | Site Owner/Agent |  |  |  | ü |  | Executed Agreement stays with site. Can be required to update with change in policy. Example Utility or State privacy agreement or ISO Market participation agreement
Assignments | DSO (Distribution Utility Service Provider) | Site Owner/Agent |  |  | ü | ü
| Aggregator | Site Owner/Agent |  |  | ü | ü
| Aggregator | Site Owner/Agent |  |  | ü | ü
| TSO | Aggregator |  |  | ü | ü
| ISO | Aggregator |  |  | ü | ü
| Scheduling Coordinator | Aggregator |  |  | ü | ü
| Competative Retail Supplier | Aggregator |  |  | ü | ü
Endorsements & Attestations | Critial load compliance | Aggregator |  |  |  | ü |  | Certifies resource would not negatively affect critical care/load if site is so designated by Utility
| Telemetry compliance | Aggregator |  | ü |  |  |  | Certifies aggregation meets required telemetry requirements
| Double-counting compliance | Aggregator |  | ü |  |  |  | Certifies aggregation would not result in double counting
| Program/Product compliance | Aggregator |  | ü |  |  |  | Certifies aggregation meets required parameters of utility program or RTO/ISO market product.
| Total Controllable Capacity of Premise Site | Aggregator | kW |  |  | ü
| Maximum Injection Capacity at Premise Site | Aggregator | kW |  |  | ü
| Maximum Withrawal Capacity at Premise Site | Aggregator | kW |  |  | ü
Distribution System | Meter ID | DSO |  |  |  | ü | Meter.identity
| Current Tariff | DSO |  |  |  | ü
| Phase on System | DSO |  |  |  | ü
| Distribution Point of Connection | DSO |  |  |  | ü
| Load Serving Transformer | DSO |  |  |  | ü
| Feeder Id | DSO
| Substation Name | DSO |  |  |  | ü
| Intermediate Feeder | DSO |  | ü
| Intermediate Substation Transformer Name | DSO |  | ü
| Intermediate Substation Name | DSO |  | ü
| Transmission Point of Interconnection | DSO |  |  |  | ü
| Premise is Designated Critical Care or Critical Load? | DSO |  |  |  | ü
| Attach approved Interconnection Agreement | DSO |  |  |  | ü
| Attach insurance information | DSO |  | ü
NERC MOD 32-2 | Real power capability (minimum and maximum) | Aggregator |  |  |  | ü
| Reactive power capability (minimum and maximum) | Aggregator |  |  |  | ü
| DER feeder is subject to UFLS and/or UVLS | DSO |  |  |  | ü
| Fault Current Contributions | DSO or TSO |  |  |  | ü
Transmission System | Transmission Point of Interconnection | TSO |  |  |  | ü |  | May be different name than DSO at some phsical location
| ISO/Transmission Meter ID | TSO |  |  |  | ü
| Node/Load Zone | Aggregator |  |  |  | ü
| Sub Node/Sub Load Zone | Aggregator |  |  |  | ü
Data for Specific Device Types
Inverter | Manufacturer | Site Owner/Agent |  |  | ü | ü |  | IEEE 1547 - list of parameters there are several hundred, ties to grey box below but need to be aware of difference between capability/range vs. set points.
| Serial Number | Site Owner/Agent |  |  | ü | ü |  | Setting information shouldn't be in a registry because it can change more often (seasonally or even day/night)
| Max Injection Capacity | Aggregator | kW |  |  | ü
| Max Withdrawal Capacity | Aggregator | kW |  |  | ü
Distributed Generator | Manufacturer | Site Owner/Agent |  |  | ü | ü
| Serial Number | Site Owner/Agent |  |  | ü | ü |  | Validation based on manufacturer or more generic? - CEC landed on manufacture and model not being sufficient, manufacturer and serial gives you the model
| Max Injection Capacity | Aggregator | kW |  |  | ü
| Synchronous or Non-Synchronous | Aggregator |  |  |  | ü
Emergency Disconnect | Manufacturer | Site Owner/Agent |  |  | ü | ü
| Serial Number | Site Owner/Agent |  |  | ü | ü
Solar Array | Manufacturer | Site Owner/Agent |  |  | ü | ü
| Serial Number | Site Owner/Agent |  |  | ü | ü
| Number of Panels | Site Owner/Agent |  |  |  | ü
| Max Injection Capacity | Aggregator | kW |  |  | ü
Battery | Manufacturer | Site Owner/Agent |  |  | ü | ü
| Serial Number | Site Owner/Agent |  |  | ü | ü
| Max Injection Capacity | Aggregator | kW |  |  | ü
| Max Withdrawal Capacity | Aggregator | kW |  |  | ü
Electric Vehicle | Vehicle Identification Number (VIN) | Site Owner/Agent
| Max Injection Capacity | Aggregator | kW |  |  | ü
| Max Withdrawal Capacity | Aggregator | kW |  |  | ü
Electric Vehicle Charger (EVSE) | Manufacturer | Site Owner/Agent |  |  | ü | ü
| Serial Number | Site Owner/Agent |  |  | ü | ü
| Max Injection Capacity | Aggregator | kW |  |  | ü
| Max Withdrawal Capacity | Aggregator | kW |  |  | ü
Wind | Manufacturer | Site Owner/Agent |  |  | ü | ü
| Serial Number | Site Owner/Agent |  |  | ü | ü
| Max Injection Capacity | Aggregator | kW |  |  | ü
Demand Response | Total Site Demand Response Capacity | Aggregator | kW |  |  | ü |  | An aggregation will be settled on it's performance based on aggregated quantities in bid. FERC allows both DER (injecting resources) and DR (load management). Injecting resources require detail for study, DR does not.

## DER Registry Proposed -redline
Type | Category | Data Element | Provided by Entity | Standard Data Format | Comment | SPP | Distribution utility | Voltus
DER ID | Identity | DER ID |  |  |  | N/A
| Identity | Aggregator Unique ID
DER ID | Locational | Geographic location |  |  | Lat Long will provide | N/A
DER ID | Geographic Locational | Longitude and latitude (conditionally required i.e. offshore wind) | Aggregator |  |  | Y
DER ID | Geographic Locational | Street name and number (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational | City (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational | State (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational | County | Aggregator |  |  | N/A
DER ID | Geographic Locational | Country (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational | Province (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational | Apartment number | Aggregator |  |  | N/A
| Geographic Locational | Zip Code
DER ID | Zonal Locational | Load zone | RTO |  |  | Y
DER ID | Zonal Locational | Reserve zone | RTO |  |  | N/A
DER ID | Zonal Locational | Capacity zone | RTO |  |  | N/A
DER ID | Zonal Locational | Market nodal information (p-node) | RTO |  |  | Y |  | Aggregator does not have access to this information
DER ID | Resource Descriptor | Meter information (obfuscated Meter Serial Number) | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational | Substation | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational | Feeder/circuit | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Resource Descriptor | Phase information | Aggregator |  | Provided during registration process | N/A |  | Difficult for the Aggregator to obtain
DER ID | Entity | Distribution Utility | Aggregator |  |  | Y
DER ID | Entity | relevant retail electric regulatory authority (RERRA) | Aggregator |  |  | Y
| Entity | State Public Service Commission
DER ID | Entity | Load Serving Entity | Aggregator |  |  | Y
DER ID | Locational | Balancing Area | Aggregator |  |  | Y
DER ID | Locational | Service Delivery location | Aggregator |  |  | Y
DER ID | Entity | Obfuscated Customer account | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Locational | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y |  | Barrier for aggregator
DER ID | Locational | Retail rate (net metering, dynamic pricing, etc.) | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Resource Descriptor | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER ID | Entity | Operational contact | Aggregator |  |  | Y |  | DERA would have this information
DER ID | Entity | Planning contact | Aggregator |  |  | N/A |  | DERA would have this information
DER ID | Entity | Asset owner contact | Aggregator |  |  | N/A |  | Seems excessive, e.g. each owner of each hot water heater
DER ID | Resource Descriptor | Operational characteristics of resources comprising aggregation | Aggregator |  |  | N/A
DER ID | Resource Descriptor | DER type | Aggregator |  |  | Y
DER ID | Resource Descriptor | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y
DER ID | Resource Descriptor | Nameplate capacity of a DER (in megawatts or kilowatts) | Aggregator |  |  | Y
DER ID | Resource Descriptor | Battery technology | Aggregator |  |  | Y
DER ID | Resource Descriptor | Battery performance over time - Cycle Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor | Available Energy and Available Storage (in MWh) | Aggregator |  |  | Y
DER ID | Resource Descriptor | State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor | Maximum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor | Minimum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor | Max Emergency Charge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Maximum Emergency Discharge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Maximum Economic Charge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Maximum Economic Discharge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Minimum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Maximum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Minimum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Maximum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Discharge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Charge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Minimum Emergency Discharge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Minimum Emergency Charge Rate | Aggregator |  |  | Y
Discharge Synch Max
Charge Synch Max
Discharge Secondary Max
Charge Secondary Max
Charge Efficiency
Discharge Efficieny
DER ID | Resource Descriptor | Performance over time | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Number/capacity of PV cells | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Autotracking capability | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Obstructions | Aggregator |  |  | Y
DER ID | Resource Descriptor | Number/capacity of turbines | Aggregator |  |  | Y
DER ID | Resource Descriptor | Demand reduction capability | Aggregator |  |  | Y
DER ID | Resource Descriptor | Known operational constraints (i.e. analogue to permitting restrictions, environmental restrictions, contractual limit on when individual DER in aggregation can be dispatched) | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Time delay to initiate response (start time) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Ability to reverse direction (supply vs. demand switching) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Voltage control (yes/no; volt-r) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Ride through capability (yes/no) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Frequency control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Inertial control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Feeder voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Reactive support (yes/no) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Sensitivity to ambient weather conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Relevant weather station id | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Metering infrastructure | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Efficiency rating | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Manufacturer of DER | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Types of communication protocols supported | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Applicable operating status conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Mobility flag | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Weatherization applications | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Nominal amperage/voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID |  | Distribution level data | Aggregator |  |  | N/A
DER ID |  | Interconnection data | Aggregator |  |  | N/A
DER ID |  | Designated dispatch entity | Aggregator |  |  | N/A
Maximum Injectable Capacity
Maximum withdrawal Capacity
Market Participation Eligibility

## DER Registry Proposed -clean
Category | Data Element | Unit of Measure
Identity | DER ID
Identity | Aggregator Unique ID
Geographic Locational | Longitude and latitude (conditionally required i.e. offshore wind)
Geographic Locational | Street name and number (conditionally required i.e. land-based facilities)
Geographic Locational | City (conditionally required i.e. land-based facilities)
Geographic Locational | State (required)
Geographic Locational | County
Geographic Locational | Country (required)
Geographic Locational | Province (required)
Geographic Locational | Apartment number
Geographic Locational | Zip Code
Zonal Locational | Load zone
Zonal Locational | Reserve zone
Zonal Locational | Capacity zone
Zonal Locational | Market nodal information (p-node)
Resource Descriptor | Meter information (obfuscated Meter Serial Number)
Entity | Distribution Utility
Entity | relevant retail electric regulatory authority (RERRA)
Entity | State Public Service Commission
Entity | Load Serving Entity
Locational | Balancing Area
Locational | Service Delivery location
Entity | Obfuscated Customer account
Locational | Retail rate (net metering, dynamic pricing, etc.)
Resource Descriptor | DER type
Resource Descriptor | Dispatchable energy resource (yes/no)
Resource Descriptor | Nameplate capacity of a DER (in megawatts or kilowatts) | kW
Resource Descriptor | Battery technology
Resource Descriptor | Maximum State of Charge | kWh
Resource Descriptor | Minimum State of Charge | kWh
Resource Descriptor | Max Emergency Charge Rate | kW
Resource Descriptor | Maximum Emergency Discharge Rate | kW
Resource Descriptor | Maximum Economic Charge Rate | kW
Resource Descriptor | Maximum Economic Discharge Rate | kW
Resource Descriptor | Minimum Charge Time | Minutes
Resource Descriptor | Maximum Charge Time | Minutes
Resource Descriptor | Minimum Run Time | Minutes
Resource Descriptor | Maximum Run Time | Minutes
Resource Descriptor | Discharge Ramp Rate | kW/min
Resource Descriptor | Charge Ramp Rate | kW/min
Resource Descriptor | Minimum Emergency Discharge Rate | kW
Resource Descriptor | Minimum Emergency Charge Rate | kW
| Discharge Synch Max Rate | kW
| Charge Synch Max Rate | kW
| Discharge Secondary Max Rate | kW
| Charge Secondary Max Rate | Kw
| Charge Efficiency | %
| Discharge Efficieny | %
Resource Descriptor | Number/capacity of turbines
Resource Descriptor | Demand reduction capability | kW
Resource Descriptor | Known operational constraints (i.e. analogue to permitting restrictions, environmental restrictions, contractual limit on when individual DER in aggregation can be dispatched)
Resource Descriptor | Time delay to initiate response (start time) | Minutes
Resource Descriptor | Ability to reverse direction (supply vs. demand switching) (yes/no)
Resource Descriptor | Voltage control (yes/no; volt-r)
Resource Descriptor | Ride through capability (yes/no)
Resource Descriptor | Frequency control (yes/no)
Resource Descriptor | Inertial control (yes/no)
Resource Descriptor | Feeder voltage | kV
Resource Descriptor | Reactive support (yes/no)
Resource Descriptor | Telemetry infrastructure to communicate operational characteristics
Resource Descriptor | Types of communication protocols supported
Designated dispatch entity
| Maximum Injectable Capacity | kW
| Maximum withdrawal Capacity | kW
Market Participation Eligibility

## Previous NAESB List Mapping
Yellow Highlights represent daa field added tab 1. (?) represent fields that are unclear |  |  |  | Entity providing this information may be gathering from other sources, including distribution utility, load serving entity, etc.
Type | Category | Key Data Field Map | Data Element | Provided by Entity | Standard Data Format | Comment | SPP | Distribution utility | Voltus
DER Aggregation Data | Identity |  | DER Aggregation ID | Registration System |  |  | N/A
DER Aggregation Data | Locational | Y | Locational information |  |  |  | N/A
DER Aggregation Data | Locational | Y | Geographic location |  |  |  | N/A
DER Aggregation Data | Geographic Locational | Y | Longitude and latitude (conditionally required i.e. offshore wind) |  |  | Long Lat will cover Location/Geographic; for large, singular DERs | Y
DER Aggregation Data | Geographic Locational | Y | Street name and number (conditionally required i.e. land-based facilities) |  |  | For large, singular DERs | N/A
DER Aggregation Data | Geographic Locational | Y | City (conditionally required i.e. land-based facilities) |  |  |  | N/A
DER Aggregation Data | Geographic Locational | Y | State |  |  |  | N/A
DER Aggregation Data | Geographic Locational | Y | County |  |  |  | N/A
DER Aggregation Data | Geographic Locational | Y | Country |  |  |  | N/A
DER Aggregation Data | Geographic Locational | Y | Province |  |  |  | N/A
DER Aggregation Data | Locational | Y | Apartment number |  |  |  | N/A
DER Aggregation Data | Geographic Locational | Y | Zip Code |  |  |  | N/A
DER Aggregation Data | Zonal Information | Y | Load zone |  |  |  | Y
DER Aggregation Data | Zonal Information | Y (POI) | Load aggregation point |  |  | Point of Interconnection | Y
DER Aggregation Data | Zonal Information | N | Reserve zone |  |  |  | Y
DER Aggregation Data | Zonal Information | N | Capacity zone |  |  |  | N/A
DER Aggregation Data | Zonal Information | Y | Market nodal information (p-node) (may or may not be a single p-node) |  |  |  | Y |  | Aggregator does not have access to this information
DER Aggregation Data | Operational | N | Default distribution factors (for multi-nodal DER aggregations) |  |  |  | N/A
DER Aggregation Data | Network Locational | Y | Electrical nodal information (e-node aka service points (RTO/ISO point of interconnection) |  |  |  | Y |  | Aggregator does not have access to this information
DER Aggregation Data | Entity | Y | Distribution Utility |  |  |  | Y
DER Aggregation Data | Entity | N | relevant electric retail regulatory authority (RERRA) |  |  |  | Y
DER Aggregation Data | Entity | N | Public State Commission
DER Aggregation Data | Entity | Y | Load Serving Entity (Different than Distribution Utility?) | Aggregator |  |  | Y
DER Aggregation Data | Entity | Y | Market Participant/Aggregator Name | Aggregator |  |  | Y
DER Aggregation Data | Entity | N | Metering agent | Aggregator |  |  | Y
DER Aggregation Data | Entity | N | Balancing Area | Aggregator |  |  | Y
| Entity | Y | Asset Owner
DER Aggregation Data | Operational | N (Operation data) | Pseudo-ties/dynamic schedules | Aggregator |  |  | Y
DER Aggregation Data | Locational | Y | Service location (maybe point of interconnection?) | Aggregator |  | Seems duplicative of service delivery point | Y
DER Aggregation Data | Identity | Y | Customer account | Aggregator |  |  | N/A |  | Concern this may burden customers
DER Aggregation Data | Locational | Y | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y
DER Aggregation Data | Attestation | Y | Attestation/certificates | Aggregator |  |  | Y
DER Aggregation Data | Attestation | Y | DER aggregation would not result in double counting (yes/no) | Aggregator |  |  | Y
DER Aggregation Data | Attestation | N (HANDLED IN APPROVAL PROCESS) | Distribution utility/load serving entity reliability concern (yes/no) | Aggregator |  | Response not required, if no response RTO proceeds | Y |  | Question of data availability during registration
DER Aggregation Data | Attestation | N | Relevant electric retail regulatory authority allows (yes/no) | Aggregator |  |  | Y
DER Aggregation Data | Entity | Y | Operational contact | Aggregator |  |  | Y
DER Aggregation Data | Entity | Y | Planning contact | Aggregator |  |  | Y
DER Aggregation Data | Information | Y | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER Aggregation Data | Information | Y | Operational characteristics of the aggregation | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y | Nameplate capacity in megawatts | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Ramp rate | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Response time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum run time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Minimum run time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor | N | DER aggregation type (homogeneous or heterogeneous) | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | N | Heterogeneous type, including DER type comprising the aggregation | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Y | Number of DERs in the aggregation | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | N (Operation data) | DER aggregation profile (historical or expected DER aggregation output with active and reactive power profiles) | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | N (?) | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Ability to reverse direction (supply vs. demand switching) | Aggregator |  | can be in form of steady state model data | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Voltage control (yes/no; volt-r) | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Frequency control | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Inertial control | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Feeder voltage | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Feeder impedance – distribution system equivalent feeder impedance | Aggregator |  | can be in form of steady state model data | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | N | Reactive support | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y Attestation | Market product eligibility (capacity, energy, regulation, etc.) | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y Attestation | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | Y |  | Reasonable
DER Aggregation Data | Resource Descriptor | N (?) | Metering infrastructure | Aggregator |  |  | Y |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Efficiency rating | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Battery technology | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | N (Operation data) | Battery performance over time | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | N (Operation data) | Solar panel performance over time | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Manufacturer of DER | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Types of communication protocols supported | Aggregator |  |  | N/A
DER Aggregation Data | Resource Descriptor | N (Operation data) | Operating status | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | N (Operation data) | Known/planned outages or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor | N (Operation data) | Duration of outage or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor | N (Operation data) | Start/end time of outage or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor | Y (IF EV DESIGNATED) | Mobility flag | Aggregator |  |  | Y |  | Unclear
DER Aggregation Data | Resource Descriptor | N (Operation data) | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Aggregator does not have access to this information
DER Aggregation Data | Resource Descriptor | N (Operation data) | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Aggregator does not have access to this information
DER Aggregation Data | Resource Descriptor | N (Operation data) | Weatherization applications | Aggregator |  |  | N/A |  | Inapplicable to many DER
DER Aggregation Data | Resource Descriptor | Y - Defined by program or market product | Designated dispatch entity | Aggregator |  |  | N/A
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Nominal amperage/voltage | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Heat rate | Aggregator |  |  | Y |  | Duplicate
DER Aggregation Data | Resource Descriptor | Y (BY MFG/SERIAL) | Transient ability limits | Aggregator |  | can be in form of dynamic model | Y |  | Duplicate
DER Aggregation Data | Resource Descriptor | Y | Number of resources in the aggregation | Aggregator |  |  | Y |  | Duplicate
DER ID | Identity |  | DER ID |  |  |  | N/A
DER ID | Locational | Y | Geographic location |  |  | Lat Long will provide | N/A
DER ID | Geographic Locational | Y | Longitude and latitude (conditionally required i.e. offshore wind) | Aggregator |  |  | Y
DER ID | Geographic Locational | Y | Street name and number (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational | Y | City (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational | Y | State (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational | Y | County | Aggregator |  |  | N/A
DER ID | Geographic Locational | Y | Country (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational | Y | Province (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational | N | Apartment number | Aggregator |  |  | N/A
| Geographic Locational | Y | Zip Code
DER ID | Zonal Locational | Y | Load zone | RTO |  |  | Y
DER ID | Zonal Locational | N | Reserve zone | RTO |  |  | N/A
DER ID | Zonal Locational | N | Capacity zone | RTO |  |  | N/A
DER ID | Zonal Locational | Y | Market nodal information (p-node) | RTO |  |  | Y |  | Aggregator does not have access to this information
DER ID | Resource Descriptor | Y | Meter information | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational | Y | Substation | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational | Y | Feeder/circuit | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Resource Descriptor | Y | Phase information | Aggregator |  | Provided during registration process | N/A |  | Difficult for the Aggregator to obtain
DER ID | Entity | Y | Distribution Utility | Aggregator |  |  | Y
DER ID | Entity | N | relevant retail electric regulatory authority (RERRA) | Aggregator |  |  | Y
| Entity | N (EASILY SELF POPULATED) | State Public Service Commission
DER ID | Entity | N | Load Serving Entity | Aggregator |  |  | Y
DER ID | Locational | N | Balancing Area | Aggregator |  |  | Y
DER ID | Locational | Y | Service location | Aggregator |  |  | Y
DER ID | Entity | Y | Customer account | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Locational | Y | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y |  | Barrier for aggregator
DER ID | Locational | Y (by Tariff) | Retail rate (net metering, dynamic pricing, etc.) | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Resource Descriptor | Y | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER ID | Entity | Y | Operational contact | Aggregator |  |  | Y |  | DERA would have this information
DER ID | Entity | Y | Planning contact | Aggregator |  |  | N/A |  | DERA would have this information
DER ID | Entity | Y | Asset owner contact | Aggregator |  |  | N/A |  | Seems excessive, e.g. each owner of each hot water heater
DER ID | Resource Descriptor | N (Operation data) | Operational characteristics of resources comprising aggregation | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Y | DER type | Aggregator |  |  | Y
DER ID | Resource Descriptor | N (?) | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Nameplate capacity of a DER (in megawatts or kilowatts) | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y | Battery technology | Aggregator |  |  | Y
DER ID | Resource Descriptor | N (Operation data) | Battery performance over time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y | Available Energy and Available Storage (in MWh) | Aggregator |  |  | Y
DER ID | Resource Descriptor | N (Operation data) | State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Minimum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum Charge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum Discharge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum Charge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum Discharge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Minimum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Minimum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Maximum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Discharge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Charge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Minimum Discharge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y (BY MFG/SERIAL) | Minimum Charge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor | N (Operation data) | Performance over time | Aggregator |  |  | N/A
DER ID | Resource Descriptor | N (Operation data) | Number/capacity of PV cells | Aggregator |  |  | N/A
DER ID | Resource Descriptor | N (?) | Autotracking capability | Aggregator |  |  | N/A
DER ID | Resource Descriptor | N (?) | Obstructions | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y | Number/capacity of turbines | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y | Demand reduction capability | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Known operational constraints (i.e. analogue to permitting restrictions, environmental restrictions, contractual limit on when individual DER in aggregation can be dispatched) | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Time delay to initiate response (start time) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Ability to reverse direction (supply vs. demand switching) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Voltage control (yes/no; volt-r) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Ride through capability (yes/no) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Frequency control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Inertial control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Feeder voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Reactive support | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Sensitivity to ambient weather conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Relevant weather station id | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Metering infrastructure | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Efficiency rating | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Manufacturer of DER | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Types of communication protocols supported | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Applicable operating status conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Mobility flag | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Weatherization applications | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor |  | Nominal amperage/voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID |  |  | Distribution level data | Aggregator |  |  | N/A
DER ID |  | Y | Interconnection data | Aggregator |  |  | N/A
DER ID |  |  | Designated dispatch entity | Aggregator |  |  | N/A

## Mod 32-2
Transmission Planners (TPs) are required to maintain “data requirements” of data needed for steady-state, dynamics, and short circuit studies including DER data, from both NERC-registered DPs and non-registered DPs, including: | Key Date Field Map
a. Location and if DER feeder is subject to UFLS and/or UVLS | N (DISTRIBUTION UTILITY REQUIRED ENTRY)
b. Real power capability (minimum and maximum) | N (AGGREGATOR REQUIRED ENTRY)
c. Reactive power capability (minimum and maximum) | N (AGGREGATOR REQUIRED ENTRY)
d. Generator type (solar, battery, etc.) | Y
e. In-service date or other information to be used to make assumptions about DER capabilities related to ride-through, voltage control and/or frequency control. | Y (BY MFG/SERIAL and Registration)
Short-Circuit Data
System Impedance & Ratings: Zero-sequence and positive-sequence impedances, transformer grounding configurations, breaker short-circuit interrupt ratings, and fault current contributions from both conventional units and IBRs/DERs. | N (REQUIRED ENTRY AFTER STUDY BY UTILITY/TSO/RTO/ISO)

## Aggregation Enrollment Example
Data Source: | Field Description | Notes
AGGREGATION INFO
Aggregator* | Pick Premises to add to aggregation
Aggregator* | Aggregrator ID
Aggregator* | Utility Unique Name of Aggregation
Aggregator* | ISO Unique Name of Aggregation
Registry | Unique Identifier for Aggregation
Aggregator* | Capacity of Aggregation being registered (kW)
Aggregator* | Energy of Aggregation being registered (kWh)
Aggregator* | Date Requested to start participation
Aggregator* | Date Requested to end participation
Aggregator* | Who is Scheduling Coordinator for aggregation
Aggregator* | Pick Utility Progam to Enroll Aggregation | Conflict Check with Tariff
Aggregator* | Pick ISO Market Product to Enroll Aggregation | Conflict Check with Utility Program
Note: Other fields may be required by Utility or ISO
DSO | Verify Progam enrolled into
ISO | Verify Load Zone entered by Aggregator
ISO | Approve Aggregation Capacity Value (kW)
ISO | Verify Market Program entered by Aggregator
SAMPLE PROCESS OF APPROVAL
Note: Approval Chain is dynamic and other actors can be added - This is just a sample. Each step can require a time period for required approval and can default to approved if no action taken.
REP | Accept/Reject Premise
REP | Reject Reason
Registry | Date Approved or Rejected
DSO | Accept/Reject Premise
DSO | Reject Reason(s)
Registry | Date Accepted/Rejected
DSO | Accept or Reject AGGREGATION
DSO | Reject Reason(s)
Registry | Date AGGREGATION Accepted/Rejected
DSO | Date to be entered into program
DSO | Date to be removed from program
TSO | Accept or Reject AGGREGATION
TSO | Reject Reason(s)
Registry | Date AGGREGATION Accepted/Rejected
SC | Accept or Reject AGGREGATION
SC | Reject Reason(s)
Registry | Date AGGREGATION Accepted/Rejected
ISO | Accept or Reject AGGREGATION
ISO | Reject Reason(s)
Registry | Date Aggregation Accepted/Rejected
ISO | Dispatch ID
ISO | Date to be entered into product
ISO | Date to be removed from product

## CEC DER Database Info
CEC DER Database Overview
The California Energy Commission (CEC) DER Database is part of the Database for Energy Efficient Resources (DEER), maintained by the California Public Utilities Commission (CPUC) through its CEDARS system. It is the successor to the Preliminary Ex Ante Review (PEAR) and Ex Ante (exante) databases, which were retired on January 1, 2022 cedars.cpuc.ca.gov.
Purpose and Scope
The DEER database contains information on selected energy-efficient technologies and measures for both residential and nonresidential applications. It includes:
Typical measures (commonly installed in the marketplace)
More energy-efficient measures that provide the same service but with lower energy consumption (often at a higher purchase price) cedars.cpuc.ca.gov.
It is used to support energy efficiency programs, utility interconnection reviews, and incentive program compliance by providing standardized, searchable data on equipment performance and savings potential.
Key Features
Searchable tables for various technology categories, allowing filtering by model, manufacturer, brand, and status (approved, proposed, archived) cedars.cpuc.ca.gov.
Change logs showing updates to DEER tables, with a flag (IsProposed) indicating provisional records until the next update cycle is approved cedars.cpuc.ca.gov.
Archived data for the former PEAR and ExAnte databases, useful for historical research cedars.cpuc.ca.gov.
Access
You can access the DEER database via the CPUC Support Tables within the eTRM (Electricity Transmission and Resource Management) system. The CEC also provides related resources, such as the Solar Equipment Lists, which list PV modules, inverters, batteries, and other solar-related equipment meeting CEC safety and performance standards California Energy Commission.
Related CEC Tools
Solar Equipment Lists: For solar PV, inverters, storage systems, and related equipment California Energy Commission.
MAEDBS Quick Search: For appliance model approvals and historical data cacertappliances.energy.ca.gov.